## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2019 | 41850.48 | 0.44448 | 1088.64 | 3.0962 | 383.9 | 13.83 | 100 | 1.2 | 229.89 | 432
Dubai at Jumeirah Beach | 2 | 3 | 2019 | 38440.08 | 0.44448 | 1200.15 | 3.0962 | 310.45 | 13.83 | 225 | 1.2 | 232.26 | 410
Dubai at Jumeirah Beach | 3 | 3 | 2019 | 41509.44 | 0.44448 | 1147.23 | 3.0962 | 283.34 | 13.83 | 269 | 1.2 | 232.26 | 410
Dubai at Jumeirah Beach | 4 | 3 | 2019 | 36686.16 | 0.44448 | 1113.21 | 3.0962 | 315.02 | 13.83 | 259 | 1.2 | 218.04 | 440
Dubai at Jumeirah Beach | 5 | 3 | 2019 | 38391.36 | 0.44448 | 1118.88 | 3.0962 | 277.79 | 13.83 | 233 | 1.2 | 213.3 | 441
Dubai at Jumeirah Beach | 6 | 3 | 2019 | 39024.72 | 0.44448 | 933.66 | 3.0962 | 263.56 | 13.83 | 249 | 1.2 | 199.08 | 419
Dubai at Jumeirah Beach | 7 | 3 | 2019 | 43848 | 0.44448 | 1016.82 | 3.0962 | 372 | 13.83 | 175 | 1.2 | 218.04 | 439
Dubai at Jumeirah Beach | 8 | 3 | 2019 | 41070.96 | 0.44448 | 967.68 | 3.0962 | 244.98 | 13.83 | 76 | 1.2 | 225.15 | 463
Dubai at Jumeirah Beach | 9 | 3 | 2019 | 37027.2 | 0.44448 | 1011.15 | 3.0962 | 353.59 | 13.83 | 132 | 1.2 | 222.78 | 447
Dubai at Jumeirah Beach | 10 | 3 | 2019 | 39999.12 | 0.44448 | 1084.86 | 3.0962 | 283.79 | 13.83 | 250 | 1.2 | 189.6 | 378
Dubai at Jumeirah Beach | 11 | 3 | 2019 | 39170.88 | 0.44448 | 956.34 | 3.0962 | 258.67 | 13.83 | 182 | 1.2 | 165.9 | 338
Dubai at Jumeirah Beach | 12 | 3 | 2019 | 40535.04 | 0.44448 | 1069.74 | 3.0962 | 260.67 | 13.83 | 251 | 1.2 | 165.9 | 353
Dubai at Jumeirah Beach | 13 | 3 | 2019 | 40729.92 | 0.44448 | 901.53 | 3.0962 | 287.57 | 13.83 | 219 | 1.2 | 177.75 | 387
Dubai at Jumeirah Beach | 14 | 3 | 2019 | 40973.52 | 0.44448 | 888.3 | 3.0962 | 302 | 13.83 | 221 | 1.2 | 191.97 | 415
Dubai at Jumeirah Beach | 15 | 3 | 2019 | 43117.2 | 0.44448 | 958.23 | 3.0962 | 300.56 | 13.83 | 129 | 1.2 | 210.93 | 456
Dubai at Jumeirah Beach | 16 | 3 | 2019 | 33957.84 | 0.44448 | 850.5 | 3.0962 | 310.56 | 13.83 | 137 | 1.2 | 215.67 | 454
Dubai at Jumeirah Beach | 17 | 3 | 2019 | 36734.88 | 0.44448 | 841.05 | 3.0962 | 369.9 | 13.83 | 241 | 1.2 | 206.19 | 419
Dubai at Jumeirah Beach | 18 | 3 | 2019 | 53056.08 | 0.44448 | 856.17 | 3.0962 | 302.12 | 13.83 | 240 | 1.2 | 206.19 | 417
Dubai at Jumeirah Beach | 19 | 3 | 2019 | 39073.44 | 0.44448 | 990.36 | 3.0962 | 305.57 | 13.83 | 258 | 1.2 | 225.15 | 459
Dubai at Jumeirah Beach | 20 | 3 | 2019 | 39901.68 | 0.44448 | 1005.48 | 3.0962 | 286.34 | 13.83 | 63 | 1.2 | 229.89 | 439
Dubai at Jumeirah Beach | 21 | 3 | 2019 | 42727.44 | 0.44448 | 903.42 | 3.0962 | 398.48 | 13.83 | 83 | 1.2 | 222.78 | 433
Dubai at Jumeirah Beach | 22 | 3 | 2019 | 41850.48 | 0.44448 | 825.93 | 3.0962 | 298.98 | 13.83 | 153 | 1.2 | 232.26 | 476
Dubai at Jumeirah Beach | 23 | 3 | 2019 | 42483.84 | 0.44448 | 924.21 | 3.0962 | 334.22 | 13.83 | 257 | 1.2 | 218.04 | 435
Dubai at Jumeirah Beach | 24 | 3 | 2019 | 42532.56 | 0.44448 | 945 | 3.0962 | 332.22 | 13.83 | 236 | 1.2 | 213.3 | 404
Dubai at Jumeirah Beach | 25 | 3 | 2019 | 46381.44 | 0.44448 | 1013.04 | 3.0962 | 523 | 13.83 | 174 | 1.2 | 225.15 | 436
Dubai at Jumeirah Beach | 26 | 3 | 2019 | 44724.96 | 0.44448 | 865.62 | 3.0962 | 196.03 | 13.83 | 38 | 1.2 | 225.15 | 434
Dubai at Jumeirah Beach | 27 | 3 | 2019 | 44627.52 | 0.44448 | 945 | 3.0962 | 387.46 | 13.83 | 277 | 1.2 | 199.08 | 381
Dubai at Jumeirah Beach | 28 | 3 | 2019 | 43506.96 | 0.44448 | 808.92 | 3.0962 | 318.44 | 13.83 | 50 | 1.2 | 218.04 | 412
Dubai at Jumeirah Beach | 29 | 3 | 2019 | 42922.32 | 0.44448 | 618.03 | 3.0962 | 324.24 | 13.83 | 228 | 1.2 | 213.3 | 408
Dubai at Jumeirah Beach | 30 | 3 | 2019 | 41412 | 0.44448 | 584.01 | 3.0962 | 352.35 | 13.83 | 246 | 1.2 | 210.93 | 413
Dubai at Jumeirah Beach | 31 | 3 | 2019 | 60023.04 | 0.44448 | 572.67 | 3.0962 | 288.78 | 13.83 | 239 | 1.2 | 120.87 | 222

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 3 | 2019 | 229.89 | 432 | 383.9 | 100 | 108 | 23 | 2192.4 | 5018.16 | 8818.32 | 243.6 | 876.96 | 5651.52 | 4628.4 | 5115.6 | 3848.88 | 5456.64 | 47900 | 0 | 0 | 164.43 | 185.22 | 738.99 | 194 | 39.69 | 34.02 | 13.23 | 24.57 | 20.79 | 37.8 | 0 | 0 | 17 | 29 | 12 | 12 | 0 | 0 | 0 | 6 | 0 | 1382 |  | 1100 | 352 | 302 | 105 | 3400 | 260 | 1400 | 1600 | 300 | 180 | 51.03 | 41.58 | 0 | 0 | 77.49
Dubai at Jumeirah Beach | 2 | 3 | 2019 | 232.26 | 410 | 310.45 | 225 | 56 | 11 | 2923.2 | 5066.88 | 1071.84 | 4628.4 | 633.36 | 5651.52 | 4433.52 | 5066.88 | 3556.56 | 5407.92 | 6700 | 23100 | 1700 | 160.65 | 170.1 | 869.4 | 190 | 39.69 | 32.13 | 15.12 | 26.46 | 22.68 | 43.47 | 0 | 0 | 11 | 14 | 6 | 9 | 0 | 0 | 0 | 5 | 8 | 1313 |  | 1094 | 307 | 328 | 102 | 1600 | 230 | 500 | 800 | 200 | 150 | 22.68 | 26.46 | 0 | 0 | 37.8
Dubai at Jumeirah Beach | 3 | 3 | 2019 | 232.26 | 410 | 283.34 | 269 | 56 | 4 | 3020.64 | 5164.32 | 146.16 | 8428.56 | 0 | 5700.24 | 4579.68 | 5018.16 | 3800.16 | 5651.52 | 0 | 33100 | 0 | 160.65 | 156.87 | 829.71 | 190 | 39.69 | 32.13 | 13.23 | 26.46 | 22.68 | 43.47 | 0 | 0 | 11 | 16 | 8 | 9 | 3 | 0 | 0 | 9 | 25 | 1349 |  | 1087 | 309 | 331 | 135 | 1800 | 230 | 600 | 900 | 300 | 160 | 35.91 | 32.13 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 4 | 3 | 2019 | 218.04 | 440 | 315.02 | 259 | 77 | 20 | 2971.92 | 5066.88 | 48.72 | 4433.52 | 0 | 5602.8 | 4530.96 | 4872 | 3654 | 5505.36 | 0 | 32300 | 0 | 158.76 | 145.53 | 808.92 | 190 | 39.69 | 28.35 | 15.12 | 26.46 | 7.56 | 37.8 | 0 | 0 | 9 | 15 | 8 | 9 | 0 | 1 | 0 | 0 | 16 | 1302 |  | 1091 | 307 | 330 | 147 | 1700 | 220 | 600 | 900 | 200 | 160 | 34.02 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 5 | 3 | 2019 | 213.3 | 441 | 277.79 | 233 | 65 | 12 | 3118.08 | 5115.6 | 0 | 6382.32 | 0 | 5554.08 | 4287.36 | 5018.16 | 3410.4 | 5505.36 | 0 | 32600 | 0 | 160.65 | 141.75 | 816.48 | 190 | 39.69 | 32.13 | 13.23 | 24.57 | 15.12 | 43.47 | 0 | 0 | 10 | 14 | 8 | 9 | 0 | 0 | 0 | 13 | 16 | 1289 |  | 1073 | 310 | 334 | 147 | 1900 | 200 | 700 | 1100 | 300 | 160 | 34.02 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 6 | 3 | 2019 | 199.08 | 419 | 263.56 | 249 | 60 | 1 | 3020.64 | 4969.44 | 146.16 | 7259.28 | 0 | 5554.08 | 4482.24 | 4823.28 | 3410.4 | 5359.2 | 0 | 38400 | 0 | 156.87 | 151.2 | 625.59 | 188 | 39.69 | 34.02 | 13.23 | 28.35 | 24.57 | 41.58 | 0 | 0 | 10 | 14 | 9 | 9 | 0 | 0 | 0 | 0 | 15 | 1262 |  | 1112 | 315 | 328 | 148 | 2600 | 190 | 800 | 1300 | 300 | 160 | 30.24 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 7 | 3 | 2019 | 218.04 | 439 | 372 | 175 | 76 | 22 | 3507.84 | 5554.08 | 48.72 | 8136.24 | 0 | 6236.16 | 5066.88 | 5359.2 | 4043.76 | 5895.12 | 0 | 40400 | 0 | 173.88 | 168.21 | 674.73 | 205 | 43.47 | 32.13 | 15.12 | 24.57 | 30.24 | 43.47 | 0 | 0 | 11 | 20 | 8 | 10 | 0 | 0 | 0 | 0 | 9 | 1414 |  | 1081 | 313 | 333 | 150 | 2800 | 260 | 900 | 1400 | 300 | 170 | 37.8 | 34.02 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 8 | 3 | 2019 | 225.15 | 463 | 244.98 | 76 | 72 | 14 | 3118.08 | 5261.76 | 48.72 | 7210.56 | 0 | 5797.68 | 4920.72 | 5310.48 | 3800.16 | 5602.8 | 0 | 36800 | 0 | 145.53 | 145.53 | 676.62 | 176 | 47.25 | 39.69 | 15.12 | 28.35 | 32.13 | 60.48 | 0 | 0 | 11 | 14 | 10 | 13 | 0 | 0 | 0 | 0 | 12 | 1493 |  | 1111 | 310 | 327 | 148 | 2400 | 240 | 800 | 1100 | 200 | 160 | 35.91 | 32.13 | 0 | 0 | 77.49
Dubai at Jumeirah Beach | 9 | 3 | 2019 | 222.78 | 447 | 353.59 | 132 | 64 | 1 | 1948.8 | 4677.12 | 974.4 | 535.92 | 6820.8 | 5359.2 | 3800.16 | 4336.08 | 3069.36 | 5505.36 | 0 | 6100 | 29500 | 162.54 | 154.98 | 693.63 | 192 | 34.02 | 24.57 | 11.34 | 18.9 | 5.67 | 35.91 | 0 | 0 | 17 | 20 | 10 | 9 | 0 | 0 | 0 | 0 | 6 | 1402 |  | 1146 | 314 | 336 | 148 | 2500 | 260 | 800 | 1100 | 300 | 170 | 35.91 | 34.02 | 0 | 0 | 32.13
Dubai at Jumeirah Beach | 10 | 3 | 2019 | 189.6 | 378 | 283.79 | 250 | 76 | 22 | 2143.68 | 5115.6 | 876.96 | 146.16 | 7502.88 | 5651.52 | 4287.36 | 4969.44 | 3751.44 | 5554.08 | 0 | 0 | 34800 | 158.76 | 151.2 | 774.9 | 188 | 37.8 | 28.35 | 13.23 | 22.68 | 18.9 | 47.25 | 0 | 0 | 13 | 15 | 8 | 10 | 0 | 0 | 0 | 27 | 16 | 1370 |  | 1078 | 309 | 329 | 143 | 2100 | 230 | 700 | 1200 | 300 | 160 | 39.69 | 32.13 | 0 | 0 | 49.14
Dubai at Jumeirah Beach | 11 | 3 | 2019 | 165.9 | 338 | 258.67 | 182 | 73 | 16 | 2094.96 | 5018.16 | 876.96 | 48.72 | 7308 | 5359.2 | 4530.96 | 4920.72 | 3556.56 | 5456.64 | 0 | 0 | 33900 | 158.76 | 143.64 | 653.94 | 190 | 41.58 | 32.13 | 15.12 | 24.57 | 32.13 | 37.8 | 0 | 0 | 11 | 13 | 9 | 8 | 0 | 0 | 0 | 0 | 19 | 1369 |  | 1097 | 310 | 334 | 148 | 2300 | 240 | 700 | 1200 | 300 | 170 | 34.02 | 30.24 | 0 | 0 | 51.03
Dubai at Jumeirah Beach | 12 | 3 | 2019 | 165.9 | 353 | 260.67 | 251 | 61 | 1 | 2241.12 | 5213.04 | 1023.12 | 48.72 | 7697.76 | 5407.92 | 4482.24 | 5164.32 | 3702.72 | 5554.08 | 0 | 0 | 35200 | 160.65 | 141.75 | 767.34 | 192 | 41.58 | 32.13 | 15.12 | 22.68 | 26.46 | 45.36 | 0 | 0 | 10 | 11 | 6 | 9 | 0 | 0 | 0 | 9 | 18 | 1315 |  | 1083 | 309 | 330 | 147 | 2400 | 250 | 800 | 1200 | 300 | 160 | 34.02 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 13 | 3 | 2019 | 177.75 | 387 | 287.57 | 219 | 85 | 23 | 2143.68 | 5066.88 | 1071.84 | 194.88 | 8184.96 | 5456.64 | 4433.52 | 5018.16 | 3605.28 | 5554.08 | 0 | 0 | 39600 | 153.09 | 147.42 | 601.02 | 184 | 37.8 | 30.24 | 13.23 | 17.01 | 22.68 | 43.47 | 0 | 0 | 9 | 17 | 8 | 9 | 0 | 0 | 0 | 0 | 12 | 1339 |  | 1113 | 329 | 339 | 148 | 3000 | 260 | 1300 | 1600 | 300 | 180 | 35.91 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 14 | 3 | 2019 | 191.97 | 415 | 302 | 221 | 87 | 17 | 2192.4 | 5066.88 | 1169.28 | 48.72 | 8915.76 | 3946.32 | 4823.28 | 5115.6 | 4092.48 | 5602.8 | 0 | 0 | 43400 | 160.65 | 149.31 | 578.34 | 192 | 41.58 | 30.24 | 13.23 | 26.46 | 30.24 | 47.25 | 0 | 0 | 12 | 19 | 7 | 11 | 0 | 0 | 0 | 0 | 17 | 1397 |  | 1121 | 309 | 327 | 147 | 2900 | 260 | 1400 | 1300 | 300 | 170 | 41.58 | 34.02 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 15 | 3 | 2019 | 210.93 | 456 | 300.56 | 129 | 71 | 4 | 2192.4 | 4920.72 | 0 | 0 | 8574.72 | 7259.28 | 4141.2 | 6772.08 | 3556.56 | 5700.24 | 0 | 0 | 40600 | 154.98 | 177.66 | 625.59 | 187 | 39.69 | 34.02 | 15.12 | 26.46 | 15.12 | 51.03 | 0 | 0 | 12 | 15 | 8 | 11 | 0 | 0 | 0 | 0 | 18 | 1494 |  | 1157 | 311 | 394 | 153 | 3000 | 250 | 1400 | 1400 | 300 | 170 | 37.8 | 32.13 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 16 | 3 | 2019 | 215.67 | 454 | 310.56 | 137 | 103 | 22 | 2436 | 4969.44 | 1169.28 | 243.6 | 2338.56 | 5456.64 | 4725.84 | 3459.12 | 3654 | 5505.36 | 42800 | 0 | 8300 | 158.76 | 153.09 | 538.65 | 187 | 41.58 | 32.13 | 13.23 | 24.57 | 28.35 | 41.58 | 0 | 0 | 15 | 22 | 13 | 12 | 0 | 0 | 0 | 5 | 0 | 1370 |  | 1137 | 315 | 271 | 142 | 3400 | 240 | 1800 | 1600 | 300 | 190 | 39.69 | 37.8 | 0 | 0 | 28.35
Dubai at Jumeirah Beach | 17 | 3 | 2019 | 206.19 | 419 | 369.9 | 241 | 108 | 23 | 2630.88 | 5066.88 | 3507.84 | 97.44 | 1023.12 | 5456.64 | 4677.12 | 5066.88 | 3556.56 | 5651.52 | 55000 | 0 | 0 | 158.76 | 171.99 | 510.3 | 188 | 41.58 | 28.35 | 11.34 | 30.24 | 15.12 | 43.47 | 0 | 0 | 10 | 14 | 13 | 11 | 0 | 0 | 0 | 25 | 17 | 1388 |  | 1087 | 374 | 334 | 145 | 4000 | 300 | 1800 | 1900 | 300 | 180 | 32.13 | 30.24 | 0 | 0 | 34.02
Dubai at Jumeirah Beach | 18 | 3 | 2019 | 206.19 | 417 | 302.12 | 240 | 66 | 4 | 2094.96 | 4969.44 | 21875.28 | 0 | 974.4 | 5310.48 | 4141.2 | 4823.28 | 3312.96 | 5554.08 | 38000 | 0 | 0 | 160.65 | 145.53 | 549.99 | 192 | 39.69 | 34.02 | 15.12 | 11.34 | 28.35 | 45.36 | 0 | 0 | 11 | 14 | 12 | 9 | 0 | 0 | 0 | 6 | 17 | 1358 |  | 1121 | 370 | 331 | 147 | 2000 | 260 | 1710 | 1600 | 300 | 170 | 34.02 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 19 | 3 | 2019 | 225.15 | 459 | 305.57 | 258 | 73 | 13 | 2046.24 | 5164.32 | 7015.68 | 146.16 | 876.96 | 5602.8 | 4238.64 | 4969.44 | 3507.84 | 5505.36 | 36500 | -200 | 0 | 153.09 | 141.75 | 695.52 | 200 | 37.8 | 32.13 | 15.12 | 18.9 | 17.01 | 43.47 | 0 | 0 | 11 | 13 | 11 | 11 | 0 | 0 | 0 | 5 | 18 | 1328 |  | 1127 | 391 | 243 | 147 | 1700 | 270 | 790 | 1500 | 300 | 170 | 35.91 | 32.13 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 20 | 3 | 2019 | 229.89 | 439 | 286.34 | 63 | 74 | 12 | 2289.84 | 5164.32 | 7356.72 | 48.72 | 1071.84 | 5456.64 | 4433.52 | 5115.6 | 3507.84 | 5456.64 | 38800 | 0 | 0 | 154.98 | 151.2 | 699.3 | 168 | 37.8 | 34.02 | 15.12 | 22.68 | 26.46 | 41.58 | 0 | 0 | 14 | 16 | 12 | 10 | 0 | 0 | 0 | 6 | 9 | 1420 |  | 1166 | 398 | 163 | 153 | 1800 | 280 | 0 | 1600 | 300 | 0 | 37.8 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 21 | 3 | 2019 | 222.78 | 433 | 398.48 | 83 | 78 | 6 | 2192.4 | 5066.88 | 9208.08 | 48.72 | 1218 | 5554.08 | 4725.84 | 5359.2 | 3800.16 | 5554.08 | 49600 | 0 | 0 | 158.76 | 168.21 | 576.45 | 187 | 39.69 | 17.01 | 5.67 | 24.57 | 3.78 | 37.8 | 0 | 0 | 10 | 22 | 10 | 10 | 0 | 0 | 0 | 5 | 8 | 1402 |  | 1158 | 392 | 194 | 146 | 3100 | 270 | 2100 | 2200 | 300 | 360 | 37.8 | 30.24 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 22 | 3 | 2019 | 232.26 | 476 | 298.98 | 153 | 105 | 22 | 2192.4 | 4872 | 9061.92 | 194.88 | 876.96 | 5602.8 | 4579.68 | 5115.6 | 3800.16 | 5554.08 | 49000 | 0 | 0 | 168.21 | 160.65 | 497.07 | 199 | 45.36 | 49.14 | 20.79 | 15.12 | 39.69 | 52.92 | 0 | 0 | 20 | 23 | 8 | 13 | 0 | 0 | 0 | 6 | 23 | 1463 |  | 1112 | 396 | 198 | 148 | 2200 | 260 | 0 | 1800 | 300 | 0 | 37.8 | 0 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 23 | 3 | 2019 | 218.04 | 435 | 334.22 | 257 | 104 | 20 | 2484.72 | 5359.2 | 1461.6 | 7892.64 | 535.92 | 5748.96 | 4482.24 | 5310.48 | 3507.84 | 5700.24 | 8600 | 40100 | 0 | 160.65 | 162.54 | 601.02 | 189 | 45.36 | 35.91 | 15.12 | 24.57 | 30.24 | 41.58 | 0 | 0 | 10 | 14 | 7 | 10 | 0 | 0 | 0 | 5 | 10 | 1429 |  | 1178 | 399 | 247 | 147 | 3100 | 260 | 2700 | 1800 | 300 | 360 | 39.69 | 66.15 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 24 | 3 | 2019 | 213.3 | 404 | 332.22 | 236 | 110 | 14 | 2825.76 | 4872 | 1169.28 | 9890.16 | 146.16 | 5602.8 | 4579.68 | 5115.6 | 3118.08 | 5213.04 | 0 | 56500 | 0 | 162.54 | 170.1 | 612.36 | 192 | 41.58 | 34.02 | 15.12 | 20.79 | 32.13 | 49.14 | 0 | 0 | 12 | 17 | 6 | 9 | 0 | 0 | 0 | 7 | 16 | 1381 |  | 1137 | 399 | 274 | 145 | 2700 | 310 | 4600 | 2200 | 300 | 220 | 35.91 | 30.24 | 0 | 0 | 60.48
Dubai at Jumeirah Beach | 25 | 3 | 2019 | 225.15 | 436 | 523 | 174 | 120 | 20 | 2825.76 | 5700.24 | 876.96 | 10815.84 | 0 | 5651.52 | 5018.16 | 5018.16 | 4482.24 | 5992.56 | 0 | 50000 | 0 | 160.65 | 173.88 | 678.51 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 17 | 7 | 11 | 0 | 0 | 0 | 5 | 16 | 1423 |  | 1171 | 422 | 291 | 152 | 3200 | 290 | 2400 | 2100 | 400 | 210 | 35.91 | 32.13 | 0 | 0 | 109.62
Dubai at Jumeirah Beach | 26 | 3 | 2019 | 225.15 | 434 | 196.03 | 38 | 129 | 24 | 2777.04 | 5164.32 | 730.8 | 11010.72 | 0 | 5651.52 | 4725.84 | 5213.04 | 4043.76 | 5407.92 | 0 | 73000 | 0 | 158.76 | 177.66 | 529.2 | 187 | 73.71 | 60.48 | 28.35 | 39.69 | 45.36 | 79.38 | 0 | 0 | 11 | 12 | 7 | 9 | 0 | 0 | 0 | 5 | 18 | 1313 |  | 1082 | 300 | 265 | 141 | 3300 | 290 | 2200 | 2100 | 300 | 190 | 32.13 | 28.35 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 27 | 3 | 2019 | 199.08 | 381 | 387.46 | 277 | 114 | 36 | 2923.2 | 5261.76 | 682.08 | 10572.24 | 243.6 | 5700.24 | 4530.96 | 5310.48 | 3848.88 | 5554.08 | 0 | 61000 | 0 | 158.76 | 177.66 | 608.58 | 186 | 43.47 | 32.13 | 13.23 | 9.45 | 28.35 | 35.91 | 0 | 0 | 11.8 | 16 | 7 | 10 | 0 | 0 | 0 | 6 | 9 | 1461 |  | 1107 | 327 | 262 | 149 | 3200 | 320 | 1700 | 2200 | 300 | 200 | 37.8 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 28 | 3 | 2019 | 218.04 | 412 | 318.44 | 50 | 106 | 0 | 2728.32 | 5164.32 | 730.8 | 9890.16 | 0 | 5846.4 | 4628.4 | 5164.32 | 3702.72 | 5651.52 | 0 | 55900 | 0 | 156.87 | 168.21 | 483.84 | 186 | 37.8 | 30.24 | 15.12 | 37.8 | 32.13 | 43.47 | 0 | 0 | 14 | 17 | 12 | 12 | 0 | 0 | 0 | 6 | 0 | 1571 |  | 1102 | 104 | 201 | 148 | 3000 | 300 | 0 | 2100 | 300 | 190 | 39.69 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 29 | 3 | 2019 | 213.3 | 408 | 324.24 | 228 | 92 | 19 | 2728.32 | 5066.88 | 48.72 | 9646.56 | 535.92 | 5846.4 | 4677.12 | 5213.04 | 3410.4 | 5748.96 | 0 | 52200 | 0 | 158.76 | 175.77 | 283.5 | 190 | 37.8 | 34.02 | 13.23 | 22.68 | 9.45 | 41.58 | 0 | 0 | 19.8 | 25 | 8 | 14 | 2 | 0 | 0 | 0 | 25 | 1625 |  | 1134 | 617 | 281 | 147 | 0 | 0 | 0 | 0 | 0 | 0 | 45.36 | 39.69 | 0 | 0 | 66.15
Dubai at Jumeirah Beach | 30 | 3 | 2019 | 210.93 | 413 | 352.35 | 246 | 103 | 17 | 2094.96 | 4969.44 | 682.08 | 1266.72 | 8720.88 | 5797.68 | 4774.56 | 4823.28 | 2874.48 | 5407.92 | 0 | 9200 | 40000 | 173.88 | 170.1 | 240.03 | 185 | 43.47 | 32.13 | 13.23 | 24.57 | 3.78 | 43.47 | 0 | 0 | 8.4 | 13 | 7 | 9 | 0 | 0 | 0 | 0 | 0 | 1468 |  | 1106 | 351 | 208 | 146 | 0 | 0 | 0 | 0 | 0 | 0 | 26.46 | 22.68 | 0 | 0 | 41.58
Dubai at Jumeirah Beach | 31 | 3 | 2019 | 120.87 | 222 | 288.78 | 239 | 107 | 10 | 2874.48 | 7064.4 | 1266.72 | 194.88 | 15687.84 | 7795.2 | 6479.76 | 6869.52 | 4628.4 | 7161.84 | 0 | 0 | 51600 | 160.65 | 173.88 | 238.14 | 237 | 41.58 | 32.13 | 17.01 | 24.57 | 24.57 | 45.36 | 0 | 0 | 9 | 12 | 5 | 10 | 0 | 0 | 0 | 17 | 26 | 1444 |  | 1061 | 344 | 191 | 145 | 9200 | 810 | 3500 | 6000 | 1000 | 570 | 32.13 | 30.24 | 0 | 0 | 51.03

## DJB Daily Readings
Daily Water Consumption March 2019 | [18 empty] | Electricity Daily Consumption March 2019 | [29 empty] | Chiller BTU Meter Reading March 2019 | [20 empty] | Lpg Daily Consumption March 2019 | [25 empty] | F& B Village Daily Water Meter Reading 2018 | [21 empty] | F & B Electrical Daily Reading December-2018 | [11 empty] | F & B Village Chilled Water Reading December-2018 | [11 empty] | F & B Village Daily Lpg Reading March 2019
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-02-28 | 97% | 336984 | 554 | 516 | 578337 | 447 | 391 | 58537 | 0 | 517817 | 100 | 149292 | 0 | 34601 | 108 | 106 | 24663 | 23 | 4604234.88 | 2192.4 | 2436 | 9135487.2 | 5018.16 | 5359 | 7859510.4 | 8818.32 | 780 | 11204040.96 | 243.6 | 195 | 11182263.12 | 876.96 | 12083 | 9985553.76 | 5651.52 | 5944 | 9019923.36 | 4628.4 | 4823 | 8511091.68 | 5115.6 | 5262 | 7010418.24 | 3848.88 | 4141 | 10282843.2 | 5456.64 | 5652 | 40291800 | 47900 | 0 | 44719800 | 0 | 0 | 39041200 | 0 | 53700 | [10 empty] | 2473840 | 4630 | 40% | 7% | -10% | 38181 | 21 | 34172 | 18 | 10963 | 7 | 13180 | 13 | 15959 | 11 | 34325 | 20 | 147805 | 87 | 71 | 101012 | 98 | 90 | 199684 | 391 | 236 | 427564 | 194 | 3042 | 0 | 938 | 0 | 14269 | 29 | 15294 | 17 | 10630 | 12 | 14611 | 12 | 823 | 0 | 3564 | 0 | 1011 | 6 | 1530 | 0 | 10823 | 0 | 2275264 | 1382 | 3291 | 3 | 1450535 | 1100 | 188838 | 352 | 239779 | 302 | 42263 | 105 | 4856300 | 3400 | 477930 | 260 | 3721400 | 1600 | 1838800 | 300 | 616330 | 180 | 9141500 | 1400 | 22044 | 27 | 19452 | 22 | 42703 | 0 | 0 | 0 | 11923 | 41
2019-03-01 | 97% | 337538 |  |  | 578784 |  |  | 58537 |  | 517917 |  | 149292 |  | 34709 |  |  | 24686 |  | 4606427.28 |  |  | 9140505.36 |  |  | 7868328.72 |  |  | 11204284.56 |  |  | 11183140.08 |  |  | 9991205.28 |  |  | 9024551.76 |  |  | 8516207.28 |  |  | 7014267.12 |  |  | 10288299.84 |  |  | 40339700 |  |  | 44719800 |  |  | 39041200 | [12 empty] | 2478470 |  | 47% |  |  | 38202 |  | 34190 |  | 10970 |  | 13193 |  | 15970 |  | 34345 |  | 147892 |  |  | 101110 |  |  | 200075 |  |  | 427758 |  | 3042 |  | 938 |  | 14298 |  | 15311 |  | 10642 |  | 14623 |  | 823 |  | 3564 |  | 1017 |  | 1530 |  | 10823 |  | 2276646 |  | 3294 |  | 1451635 |  | 189190 |  | 240081 |  | 42368 |  | 4859700 |  | 478190 |  | 3723000 |  | 1839100 |  | 616510 |  | 9142900 |  | 22071 |  | 19474 |  | 42703 |  | 0 |  | 11964
2019-03-02 | 98% | 338028 | 490 | 521 | 579201 | 417 | 404 | 58537 | 0 | 518142 | 225 | 149292 | 0 | 34765 | 56 | 122 | 24697 | 11 | 4609350.48 | 2923.2 | 2192.4 | 9145572.24 | 5066.88 | 5213.04 | 7869400.56 | 1071.84 | 828.24 | 11208912.96 | 4628.4 | 194.88 | 11183773.44 | 633.36 | 10182.48 | 9996856.8 | 5651.52 | 5846.4 | 9028985.28 | 4433.52 | 4482.24 | 8521274.16 | 5066.88 | 4920.72 | 7017823.68 | 3556.56 | 3605.28 | 10293707.76 | 5407.92 | 5700.24 | 40346400 | 6700 | 0 | 44742900 | 23100 | 0 | 39042900 | 1700 | 49200 | [10 empty] | 2482460 | 3990 | 38% | -9% | -6% | 38223 | 21 | 34207 | 17 | 10978 | 8 | 13207 | 14 | 15982 | 12 | 34368 | 23 | 147977 | 85 | 75 | 101200 | 90 | 89 | 200535 | 460 | 224 | 427948 | 190 | 3042 | 0 | 938 | 0 | 14312 | 14 | 15322 | 11 | 10651 | 9 | 14629 | 6 | 823 | 0 | 3564 | 0 | 1022 | 5 | 1530 | 0 | 10831 | 8 | 2277959 | 1313 | 3297 | 3 | 1452729 | 1094 | 189497 | 307 | 240409 | 328 | 42470 | 102 | 4861300 | 1600 | 478420 | 230 | 3723800 | 800 | 1839300 | 200 | 616660 | 150 | 9143400 | 500 | 22083 | 12 | 19488 | 14 | 42703 | 0 | 0 | 0 | 11984 | 20
2019-03-03 | 92% | 338489 | 461 | 560 | 579594 | 393 | 430 | 58537 | 0 | 518411 | 269 | 149292 | 0 | 34821 | 56 | 116 | 24701 | 4 | 4612371.12 | 3020.64 | 3361.68 | 9150736.56 | 5164.32 | 5359.2 | 7869546.72 | 146.16 | 0 | 11217341.52 | 8428.56 | 9110.64 | 11183773.44 | 0 | 341.04 | 10002557.04 | 5700.24 | 5797.68 | 9033564.96 | 4579.68 | 4189.92 | 8526292.32 | 5018.16 | 5359.2 | 7021623.84 | 3800.16 | 3848.88 | 10299359.28 | 5651.52 | 5554.08 | 40346400 | 0 | 0 | 44776000 | 33100 | 45700 | 39042900 | 0 | 2200 | [10 empty] | 2486430 | 3970 | 56% | 18% | -7% | 38244 | 21 | 34224 | 17 | 10985 | 7 | 13221 | 14 | 15994 | 12 | 34391 | 23 | 148062 | 85 | 71 | 101283 | 83 | 79 | 200974 | 439 | 239 | 428138 | 190 | 3042 | 0 | 938 | 0 | 14328 | 16 | 15333 | 11 | 10660 | 9 | 14637 | 8 | 823 | 0 | 3567 | 3 | 1031 | 9 | 1530 | 0 | 10856 | 25 | 2279308 | 1349 | 3300 | 3 | 1453816 | 1087 | 189806 | 309 | 240740 | 331 | 42605 | 135 | 4863100 | 1800 | 478650 | 230 | 3724700 | 900 | 1839600 | 300 | 616820 | 160 | 9144000 | 600 | 22102 | 12 | 19505 | 17 | 42703 | 0 | 0 | 0 | 12014 | 30
2019-03-04 | 92% | 338959 | 470 | 453 | 579981 | 387 | 367 | 58537 | 0 | 518670 | 259 | 149292 | 0 | 34898 | 77 | 99 | 24721 | 20 | 4615343.04 | 2971.92 | 3410.4 | 9155803.44 | 5066.88 | 5359.2 | 7869595.44 | 48.72 | 0 | 11221775.04 | 4433.52 | 8623.44 | 11183773.44 | 0 | 0 | 10008159.84 | 5602.8 | 5943.84 | 9038095.92 | 4530.96 | 5115.6 | 8531164.32 | 4872 | 5115.6 | 7025277.84 | 3654 | 3800.16 | 10304864.64 | 5505.36 | 5359.2 | 40346400 | 0 | 0 | 44808300 | 32300 | 43300 | 39042900 | 0 | 0 | [10 empty] | 2490570 | 4140 | 59% | 3% | 24% | 38265 | 21 | 34239 | 15 | 10993 | 8 | 13235 | 14 | 15998 | 4 | 34411 | 20 | 148146 | 84 | 76 | 101360 | 77 | 77 | 201402 | 428 | 262 | 428328 | 190 | 3042 | 0 | 938 | 0 | 14343 | 15 | 15342 | 9 | 10669 | 9 | 14645 | 8 | 824 | 1 | 3567 | 0 | 1031 | 0 | 1530 | 0 | 10872 | 16 | 2280610 | 1302 | 3302 | 2 | 1454907 | 1091 | 190113 | 307 | 241070 | 330 | 42752 | 147 | 4864800 | 1700 | 478870 | 220 | 3725600 | 900 | 1839800 | 200 | 616980 | 160 | 9144600 | 600 | 22120 | 12 | 19522 | 17 | 42703 | 0 | 0 | 0 | 12042 | 28
2019-03-05 | 90% | 339405 | 446 | 487 | 580353 | 372 | 370 | 58537 | 0 | 518903 | 233 | 149292 | 0 | 34963 | 65 | 103 | 24733 | 12 | 4618461.12 | 3118.08 | 3312.96 | 9160919.04 | 5115.6 | 5359.2 | 7869595.44 | 0 | 0 | 11228157.36 | 6382.32 | 9402.96 | 11183773.44 | 0 | 0 | 10013713.92 | 5554.08 | 5602.8 | 9042383.28 | 4287.36 | 4725.84 | 8536182.48 | 5018.16 | 5407.92 | 7028688.24 | 3410.4 | 4287.36 | 10310370 | 5505.36 | 5554.08 | 40346400 | 0 | 0 | 44840900 | 32600 | 47600 | 39042900 | 0 | 0 | [10 empty] | 2494010 | 3440 | 50% | -9% | -9% | 38286 | 21 | 34256 | 17 | 11000 | 7 | 13248 | 13 | 16006 | 8 | 34434 | 23 | 148231 | 85 | 67 | 101435 | 75 | 77 | 201834 | 432 | 239 | 428518 | 190 | 3042 | 0 | 938 | 0 | 14357 | 14 | 15352 | 10 | 10678 | 9 | 14653 | 8 | 824 | 0 | 3567 | 0 | 1044 | 13 | 1530 | 0 | 10888 | 16 | 2281899 | 1289 | 3305 | 3 | 1455980 | 1073 | 190423 | 310 | 241404 | 334 | 42899 | 147 | 4866700 | 1900 | 479070 | 200 | 3726700 | 1100 | 1840100 | 300 | 617140 | 160 | 9145300 | 700 | 22138 | 12 | 19539 | 17 | 42703 | 0 | 0 | 0 | 12070 | 28
2019-03-06 | 84% | 339850 | 445 | 468 | 580727 | 374 | 364 | 58537 | 0 | 519152 | 249 | 149292 | 0 | 35023 | 60 | 101 | 24734 | 1 | 4621481.76 | 3020.64 | 3410.4 | 9165888.48 | 4969.44 | 5261.76 | 7869741.6 | 146.16 | 0 | 11235416.64 | 7259.28 | 8964.48 | 11183773.44 | 0 | 0 | 10019268 | 5554.08 | 5846.4 | 9046865.52 | 4482.24 | 4628.4 | 8541005.76 | 4823.28 | 5018.16 | 7032098.64 | 3410.4 | 3751.44 | 10315729.2 | 5359.2 | 5456.64 | 40346400 | 0 | 0 | 44879300 | 38400 | 44700 | 39042900 | 0 | 0 | [10 empty] | 2497740 | 3730 | 40% | -10% | -7% | 38307 | 21 | 34274 | 18 | 11007 | 7 | 13263 | 15 | 16019 | 13 | 34456 | 22 | 148314 | 83 | 68 | 101515 | 80 | 77 | 202165 | 331 | 242 | 428706 | 188 | 3042 | 0 | 938 | 0 | 14371 | 14 | 15362 | 10 | 10687 | 9 | 14662 | 9 | 824 | 0 | 3567 | 0 | 1044 | 0 | 1530 | 0 | 10903 | 15 | 2283161 | 1262 | 3308 | 3 | 1457092 | 1112 | 190738 | 315 | 241732 | 328 | 43047 | 148 | 4869300 | 2600 | 479260 | 190 | 3728000 | 1300 | 1840400 | 300 | 617300 | 160 | 9146100 | 800 | 22154 | 12 | 19556 | 17 | 42703 | 0 | 0 | 0 | 12098 | 28
2019-03-07 | 92% | 340411 | 561 | 486 | 581195 | 468 | 383 | 58537 | 0 | 519327 | 175 | 149292 | 0 | 35099 | 76 | 98 | 24756 | 22 | 4624989.6 | 3507.84 | 3410.4 | 9171442.56 | 5554.08 | 5456.64 | 7869790.32 | 48.72 | 0 | 11243552.88 | 8136.24 | 8428.56 | 11183773.44 | 0 | 0 | 10025504.16 | 6236.16 | 5846.4 | 9051932.4 | 5066.88 | 4384.8 | 8546364.96 | 5359.2 | 4969.44 | 7036142.4 | 4043.76 | 3605.28 | 10321624.32 | 5895.12 | 5456.64 | 40346400 | 0 | 0 | 44919700 | 40400 | 43200 | 39042900 | 0 | 0 | [10 empty] | 2502360 | 4620 | 40% | 0% | 26% | 38330 | 23 | 34291 | 17 | 11015 | 8 | 13276 | 13 | 16035 | 16 | 34479 | 23 | 148406 | 92 | 65 | 101604 | 89 | 74 | 202522 | 357 | 236 | 428911 | 205 | 3042 | 0 | 938 | 0 | 14391 | 20 | 15373 | 11 | 10697 | 10 | 14670 | 8 | 824 | 0 | 3567 | 0 | 1044 | 0 | 1530 | 0 | 10912 | 9 | 2284575 | 1414 | 3311 | 3 | 1458173 | 1081 | 191051 | 313 | 242065 | 333 | 43197 | 150 | 4872100 | 2800 | 479520 | 260 | 3729400 | 1400 | 1840700 | 300 | 617470 | 170 | 9147000 | 900 | 22174 | 12 | 19574 | 18 | 42703 | 0 | 0 | 0 | 12128 | 30
2019-03-08 | 95% | 340879 | 468 | 522 | 581589 | 394 | 415 | 58537 | 0 | 519403 | 76 | 149292 | 0 | 35171 | 72 | 104 | 24770 | 14 | 4628107.68 | 3118.08 | 3556.56 | 9176704.32 | 5261.76 | 5407.92 | 7869839.04 | 48.72 | 0 | 11250763.44 | 7210.56 | 9549.12 | 11183773.44 | 0 | 0 | 10031301.84 | 5797.68 | 6041.28 | 9056853.12 | 4920.72 | 4725.84 | 8551675.44 | 5310.48 | 5213.04 | 7039942.56 | 3800.16 | 3605.28 | 10327227.12 | 5602.8 | 5895.12 | 40346400 | 0 | 0 | 44956500 | 36800 | 48600 | 39042900 | 0 | 0 | [10 empty] | 2506010 | 3650 | 35% | -5% | -6% | 38355 | 25 | 34312 | 21 | 11023 | 8 | 13291 | 15 | 16052 | 17 | 34511 | 32 | 148483 | 77 | 66 | 101681 | 77 | 79 | 202880 | 358 | 226 | 429087 | 176 | 3042 | 0 | 938 | 0 | 14405 | 14 | 15384 | 11 | 10710 | 13 | 14680 | 10 | 824 | 0 | 3567 | 0 | 1044 | 0 | 1530 | 0 | 10924 | 12 | 2286068 | 1493 | 3314 | 3 | 1459284 | 1111 | 191361 | 310 | 242392 | 327 | 43345 | 148 | 4874500 | 2400 | 479760 | 240 | 3730500 | 1100 | 1840900 | 200 | 617630 | 160 | 9147800 | 800 | 22193 | 12 | 19591 | 17 | 42703 | 0 | 0 | 0 | 12169 | 41
2019-03-09 | 94% | 341363 | 484 | 502 | 581996 | 407 | 392 | 58537 | 0 | 519535 | 132 | 149292 | 0 | 35235 | 64 | 117 | 24771 | 1 | 4630056.48 | 1948.8 | 3069.36 | 9181381.44 | 4677.12 | 4920.72 | 7870813.44 | 974.4 | 0 | 11251299.36 | 535.92 | 9256.8 | 11190594.24 | 6820.8 | 0 | 10036661.04 | 5359.2 | 5407.92 | 9060653.28 | 3800.16 | 4482.24 | 8556011.52 | 4336.08 | 4579.68 | 7043011.92 | 3069.36 | 2971.92 | 10332732.48 | 5505.36 | 5407.92 | 40346400 | 0 | 0 | 44962600 | 6100 | 47500 | 39072400 | 29500 | 0 | [10 empty] | 2509920 | 3910 | 40% | 5% | -6% | 38373 | 18 | 34325 | 13 | 11029 | 6 | 13301 | 10 | 16055 | 3 | 34530 | 19 | 148569 | 86 | 69 | 101763 | 82 | 57 | 203247 | 367 | 207 | 429279 | 192 | 3042 | 0 | 938 | 0 | 14425 | 20 | 15401 | 17 | 10719 | 9 | 14690 | 10 | 824 | 0 | 3567 | 0 | 1044 | 0 | 1530 | 0 | 10930 | 6 | 2287470 | 1402 | 3317 | 3 | 1460430 | 1146 | 191675 | 314 | 242728 | 336 | 43493 | 148 | 4877000 | 2500 | 480020 | 260 | 3731600 | 1100 | 1841200 | 300 | 617800 | 170 | 9148600 | 800 | 22212 | 12 | 19609 | 18 | 42703 | 0 | 0 | 0 | 12186 | 17
2019-03-10 | 80% | 341815 | 452 | 514 | 582363 | 367 | 406 | 58537 | 0 | 519785 | 250 | 149292 | 0 | 35311 | 76 | 104 | 24793 | 22 | 4632200.16 | 2143.68 | 3556.56 | 9186497.04 | 5115.6 | 5359.2 | 7871690.4 | 876.96 | 6333.6 | 11251445.52 | 146.16 | 292.32 | 11198097.12 | 7502.88 | 48.72 | 10042312.56 | 5651.52 | 6187.44 | 9064940.64 | 4287.36 | 4774.56 | 8560980.96 | 4969.44 | 5651.52 | 7046763.36 | 3751.44 | 4043.76 | 10338286.56 | 5554.08 | 5797.68 | 40346400 | 0 | 49200 | 44962600 | 0 | 1800 | 39107200 | 34800 | 0 | [10 empty] | 2513410 | 3490 | 43% | 3% | -7% | 38393 | 20 | 34340 | 15 | 11036 | 7 | 13313 | 12 | 16065 | 10 | 34555 | 25 | 148653 | 84 | 67 | 101843 | 80 | 91 | 203657 | 410 | 206 | 429467 | 188 | 3042 | 0 | 938 | 0 | 14440 | 15 | 15414 | 13 | 10729 | 10 | 14698 | 8 | 824 | 0 | 3567 | 0 | 1071 | 27 | 1530 | 0 | 10946 | 16 | 2288840 | 1370 | 3320 | 3 | 1461508 | 1078 | 191984 | 309 | 243057 | 329 | 43636 | 143 | 4879100 | 2100 | 480250 | 230 | 3732800 | 1200 | 1841500 | 300 | 617960 | 160 | 9149300 | 700 | 22233 | 12 | 19626 | 17 | 42703 | 0 | 0 | 0 | 12212 | 26
2019-03-11 | 70% | 342257 | 442 | 493 | 582730 | 367 | 371 | 58537 | 0 | 519967 | 182 | 149292 | 0 | 35384 | 73 | 142 | 24809 | 16 | 4634295.12 | 2094.96 | 3556.56 | 9191515.2 | 5018.16 | 5261.76 | 7872567.36 | 876.96 | 6528.48 | 11251494.24 | 48.72 | 146.16 | 11205405.12 | 7308 | 0 | 10047671.76 | 5359.2 | 5846.4 | 9069471.6 | 4530.96 | 4872 | 8565901.68 | 4920.72 | 5310.48 | 7050319.92 | 3556.56 | 3751.44 | 10343743.2 | 5456.64 | 5943.84 | 40346400 | 0 | 52000 | 44962600 | 0 | 0 | 39141100 | 33900 | 0 | [10 empty] | 2516910 | 3500 | 50% | 7% | -8% | 38415 | 22 | 34357 | 17 | 11044 | 8 | 13326 | 13 | 16082 | 17 | 34575 | 20 | 148737 | 84 | 70 | 101919 | 76 | 78 | 204003 | 346 | 254 | 429657 | 190 | 3042 | 0 | 938 | 0 | 14453 | 13 | 15425 | 11 | 10737 | 8 | 14707 | 9 | 824 | 0 | 3567 | 0 | 1071 | 0 | 1530 | 0 | 10965 | 19 | 2290209 | 1369 | 3322 | 2 | 1462605 | 1097 | 192294 | 310 | 243391 | 334 | 43784 | 148 | 4881400 | 2300 | 480490 | 240 | 3734000 | 1200 | 1841800 | 300 | 618130 | 170 | 9150000 | 700 | 22251 | 12 | 19642 | 16 | 42703 | 0 | 0 | 0 | 12239 | 27
2019-03-12 | 70% | 342701 | 444 | 514 | 583105 | 375 | 393 | 58537 | 0 | 520218 | 251 | 149292 | 0 | 35445 | 61 | 140 | 24810 | 1 | 4636536.24 | 2241.12 | 3751.44 | 9196728.24 | 5213.04 | 5359.2 | 7873590.48 | 1023.12 | 7405.44 | 11251542.96 | 48.72 | 243.6 | 11213102.88 | 7697.76 | 0 | 10053079.68 | 5407.92 | 5748.96 | 9073953.84 | 4482.24 | 4384.8 | 8571066 | 5164.32 | 5213.04 | 7054022.64 | 3702.72 | 3995.04 | 10349297.28 | 5554.08 | 5992.56 | 40346400 | 0 | 62200 | 44962600 | 0 | 0 | 39176300 | 35200 | 0 | [10 empty] | 2520610 | 3700 | 54% | 4% | -6% | 38437 | 22 | 34374 | 17 | 11052 | 8 | 13338 | 12 | 16096 | 14 | 34599 | 24 | 148822 | 85 | 69 | 101994 | 75 | 74 | 204409 | 406 | 149 | 429849 | 192 | 3042 | 0 | 938 | 0 | 14464 | 11 | 15435 | 10 | 10746 | 9 | 14713 | 6 | 824 | 0 | 3567 | 0 | 1080 | 9 | 1530 | 0 | 10983 | 18 | 2291524 | 1315 | 3325 | 3 | 1463688 | 1083 | 192603 | 309 | 243721 | 330 | 43931 | 147 | 4883800 | 2400 | 480740 | 250 | 3735200 | 1200 | 1842100 | 300 | 618290 | 160 | 9150800 | 800 | 22269 | 12 | 19658 | 16 | 42703 | 0 | 0 | 0 | 12267 | 28
2019-03-13 | 75% | 343153 | 452 | 516 | 583468 | 363 | 384 | 58537 | 0 | 520437 | 219 | 149292 | 0 | 35530 | 85 | 141 | 24833 | 23 | 4638679.92 | 2143.68 | 2582.16 | 9201795.12 | 5066.88 | 5213.04 | 7874662.32 | 1071.84 | 8233.68 | 11251737.84 | 194.88 | 194.88 | 11221287.84 | 8184.96 | 48.72 | 10058536.32 | 5456.64 | 5748.96 | 9078387.36 | 4433.52 | 4433.52 | 8576084.16 | 5018.16 | 5164.32 | 7057627.92 | 3605.28 | 3702.72 | 10354851.36 | 5554.08 | 5992.56 | 40346400 | 0 | 62600 | 44962600 | 0 | 0 | 39215900 | 39600 | 0 | [10 empty] | 2523940 | 3330 | 70% | 16% | -6% | 38457 | 20 | 34390 | 16 | 11059 | 7 | 13347 | 9 | 16108 | 12 | 34622 | 23 | 148903 | 81 | 67 | 102072 | 78 | 67 | 204727 | 318 | 173 | 430033 | 184 | 3042 | 0 | 938 | 0 | 14481 | 17 | 15444 | 9 | 10755 | 9 | 14721 | 8 | 824 | 0 | 3567 | 0 | 1080 | 0 | 1530 | 0 | 10995 | 12 | 2292863 | 1339 | 3328 | 3 | 1464801 | 1113 | 192932 | 329 | 244060 | 339 | 44079 | 148 | 4886800 | 3000 | 481000 | 260 | 3736800 | 1600 | 1842400 | 300 | 618470 | 180 | 9152100 | 1300 | 22288 | 12 | 19675 | 17 | 42703 | 0 | 0 | 0 | 12295 | 28
2019-03-14 | 81% | 343644 | 491 | 538 | 583861 | 393 | 378 | 58537 | 0 | 520658 | 221 | 149292 | 0 | 35617 | 87 | 118 | 24850 | 17 | 4640872.32 | 2192.4 | 2094.96 | 9206862 | 5066.88 | 5310.48 | 7875831.6 | 1169.28 | 7356.72 | 11251786.56 | 48.72 | 194.88 | 11230203.6 | 8915.76 | 0 | 10062482.64 | 3946.32 | 5895.12 | 9083210.64 | 4823.28 | 4677.12 | 8581199.76 | 5115.6 | 5115.6 | 7061720.4 | 4092.48 | 3751.44 | 10360454.16 | 5602.8 | 6041.28 | 40346400 | 0 | 54700 | 44962600 | 0 | 0 | 39259300 | 43400 | 0 | [10 empty] | 2527580 | 3640 | 65% | -5% | 11% | 38479 | 22 | 34406 | 16 | 11066 | 7 | 13361 | 14 | 16124 | 16 | 34647 | 25 | 148988 | 85 | 70 | 102151 | 79 | 77 | 205033 | 306 | 202 | 430225 | 192 | 3042 | 0 | 938 | 0 | 14500 | 19 | 15456 | 12 | 10766 | 11 | 14728 | 7 | 824 | 0 | 3567 | 0 | 1080 | 0 | 1530 | 0 | 11012 | 17 | 2294260 | 1397 | 3331 | 3 | 1465922 | 1121 | 193241 | 309 | 244387 | 327 | 44226 | 147 | 4889700 | 2900 | 481260 | 260 | 3738100 | 1300 | 1842700 | 300 | 618640 | 170 | 9153500 | 1400 | 22310 | 12 | 19693 | 18 | 42703 | 0 | 0 | 0 | 12325 | 30
2019-03-15 | 89% | 344126 | 482 | 511 | 584258 | 397 | 400 | 58537 | 0 | 520787 | 129 | 149292 | 0 | 35688 | 71 | 121 | 24854 | 4 | 4643064.72 | 2192.4 | 2094.96 | 9211782.72 | 4920.72 | 5115.6 | 7875831.6 | 0 | 7697.76 | 11251786.56 | 0 | 194.88 | 11238778.32 | 8574.72 | 0 | 10069741.92 | 7259.28 | 5797.68 | 9087351.84 | 4141.2 | 4530.96 | 8587971.84 | 6772.08 | 4969.44 | 7065276.96 | 3556.56 | 3556.56 | 10366154.4 | 5700.24 | 5895.12 | 40346400 | 0 | 57900 | 44962600 | 0 | 0 | 39299900 | 40600 | 0 | [10 empty] | 2531400 | 3820 | 58% | -7% | -6% | 38500 | 21 | 34424 | 18 | 11074 | 8 | 13375 | 14 | 16132 | 8 | 34674 | 27 | 149070 | 82 | 68 | 102245 | 94 | 66 | 205364 | 331 | 159 | 430412 | 187 | 3042 | 0 | 938 | 0 | 14515 | 15 | 15468 | 12 | 10777 | 11 | 14736 | 8 | 824 | 0 | 3567 | 0 | 1080 | 0 | 1530 | 0 | 11030 | 18 | 2295754 | 1494 | 3334 | 3 | 1467079 | 1157 | 193552 | 311 | 244781 | 394 | 44379 | 153 | 4892700 | 3000 | 481510 | 250 | 3739500 | 1400 | 1843000 | 300 | 618810 | 170 | 9154900 | 1400 | 22330 | 12 | 19710 | 17 | 42703 | 0 | 0 | 0 | 12350 | 25
2019-03-16 | 91% | 344618 | 492 | 534 | 584704 | 446 | 401 | 58537 | 0 | 520924 | 137 | 149292 | 0 | 35791 | 103 | 145 | 24876 | 22 | 4645500.72 | 2436 | 1851.36 | 9216752.16 | 4969.44 | 5359.2 | 7877000.88 | 1169.28 | 8769.6 | 11252030.16 | 243.6 | 194.88 | 11241116.88 | 2338.56 | 0 | 10075198.56 | 5456.64 | 5992.56 | 9092077.68 | 4725.84 | 4823.28 | 8591430.96 | 3459.12 | 5261.76 | 7068930.96 | 3654 | 4043.76 | 10371659.76 | 5505.36 | 6041.28 | 40389200 | 42800 | 63000 | 44962600 | 0 | 0 | 39308200 | 8300 | 0 | [10 empty] | 2535920 | 4520 | 50% | -8% | -4% | 38522 | 22 | 34441 | 17 | 11081 | 7 | 13388 | 13 | 16147 | 15 | 34696 | 22 | 149154 | 84 | 68 | 102326 | 81 | 66 | 205649 | 285 | 143 | 430599 | 187 | 3042 | 0 | 938 | 0 | 14537 | 22 | 15483 | 15 | 10789 | 12 | 14749 | 13 | 824 | 0 | 3567 | 0 | 1085 | 5 | 1530 | 0 | 11030 | 0 | 2297124 | 1370 | 3337 | 3 | 1468216 | 1137 | 193867 | 315 | 245052 | 271 | 44521 | 142 | 4896100 | 3400 | 481750 | 240 | 3741100 | 1600 | 1843300 | 300 | 619000 | 190 | 9156700 | 1800 | 22351 | 12 | 19730 | 20 | 42703 | 0 | 0 | 0 | 12365 | 15
2019-03-17 | 0% | 345158 | 540 | 538 | 585129 | 425 | 403 | 58537 | 0 | 521165 | 241 | 149292 | 0 | 35899 | 108 | 143 | 24899 | 23 | 4648131.6 | 2630.88 | 2387.28 | 9221819.04 | 5066.88 | 5261.76 | 7880508.72 | 3507.84 | 1266.72 | 11252127.6 | 97.44 | 97.44 | 11242140 | 1023.12 | 12959.52 | 10080655.2 | 5456.64 | 5895.12 | 9096754.8 | 4677.12 | 4823.28 | 8596497.84 | 5066.88 | 5066.88 | 7072487.52 | 3556.56 | 3800.16 | 10377311.28 | 5651.52 | 6041.28 | 40444200 | 55000 | 3100 | 44962600 | 0 | 0 | 39308200 | 0 | 60500 | [10 empty] | 2540170 | 4250 | 40% | -10% | 17% | 38544 | 22 | 34456 | 15 | 11087 | 6 | 13404 | 16 | 16155 | 8 | 34719 | 23 | 149238 | 84 | 76 | 102417 | 91 | 76 | 205919 | 270 | 139 | 430787 | 188 | 3042 | 0 | 938 | 0 | 14551 | 14 | 15493 | 10 | 10800 | 11 | 14762 | 13 | 824 | 0 | 3567 | 0 | 1110 | 25 | 1530 | 0 | 11047 | 17 | 2298512 | 1388 | 3340 | 3 | 1469303 | 1087 | 194241 | 374 | 245386 | 334 | 44666 | 145 | 4900100 | 4000 | 482050 | 300 | 3743000 | 1900 | 1843600 | 300 | 619180 | 180 | 9158500 | 1800 | 22368 | 12 | 19746 | 16 | 42703 | 0 | 0 | 0 | 12383 | 18
2019-03-18 | 0% | 345634 | 476 | 520 | 585516 | 387 | 388 | 58537 | 0 | 521405 | 240 | 149292 | 0 | 35965 | 66 | 123 | 24903 | 4 | 4650226.56 | 2094.96 | 2094.96 | 9226788.48 | 4969.44 | 5261.76 | 7902384 | 21875.28 | 633.36 | 11252127.6 | 0 | 389.76 | 11243114.4 | 974.4 | 11351.76 | 10085965.68 | 5310.48 | 5797.68 | 9100896 | 4141.2 | 4823.28 | 8601321.12 | 4823.28 | 5115.6 | 7075800.48 | 3312.96 | 3654 | 10382865.36 | 5554.08 | 6041.28 | 40482200 | 38000 | 0 | 44962600 | 0 | 0 | 39308200 | 0 | 56200 | [10 empty] | 2544100 | 3930 | 52% | 12% | -7% | 38565 | 21 | 34474 | 18 | 11095 | 8 | 13410 | 6 | 16170 | 15 | 34743 | 24 | 149323 | 85 | 69 | 102494 | 77 | 70 | 206210 | 291 | 219 | 430979 | 192 | 3042 | 0 | 938 | 0 | 14565 | 14 | 15504 | 11 | 10809 | 9 | 14774 | 12 | 824 | 0 | 3567 | 0 | 1116 | 6 | 1530 | 0 | 11064 | 17 | 2299870 | 1358 | 3343 | 3 | 1470424 | 1121 | 194611 | 370 | 245717 | 331 | 44813 | 147 | 4902100 | 2000 | 482310 | 260 | 3744600 | 1600 | 1843900 | 300 | 619350 | 170 | 9160210 | 1710 | 22386 | 12 | 19763 | 17 | 42703 | 0 | 0 | 0 | 12411 | 28
2019-03-19 | 0% | 346104 | 470 | 488 | 585907 | 391 | 366 | 58537 | 0 | 521663 | 258 | 149292 | 0 | 36038 | 73 | 122 | 24916 | 13 | 4652272.8 | 2046.24 | 2046.24 | 9231952.8 | 5164.32 | 5456.64 | 7909399.68 | 7015.68 | 389.76 | 11252273.76 | 146.16 | 48.72 | 11243991.36 | 876.96 | 10815.84 | 10091568.48 | 5602.8 | 6090 | 9105134.64 | 4238.64 | 5066.88 | 8606290.56 | 4969.44 | 5164.32 | 7079308.32 | 3507.84 | 3800.16 | 10388370.72 | 5505.36 | 6333.6 | 40518700 | 36500 | 0 | 44962400 | -200 | 0 | 39308200 | 0 | 49200 | [10 empty] | 2548300 | 4200 | 43% | -9% | -6% | 38585 | 20 | 34491 | 17 | 11103 | 8 | 13420 | 10 | 16179 | 9 | 34766 | 23 | 149404 | 81 | 69 | 102569 | 75 | 63 | 206578 | 368 | 243 | 431179 | 200 | 3042 | 0 | 938 | 0 | 14578 | 13 | 15515 | 11 | 10820 | 11 | 14785 | 11 | 824 | 0 | 3567 | 0 | 1121 | 5 | 1530 | 0 | 11082 | 18 | 2301198 | 1328 | 3348 | 5 | 1471551 | 1127 | 195002 | 391 | 245960 | 243 | 44960 | 147 | 4903800 | 1700 | 482580 | 270 | 3746100 | 1500 | 1844200 | 300 | 619520 | 170 | 9161000 | 790 | 22405 | 12 | 19780 | 17 | 42703 | 0 | 0 | 0 | 12441 | 30
2019-03-20 | 0% | 346568 | 464 | 477 | 586289 | 382 | 356 | 58537 | 0 | 521726 | 63 | 149292 | 0 | 36112 | 74 | 112 | 24928 | 12 | 4654562.64 | 2289.84 | 1753.92 | 9237117.12 | 5164.32 | 5066.88 | 7916756.4 | 7356.72 | 389.76 | 11252322.48 | 48.72 | 48.72 | 11245063.2 | 1071.84 | 10669.68 | 10097025.12 | 5456.64 | 5700.24 | 9109568.16 | 4433.52 | 4920.72 | 8611406.16 | 5115.6 | 4725.84 | 7082816.16 | 3507.84 | 3264.24 | 10393827.36 | 5456.64 | 5797.68 | 40557500 | 38800 | 0 | 44962400 | 0 | 0 | 39308200 | 0 | 52100 | [10 empty] | 2552140 | 3840 | 58% | 15% | -6% | 38605 | 20 | 34509 | 18 | 11111 | 8 | 13432 | 12 | 16193 | 14 | 34788 | 22 | 149486 | 82 | 69 | 102649 | 80 | 64 | 206948 | 370 | 173 | 431347 | 168 | 3042 | 0 | 938 | 0 | 14594 | 16 | 15529 | 14 | 10830 | 10 | 14797 | 12 | 824 | 0 | 3567 | 0 | 1127 | 6 | 1530 | 0 | 11091 | 9 | 2302618 | 1420 | 3351 | 3 | 1472717 | 1166 | 195400 | 398 | 246123 | 163 | 45113 | 153 | 4905600 | 1800 | 482860 | 280 | 3747700 | 1600 | 1844500 | 300 | 619520 | 0 | 9161000 | 0 | 22425 | 12 | 19797 | 17 | 42703 | 0 | 0 | 0 | 12469 | 28
2019-03-21 | 0% | 347095 | 527 | 476 | 586707 | 418 | 350 | 58537 | 0 | 521809 | 83 | 149292 | 0 | 36190 | 78 | 123 | 24934 | 6 | 4656755.04 | 2192.4 | 2094.96 | 9242184 | 5066.88 | 5407.92 | 7925964.48 | 9208.08 | 584.64 | 11252371.2 | 48.72 | 48.72 | 11246281.2 | 1218 | 11059.44 | 10102579.2 | 5554.08 | 6236.16 | 9114294 | 4725.84 | 5018.16 | 8616765.36 | 5359.2 | 5164.32 | 7086616.32 | 3800.16 | 4238.64 | 10399381.44 | 5554.08 | 6090 | 40607100 | 49600 | 0 | 44962400 | 0 | 0 | 39308200 | 0 | 52300 | [10 empty] | 2556250 | 4110 | 65% | 7% | 17% | 38626 | 21 | 34518 | 9 | 11114 | 3 | 13445 | 13 | 16195 | 2 | 34808 | 20 | 149570 | 84 | 75 | 102738 | 89 | 62 | 207253 | 305 | 166 | 431534 | 187 | 3042 | 0 | 938 | 0 | 14616 | 22 | 15539 | 10 | 10840 | 10 | 14807 | 10 | 824 | 0 | 3567 | 0 | 1132 | 5 | 1530 | 0 | 11099 | 8 | 2304020 | 1402 | 3354 | 3 | 1473875 | 1158 | 195792 | 392 | 246317 | 194 | 45259 | 146 | 4908700 | 3100 | 483130 | 270 | 3749900 | 2200 | 1844800 | 300 | 619880 | 360 | 9163100 | 2100 | 22445 | 12 | 19813 | 16 | 42703 | 0 | 0 | 0 | 12499 | 30
2019-03-22 | 0% | 347617 | 522 | 505 | 587134 | 427 | 382 | 58537 | 0 | 521962 | 153 | 149292 | 0 | 36295 | 105 | 124 | 24956 | 22 | 4658947.44 | 2192.4 | 1997.52 | 9247056 | 4872 | 5213.04 | 7935026.4 | 9061.92 | 487.2 | 11252566.08 | 194.88 | 97.44 | 11247158.16 | 876.96 | 11400.48 | 10108182 | 5602.8 | 6041.28 | 9118873.68 | 4579.68 | 5018.16 | 8621880.96 | 5115.6 | 5164.32 | 7090416.48 | 3800.16 | 3848.88 | 10404935.52 | 5554.08 | 6041.28 | 40656100 | 49000 | 0 | 44962400 | 0 | 0 | 39308200 | 0 | 55800 | [10 empty] | 2560330 | 4080 | 60% | -5% | -4% | 38650 | 24 | 34544 | 26 | 11125 | 11 | 13453 | 8 | 16216 | 21 | 34836 | 28 | 149659 | 89 | 67 | 102823 | 85 | 63 | 207516 | 263 | 145 | 431733 | 199 | 3042 | 0 | 938 | 0 | 14639 | 23 | 15559 | 20 | 10853 | 13 | 14815 | 8 | 824 | 0 | 3567 | 0 | 1138 | 6 | 1530 | 0 | 11122 | 23 | 2305483 | 1463 | 3356 | 2 | 1474987 | 1112 | 196188 | 396 | 246515 | 198 | 45407 | 148 | 4910900 | 2200 | 483390 | 260 | 3751700 | 1800 | 1845100 | 300 | 619880 | 0 | 9163100 | 0 | 22465 | 12 | 19813 | 0 | 42703 | 0 | 0 | 0 | 12528 | 29
2019-03-23 | 0% | 348144 | 527 | 548 | 587558 | 424 | 416 | 58537 | 0 | 522219 | 257 | 149292 | 0 | 36399 | 104 | 154 | 24976 | 20 | 4661432.16 | 2484.72 | 2046.24 | 9252415.2 | 5359.2 | 5359.2 | 7936488 | 1461.6 | 535.92 | 11260458.72 | 7892.64 | 48.72 | 11247694.08 | 535.92 | 13544.16 | 10113930.96 | 5748.96 | 5846.4 | 9123355.92 | 4482.24 | 5115.6 | 8627191.44 | 5310.48 | 5407.92 | 7093924.32 | 3507.84 | 4092.48 | 10410635.76 | 5700.24 | 6187.44 | 40664700 | 8600 | 0 | 45002500 | 40100 | 0 | 39308200 | 0 | 64300 | [10 empty] | 2564280 | 3950 | 52% | -8% | 27% | 38674 | 24 | 34563 | 19 | 11133 | 8 | 13466 | 13 | 16232 | 16 | 34858 | 22 | 149744 | 85 | 72 | 102909 | 86 | 66 | 207834 | 318 | 139 | 431922 | 189 | 3042 | 0 | 938 | 0 | 14653 | 14 | 15569 | 10 | 10863 | 10 | 14822 | 7 | 824 | 0 | 3567 | 0 | 1143 | 5 | 1530 | 0 | 11132 | 10 | 2306912 | 1429 | 3359 | 3 | 1476165 | 1178 | 196587 | 399 | 246762 | 247 | 45554 | 147 | 4914000 | 3100 | 483650 | 260 | 3753500 | 1800 | 1845400 | 300 | 620240 | 360 | 9165800 | 2700 | 22486 | 12 | 19848 | 35 | 42703 | 0 | 0 | 0 | 12558 | 30
2019-03-24 | 0% | 348669 | 525 | 567 | 587951 | 393 | 446 | 58537 | 0 | 522455 | 236 | 149292 | 0 | 36509 | 110 | 142 | 24990 | 14 | 4664257.92 | 2825.76 | 1948.8 | 9257287.2 | 4872 | 5407.92 | 7937657.28 | 1169.28 | 584.64 | 11270348.88 | 9890.16 | 11303.04 | 11247840.24 | 146.16 | 925.68 | 10119533.76 | 5602.8 | 5895.12 | 9127935.6 | 4579.68 | 5066.88 | 8632307.04 | 5115.6 | 5261.76 | 7097042.4 | 3118.08 | 3995.04 | 10415848.8 | 5213.04 | 6041.28 | 40664700 | 0 | 3900 | 45059000 | 56500 | 54100 | 39308200 | 0 | 3900 | [10 empty] | 2568260 | 3980 | 41% | -11% | -3% | 38696 | 22 | 34581 | 18 | 11141 | 8 | 13477 | 11 | 16249 | 17 | 34884 | 26 | 149830 | 86 | 69 | 102999 | 90 | 64 | 208158 | 324 | 146 | 432114 | 192 | 3042 | 0 | 938 | 0 | 14670 | 17 | 15581 | 12 | 10872 | 9 | 14828 | 6 | 824 | 0 | 3567 | 0 | 1150 | 7 | 1530 | 0 | 11148 | 16 | 2308293 | 1381 | 3362 | 3 | 1477302 | 1137 | 196986 | 399 | 247036 | 274 | 45699 | 145 | 4916700 | 2700 | 483960 | 310 | 3755700 | 2200 | 1845700 | 300 | 620460 | 220 | 9170400 | 4600 | 22505 | 12 | 19864 | 16 | 42703 | 0 | 0 | 0 | 12590 | 32
2019-03-25 | 0% | 349192 | 523 | 544 | 588352 | 401 | 447 | 58537 | 0 | 522629 | 174 | 149292 | 0 | 36629 | 120 | 163 | 25010 | 20 | 4667083.68 | 2825.76 | 2241.12 | 9262987.44 | 5700.24 | 5261.76 | 7938534.24 | 876.96 | 1023.12 | 11281164.72 | 10815.84 | 11108.16 | 11247840.24 | 0 | 633.36 | 10125185.28 | 5651.52 | 5602.8 | 9132953.76 | 5018.16 | 4920.72 | 8637325.2 | 5018.16 | 5359.2 | 7101524.64 | 4482.24 | 3654 | 10421841.36 | 5992.56 | 6041.28 | 40664700 | 0 | 6800 | 45109000 | 50000 | 58500 | 39308200 | 0 | 0 | [10 empty] | 2572550 | 4290 | 36% | -5% | -6% | 38696 | 0 | 34581 | 0 | 11141 | 0 | 13477 | 0 | 16249 | 0 | 34884 | 0 | 149915 | 85 | 69 | 103091 | 92 | 65 | 208517 | 359 | 122 | 432305 | 191 | 3042 | 0 | 938 | 0 | 14687 | 17 | 15592 | 11 | 10883 | 11 | 14835 | 7 | 824 | 0 | 3567 | 0 | 1155 | 5 | 1530 | 0 | 11164 | 16 | 2309716 | 1423 | 3365 | 3 | 1478473 | 1171 | 197408 | 422 | 247327 | 291 | 45851 | 152 | 4919900 | 3200 | 484250 | 290 | 3757800 | 2100 | 1846100 | 400 | 620670 | 210 | 9172800 | 2400 | 22524 | 12 | 19881 | 17 | 42703 | 0 | 0 | 0 | 12648 | 58
2019-03-26 | 0% | 349715 | 523 | 660 | 588739 | 387 | 421 | 58537 | 0 | 522667 | 38 | 149292 | 0 | 36758 | 129 | 162 | 25034 | 24 | 4669860.72 | 2777.04 | 2094.96 | 9268151.76 | 5164.32 | 5407.92 | 7939265.04 | 730.8 | 633.36 | 11292175.44 | 11010.72 | 12715.92 | 11247840.24 | 0 | 535.92 | 10130836.8 | 5651.52 | 5602.8 | 9137679.6 | 4725.84 | 5066.88 | 8642538.24 | 5213.04 | 4920.72 | 7105568.4 | 4043.76 | 3946.32 | 10427249.28 | 5407.92 | 6090 | 40664700 | 0 | 3800 | 45182000 | 73000 | 63400 | 39308200 | 0 | 0 | [10 empty] | 2574560 | 2010 | 50% | 14% | -5% | 38735 | 39 | 34613 | 32 | 11156 | 15 | 13498 | 21 | 16273 | 24 | 34926 | 42 | 149999 | 84 | 69 | 103185 | 94 | 61 | 208797 | 280 | 115 | 432492 | 187 | 3042 | 0 | 938 | 0 | 14699 | 12 | 15603 | 11 | 10892 | 9 | 14842 | 7 | 824 | 0 | 3567 | 0 | 1160 | 5 | 1530 | 0 | 11182 | 18 | 2311029 | 1313 | 3367 | 2 | 1479555 | 1082 | 197708 | 300 | 247592 | 265 | 45992 | 141 | 4923200 | 3300 | 484540 | 290 | 3759900 | 2100 | 1846400 | 300 | 620860 | 190 | 9175000 | 2200 | 22541 | 12 | 19896 | 15 | 42703 | 0 | 0 | 0 | 12673 | 25
2019-03-27 | 0% | 350265 | 550 | 596 | 589165 | 426 | 427 | 58537 | 0 | 522944 | 277 | 149292 | 0 | 36872 | 114 | 154 | 25070 | 36 | 4672783.92 | 2923.2 | 2046.24 | 9273413.52 | 5261.76 | 5359.2 | 7939947.12 | 682.08 | 146.16 | 11302747.68 | 10572.24 | 13251.84 | 11248083.84 | 243.6 | 584.64 | 10136537.04 | 5700.24 | 5846.4 | 9142210.56 | 4530.96 | 4969.44 | 8647848.72 | 5310.48 | 5213.04 | 7109417.28 | 3848.88 | 3800.16 | 10432803.36 | 5554.08 | 6090 | 40664700 | 0 | 0 | 45243000 | 61000 | 66300 | 39308200 | 0 | 0 | [10 empty] | 2578870 | 4310 | 40% | -10% | -6% | 38758 | 23 | 34630 | 17 | 11163 | 7 | 13503 | 5 | 16288 | 15 | 34945 | 19 | 150083 | 84 | 71 | 103279 | 94 | 63 | 209119 | 322 | 120 | 432678 | 186 | 3042 | 0 | 938 | 0 | 14715 | 16 | 15614.8 | 11.8 | 10902 | 10 | 14849 | 7 | 824 | 0 | 3567 | 0 | 1166 | 6 | 1530 | 0 | 11191 | 9 | 2312490 | 1461 | 3367 | 0 | 1480662 | 1107 | 198035 | 327 | 247854 | 262 | 46141 | 149 | 4926400 | 3200 | 484860 | 320 | 3762100 | 2200 | 1846700 | 300 | 621060 | 200 | 9176700 | 1700 | 22561 | 12 | 19912 | 16 | 42703 | 0 | 0 | 0 | 12701 | 28
2019-03-28 | 0% | 350780 | 515 | 587 | 589572 | 407 | 446 | 58537 | 0 | 522994 | 50 | 149292 | 0 | 36978 | 106 | 172 | 25070 | 0 | 4675512.24 | 2728.32 | 2094.96 | 9278577.84 | 5164.32 | 5261.76 | 7940677.92 | 730.8 | 3361.68 | 11312637.84 | 9890.16 | 10328.64 | 11248083.84 | 0 | 730.8 | 10142383.44 | 5846.4 | 5700.24 | 9146838.96 | 4628.4 | 4969.44 | 8653013.04 | 5164.32 | 5213.04 | 7113120 | 3702.72 | 3897.6 | 10438454.88 | 5651.52 | 6138.72 | 40664700 | 0 | 26100 | 45298900 | 55900 | 49900 | 39308200 | 0 | 0 | [10 empty] | 2582660 | 3790 | 65% | 25% | -5% | 38778 | 20 | 34646 | 16 | 11171 | 8 | 13523 | 20 | 16305 | 17 | 34968 | 23 | 150166 | 83 | 71 | 103368 | 89 | 70 | 209375 | 256 | 115 | 432864 | 186 | 3042 | 0 | 938 | 0 | 14732 | 17 | 15628.8 | 14 | 10914 | 12 | 14861 | 12 | 824 | 0 | 3567 | 0 | 1172 | 6 | 1530 | 0 | 11191 | 0 | 2314061 | 1571 | 3367 | 0 | 1481764 | 1102 | 198139 | 104 | 248055 | 201 | 46289 | 148 | 4929400 | 3000 | 485160 | 300 | 3764200 | 2100 | 1847000 | 300 | 621250 | 190 | 9176700 | 0 | 22582 | 12 | 19928 | 16 | 42703 | 0 | 0 | 0 | 12729 | 28
2019-03-29 | 0% | 351263 | 483 | 603 | 589977 | 405 | 427 | 58537 | 0 | 523222 | 228 | 149292 | 0 | 37070 | 92 | 149 | 25089 | 19 | 4678240.56 | 2728.32 | 1997.52 | 9283644.72 | 5066.88 | 5213.04 | 7940726.64 | 48.72 | 3410.4 | 11322284.4 | 9646.56 | 10864.56 | 11248619.76 | 535.92 | 633.36 | 10148229.84 | 5846.4 | 5895.12 | 9151516.08 | 4677.12 | 4920.72 | 8658226.08 | 5213.04 | 5115.6 | 7116530.4 | 3410.4 | 3848.88 | 10444203.84 | 5748.96 | 6236.16 | 40664700 | 0 | 25600 | 45351100 | 52200 | 54100 | 39308200 | 0 | 0 | [10 empty] | 2586250 | 3590 | 60% | -5% | -5% | 38798 | 20 | 34664 | 18 | 11178 | 7 | 13535 | 12 | 16310 | 5 | 34990 | 22 | 150250 | 84 | 70 | 103461 | 93 | 67 | 209525 | 150 | 96 | 433054 | 190 | 3042 | 0 | 938 | 0 | 14757 | 25 | 15648.6 | 19.8 | 10928 | 14 | 14869 | 8 | 824 | 0 | 3569 | 2 | 1172 | 0 | 1530 | 0 | 11216 | 25 | 2315686 | 1625 | 3367 | 0 | 1482898 | 1134 | 198756 | 617 | 248336 | 281 | 46436 | 147 | 4929400 | 0 | 485160 | 0 | 3764200 | 0 | 1847000 | 0 | 621250 | 0 | 9176700 | 0 | 22606 | 12 | 19949 | 21 | 42703 | 0 | 0 | 0 | 12764 | 35
2019-03-30 | 0% | 351776 | 513 | 617 | 590379 | 402 | 452 | 58537 | 0 | 523468 | 246 | 149292 | 0 | 37173 | 103 | 187 | 25106 | 17 | 4680335.52 | 2094.96 | 1997.52 | 9288614.16 | 4969.44 | 5213.04 | 7941408.72 | 682.08 | 1997.52 | 11323551.12 | 1266.72 | 11303.04 | 11257340.64 | 8720.88 | 584.64 | 10154027.52 | 5797.68 | 5992.56 | 9156290.64 | 4774.56 | 5164.32 | 8663049.36 | 4823.28 | 5359.2 | 7119404.88 | 2874.48 | 3995.04 | 10449611.76 | 5407.92 | 6187.44 | 40664700 | 0 | 15000 | 45360300 | 9200 | 54000 | 39348200 | 40000 | 0 | [10 empty] | 2586250 | 0 | 78% | 18% | 21% | 38821 | 23 | 34681 | 17 | 11185 | 7 | 13548 | 13 | 16312 | 2 | 35013 | 23 | 150342 | 92 | 68 | 103551 | 90 | 68 | 209652 | 127 | 110 | 433239 | 185 | 3042 | 0 | 938 | 0 | 14770 | 13 | 15657 | 8.4 | 10937 | 9 | 14876 | 7 | 824 | 0 | 3569 | 0 | 1172 | 0 | 1530 | 0 | 11216 | 0 | 2317154 | 1468 | 3367 | 0 | 1484004 | 1106 | 199107 | 351 | 248544 | 208 | 46582 | 146 | 4929400 | 0 | 485160 | 0 | 3764200 | 0 | 1847000 | 0 | 621250 | 0 | 9176700 | 0 | 22620 | 12 | 19961 | 12 | 42703 | 0 | 0 | 0 | 12786 | 22
2019-03-31 | 0% | 352250 | 474 | 606 | 590740 | 361 | 425 | 58537 | 0 | 523707 | 239 | 149292 | 0 | 37280 | 107 | 199 | 25116 | 10 | 4683210 | 2874.48 | 2484.72 | 9295678.56 | 7064.4 | 5359.2 | 7942675.44 | 1266.72 | 5359.2 | 11323746 | 194.88 | 7405.44 | 11273028.48 | 15687.84 | 682.08 | 10161822.72 | 7795.2 | 5797.68 | 9162770.4 | 6479.76 | 5164.32 | 8669918.88 | 6869.52 | 5213.04 | 7124033.28 | 4628.4 | 3800.16 | 10456773.6 | 7161.84 | 6090 | 40664700 | 0 | 42500 | 45360300 | 0 | 37900 | 39399800 | 51600 | 0 | [10 empty] | 2593430 | 7180 | 70% | -8% | -4% | 38843 | 22 | 34698 | 17 | 11194 | 9 | 13561 | 13 | 16325 | 13 | 35037 | 24 | 150427 | 85 | 69 | 103643 | 92 | 67 | 209778 | 126 | 106 | 433476 | 237 | 3042 | 0 | 938 | 0 | 14782 | 12 | 15666 | 9 | 10947 | 10 | 14881 | 5 | 824 | 0 | 3569 | 0 | 1189 | 17 | 1530 | 0 | 11242 | 26 | 2318598 | 1444 | 3367 | 0 | 1485065 | 1061 | 199451 | 344 | 248735 | 191 | 46727 | 145 | 4938600 | 9200 | 485970 | 810 | 3770200 | 6000 | 1848000 | 1000 | 621820 | 570 | 9180200 | 3500 | 22637 | 12 | 19977 | 16 | 42703 | 0 | 0 | 0 | 12813 | 27
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7601 |  |  | 5848 | [8 empty] | 1732 |  |  |  |  | 45796.8 |  |  | 79315.96 |  |  | 45163.92 |  |  | 64992.6 |  |  | 22703.96 |  |  | 87501.28 |  |  | 69230.84 |  |  | 77270.16 |  |  | 56417.56 |  |  | 85698.96 |  |  | 338600 |  |  | 322400 |  |  | 105100 | [29 empty] | 1039 |  |  | 1152 |  |  | 3254
January Reading 2018 two weeks |  | 7142 |  |  | 5921 | [8 empty] | 1087 |  |  |  |  | 38829.84 |  |  | 76295.52 |  |  | 16321.2 |  |  | 47745.6 |  |  | 56515.2 |  |  | 84188.16 |  |  | 67428.48 |  |  | 76880.16 |  |  | 54858.72 |  |  | 83311.2 |  |  | 54600 |  |  | 242800 |  |  | 258700 | [29 empty] | 1265 |  |  | 1233 |  |  | 5680 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 284000 |  |  | -79600 |  |  | 153600
January Reading 2017 Monthly |  | 15861 |  |  | 11976 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3907 |  |  | 476 |  | 76490.4 |  |  | 158827 |  |  | 69377.76 |  |  | 146842.2 |  |  | 109133.24 |  |  | 175635.76 |  |  | 143918.6 |  |  | 154783.68 |  |  | 114296.92 |  |  | 177097.68 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2091 |  |  | 2140 |  |  | 5445 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 14238 |  |  | 12042 |  |  | 0 |  | 5651 |  |  |  | 2572 |  |  | 443 |  | 76100.64 |  |  | 153126.96 |  |  | 81898.32 |  |  | 119510.16 |  |  | 75077.52 |  |  | 168473.76 |  |  | 136367.28 |  |  | 151957.68 |  |  | 108986.64 |  |  | 166768.56 |  |  | 372900 |  |  | 640500 |  |  | 112410 | [12 empty] | 112410 |  |  |  |  | 640 |  | 509 |  | 222 |  | 368 |  | 353 |  | 688 |  | 2537 |  |  | 2539 |  |  | 9968 |  |  | 5675
Difference |  | 1623 |  |  | -66 |  |  | 7048.9 |  | 2051.2 |  |  |  | 1335 |  |  | 33 |  | -389.76 |  |  | 5700.04 |  |  | -12520.56 |  |  | 27332.04 |  |  | 34055.72 |  |  | 7162 |  |  | 7551.32 |  |  | 2826 |  |  | 5310.28 |  |  | 10329.12 |  |  | 25600 |  |  | 279400 |  |  | -446432 | [29 empty] | -446 |  |  | -399 |  |  | -4523 |  |  | -1781
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1326403.24 | [5 empty] | January 2018 Kwh | [5 empty] | 1238267.52 | [5 empty] | Saving Kwh |  |  | 88135.72 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 634092.04 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 602374.08 | [5 empty] | Saving Kwh |  |  | 31717.96 |  |  | 1267242 |  |  | 1125810 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill