## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Singapore | 1 | 8 | 2020 | 20464 |  | 3027.375 |  | 166 |  | 158.1 | 0
Singapore | 2 | 8 | 2020 | 21508 |  | 2794.5 |  | 167 |  | 121.125 | 0
Singapore | 3 | 8 | 2020 | 21705 |  | 1743.975 |  | 157 |  | 121.125 | 0
Singapore | 4 | 8 | 2020 | 21268 |  | 1883.7 |  | 146 |  | 121.125 | 0
Singapore | 5 | 8 | 2020 | 21967 |  | 3482.775 |  | 184 |  | 118.83 | 0
Singapore | 6 | 8 | 2020 | 23217 |  | 3115.35 |  | 211 |  | 128.01 | 0
Singapore | 7 | 8 | 2020 | 23781 |  | 3275.775 |  | 196 |  | 132.09 | 0
Singapore | 8 | 8 | 2020 | 23968 |  | 3529.35 |  | 221 |  | 154.02 | 0
Singapore | 9 | 8 | 2020 | 24416 |  | 3301.65 |  | 217 |  | 172.89 | 0
Singapore | 10 | 8 | 2020 | 21908 |  | 2292.525 |  | 210 |  | 125.97 | 0
Singapore | 11 | 8 | 2020 | 23111 |  | 2292.525 |  | 188 |  | 121.125 | 0
Singapore | 12 | 8 | 2020 | 22791 |  | 3834.675 |  | 199 |  | 123.93 | 0
Singapore | 13 | 8 | 2020 | 24684 |  | 3627.675 |  | 188 |  | 124.95 | 0
Singapore | 14 | 8 | 2020 | 22513 |  | 3539.7 |  | 186 |  | 133.11 | 0
Singapore | 15 | 8 | 2020 | 23215 |  | 3565.575 |  | 193 |  | 138.975 | 0
Singapore | 16 | 8 | 2020 | 22726 |  | 3177.45 |  | 185 |  | 120.105 | 0
Singapore | 17 | 8 | 2020 | 21220 |  | 2137.275 |  | 148 |  | 119.085 | 0
Singapore | 18 | 8 | 2020 | 21500 |  | 2225.25 |  | 145 |  | 118.065 | 0
Singapore | 19 | 8 | 2020 | 22324 |  | 3606.975 |  | 161 |  | 121.125 | 0
Singapore | 20 | 8 | 2020 | 22436 |  | 3249.9 |  | 171 |  | 128.01 | 0
Singapore | 21 | 8 | 2020 | 22174 |  | 3317.175 |  | 221 |  | 142.035 | 0
Singapore | 22 | 8 | 2020 | 23714 |  | 3477.6 |  | 225 |  | 161.925 | 0
Singapore | 23 | 8 | 2020 | 21782 |  | 3239.55 |  | 187 |  | 129.03 | 0
Singapore | 24 | 8 | 2020 | 21743 |  | 2478.825 |  | 189 |  | 124.95 | 0
Singapore | 25 | 8 | 2020 | 21293 |  | 2354.625 |  | 180 |  | 128.01 | 0
Singapore | 26 | 8 | 2020 | 22609 |  | 3912.3 |  | 214 |  | 128.01 | 0
Singapore | 27 | 8 | 2020 | 22801 |  | 4098.6 |  | 277 |  | 131.07 | 0
Singapore | 28 | 8 | 2020 | 22917 |  | 3358.575 |  | 193 |  | 141.015 | 0
Singapore | 29 | 8 | 2020 | 25091 |  | 3855.375 |  | 222 |  | 157.08 | 0
Singapore | 30 | 8 | 2020 | 23331 |  | 3441.375 |  | 188 |  | 122.91 | 0
Singapore | 31 | 8 | 2020 | 21761 |  | 1345.5 |  | 198 |  | 120.105 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Feeder 1 Peak (KWh) | Feeder 1 Off-Peak (KWh) | Feeder 2 Peak (KWh) | Feeder 2 Off-Peak (KWh) | Chiller Main 1 (KWh) | Chiller Main 2 (KWh) | Total Chiller Plantroom (KWh) | Chiller 1 Multistack (KWh) | Chiller 2 Trane (KWh) | Chiller 3 Trane (KWh) | Chiller 4 Trane (KWh) | Chillers (KWh) | Condenser Water Pump B1-1 (KWh) | Condenser Water Pump B1-2 (KWh) | Condenser Water Pump B1-3 (KWh) | Condenser Water Pump B1-4 (KWh) | Condenser Water Pumps (KWh) | Chilled Water Pump B1-1 (KWh) | Chilled Water Pump B1-2 (KWh) | Chilled Water Pump B1-3 (KWh) | Chilled Water Pump B1-4 (KWh) | Chilled Water Pumps (KWh) | Total Chiller Plantroom (KWh) | Cooling Tower #1 (KWh) | Cooling Tower #2 (KWh) | Cooling Tower #3 (KWh) | Cooling Tower #4 (KWh) | Cooling Tower (KWh) | Gas Consumption Kutulu (m3) | Gas Consumption Windows (m3) | Gas Consumption 190 Kitchen (m3) | Gas Consumption Main kitchen (m3) | Gas Consumption Pastry Kitchen (m3) | Gas Consumption JNC Kitchen (m3) | Domestic Water Meter 1 (m3) | Domestic Water Meter 2 (m3) | Domestic Water Total (m3) | NewWater Meter 1 (m3) | NewWater Meter 2 (m3) | NewWater Total (m3)
Singapore | 1 | 8 | 2020 | 158.1 | 0 | 2368 | 1152 | 12314 | 4630 | 0 | 503 | 503 | 0 | 0 | 2200 | 2450 | 4650 | 0 | 0 | 152 | 192 | 344 | 0 | 0 | 103 | 139 | 242 | 5236 | 140 | 0 | 266 | 113 | 519 | 196.65 | 0 | 1443.825 | 382.95 | 20.7 | 983.25 | 90 | 16 | 106 | 57 | 3 | 60
Singapore | 2 | 8 | 2020 | 121.125 | 0 | 2417 | 1080 | 13618 | 4393 | 0 | 514 | 514 | 0 | 0 | 3150 | 1630 | 4780 | 0 | 0 | 213 | 133 | 346 | 0 | 0 | 143 | 0 | 143 | 5269 | 144 | 0 | 264 | 119 | 527 | 150.075 | 0 | 1417.95 | 403.65 | 20.7 | 802.125 | 80 | 20 | 100 | 47 | 20 | 67
Singapore | 3 | 8 | 2020 | 121.125 | 0 | 2507 | 1058 | 13482 | 4658 | 0 | 532 | 532 | 0 | 10 | 2310 | 2580 | 4900 | 0 | 0 | 199 | 168 | 367 | 0 | 0 | 141 | 136 | 277 | 5544 | 137 | 0 | 272 | 113 | 522 | 207 | 0 | 1304.1 | 212.175 | 20.7 | 0 | 70 | 24 | 94 | 50 | 13 | 63
Singapore | 4 | 8 | 2020 | 121.125 | 0 | 2367 | 1207 | 13190 | 4504 | 0 | 494 | 494 | 0 | 10 | 2140 | 2400 | 4550 | 0 | 0 | 150 | 189 | 339 | 0 | 0 | 108 | 143 | 251 | 5140 | 147 | 0 | 255 | 122 | 524 | 186.3 | 0 | 1345.5 | 326.025 | 25.875 | 0 | 80 | 21 | 101 | 34 | 11 | 45
Singapore | 5 | 8 | 2020 | 118.83 | 0 | 4677 | 1179 | 11864 | 4247 | 500 | 309 | 809 | 0 | 1940 | 0 | 2770 | 4710 | 0 | 151 | 0 | 194 | 345 | 0 | 96 | 0 | 137 | 233 | 5288 | 164 | 0 | 242 | 138 | 544 | 279.45 | 0 | 1474.875 | 947.025 | 20.7 | 760.725 | 100 | 22 | 122 | 46 | 16 | 62
Singapore | 6 | 8 | 2020 | 128.01 | 0 | 4885 | 1449 | 12212 | 4671 | -80 | 333 | 253 | 0 | 2150 | 0 | 3030 | 5180 | 0 | 160 | 0 | 200 | 360 | 0 | 99 | 0 | 138 | 237 | 5777 | 204 | 0 | 214 | 175 | 593 | 222.525 | 0 | 1552.5 | 533.025 | 15.525 | 791.775 | 120 | 24 | 144 | 61 | 6 | 67
Singapore | 7 | 8 | 2020 | 132.09 | 0 | 4931 | 2261 | 12586 | 4003 | 300 | 278 | 578 | 0 | 2930 | 0 | 2500 | 5430 | 0 | 225 | 0 | 163 | 388 | 0 | 134 | 0 | 117 | 251 | 6069 | 209 | 0 | 207 | 179 | 595 | 217.35 | 0 | 1687.05 | 486.45 | 20.7 | 864.225 | 110 | 24 | 134 | 51 | 11 | 62
Singapore | 8 | 8 | 2020 | 154.02 | 0 | 5015 | 1726 | 12916 | 4311 | 259 | 343 | 602 | 0 | 2520 | 0 | 3120 | 5640 | 0 | 204 | 0 | 215 | 419 | 0 | 111 | 0 | 133 | 244 | 6303 | 219 | 0 | 198 | 189 | 606 | 150.075 | 0 | 1790.55 | 486.45 | 15.525 | 1086.75 | 140 | 20 | 160 | 51 | 10 | 61
Singapore | 9 | 8 | 2020 | 172.89 | 0 | 5113 | 2517 | 12548 | 4238 | 323 | 302 | 625 | 0 | 3120 | 0 | 2700 | 5820 | 0 | 277 | 0 | 214 | 491 | 0 | 131 | 0 | 115 | 246 | 6557 | 230 | 0 | 200 | 199 | 629 | 139.725 | 0 | 1635.3 | 455.4 | 15.525 | 1055.7 | 120 | 22 | 142 | 64 | 11 | 75
Singapore | 10 | 8 | 2020 | 125.97 | 0 | 4915 | 1415 | 11620 | 3958 | 244 | 325 | 569 | 0 | 2360 | 0 | 2940 | 5300 | 0 | 211 | 0 | 224 | 435 | 0 | 102 | 0 | 125 | 227 | 5962 | 224 | 0 | 190 | 194 | 608 | 217.35 | 0 | 1687.05 | 372.6 | 15.525 | 0 | 120 | 25 | 145 | 53 | 12 | 65
Singapore | 11 | 8 | 2020 | 121.125 | 0 | 4911 | 2203 | 11770 | 4227 | 298 | 328 | 626 | 0 | 2870 | 0 | 2940 | 5810 | 0 | 253 | 0 | 219 | 472 | 0 | 131 | 0 | 135 | 266 | 6548 | 228 | 0 | 191 | 198 | 617 | 232.875 | 0 | 1692.225 | 351.9 | 15.525 | 0 | 90 | 20 | 110 | 67 | 11 | 78
Singapore | 12 | 8 | 2020 | 123.93 | 0 | 4523 | 2187 | 11980 | 4101 | 278 | 301 | 579 | 0 | 2700 | 0 | 2720 | 5420 | 0 | 212 | 0 | 181 | 393 | 0 | 133 | 0 | 136 | 269 | 6082 | 178 | 0 | 232 | 150 | 560 | 331.2 | 0 | 1562.85 | 936.675 | 15.525 | 988.425 | 120 | 19 | 139 | 45 | 15 | 60
Singapore | 13 | 8 | 2020 | 124.95 | 0 | 4674 | 2470 | 12600 | 4940 | 298 | 324 | 622 | 0 | 2880 | 0 | 2910 | 5790 | 0 | 233 | 0 | 200 | 433 | 0 | 144 | 0 | 148 | 292 | 6515 | 135 | 0 | 270 | 108 | 513 | 238.05 | 0 | 1749.15 | 952.2 | 20.7 | 667.575 | 110 | 21 | 131 | 46 | 11 | 57
Singapore | 14 | 8 | 2020 | 133.11 | 0 | 4457 | 1857 | 12398 | 3801 | 256 | 278 | 534 | 0 | 2460 | 0 | 2470 | 4930 | 0 | 207 | 0 | 177 | 384 | 0 | 132 | 0 | 136 | 268 | 5582 | 136 | 0 | 263 | 110 | 509 | 232.875 | 0 | 1816.425 | 517.5 | 25.875 | 947.025 | 110 | 22 | 132 | 43 | 11 | 54
Singapore | 15 | 8 | 2020 | 138.975 | 0 | 4706 | 1900 | 12450 | 4159 | 320 | 288 | 608 | 0 | 2570 | 0 | 2610 | 5180 | 0 | 217 | 0 | 186 | 403 | 0 | 135 | 0 | 139 | 274 | 5857 | 141 | 0 | 255 | 119 | 515 | 217.35 | 0 | 1857.825 | 615.825 | 5.175 | 869.4 | 110 | 24 | 134 | 48 | 11 | 59
Singapore | 16 | 8 | 2020 | 120.105 | 0 | 4524 | 1991 | 12160 | 4051 | 218 | 290 | 508 | 0 | 2620 | 0 | 2630 | 5250 | 0 | 217 | 0 | 185 | 402 | 0 | 133 | 0 | 137 | 270 | 5922 | 137 | 0 | 274 | 109 | 520 | 155.25 | 0 | 1800.9 | 289.8 | 10.35 | 921.15 | 110 | 19 | 129 | 45 | 11 | 56
Singapore | 17 | 8 | 2020 | 119.085 | 0 | 4375 | 1807 | 11200 | 3838 | 257 | 278 | 535 | 0 | 2460 | 0 | 2480 | 4940 | 0 | 210 | 0 | 180 | 390 | 0 | 137 | 0 | 140 | 277 | 5607 | 132 | 0 | 266 | 107 | 505 | 217.35 | 0 | 1645.65 | 263.925 | 10.35 | 0 | 80 | 22 | 102 | 34 | 12 | 46
Singapore | 18 | 8 | 2020 | 118.065 | 0 | 4359 | 1884 | 11238 | 4019 | 261 | 283 | 544 | 0 | 2490 | 0 | 2510 | 5000 | 0 | 219 | 0 | 188 | 407 | 0 | 144 | 0 | 169 | 313 | 5720 | 118 | 0 | 284 | 93 | 495 | 196.65 | 0 | 1780.2 | 238.05 | 10.35 | 0 | 70 | 22 | 92 | 42 | 11 | 53
Singapore | 19 | 8 | 2020 | 121.125 | 0 | 4326 | 1894 | 11948 | 4156 | 249 | 271 | 520 | 0 | 2360 | 0 | 2380 | 4740 | 0 | 218 | 0 | 187 | 405 | 0 | 142 | 0 | 125 | 267 | 5412 | 129 | 0 | 270 | 105 | 504 | 331.2 | 0 | 1614.6 | 734.85 | 10.35 | 915.975 | 80 | 24 | 104 | 45 | 12 | 57
Singapore | 20 | 8 | 2020 | 128.01 | 0 | 4424 | 1865 | 12088 | 4059 | 251 | 272 | 523 | 0 | 2400 | 0 | 2410 | 4810 | 0 | 0 | 0 | 184 | 184 | 0 | 133 | 0 | 138 | 271 | 5265 | 158 | 0 | 234 | 150 | 542 | 248.4 | 0 | 1692.225 | 476.1 | 10.35 | 822.825 | 90 | 22 | 112 | 46 | 13 | 59
Singapore | 21 | 8 | 2020 | 142.035 | 0 | 4476 | 1748 | 12050 | 3900 | 249 | 271 | 520 | 0 | 2370 | 0 | 2390 | 4760 | 0 | 214 | 0 | 188 | 402 | 0 | 130 | 0 | 133 | 263 | 5425 | 183 | 0 | 230 | 148 | 561 | 222.525 | 0 | 1826.775 | 527.85 | 10.35 | 729.675 | 120 | 20 | 140 | 67 | 14 | 81
Singapore | 22 | 8 | 2020 | 161.925 | 0 | 4432 | 2097 | 12468 | 4717 | 0 | 286 | 286 | 0 | 2510 | 0 | 2520 | 5030 | 0 | 217 | 0 | 226 | 443 | 0 | 135 | 0 | 139 | 274 | 5747 | 137 | 0 | 260 | 99 | 496 | 207 | 0 | 1863 | 455.4 | 15.525 | 936.675 | 130 | 23 | 153 | 57 | 15 | 72
Singapore | 23 | 8 | 2020 | 129.03 | 0 | 4140 | 1676 | 12164 | 3802 | 240 | 258 | 498 | 0 | 2250 | 0 | 2270 | 4520 | 0 | 217 | 0 | 194 | 411 | 0 | 142 | 0 | 146 | 288 | 5219 | 92 | 0 | 298 | 72 | 462 | 165.6 | 0 | 1800.9 | 398.475 | 10.35 | 864.225 | 120 | 24 | 144 | 31 | 12 | 43
Singapore | 24 | 8 | 2020 | 124.95 | 0 | 4444 | 1852 | 11218 | 4229 | 253 | 272 | 525 | 0 | 2400 | 0 | 2390 | 4790 | 0 | 219 | 0 | 197 | 416 | 0 | 143 | 0 | 146 | 289 | 5495 | 137 | 0 | 267 | 112 | 516 | 238.05 | 0 | 1831.95 | 388.125 | 20.7 | 0 | 110 | 22 | 132 | 44 | 13 | 57
Singapore | 25 | 8 | 2020 | 128.01 | 0 | 4361 | 1728 | 11516 | 3688 | 241 | 262 | 503 | 0 | 2290 | 0 | 2330 | 4620 | 2 | 208 | 0 | 189 | 399 | 0 | 131 | 0 | 134 | 265 | 5284 | 160 | 0 | 250 | 130 | 540 | 175.95 | 0 | 1749.15 | 388.125 | 10.35 | 31.05 | 80 | 23 | 103 | 66 | 11 | 77
Singapore | 26 | 8 | 2020 | 128.01 | 0 | 4456 | 1848 | 12190 | 4115 | 254 | 275 | 529 | 10 | 2410 | 0 | 2380 | 4800 | 0 | 219 | 0 | 197 | 416 | 0 | 137 | 0 | 141 | 278 | 5494 | 139 | 0 | 264 | 112 | 515 | 232.875 | 0 | 1790.55 | 1045.35 | 10.35 | 833.175 | 130 | 21 | 151 | 46 | 17 | 63
Singapore | 27 | 8 | 2020 | 131.07 | 0 | 4561 | 1926 | 12048 | 4266 | 263 | 282 | 545 | 0 | 2510 | 0 | 2510 | 5020 | 0 | 215 | 0 | 195 | 410 | 0 | 144 | 0 | 148 | 292 | 5722 | 158 | 0 | 247 | 132 | 537 | 175.95 | 921.15 | 1728.45 | 595.125 | 10.35 | 667.575 | 200 | 20 | 220 | 45 | 12 | 57
Singapore | 28 | 8 | 2020 | 141.015 | 0 | 4629 | 1939 | 12108 | 4241 | 264 | 285 | 549 | 0 | 2510 | 0 | 2520 | 5030 | 0 | 225 | 0 | 201 | 426 | 0 | 146 | 0 | 150 | 296 | 5752 | 151 | 0 | 255 | 124 | 530 | 263.925 | 0 | 1733.625 | 398.475 | 15.525 | 947.025 | 110 | 18 | 128 | 51 | 14 | 65
Singapore | 29 | 8 | 2020 | 157.08 | 0 | 4925 | 2369 | 12832 | 4965 | 292 | 319 | 611 | 0 | 2800 | 0 | 2800 | 5600 | 0 | 232 | 0 | 206 | 438 | 0 | 153 | 0 | 157 | 310 | 6348 | 181 | 0 | 233 | 151 | 565 | 175.95 | 0 | 1878.525 | 724.5 | 10.35 | 1066.05 | 140 | 21 | 161 | 46 | 15 | 61
Singapore | 30 | 8 | 2020 | 122.91 | 0 | 4718 | 2033 | 12380 | 4200 | 274 | 297 | 571 | 0 | 2640 | 0 | 2650 | 5290 | 0 | 215 | 0 | 192 | 407 | 0 | 140 | 0 | 143 | 283 | 5980 | 174 | 0 | 227 | 145 | 546 | 160.425 | 0 | 1868.175 | 408.825 | 10.35 | 993.6 | 110 | 15 | 125 | 50 | 13 | 63
Singapore | 31 | 8 | 2020 | 120.105 | 0 | 4556 | 1952 | 11182 | 4071 | 534 | 579 | 1113 | 0 | 5130 | 0 | 5140 | 10270 | 0 | 428 | 0 | 383 | 811 | 0 | 275 | 0 | 281 | 556 | 11637 | 184 | 0 | 229 | 152 | 565 | 181.125 | -921.15 | 1749.15 | 326.025 | 10.35 | 0 | 100 | 30 | 130 | 56 | 12 | 68

## Sheet1
ELECTRICTY, WATER, & GAS CONSUMPTION - Aug 2020
Date:
Date: | 1 | 2 | 31 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | TOTAL | AVE / DAY
Actual Occupancy: | 175 | 146 | 59.2% | 62% | 47.5% | 47.5% | 47.5% | 46.6% | 50.2% | 51.8% | 60.4% | 67.8% | 49.4% | 47.5% | 48.6% | 49% | 52.2% | 54.5% | 47.1% | 46.7% | 46.3% | 47.5% | 50.2% | 55.7% | 63.5% | 50.6% | 49% | 50.2% | 50.2% | 51.4% | 55.3% | 61.6% | 48.2% | 47.1% | 1603% | 51.71%
Forecasted Occupancy as Aug: |  |  | 85.63% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 2850% | 91.94%
Actual Food Covers: | 1310 | 1537 | 333 | 398 | 272 | 154 | 312 | 262 | 242 | 350 | 349 | 383 | 202 | 141 | 269 | 247 | 314 | 287 | 269 | 155 | 181 | 192 | 252 | 328 | 346 | 298 | 184 | 185 | 213 | 246 | 345 | 367 | 306 | 149 | 8198 | 264.4516
Forecasted Food Cover: |  |  | 821 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 782 | 24242 | 782
Main Electricity Meter Reading
Feeder 1
Peak | 3599965 | 3606737 | 7487241 | 7489609 | 7492026 | 7494533 | 7496900 | 7501577 | 7506462 | 7511393 | 7516408 | 7521521 | 7526436 | 7531347 | 7535870 | 7540544 | 7545001 | 7549707 | 7554231 | 7558606 | 7562965 | 7567291 | 7571715 | 7576191 | 7580623 | 7584763 | 7589207 | 7593568 | 7598024 | 7602585 | 7607214 | 7612139 | 7616857 | 7621413
Off-Peak | 1579860 | 1582980 | 3237848 | 3239000 | 3240080 | 3241138 | 3242345 | 3243524 | 3244973 | 3247234 | 3248960 | 3251477 | 3252892 | 3255095 | 3257282 | 3259752 | 3261609 | 3263509 | 3265500 | 3267307 | 3269191 | 3271085 | 3272950 | 3274698 | 3276795 | 3278471 | 3280323 | 3282051 | 3283899 | 3285825 | 3287764 | 3290133 | 3292166 | 3294118
Feeder 2
Peak | 10573222 | 10611021 | 23791894 | 23804208 | 23817826 | 23831308 | 23844498 | 23856362 | 23868574 | 23881160 | 23894076 | 23906624 | 23918244 | 23930014 | 23941994 | 23954594 | 23966992 | 23979442 | 23991602 | 24002802 | 24014040 | 24025988 | 24038076 | 24050126 | 24062594 | 24074758 | 24085976 | 24097492 | 24109682 | 24121730 | 24133838 | 24146670 | 24159050 | 24170232
Off-Peak | 3928636 | 3943156 | 8714018 | 8718648 | 8723041 | 8727699 | 8732203 | 8736450 | 8741121 | 8745124 | 8749435 | 8753673 | 8757631 | 8761858 | 8765959 | 8770899 | 8774700 | 8778859 | 8782910 | 8786748 | 8790767 | 8794923 | 8798982 | 8802882 | 8807599 | 8811401 | 8815630 | 8819318 | 8823433 | 8827699 | 8831940 | 8836905 | 8841105 | 8845176
Main Electricity Consumption
Feeder 1
Peak | #REF! | 6772 | 3880504 | 2368 | 2417 | 2507 | 2367 | 4677 | 4885 | 4931 | 5015 | 5113 | 4915 | 4911 | 4523 | 4674 | 4457 | 4706 | 4524 | 4375 | 4359 | 4326 | 4424 | 4476 | 4432 | 4140 | 4444 | 4361 | 4456 | 4561 | 4629 | 4925 | 4718 | 4556
Off-Peak | #REF! | 3120 | 1654868 | 1152 | 1080 | 1058 | 1207 | 1179 | 1449 | 2261 | 1726 | 2517 | 1415 | 2203 | 2187 | 2470 | 1857 | 1900 | 1991 | 1807 | 1884 | 1894 | 1865 | 1748 | 2097 | 1676 | 1852 | 1728 | 1848 | 1926 | 1939 | 2369 | 2033 | 1952
Feeder 2
Peak | #REF! | 37799 | 13180873 | 12314 | 13618 | 13482 | 13190 | 11864 | 12212 | 12586 | 12916 | 12548 | 11620 | 11770 | 11980 | 12600 | 12398 | 12450 | 12160 | 11200 | 11238 | 11948 | 12088 | 12050 | 12468 | 12164 | 11218 | 11516 | 12190 | 12048 | 12108 | 12832 | 12380 | 11182
Off-Peak | #REF! | 14520 | 4770862 | 4630 | 4393 | 4658 | 4504 | 4247 | 4671 | 4003 | 4311 | 4238 | 3958 | 4227 | 4101 | 4940 | 3801 | 4159 | 4051 | 3838 | 4019 | 4156 | 4059 | 3900 | 4717 | 3802 | 4229 | 3688 | 4115 | 4266 | 4241 | 4965 | 4200 | 4071 | TOTAL | AVE / DAY
Total Hotel KWh | #REF! | 62211 | 23487107 | 20464 | 21508 | 21705 | 21268 | 21967 | 23217 | 23781 | 23968 | 24416 | 21908 | 23111 | 22791 | 24684 | 22513 | 23215 | 22726 | 21220 | 21500 | 22324 | 22436 | 22174 | 23714 | 21782 | 21743 | 21293 | 22609 | 22801 | 22917 | 25091 | 23331 | 21761 | 699938 | 22578.6452
Forecast for Aug = 780520 KWh | 23235 | 23235 | 23480 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 25178 | 780518 | 25178
Chiller Electricity Sub - Meter Reading
Main 1 | 5351900 | 5351940 | 700385 | 700385 | 700385 | 700385 | 700385 | 700885 | 700805 | 701105 | 701364 | 701687 | 701931 | 702229 | 702507 | 702805 | 703061 | 703381 | 703599 | 703856 | 704117 | 704366 | 704617 | 704866 | 705131 | 705371 | 705624 | 705865 | 706119 | 706382 | 706646 | 706938 | 707212 | 707472
Main 2 | 8425020 | 8440480 | 259361 | 259864 | 260378 | 260910 | 261404 | 261713 | 262046 | 262324 | 262667 | 262969 | 263294 | 263622 | 263923 | 264247 | 264525 | 264813 | 265103 | 265381 | 265664 | 265935 | 266207 | 266478 | 266764 | 267022 | 267294 | 267556 | 267831 | 268113 | 268398 | 268717 | 269014 | 269296
Chiller 1 Multistack | 982660 | 982670 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52330 | 52340 | 52340 | 52340 | 52340 | 52340 | 52340
Chiller 2 | 959920 | 959950 | 235190 | 235190 | 235190 | 235200 | 235210 | 237150 | 239300 | 242230 | 244750 | 247870 | 250230 | 253100 | 255800 | 258680 | 261140 | 263710 | 266330 | 268790 | 271280 | 273640 | 276040 | 278410 | 280920 | 283170 | 285570 | 287860 | 290270 | 292780 | 295290 | 298090 | 300730 | 303220
Chiller 3 | 413050 | 415960 | 265450 | 267650 | 270800 | 273110 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250 | 275250
Chiller 4 | 618590 | 624610 | 64660 | 67110 | 68740 | 71320 | 73720 | 76490 | 79520 | 82020 | 85140 | 87840 | 90780 | 93720 | 96440 | 99350 | 101820 | 104430 | 107060 | 109540 | 112050 | 114430 | 116840 | 119230 | 121750 | 124020 | 126410 | 128740 | 131120 | 133630 | 136150 | 138950 | 141600 | 144090
Cooling Tower #1 | 38549 | 39036 | 8853 | 8993 | 9137 | 9274 | 9421 | 9585 | 9789 | 9998 | 10217 | 10447 | 10671 | 10899 | 11077 | 11212 | 11348 | 11489 | 11626 | 11758 | 11876 | 12005 | 12163 | 12346 | 12483 | 12575 | 12712 | 12872 | 13011 | 13169 | 13320 | 13501 | 13675 | 13859
Cooling Tower #2 | 25455 | 25455 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465 | 23465
Cooling Tower #3 | 19116 | 19571 | 43796 | 44062 | 44326 | 44598 | 44853 | 45095 | 45309 | 45516 | 45714 | 45914 | 46104 | 46295 | 46527 | 46797 | 47060 | 47315 | 47589 | 47855 | 48139 | 48409 | 48643 | 48873 | 49133 | 49431 | 49698 | 49948 | 50212 | 50459 | 50714 | 50947 | 51174 | 51403
Cooling Tower #4 | 21214 | 21559 | 18772 | 18885 | 19004 | 19117 | 19239 | 19377 | 19552 | 19731 | 19920 | 20119 | 20313 | 20511 | 20661 | 20769 | 20879 | 20998 | 21107 | 21214 | 21307 | 21412 | 21562 | 21710 | 21809 | 21881 | 21993 | 22123 | 22235 | 22367 | 22491 | 22642 | 22787 | 22939
Condenser Water Pump B1-1 | 21070 | 21082 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36745 | 36747 | 36747 | 36747 | 36747 | 36747 | 36747 | 36747
Condenser Water Pump B1-2 | 20725 | 20725 | 3386 | 3386 | 3386 | 3386 | 3386 | 3537 | 3697 | 3922 | 4126 | 4403 | 4614 | 4867 | 5079 | 5312 | 5519 | 5736 | 5953 | 6163 | 6382 | 6600 | 6814 | 7031 | 7282 | 7499 | 7718 | 7926 | 8145 | 8360 | 8585 | 8817 | 9032 | 9245
Condenser Water Pump B1-3 | 17299 | 18872 | 16448 | 16600 | 16813 | 17012 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162 | 17162
Condenser Water Pump B1-4 | 14273 | 15661 | 27387 | 27579 | 27712 | 27880 | 28069 | 28263 | 28463 | 28626 | 28841 | 29055 | 29279 | 29498 | 29679 | 29879 | 30056 | 30242 | 30427 | 30607 | 30795 | 30982 | 31166 | 31354 | 31580 | 31774 | 31971 | 32160 | 32357 | 32552 | 32753 | 32959 | 33151 | 33342
Chilled Water Pump B1-1 | 10240 | 10256 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647 | 23647
Chilled Water Pump B1-2 | 64521 | 64521 | 46747 | 46747 | 46747 | 46747 | 46747 | 46843 | 46942 | 47076 | 47187 | 47318 | 47420 | 47551 | 47684 | 47828 | 47960 | 48095 | 48228 | 48365 | 48509 | 48651 | 48784 | 48914 | 49049 | 49191 | 49334 | 49465 | 49602 | 49746 | 49892 | 50045 | 50185 | 50320
Chilled Water Pump B1-3 | 59182 | 59971 | 19177 | 19280 | 19423 | 19564 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672 | 19672
Chilled Water Pump B1-4 | 33903 | 34631 | 1562 | 1701 | 1801 | 1937 | 2080 | 2217 | 2355 | 2472 | 2605 | 2720 | 2845 | 2980 | 3116 | 3264 | 3400 | 3539 | 3676 | 3816 | 3985 | 4110 | 4248 | 4381 | 4520 | 4666 | 4812 | 4946 | 5087 | 5235 | 5385 | 5542 | 5685 | 5823
Chiller Electricity Consumption
Main 1 | #REF! | 40 | -4651515 | 0 | 0 | 0 | 0 | 500 | -80 | 300 | 259 | 323 | 244 | 298 | 278 | 298 | 256 | 320 | 218 | 257 | 261 | 249 | 251 | 249 |  | 240 | 253 | 241 | 254 | 263 | 264 | 292 | 274 | 534
Main 2 | #REF! | 15460 | -8165659 | 503 | 514 | 532 | 494 | 309 | 333 | 278 | 343 | 302 | 325 | 328 | 301 | 324 | 278 | 288 | 290 | 278 | 283 | 271 | 272 | 271 | 286 | 258 | 272 | 262 | 275 | 282 | 285 | 319 | 297 | 579 | TOTAL | AVE / DAY
Total Chiller Plantroom KWh | #REF! | 15500 | -12817174 | 503 | 514 | 532 | 494 | 809 | 253 | 578 | 602 | 625 | 569 | 626 | 579 | 622 | 534 | 608 | 508 | 535 | 544 | 520 | 523 | 520 | 286 | 498 | 525 | 503 | 529 | 545 | 549 | 611 | 571 | 1113 | 17328 | 558.9677
Chiller 1 Multistack | #REF! | 10 | -930330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0
Chiller 2 Trane | #REF! | 30 | -724730 | 0 | 0 | 10 | 10 | 1940 | 2150 | 2930 | 2520 | 3120 | 2360 | 2870 | 2700 | 2880 | 2460 | 2570 | 2620 | 2460 | 2490 | 2360 | 2400 | 2370 | 2510 | 2250 | 2400 | 2290 | 2410 | 2510 | 2510 | 2800 | 2640 | 5130
Chiller 3 Trane | #REF! | 2910 | -147600 | 2200 | 3150 | 2310 | 2140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chiller 4 Trane | #REF! | 6020 | -553930 | 2450 | 1630 | 2580 | 2400 | 2770 | 3030 | 2500 | 3120 | 2700 | 2940 | 2940 | 2720 | 2910 | 2470 | 2610 | 2630 | 2480 | 2510 | 2380 | 2410 | 2390 | 2520 | 2270 | 2390 | 2330 | 2380 | 2510 | 2520 | 2800 | 2650 | 5140 | TOTAL | AVE / DAY
Chiller KWh | #REF! | 8970 | -2356590 | 4650 | 4780 | 4900 | 4550 | 4710 | 5180 | 5430 | 5640 | 5820 | 5300 | 5810 | 5420 | 5790 | 4930 | 5180 | 5250 | 4940 | 5000 | 4740 | 4810 | 4760 | 5030 | 4520 | 4790 | 4620 | 4800 | 5020 | 5030 | 5600 | 5290 | 10270 | 162560 | 5243.871
Condenser Water Pump B1-1 | #REF! | 12 | 15675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0
Condenser Water Pump B1-2 | #REF! | 0 | -17339 | 0 | 0 | 0 | 0 | 151 | 160 | 225 | 204 | 277 | 211 | 253 | 212 | 233 | 207 | 217 | 217 | 210 | 219 | 218 | 0 | 214 | 217 | 217 | 219 | 208 | 219 | 215 | 225 | 232 | 215 | 428
Condenser Water Pump B1-3 | #REF! | 1573 | -851 | 152 | 213 | 199 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Condenser Water Pump B1-4 | #REF! | 1388 | 13114 | 192 | 133 | 168 | 189 | 194 | 200 | 163 | 215 | 214 | 224 | 219 | 181 | 200 | 177 | 186 | 185 | 180 | 188 | 187 | 184 | 188 | 226 | 194 | 197 | 189 | 197 | 195 | 201 | 206 | 192 | 383 | TOTAL | AVE / DAY
Condenser Water Pump KWh | #REF! | 2973 | 10599 | 344 | 346 | 367 | 339 | 345 | 360 | 388 | 419 | 491 | 435 | 472 | 393 | 433 | 384 | 403 | 402 | 390 | 407 | 405 | 184 | 402 | 443 | 411 | 416 | 399 | 416 | 410 | 426 | 438 | 407 | 811 | 12686 | 409.2258
Chilled Water Pump B1-1 | #REF! | 16 | 13407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chilled Water Pump B1-2 | #REF! | 0 | -17774 | 0 | 0 | 0 | 0 | 96 | 99 | 134 | 111 | 131 | 102 | 131 | 133 | 144 | 132 | 135 | 133 | 137 | 144 | 142 | 133 | 130 | 135 | 142 | 143 | 131 | 137 | 144 | 146 | 153 | 140 | 275
Chilled Water Pump B1-3 | #REF! | 1108 | -40005 | 103 | 143 | 141 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chilled Water Pump B1-4 | #REF! | 728 | -32341 | 139 | 0 | 136 | 143 | 137 | 138 | 117 | 133 | 115 | 125 | 135 | 136 | 148 | 136 | 139 | 137 | 140 | 169 | 125 | 138 | 133 | 139 | 146 | 146 | 134 | 141 | 148 | 150 | 157 | 143 | 281 | TOTAL | AVE / DAY
Chilled Water Pump KWh | #REF! | 1852 | -76713 | 242 | 143 | 277 | 251 | 233 | 237 | 251 | 244 | 246 | 227 | 266 | 269 | 292 | 268 | 274 | 270 | 277 | 313 | 267 | 271 | 263 | 274 | 288 | 289 | 265 | 278 | 292 | 296 | 310 | 283 | 556 | 8512 | 274.5806
Total Chiller Plantroom KWH | #REF! | 13795 | -2422704 | 5236 | 5269 | 5544 | 5140 | 5288 | 5777 | 6069 | 6303 | 6557 | 5962 | 6548 | 6082 | 6515 | 5582 | 5857 | 5922 | 5607 | 5720 | 5412 | 5265 | 5425 | 5747 | 5219 | 5495 | 5284 | 5494 | 5722 | 5752 | 6348 | 5980 | 11637 | 183758 | 5927.6774
Cooling Tower #1 | #REF! | 487 | -30183 | 140 | 144 | 137 | 147 | 164 | 204 | 209 | 219 | 230 | 224 | 228 | 178 | 135 | 136 | 141 | 137 | 132 | 118 | 129 | 158 | 183 | 137 | 92 | 137 | 160 | 139 | 158 | 151 | 181 | 174 | 184
Cooling Tower #2 | #REF! | 0 | -1990 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooling Tower #3 | #REF! | 455 | 24225 | 266 | 264 | 272 | 255 | 242 | 214 | 207 | 198 | 200 | 190 | 191 | 232 | 270 | 263 | 255 | 274 | 266 | 284 | 270 | 234 | 230 | 260 | 298 | 267 | 250 | 264 | 247 | 255 | 233 | 227 | 229
Cooling Tower #4 | #REF! | 345 | -2787 | 113 | 119 | 113 | 122 | 138 | 175 | 179 | 189 | 199 | 194 | 198 | 150 | 108 | 110 | 119 | 109 | 107 | 93 | 105 | 150 | 148 | 99 | 72 | 112 | 130 | 112 | 132 | 124 | 151 | 145 | 152 | TOTAL | AVE / DAY
Cooling Tower KWh | #REF! | 1287 | -10735 | 519 | 527 | 522 | 524 | 544 | 593 | 595 | 606 | 629 | 608 | 617 | 560 | 513 | 509 | 515 | 520 | 505 | 495 | 504 | 542 | 561 | 496 | 462 | 516 | 540 | 515 | 537 | 530 | 565 | 546 | 565 | 16780 | 541.2903
Total Chiller System: | #REF! | 15082 | -2433439 | 5755 | 5796 | 6066 | 5664 | 5832 | 6370 | 6664 | 6909 | 7186 | 6570 | 7165 | 6642 | 7028 | 6091 | 6372 | 6442 | 6112 | 6215 | 5916 | 5807 | 5986 | 6243 | 5681 | 6011 | 5824 | 6009 | 6259 | 6282 | 6913 | 6526 | 12202 | 200538 | 6468.9677
Gas Meter Reading
Kutulu | 87936 | 88068 | 145873 | 145911 | 145940 | 145980 | 146016 | 146070 | 146113 | 146155 | 146184 | 146211 | 146253 | 146298 | 146362 | 146408 | 146453 | 146495 | 146525 | 146567 | 146605 | 146669 | 146717 | 146760 | 146800 | 146832 | 146878 | 146912 | 146957 | 146991 | 147042 | 147076 | 147107 | 147142
Windows | 48 | 48 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 422 | 422 | 422 | 422 | 244
190 Kitchen | 369170 | 369883 | 686346 | 686625 | 686899 | 687151 | 687411 | 687696 | 687996 | 688322 | 688668 | 688984 | 689310 | 689637 | 689939 | 690277 | 690628 | 690987 | 691335 | 691653 | 691997 | 692309 | 692636 | 692989 | 693349 | 693697 | 694051 | 694389 | 694735 | 695069 | 695404 | 695767 | 696128 | 696466
Main kitchen | 196453 | 196907 | 312758 | 312832 | 312910 | 312951 | 313014 | 313197 | 313300 | 313394 | 313488 | 313576 | 313648 | 313716 | 313897 | 314081 | 314181 | 314300 | 314356 | 314407 | 314453 | 314595 | 314687 | 314789 | 314877 | 314954 | 315029 | 315104 | 315306 | 315421 | 315498 | 315638 | 315717 | 315780
Pastry kitchen | 8536 | 8549 | 13516 | 13520 | 13524 | 13528 | 13533 | 13537 | 13540 | 13544 | 13547 | 13550 | 13553 | 13556 | 13559 | 13563 | 13568 | 13569 | 13571 | 13573 | 13575 | 13577 | 13579 | 13581 | 13584 | 13586 | 13590 | 13592 | 13594 | 13596 | 13599 | 13601 | 13603 | 13605
JNC Kitchen | 574714 | 575305 | 41969 | 42159 | 42314 | 42314 | 42314 | 42461 | 42614 | 42781 | 42991 | 43195 | 43195 | 43195 | 43386 | 43515 | 43698 | 43866 | 44044 | 44044 | 44044 | 44221 | 44380 | 44521 | 44702 | 44869 | 44869 | 44875 | 45036 | 45165 | 45348 | 45554 | 45746 | 45746
Gas Consumption
Gas Consumption Kutulu | #REF! | 683.1 | 299140.875 | 196.65 | 150.075 | 207 | 186.3 | 279.45 | 222.525 | 217.35 | 150.075 | 139.725 | 217.35 | 232.875 | 331.2 | 238.05 | 232.875 | 217.35 | 155.25 | 217.35 | 196.65 | 331.2 | 248.4 | 222.525 | 207 | 165.6 | 238.05 | 175.95 | 232.875 | 175.95 | 263.925 | 175.95 | 160.425 | 181.125
Gas Consumption Windows | #REF! | 0 | 1014.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 921.15 | 0 | 0 | 0 | -921.15
Gas Consumption 190 Kitchen | #REF! | 3689.775 | 1637696.025 | 1443.825 | 1417.95 | 1304.1 | 1345.5 | 1474.875 | 1552.5 | 1687.05 | 1790.55 | 1635.3 | 1687.05 | 1692.225 | 1562.85 | 1749.15 | 1816.425 | 1857.825 | 1800.9 | 1645.65 | 1780.2 | 1614.6 | 1692.225 | 1826.775 | 1863 | 1800.9 | 1831.95 | 1749.15 | 1790.55 | 1728.45 | 1733.625 | 1878.525 | 1868.175 | 1749.15
Gas Consumption Main kitchen | #REF! | 2349.45 | 599528.925 | 382.95 | 403.65 | 212.175 | 326.025 | 947.025 | 533.025 | 486.45 | 486.45 | 455.4 | 372.6 | 351.9 | 936.675 | 952.2 | 517.5 | 615.825 | 289.8 | 263.925 | 238.05 | 734.85 | 476.1 | 527.85 | 455.4 | 398.475 | 388.125 | 388.125 | 1045.35 | 595.125 | 398.475 | 724.5 | 408.825 | 326.025
Gas Consumption Pastry Kitchen | #REF! | 67.275 | 25704.225 | 20.7 | 20.7 | 20.7 | 25.875 | 20.7 | 15.525 | 20.7 | 15.525 | 15.525 | 15.525 | 15.525 | 15.525 | 20.7 | 25.875 | 5.175 | 10.35 | 10.35 | 10.35 | 10.35 | 10.35 | 10.35 | 15.525 | 10.35 | 20.7 | 10.35 | 10.35 | 10.35 | 15.525 | 10.35 | 10.35 | 10.35
Gas Consumption JNC Kitchen | #REF! | 3058.425 | -2760013.8 | 983.25 | 802.125 | 0 | 0 | 760.725 | 791.775 | 864.225 | 1086.75 | 1055.7 | 0 | 0 | 988.425 | 667.575 | 947.025 | 869.4 | 921.15 | 0 | 0 | 915.975 | 822.825 | 729.675 | 936.675 | 864.225 | 0 | 31.05 | 833.175 | 667.575 | 947.025 | 1066.05 | 993.6 | 0 | TOTAL | AVE / DAY
Total kWh: | #REF! | 9848.025 | -196929.45 | 3027.375 | 2794.5 | 1743.975 | 1883.7 | 3482.775 | 3115.35 | 3275.775 | 3529.35 | 3301.65 | 2292.525 | 2292.525 | 3834.675 | 3627.675 | 3539.7 | 3565.575 | 3177.45 | 2137.275 | 2225.25 | 3606.975 | 3249.9 | 3317.175 | 3477.6 | 3239.55 | 2478.825 | 2354.625 | 3912.3 | 4098.6 | 3358.575 | 3855.375 | 3441.375 | 1345.5 | 94583.475 | 3051.0798
Forecast for Aug: 147489 KWh | 3878 | 3878 | 4998 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 4757 | 147467 | 4757
Water Meter Reading
Meter 1 | 58670 | 59240 | 248990 | 249080 | 249160 | 249230 | 249310 | 249410 | 249530 | 249640 | 249780 | 249900 | 250020 | 250110 | 250230 | 250340 | 250450 | 250560 | 250670 | 250750 | 250820 | 250900 | 250990 | 251110 | 251240 | 251360 | 251470 | 251550 | 251680 | 251880 | 251990 | 252130 | 252240 | 252340
Meter 2 | 4740 | 4783 | 24969 | 24985 | 25005 | 25029 | 25050 | 25072 | 25096 | 25120 | 25140 | 25162 | 25187 | 25207 | 25226 | 25247 | 25269 | 25293 | 25312 | 25334 | 25356 | 25380 | 25402 | 25422 | 25445 | 25469 | 25491 | 25514 | 25535 | 25555 | 25573 | 25594 | 25609 | 25639
Domestic Water Consumption
Meter 1 | -925170 | 570 | 189750 | 90 | 80 | 70 | 80 | 100 | 120 | 110 | 140 | 120 | 120 | 90 | 120 | 110 | 110 | 110 | 110 | 80 | 70 | 80 | 90 | 120 | 130 | 120 | 110 | 80 | 130 | 200 | 110 | 140 | 110 | 100
Meter 2 | -979100 | 43 | 20186 | 16 | 20 | 24 | 21 | 22 | 24 | 24 | 20 | 22 | 25 | 20 | 19 | 21 | 22 | 24 | 19 | 22 | 22 | 24 | 22 | 20 | 23 | 24 | 22 | 23 | 21 | 20 | 18 | 21 | 15 | 30 | TOTAL | AVE / DAY
Total Cu M: | -1904270 | 613 | 209936 | 106 | 100 | 94 | 101 | 122 | 144 | 134 | 160 | 142 | 145 | 110 | 139 | 131 | 132 | 134 | 129 | 102 | 92 | 104 | 112 | 140 | 153 | 144 | 132 | 103 | 151 | 220 | 128 | 161 | 125 | 130 | 4020 | 129.6774
Forecast for July: 11572 Cu M | 328 | 328 | 356 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 373 | 11563 | 373
New Water Reading
Meter 1 | 85086 | 85086 | 32573 | 32630 | 32677 | 32727 | 32761 | 32807 | 32868 | 32919 | 32970 | 33034 | 33087 | 33154 | 33199 | 33245 | 33288 | 33336 | 33381 | 33415 | 33457 | 33502 | 33548 | 33615 | 33672 | 33703 | 33747 | 33813 | 33859 | 33904 | 33955 | 34001 | 34051 | 34107
Meter 2 | 2056 | 2056 | 18304 | 18307 | 18327 | 18340 | 18351 | 18367 | 18373 | 18384 | 18394 | 18405 | 18417 | 18428 | 18443 | 18454 | 18465 | 18476 | 18487 | 18499 | 18510 | 18522 | 18535 | 18549 | 18564 | 18576 | 18589 | 18600 | 18617 | 18629 | 18643 | 18658 | 18671 | 18683
NewWater Consumption
Meter 1 | 42019 | 0 | -52513 | 57 | 47 | 50 | 34 | 46 | 61 | 51 | 51 | 64 | 53 | 67 | 45 | 46 | 43 | 48 | 45 | 34 | 42 | 45 | 46 | 67 | 57 | 31 | 44 | 66 | 46 | 45 | 51 | 46 | 50 | 56
Meter 2 | 1421 | 0 | 16248 | 3 | 20 | 13 | 11 | 16 | 6 | 11 | 10 | 11 | 12 | 11 | 15 | 11 | 11 | 11 | 11 | 12 | 11 | 12 | 13 | 14 | 15 | 12 | 13 | 11 | 17 | 12 | 14 | 15 | 13 | 12 | TOTAL | AVE / DAY
Total Cu M: | 43440 | 0 | -36265 | 60 | 80 | 63 | 45 | 62 | 67 | 62 | 61 | 75 | 65 | 78 | 60 | 57 | 54 | 59 | 56 | 46 | 53 | 57 | 59 | 81 | 72 | 43 | 57 | 77 | 63 | 57 | 65 | 61 | 63 | 68 | 1926 | 62.129
Combined with Domestic water