## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights
Orlando | 31 | 1 | 2018 | 1249823 | 0.080817 | 40649.6526 | 0.8166 | 69603.137 | 0.34523 | 10446.876
Orlando | 28 | 2 | 2018 | 1263709 | 0.080715 | 20461.4154 | 0.8166 | 99009.4712 | 0.25885 | 9721.824
Orlando | 31 | 3 | 2018 | 1362044 | 0.080743 | 29630.0592 | 0.8166 | 108310.5982 | 0.36023 | 11781.984
Orlando | 31 | 4 | 2018 | 1275720 | 0.080453 | 18215.3798 | 0.8166 | 116800.3872 | 0.27062 | 11148.84
Orlando | 31 | 5 | 2018 | 1569920 | 0.08041 | 14477.3844 | 0.8166 | 154374.4718 | 0.21602 | 10446.876
Orlando | 30 | 6 | 2018 | 1807824 | 0.084892 | 6695.79 | 0.8166 | 150787.5264 | 0.20006 | 9923.4
Orlando | 31 | 7 | 2018 | 1854374 | 0.08478 | 6965.9054 | 0.8166 | 152115.3832 | 0.1893 | 9744.912
Orlando | 31 | 8 | 2018 | 3227940 | 0.080376 | 8445.1428 | 0.8166 | 315162.6102 | 0.049019 | 9882.552
Orlando | 30 | 9 | 2018 | 346720 | 0.080432 | 1253.487 | 0.8166 | 43142.2436 | 0.24153 | 7858.8
Orlando | 31 | 10 | 2018 | 1143320 | 0.080438 | 9816.464 | 0.8166 | 123204.3486 | 0.21052 | 9676.092
Orlando | 4 | 11 | 2018 | 159060 | 0.080555 | 2077.688 | 0.8166 | 15071.1876 | 0.23578
Orlando | 11 | 11 | 2018 | 322860 | 0.080479 | 2667.904 | 0.8166 | 33931.473 | 0.19726
Orlando | 18 | 11 | 2018 | 305500 | 0.080506 | 4731.798 | 0.8166 | 10017.5372 | 0.68197
Orlando | 25 | 11 | 2018 | 291040 | 0.080526 | 4946.536 | 0.8166 | 46990.4656 | 0.14872
Orlando | 31 | 11 | 2018 | 273140 | 0.080555 | 6540.8982 | 0.8166 | 25204.1764 | 0.38701 | 9923.4
Orlando | 9 | 12 | 2018 | 281920 | 0.080544 | 6359.642 | 0.8166 | 22929.9904 | 0.26577
Orlando | 16 | 12 | 2018 | 264140 | 0.080564 | 7138.034 | 0.8166 | 17423.038 | 0.29074
Orlando | 31 | 12 | 2018 | 1395848 | 0.075801 | 13785.4462 | 0.8166 | 46437.007 | 0.29608 | 8795.196

## Submetering
Site Name | Day | Month | Year | 90 630 431 (KWh) | 68 425 010 (KWh) | T2392 (KWh) | 68 425 008 (KWh) | T7384 (KWh) | 68 425 060 (KWh) | T7380 (KWh) | 68 425 097 (KWh) | T7281 (KWh) | 68 425 059 (KWh) | T2390 (KWh) | 68 425 077 (KWh) | T2395 (KWh) | 68 425 078 (KWh) | T2393 (KWh) | 68 425 071 (KWh) | T7285 (KWh) | 68 425 093 (KWh) | T7382 (KWh) | 68 425 094 (KWh) | T2391 (KWh) | 90 625 242 (KWh) | T7283 (KWh) | 672 73 163 (KWh) | 676 62 513 (KWh) | 61 979 920 (KWh) | 56 253 208 (KWh) | Domestic Water from RCES 74860172 (m3) | Re-use Water from RCES 74860173 (m3) | Building A Fire Sprinkler System Make-up 44553004 (m3) | Building A Potable Water Feed 70275191 (m3) | Steam Boilers Make-up Water 2130521 (m3) | Resort Natural Gas Meter 12C004186-C1 (m3) | Out Buildings Natural Gas Meter 93477704 (m3) | Cooling Tower Make-up Water 79177804 (m3) | Cooling Tower Blowdown Line Deduct 79305675 (m3) | Building E Potable Water Meter 79190041 (m3) | 7919004D | Building J Irrigation Water Meter 79190039 (m3) | Lazy Pool River Make-up Water 79324776 (m3) | Pool Hydraunic Boiler Water Make-up 112014001775 (m3) | SPA Jacuzzi Water Make-up 112014001771 (m3) | Golf Clubhouse Natural Gas Meter 82SJ729151 (m3) | 73337589 - 1387142 | Golf Clubhouse Flushing Valve Deduct 65956268 (m3) | Clubhouse | Golf Maintenance Facility 1334021 (m3) | Golf Course Comfort Stations 63265094 (m3) | Golf Course Re-use Irrigation 67327447 (m3)
Orlando | 31 | 1 | 2018 | 3070 | 196480 | 2.155 | 190400 | 2.054 | 164400 | 1.848 | 9200 | 0.448 | 145500 | 1.945 | 58000 | 2.79 | 58000 | 2.92 | 63200 | 2.91 | 33440 | 5.23 | 20480 | 3.31 | 229400 | 2.174 | 9200 | 60200 | 3843 | 8080 | 18347.844 | 1645.59 | 93.86 | 13262 | 167.2 | 3954.964 | 36692.914 | 1193.2 | 30996.2314 | 26.6 | 1417.4 | 179.5272 | 2405.4 | 0.038 | 8.74 | 1.7746 | 1043.5332 | 55.556 | 987.9772 | 58.9 | 40.66 | 78.2572
Orlando | 28 | 2 | 2018 | 2740 | 180160 | 2.118 | 174720 | 1.981 | 190200 | 2.238 | 8480 | 0.42 | 204000 | 1.889 | 48000 | 2.25 | 47600 | 2.49 | 50800 | 2.58 | 31520 | 4.37 | 19840 | 3.53 | 221800 | 2.222 | 7800 | 61300 | 3169 | 14320 | 18519.718 | 1462.506 | 63.08 | 13607.8 | 167.2 | 3161.182 | 17297.486 | 1193.2 | 58473.7312 | 26.6 | 194974.2 | 142.8154 | 2287.6 | 0.798 | 5.928 | 2.7474 | 876.945 | 28.766 | 848.179 | 73.34 | 43.7 | 2035.7436
Orlando | 1 | 4 | 2018 | 2953 | 210560 | 2.318 | 200160 | 2.043 | 209100 | 1.983 | 9480 | 0.437 | 156600 | 1.552 | 56400 | 2.54 | 56400 | 2.61 | 61200 | 2.76 | 33600 | 3.8 | 19840 | 2.44 | 252000 | 2.301 | 8600 | 64900 | 3844 | 19360 | 21941.96 | 4941.672 | 71.06 | 16362.8 | 462.84 | 3541.182 | 26087 | 1820.2 | 48358.249 | 1227.4 | 19494 | 151.7036 | 2641 | 2.242 | 13.338 | 1.8772 | 1034.3524 | 58.824 | 975.5284 | 71.82 | 68.78 | 9082.3572
Orlando | 1 | 5 | 2018 | 2550 | 194240 | 2.226 | 190720 | 2.033 | 233400 | 2.214 | 8280 | 0.39 | 228600 | 1.957 | 49600 | 2.25 | 51600 | 2.43 | 55600 | 2.65 | 31520 | 4.11 | 20960 | 3.54 | 211200 | 2.109 | 0 | 0 | 0 | 0 | 22782.596 | 2506.214 | 53.58 | 15735.8 | 443.08 | 3665.974 | 14547.16 | 2333.2 | 66531.9352 | 748.6 | 18148.8 | 133.0988 | 2135.6 | 2.204 | 5.168 | 2.2458 | 673.892 | 0 | 673.892 | 0 | 65.36 | 2650.0592
Orlando | 4 | 6 | 2018 | 2764 | 218080 | 2.19 | 214560 | 2.061 | 327900 | 2.833 | 9480 | 0.408 | 306900 | 2.257 | 59200 | 2.5 | 60800 | 2.86 | 66400 | 2.77 | 39840 | 8.67 | 23360 | 3.26 | 243400 | 2.244 | 0 | 0 | 0 | 0 | 22633.142 | 2556.298 | 62.7 | 18316 | 186.2 | 3815.998 | 10658.544 | 2040.6 | 101274.446 | 851.2 | 13721.8 | 86.9478 | 988 | 2.166 | 11.552 | 2.8424 | 1151.4 | 0 | 1151.4 | 0 | 53.2 | 4160.62
Orlando | 30 | 6 | 2018 | 2160 | 178240 | 2.309 | 174080 | 2.002 | 324600 | 2.662 | 7720 | 0.423 | 303000 | 2.171 | 52000 | 2.54 | 52800 | 2.79 | 51600 | 2.9 | 29760 | 4.98 | 18080 | 3.78 | 227800 | 2.348 | 27500 | 227900 | 89184 | 43560 | 21164.48 | 2265.218 | 29.26 | 16590.8 | 1.52 | 3281.908 | 3412.096 | 2029.2 | 102934.5406 | 684 | 9754.6 | 73.131 | 946.2 | 1.368 | 8.36 | 1.786 | 862.6 | 96.102 | 766.498 | 215.84 | 11.4 | 2873.5068
Orlando | 31 | 7 | 2018 | 2245 | 182560 | 2.112 | 179200 | 1.898 | 334800 | 2.512 | 8280 | 0.409 | 315300 | 2.073 | 54000 | 2.5 | 53200 | 2.56 | 56400 | 2.55 | 28800 | 3.69 | 16800 | 2.91 | 236800 | 2.309 | 27500 | 227900 | 89184 | 43650 | 21069.746 | 1902.736 | 33.44 | 17730.8 | 0 | 3281.908 | 3682.2 | 2093.8 | 105343.0642 | 573.8 | 2036.8 | 26.8318 | 399 | 1.406 | 7.486 | 1.7974 | 919.6 | 0 | 919.6 | 37.62 | 7.6 | 1968.4532
Orlando | 30 | 8 | 2018 | 5131 | 392640 | 2.106 | 390400 | 2.051 | 743100 | 2.54 | 18360 | 0.412 | 713400 | 2.463 | 107200 | 2.21 | 112400 | 2.52 | 114400 | 2.64 | 62560 | 5.4 | 37280 | 3.61 | 536200 | 2.336 | 0 | 0 | 0 | 0 | 6522.738 | 5394.556 | 136.04 | 35313.4 | 1463.76 | 679.82 | 7763.02 | 4814.6 | 255690.182 | 1569.4 | 16780.8 | 240.5742 | 1208.4 | 3.42 | 13.3 | 2.3028 | 1109.6 | 0 | 1109.6 | 57 | 3.8 | 1621.84
Orlando | 23 | 9 | 2018 | 605 | 44320 | 2.18 | 44960 | 2.061 | 85500 | 2.34 | 2080 | 0.412 | 55500 | 2.463 | 12000 | 2.22 | 12000 | 2.52 | 13600 | 2.78 | 12640 | 5.91 | 5120 | 3.63 | 59000 | 2.35 | 0 | 0 | 0 | 0 | 5202.884 | 690.384 | 1.9 | 4028 | 0.38 | 81.662 | 1170.02 | 577.6 | 28579.192 | 144.4 | 3826.6 | 26.7672 | 323 | 0.19 | 1.368 | 1.805 | 1129.8844 | 71.554 | 1058.3304 | 57 | 3.8 | 2303.94
Orlando | 31 | 10 | 2018 | 2181 | 154080 | 2.094 | 153280 | 2.033 | 231600 | 2.138 | 6720 | 0.383 | 241800 | 1.872 | 41200 | 2.46 | 40000 | 2.48 | 43200 | 2.53 | 24160 | 4.42 | 14080 | 3.75 | 193200 | 2.122 | 0 | 0 | 0 | 0 | 16546.53 | 2075.37 | 6.46 | 12790.8 | 0 | 267.558 | 9546.36 | 1558 | 83405.1626 | 429.4 | 13771.2 | 77.5884 | 1037.4 | 1.216 | 5.206 | 2.546 | 914.5156 | 0 | 914.5156 | 64.6 | 3.8 | 4288.3
Orlando | 4 | 11 | 2018 | 355 | 24320 | 2.219 | 23040 | 2.033 | 30300 | 2.338 | 1000 | 0.383 | 24000 | 1.872 | 10400 | 2.46 | 6400 | 2.48 | 6800 | 2.53 | 3520 | 4.42 | 2080 | 3.25 | 27200 | 2.22 | 0 | 0 | 0 | 0 | 2433.482 | 275.31 | 1.14 | 1744.2 | 0 | 39.748 | 2037.94 | 182.4 | 10175.4728 | 49.4 | 1820.2 | 7.5848 | 201.4 | 0.19 | 0.608 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orlando | 11 | 11 | 2018 | 646 | 44800 | 2.219 | 44800 | 2.033 | 88200 | 2.476 | 1920 | 0.386 | 43500 | 1.872 | 8000 | 2.46 | 12000 | 2.48 | 12800 | 2.56 | 7360 | 4.42 | 4480 | 4 | 55000 | 2.22 | 0 | 0 | 0 | 0 | 5002.776 | 556.434 | 1.9 | 3838 | 0 | 75.924 | 2591.98 | 414.2 | 23616.7682 | 57 | 3602.4 | 43.8368 | 399 | 0.304 | 1.254 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orlando | 18 | 11 | 2018 | 655 | 44480 | 2.219 | 44800 | 2.033 | 54600 | 2.476 | 1960 | 0.386 | 61500 | 2.19 | 12400 | 2.59 | 13200 | 2.6 | 13600 | 2.81 | 7200 | 4.42 | 4960 | 4 | 46800 | 2.122 | 0 | 0 | 0 | 0 | 5101.652 | 586.834 | 2.28 | 3644.2 | 0 | 82.498 | 4649.3 | 95 | 0 | 95 | 6125.6 | 31.2512 | 459.8 | 0.342 | 1.178 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orlando | 25 | 11 | 2018 | 655 | 45760 | 2.222 | 44480 | 2.029 | 39000 | 1.482 | 2080 | 0.393 | 52800 | 1.47 | 13200 | 2.59 | 12000 | 2.43 | 13200 | 2.56 | 12000 | 3.45 | 4320 | 2.4 | 52200 | 2.008 | 0 | 0 | 0 | 0 | 5214.74 | 620.274 | 2.28 | 3693.6 | 0 | 82.156 | 4864.38 | 163.4 | 36693.3738 | 140.6 | 6691.8 | 37.2818 | 421.8 | 0.342 | 2.774 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orlando | 2 | 12 | 2018 | 656 | 45280 | 2.222 | 44640 | 2.058 | 43800 | 2.343 | 2000 | 0.399 | 43500 | 2.014 | 12800 | 3.07 | 12000 | 3.05 | 13200 | 3.33 | 2720 | 3.3 | 4800 | 3.59 | 48400 | 2.008 | 0 | 0 | 0 | 0 | 4497.262 | 418.532 | 3.04 | 3066.6 | 0 | 86.488 | 6452.4 | 3.8 | 12688.9334 | 64.6 | 5791.2 | 29.659 | 418 | 0.418 | 1.368 | 2.0102 | 877.8 | 30.324 | 847.476 | 41.8 | 7.6 | 3054.44
Orlando | 9 | 12 | 2018 | 662 | 43200 | 2.222 | 44160 | 2.08 | 53700 | 2.343 | 2000 | 0.436 | 39300 | 2.014 | 12000 | 3.07 | 11600 | 3.05 | 12400 | 3.33 | 7360 | 3.89 | 4800 | 3.59 | 51400 | 2.046 | 0 | 0 | 0 | 0 | 4459.528 | 569.886 | 3.8 | 3192 | 0 | 155.382 | 6204.26 | 3.8 | 14128.9548 | 163.4 | 5213.6 | 64.9116 | 342 | 0.456 | 1.254 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orlando | 16 | 12 | 2018 | 646 | 42720 | 2.222 | 44480 | 2.177 | 36000 | 2.343 | 1960 | 0.436 | 35100 | 2.014 | 12800 | 3.07 | 11600 | 3.05 | 12400 | 3.33 | 7040 | 3.89 | 4640 | 3.59 | 55400 | 2.216 | 0 | 0 | 0 | 0 | 3785.256 | 265.506 | 5.32 | 2785.4 | 0 | 22.534 | 7115.5 | 3.8 | 9993.1868 | 174.8 | 2819.6 | 31.5552 | 376.2 | 0.494 | 1.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orlando | 31 | 12 | 2018 | 1410 | 101760 | 2.433 | 97440 | 2.115 | 98700 | 1.547 | 4200 | 0.401 | 80400 | 1.541 | 27200 | 2.72 | 25600 | 2.65 | 28000 | 2.73 | 14400 | 3.64 | 8640 | 2.5 | 120600 | 2.289 | 81800 | 676200 | -67332 | 98240 | 9988.186 | 15.694 | 20.52 | 7413.8 | 0 | 191.71 | 13591.84 | 3.8 | 25537.634 | 714.4 | 6659602.6 | 86.754 | 779 | 0 | 2.698 | 1.8962 | 1212.4166 | 45.486 | 1166.9306 | 59.28 | 3.8 | 553.5384

## Info
Electrical
Location | Transformer # | Meter Serial # | Reedy Creek # | Service Area | Multiplier | Reedy Creek Description
Service Yard #2 | T7384 | 68 425 008 | CC0913A018 |  | 160 | HSB2 Section 1&2, Building A
Service Yard #2 | T2392 | 68 425 010 | CC0913A020 |  | 160 | HSB2 Section 4&5, Building A
Service Yard #2 | T2393 | 68 425 078 | CC0913A060 |  | 400 | LSB2 Building A - T2395
Service Yard #2 | T2395 | 68 425 077 | CC0913A059 |  | 400 | LSB2 Building A - T2393
Service Yard #2 | T7285 | 68 425 071 | CC0913A081 |  | 400 | LSB2 Building A - T7285
Service Yard #1 | T7380 | 68 425 060 | CC0913A054 |  | 300 | Main Electric Room #1
Service Yard #1 | T2390 | 68 425 059 | CC0913A053 |  | 300 | Service Yard #1
Service Yard #1 | T7382 | 68 425 093 | CC0913A075 |  | 160 | Main Electric Room #1 South
Service Yard #1 | T2391 | 68 425 094 | CC0913A076 |  | 160 | Main Electric Room #1 South
Servcie Yard #3 | T7283 | 90 625 242 | CC0912A18 |  | 200 | Out Buildings
Servcie Yard #3 | T7281 | 68 425 097 | CC0913A095 |  | 40 | Out Buildings
Remote Parking Lot Lights | T2009 | 90 630 431 | CS0212A003 |  | 1 | Employee Parking Lot Lights
Golf Maintenance |  | 67273163 | CC0612A036 |  |  | Golf Maintenace
Golf Clubhouse |  | 67662513 | CG0612A084 |  |  | Golf Clubhouse
Golf Comfort Stations |  | 61979920 | CS0210A030 |  |  | Comfort Stations
Golf Irrigation Pump House |  | 56253208 | IC0608A03 |  |  | Irrigation Pump House
Water
Service Entry |  | 74860172 | x10 | Main Potable Water Feed |  | Water
Service Entry |  | 74860173 | x10 | Re-use Water Feed |  | Reclaimed Water
Pump Room |  | 44553004 | x10 | Fire System Make-up Feed
Pump Room |  | 70275191 | x100 | PW Feed for Bldg A |  | Installed 1/31/14
Boiler Room |  | 2130521 | x100 | Steam Boiler M/U Water |  | Installed 4/15/14
Deduct Meters | Added 7/15
Chiller Room |  | 79177804 | x1 | Make-up to Cooling Towers
Chiller Room |  | 79305675 | x1 | Cooling Tower Blowdown
Building E |  | 7919004D | x1000 | Irrigation Water
Building E |  | 79190041 | x1000 | Potable Water
Building J |  | 79190039 | x1 | Irrigation Water
Lazy River | Added 10/20/15 | 79324776 | x1000 | Potable make-up water for Lazy River
Building E - Inside | Added 11/24/15 | 112014001775 | x100 | Pool Hydranic Heater Make-up Water
Service Yard #2 | Added 11/24/15 | 112014001771 | x100 | Mens and Womens Spa Pool Make-up Water
Changes to Meters
Exterior Pump Room |  | 12C004186-C1 | x100 | Main Gas Feed |  | Meter changed on 11/19/14
|  | 04B000408 | 2014-11-19 |  |  | New Meter Serial Number - Start Number 4668
Golf Course Irrigation |  | 80606729 | 2016-06-01 |  |  | New Meter Serial Number - Start Number 0
Cooling Tower M/U Meter |  | 85492530 | 2019-08-21 |  |  | Meter Changed by RCID
Disputed Bill |  | Customer # | Account #
|  | 10816233 | 2236896 |  |  | ???

## Logsheet
Four Seasons Utility Readings
updated 9/1/19
Water Meters
74860172 |  | 74860173 |  | 44553004 |  | 70275191 |  | 2130521 |  | 04B000408 |  | 93477704
Main PW Feed |  | Main RW Feed |  | Fire Prot Water Feed |  | Potable Wtr Bldg A |  | Steam Boiler M/U |  | Main Gas Meter 2# |  | Main Gas Meter 5#
85492530 |  | 79305675 |  | 79190041 |  | 7919004D |  | 79190039 |  | 79324776
Chiller Room |  | Chiller Room |  | Building E |  | Building E |  | Building J |  | Lazy River |  | Capa Terrace
Cooling Tower M/U |  | Cooling Tower Bleed |  | Potable Water |  | Irrigation |  | Irrigation |  | Potable Water |  | Landscaping Mtr
Electric Meters Service Yard #2
CC0913A018 |  | CC0913A020 |  | CC0913A060 |  | CC0913A059 |  | CC0913A081
68 425 008 | T7384 | 68 425 010 | T2392 | 68 425 078 | T2393 | 68 425 077 | T2395 | 68 425 071 | T7285
KWH | Demand | KWH | Demand | KWH | Demand | KWH | Demand | KWH | Demand
Central Plant Service Yard | [7 empty] | Building E
CC0913A054 |  | CC0913A053 |  | CC0913A075 |  | CC0913A076 |  | CC0912A18 |  | CC0913A095
68 425 060 | T7380 | 68 425 059 | T2390 | 68 425 093 | T7382 | 68 425 094 | T2391 | 90 625 242 | T7283 | 68 425 097 | T7281
KWH | Demand | KWH | Demand | KWH | Demand | KWH | Demand | KWH | Demand | KWH | Demand
Employee Parking |  | Emerg Generator | [5 empty] | 112014001775 |  | 112014001771
CS0212A003 |  | GEN01 | [5 empty] | Building E - Inside |  | Service Yard #2
90 630 431 | T2009 | Tank Level | [5 empty] | Pool Hydranic Heater |  | Spa Jacuzzi's
KWH |  | 1/4-3/4 | [5 empty] | Make-up Water |  | Make-up Water

## Golf Logsheet
Water Meters
73337589 | 65956268 | 1334021 | 63265094 | 80606729
Club House | Club House Deduct | Golf Maintenance | Comfort Stations | Irrigation Reclaim Water
Electric Meters
CG0612A084 | CC0612A036 |  | CS0210A0300 | IC0608A03
676 62 513 | 672 73 163 |  | 61 979 920 | 56 253 208
Club House | Golf Maintenance |  | Comfort Stations | Irrigation Pump House
Natural Gas / Petroleum
82SJ729151 | Propane Tank #1 | Propane Tank #2 | Unleaded Tank | Diesel Tank | Lube Oil Tank
46801014
Nat Gas-Clubhouse | Golf Maintenance | Golf Maintenance | Golf Mainenance | Golf Maintenance | Golf Maintenance

## Graphs
Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | KWH | Fuel Surcharge | Demand
[17 empty] | Electric | Gas
[16 empty] | 2015 | #REF!
[16 empty] | 2016 | #REF!
[16 empty] | 2017 | #REF!
[16 empty] | 2018 | #REF!
[16 empty] | 2019 | #REF!
hi

## Drawing
Utility Distribution
Four Seasons Resort Orlando at Walt Disney World Resort
Electrical, Potable Water, Re-use Water, Natural Gas
[21 empty] | Water Deduct Meters downstream |  |  | Golf Course Water
[21 empty] | of the main water meter for the Resort |  |  | Distribution
[21 empty] | Meter Numbers Listed |  |  | Meter Numbers Listed
[22 empty] | Bldg A Fire |  |  |  |  | Golf Clubhouse
[22 empty] | Sprinkler System |  |  | Golf Clubhouse |  | Flushing Valve
[22 empty] | Make-up |  |  | 73337589 |  | Deduct
[22 empty] | 44553004 |  |  |  |  | 65956268
|  |  |  | 12" Potable Water Line | [8 empty] | Domestic Water
|  |  |  | Feed from | [8 empty] | from RCES
|  |  |  | RCES | [8 empty] | 74860172
[22 empty] | Bdlg A Potable |  |  | Golf Maint
[22 empty] | Water Feed |  |  | Facility
[22 empty] | 70275191 |  |  | 1334021
Golf Course
[6 empty] | 8" Re-use Water Line | [6 empty] | Re-use Water | [12 empty] | Re-Use Irrigation
[6 empty] | Feed from | [6 empty] | from RCES | [12 empty] | 67327447
[6 empty] | RCES | [6 empty] | 74860173
Golf Course
[22 empty] | Steam Boilers |  |  | Comfort Stations
[22 empty] | Make-up Water |  |  | 63265094
2130521
Landscaping
Re-use System
[22 empty] | Cooling Tower | Cooling Twr
[13 empty] | Out Buildings | [8 empty] | Make-up Water | Blowdown
[13 empty] | Natural Gas Meter | [8 empty] | 79177804 | Line Deduct
[13 empty] | 93477704 | [9 empty] | 79305675
Natural Gas
Feed at 50 PSI
[6 empty] | Reduced to 2 PSI | [15 empty] | Bldg E Potable
[6 empty] | for building | [6 empty] | Resort Natural | [8 empty] | Water Meter
[6 empty] | Distribution | [6 empty] | Gas Meter | [8 empty] | 79190041
12C004186-C1
Bldg J Irrigation
Water Meter
[13 empty] | Golf Clubhouse | [8 empty] | 79190039
Natural Gas
Meter
82SJ729151
|  | Electrical Distribution | [19 empty] | Lazy River
|  | 12470 Volts distributed by RCES on 2 separate feeders to the Resort | [19 empty] | Pool Make-up
79324776
Service
|  |  | Yard |  |  |  |  | T7380 |  |  | T2390 |  |  |  |  | T7382 |  |  | T2391
|  |  | #1 |  |  |  |  | 68 425 060 |  |  | 68 425 059 |  |  |  |  | 68 425 093 |  |  | 68 425 094 |  |  | Pool Hydraunic
Boiler Water
Make-up
112014001775
| Service | [20 empty] | Spa Jacuzzi
| Yard |  |  |  | T7384 |  |  |  | T2392 |  |  | T2393 |  |  |  |  | T2395 |  |  | T7285 |  | Water
| #2 |  |  |  | 68 425 008 |  |  |  | 68 425 010 |  |  | 68 425 078 |  |  |  |  | 68 425 077 |  |  | 68 425 071 |  | Make-up
112014001771
Service
[5 empty] | Yard |  |  |  | T7283 |  |  | T7281
[5 empty] | #3 |  |  |  | 90 625 242 |  |  | 68 425 097
Golf
|  |  |  | Course & |  |  | Club House |  |  | Golf Maint. |  |  |  | Cmft Stations |  |  |  | Irrigation
|  |  |  | Clubhouse |  |  | 676 62 513 |  |  | 672 73 163 |  |  |  |  | 61 979 920 |  |  | 56 253 208

## Occupancy
| CDD | HDD | % Occ | 2018 |  |  | CDD | HDD
Jan | 159 | 46 | 75.9 | 0.759 | 13764 | 10446.876 | 192 | 31
Feb | 156 | 76 | 78.2 | 0.782 | 12432 | 9721.824 | 125 | 125
Mar | 264 | 18 | 85.6 | 0.856 | 13764 | 11781.984 | 239 | 21
Apr | 415 | 0 | 83.7 | 0.837 | 13320 | 11148.84 | 328 | 1
May | 487 | 0 | 75.9 | 0.759 | 13764 | 10446.876 | 440 | 0
Jun | 502 | 0 | 74.5 | 0.745 | 13320 | 9923.4 | 477 | 0
Jul | 492 | 0 | 70.8 | 0.708 | 13764 | 9744.912 | 495 | 0
Aug | 475 | 0 | 71.8 | 0.718 | 13764 | 9882.552 | 500 | 0
Sep | 500 | 0 | 59 | 0.59 | 13320 | 7858.8 | 377 | 8
Oct | 431 | 66 | 70.3 | 0.703 | 13764 | 9676.092 | 187 | 72
Nov | 167 | 80 | 74.5 | 0.745 | 13320 | 9923.4 | 104 | 146
Dec | 140 | 133 | 63.9 | 0.639 | 13764 | 8795.196 | 68 | 214
[5 empty] | 162060 | 119350.752
[10 empty] | 2017 | 2018 | 2019
[9 empty] | Occupied Guest Rooms | 120328 | 119350 | 91868
[9 empty] | Electric KWH | 17910500 | 17636409 | 13838299
[9 empty] | Electrical Use per Occupied Room | 148.8473 | 147.7705 | 150.6324
[9 empty] | Gas CCF | 600069 | 584640 | 432248
[9 empty] | Gas Use Per Occupied Room | 4.9869 | 4.8985 | 4.7051
2019 Totals are through Sept 30th

## Elect
2018 | CC0913A018 |  |  |  | CC0913A020 |  |  |  | CC0913A060 |  |  |  | CC0913A059 |  |  |  | CC0913A081 |  |  |  | CC0913A054 |  |  |  | CC0913A053 |  |  |  | CC0913A075 |  |  |  | CC0913A076 |  |  |  | CC0912A18 |  |  |  | CC0913A095 |  |  |  | CS0212A003 |  |  |  | Water Pk | % of KWH |  |  | CG0612A084 |  |  | CC0612A036 |  |  | CS0210A030 |  |  | IIC0608A03 |  |  |  |  | KWH | Account # - 02230191 |  |  |  | Meter # - CC0913A020 | [8 empty] | Meter # - CC0913A018 | [8 empty] | Meter # - CC0913A054 | [8 empty] | Meter # - CC0913A095 | [8 empty] | Meter # - CC0913A053 | [8 empty] | Meter # - CC0913A059 | [8 empty] | Meter # - CC0913A060 | [8 empty] | Meter # - CC0913A081 | [8 empty] | Meter # - CC0913A075 | [8 empty] | Meter # - CC0913A076 | [8 empty] | Meter # - CC90625425 | [9 empty] | Amount |  |  | Meter # - 672 73 163 | [8 empty] | Meter # - 676 62 513 | [8 empty] | Meter # - 61 979 920 | [5 empty] | Meter # - 56 253 208
Date | 68 425 008 | T7384 | KWH Total | Demand | 68 425 010 | T2392 | KWH Total | Demand | 68 425 078 | T2393 | KWH Total | Demand | 68 425 077 | T2395 | KWH Total | Demand | 68 425 071 | T7285 | KWH Total | Demand | 68 425 060 | T7380 | KWH Total | Demand | 68 425 059 | T2390 | KWH Total | Demand | 68 425 093 | T7382 | KWH Total | Demand | 68 425 094 | T2391 | KWH Total | Demand | 90 625 242 | T7283 | KWH Total | Demand | 68 425 097 | T7281 | KWH Total | Demand | 90 630 431 | KWH Total | Demand | Total KWH | KWH |  | Total Mnth |  | 676 62 513 | KWH Total | Demand | 672 73 163 | KWH Total | Demand | 61 979 920 | KWH Total | Demand | 56 253 208 | KWH Total | Demand | Total KWH | Total Mnth | Total | Meter # - CS0212A003 |  |  |  | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Total | Total | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Meter | Bill | KWH | KWH | Fuel Charge | Total | Meter | Bill |  | KWH | Demand | KWH | Fuel Charge | Demand | Total | Total | Total | Total | Total | Total Resort | Total Resort | Total Resort | Total Resort
| KWH | Demand | (x160) | Total | KWH | Demand | (x160) | Total | KWH | Demand | (x400) | Total | KWH | Demand | (x400) | Total | KWH | Demand | (x400) | Total | KWH | Demand | (x300) | Total | KWH | Demand | (x300) | Total | KWH | Demand | (x160) | Total | KWH | Demand | (x160) | Total | KWH | Demand | (X200) | Total | KWH | Demand | (x40) | Total | KWH | (x1) | Total |  |  |  | KWH |  | KWH | (x100) | Total | KWH | (x100) | Total | KWH | (x1) | Total | KWH | (x40) | Total | Golf | Golf | Resort | Meter Read | Bill Read | Amount | Total | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | KHW | KWH Costs | Total | Electric | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | Read | Read | Amount | Total | Total | Amount | Read | Read | Demand | Amount | Amount | Total | Total | Total | Amount | KWH | KWH Costs | Demand | Costs | KWH | KWH Costs | Demand | Costs
2018-01-01 | 56790 | 2.099 |  |  | 51705 | 2.34 |  |  | 6434 | 2.82 |  |  | 6426 | 2.85 |  |  | 6914 | 2.96 |  |  | 45317 | 1.786 |  |  | 43517 | 1.752 |  |  | 11413 | 3.89 |  |  | 8072 | 2.87 |  |  | 54225 | 1.978 |  |  | 10676 | 0.446 |  |  | 91494 | [6 empty] | 2018-01-01 | 39149 |  |  | 5039 |  |  | 94877 |  |  | 39726 | [5 empty] | 91494 | 90793 |  |  | 51705 | 51575 | 2.258 | [6 empty] | 56790 | 56668 | 2.108 | [6 empty] | 45317 | 45265 | 1.987 | [6 empty] | 10676 | 10653 | 0.459 | [6 empty] | 43517 | 43472 | 1.818 | [6 empty] | 6426 | 6411 | 0.32 | [6 empty] | 45317 | 6419 | 0.317 | [6 empty] | 6914 | 6898 | 0.332 | [6 empty] | 11413 | 11393 | 0.566 | [6 empty] | 8072 | 8061 | 0.433 | [6 empty] | 54225 | 54124 | 2.06 | [10 empty] | 5039 | 5020 | 0.272 | [6 empty] | 39149 | 39065 | 1.895 | [6 empty] | 94877 | 94375 |  |  |  |  | 39726 | 39708 | 3.96
2018-01-31 | 57980 | 2.054 | 190400 |  | 52933 | 2.155 | 196480 |  | 6579 | 2.92 | 58000 |  | 6571 | 2.79 | 58000 |  | 7072 | 2.91 | 63200 |  | 45865 | 1.848 | 164400 |  | 44002 | 1.945 | 145500 |  | 11622 | 5.23 | 33440 |  | 8200 | 3.31 | 20480 |  | 55372 | 2.174 | 229400 |  | 10906 | 0.448 | 9200 |  | 94564 | 3070 |  | 1171570 | 238600 | 0.20366 |  | 2018-01-31 | 39751 | 60200 |  | 5131 | 9200 |  | 98720 | 3843 |  | 39928 | 8080 |  | 81323 |  |  | 94564 | 93676 | 2883 | 458.3121 | 52933 | 52726 | 2.359 | 184160 | 377.44 | 7034.912 | 4491.6624 | 2510.7309 | 12728.7318 | 57980 | 57782 | 2.184 | 178240 | 349.44 | 6808.768 | 4347.2736 | 2324.4749 | 12321.1458 | 45865 | 45748 | 1.874 | 144900 | 562.2 | 5535.18 | 3534.111 | 3739.7544 | 10025.7201 | 10906 | 10868 | 0.464 | 8600 | 18.56 | 328.52 | 209.754 | 123.4611 | 619.6014 | 44002 | 43908 | 1.915 | 130800 | 574.5 | 4996.56 | 3190.212 | 3821.574 | 9054.9492 | 6571 | 6549 | 0.367 | 55200 | 146.8 | 2108.64 | 1346.328 | 976.5136 | 3849.9648 | 45865 | 6558 | 0.363 | 55600 | 145.2 | 2123.92 | 1356.084 | 965.8704 | 3877.5044 | 7072 | 7047 | 0.397 | 59600 | 158.8 | 2276.72 | 1453.644 | 1056.3376 | 4152.9004 | 11622 | 11586 | 0.412 | 30880 | 65.92 | 1179.616 | 753.1632 | 438.4998 | 2175.5571 | 8200 | 8178 | 0.36 | 18720 | 57.6 | 715.104 | 456.5808 | 383.1552 | 1338.3533 | 55372 | 55154 | 2.194 | 206000 | 438.8 | 7869.2 | 5024.34 | 2918.8976 | 14232.394 | 1075583 | 74835.1344 | 19259.2695 | 94094.4039 | 5131 | 5102 | 0.261 | 8200 | 26.1 | 313.24 | 195.98 | 173.6172 | 582.142 | 39751 | 39595 | 1.825 | 53000 | 182.5 | 2024.6 | 1266.7 | 1213.99 | 3642.43 | 98720 | 97836 | 3461 | 412.655 | 844.1379 | 1385.6072 | 39928 | 39870 | 3.82 | 6480 | 152.8 | 247.536 | 154.872 | 1016.4256 | 464.6488 | 71141 | 6074.828 | 2404.0328 | 8478.8608 | 1146724 | 80909.9624 | 21663.3023 | 102573.2647
2018-02-28 | 59072 | 1.981 | 174720 |  | 54059 | 2.118 | 180160 |  | 6698 | 2.49 | 47600 |  | 6691 | 2.25 | 48000 |  | 7199 | 2.58 | 50800 |  | 46499 | 2.238 | 190200 |  | 44682 | 1.889 | 204000 |  | 11819 | 4.37 | 31520 |  | 8324 | 3.53 | 19840 |  | 56481 | 2.222 | 221800 |  | 11118 | 0.42 | 8480 |  | 97304 | 2740 |  | 1179860 | 230280 | 0.19518 |  | 2018-02-28 | 40364 | 61300 |  | 5209 | 7800 |  | 101889 | 3169 |  | 40286 | 14320 |  | 86589 |  |  | 97304 | 97131 | 3455 | 548.6778 | 54059 | 54055 | 2.296 | 212640 | 367.36 | 8122.848 | 5186.2896 | 2443.6787 | 14689.5514 | 59072 | 59067 | 2.109 | 205600 | 337.44 | 7853.92 | 5014.584 | 2244.6509 | 14204.8544 | 46499 | 46498 | 2.168 | 225000 | 650.4 | 8595 | 5487.75 | 4326.4608 | 15540.525 | 11118 | 11116 | 0.448 | 9920 | 17.92 | 378.944 | 241.9488 | 119.2038 | 710.4821 | 44682 | 44679 | 1.979 | 231300 | 593.7 | 8835.66 | 5641.407 | 3949.2924 | 15974.2737 | 6691 | 6690 | 0.279 | 56400 | 111.6 | 2154.48 | 1375.596 | 742.3632 | 3932.5836 | 46499 | 6698 | 0.292 | 56000 | 116.8 | 2139.2 | 1365.84 | 776.9536 | 3905.044 | 7199 | 7199 | 0.291 | 60800 | 116.4 | 2322.56 | 1482.912 | 774.2928 | 4235.5192 | 11819 | 11818 | 0.561 | 37120 | 89.76 | 1417.984 | 905.3568 | 597.0835 | 2605.1749 | 8324 | 8324 | 0.366 | 23360 | 58.56 | 892.352 | 569.7504 | 389.5411 | 1657.8126 | 56481 | 56477 | 2.267 | 264600 | 453.4 | 10107.72 | 6453.594 | 3016.0168 | 18266.9454 | 1386195 | 96271.4441 | 19379.5377 | 115650.9818 | 5209 | 5201 | 0.248 | 9900 | 24.8 | 378.18 | 236.61 | 164.9696 | 698.269 | 40364 | 40338 | 1.842 | 74300 | 184.2 | 2838.26 | 1775.77 | 1225.2984 | 5097.433 | 101889 | 1753 | 3947 | 470.6008 | 962.6733 | 1579.7365 | 40286 | 40262 | 3.747 | 15680 | 149.88 | 598.976 | 374.752 | 997.0018 | 1093.1008 | 103827 | 8468.5393 | 2387.2698 | 10855.8091 | 1490022 | 104739.9834 | 21766.8074 | 126506.7908
2018-04-01 | 60323 | 2.043 | 200160 |  | 55375 | 2.318 | 210560 |  | 6839 | 2.61 | 56400 |  | 6832 | 2.54 | 56400 |  | 7352 | 2.76 | 61200 |  | 47196 | 1.983 | 209100 |  | 45204 | 1.552 | 156600 |  | 12029 | 3.8 | 33600 |  | 8448 | 2.44 | 19840 |  | 57741 | 2.301 | 252000 |  | 11355 | 0.437 | 9480 |  | 100257 | 2953 |  | 1268293 | 261480 | 0.20617 |  | 2018-04-01 | 41013 | 64900 |  | 5295 | 8600 |  | 105733 | 3844 |  | 40770 | 19360 |  | 96704 |  |  | 100257 | 99742 | 2611 | 415.341 | 55375 | 55245 | 2.393 | 190400 | 382.88 | 7273.28 | 4643.856 | 2546.9178 | 13158.3496 | 60323 | 60200 | 2.171 | 181280 | 347.36 | 6924.896 | 4421.4192 | 2310.6387 | 12530.4467 | 47196 | 47116 | 2.238 | 185400 | 671.4 | 7082.28 | 4521.906 | 4466.1528 | 12814.1046 | 11355 | 11331 | 0.435 | 8600 | 17.4 | 328.52 | 209.754 | 115.7448 | 619.6014 | 45204 | 45142 | 1.962 | 138900 | 588.6 | 5305.98 | 3387.771 | 3915.3672 | 9612.6261 | 6832 | 6818 | 0.276 | 51200 | 110.4 | 1955.84 | 1248.768 | 734.3808 | 3574.5688 | 47196 | 6825 | 0.258 | 50800 | 103.2 | 1940.56 | 1239.012 | 686.4864 | 3547.0292 | 7352 | 7337 | 0.283 | 55200 | 113.2 | 2108.64 | 1346.328 | 753.0064 | 3849.9648 | 12029 | 12011 | 0.566 | 30880 | 90.56 | 1179.616 | 753.1632 | 602.4051 | 2175.5571 | 8448 | 8436 | 0.397 | 17920 | 63.52 | 684.544 | 437.0688 | 422.535 | 1283.2741 | 57741 | 57612 | 2.247 | 227000 | 449.4 | 8671.4 | 5536.53 | 2989.4088 | 15678.223 | 1140191 | 79259.0864 | 19543.0438 | 98802.1303 | 5295 | 5278 | 0.268 | 7700 | 26.8 | 294.14 | 184.03 | 178.2736 | 547.987 | 41013 | 40916 | 1.641 | 57800 | 164.1 | 2207.96 | 1381.42 | 1091.5932 | 3970.318 | 105733 | 5246 | 3493 | 416.4704 | 851.9427 | 1398.3894 | 40770 | 40717 | 3.957 | 18200 | 158.28 | 695.24 | 434.98 | 1052.8786 | 1265.242 | 87193 | 7181.9364 | 2322.7454 | 9504.6818 | 1227384 | 86441.0228 | 21865.7892 | 108306.812
2018-05-01 | 61515 | 2.033 | 190720 |  | 56589 | 2.226 | 194240 |  | 6968 | 2.43 | 51600 |  | 6956 | 2.25 | 49600 |  | 7491 | 2.65 | 55600 |  | 47974 | 2.214 | 233400 |  | 45966 | 1.957 | 228600 |  | 12226 | 4.11 | 31520 |  | 8579 | 3.54 | 20960 |  | 58797 | 2.109 | 211200 |  | 11562 | 0.39 | 8280 |  | 102807 | 2550 |  | 1278270 | 219480 | 0.1717 |  | 2018-05-01 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 102807 | 2186 | 2444 | 388.958 | 56589 | 56343 | 2.316 | 175680 | 370.56 | 6710.976 | 4284.8352 | 2464.9651 | 12144.8923 | 61515 | 61274 | 2.087 | 171840 | 333.92 | 6564.288 | 4191.1776 | 2221.2358 | 11880.5122 | 47974 | 47814 | 2.142 | 209400 | 642.6 | 7999.08 | 5107.266 | 4274.5752 | 14466.4806 | 11562 | 11522 | 0.437 | 7640 | 17.48 | 291.848 | 186.3396 | 116.277 | 553.5064 | 45966 | 45836 | 2.133 | 208200 | 639.9 | 7953.24 | 5077.998 | 4256.6148 | 14383.8618 | 6956 | 6931 | 0.257 | 45200 | 102.8 | 1726.64 | 1102.428 | 683.8256 | 3161.4748 | 47974 | 6942 | 0.266 | 46800 | 106.4 | 1787.76 | 1141.452 | 707.7728 | 3271.6332 | 7491 | 7462 | 0.276 | 50000 | 110.4 | 1910 | 1219.5 | 734.3808 | 3491.95 | 12226 | 12185 | 0.422 | 27840 | 67.52 | 1063.488 | 679.0176 | 449.143 | 1966.2562 | 8579 | 8551 | 0.367 | 18400 | 58.72 | 702.88 | 448.776 | 390.6054 | 1316.3216 | 58797 | 58582 | 2.301 | 194000 | 460.2 | 7410.8 | 4731.66 | 3061.2504 | 13406.206 | 1157444 | 80432.053 | 19360.646 | 99792.699 | 5295 | 5358 | 0.277 | 8000 | 27.7 | 305.6 | 191.2 | 184.2604 | 568.48 | 41013 | 41547 | 1.939 | 63100 | 193.9 | 2410.42 | 1508.09 | 1289.8228 | 4332.361 | 105733 | 8470 | 3224 | 384.3975 | 786.3336 | 1290.9392 | 40770 | 41043 | 3.907 | 13040 | 156.28 | 498.128 | 311.656 | 1039.5746 | 912.7624 | 87364 | 7104.5426 | 2513.6578 | 9618.2004 | 1244808 | 87536.5956 | 21874.3038 | 109410.8994
2018-06-04 | 62856 | 2.061 | 214560 |  | 57952 | 2.19 | 218080 |  | 7120 | 2.86 | 60800 |  | 7104 | 2.5 | 59200 |  | 7657 | 2.77 | 66400 |  | 49067 | 2.833 | 327900 |  | 46989 | 2.257 | 306900 |  | 12475 | 8.67 | 39840 |  | 8725 | 3.26 | 23360 |  | 60014 | 2.244 | 243400 |  | 11799 | 0.408 | 9480 |  | 105571 | 2764 |  | 1572684 | 252880 | 0.1608 |  | 2018-06-04 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 105571 | 5042 | 2856 | 454.0466 | 57952 | 57745 | 2.226 | 224320 | 356.16 | 8569.024 | 5471.1648 | 2369.1763 | 15493.7077 | 62856 | 62649 | 2.133 | 220000 | 341.28 | 8404 | 5365.8 | 2270.1946 | 15196.28 | 49067 | 48866 | 2.49 | 315600 | 747 | 12055.92 | 7697.484 | 4969.044 | 21778.2444 | 11799 | 11763 | 0.417 | 9640 | 16.68 | 368.248 | 235.1196 | 110.9554 | 691.2044 | 46989 | 46805 | 2.233 | 290700 | 669.9 | 11104.74 | 7090.173 | 4456.1748 | 20063.9043 | 7104 | 7080 | 0.259 | 59600 | 103.6 | 2276.72 | 1453.644 | 689.1472 | 4152.9004 | 49067 | 7095 | 0.279 | 61200 | 111.6 | 2337.84 | 1492.668 | 742.3632 | 4263.0588 | 7657 | 7626 | 0.296 | 65600 | 118.4 | 2505.92 | 1599.984 | 787.5968 | 4565.9944 | 12475 | 12426 | 0.452 | 38560 | 72.32 | 1472.992 | 940.4784 | 481.0726 | 2704.3174 | 8725 | 8703 | 0.38 | 24320 | 60.8 | 929.024 | 593.1648 | 404.4416 | 1723.9077 | 60014 | 59819 | 2.109 | 247400 | 421.8 | 9450.68 | 6034.086 | 2805.8136 | 17082.7426 | 1559796 | 108170.3087 | 20085.9801 | 128256.2887 | 5295 | 5458 | 0.243 | 10000 | 24.3 | 382 | 239 | 161.6436 | 705.1 | 41013 | 42431 | 1.934 | 88400 | 193.4 | 3376.88 | 2112.76 | 1286.4968 | 6060.604 | 105733 | 12648 | 4178 | 498.1429 | 1019.0142 | 1672.0079 | 40770 | 41512 | 3.899 | 18760 | 155.96 | 716.632 | 448.364 | 1037.4459 | 1303.4956 | 121338 | 9741.2075 | 2485.5863 | 12226.7938 | 1681134 | 117911.5161 | 22571.5664 | 140483.0825
2018-06-30 | 63944 | 2.002 | 174080 |  | 59066 | 2.309 | 178240 |  | 7252 | 2.79 | 52800 |  | 7234 | 2.54 | 52000 |  | 7786 | 2.9 | 51600 |  | 50149 | 2.662 | 324600 |  | 47999 | 2.171 | 303000 |  | 12661 | 4.98 | 29760 |  | 8838 | 3.78 | 18080 |  | 61153 | 2.348 | 227800 |  | 11992 | 0.423 | 7720 |  | 107731 | 2160 |  | 1421840 | 235520 | 0.16564 |  | 2018-06-30 | 43292 | 227900 |  | 5570 | 27500 |  | 16549 | 89184 |  | 41859 | 43560 |  | 388144 |  |  | 107731 | 7130 | 2088 | 332.7164 | 59066 | 58950 | 2.28 | 192800 | 364.8 | 7364.96 | 4702.392 | 2426.6496 | 13323.5872 | 63944 | 63828 | 2.134 | 188640 | 341.44 | 7206.048 | 4600.9296 | 2271.2589 | 13037.1754 | 50149 | 50036 | 2.833 | 351000 | 849.9 | 13408.2 | 8560.89 | 5653.5348 | 24215.499 | 11992 | 11972 | 0.415 | 8360 | 16.6 | 319.352 | 203.9004 | 110.4232 | 603.0776 | 47999 | 47906 | 2.257 | 330300 | 677.1 | 12617.46 | 8056.017 | 4504.0692 | 22790.3247 | 7234 | 7220 | 0.25 | 56000 | 100 | 2139.2 | 1365.84 | 665.2 | 3905.044 | 50149 | 7237 | 0.286 | 56800 | 114.4 | 2169.76 | 1385.352 | 760.9888 | 3960.1232 | 7786 | 7771 | 0.277 | 58000 | 110.8 | 2215.6 | 1414.62 | 737.0416 | 4042.742 | 12661 | 12644 | 0.867 | 34880 | 138.72 | 1332.416 | 850.7232 | 922.7654 | 2450.9531 | 8838 | 8829 | 0.348 | 20160 | 55.68 | 770.112 | 491.7024 | 370.3834 | 1437.4958 | 61153 | 61025 | 2.281 | 241200 | 456.2 | 9213.84 | 5882.868 | 3034.6424 | 16655.8788 | 1540228 | 106754.6173 | 21456.9573 | 128211.5746 | 5570 | 5545 | 0.269 | 8700 | 26.9 | 332.34 | 207.93 | 178.9388 | 616.297 | 43292 | 43186 | 1.915 | 75500 | 191.5 | 2884.1 | 1804.45 | 1273.858 | 5179.405 | 16549 | 16254 | 3606 | 429.9434 | 879.5034 | 1443.5265 | 41859 | 41834 | 3.915 | 12880 | 156.6 | 492.016 | 307.832 | 1041.7032 | 901.8328 | 100686 | 8141.0613 | 2494.5 | 10635.5613 | 1640914 | 114895.6785 | 23951.4573 | 138847.1358
2018-07-31 | 65064 | 1.898 | 179200 |  | 60207 | 2.112 | 182560 |  | 7385 | 2.56 | 53200 |  | 7369 | 2.5 | 54000 |  | 7927 | 2.55 | 56400 |  | 51265 | 2.512 | 334800 |  | 49050 | 2.073 | 315300 |  | 12841 | 3.69 | 28800 |  | 8943 | 2.91 | 16800 |  | 62337 | 2.309 | 236800 |  | 12199 | 0.409 | 8280 |  | 109976 | 2245 |  | 1468385 | 245080 | 0.1669 |  | 2018-07-31 | 41013 | 227900 |  | 5295 | 27500 |  | 105733 | 89184 |  | 40770 | 43650 |  | 388234 |  |  | 109976 | 9369 | 2239 | 356.5717 | 60207 | 60011 | 2.309 | 169760 | 369.44 | 6484.832 | 4140.4464 | 2457.5149 | 11737.3062 | 65064 | 64867 | 2.002 | 166240 | 320.32 | 6350.368 | 4054.5936 | 2130.7686 | 11494.9578 | 51265 | 51071 | 2.694 | 310500 | 808.2 | 11861.1 | 7573.095 | 5376.1464 | 21427.1145 | 12199 | 12163 | 0.439 | 7640 | 17.56 | 291.848 | 186.3396 | 116.8091 | 553.5064 | 49050 | 48879 | 2.212 | 291900 | 663.6 | 11150.58 | 7119.441 | 4414.2672 | 20146.5231 | 7369 | 7346 | 0.272 | 50400 | 108.8 | 1925.28 | 1229.256 | 723.7376 | 3519.4896 | 51265 | 7362 | 0.279 | 50000 | 111.6 | 1910 | 1219.5 | 742.3632 | 3491.95 | 7927 | 7902 | 0.292 | 52400 | 116.8 | 2001.68 | 1278.036 | 776.9536 | 3657.1876 | 12841 | 12809 | 0.496 | 26400 | 79.36 | 1008.48 | 643.896 | 527.9027 | 1867.1136 | 8943 | 8925 | 0.378 | 15360 | 60.48 | 586.752 | 374.6304 | 402.313 | 1107.0206 | 62337 | 62166 | 2.383 | 228200 | 476.6 | 8717.24 | 5565.798 | 3170.3432 | 15760.8418 | 1371039 | 95119.5829 | 20839.1195 | 115958.7024 | 5295 | 5642 | 0.268 | 9700 | 26.8 | 370.54 | 231.83 | 178.2736 | 684.607 | 41013 | 43926 | 2.045 | 74000 | 204.5 | 2826.8 | 1768.6 | 1360.334 | 5076.94 | 105733 | 18937 | 2683 | 319.8941 | 87.1975 | 450.9357 | 40770 | 41919 | 3.74 | 3400 | 149.6 | 129.88 | 81.26 | 995.1392 | 254.254 | 89783 | 6466.7367 | 2533.7468 | 9000.4835 | 1460822 | 101586.3196 | 23372.8663 | 124959.186
2018-08-30 | 67504 | 2.051 | 390400 |  | 62661 | 2.106 | 392640 |  | 7666 | 2.52 | 112400 |  | 7637 | 2.21 | 107200 |  | 8213 | 2.64 | 114400 |  | 53742 | 2.54 | 743100 |  | 51428 | 2.463 | 713400 |  | 13232 | 5.4 | 62560 |  | 9176 | 3.61 | 37280 |  | 65018 | 2.336 | 536200 |  | 12658 | 0.412 | 18360 |  | 115107 | 5131 |  | 3233071 | 554560 | 0.17153 |  | 2018-08-30 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 115107 | 12073 | 2704 | 430.0333 | 62661 | 61359 | 2.192 | 215680 | 350.72 | 8238.976 | 5260.4352 | 2332.9894 | 14898.8523 | 67504 | 66201 | 2.026 | 213440 | 324.16 | 8153.408 | 5205.8016 | 2156.3123 | 14744.6306 | 53742 | 52392 | 2.626 | 396300 | 787.8 | 15138.66 | 9665.757 | 5240.4456 | 27334.3587 | 12658 | 12411 | 0.432 | 9920 | 17.28 | 378.944 | 241.9488 | 114.9466 | 710.4821 | 51428 | 50131 | 2.198 | 375600 | 659.4 | 14347.92 | 9160.884 | 4386.3288 | 25909.1844 | 7637 | 7496 | 0.25 | 60000 | 100 | 2292 | 1463.4 | 665.2 | 4180.44 | 53742 | 7523 | 0.258 | 64400 | 103.2 | 2460.08 | 1570.716 | 686.4864 | 4483.3756 | 8213 | 8068 | 0.268 | 66400 | 107.2 | 2536.48 | 1619.496 | 713.0944 | 4621.0736 | 13232 | 13018 | 0.397 | 33440 | 63.52 | 1277.408 | 815.6016 | 422.535 | 2351.8106 | 9176 | 9044 | 0.332 | 19040 | 53.12 | 727.328 | 464.3856 | 353.3542 | 1360.385 | 65018 | 63605 | 2.396 | 287800 | 479.2 | 10993.96 | 7019.442 | 3187.6384 | 19864.2422 | 1744724 | 120888.8683 | 20259.3312 | 141148.1995 | 5295 | 5761 | 0.282 | 11900 | 28.2 | 454.58 | 284.41 | 187.5864 | 834.889 | 41013 | 44846 | 1.99 | 92000 | 199 | 3514.4 | 2198.8 | 1323.748 | 6306.52 | 105733 | 22851 | 3914 | 466.6662 | 127.205 | 656.3933 | 40770 | 42268 | 3.777 | 13960 | 151.08 | 533.272 | 333.644 | 1004.9842 | 975.6076 | 121774 | 8773.4099 | 2516.3186 | 11289.7285 | 1866498 | 129662.2783 | 22775.6498 | 152437.928
2018-09-23 | 67785 | 2.061 | 44960 |  | 62938 | 2.18 | 44320 |  | 7696 | 2.52 | 12000 |  | 7667 | 2.22 | 12000 |  | 8247 | 2.78 | 13600 |  | 54027 | 2.34 | 85500 |  | 51613 | 2.463 | 55500 |  | 13311 | 5.91 | 12640 |  | 9208 | 3.63 | 5120 |  | 65313 | 2.35 | 59000 |  | 12710 | 0.412 | 2080 |  | 115712 | 605 |  | 347325 | 61080 | 0.17586 |  | 2018-09-23 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 115712 | 14521 | 2448 | 389.5899 | 62938 | 62456 | 2.209 | 175520 | 353.44 | 6704.864 | 4280.9328 | 2351.0829 | 12133.8765 | 67785 | 67297 | 2.065 | 175360 | 330.4 | 6698.752 | 4277.0304 | 2197.8208 | 12122.8606 | 54027 | 53135 | 2.576 | 222900 | 772.8 | 8514.78 | 5436.531 | 5140.6656 | 15395.9421 | 12710 | 12620 | 0.511 | 8360 | 20.44 | 319.352 | 203.9004 | 135.9669 | 603.0776 | 51613 | 51209 | 2.233 | 323400 | 669.9 | 12353.88 | 7887.726 | 4456.1748 | 22315.2666 | 7667 | 7616 | 2.22 | 48000 | 888 | 1833.6 | 1170.72 | 5906.976 | 3354.252 | 54027 | 7642 | 0.274 | 47600 | 109.6 | 1818.32 | 1160.964 | 729.0592 | 3326.7124 | 8247 | 8191 | 0.282 | 49200 | 112.8 | 1879.44 | 1199.988 | 750.3456 | 3436.8708 | 13311 | 13214 | 0.719 | 31360 | 115.04 | 1197.952 | 764.8704 | 765.2461 | 2208.6046 | 9208 | 9152 | 0.346 | 17280 | 55.36 | 660.096 | 421.4592 | 368.2547 | 1239.2107 | 65313 | 64800 | 2.395 | 239000 | 479 | 9129.8 | 5829.21 | 3186.308 | 16504.411 | 1340428 | 93030.675 | 25987.9006 | 119018.5755 | 5295 | 5850 | 0.268 | 8900 | 26.8 | 339.98 | 212.71 | 178.2736 | 629.959 | 41013 | 45616 | 2.111 | 77000 | 211.1 | 2941.4 | 1840.3 | 1404.2372 | 5281.87 | 105733 | 26301 | 3450 | 411.3435 | 112.125 | 578.9504 | 40770 | 42480 | 3.76 | 8480 | 150.4 | 323.936 | 202.672 | 1000.4608 | 601.2688 | 97830 | 7092.0481 | 2582.9716 | 9675.0197 | 1438258 | 100122.7231 | 28570.8722 | 128693.5953
2018-10-31 | 68743 | 2.033 | 153280 |  | 63901 | 2.094 | 154080 |  | 7796 | 2.48 | 40000 |  | 7770 | 2.46 | 41200 |  | 8355 | 2.53 | 43200 |  | 54799 | 2.138 | 231600 |  | 52419 | 1.872 | 241800 |  | 13462 | 4.42 | 24160 |  | 9296 | 3.75 | 14080 |  | 66279 | 2.122 | 193200 |  | 12878 | 0.383 | 6720 |  | 117893 | 2181 |  | 1145501 | 199920 | 0.17453 |  | 2018-10-31 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 117893 | 17629 | 3108 | 493.8581 | 63901 | 63887 | 2.313 | 228960 | 370.08 | 8746.272 | 5584.3344 | 2461.7722 | 15813.167 | 68743 | 68730 | 2.061 | 229280 | 329.76 | 8758.496 | 5592.1392 | 2193.5635 | 15835.1987 | 54799 | 54792 | 2.54 | 497100 | 762 | 18989.22 | 12124.269 | 5068.824 | 34274.3379 | 12878 | 12875 | 0.412 | 10200 | 16.48 | 389.64 | 248.778 | 109.625 | 729.7598 | 52419 | 52407 | 2.463 | 359400 | 738.9 | 13729.08 | 8765.766 | 4915.1628 | 24793.8306 | 7770 | 7769 | 2.46 | 61200 | 984 | 2337.84 | 1492.668 | 6545.568 | 4263.0588 | 54799 | 7795 | 0.252 | 61200 | 100.8 | 2337.84 | 1492.668 | 670.5216 | 4263.0588 | 8355 | 8354 | 0.278 | 65200 | 111.2 | 2490.64 | 1590.228 | 739.7024 | 4538.4548 | 13462 | 13459 | 0.591 | 39200 | 94.56 | 1497.44 | 956.088 | 629.0131 | 2748.3808 | 9296 | 9294 | 0.363 | 22720 | 58.08 | 867.904 | 554.1408 | 386.3482 | 1613.7493 | 66279 | 66265 | 2.35 | 293000 | 470 | 11192.6 | 7146.27 | 3126.44 | 20222.257 | 1870568 | 129589.1116 | 26846.5407 | 156435.6523 | 5295 | 5960 | 0.271 | 11000 | 27.1 | 406.89 | 335.06 | 201.8137 | 838.145 | 41013 | 46541 | 1.975 | 92500 | 197.5 | 3533.5 | 2210.75 | 1313.77 | 6340.675 | 105733 | 30783 | 4482 | 534.3889 | 145.665 | 751.1942 | 40770 | 42911 | 3.943 | 17240 | 157.72 | 658.568 | 412.036 | 1049.1534 | 1199.6644 | 125222 | 9129.6786 | 2564.7371 | 11694.4158 | 1995790 | 138718.7902 | 29411.2779 | 168130.0681
2018-11-04 | 68887 | 2.033 | 23040 |  | 64053 | 2.219 | 24320 |  | 7812 | 2.48 | 6400 |  | 7796 | 2.46 | 10400 |  | 8372 | 2.53 | 6800 |  | 54900 | 2.338 | 30300 |  | 52499 | 1.872 | 24000 |  | 13484 | 4.42 | 3520 |  | 9309 | 3.25 | 2080 |  | 66415 | 2.22 | 27200 |  | 12903 | 0.383 | 1000 |  | 118248 | 355 |  | 159415 | 28200 | 0.1769 |  | 2018-11-04 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 118248 |  |  |  | 64053 | [8 empty] | 68887 | [8 empty] | 54900 | [8 empty] | 12903 | [8 empty] | 52499 | [8 empty] | 7796 | [8 empty] | 54900 | [8 empty] | 8372 | [8 empty] | 13484 | [8 empty] | 9309 | [8 empty] | 66415 | [12 empty] | 5295 | [8 empty] | 41013 | [8 empty] | 105733 | [5 empty] | 40770
2018-11-11 | 69167 | 2.033 | 44800 |  | 64333 | 2.219 | 44800 |  | 7842 | 2.48 | 12000 |  | 7816 | 2.46 | 8000 |  | 8404 | 2.56 | 12800 |  | 55194 | 2.476 | 88200 |  | 52644 | 1.872 | 43500 |  | 13530 | 4.42 | 7360 |  | 9337 | 4 | 4480 |  | 66690 | 2.22 | 55000 |  | 12951 | 0.386 | 1920 |  | 118894 | 646 |  | 323506 | 56920 | 0.17595 |  | 2018-11-11 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 118894 |  |  |  | 64333 | [8 empty] | 69167 | [8 empty] | 55194 | [8 empty] | 12951 | [8 empty] | 52644 | [8 empty] | 7816 | [8 empty] | 55194 | [8 empty] | 8404 | [8 empty] | 13530 | [8 empty] | 9337 | [8 empty] | 66690 | [12 empty] | 5295 | [8 empty] | 41013 | [8 empty] | 105733 | [5 empty] | 40770
2018-11-18 | 69447 | 2.033 | 44800 |  | 64611 | 2.219 | 44480 |  | 7875 | 2.6 | 13200 |  | 7847 | 2.59 | 12400 |  | 8438 | 2.81 | 13600 |  | 55376 | 2.476 | 54600 |  | 52849 | 2.19 | 61500 |  | 13575 | 4.42 | 7200 |  | 9368 | 4 | 4960 |  | 66924 | 2.122 | 46800 |  | 13000 | 0.386 | 1960 |  | 119549 | 655 |  | 306155 | 48760 | 0.15927 |  | 2018-11-18 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 119549 |  |  |  | 64611 | [8 empty] | 69447 | [8 empty] | 55376 | [8 empty] | 13000 | [8 empty] | 52849 | [8 empty] | 7847 | [8 empty] | 55376 | [8 empty] | 8438 | [8 empty] | 13575 | [8 empty] | 9368 | [8 empty] | 66924 | [12 empty] | 5295 | [8 empty] | 41013 | [8 empty] | 105733 | [5 empty] | 40770
2018-11-25 | 69725 | 2.029 | 44480 |  | 64897 | 2.222 | 45760 |  | 7905 | 2.43 | 12000 |  | 7880 | 2.59 | 13200 |  | 8471 | 2.56 | 13200 |  | 55506 | 1.482 | 39000 |  | 53025 | 1.47 | 52800 |  | 13650 | 3.45 | 12000 |  | 9395 | 2.4 | 4320 |  | 67185 | 2.008 | 52200 |  | 13052 | 0.393 | 2080 |  | 120204 | 655 |  | 291695 | 54280 | 0.18608 | 1080771 | 2018-11-25 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 | 0 |  | 120204 |  |  |  | 64897 | [8 empty] | 69725 | [8 empty] | 55506 | [8 empty] | 13052 | [8 empty] | 53025 | [8 empty] | 7880 | [8 empty] | 55506 | [8 empty] | 8471 | [8 empty] | 13650 | [8 empty] | 9395 | [8 empty] | 67185 | [12 empty] | 5295 | [8 empty] | 41013 | [8 empty] | 105733 | [5 empty] | 40770
2018-12-02 | 70004 | 2.058 | 44640 |  | 65180 | 2.222 | 45280 |  | 7935 | 3.05 | 12000 |  | 7912 | 3.07 | 12800 |  | 8504 | 3.33 | 13200 |  | 55652 | 2.343 | 43800 |  | 53170 | 2.014 | 43500 |  | 13667 | 3.3 | 2720 |  | 9425 | 3.59 | 4800 |  | 67427 | 2.008 | 48400 |  | 13102 | 0.399 | 2000 |  | 120860 | 656 |  | 273796 | 50400 | 0.18408 |  | 2018-12-02 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 120860 | 20136 | 2507 | 410.4537 | 65180 | 64973 | 2.219 | 173760 | 355.04 | 6427.3824 | 5292.7296 | 2643.9829 | 11720.112 | 70004 | 69800 | 2.033 | 171200 | 325.28 | 6332.688 | 5214.752 | 2422.3602 | 11547.44 | 55652 | 55537 | 2.476 | 223500 | 742.8 | 8267.265 | 6807.81 | 5531.6316 | 15075.075 | 13102 | 13065 | 0.417 | 7600 | 16.68 | 281.124 | 231.496 | 124.216 | 512.62 | 53170 | 53068 | 2.19 | 198300 | 657 | 7335.117 | 6040.218 | 4892.679 | 13375.335 | 7912 | 7888 | 0.259 | 47600 | 103.6 | 1760.724 | 1449.896 | 771.5092 | 3210.62 | 55652 | 7912 | 0.26 | 46800 | 104 | 1731.132 | 1425.528 | 774.488 | 3156.66 | 8504 | 8479 | 0.281 | 50000 | 112.4 | 1849.5 | 1523 | 837.0428 | 3372.5 | 13667 | 13632 | 0.442 | 27680 | 70.72 | 1023.8832 | 843.1328 | 526.6518 | 1867.016 | 9425 | 9403 | 0.4 | 17440 | 64 | 645.1056 | 531.2224 | 476.608 | 1176.328 | 67427 | 67250 | 2.122 | 197000 | 424.4 | 7287.03 | 6000.62 | 3160.5068 | 16448.1568 | 1163387 | 81872.3165 | 22161.6762 | 104033.9928 | 5295 | 6034 | 0.285 | 7400 | 28.5 | 273.726 | 225.404 | 212.2395 | 847.2608 | 41013 | 47141 | 1.784 | 60000 | 178.4 | 2219.4 | 1827.6 | 1328.5448 | 4493.2216 | 105733 | 34237 | 3454 | 415.9652 | 105.2088 | 560.7057 | 40770 | 43138 | 3.916 | 9080 | 156.64 | 335.8692 | 276.5768 | 1166.4981 | 698.7263 | 79934 | 6599.9145 | 2707.2824 | 9307.1969 | 1243321 | 88472.231 | 24868.9586 | 113341.1897 | 0.03699 | 0.03046 | 7.447
2018-12-09 | 70280 | 2.08 | 44160 |  | 65450 | 2.222 | 43200 |  | 7964 | 3.05 | 11600 |  | 7942 | 3.07 | 12000 |  | 8535 | 3.33 | 12400 |  | 55831 | 2.343 | 53700 |  | 53301 | 2.014 | 39300 |  | 13713 | 3.89 | 7360 |  | 9455 | 3.59 | 4800 |  | 67684 | 2.046 | 51400 |  | 13152 | 0.436 | 2000 |  | 121522 | 662 |  | 282582 | 53400 | 0.18897 |  | 2018-12-09 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 121522 |  |  |  | 65450 | [8 empty] | 70280 | [8 empty] | 55831 | [8 empty] | 13152 | [8 empty] | 53301 | [8 empty] | 7942 | [8 empty] | 55831 | [8 empty] | 8535 | [8 empty] | 13713 | [8 empty] | 9455 | [8 empty] | 67684 | [12 empty] | 5295 | [8 empty] | 41013 | [8 empty] | 105733 | [5 empty] | 40770
2018-12-16 | 70558 | 2.177 | 44480 |  | 65717 | 2.222 | 42720 |  | 7993 | 3.05 | 11600 |  | 7974 | 3.07 | 12800 |  | 8566 | 3.33 | 12400 |  | 55951 | 2.343 | 36000 |  | 53418 | 2.014 | 35100 |  | 13757 | 3.89 | 7040 |  | 9484 | 3.59 | 4640 |  | 67961 | 2.216 | 55400 |  | 13201 | 0.436 | 1960 |  | 122168 | 646 |  | 264786 | 57360 | 0.21663 |  | 2018-12-16 | 41013 | 0 |  | 5295 | 0 |  | 105733 | 0 |  | 40770 | 0 |  | 0 |  |  | 122168 |  |  |  | 65717 | [8 empty] | 70558 | [8 empty] | 55951 | [8 empty] | 13201 | [8 empty] | 53418 | [8 empty] | 7974 | [8 empty] | 55951 | [8 empty] | 8566 | [8 empty] | 13757 | [8 empty] | 9484 | [8 empty] | 67961 | [12 empty] | 5295 | [8 empty] | 41013 | [8 empty] | 105733 | [5 empty] | 40770
2018-12-31 | 71167 | 2.115 | 97440 |  | 66353 | 2.433 | 101760 |  | 8057 | 2.65 | 25600 |  | 8042 | 2.72 | 27200 |  | 8636 | 2.73 | 28000 |  | 56280 | 1.547 | 98700 |  | 53686 | 1.541 | 80400 |  | 13847 | 3.64 | 14400 |  | 9538 | 2.5 | 8640 |  | 68564 | 2.289 | 120600 |  | 13306 | 0.401 | 4200 |  | 123578 | 1410 |  | 608350 | 124800 | 0.20515 | 1429514 | 2018-12-31 | 47775 | 676200 |  | 6113 | 81800 |  | 38401 | -67332 |  | 43226 | 98240 |  | 788908 | 788908 |  | 123578 | 22946 | 2810 | 459.831 | 66353 | 66133 | 2.254 | 185600 | 360.64 | 6865.344 | 5653.376 | 2685.6861 | 12518.72 | 71167 | 70959 | 2.177 | 185440 | 348.32 | 6859.4256 | 5648.5024 | 2593.939 | 12507.928 | 56280 | 56156 | 2.343 | 185700 | 702.9 | 6869.043 | 5656.422 | 5234.4963 | 12525.465 | 13306 | 13271 | 0.436 | 8240 | 17.44 | 304.7976 | 250.9904 | 129.8757 | 555.788 | 53686 | 53545 | 2.014 | 143100 | 604.2 | 5293.269 | 4358.826 | 4499.4774 | 9652.095 | 8042 | 8018 | 0.307 | 52000 | 122.8 | 1923.48 | 1583.92 | 914.4916 | 3507.4 | 56280 | 8034 | 0.305 | 48800 | 122 | 1805.112 | 1486.448 | 908.534 | 3291.56 | 8636 | 8610 | 0.333 | 52400 | 133.2 | 1938.276 | 1596.104 | 991.9404 | 3534.38 | 13847 | 13817 | 0.389 | 29600 | 62.24 | 1094.904 | 901.616 | 463.5013 | 1996.52 | 9538 | 9520 | 0.359 | 18720 | 57.44 | 692.4528 | 570.2112 | 427.7557 | 1262.664 | 68564 | 68356 | 2.261 | 221200 | 452.2 | 8182.188 | 6737.752 | 3367.5334 | 18287.4734 | 1133610 | 80099.8244 | 22217.2309 | 102317.0552 | 6113 | 6103 | 0.25 | 6900 | 25 | 255.231 | 210.174 | 186.175 | 536.2754 | 47775 | 47678 | 1.676 | 53700 | 167.6 | 1986.363 | 1635.702 | 1248.1172 | 4023.7534 | 38401 | 37881 | 3644 | 438.8469 | 110.9962 | 591.3817 | 43226 | 43210 | 3.753 | 2880 | 150.12 | 106.5312 | 87.7248 | 1117.9436 | 236.71 | 67124 | 5388.1206 | 2552.2358 | 7940.3564 | 1200734 | 85487.9449 | 24769.4667 | 110257.4116 | 0.03699 | 0.03046 | 7.447

## Wtr-Gas
2018 | 74860172 |  | 74860173 |  | 44553004 |  | 70275191 |  | 2130521 |  | 12C004186-C1 |  |  | 93477704 |  |  | Total Gas Usage | 79177804 |  | 79305675 |  | 79190041 |  | 7919004D |  | 79190039 |  | 79324776 |  | 112014001775 |  | 112014001771 |  |  | 82SJ729151 |  | 73337589 - 1387142 |  | 65956268 |  | Clubhouse | 1334021 |  | 63265094 |  | 67327447 / 80606729 |  | Resort Potable Water |  |  |  |  | Resort Reclaimed Water |  |  |  | Natural Gas Meter |  |  |  | Natural Gas Meter |  |  |  | Total NG | Solid | Golf Maintenance Potable Water |  |  |  | Golf Maintenance |  | Golf Clubhouse Potable Water |  |  |  |  | Clubhouse Natural Gas Meter |  |  |  | Golf Comfort Stations Potable Water |  |  |  | Comfort Stations Sewer Total | Golf Irrigation Re-Use Water |  |  |  | Potable | Reuse | Sewer | Total | Gas | Waste
Date | X10 | Total | x10 | Total |  |  | x1000 |  | x100 | Total | x10 | cfm |  | x10 | cfm |  |  | Cooling Tower M/U (x1000) |  | Cooling Tower B/D |  | Bldg E Potable (x1000) |  | Bldg E Irrigation (x1000) |  | Bldg J Irrigation |  | Lazy River Potable (X1000) |  | Bldg E - Pool Hyrdanic |  | Spa Jacuzzi M/U Water |  |  | 46801014 |  |  | Total | Deduct | Total | Total |  | Total |  | Total |  | Total | Meter # - 74860172 / 2230186 |  |  |  |  | Meter # - 74860173 / 2230186 |  |  |  | Meter # - 12C004186 / 2230246 |  |  |  | Meter # - 12C004186 / 2230246 |  |  |  | CCF | Waste | Meter # - 1334021 |  |  |  | Sewer Total | Solid Waste | Meter # - 73337589 |  |  |  | Sewer Total | Meter # - 82SJ729151 / 46801014 |  |  |  | Meter # - 63265094 |  |  |  |  | Meter # - 67327447 / 80606729 |  |  |  | Water | Water | Total | Water | Total | Total
| Main PW Feed | Gallons | Main RW Feed | Gallons | Fire Prot Water Feed |  | Potable Water Bldg A |  | Steam Boiler M/U | Gallons | Main Gas Meter |  |  | Main Gas Meter |  |  |  | Meter | Total Gal | Meter | Total Gal | Meter | Total Gal | Meter | Total Gal | Meter | Total Gal | Meter | Total Gal | Meter | Total Gal | Meter | Total Gal |  | Gas Meter |  | Water Meter | Gallons | Water Meter | Gallons | Gallons | Water Meter | Gallons | Water Meter | Gallons | Water Meter | Gallons | Meter Read | Bill Read | Amount | Total | Sewer Total | Meter Read | Bill Read | Amount | Total | Meter Read | Bill Read | Usage | Total | Meter Read | Bill Read | Usage | Total | Total |  | Meter Read | Bill Read | Amount | Total |  |  | Meter Read | Bill Read | Amount | Total |  | Meter Read | Bill Read | Amount | Total | Meter Read | Bill Read | Amount | Total |  | Meter Read | Bill Read | Amount | Total | Total | Total
2018-01-01 | 23565941 |  | 2709154 |  | 130160 |  | 167948 |  | 11900 |  | 3862940 |  |  | 1717400 |  |  |  | 29909 |  | 614512425 |  | 527 |  | 15048 |  | 2345985 |  | 7131 |  | 196 |  | 4640 |  | 2018-01-01 | 1269 |  | 8481073 |  | 3060230 |  |  | 6384600 |  | 3573500 |  | 18557406 |  | 23565941 | 234804 |  |  |  | 2709154 | 26918 |  |  | 3862940 | 384003 |  |  | 1717400 | 16019 |  |  |  |  | 6384600 | 6382 |  |  |  |  | 8481073 | 8410 |  |  |  | 1269 |  |  |  | 3573500 | 3572 |  |  |  | 18557406 | 182480
2018-01-31 | 24048779 | 4828380 | 2752459 | 433050 | 132630 | 24700 | 171438 | 3490000 | 12340 | 44000 | 3967018 |  | 1040780 | 2683003 |  | 9656030 | 10696810 | 30223 | 314000 | 622669328 | 8156903 | 534 | 7000 | 15421 | 373000 | 2393229 | 47244 | 7764 | 633000 | 197 | 10 | 4870 | 2300 | 2018-01-31 | 1736 | 467 | 8755687 | 274614 | 3074850 | 14620 | 259994 | 6400100 | 15500 | 3584200 | 10700 | 18578000 | 20594 | 24048779 | 240700 | 5896 | 8334.3436 | 20000 | 2752459 | 27543 | 625 | 2169.575 | 3967018 | 394202 | 50877.76 | 35977.75 | 2683003 | 25133 | 3938.25 | 2796.1 | 54816.01 | 11972.94 | 6400100 | 6399 | 17 | 142.3922 | 110 | 1200 | 8755687 | 8663 | 253 | 471.0098 | 1500 | 1736 | 1774 |  | 1000 | 3584200 | 3584 | 12 | 211.5492 |  | 18578000 | 185780 | 3300 | 3824.8 | 9159.2948 | 5994.375 | 20110 | 35263.6698 | 36977.75 | 13172.94
2018-02-28 | 24536140 | 4873610 | 2790946 | 384870 | 134290 | 16600 | 175019 | 3581000 | 40 | 44000 | 4050207 |  | 831890 | 3138200 |  | 4551970 | 5383860 | 30840 | 314000 | 638057152 | 15387824 | 5499 | 7000 | 158012 | 51309000 | 2430812 | 37583 | 8366 | 602000 | 218 | 210 | 5026 | 1560 | 2018-02-28 | 2459 | 723 | 8986462 | 230775 | 3082420 | 7570 | 223205 | 6419400 | 19300 | 3595700 | 11500 | 19113722 | 535722 | 24536140 | 245267 | 4567 | 6903.5422 | 22713.36 | 2790946 | 27894 | 351 | 1937.0586 | 4050207 | 404609 | 51918.9 | 36785.27 | 3138200 | 31557 | 2775.87 | 1974.67 | 54694.77 | 11797.46 | 6419400 | 6419 | 20 | 145.622 | 120.4 | 1347.06 | 8986462 | 8962 | 299 | 520.5334 | 1637.44 | 2459 | 2461 | 1592.74 | 1133.03 | 3595700 | 3586 | 2 | 200.7832 |  | 19113722 | 188930 | 3150 | 3697.51 | #REF! | 5634.5686 | 22833.76 | #REF! | 39892.97 | 13144.52
2018-04-01 | 25113560 | 5774200 | 2920990 | 1300440 | 136160 | 18700 | 179325 | 4306000 | 1258 | 121800 | 4155890 |  | 931890 | 3824700 |  | 6865000 | 7796890 | 31319 | 479000 | 650783007 | 12725855 | 5822 | 323000 | 163142 | 5130000 | 2470734 | 39922 | 9061 | 695000 | 277 | 590 | 5377 | 3510 | 2018-04-01 | 2953 | 494 | 9258660 | 272198 | 3097900 | 15480 | 256718 | 6438300 | 18900 | 3613800 | 18100 | 21503816 | 2390094 | 25113560 | 250396 | 5129 | 7508.5914 | 25000 | 2920990 | 29082 | 1188 | 2647.3368 | 4155890 | 415810 | 55878.43 | 37520.68 | 3824700 | 40473 | 3852.69 | 2597.43 | 59731.12 | 11010.06 | 6438300 | 6436 | 17 | 142.3922 | 125 | 1300 | 9258660 | 9200 | 238 | 454.8608 | 1450 | 2953 | 2953 |  | 1000 | 3613800 | 3610 | 24 | 224.4684 |  | 21503816 | 212763 | 23833 | 21249.1038 | #REF! | 23896.4406 | 25125 | #REF! | 41118.11 | 12310.06
2018-05-01 | 25713102 | 5995420 | 2986943 | 659530 | 137570 | 14100 | 183466 | 4141000 | 2424 | 116600 | 4252363 |  | 964730 | 4207520 |  | 3828200 | 4792930 | 31933 | 614000 | 668291411 | 17508404 | 6019 | 197000 | 167918 | 4776000 | 2505760 | 35026 | 9623 | 562000 | 335 | 580 | 5513 | 1360 | 2018-05-01 | 3544 | 591 | 9436000 | 177340 | 3097900 | 0 | 177340 | 6438300 | 0 | 3631000 | 17200 | 22201200 | 697384 | 25713102 | 255701 | 5305 | 7698.073 | 26867.26 | 2986943 | 29695 | 613 | 2159.3918 | 4252363 | 424803 | 44859.89 | 30097.62 | 4207520 | 45360 | 2111.73 | 1422.3 | 46971.62 | 12188.32 | 6438300 | 6459 | 23 | 148.8518 | 136.46 | 1243.44 | 9436000 | 9436 | 236 | 452.7076 | 1354.5 | 3544 | 3544 | 1370.17 | 922.85 | 3631000 | 3631 | 21 | 221.2386 |  | 22201200 | 222012 | 9249 | 8873.1214 | #REF! | 11032.5132 | 27003.72 | #REF! | 32442.77 | 13431.76
2018-06-04 | 26308711 | 5956090 | 3054214 | 672710 | 139220 | 16500 | 188286 | 4820000 | 2914 | 49000 | 4352784 |  | 1004210 | 4488008 |  | 2804880 | 3809090 | 32470 | 537000 | 694942581 | 26651170 | 6243 | 224000 | 171529 | 3611000 | 2528641 | 22881 | 9883 | 260000 | 392 | 570 | 5817 | 3040 | 2018-06-04 | 4292 | 748 | 9739000 | 303000 | 3097900 | 0 | 303000 | 6438300 | 0 | 3645000 | 14000 | 23296100 | 1094900 | 26308711 | 262148 | 6447 | 8927.5502 | 28500 | 3054214 | 30518 | 823 | 2337.5978 | 4352784 | 434156 | 46661.81 | 31305.58 | 4488008 | 47756 | 1036.63 | 698.21 | 47698.44 | 15191.77 | 6438300 | 6480 | 21 | 146.6986 | 125 | 1150 | 9739000 | 9739 | 303 | 524.8398 | 1325 | 4292 | 4292 |  | 850 | 3645000 | 3645 | 14 | 213.7024 |  | 23296100 | 232961 | 10949 | 10315.7414 | #REF! | 12653.3392 | 28625 | #REF! | 32853.79 | 16341.77
2018-06-30 | 26865671 | 5569600 | 3113825 | 596110 | 139990 | 7700 | 192652 | 4366000 | 2918 | 400 | 4439150 |  | 863660 | 4577800 |  | 897920 | 1761580 | 33004 | 534000 | 722030618 | 27088037 | 6423 | 180000 | 174096 | 2567000 | 2547886 | 19245 | 10132 | 249000 | 428 | 360 | 6037 | 2200 | 2018-06-30 | 4762 | 470 | 9966000 | 227000 | 3123190 | 25290 | 201710 | 6495100 | 56800 | 3648000 | 3000 | 24052286 | 756186 | 26865671 | 267678 | 5530 | 7940.308 | 29859.2 | 3113825 | 31038 | 520 | 2080.472 | 4439150 | 442870 | 43471.53 | 29110 | 4577800 | 49054 | 559.58 | 376.16 | 44031.11 | 11381.12 | 6495100 | 6493 | 13 | 138.0858 | 78.26 | 1243.44 | 9966000 | 9966 | 227 | 443.0182 | 1336.44 | 4762 | 4762 | 1069.95 | 732.48 | 3648000 | 3648 | 3 | 201.8598 |  | 24052286 | 240477 | 7516 | 7402.4976 | #REF! | 9482.9696 | 29937.46 | #REF! | 30218.64 | 12624.56
2018-07-31 | 27420138 | 5544670 | 3163897 | 500720 | 140870 | 8800 | 197318 | 4666000 | 2918 | 0 | 452220 |  | 863660 | 4674700 |  | 969000 | 1832660 | 33555 | 551000 | 749752477 | 27721859 | 6574 | 151000 | 174632 | 536000 | 2554947 | 7061 | 10237 | 105000 | 465 | 370 | 6234 | 1970 | 2018-07-31 | 5235 | 473 | 10208000 | 242000 | 3123190 | 0 | 242000 | 6505000 | 9900 | 3650000 | 2000 | 24570300 | 518014 | 27420138 | 271969 | 4291 | 6606.4006 | 38000 | 3163897 | 31492 | 454 | 2024.4644 | 452220 | 450933 | 40223.89 | 26963.46 | 4674700 | 49583 | 228.59 | 153.81 | 40452.48 | 9568.41 | 6505000 | 6505 | 12 | 137.0092 | 100 | 1000 | 10208000 | 10208 | 242 | 459.1672 | 1337.44 | 5235 | 5235 |  | 875 | 3650000 | 3650 | 2 | 200.7832 |  | 24570300 | 245703 | 5226 | 5459.2036 | #REF! | 7483.668 | 38100 | #REF! | 27992.27 | 10568.41
2018-08-30 | 28591789 | 1716510 | 3305859 | 1419620 | 144450 | 35800 | 206611 | 9293000 | 6770 | 385200 | 470110 |  | 178900 | 4878990 |  | 2042900 | 2221800 | 34822 | 1267000 | 817039367 | 67286890 | 6987 | 413000 | 179048 | 4416000 | 2618256 | 63309 | 10555 | 318000 | 555 | 900 | 6584 | 3500 | 2018-08-30 | 5841 | 606 | 10500000 | 292000 | 3123190 | 0 | 292000 | 6520000 | 15000 | 3651000 | 1000 | 24997100 | 426800 | 28591789 | 279675 | 7706 | 10282.9896 | 43446.45 | 3305859 | 32253 | 761 | 2284.9846 | 470110 | 461005 | 50246.19 | 33675.54 | 4878990 | 49785 | 87.29 | 58.74 | 50333.48 | 13623.12 | 6520000 | 6520 | 15 | 140.239 | 125 | 1715.7 | 10500000 | 10500 | 292 | 512.9972 | 1338.44 | 5841 | 5841 | 1404.95 | 945.35 | 3651000 | 3651 | 1 | 199.7066 |  | 24997100 | 249971 | 4268 | 4646.2448 | #REF! | 6931.2294 | 43571.45 | #REF! | 34679.63 | 15338.82
2018-09-23 | 28728707 | 1369180 | 3324027 | 181680 | 144500 | 500 | 207671 | 1060000 | 6771 | 100 | 472259 |  | 21490 | 4909780 |  | 307900 | 329390 | 34974 | 152000 | 824560207 | 7520840 | 7025 | 38000 | 180055 | 1007000 | 2625300 | 7044 | 10640 | 85000 | 560 | 50 | 6620 | 360 | 2018-09-23 | 6316 | 475 | 10797338 | 297338 | 3142020 | 18830 | 278508 | 6535000 | 15000 | 3652000 | 1000 | 25603400 | 606300 | 28728707 | 284501 | 4826 | 7182.3816 | 35000 | 3324027 | 32903 | 650 | 2190.79 | 472259 | 466923 | 39500.53 | 27966.94 | 4909780 | 49900 | 49.69 | 35.32 | 39550.22 | 8142.6 | 6535000 | 6535 | 15 | 140.239 | 115 | 1700 | 10797338 | 10743 | 243 | 460.2438 | 1500 | 6316 | 6316 |  | 1000 | 3652000 | 3652 | 1 | 199.7066 |  | 25603400 | 256034 | 6063 | 6169.4818 | #REF! | 8360.2718 | 35115 | #REF! | 29002.26 | 9842.6
2018-10-31 | 29164142 | 4354350 | 3378642 | 546150 | 144670 | 1700 | 211037 | 3366000 | 6771 | 0 | 479300 |  | 70410 | 5161000 |  | 2512200 | 2582610 | 35384 | 410000 | 846508934 | 21948727 | 7138 | 113000 | 183679 | 3624000 | 2645718 | 20418 | 10913 | 273000 | 592 | 320 | 6757 | 1370 | 2018-10-31 | 6986 | 670 | 11038000 | 240662 | 3142020 | 0 | 240662 | 6552000 | 17000 | 3653000 | 1000 | 26731900 | 1128500 | 29164142 | 291147 | 6646 | 9141.7936 | 34482.56 | 3378642 | 33691 | 788 | 2307.8968 | 479300 | 479266 | 51596.12 | 36560.18 | 5161000 | 51583 | 727.24 | 517.37 | 52323.36 | 16722.12 | 6552000 | 6552 | 17 | 142.3922 | 102.34 | 1761.54 | 11038000 | 11038 | 295 | 516.227 | 1733.76 | 6986 | 6986 | 1553.33 | 1015.16 | 3653000 | 3653 | 1 | 199.7066 |  | 26731900 | 267319 | 11285 | 10600.871 | #REF! | 12908.7678 | 34584.9 | #REF! | 38092.71 | 18483.66
2018-11-04 | 29228181 | 640390 | 3385887 | 72450 | 144700 | 300 | 211496 | 459000 | 6771 | 0 | 480346 |  | 10460 | 5214630 |  | 536300 | 546760 | 35432 | 48000 | 849186690 | 2677756 | 7151 | 13000 | 184158 | 479000 | 2647714 | 1996 | 10966 | 53000 | 597 | 50 | 6773 | 160 | 2018-11-04 | 6986 | 0 | 11038000 | 0 | 3142020 | 0 | 0 | 6552000 | 0 | 3653000 | 0 | 26731900 | 0 | 29228181 |  |  |  |  | 3385887 |  |  |  | 480346 |  |  |  | 5214630 | [5 empty] | 6552000 | [5 empty] | 11038000 |  |  |  |  | 6986 |  |  |  | 3653000 |  |  |  |  | 26731900
2018-11-11 | 29359833 | 1316520 | 3400530 | 146430 | 144750 | 500 | 212506 | 1010000 | 6771 | 0 | 482344 |  | 19980 | 5282840 |  | 682100 | 702080 | 35541 | 109000 | 855401629 | 6214939 | 7166 | 15000 | 185106 | 948000 | 2659250 | 11536 | 11071 | 105000 | 605 | 80 | 6806 | 330 | 2018-11-11 | 6986 | 0 | 11038000 | 0 | 3142020 | 0 | 0 | 6552000 | 0 | 3653000 | 0 | 26731900 | 0 | 29359833 |  |  |  |  | 3400530 |  |  |  | 482344 |  |  |  | 5282840 | [5 empty] | 6552000 | [5 empty] | 11038000 |  |  |  |  | 6986 |  |  |  | 3653000 |  |  |  |  | 26731900
2018-11-18 | 29494087 | 1342540 | 3415973 | 154430 | 144810 | 600 | 213465 | 959000 | 6771 | 0 | 484515 |  | 21710 | 5405190 |  | 1223500 | 1245210 | 35566 | 25000 | 855401629 | 0 | 7191 | 25000 | 186718 | 1612000 | 2667474 | 8224 | 11192 | 121000 | 614 | 90 | 6837 | 310 | 2018-11-18 | 6986 | 0 | 11038000 | 0 | 3142020 | 0 | 0 | 6552000 | 0 | 3653000 | 0 | 26731900 | 0 | 29494087 |  |  |  |  | 3415973 |  |  |  | 484515 |  |  |  | 5405190 | [5 empty] | 6552000 | [5 empty] | 11038000 |  |  |  |  | 6986 |  |  |  | 3653000 |  |  |  |  | 26731900
2018-11-25 | 29631317 | 1372300 | 3432296 | 163230 | 144870 | 600 | 214437 | 972000 | 6771 | 0 | 486677 |  | 21620 | 5533200 |  | 1280100 | 1301720 | 35609 | 43000 | 865057780 | 9656151 | 7228 | 37000 | 188479 | 1761000 | 2677285 | 9811 | 11303 | 111000 | 623 | 90 | 6910 | 730 | 2018-11-25 | 6986 | 0 | 11038000 | 0 | 3142020 | 0 | 0 | 6552000 | 0 | 3653000 | 0 | 26731900 | 0 | 29631317 |  |  |  |  | 3432296 |  |  |  | 486677 |  |  |  | 5533200 | [5 empty] | 6552000 | [5 empty] | 11038000 |  |  |  |  | 6986 |  |  |  | 3653000 |  |  |  |  | 26731900
2018-12-02 | 29749666 | 1183490 | 3443310 | 110140 | 144950 | 800 | 215244 | 807000 | 6771 | 0 | 488953 |  | 22760 | 5703000 |  | 1698000 | 1720760 | 35610 | 1000 | 868396973 | 3339193 | 7245 | 17000 | 190003 | 1524000 | 2685090 | 7805 | 11413 | 110000 | 634 | 110 | 6946 | 360 | 2018-12-02 | 7515 | 529 | 11269000 | 231000 | 3150000 | 7980 | 223020 | 6563000 | 11000 | 3655000 | 2000 | 27535700 | 803800 | 29749666 | 296373 | 5226 | 7613.0216 | 27607.72 | 3443310 | 34329 | 638 | 2180.6068 | 488953 | 487790 | 42523.68 | 30143.64 | 5703000 | 56249 | 2016.23 | 1434.79 | 44539.91 | 11676.82 | 6563000 | 6563 | 11 | 135.9326 | 66.22 | 1105.28 | 11269000 | 11269 | 231 | 447.3246 | 1348.48 | 7515 | 7515 | 324.3 | 872.76 | 3655000 | 3655 | 2 | 200.7832 |  | 27535700 | 275357 | 8038 | 7845.4668 | #REF! | 10026.0736 | 27673.94 | #REF! | 32451.19 | 12782.1
2018-12-09 | 29867022 | 1173560 | 3458307 | 149970 | 145050 | 1000 | 216084 | 840000 | 6771 | 0 | 493042 |  | 40890 | 5866270 |  | 1632700 | 1673590 | 35611 | 1000 | 872115119 | 3718146 | 7288 | 43000 | 191375 | 1372000 | 2702172 | 17082 | 11503 | 90000 | 646 | 120 | 6979 | 330 | 2018-12-09 | 7515 | 0 | 11269000 | 0 | 3150000 | 0 | 0 | 6563000 | 0 | 3655000 | 0 | 27535700 | 0 | 29867022 |  |  |  |  | 3458307 |  |  |  | 493042 |  |  |  | 5866270 | [5 empty] | 6563000 | [5 empty] | 11269000 |  |  |  |  | 7515 |  |  |  | 3655000 |  |  |  |  | 27535700
2018-12-16 | 29966634 | 996120 | 3465294 | 69870 | 145190 | 1400 | 216817 | 733000 | 6771 | 0 | 493635 |  | 5930 | 6053520 |  | 1872500 | 1878430 | 35612 | 1000 | 874744905 | 2629786 | 7334 | 46000 | 192117 | 742000 | 2710476 | 8304 | 11602 | 99000 | 659 | 130 | 7019 | 400 | 2018-12-16 | 7515 | 0 | 11269000 | 0 | 3150000 | 0 | 0 | 6563000 | 0 | 3655000 | 0 | 27535700 | 0 | 29966634 |  |  |  |  | 3465294 |  |  |  | 493635 |  |  |  | 6053520 | [5 empty] | 6563000 | [5 empty] | 11269000 |  |  |  |  | 7515 |  |  |  | 3655000 |  |  |  |  | 27535700
2018-12-31 | 30229481 | 2628470 | 3465707 | 4130 | 145730 | 5400 | 218768 | 1951000 | 6771 | 0 | 498680 |  | 50450 | 6411200 |  | 3576800 | 3627250 | 35613 | 1000 | 881465335 | 6720430 | 7522 | 188000 | 1944644 | 1752527000 | 2733306 | 22830 | 11807 | 205000 | 659 | 0 | 7090 | 710 | 2018-12-31 | 8014 | 499 | 11588057 | 319057 | 3161970 | 11970 | 307087 | 6578600 | 15600 | 3656000 | 1000 | 27681368 | 145668 | 30229481 | 300817 | 4444 | 6771.1204 | 23538.2 | 3465707 | 34653 | 324 | 1914.1464 | 498680 | 497096 | 46424.84 | 32807.33 | 6411200 | 63362 | 3073.6 | 2180.62 | 49498.44 | 10891.18 | 6578600 | 6577 | 14 | 139.1624 | 84.28 | 1208.9 | 11588057 | 11535 | 792 | 1051.2972 | 1565.2 | 8014 | 8014 | 321.49 | 865.18 | 3656000 | 3656 | 1 | 199.7066 |  | 27681368 | 276786 | 20752 | 18634.5672 | #REF! | 20548.7136 | 23622.48 | #REF! | 35853.13 | 12100.08
2021-01-01