## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Water Tanks | Cost of Water Tanks Rs | Water Utility Supply (m3) Rs/m3 | Electricity Tariff (Rs/Kwh) | LPG Rs/Kg | Exchange Rate | Total LPG Cost | Total Water Cost
Mauritius at Anahita | 1 | 11 | 2020 | 7552 | 6.21 | 108 | 57.45 | 106 | 99.9982 | 2 | 152370 | 380925000 | 99.9982 | 6.21 | 57.45 | 33.88 | 6204.6 | 10599.8053
Mauritius at Anahita | 2 | 11 | 2020 | 8368 | 6.21 | 0 | 57.45 | 55 | 99.999 | 2 | 152370 | 380925000 | 99.999 | 6.21 | 57.45 | 33.88 | 0 | 5499.9476
Mauritius at Anahita | 3 | 11 | 2020 | 8146 | 6.21 | 0 | 57.45 | 81 | 99.9986 | 2 | 152370 | 380925000 | 99.9986 | 6.21 | 57.45 | 33.88 | 0 | 8099.8863
Mauritius at Anahita | 4 | 11 | 2020 | 7505 | 6.21 | 0 | 57.45 | 40 | 99.9993 | 2 | 152370 | 380925000 | 99.9993 | 6.21 | 57.45 | 33.88 | 0 | 3999.9723
Mauritius at Anahita | 5 | 11 | 2020 | 7783 | 6.21 | 108 | 57.45 | 26 | 99.9995 | 2 | 152370 | 380925000 | 99.9995 | 6.21 | 57.45 | 33.88 | 6204.6 | 2599.9883
Mauritius at Anahita | 6 | 11 | 2020 | 7476 | 6.21 | 0 | 57.45 | 25 | 99.9996 | 2 | 152370 | 380925000 | 99.9996 | 6.21 | 57.45 | 33.88 | 0 | 2499.9892
Mauritius at Anahita | 7 | 11 | 2020 | 6658 | 6.21 | 0 | 57.45 | 23 | 99.9996 | 2 | 152370 | 380925000 | 99.9996 | 6.21 | 57.45 | 33.88 | 0 | 2299.9908
Mauritius at Anahita | 8 | 11 | 2020 | 8663 | 6.21 | 0 | 57.45 | 26 | 99.9995 | 2 | 152370 | 380925000 | 99.9995 | 6.21 | 57.45 | 33.88 | 0 | 2599.9883
Mauritius at Anahita | 9 | 11 | 2020 | 7640 | 6.21 | 108 | 57.45 | 18 | 99.9997 | 2 | 152370 | 380925000 | 99.9997 | 6.21 | 57.45 | 33.93 | 6204.6 | 1799.9944
Mauritius at Anahita | 10 | 11 | 2020 | 7353 | 6.21 | 0 | 57.45 | 18 | 99.9997 | 2 | 152370 | 380925000 | 99.9997 | 6.21 | 57.45 | 33.93 | 0 | 1799.9944
Mauritius at Anahita | 11 | 11 | 2020 | 8106 | 6.21 | 0 | 57.45 | 23 | 99.9996 | 2 | 152370 | 380925000 | 99.9996 | 6.21 | 57.45 | 33.93 | 0 | 2299.9908
Mauritius at Anahita | 12 | 11 | 2020 | 6878 | 6.21 | 108 | 57.45 | 25 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 6204.6 | 850
Mauritius at Anahita | 13 | 11 | 2020 | 6637 | 6.21 | 108 | 57.45 | 26 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 6204.6 | 884
Mauritius at Anahita | 14 | 11 | 2020 | 7819 | 6.21 | 0 | 57.45 | 25 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 0 | 850
Mauritius at Anahita | 15 | 11 | 2020 | 6824 | 6.21 | 108 | 57.45 | 24 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 6204.6 | 816
Mauritius at Anahita | 16 | 11 | 2020 | 6027 | 6.21 | 108 | 57.45 | 54 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 6204.6 | 1836
Mauritius at Anahita | 17 | 11 | 2020 | 6519 | 6.21 | 108 | 57.45 | 85 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 6204.6 | 2890
Mauritius at Anahita | 18 | 11 | 2020 | 6478 | 6.21 | 0 | 57.45 | 119 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 0 | 4046
Mauritius at Anahita | 19 | 11 | 2020 | 6480 | 6.21 | 108 | 57.45 | 52 | 34 | 2 | 0 | 0 | 34 | 6.21 | 57.45 | 33.93 | 6204.6 | 1768
Mauritius at Anahita | 20 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 21 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 22 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 23 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 24 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 25 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 26 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 27 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 28 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 | 33.93 | 0 | 0
Mauritius at Anahita | 29 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 |  | 0 | 0
Mauritius at Anahita | 30 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 |  | 0 | 0
Mauritius at Anahita | 31 | 11 | 2020 | 0 | 6.21 | 0 | 57.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 57.45 |  | 0 | 0

## Submetering
Site Name | Day | Month | Year | Hotel (KWh) | Vacoas (KWh) | Laundry (KWh) | Villa 145 (KWh) | Villa 146 (KWh) | Villa 111 (KWh) | Villa 128 (KWh) | Hotel (m3) | Bamboo Pool (m3) | Island (m3) | Main Building (m3) | Pantry A (m3) | Pantry B (m3) | Pantry C (m3) | Pantry D (m3) | Pantry E (m3) | Pantry F (m3) | Pantry G (m3) | North Parcel (m3) | South Parcel (m3) | Beau champ (Kg) | Acquapazza (Kg) | Bamboo (Kg) | Steam Boiler (Kg) | Laundry (Kg) | Pantry A (Kg) | Pantry B (Kg) | Pantry C (Kg) | Pantry D (Kg) | Pantry E (Kg) | Pantry F (Kg) | Pantry G (Kg) | Room Nights
Mauritius at Anahita | 1 | 12 | 2020 | 7552 | 29 | 1 | 33 | 179 | 0 | 0 | 40 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 30 | 0 | 2.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.038 | 2
Mauritius at Anahita | 2 | 12 | 2020 | 8368 | 101 | 4 | 12 | 77 | 0 | 0 | 80 | 8 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 10 | 2.44 | 0 | 0 | 0 | 4.78 | 0 | 0 | 0 | 0 | 0 | 0 | 14.818 | 2
Mauritius at Anahita | 3 | 12 | 2020 | 8146 | 63 | 1 | 29 | 14 | 0 | 22 | 80 | 21 | 50 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 30 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 4.302 | 2
Mauritius at Anahita | 4 | 12 | 2020 | 7505 | 32 | 0 | 0 | 0 | 0 | 0 | 60 | 1 | 20 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 30 | 10 | 2.44 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 10.038 | 2
Mauritius at Anahita | 5 | 12 | 2020 | 7783 | 109 | 5 | 0 | 0 | 0 | 0 | 70 | 0 | 20 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 50 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 14.579 | 2
Mauritius at Anahita | 6 | 12 | 2020 | 7476 | 62 | 3 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 5 | 2.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.063 | 2
Mauritius at Anahita | 7 | 12 | 2020 | 6658 | 35 | 1 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 30 | 5 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 9.56 | 2
Mauritius at Anahita | 8 | 12 | 2020 | 8663 | 116 | 4 | 0 | 0 | 0 | 0 | 70 | 6 | 20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 15.296 | 2
Mauritius at Anahita | 9 | 12 | 2020 | 7640 | 64 | 87 | 0 | 0 | 0 | 0 | 40 | 0 | 10 | 10 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 30 | 0 | 21.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.063 | 2
Mauritius at Anahita | 10 | 12 | 2020 | 7353 | 32 | 1 | 0 | 0 | 0 | 0 | 60 | 2 | 30 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 7.32 | 0 | 0 | 9.76 | 9.56 | 0 | 0 | 0 | 0 | 0 | 0 | 9.799 | 2
Mauritius at Anahita | 11 | 12 | 2020 | 8106 | 106 | 5 | 0 | 0 | 0 | 0 | 90 | 0 | 10 | 1 | 1 | 0 | 1 | -1 | 0 | 0 | 0 | 60 | 20 | 7.32 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 14.818 | 2
Mauritius at Anahita | 12 | 12 | 2020 | 6878 | 64 | 1 | 0 | 0 | 0 | 0 | 40 | 0 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 30 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 4.302 | 2
Mauritius at Anahita | 13 | 12 | 2020 | 6637 | 26 | 2 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 10 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 9.321 | 2
Mauritius at Anahita | 14 | 12 | 2020 | 7819 | 123 | 4 | 0 | 0 | 0 | 0 | 70 | 17 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 40 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 14.579 | 2
Mauritius at Anahita | 15 | 12 | 2020 | 6824 | 64 | 3 | 0 | 0 | 0 | 0 | 40 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 4.063 | 2
Mauritius at Anahita | 16 | 12 | 2020 | 6027 | 26 | 1 | 0 | 0 | 0 | 0 | 50 | 0 | 30 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 12.2 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 9.56 | 2
Mauritius at Anahita | 17 | 12 | 2020 | 6519 | 92 | 3 | 0 | 0 | 0 | 0 | 70 | 0 | 20 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 40 | 10 | 9.76 | 0 | 0 | 0 | 3.346 | 0 | 0 | 0 | 0 | 0 | 0 | 14.818 | 2
Mauritius at Anahita | 18 | 12 | 2020 | 6478 | 134 | 2 | 0 | 0 | 0 | 0 | 30 | 0 | 10 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 10 | 10 | 2.44 | 0 | 0 | 0 | 1.912 | 0 | 0 | 0 | 0 | 0 | 0 | 3.824 | 2
Mauritius at Anahita | 19 | 12 | 2020 | 6480 | 25 | 1 | 0 | 0 | 0 | 0 | 30 | 0 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 4.88 | 0 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0 | 0 | 0 | 10.038 | 2
Mauritius at Anahita | 20 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 21 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 22 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 23 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 24 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 25 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 26 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 27 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 28 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 29 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 30 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 31 | 12 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## HOTEL
| Hotel Electricity | [6 empty] | Gen 01 |  |  |  | Gen 02 |  |  |  | Vacoas KW | CONS | Laundry (KWh) | CONS | Hotel |  | % Water Available |  |  |  |  | Water Softener |  | bamboo pool |  | laundry | CONS | Island |  | Island Sub |  | Main Building |  | Pantry A |  | Pantry B |  | Pantry C |  | Pantry D |  | Pantry E |  | Pantry F |  | Pantry G | [11 empty] | North |  | North Sub |  | South |  | South Sub |  |  |  |  | Diesel |  |  |  | Gas | [20 empty] | Steam Boiler |  |  | Main Building |  |  | Pantry A |  |  | Pantry B |  |  | Pantry C |  |  | Pantry D |  |  | Pantry E |  |  | Pantry F |  |  | Pantry G | [13 empty] | Pool Temperature
Date | KVAH | CONS | KWH | CONS | PF | KVA | KVA max | [12 empty] | CWA23 | CONS |  | Truck Meter | Cons | UV reading |  | chiller | CONS |  | CONS |  |  | island | cons |  |  | M.Buil | Cons | Pantry A | Cons | Pantry B | Cons | Pantry C | cons | Pantry D | cons | Pantry E | cons | Pantry F | Cons | Pantry G | Cons | Main Kitchen | Cons | Bamboo H | Cons | Bamboo C | Cons | cyclon bridge | cons | Island - Hot | Island Cold | north | cons |  |  | south | cons |  |  | south | Total water consump | Total HW consump | DIESEL | stock | Del | CONS | Meter | cons | Kg | LPG 1 | stock | LPG 2 | stock | LPG 3 | stock | total stock | cons | del | Beau champ | cons(Litres) | Cons(Kg) | Acquapazza | cons(Litres) | Cons(Kg) | Bamboo | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) | 145 | CONS | 146 | CONS | Villa 111 | CONS | Villa 128 | CONS | Room Nights | Bed Nights | % OCC | California | Infiniti | Fitness
2021-01-31 | 6253646 | 7956 | 5507601 | 7557 | 0.94985 | 524 | 476 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2543751 | 84 | 2191374 | 4 | 106472 | 20 | 88 | 152370 | 0 | 39327 | 5 | 1107 | 0 | 4453 | 14 | 579380 | 30 | 579380 | 30 | 451 | 0 | 52189 | 0 | 8904 | 0 | 10571 | 0 | 14535 | 0 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6185 | 0 | 26441 | 0 | 1115 | 0 | 4363 | 0 | 3636 | 0 | 0 | #VALUE! | 599430 | #VALUE! | 667 | 0 | 777510 | #VALUE! | 6433 | 6433 | #VALUE! | #VALUE! | #VALUE! | 126 | 15750.41 |  | #VALUE! | 206363 | #VALUE! | #VALUE! | 47 | 5064 | 46 | 4957 | 49 | 5280 | 15301 | #VALUE! |  | 34405 | #VALUE! | #VALUE! | 34300 | 0 | 0 | 10235.6 | #VALUE! | #VALUE! | 832134 | 832134 | 2030406.96 | 5921 | 5921 | 14151.19 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4700.5 | 4700.5 | 11234.195 | 12797 | 12652 | 62519 | 0 | 15599 | 0 | 24657 | 0 | 2 | 6 | 1.5%
2021-02-01 | 6261353 | 7707 | 5515153 | 7552 | 0.97989 | 524 | 400 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2543780 | 29 | 2191375 | 1 | 106578 | 106 | 100 | 152370 | 0 | 39330 | 3 | 1107 | 0 | 4453 | 0 | 579390 | 10 | 579390 | 10 | 452 | 1 | 52189 | 0 | 8904 | 0 | 10571 | 0 | 14535 | 0 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6186 | 1 | 26441 | 0 | 1115 | 0 | 4363 | 0 | 3636 | 0 | 0 | 10 | 599460 | 30 | 667 | 0 | 777520 | 10 | 6434 | 1 | 0 | 40 | 1 | 126 | 15750.41 |  | 0 | 206365 | 2 | 11.42 | 46 | 4957 | 46 | 4957 | 49 | 5280 | 15193 | 108 |  | 34406 | 1 | 2.44 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5921 | 0 | 0 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4704.7 | 4.2 | 10.038 | 12830 | 33 | 62698 | 179 | 15599 | 0 | 24657 | 0 | 2 | 6 | 1.5%
2021-02-02 | 6269872 | 8519 | 5523521 | 8368 | 0.98227 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2543881 | 101 | 2191379 | 4 | 106633 | 55 | 100 | 152370 | 0 | 39338 | 8 | 1107 | 0 | 4461 | 8 | 579400 | 10 | 579400 | 10 | 452 | 0 | 52190 | 1 | 8904 | 0 | 10571 | 0 | 14535 | 0 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6186 | 0 | 26441 | 0 | 1115 | 0 | 4363 | 0 | 3636 | 0 | 0 | 10 | 599520 | 60 | 667 | 0 | 777540 | 20 | 6435 | 1 | 10 | 80 | 1 | 126 | 15750.41 |  | 0 | 206368 | 3 | 17.13 | 46 | 4957 | 46 | 4957 | 49 | 5280 | 15193 | 0 |  | 34407 | 1 | 2.44 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5923 | 2 | 4.78 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4710.9 | 6.2 | 14.818 | 12842 | 12 | 62775 | 77 | 15599 | 0 | 24657 | 0 | 2 | 6 | 1.5%
2021-02-03 | 6278177 | 8305 | 5531667 | 8146 | 0.98085 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2543944 | 63 | 2191380 | 1 | 106714 | 81 | 80 | 152370 | 0 | 39347 | 9 | 1107 | 0 | 4482 | 21 | 579450 | 50 | 579450 | 50 | 452 | 0 | 52191 | 1 | 8904 | 0 | 10571 | 0 | 14536 | 1 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6186 | 0 | 26442 | 1 | 1115 | 0 | 4363 | 0 | 3636 | 0 | 1 | 49 | 599550 | 30 | 667 | 0 | 777590 | 50 | 6436 | 1 | 0 | 80 | 2 | 126 | 15750.41 |  | 0 | 206371 | 3 | 17.13 | 46 | 4957 | 46 | 4957 | 49 | 5280 | 15193 | 0 |  | 34409 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5924 | 1 | 2.39 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4712.7 | 1.8 | 4.302 | 12871 | 29 | 62789 | 14 | 15599 | 0 | 24679 | 22 | 2 | 6 | 1.5%
2021-02-04 | 6285814 | 7637 | 5539172 | 7505 | 0.98272 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2543976 | 32 | 2191380 | 0 | 106754 | 40 | 100 | 152370 | 0 | 39353 | 6 | 1107 | 0 | 4483 | 1 | 579470 | 20 | 579470 | 20 | 452 | 0 | 52192 | 1 | 8904 | 0 | 10571 | 0 | 14537 | 1 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6186 | 0 | 26442 | 0 | 1115 | 0 | 4364 | 1 | 3636 | 0 | 1 | 19 | 599580 | 30 | 667 | 0 | 777620 | 30 | 6440 | 4 | 10 | 60 | 2 | 126 | 15750.41 |  | 0 | 206372 | 1 | 5.71 | 46 | 4957 | 46 | 4957 | 49 | 5280 | 15193 | 0 |  | 34410 | 1 | 2.44 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5925 | 1 | 2.39 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4716.9 | 4.2 | 10.038 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-05 | 6293776 | 7962 | 5546955 | 7783 | 0.97752 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544085 | 109 | 2191385 | 5 | 106780 | 26 | 95 | 152370 | 0 | 39360 | 7 | 1107 | 0 | 4483 | 0 | 579490 | 20 | 579490 | 20 | 452 | 0 | 52193 | 1 | 8905 | 1 | 10571 | 0 | 14538 | 1 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6186 | 0 | 26443 | 1 | 1115 | 0 | 4364 | 0 | 3636 | 0 | 1 | 19 | 599630 | 50 | 667 | 0 | 777640 | 20 | 6441 | 1 | 0 | 70 | 3 | 126 | 15750.41 |  | 0 | 206374 | 2 | 11.42 | 46 | 4957 | 46 | 4957 | 48 | 5172 | 15085 | 108 |  | 34412 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5926 | 1 | 2.39 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4723 | 6.1 | 14.579 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-06 | 6301318 | 7542 | 5554431 | 7476 | 0.99125 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544147 | 62 | 2191388 | 3 | 106805 | 25 | 75 | 152370 | 0 | 39361 | 1 | 1107 | 0 | 4483 | 0 | 579490 | 0 | 579490 | 0 | 452 | 0 | 52193 | 0 | 8905 | 0 | 10571 | 0 | 14538 | 0 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6186 | 0 | 26443 | 0 | 1115 | 0 | 4364 | 0 | 3636 | 0 | 0 | 0 | 599650 | 20 | 667 | 0 | 777645 | 5 | 6441 | 0 | 5 | 25 | 0 | 126 | 15750.41 |  | 0 | 206375 | 1 | 5.71 | 46 | 4957 | 46 | 4957 | 48 | 5172 | 15085 | 0 |  | 34413 | 1 | 2.44 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5926 | 0 | 0 | 7420 | 0 | 0 | 3841.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4724.7 | 1.7 | 4.063 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-07 | 6308257 | 6939 | 5561089 | 6658 | 0.9595 | 524 | 478 | 287894 | 0 | 773 | 0 | 633795 | 0 | 991 | 0 | 2544182 | 35 | 2191389 | 1 | 106828 | 23 | 90 | 152370 | 0 | 39364 | 3 | 1107 | 0 | 4483 | 0 | 579490 | 0 | 579490 | 0 | 452 | 0 | 52193 | 0 | 8905 | 0 | 10571 | 0 | 14538 | 0 | 19369 | 1 | 20677 | 0 | 13871 | 0 | 6187 | 1 | 26444 | 1 | 1115 | 0 | 4365 | 1 | 3636 | 0 | 0 | 0 | 599680 | 30 | 667 | 0 | 777650 | 5 | 6442 | 1 | 5 | 35 | 2 | 126 | 15750.41 |  | 0 | 206376 | 1 | 5.71 | 46 | 4957 | 46 | 4957 | 48 | 5172 | 15085 | 0 |  | 34415 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5927 | 1 | 2.39 | 7420 | 0 | 0 | 3840.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4728.7 | 4 | 9.56 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-08 | 6317102 | 8845 | 5569752 | 8663 | 0.97942 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544298 | 116 | 2191393 | 4 | 106854 | 26 | 84 | 152370 | 0 | 39370 | 6 | 1107 | 0 | 4489 | 6 | 579510 | 20 | 579510 | 20 | 452 | 0 | 52194 | 1 | 8905 | 0 | 10571 | 0 | 14538 | 0 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6187 | 0 | 26444 | 0 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 0 | 20 | 599730 | 50 | 667 | 0 | 777670 | 20 | 6443 | 1 | 0 | 70 | 1 | 126 | 15750.41 |  | 0 | 206379 | 3 | 17.13 | 46 | 4957 | 46 | 4957 | 48 | 5172 | 15085 | 0 |  | 34415 | 0 | 0 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5928 | 1 | 2.39 | 7420 | 0 | 0 | 3840.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4735.1 | 6.4 | 15.296 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-09 | 6324932 | 7830 | 5577392 | 7640 | 0.97573 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544362 | 64 | 2191480 | 87 | 106872 | 18 | 70 | 152370 | 0 | 39375 | 5 | 1107 | 0 | 4489 | 0 | 579520 | 10 | 579520 | 10 | 452 | 0 | 52204 | 10 | 8905 | 0 | 10571 | 0 | 14539 | 1 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6187 | 0 | 26444 | 0 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 1 | 9 | 599760 | 30 | 667 | 0 | 777680 | 10 | 6444 | 1 | 0 | 40 | 11 | 126 | 15750.41 |  | 0 | 206405 | 26 | 148.46 | 46 | 4957 | 46 | 4957 | 47 | 5064 | 14977 | 108 |  | 34424 | 9 | 21.96 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832134 | 0 | 0 | 5928 | 0 | 0 | 7420 | 0 | 0 | 3840.8 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4736.8 | 1.7 | 4.063 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-10 | 6332446 | 7514 | 5584745 | 7353 | 0.97857 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544394 | 32 | 2191481 | 1 | 106890 | 18 | 75 | 152370 | 0 | 39387 | 12 | 1107 | 0 | 4491 | 2 | 579550 | 30 | 579550 | 30 | 452 | 0 | 52205 | 1 | 8905 | 0 | 10571 | 0 | 14539 | 0 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6187 | 0 | 26445 | 1 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 0 | 30 | 599790 | 30 | 667 | 0 | 777710 | 30 | 6445 | 1 | 0 | 60 | 1 | 126 | 15750.41 |  | 0 | 206407 | 2 | 11.42 | 46 | 4957 | 46 | 4957 | 47 | 5064 | 14977 | 0 |  | 34427 | 3 | 7.32 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 4 | 9.76 | 5932 | 4 | 9.56 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4740.9 | 4.1 | 9.799 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-11 | 6340740 | 8294 | 5592851 | 8106 | 0.97733 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544500 | 106 | 2191486 | 5 | 106913 | 23 | 75 | 152370 | 0 | 39390 | 3 | 1107 | 0 | 4491 | 0 | 579560 | 10 | 579560 | 10 | 452 | 0 | 52206 | 1 | 8906 | 1 | 10571 | 0 | 14540 | 1 | 19368 | -1 | 20677 | 0 | 13871 | 0 | 6187 | 0 | 26446 | 1 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 1 | 9 | 599850 | 60 | 667 | 0 | 777740 | 30 | 6448 | 3 | 20 | 90 | 2 | 126 | 15750.41 |  | 0 | 206409 | 2 | 11.42 | 46 | 4957 | 46 | 4957 | 47 | 5064 | 14977 | 0 |  | 34430 | 3 | 7.32 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5933 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4747.1 | 6.2 | 14.818 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-12 | 6347772 | 7032 | 5599729 | 6878 | 0.9781 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544564 | 64 | 2191487 | 1 | 106938 | 25 | 70 | 152370 | 0 | 39394 | 4 | 1107 | 0 | 4491 | 0 | 579570 | 10 | 579570 | 10 | 452 | 0 | 52206 | 0 | 8906 | 0 | 10571 | 0 | 14541 | 1 | 19368 | 0 | 20677 | 0 | 13871 | 0 | 6187 | 0 | 26447 | 1 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 1 | 9 | 599880 | 30 | 667 | 0 | 777750 | 10 | 6449 | 1 | 0 | 40 | 1 | 126 | 15750.41 |  | 0 | 206409.8 | 0.8 | 4.568 | 46 | 4957 | 46 | 4957 | 46 | 4957 | 14870 | 108 |  | 34432 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5934 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4748.9 | 1.8 | 4.302 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-13 | 6354593 | 6821 | 5606366 | 6637 | 0.97302 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544590 | 26 | 2191489 | 2 | 106964 | 26 | 72 | 152370 | 0 | 39396 | 2 | 1107 | 0 | 4491 | 0 | 579570 | 0 | 579570 | 0 | 452 | 0 | 52207 | 1 | 8906 | 0 | 10571 | 0 | 14541 | 0 | 19369 | 1 | 20677 | 0 | 13871 | 0 | 6187 | 0 | 26448 | 1 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 0 | 0 | 599890 | 10 | 667 | 0 | 777750 | 0 | 6449 | 0 | 0 | 10 | 2 | 126 | 15750.41 |  | 0 | 206410.5 | 0.7 | 3.997 | 45 | 4849 | 46 | 4957 | 46 | 4957 | 14762 | 108 |  | 34434 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5935 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4752.8 | 3.9 | 9.321 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-14 | 6362588 | 7995 | 5614185 | 7819 | 0.97799 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544713 | 123 | 2191493 | 4 | 106989 | 25 | 68 | 152370 | 0 | 39402 | 6 | 1108 | 1 | 4508 | 17 | 579600 | 30 | 579600 | 30 | 452 | 0 | 52207 | 0 | 8906 | 0 | 10571 | 0 | 14541 | 0 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6188 | 1 | 26448 | 0 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 0 | 30 | 599930 | 40 | 667 | 0 | 777780 | 30 | 6451 | 2 | 0 | 70 | 1 | 126 | 15750.41 |  | 0 | 206411 | 0.5 | 2.855 | 45 | 4849 | 46 | 4957 | 46 | 4957 | 14762 | 0 |  | 34436 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5936 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4758.9 | 6.1 | 14.579 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-15 | 6369561 | 6973 | 5621009 | 6824 | 0.97863 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544777 | 64 | 2191496 | 3 | 107013 | 24 | 47 | 152370 | 0 | 39406 | 4 | 1108 | 0 | 4508 | 0 | 579620 | 20 | 579620 | 20 | 452 | 0 | 52208 | 1 | 8906 | 0 | 10571 | 0 | 14541 | 0 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6188 | 0 | 26449 | 1 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 0 | 20 | 599950 | 20 | 667 | 0 | 777800 | 20 | 6452 | 1 | 0 | 40 | 1 | 126 | 15750.41 |  | 0 | 206412 | 1 | 5.71 | 45 | 4849 | 45 | 4849 | 46 | 4957 | 14654 | 108 |  | 34438 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5937 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4760.6 | 1.7 | 4.063 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-16 | 6375753 | 6192 | 5627036 | 6027 | 0.97335 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544803 | 26 | 2191497 | 1 | 107067 | 54 | 55 | 152370 | 0 | 39411 | 5 | 1109 | 1 | 4508 | 0 | 579650 | 30 | 579650 | 30 | 452 | 0 | 52209 | 1 | 8906 | 0 | 10571 | 0 | 14541 | 0 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6188 | 0 | 26449 | 0 | 1115 | 0 | 4365 | 0 | 3636 | 0 | 0 | 30 | 599970 | 20 | 667 | 0 | 777830 | 30 | 6455 | 3 | 0 | 50 | 1 | 126 | 15750.41 |  | 0 | 206414 | 2 | 11.42 | 45 | 4849 | 44 | 4741 | 46 | 4957 | 14546 | 108 |  | 34443 | 5 | 12.2 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5938 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4764.6 | 4 | 9.56 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-17 | 6382488 | 6735 | 5633555 | 6519 | 0.96793 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2544895 | 92 | 2191500 | 3 | 107152 | 85 | 62 | 152370 | 0 | 39418 | 7 | 1109 | 0 | 4508 | 0 | 579670 | 20 | 579670 | 20 | 452 | 0 | 52210 | 1 | 8906 | 0 | 10571 | 0 | 14543 | 2 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6188 | 0 | 26450 | 1 | 1115 | 0 | 4366 | 1 | 3636 | 0 | 2 | 18 | 600010 | 40 | 667 | 0 | 777860 | 30 | 6460 | 5 | 10 | 70 | 3 | 126 | 15750.41 |  | 0 | 206416 | 2 | 11.42 | 44 | 4741 | 44 | 4741 | 46 | 4957 | 14439 | 108 |  | 34447 | 4 | 9.76 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5939.4 | 1.4 | 3.346 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4770.8 | 6.2 | 14.818 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-18 | 6389177 | 6689 | 5640033 | 6478 | 0.96846 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2545029 | 134 | 2191502 | 2 | 107271 | 119 | 62 | 152370 | 0 | 39422 | 4 | 1109 | 0 | 4508 | 0 | 579680 | 10 | 579680 | 10 | 452 | 0 | 52210 | 0 | 8906 | 0 | 10571 | 0 | 14544 | 1 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6188 | 0 | 26451 | 1 | 1115 | 0 | 4366 | 0 | 3636 | 0 | 1 | 9 | 600020 | 10 | 667 | 0 | 777880 | 20 | 6462 | 2 | 10 | 30 | 1 | 126 | 15750.41 |  | 0 | 206416 | 0 | 0 | 44 | 4741 | 44 | 4741 | 46 | 4957 | 14439 | 0 |  | 34448 | 1 | 2.44 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5940.2 | 0.8 | 1.912 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4772.4 | 1.6 | 3.824 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-19 | 6395840 | 6663 | 5646513 | 6480 | 0.97253 | 524 | 478 | 287894 | 0 | 773 | 0 | 633765 | 0 | 991 | 0 | 2545054 | 25 | 2191503 | 1 | 107323 | 52 | 72 | 152370 | 0 | 39424 | 2 | 1109 | 0 | 4508 | 0 | 579690 | 10 | 579690 | 10 | 452 | 0 | 52211 | 1 | 8906 | 0 | 10571 | 0 | 14544 | 0 | 19369 | 0 | 20677 | 0 | 13871 | 0 | 6188 | 0 | 26451 | 0 | 1115 | 0 | 4366 | 0 | 3636 | 0 | 0 | 10 | 600040 | 20 | 667 | 0 | 777890 | 10 | 6462 | 0 | 0 | 30 | 1 | 126 | 15750.41 |  | 0 | 206418 | 2 | 11.42 | 44 | 4741 | 44 | 4741 | 45 | 4849 | 14331 | 108 |  | 34450 | 2 | 4.88 | 34300 | 0 | 0 | 10235.6 | 0 | 0 | 832138 | 0 | 0 | 5941.2 | 1 | 2.39 | 7420 | 0 | 0 | 3840 | 0 | 0 | 1855.9 | 0 | 0 | 5081.7 | 0 | 0 | 4454.7 | 0 | 0 | 5089.6 | 0 | 0 | 4776.6 | 4.2 | 10.038 | 12871 | 0 | 62789 | 0 | 15599 | 0 | 24679 | 0 | 2 | 6 | 1.5%
2021-02-20
2021-02-21
2021-02-22
2021-02-23
2021-02-24
2021-02-25
2021-02-26
2021-02-27
2021-02-28
|  | 142194 |  | 138912 |  |  | 363.0667 | [9 empty] | 1303 |  | 129 |  | 851 |  |  | 0 |  |  |  | 2 | [5 empty] | 310 |  | 1 |  | 22 |  | 2 |  | 0 |  | 9 |  | 1 |  | 0 |  | 0 |  | 3 |  | 10 |  | 0 |  | 3 |  | 0 | 934 |  |  | 610 |  | 0 |  | 380 |  | 29 | 70 | 990 | 37 |  |  |  | 0 |  | 55 | 314.05 | [7 empty] | 972 |  |  | 45 | 109.8 |  | 0 | 0 |  | 0 | 0 |  | 4 | 9.76 |  | 20.2 | 48.278 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 76.1 | 181.879 |  | 74 |  | 270 |  | 0 |  | 22 | 38 | 114

## Sheet1
2054945
2055440
2056149
2056651
2057174
2057715
2058246
2058780
2059332
2059908
2060432
2061086
2061615
2062113
2062731
[8 empty] | 2063291 |  |  |  | 7 | [24 empty] | 67%
[8 empty] | 2063914 |  |  |  | 7 | [24 empty] | 63%
[8 empty] | 2064501 |  |  |  | 8 | [24 empty] | 69%
[8 empty] | 2065035 |  | 426545 |  | 8 | [24 empty] | 70%
9576003 |  | 9185016 | 1264 | 729 | 0 | 729 | 2321595 | 2065573 |  | 426720 | 61.7 | 14 | 114723.6 | 20498 | 961 | 2535 | 542040 | 48870 | 8302 |  | 24323 | 32962 | 6797 | 82233 | 4366 | 5316 | 2440 | 1679 | 3575 | 3444 | 3861 | 3171 | 112173 | 52938 | 15019 | 22622 | 79%
9598864 | 22861 | 9207028 | 1264 |  |  | 729 | 2322786 | 2066117 |  | 426872 | 60.9 | 8 | 114934 | 20580 | 961 | 2538 |  |  | 8308 |  | 24343 | 32970 | 6824 | 82238 | 4381 | 5325 | 2447 | 1680 | 3580 | 3453 | 3871 | 3179 | 112173 | 52938 | 15019 | 22622 | 83%
9621009 |  | 9228427 | 1264 |  |  | 729 | 2323995 | 2066577 |  | 426975 | 58.8 | 7 | 115258 | 20661 | 961 | 2544 |  |  | 8312 |  | 24365 | 32980 | 6859 | 82243 | 4399 | 5334 | 2454 | 1681 | 3596 | 3463 | 3881 | 3188 | 112173 | 52938 | 15019 | 22622 | 85%
9644072 |  | 9250623 | 1264 |  |  | 729 | 2325704 | 2067069 |  | 427090 | 61 | 0 | 115479 | 20744 | 962 | 2544 |  |  | 8316 |  | 24389 | 32988 | 6890 | 82248 | 4415 | 5342 | 2459 | 1682 | 3607 | 3472 | 3890 | 3195 | 112173 | 52938 | 15019 | 22622 | 85%
9666928 |  | 9272670 | 1264 |  |  | 729 | 2327245 | 2067623 |  | 427227 | 58.24 | 5 | 115633 | 20819 | 962 | 2554 |  |  | 8321 |  | 24414 | 32998 | 6918 | 82257 | 4427 | 5352 | 2465 | 1683 | 3618 | 3482 | 3900 | 3203 | 112173 | 52938 | 15019 | 22622 | 82%
9690612 |  | 9295412 | 1264 |  |  | 729 | 2327908 | 2068165 |  | 427316 | 50.81 | 10 | 115855 | 20905 | 963 | 2563 |  |  | 8325 |  | 24440 | 33006 | 6945 | 82264 | 4439 | 5361 | 2472 | 1684 | 3629 | 3492 | 3911 | 3212 | 112173 | 52938 | 15019 | 22622 | 69%
9714311 |  | 9318320 | 1264 |  |  | 729 | 2329030 | 2068716 |  | 427432 | 48.5 | 7 | 116109 | 20989 | 964 | 2563 |  |  | 8327 |  | 24494 | 33009 | 6963 | 81270 | 4453 | 5370 | 2472.9 | 1685 | 3640 | 3502 | 3919 | 3220.6 | 112173 | 52938 | 15019 | 22622 | 85%
9739019 |  | 9342039 | 1264 |  |  | 729 | 2330162 | 2069255 |  | 427491 | 46.83 | 9 | 116341 | 21072 | 965 | 2573 |  |  | 8331 | 6712 | 24546 | 33017 | 6987 | 82276 | 4464 | 5379 | 2484 | 1686.7 | 3650 | 3511 | 3926 | 3227 | 112173 | 52938 | 15019 | 22622 | 85%
9764276 |  | 9369634 | 1264 |  |  | 729 | 2331403 | 2069799 |  | 427500 | 68.42 | 16 | 116799 | 21156 | 965 | 2583 |  |  | 8335 |  | 24606 | 33026 | 7009 | 82281 | 4477 | 5388 | 2490 | 1687.8 | 3659 | 3521 | 3936 | 3235 | 112173 | 52938 | 15111 | 22622 | 82%
9788235 |  | 9389524 | 1264 |  |  | 729 | 2332288 | 2070337 |  | 427708 | 61.73 | 5 | 116939 | 21234 | 965 | 2585 |  |  | 8338 |  | 24663 | 33034 | 7031 | 82286 | 4486 | 5398 | 2497 | 1688.9 | 3669 | 3531 | 3945 | 3242 | 112173 | 52938 | 15111 | 22622 | 88%
9813889 |  | 9414268 | 1264 |  |  | 729 | 2333027 | 2070888 |  | 427772 | 60.13 | 8 | 117024 | 21378 | 965 | 2606 |  |  | 8341 |  | 24718 | 33042 | 7053 | 82295 | 4497 | 5407 | 2503 | 1690 | 3679 | 3541 | 3955 | 3250 | 112173 | 52938 | 15111 | 22622 | 77%
9838014 |  | 9437590 | 1264 |  |  | 729 | 2334027 | 2071438 |  | 427875 | 67.77 | 8 | 117307 | 21407 | 966 | 2607 |  |  | 8343 |  | 24757 | 33050 | 7073 | 82301 | 4506 | 5415 | 2506 | 1691 | 3688 | 3550 | 3964 | 3258 | 114104 | 53636 | 15139 | 22854 | 76%
0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 | [7 empty] | 0 |  |  |  | 0%