## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 3 | 2021 | 30462 | 0.93 | 90 | 1.24 | 418 | 1.72 | 78.6 | 577
Maldives at Landaa Giraavaru | 2 | 3 | 2021 | 31274 | 0.93 | 90 | 1.24 | 386 | 1.72 | 78.6 | 583
Maldives at Landaa Giraavaru | 3 | 3 | 2021 | 30266 | 0.93 | 0 | 1.24 | 452 | 1.72 | 71.8 | 570
Maldives at Landaa Giraavaru | 4 | 3 | 2021 | 29095 | 0.93 | 180 | 1.24 | 435 | 1.72 | 69.9 | 553
Maldives at Landaa Giraavaru | 5 | 3 | 2021 | 30371 | 0.93 | 0 | 1.24 | 444 | 1.72 | 61.2 | 538
Maldives at Landaa Giraavaru | 6 | 3 | 2021 | 31077 | 0.93 | 270 | 1.24 | 477 | 1.72 | 60.2 | 466
Maldives at Landaa Giraavaru | 7 | 3 | 2021 | 30879 | 0.93 | 0 | 1.24 | 411 | 1.72 | 55.3 | 459
Maldives at Landaa Giraavaru | 8 | 3 | 2021 | 30415 | 0.93 | 540 | 1.24 | 423 | 1.72 | 53.4 | 462
Maldives at Landaa Giraavaru | 9 | 3 | 2021 | 31010 | 0.93 | 0 | 1.24 | 410 | 1.72 | 45.6 | 378
Maldives at Landaa Giraavaru | 10 | 3 | 2021 | 28059 | 0.93 | 360 | 1.24 | 415 | 1.72 | 41.7 | 339
Maldives at Landaa Giraavaru | 11 | 3 | 2021 | 24815 | 0.93 | 0 | 1.24 | 396 | 1.72 | 43.7 | 371
Maldives at Landaa Giraavaru | 12 | 3 | 2021 | 26393 | 0.93 | 180 | 1.24 | 341 | 1.72 | 42.7 | 376
Maldives at Landaa Giraavaru | 13 | 3 | 2021 | 27554 | 0.93 | 0 | 1.24 | 345 | 1.72 | 43.7 | 380
Maldives at Landaa Giraavaru | 14 | 3 | 2021 | 29353 | 0.93 | 90 | 1.24 | 398 | 1.72 | 39.8 | 332
Maldives at Landaa Giraavaru | 15 | 3 | 2021 | 29352 | 0.93 | 0 | 1.24 | 455 | 1.72 | 39.8 | 321
Maldives at Landaa Giraavaru | 16 | 3 | 2021 | 28168 | 0.93 | 90 | 1.24 | 420 | 1.72 | 41 | 341
Maldives at Landaa Giraavaru | 17 | 3 | 2021 | 28362 | 0.93 | 0 | 1.24 | 454 | 1.72 | 42.7 | 327
Maldives at Landaa Giraavaru | 18 | 3 | 2021 | 28781 | 0.93 | 360 | 1.24 | 416 | 1.72 | 43.7 | 358
Maldives at Landaa Giraavaru | 19 | 3 | 2021 | 29287 | 0.93 | 0 | 1.24 | 392 | 1.72 | 47.6 | 378
Maldives at Landaa Giraavaru | 20 | 3 | 2021 | 29267 | 0.93 | 495 | 1.24 | 401 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 408 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 3 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 3 | 2021 | 0 | 0.93 | 0 | 2.24 | 0 | 2.72 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 3 | 2021 | 0 | 0.93 | 0 | 3.24 | 0 | 3.72 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 3 | 2021 | 0 | 0.93 | 0 | 4.24 | 0 | 4.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-02-28 | 87747538 | 30577 | 180 | 90 | 923511.8 | 423 | 81 | 598
2021-03-01 | 87778000 | 30462 | 270 | 90 | 922337 | 418 | 78.6 | 577
2021-03-02 | 87809274 | 31274 | 360 | 90 | 922723 | 386 | 78.6 | 583
2021-03-03 | 87839540 | 30266 | 135 | 0 | 923175 | 452 | 71.8 | 570
2021-03-04 | 87868635 | 29095 | 315 | 180 | 923610 | 435 | 69.9 | 553
2021-03-05 | 87899006 | 30371 | 45 | 0 | 924054 | 444 | 61.2 | 538
2021-03-06 | 87930083 | 31077 | 315 | 270 | 924531 | 477 | 60.2 | 466
2021-03-07 | 87960962 | 30879 | 0 | 0 | 924942 | 411 | 55.3 | 459
2021-03-08 | 87991377 | 30415 | 540 | 540 | 925365 | 423 | 53.4 | 462
2021-03-09 | 88022387 | 31010 | 0 | 0 | 925775 | 410 | 45.6 | 378
2021-03-10 | 88050446 | 28059 | 360 | 360 | 926190 | 415 | 41.7 | 339
2021-03-11 | 88075261 | 24815 | 0 | 0 | 926586 | 396 | 43.7 | 371
2021-03-12 | 88101654 | 26393 | 180 | 180 | 926927 | 341 | 42.7 | 376
2021-03-13 | 88129208 | 27554 | 135 | 0 | 927272 | 345 | 43.7 | 380
2021-03-14 | 88158561 | 29353 | 225 | 90 | 927670 | 398 | 39.8 | 332
2021-03-15 | 88187913 | 29352 | 225 | 0 | 928125 | 455 | 39.8 | 321
2021-03-16 | 88216081 | 28168 | 315 | 90 | 928545 | 420 | 41 | 341
2021-03-17 | 88244443 | 28362 | 0 | 0 | 928999 | 454 | 42.7 | 327
2021-03-18 | 88273224 | 28781 | 360 | 360 | 929415 | 416 | 43.7 | 358
2021-03-19 | 88302511 | 29287 | 0 | 0 | 929807 | 392 | 47.6 | 378
2021-03-20 | 88331778 | 29267 | 495 | 495 | 930208 | 401
2021-03-21 | 0 | 0 | 0 | 0 | 930616 | 408
2021-03-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-03-31 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | March
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3)
1 | 30462 | 8470 | 3074 | 270 | 418
2 | 31274 | 8650 | 3257 | 360 | 386
3 | 30266 | 8340 | 3651 | 135 | 452
4 | 29095 | 8260 | 2690 | 315 | 435
5 | 30371 | 8550 | 3273 | 45 | 444
6 | 31077 | 8670 | 3257 | 315 | 477
7 | 30879 | 8570 | 3200 | 0 | 411
8 | 30415 | 8480 | 3134 | 540 | 423
9 | 31010 | 8620 | 1708 | 0 | 410
10 | 28059 | 8020 | 1299 | 360 | 415
11 | 24815 | 6800 | 2321 | 0 | 396
12 | 26393 | 7410 | 2438 | 180 | 341
13 | 27554 | 7770 | 3214 | 135 | 345
14 | 29353 | 8210 | 2994 | 225 | 398
15 | 29352 | 7940 | 3100 | 225 | 455
16 | 28168 | 7990 | 3334 | 315 | 420
17 | 28362 | 7860 | 3038 | 0 | 454
18 | 28781 | 7840 | 3112 | 360 | 416
19 | 29287 | 7910 | 3205 | 0 | 392
20 | 29267 | 8100 | 3164 | 495 | 401
21 | -88331778 | -43505680 | -2471364 | 0 | 408
22 | 0 | 0 | 0 | 0 | -930616
23 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0
Total | -87747538 | -43343220 | -2412901 | 4275 | -921919

## GENSET #1
1000 KVA
NO#1
2021-03-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17010072 | 17013059 | 2987
2 | 17013059 | 17016763 | 3704
3 | 17016763 | 17020624 | 3861
4 | 17020624 | 17030624 | 10000
5 | 17030624 | 17034720 | 4096
6 | 17034720 | 17038544 | 3824
7 | 17038544 | 17043950 | 5406
8 | 17043950 | 17055320 | 11370
9 | 17055320 | 17056960 | 1640
10 | 17056960 | 17065558 | 8598
11 | 17065558 | 17076192 | 10634
12 | 17076192 | 17082256 | 6064
13 | 17082256 | 17082256 | 0
14 | 17082256 | 17082256 | 0
15 | 17082256 | 17082256 | 0
16 | 17082256 | 17082256 | 0
17 | 17082256 | 17082256 | 0
18 | 17082256 | 17082256 | 0
19 | 17082256 | 17082256 | 0
20 | 17082256 | 17082256 | 0
21 | 17082256 |  | -17082256
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total | 0 |  | -17010072 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-03-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 28925329 | 28939147 | 13818
2 | 28939147 | 28952046 | 12899
3 | 28952046 | 28965164 | 13118
4 | 28965164 | 28972244 | 7080
5 | 28972244 | 28986058 | 13814
6 | 28986058 | 28998423 | 12365
7 | 28998423 | 29010583 | 12160
8 | 29010583 | 29010705 | 122
9 | 29010705 | 29027911 | 17206
10 | 29027911 | 29032134 | 4223
11 | 29032134 | 29032134 | 0
12 | 29032134 | 29040006 | 7872
13 | 29040006 | 29058174 | 18168
14 | 29058174 | 29070610 | 12436
15 | 29070610 | 29083333 | 12723
16 | 29083333 | 29095571 | 12238
17 | 29095571 | 29107757 | 12186
18 | 29107757 | 29117326 | 9569
19 | 29117326 | 29124886 | 7560
20 | 29124886 | 29138812 | 13926
21 | 29138812 |  | -29138812
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -28925329

## GENSET #3
900 KVA
NO#3
2021-03-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 12602173 | 12610675 | 8502
2 | 12610675 | 12617817 | 7142
3 | 12617817 | 12618222 | 405
4 | 12618222 | 12623343 | 5121
5 | 12623343 | 12630078 | 6735
6 | 12630078 | 12636997 | 6919
7 | 12636997 | 12643754 | 6757
8 | 12643754 | 12650643 | 6889
9 | 12650643 | 12658898 | 8255
10 | 12658898 | 12665227 | 6329
11 | 12665227 | 12672628 | 7401
12 | 12672628 | 12678583 | 5955
13 | 12678583 | 12685091 | 6508
14 | 12685091 | 12691784 | 6693
15 | 12691784 | 12699756 | 7972
16 | 12699756 | 12707790 | 8034
17 | 12707790 | 12714843 | 7053
18 | 12714843 | 12722876 | 8033
19 | 12722876 | 12731727 | 8851
20 | 12731727 | 12741421 | 9694
21 | 12741421 |  | -12741421
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -12602173

## GENSET #4
500 KVA
NO#4
2021-03-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11468630 | 11471648 | 3018
2 | 11471648 | 11475491 | 3843
3 | 11475491 | 11478098 | 2607
4 | 11478098 | 11480206 | 2108
5 | 11480206 | 11482867 | 2661
6 | 11482867 | 11486982 | 4115
7 | 11486982 | 11489429 | 2447
8 | 11489429 | 11490064 | 635
9 | 11490064 | 11492970 | 2906
10 | 11492970 | 11495035 | 2065
11 | 11495035 | 11497676 | 2641
12 | 11497676 | 11498118 | 442
13 | 11498118 | 11500996 | 2878
14 | 11500996 | 11503710 | 2714
15 | 11503710 | 11506435 | 2725
16 | 11506435 | 11508654 | 2219
17 | 11508654 | 11512049 | 3395
18 | 11512049 | 11514820 | 2771
19 | 11514820 | 11518646 | 3826
20 | 11518646 | 11520863 | 2217
21 | 11520863 |  | -11520863
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -11468630

## GENSET #5
1000 KVA
NO#5
2021-03-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17741334 | 17743471 | 2137
2 | 17743471 | 17747157 | 3686
3 | 17747157 | 17757432 | 10275
4 | 17757432 | 17762218 | 4786
5 | 17762218 | 17765283 | 3065
6 | 17765283 | 17769137 | 3854
7 | 17769137 | 17773246 | 4109
8 | 17773246 | 17784645 | 11399
9 | 17784645 | 17785648 | 1003
10 | 17785648 | 17792492 | 6844
11 | 17792492 | 17796631 | 4139
12 | 17796631 | 17802691 | 6060
13 | 17802691 | 17802691 | 0
14 | 17802691 | 17810201 | 7510
15 | 17810201 | 17816133 | 5932
16 | 17816133 | 17821810 | 5677
17 | 17821810 | 17827538 | 5728
18 | 17827538 | 17835946 | 8408
19 | 17835946 | 17844996 | 9050
20 | 17844996 | 17848426 | 3430
21 | 17848426 |  | -17848426
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -17741334

## Diesel consumption
Diesel Consumption
2021-03-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 43343220 | 43351690 | 8470 |  |  | 42.35 | 22699.6 | 22.6996
2 | 43351690 | 43360340 | 8650 |  |  | 43.25 | 23182 | 23.182
3 | 43360340 | 43368680 | 8340 |  |  | 41.7 | 22351.2 | 22.3512
4 | 43368680 | 43376940 | 8260 |  |  | 41.3 | 22136.8 | 22.1368
5 | 43376940 | 43385490 | 8550 |  |  | 42.75 | 22914 | 22.914
6 | 43385490 | 43394160 | 8670 |  |  | 43.35 | 23235.6 | 23.2356
7 | 43394160 | 43402730 | 8570 |  |  | 42.85 | 22967.6 | 22.9676
8 | 43402730 | 43411210 | 8480 |  |  | 42.4 | 22726.4 | 22.7264
9 | 43411210 | 43419830 | 8620 |  |  | 43.1 | 23101.6 | 23.1016
10 | 43419830 | 43427850 | 8020 |  |  | 40.1 | 21493.6 | 21.4936
11 | 43427850 | 43434650 | 6800 |  |  | 34 | 18224 | 18.224
12 | 43434650 | 43442060 | 7410 |  |  | 37.05 | 19858.8 | 19.8588
13 | 43442060 | 43449830 | 7770 |  |  | 38.85 | 20823.6 | 20.8236
14 | 43449830 | 43458040 | 8210 |  |  | 41.05 | 22002.8 | 22.0028
15 | 43458040 | 43465980 | 7940 |  |  | 39.7 | 21279.2 | 21.2792
16 | 43465980 | 43473970 | 7990 |  |  | 39.95 | 21413.2 | 21.4132
17 | 43473970 | 43481830 | 7860 |  |  | 39.3 | 21064.8 | 21.0648
18 | 43481830 | 43489670 | 7840 |  |  | 39.2 | 21011.2 | 21.0112
19 | 43489670 | 43497580 | 7910 |  |  | 39.55 | 21198.8 | 21.1988
20 | 43497580 | 43505680 | 8100 |  |  | 40.5 | 21708 | 21.708
21 | 43505680 |  | -43505680 |  |  | -217528.4 | -116595222.4 | -116595.2224
22 | 0 |  | 0 |  |  | 0 | 0 | 0
23 | 0 |  | 0 |  |  | 0 | 0 | 0
24 | 0 |  | 0 |  |  | 0 | 0 | 0
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
31 | 0 |  | 0
|  |  | -43343220 |  |  | -216716.1 | -116159829.6 | -116159.8296

## SOLAR METER READING
solar reading
2021-03-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 2412901 | 2415975 | 3074
2 | 2415975 | 2419232 | 3257
3 | 2419232 | 2422883 | 3651
4 | 2422883 | 2425573 | 2690
5 | 2425573 | 2428846 | 3273 | 1 liter diesel | 11.1 kwh
6 | 2428846 | 2432103 | 3257 | 212.88 diesel | 2363 kwh
7 | 2432103 | 2435303 | 3200
8 | 2435303 | 2438437 | 3134
9 | 2438437 | 2440145 | 1708
10 | 2440145 | 2441444 | 1299
11 | 2441444 | 2443765 | 2321
12 | 2443765 | 2446203 | 2438
13 | 2446203 | 2449417 | 3214
14 | 2449417 | 2452411 | 2994
15 | 2452411 | 2455511 | 3100
16 | 2455511 | 2458845 | 3334
17 | 2458845 | 2461883 | 3038
18 | 2461883 | 2464995 | 3112
19 | 2464995 | 2468200 | 3205
20 | 2468200 | 2471364 | 3164
21 | 2471364 |  | -2471364
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2412901

## FEEDER Consumption
2021-03-01
POWER HOUSE FEEDER READING
| BLU FEEDER PANEL 1 |  |  | BLU FEEDER PANEL 2 |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25299446 | 25303383 | 3937 | 22256534 | 22261774 | 5240 | 84529864 | 84544183 | 14319 | 1842900 | 1844900 | 2000 | 2491793 | 2494491 | 2698 | 1509500 | 1511400 | 1900 | 695400 | 696020 | 620 | 7199500 | 7205600 | 6100 | 1614900 | 1617400 | 2500 | 467628 | 468034 | 406 | 334120 | 334540 | 420 | 572210 | 573070 | 860 | 1047400 | 1048700 | 1300 | 666850 | 667720 | 870 | 540890 | 541880 | 990 | 491370 | 493180 | 1810 | 382690 | 383900 | 1210 | 1059100 | 1063200 | 4100 | 22670 | 22771 | 101 | 18223 | 18318 | 95 | 16778 | 16859 | 81 | 26640 | 26754 | 114 | 19074 | 19165 | 91 | 19564 | 19653 | 89 | 13606 | 13653 | 47 | 35302 | 35474 | 172 | 27666 | 27747 | 81 | 81511 | 81766 | 255 | 55072 | 55417 | 345 | 13610 | 13660 | 50 | 48296 | 48430 | 134
2 | 25303383 | 25307325 | 3942 | 22261774 | 22267391 | 5617 | 84544183 | 84558930 | 14747 | 1844900 | 1846900 | 2000 | 2494491 | 2497325 | 2834 | 1511400 | 1513300 | 1900 | 696020 | 696670 | 650 | 7205600 | 7212000 | 6400 | 1617400 | 1619900 | 2500 | 468034 | 468451 | 417 | 334540 | 334980 | 440 | 573070 | 573920 | 850 | 1048700 | 1050100 | 1400 | 667720 | 668600 | 880 | 541880 | 544780 | 2900 | 493180 | 495020 | 1840 | 383900 | 385120 | 1220 | 1063200 | 1067000 | 3800 | 22771 | 22903 | 132 | 18318 | 18441 | 123 | 16859 | 16948 | 89 | 26754 | 26885 | 131 | 19165 | 19266 | 101 | 19653 | 19747 | 94 | 13653 | 13709 | 56 | 35474 | 35645 | 171 | 27747 | 27834 | 87 | 81766 | 82063 | 297 | 55417 | 55838 | 421 | 13660 | 13713 | 53 | 48430 | 48567 | 137
3 | 25307325 | 25311054 | 3729 | 22267391 | 22272655 | 5264 | 84558930 | 84573189 | 14259 | 1846900 | 1848700 | 1800 | 2497325 | 2500138 | 2813 | 1513300 | 1515200 | 1900 | 696670 | 697267 | 597 | 7212000 | 7218400 | 6400 | 1619900 | 1622000 | 2100 | 468451 | 468833 | 382 | 334980 | 335420 | 440 | 573920 | 574780 | 860 | 1050100 | 1051500 | 1400 | 668600 | 669470 | 870 | 544780 | 547420 | 2640 | 495020 | 496940 | 1920 | 385120 | 386330 | 1210 | 1067000 | 1070900 | 3900 | 22903 | 23017 | 114 | 18441 | 18549 | 108 | 16948 | 17033 | 85 | 26885 | 26994 | 109 | 19266 | 19357 | 91 | 19747 | 19822 | 75 | 13709 | 13762 | 53 | 35645 | 35818 | 173 | 27834 | 27906 | 72 | 82063 | 82348 | 285 | 55838 | 56240 | 402 | 13713 | 13768 | 55 | 48567 | 48625 | 58
4 | 25311054 | 25314699 | 3645 | 22272655 | 22277784 | 5129 | 84573189 | 84587346 | 14157 | 1848700 | 1850700 | 2000 | 2500138 | 2502934 | 2796 | 1515200 | 1516900 | 1700 | 697267 | 697894 | 627 | 7218400 | 7224500 | 6100 | 1622000 | 1623800 | 1800 | 468833 | 469212 | 379 | 335420 | 335830 | 410 | 574780 | 575630 | 850 | 1051500 | 1052800 | 1300 | 669470 | 670350 | 880 | 547420 | 547420 | 0 | 496940 | 498880 | 1940 | 386330 | 387500 | 1170 | 1070900 | 1075400 | 4500 | 23017 | 23131 | 114 | 18549 | 18640 | 91 | 17033 | 17112 | 79 | 26994 | 27099 | 105 | 19357 | 19441 | 84 | 19822 | 19899 | 77 | 13762 | 13807 | 45 | 35818 | 35961 | 143 | 27906 | 27981 | 75 | 82348 | 82626 | 278 | 56240 | 56612 | 372 | 13768 | 13813 | 45 | 48625 | 48696 | 71
5 | 25314699 | 25318471 | 3772 | 22277784 | 22283483 | 5699 | 84587346 | 84601848 | 14502 | 1850700 | 1852600 | 1900 | 2502934 | 2505661 | 2727 | 1516900 | 1518700 | 1800 | 697894 | 698550 | 656 | 7224500 | 7230900 | 6400 | 1623800 | 1625800 | 2000 | 469212 | 469816 | 604 | 335830 | 336220 | 390 | 575630 | 576510 | 880 | 1052800 | 1054200 | 1400 | 670350 | 671260 | 910 | 547420 | 548010 | 590 | 498880 | 500510 | 1630 | 387500 | 388740 | 1240 | 1075400 | 1079100 | 3700 | 23131 | 23247 | 116 | 18640 | 18754 | 114 | 17112 | 17203 | 91 | 27099 | 27225 | 126 | 19441 | 19531 | 90 | 19899 | 19985 | 86 | 13807 | 13859 | 52 | 35961 | 36144 | 183 | 27981 | 28056 | 75 | 82626 | 82876 | 250 | 56612 | 56944 | 332 | 13813 | 13863 | 50 | 48696 | 48772 | 76
6 | 25318471 | 25322179 | 3708 | 22283483 | 22289258 | 5775 | 84601848 | 84616647 | 14799 | 1852600 | 1854600 | 2000 | 2505661 | 2508291 | 2630 | 1518700 | 1520600 | 1900 | 698550 | 699208 | 658 | 7230900 | 7237400 | 6500 | 1625800 | 1628000 | 2200 | 469816 | 470276 | 460 | 336220 | 336600 | 380 | 576510 | 577360 | 850 | 1054200 | 1055600 | 1400 | 671260 | 672180 | 920 | 548010 | 548010 | 0 | 500510 | 502190 | 1680 | 388740 | 389940 | 1200 | 1079100 | 1082900 | 3800 | 23247 | 23377 | 130 | 18754 | 18861 | 107 | 17203 | 17291 | 88 | 27225 | 27371 | 146 | 19531 | 19534 | 3 | 19985 | 20076 | 91 | 13859 | 13911 | 52 | 36144 | 36314 | 170 | 28056 | 28137 | 81 | 82876 | 83171 | 295 | 56944 | 57304 | 360 | 13863 | 13913 | 50 | 48772 | 48806 | 34
7 | 25322179 | 25325953 | 3774 | 22289258 | 22294975 | 5717 | 84616647 | 84631570 | 14923 | 1854600 | 1856600 | 2000 | 2508291 | 2511128 | 2837 | 1520600 | 1522400 | 1800 | 699208 | 699883 | 675 | 7237400 | 7244000 | 6600 | 1628000 | 1630100 | 2100 | 470276 | 470748 | 472 | 336600 | 337010 | 410 | 577360 | 578320 | 960 | 1055600 | 1057200 | 1600 | 672180 | 673130 | 950 | 548010 | 550060 | 2050 | 502190 | 503980 | 1790 | 389940 | 391130 | 1190 | 1082900 | 1086400 | 3500 | 23377 | 23513 | 136 | 18861 | 18975 | 114 | 17291 | 17368 | 77 | 27371 | 27512 | 141 | 19534 | 19741 | 207 | 20076 | 20160 | 84 | 13911 | 13962 | 51 | 36314 | 36506 | 192 | 28137 | 28218 | 81 | 83171 | 83449 | 278 | 57304 | 57703 | 399 | 13913 | 13971 | 58 | 48806 | 48847 | 41
8 | 25325953 | 25329714 | 3761 | 22294975 | 22300671 | 5696 | 84631570 | 84646174 | 14604 | 1856600 | 1858600 | 2000 | 2511128 | 2513905 | 2777 | 1522400 | 1524100 | 1700 | 699883 | 700576 | 693 | 7244000 | 7250600 | 6600 | 1630100 | 1631900 | 1800 | 470748 | 471216 | 468 | 337010 | 337430 | 420 | 578320 | 579240 | 920 | 1057200 | 1058600 | 1400 | 673130 | 674100 | 970 | 550060 | 551760 | 1700 | 503980 | 505770 | 1790 | 391130 | 392310 | 1180 | 1086400 | 1090300 | 3900 | 23513 | 23635 | 122 | 18975 | 19096 | 121 | 17368 | 17448 | 80 | 27512 | 27631 | 119 | 19741 | 19842 | 101 | 20160 | 20237 | 77 | 13962 | 14016 | 54 | 36506 | 36652 | 146 | 28218 | 28300 | 82 | 83449 | 83704 | 255 | 57703 | 58044 | 341 | 13971 | 14020 | 49 | 48847 | 48881 | 34
9 | 25329714 | 25333254 | 3540 | 22300671 | 22306180 | 5509 | 84646174 | 84661487 | 15313 | 1858600 | 1860500 | 1900 | 2513905 | 2516442 | 2537 | 1524100 | 1525800 | 1700 | 700576 | 701197 | 621 | 7250600 | 7256800 | 6200 | 1631900 | 1633900 | 2000 | 471216 | 471703 | 487 | 337430 | 337960 | 530 | 579240 | 580320 | 1080 | 1058600 | 1060300 | 1700 | 674100 | 675230 | 1130 | 551760 | 552400 | 640 | 505770 | 507830 | 2060 | 392310 | 393470 | 1160 | 1090300 | 1094400 | 4100 | 23635 | 23773 | 138 | 19096 | 19222 | 126 | 17448 | 17536 | 88 | 27631 | 27761 | 130 | 19842 | 19929 | 87 | 20237 | 20311 | 74 | 14016 | 14067 | 51 | 36652 | 36783 | 131 | 28300 | 28383 | 83 | 83704 | 83976 | 272 | 58044 | 58411 | 367 | 14020 | 14072 | 52 | 48881 | 48929 | 48
10 | 25333254 | 25336508 | 3254 | 22306180 | 22310345 | 4165 | 84661487 | 84676008 | 14521 | 1860500 | 1862300 | 1800 | 2516442 | 2518907 | 2465 | 1525800 | 1527700 | 1900 | 701197 | 701872 | 675 | 7256800 | 7262900 | 6100 | 1633900 | 1635800 | 1900 | 471703 | 472068 | 365 | 337960 | 338490 | 530 | 580320 | 581360 | 1040 | 1060300 | 1061900 | 1600 | 675230 | 676260 | 1030 | 552400 | 554210 | 1810 | 507830 | 509600 | 1770 | 393470 | 394570 | 1100 | 1094400 | 1097700 | 3300 | 23773 | 23871 | 98 | 19222 | 19298 | 76 | 17536 | 17608 | 72 | 27761 | 27856 | 95 | 19929 | 19995 | 66 | 20311 | 20361 | 50 | 14067 | 14116 | 49 | 36783 | 36978 | 195 | 28383 | 28462 | 79 | 83976 | 84245 | 269 | 58411 | 58790 | 379 | 14072 | 14122 | 50 | 48929 | 48973 | 44
11 | 25336508 | 25339657 | 3149 | 22310345 | 22313991 | 3646 | 84676008 | 84688060 | 12052 | 1862300 | 1864100 | 1800 | 2518907 | 2521408 | 2501 | 1527700 | 1529100 | 1400 | 701872 | 702496 | 624 | 7262900 | 7268600 | 5700 | 1635800 | 1637900 | 2100 | 472068 | 472486 | 418 | 338490 | 338890 | 400 | 581360 | 582140 | 780 | 1061900 | 1063100 | 1200 | 676260 | 677010 | 750 | 554210 | 554440 | 230 | 509600 | 510990 | 1390 | 394570 | 395650 | 1080 | 1097700 | 1100900 | 3200 | 23871 | 23953 | 82 | 19298 | 19368 | 70 | 17608 | 17655 | 47 | 27856 | 27930 | 74 | 19995 | 20052 | 57 | 20361 | 20411 | 50 | 14116 | 14162 | 46 | 36978 | 37198 | 220 | 28462 | 28539 | 77 | 84245 | 84488 | 243 | 58790 | 59135 | 345 | 14122 | 14170 | 48 | 48973 | 49068 | 95
12 | 25339657 | 25342834 | 3177 | 22313991 | 22318162 | 4171 | 84688060 | 84700846 | 12786 | 1864100 | 1865900 | 1800 | 2521408 | 2523930 | 2522 | 1529100 | 1530600 | 1500 | 702496 | 703179 | 683 | 7268600 | 7274400 | 5800 | 1637900 | 1639900 | 2000 | 472486 | 472872 | 386 | 338890 | 339310 | 420 | 582140 | 582960 | 820 | 1063100 | 1064400 | 1300 | 677010 | 677830 | 820 | 554440 | 554940 | 500 | 510990 | 512310 | 1320 | 395650 | 396760 | 1110 | 1100900 | 1103800 | 2900 | 23953 | 24049 | 96 | 19368 | 19452 | 84 | 17655 | 17723 | 68 | 27930 | 28015 | 85 | 20052 | 20120 | 68 | 20411 | 20464 | 53 | 14162 | 14208 | 46 | 37198 | 37374 | 176 | 28539 | 28614 | 75 | 84488 | 84726 | 238 | 59135 | 59480 | 345 | 14170 | 14219 | 49 | 49068 | 49142 | 74
13 | 25342834 | 25346424 | 3590 | 22318162 | 22322973 | 4811 | 84700846 | 84714069 | 13223 | 1865900 | 1867900 | 2000 | 2523930 | 2526638 | 2708 | 1530600 | 1531900 | 1300 | 703179 | 703829 | 650 | 7274400 | 7280900 | 6500 | 1639900 | 1641700 | 1800 | 472872 | 473296 | 424 | 339310 | 339710 | 400 | 582960 | 583760 | 800 | 1064400 | 1065700 | 1300 | 677830 | 678670 | 840 | 554940 | 555030 | 90 | 512310 | 513860 | 1550 | 396760 | 397920 | 1160 | 1103800 | 1107300 | 3500 | 24049 | 24163 | 114 | 19452 | 19554 | 102 | 17723 | 17802 | 79 | 28015 | 28113 | 98 | 20120 | 20193 | 73 | 20464 | 20529 | 65 | 14208 | 14256 | 48 | 37374 | 37513 | 139 | 28614 | 28695 | 81 | 84726 | 84985 | 259 | 59480 | 59853 | 373 | 14219 | 14266 | 47 | 49142 | 49224 | 82
14 | 25346424 | 25350103 | 3679 | 22322973 | 22328580 | 5607 | 84714069 | 84728332 | 14263 | 1867900 | 1869800 | 1900 | 2526638 | 2529389 | 2751 | 1531900 | 1533700 | 1800 | 703829 | 704455 | 626 | 7280900 | 7287000 | 6100 | 1641700 | 1643500 | 1800 | 473296 | 473787 | 491 | 339710 | 340200 | 490 | 583760 | 584640 | 880 | 1065700 | 1067300 | 1600 | 678670 | 679560 | 890 | 555030 | 556830 | 1800 | 513860 | 515830 | 1970 | 397920 | 399050 | 1130 | 1107300 | 1111000 | 3700 | 24163 | 24315 | 152 | 19554 | 19657 | 103 | 17802 | 17906 | 104 | 28113 | 28236 | 123 | 20193 | 20279 | 86 | 20529 | 20589 | 60 | 14256 | 14308 | 52 | 37513 | 37631 | 118 | 28695 | 28773 | 78 | 84985 | 85265 | 280 | 59853 | 60174 | 321 | 14266 | 14315 | 49 | 49224 | 49282 | 58
15 | 25350103 | 25353644 | 3541 | 22328580 | 22333751 | 5171 | 84728332 | 84742898 | 14566 | 1869800 | 1871800 | 2000 | 2529389 | 2532189 | 2800 | 1533700 | 1535600 | 1900 | 704455 | 705115 | 660 | 7287000 | 7293500 | 6500 | 1643500 | 1645300 | 1800 | 473787 | 474245 | 458 | 340200 | 340640 | 440 | 584640 | 585450 | 810 | 1067300 | 1068800 | 1500 | 679560 | 680450 | 890 | 556830 | 557670 | 840 | 515830 | 517650 | 1820 | 399050 | 400270 | 1220 | 1111000 | 1115200 | 4200 | 24315 | 24449 | 134 | 19657 | 19765 | 108 | 17906 | 17984 | 78 | 28236 | 28349 | 113 | 20279 | 20357 | 78 | 20589 | 20663 | 74 | 14308 | 14355 | 47 | 37631 | 37764 | 133 | 28773 | 28853 | 80 | 85265 | 85529 | 264 | 60174 | 60538 | 364 | 14315 | 14369 | 54 | 49282 | 49346 | 64
16 | 25353644 | 25357235 | 3591 | 22333751 | 22338453 | 4702 | 84742898 | 84756788 | 13890 | 1871800 | 1873700 | 1900 | 2532189 | 2534758 | 2569 | 1535600 | 1537400 | 1800 | 705115 | 705781 | 666 | 7293500 | 7300000 | 6500 | 1645300 | 1647100 | 1800 | 474245 | 474693 | 448 | 340640 | 341040 | 400 | 585450 | 586260 | 810 | 1068800 | 1070300 | 1500 | 680450 | 681300 | 850 | 557670 | 557810 | 140 | 517650 | 519340 | 1690 | 400270 | 401440 | 1170 | 1115200 | 1119000 | 3800 | 24449 | 24590 | 141 | 19765 | 19851 | 86 | 17984 | 18060 | 76 | 28349 | 28460 | 111 | 20357 | 20433 | 76 | 20663 | 20725 | 62 | 14355 | 14402 | 47 | 37764 | 37891 | 127 | 28853 | 28936 | 83 | 85529 | 85825 | 296 | 60538 | 60855 | 317 | 14369 | 14415 | 46 | 49346 | 49387 | 41
17 | 25357235 | 25360860 | 3625 | 22338453 | 22343232 | 4779 | 84756788 | 84770982 | 14194 | 1873700 | 1875600 | 1900 | 2534758 | 2537317 | 2559 | 1537400 | 1539400 | 2000 | 705781 | 706172 | 391 | 7300000 | 7306800 | 6800 | 1647100 | 1648700 | 1600 | 474693 | 475138 | 445 | 341040 | 341480 | 440 | 586260 | 587170 | 910 | 1070300 | 1071700 | 1400 | 681300 | 682250 | 950 | 557810 | 560150 | 2340 | 519340 | 521070 | 1730 | 401440 | 402620 | 1180 | 1119000 | 1123100 | 4100 | 24590 | 24717 | 127 | 19851 | 19937 | 86 | 18060 | 18130 | 70 | 28460 | 28556 | 96 | 20433 | 20514 | 81 | 20725 | 20788 | 63 | 14402 | 14450 | 48 | 37891 | 38023 | 132 | 28936 | 29011 | 75 | 85825 | 86096 | 271 | 60855 | 61203 | 348 | 14415 | 14461 | 46 | 49387 | 49429 | 42
18 | 25360860 | 25364520 | 3660 | 22343232 | 22348091 | 4859 | 84770982 | 84785445 | 14463 | 1875600 | 1877600 | 2000 | 2537317 | 2539959 | 2642 | 1539400 | 1541100 | 1700 | 706172 | 706762 | 590 | 7306800 | 7313600 | 6800 | 1648700 | 1650400 | 1700 | 475138 | 475590 | 452 | 341480 | 341910 | 430 | 587170 | 588090 | 920 | 1071700 | 1073100 | 1400 | 682250 | 683210 | 960 | 560150 | 560850 | 700 | 521070 | 522730 | 1660 | 402620 | 403800 | 1180 | 1123100 | 1127200 | 4100 | 24717 | 24836 | 119 | 19937 | 20021 | 84 | 18130 | 18199 | 69 | 28556 | 28668 | 112 | 20514 | 20616 | 102 | 20788 | 20855 | 67 | 14450 | 14497 | 47 | 38023 | 38159 | 136 | 29011 | 29089 | 78 | 86096 | 86362 | 266 | 61203 | 61568 | 365 | 14461 | 14510 | 49 | 49429 |  | -49429
19 | 25364520 | 25368311 | 3791 | 22348091 | 22353110 | 5019 | 84785445 | 84799828 | 14383 | 1877600 | 1879600 | 2000 | 2539959 | 2542696 | 2737 | 1541100 | 1542900 | 1800 | 706762 | 707373 | 611 | 7313600 | 7319900 | 6300 | 1650400 | 1652000 | 1600 | 475590 | 476053 | 463 | 341910 | 342320 | 410 | 588090 | 588990 | 900 | 1073100 | 1074600 | 1500 | 683210 | 684120 | 910 | 560850 | 561560 | 710 | 522730 | 524450 | 1720 | 403800 | 404960 | 1160 | 1127200 | 1131200 | 4000 | 24836 | 24955 | 119 | 20021 | 20104 | 83 | 18199 | 18271 | 72 | 28668 | 28795 | 127 | 20616 | 20721 | 105 | 20855 | 20925 | 70 | 14497 | 14546 | 49 | 38159 | 38266 | 107 | 29089 | 29167 | 78 | 86362 | 86649 | 287 | 61568 | 61923 | 355 | 14510 | 14635 | 125 | 0 |  | 0
20 | 25368311 | 25372144 | 3833 | 22353110 | 22358180 | 5070 | 84799828 | 84814069 | 14241 | 1879600 | 1881600 | 2000 | 2542696 | 2545474 | 2778 | 1542900 | 1544700 | 1800 | 707373 | 707913 | 540 | 7319900 | 7326700 | 6800 | 1652000 | 1653900 | 1900 | 476053 | 476491 | 438 | 342320 | 342720 | 400 | 588990 | 589940 | 950 | 1074600 | 1076100 | 1500 | 684120 | 685040 | 920 | 561560 | 562770 | 1210 | 524450 | 526180 | 1730 | 404960 | 406160 | 1200 | 1131200 | 1135600 | 4400 | 24955 | 25069 | 114 | 20104 | 20193 | 89 | 18271 | 18347 | 76 | 28795 | 28916 | 121 | 20721 | 20822 | 101 | 20925 | 21003 | 78 | 14546 | 14596 | 50 | 38266 | 38398 | 132 | 29167 | 29246 | 79 | 86649 | 86933 | 284 | 61923 | 62325 | 402 | 14635 | 14608 | -27 | 0 |  | 0
21 | 25372144 |  | -25372144 | 22358180 |  | -22358180 | 84814069 |  | -84814069 | 1881600 |  | -1881600 | 2545474 |  | -2545474 | 1544700 |  | -1544700 | 707913 |  | -707913 | 7326700 |  | -7326700 | 1653900 |  | -1653900 | 476491 |  | -476491 | 342720 |  | -342720 | 589940 |  | -589940 | 1076100 |  | -1076100 | 685040 |  | -685040 | 562770 |  | -562770 | 526180 | 0 | -526180 | 406160 |  | -406160 | 1135600 |  | -1135600 | 25069 |  | -25069 | 20193 |  | -20193 | 18347 |  | -18347 | 28916 |  | -28916 | 20822 |  | -20822 | 21003 |  | -21003 | 14596 |  | -14596 | 38398 |  | -38398 | 29246 |  | -29246 | 86933 |  | -86933 | 62325 |  | -62325 | 14608 |  | -14608 | 0 |  | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25299446 |  |  | -22256534 |  |  | -84529864 |  |  | -1842900 |  |  | -2491793 |  |  | -1509500 |  |  | -695400 |  |  | -7199500 |  |  | -1614900 |  |  | -467628 |  |  | -334120 |  |  | -572210 |  |  | -1047400 |  |  | -666850 |  |  | -540890 |  |  | -491370 |  |  | -382690 |  |  | -1059100 |  |  | -22670 |  |  | -18223 |  |  | -16778 |  |  | -26640 |  |  | -19074 |  |  | -19564 |  |  | -13606 |  |  | -35302 |  |  | -27666 |  |  | -81511 |  |  | -55072 |  |  | -13610 |  |  | -48296

## WATER
RO Plant Water Production Reading
Month |  | 2021-03-01
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $
1 | 1521.8 | 34 | 105 | 1 | 3085 | 3085 | 0 | 1 | 721913 | 722139 | 226 | 1 | 196992 | 197079 | 87 | 1 | 418 | 78.6
2 | 34 | 116 | 82 | 2 | 3085 | 3085 | 0 | 2 | 722139 | 722351 | 212 | 2 | 197079 | 197171 | 92 | 2 | 386 | 78.6
3 | 116 | 236 | 120 | 3 | 3085 | 3085 | 0 | 3 | 722351 | 722583 | 232 | 3 | 197171 | 197271 | 100 | 3 | 452 | 71.8
4 | 236 | 357 | 121 | 4 | 3085 | 3085 | 0 | 4 | 722583 | 722808 | 225 | 4 | 197271 | 197360 | 89 | 4 | 435 | 69.9
5 | 357 | 479 | 122 | 5 | 3085 | 3085 | 0 | 5 | 722808 | 723049 | 241 | 5 | 197360 | 197441 | 81 | 5 | 444 | 61.2
6 | 479 | 576 | 97 | 6 | 3085 | 3085 | 0 | 6 | 723049 | 723316 | 267 | 6 | 197441 | 197554 | 113 | 6 | 477 | 60.2
7 | 576 | 693 | 117 | 7 | 3085 | 3085 | 0 | 7 | 723316 | 723530 | 214 | 7 | 197554 | 197634 | 80 | 7 | 411 | 55.3
8 | 693 | 778 | 85 | 8 | 3085 | 3085 | 0 | 8 | 723530 | 723768 | 238 | 8 | 197634 | 197734 | 100 | 8 | 423 | 53.4
9 | 778 | 900 | 122 | 9 | 3085 | 3085 | 0 | 9 | 723768 | 724016 | 248 | 9 | 197734 | 197774 | 40 | 9 | 410 | 45.6
10 | 900 | 1022 | 122 | 10 | 3085 | 3085 | 0 | 10 | 724016 | 724251 | 235 | 10 | 197774 | 197832 | 58 | 10 | 415 | 41.7
11 | 1022 | 1106 | 84 | 11 | 3085 | 3085 | 0 | 11 | 724251 | 724473 | 222 | 11 | 197832 | 197922 | 90 | 11 | 396 | 43.7
12 | 1106 | 1234 | 128 | 12 | 3085 | 3085 | 0 | 12 | 724473 | 724658 | 185 | 12 | 197922 | 197950 | 28 | 12 | 341 | 42.7
13 | 1234 | 1285 | 51 | 13 | 3085 | 3085 | 0 | 13 | 724658 | 724864 | 206 | 13 | 197950 | 198038 | 88 | 13 | 345 | 43.7
14 | 1285 | 1388 | 103 | 14 | 3085 | 3085 | 0 | 14 | 724864 | 725114 | 250 | 14 | 198038 | 198083 | 45 | 14 | 398 | 39.8
15 | 1388 | 1510 | 122 | 15 | 3085 | 3085 | 0 | 15 | 725114 | 725359 | 245 | 15 | 198083 | 198171 | 88 | 15 | 455 | 39.8
16 | 1510 | 1615 | 105 | 16 | 3085 | 3085 | 0 | 16 | 725359 | 725570 | 211 | 16 | 198171 | 198275 | 104 | 16 | 420 | 41
17 | 1615 | 1740 | 125 | 17 | 3085 | 3085 | 0 | 17 | 725570 | 725809 | 239 | 17 | 198275 | 198365 | 90 | 17 | 454 | 42.7
18 | 1740 | 1824 | 84 | 18 | 3085 | 3085 | 0 | 18 | 725809 | 726046 | 237 | 18 | 198365 | 198460 | 95 | 18 | 416 | 43.7
19 | 1824 | 1910 | 86 | 19 | 3085 | 3085 | 0 | 19 | 726046 | 726248 | 202 | 19 | 198460 | 198564 | 104 | 19 | 392 | 47.6
20 | 1910 | 2045 | 135 | 20 | 3085 | 3085 | 0 | 20 | 726248 | 726448 | 200 | 20 | 198564 | 198630 | 66 | 20 | 401 | 0
21 | 2045 | 2165 | 120 | 21 | 3085 | 3085 | 0 | 21 | 726448 | 726654 | 206 | 21 | 198630 | 198712 | 82 | 21 | 408 | 0
22 | 2165 | 0 | -2165 | 22 | 3085 |  | -3085 | 22 | 726654 |  | -726654 | 22 | 198712 |  | -198712 | 22 | -930616 | 0
23 | 0 | 0 | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0
24 | 0 | 0 | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0
25 | 0 | 0 | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0
26 | 0 | 0 | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0
27 | 0 | 0 | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0
28 | 0 | 0 | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0
29 | 0 | 0 | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 91.3
30 | 0 | 0 | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 8.3
31 | 0 | 0 | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 | 0
Total |  |  | 71 | Total |  |  | -3085 | Total |  |  | -721913 | Total |  |  | -196992 |  |  | 1001
32.2903
Note on B6: Aboobakuru.Moosa: 1521.8 last month end total 105m3
Note on C6: Aboobakuru.Moosa: New Meter reading

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-03-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-03-01 | [5 empty] | 180
1 | 0 | 4 | 2 | 0 | 6 | 270 | 2.5355
2 | 3 | 0 | 0 | 5 | 8 | 360 | 78.6
3 | 2 | 0 | 1 | 0 | 3 | 135 | 71.8
4 | 1 | 1 | 0 | 5 | 7 | 315 | 69.9
5 | 0 | 0 | 1 | 0 | 1 | 45 | 61.2
6 | 1 | 0 | 1 | 5 | 7 | 315 | 60.2
7 | 0 | 0 | 0 | 0 | 0 | 0 | 55.3
8 | 4 | 2 | 1 | 5 | 12 | 540 | 53.4
9 | 0 | 0 | 0 | 0 | 0 | 0 | 45.6
10 | 2 | 0 | 1 | 5 | 8 | 360 | 41.7
11 | 0 | 0 | 0 | 0 | 0 | 0 | 43.7
12 | 0 | 0 | 0 | 4 | 4 | 180 | 42.7
13 | 2 | 0 | 1 | 0 | 3 | 135 | 43.7
14 | 0 | 0 | 0 | 5 | 5 | 225 | 39.8
15 | 3 | 2 | 0 | 0 | 5 | 225 | 39.8
16 | 1 | 0 | 1 | 5 | 7 | 315 | 41
17 | 0 | 0 | 0 | 0 | 0 | 0 | 42.7
18 | 2 | 0 | 1 | 5 | 8 | 360 | 43.7
19 | 0 | 0 | 0 | 0 | 0 | 0 | 47.6
20 | 2 | 2 | 2 | 5 | 11 | 495 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 49 | 95 | 4275 | 30.8312

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 2987 | 13818 | 8502 | 3018 | 2137 | 30462
| 2 | 3704 | 12899 | 7142 | 3843 | 3686 | 31274
| 3 | 3861 | 13118 | 405 | 2607 | 10275 | 30266
| 4 | 10000 | 7080 | 5121 | 2108 | 4786 | 29095
| 5 | 4096 | 13814 | 6735 | 2661 | 3065 | 30371
| 6 | 3824 | 12365 | 6919 | 4115 | 3854 | 31077
| 7 | 5406 | 12160 | 6757 | 2447 | 4109 | 30879
| 8 | 11370 | 122 | 6889 | 635 | 11399 | 30415
| 9 | 1640 | 17206 | 8255 | 2906 | 1003 | 31010
| 10 | 8598 | 4223 | 6329 | 2065 | 6844 | 28059
| 11 | 10634 | 0 | 7401 | 2641 | 4139 | 24815
| 12 | 6064 | 7872 | 5955 | 442 | 6060 | 26393
| 13 | 0 | 18168 | 6508 | 2878 | 0 | 27554
| 14 | 0 | 12436 | 6693 | 2714 | 7510 | 29353
| 15 | 0 | 12723 | 7972 | 2725 | 5932 | 29352
| 16 | 0 | 12238 | 8034 | 2219 | 5677 | 28168
| 17 | 0 | 12186 | 7053 | 3395 | 5728 | 28362
| 18 | 0 | 9569 | 8033 | 2771 | 8408 | 28781
| 19 | 0 | 7560 | 8851 | 3826 | 9050 | 29287
| 20 | 0 | 13926 | 9694 | 2217 | 3430 | 29267
| 21 | -17082256 | -29138812 | -12741421 | -11520863 | -17848426 | -88331778
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | -17010072 | -28925329 | -12602173 | -11468630 | -17741334

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 30462 | 8470 | 3074 | 270 | 418 | 78.6 | 3.5965 | 33536
2 | 31274 | 8650 | 3257 | 360 | 386 | 78.6 | 3.6155 | 34531
3 | 30266 | 8340 | 3651 | 135 | 452 | 71.8 | 3.629 | 33917
4 | 29095 | 8260 | 2690 | 315 | 435 | 69.9 | 3.5224 | 31785
5 | 30371 | 8550 | 3273 | 45 | 444 | 61.2 | 3.5522 | 33644
6 | 31077 | 8670 | 3257 | 315 | 477 | 60.2 | 3.5844 | 34334
7 | 30879 | 8570 | 3200 | 0 | 411 | 55.3 | 3.6032 | 34079
8 | 30415 | 8480 | 3134 | 540 | 423 | 53.4 | 3.5867 | 33549
9 | 31010 | 8620 | 1708 | 0 | 410 | 45.6 | 3.5974 | 32718
10 | 28059 | 8020 | 1299 | 360 | 415 | 41.7 | 3.4986 | 29358
11 | 24815 | 6800 | 2321 | 0 | 396 | 43.7 | 3.6493 | 27136
12 | 26393 | 7410 | 2438 | 180 | 341 | 42.7 | 3.5618 | 28831
13 | 27554 | 7770 | 3214 | 135 | 345 | 43.7 | 3.5462 | 30768
14 | 29353 | 8210 | 2994 | 225 | 398 | 39.8 | 3.5753 | 32347
15 | 29352 | 7940 | 3100 | 225 | 455 | 39.8 | 3.6967 | 32452
16 | 28168 | 7990 | 3334 | 315 | 420 | 41 | 3.5254 | 31502
17 | 28362 | 7860 | 3038 | 0 | 454 | 42.7 | 3.6084 | 31400
18 | 28781 | 7840 | 3112 | 360 | 416 | 43.7 | 3.671 | 31893
19 | 29287 | 7910 | 3205 | 0 | 392 | 47.6 | 3.7025 | 32492
20 | 29267 | 8100 | 3164 | 495 | 401 | 0 | 3.6132 | 32431
21 | -88331778 | -43505680 | -2471364 | 0 | 408 | 0 | 2.0304 | -90803142
22 | 0 | 0 | 0 | 0 | -930616 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
Total | -87747538 | -43343220 | -2412901 | 4275 | -921919 |  |  | -90160439