## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 5 | 2021 | 30133 | 0.93 | 225 | 1.24 | 418 | 1.72 | 45 | 318
Maldives at Landaa Giraavaru | 2 | 5 | 2021 | 31397 | 0.93 | 0 | 1.24 | 361 | 1.72 | 48 | 391
Maldives at Landaa Giraavaru | 3 | 5 | 2021 | 30147 | 0.93 | 90 | 1.24 | 385 | 1.72 | 34 | 252
Maldives at Landaa Giraavaru | 4 | 5 | 2021 | 28804 | 0.93 | 45 | 1.24 | 368 | 1.72 | 54 | 379
Maldives at Landaa Giraavaru | 5 | 5 | 2021 | 30365 | 0.93 | 0 | 1.24 | 356 | 1.72 | 53 | 402
Maldives at Landaa Giraavaru | 6 | 5 | 2021 | 29900 | 0.93 | 0 | 1.24 | 379 | 1.72 | 45 | 427
Maldives at Landaa Giraavaru | 7 | 5 | 2021 | 30587 | 0.93 | 0 | 1.24 | 417 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 8 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 390 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 9 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 10 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 11 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 12 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 5 | 2021 | 0 | 0.93 | 0 | 2.24 | 0 | 2.72 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 5 | 2021 | 0 | 1.93 | 0 | 3.24 | 0 | 3.72 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 5 | 2021 | 0 | 2.93 | 0 | 4.24 | 0 | 4.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-04-30 | 89581707 | 30577 | 0 | 90 | 946438 | 423
2021-05-01 | 89611840 | 30133 | 225 | 225 | 946813 | 418 | 45 | 318
2021-05-02 | 89643237 | 31397 | 180 | 0 | 947174 | 361 | 48 | 391
2021-05-03 | 89673384 | 30147 | 270 | 90 | 947559 | 385 | 34 | 252
2021-05-04 | 89702188 | 28804 | 315 | 45 | 947927 | 368 | 54 | 379
2021-05-05 | 89732553 | 30365 | 0 | 0 | 948283 | 356 | 53 | 402
2021-05-06 | 89762453 | 29900 | 0 | 0 | 948662 | 379 | 45 | 427
2021-05-07 | 89793040 | 30587 | 0 | 0 | 949079 | 417
2021-05-08 | 0 | 0 | 0 | 0 | 949469 | 390
2021-05-09 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-10 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-11 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-12 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-13 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-14 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-15 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-16 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-17 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-18 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-31 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | May
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather
1 | 30133 | 8220 | 3180 | 225 | 291 | 45 | partly sunny
2 | 31397 | 8710 | 3214 | 180 | 361 | 48 | partly sunny
3 | 30147 | 8430 | 2336 | 270 | 385 | 34 | partly cloudy
4 | 28804 | 8070 | 3076 | 315 | 368 | 54 | partly sunny
5 | 30365 | 8200 | 3178 | 0 | 356 | 53 | partly sunny
6 | 29900 | 8570 | 2974 | 0 | 379 | 45 | partlu cloudly
7 | 30587 | 8380 | 2854 | 0 | 417 | 0 | partly cloudy
8 | -89793040 | -43908800 | -2617514 | 0 | 390 | 0 | 0
9 | 0 | 0 | 0 | 0 | -949469 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | -89581707 | -43850220 | -2596702 | 990 | -946522 | 9.3
Avg | -2986056.9 | -1461674 | -86556.7333 | 33 | -30532.9677
Note on G38: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-05-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17082256 | 17082256 | 0
2 | 17082256 | 17082256 | 0
3 | 17082256 | 17082256 | 0
4 | 17082256 | 17082256 | 0
5 | 17082256 | 17083389 | 1133
6 | 17083389 | 17086149 | 2760
7 | 17086149 | 17086941 | 792
8 | 17086941 |  | -17086941
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -17082256 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-05-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 29671872 | 29685141 | 13269
2 | 29685141 | 29698820 | 13679
3 | 29698820 | 29712638 | 13818
4 | 29712638 | 29724999 | 12361
5 | 29724999 | 29736711 | 11712
6 | 29736711 | 29747996 | 11285
7 | 29747996 | 29759772 | 11776
8 | 29759772 |  | -29759772
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -29671872

## GENSET #3
900 KVA
NO#3
2021-05-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 13036646 | 13046723 | 10077
2 | 13046723 | 13050027 | 3304
3 | 13050027 | 13060064 | 10037
4 | 13060064 | 13065269 | 5205
5 | 13065269 | 13072553 | 7284
6 | 13072553 | 13076609 | 4056
7 | 13076609 | 13087086 | 10477
8 | 13087086 |  | -13087086
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -13036646

## GENSET #4
500 KVA
NO#4
2021-05-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11639934 | 11643159 | 3225
2 | 11643159 | 11645947 | 2788
3 | 11645947 | 11649082 | 3135
4 | 11649082 | 11651119 | 2037
5 | 11651119 | 11654066 | 2947
6 | 11654066 | 11656700 | 2634
7 | 11656700 | 11660022 | 3322
8 | 11660022 |  | -11660022
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -11639934

## GENSET #5
1000 KVA
NO#5
2021-05-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 18150999 | 18154561 | 3562
2 | 18154561 | 18166187 | 11626
3 | 18166187 | 18169344 | 3157
4 | 18169344 | 18178545 | 9201
5 | 18178545 | 18185834 | 7289
6 | 18185834 | 18194999 | 9165
7 | 18194999 | 18199219 | 4220
8 | 18199219 |  | -18199219
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -18150999

## Diesel consumption
Diesel Consumption
2021-05-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 43850220 | 43858440 | 8220 |  |  | 41.1 | 22029.6 | 22.0296
2 | 43858440 | 43867150 | 8710 |  |  | 43.55 | 23342.8 | 23.3428
3 | 43867150 | 43875580 | 8430 |  |  | 42.15 | 22592.4 | 22.5924
4 | 43875580 | 43883650 | 8070 |  |  | 40.35 | 21627.6 | 21.6276
5 | 43883650 | 43891850 | 8200 |  |  | 41 | 21976 | 21.976
6 | 43891850 | 43900420 | 8570 |  |  | 42.85 | 22967.6 | 22.9676
7 | 43900420 | 43908800 | 8380 |  |  | 41.9 | 22458.4 | 22.4584
8 | 43908800 |  | -43908800 |  |  | -219544 | -117675584 | -117675.584
9 | 0 |  | 0 |  |  | 0 | 0 | 0
10 | 0 |  | 0 |  |  | 0 | 0 | 0
11 | 0 |  | 0 |  |  | 0 | 0 | 0
12 | 0 |  | 0 |  |  | 0 | 0 | 0
13 | 0 |  | 0 |  |  | 0 | 0 | 0
14 | 0 |  | 0 |  |  | 0 | 0 | 0
15 | 0 |  | 0 |  |  | 0 | 0 | 0
16 | 0 |  | 0 |  |  | 0 | 0 | 0
17 | 0 |  | 0 |  |  | 0 | 0 | 0
18 | 0 |  | 0 |  |  | 0 | 0 | 0
19 | 0 |  | 0 |  |  | 0 | 0 | 0
20 | 0 |  | 0 |  |  | 0 | 0 | 0
21 | 0 |  | 0 |  |  | 0 | 0 | 0
22 | 0 |  | 0 |  |  | 0 | 0 | 0
23 | 0 |  | 0 |  |  | 0 | 0 | 0
24 | 0 |  | 0 |  |  | 0 | 0 | 0
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
|  |  | -43850220 |  |  | -219251.1 | -117518589.6 | -117518.5896

## SOLAR METER READING
solar reading
2021-05-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2596702 | 2599882 | 3180 | partly sunny
2 | 2599882 | 2603096 | 3214 | partly sunny
3 | 2603096 | 2605432 | 2336 | partly cloudy
4 | 2605432 | 2608508 | 3076 | partly sunny
5 | 2608508 | 2611686 | 3178 | partly sunny | 1 liter diesel | 11.1 kwh
6 | 2611686 | 2614660 | 2974 | partlu cloudly | 212.88 diesel | 2363 kwh
7 | 2614660 | 2617514 | 2854 | partly cloudy
8 | 2617514 |  | -2617514
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
Total |  |  | -2596702

## FEEDER Consumption
2021-05-01
POWER HOUSE FEEDER READING
| BLU FEEDER PANEL 1 |  |  |  |  | BLU FEEDER PANEL 2 |  |  |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25532712 | 25536808 | 4096 |  |  | 22576918 | 22582098 | 5180 |  |  | 85421095 | 85436113 | 15018 |  |  | 1966900 | 1968900 | 2000 | 2662097 | 2664993 | 2896 | 1618900 | 1620600 | 1700 | 734522 | 735223 | 701 | 7600100 | 7607100 | 7000 | 1732600 | 1733800 | 1200 | 494210 | 494652 | 442 | 360610 | 361070 | 460 | 628570 | 629570 | 1000 | 1136100 | 1137600 | 1500 | 725910 | 727000 | 1090 | 626490 | 626890 | 400 | 596350 | 598180 | 1830 | 457080 | 458360 | 1280 | 1326100 | 1331000 | 4900 | 29873 | 30083 | 210 | 23966 | 24227 | 261 | 21609 | 21760 | 151 | 33989 | 34228 | 239 | 25598 | 25857 | 259 | 24150 | 24309 | 159 | 16546 | 16640 | 94 | 44409 | 44672 | 263 | 32323 | 32462 | 139 | 97564 | 98073 | 509 | 77254 | 78016 | 762 | 16706 | 16803 | 97 | 202860 | 210970 | 8110
2 | 25536808 | 25540997 | 4189 | 93 | 13.342 | 22582098 | 22587381 | 5283 | 103 | 16.8264 | 85436113 | 85452122 | 16009 | 991 | 50.9889 | 1968900 | 1971000 | 2100 | 2664993 | 2667886 | 2893 | 1620600 | 1622400 | 1800 | 735223 | 736018 | 795 | 7607100 | 7614500 | 7400 | 1733800 | 1735100 | 1300 | 494652 | 495105 | 453 | 361070 | 361480 | 410 | 629570 | 630630 | 1060 | 1137600 | 1139200 | 1600 | 727000 | 728130 | 1130 | 626890 | 627530 | 640 | 598180 | 599950 | 1770 | 458360 | 459700 | 1340 | 1331000 | 1336100 | 5100 | 30083 | 30182 | 99 | 24227 | 24304 | 77 | 21760 | 21822 | 62 | 34228 | 34346 | 118 | 25857 | 25979 | 122 | 24309 | 24384 | 75 | 16640 | 16686 | 46 | 44672 | 44781 | 109 | 32462 | 32528 | 66 | 98073 | 98334 | 261 | 78016 | 78413 | 397 | 16803 | 16841 | 38 | 210970 | 215130 | 4160
3 | 25540997 | 25544804 | 3807 | -382 | 12.6281 | 22587381 | 22592255 | 4874 | -409 | 16.1674 | 85452122 | 85467711 | 15589 | -420 | 51.71 | 1971000 | 1973000 | 2000 | 2667886 | 2670757 | 2871 | 1622400 | 1624200 | 1800 | 736018 | 736831 | 813 | 7614500 | 7621100 | 6600 | 1735100 | 1736500 | 1400 | 495105 | 495543 | 438 | 361480 | 361980 | 500 | 630630 | 631730 | 1100 | 1139200 | 1140800 | 1600 | 728130 | 729280 | 1150 | 627530 | 631240 | 3710 | 599950 | 601740 | 1790 | 459700 | 460950 | 1250 | 1336100 | 1340800 | 4700 | 30182 | 30268 | 86 | 24304 | 24381 | 77 | 21822 | 21878 | 56 | 34346 | 34463 | 117 | 25979 | 26091 | 112 | 24384 | 24465 | 81 | 16686 | 16732 | 46 | 44781 | 44913 | 132 | 32528 | 32594 | 66 | 98334 | 98598 | 264 | 78413 | 78841 | 428 | 16841 | 16898 | 57 | 215130 | 218430 | 3300
4 | 25544804 | 25548484 | 3680 | -127 | 12.776 | 22592255 | 22596872 | 4617 | -257 | 16.029 | 85467711 | 85482286 | 14575 | -1014 | 50.6006 | 1973000 | 1975100 | 2100 | 2670757 | 2673580 | 2823 | 1624200 | 1625700 | 1500 | 736831 | 737577 | 746 | 7621100 | 7627400 | 6300 | 1736500 | 1738000 | 1500 | 495543 | 495952 | 409 | 361980 | 362430 | 450 | 631730 | 632650 | 920 | 1140800 | 1142200 | 1400 | 729280 | 730280 | 1000 | 631240 | 631740 | 500 | 601740 | 603270 | 1530 | 460950 | 462230 | 1280 | 1340800 | 1345100 | 4300 | 30268 | 30380 | 112 | 24381 | 24472 | 91 | 21878 | 21948 | 70 | 34463 | 34578 | 115 | 26091 | 26216 | 125 | 24465 | 24549 | 84 | 16732 | 16777 | 45 | 44913 | 45198 | 285 | 32594 | 32668 | 74 | 98598 | 98881 | 283 | 78841 | 79248 | 407 | 16898 | 16949 | 51 | 218430 | 221950 | 3520
5 | 25548484 | 25552440 | 3956 | 276 | 13.0282 | 22596872 | 22601861 | 4989 | 372 | 16.4301 | 85482286 | 85497398 | 15112 | 537 | 49.7678 | 1975100 | 1977100 | 2000 | 2673580 | 2676481 | 2901 | 1625700 | 1627500 | 1800 | 737577 | 738347 | 770 | 7627400 | 7634400 | 7000 | 1738000 | 1739400 | 1400 | 495952 | 496399 | 447 | 362430 | 362860 | 430 | 632650 | 633580 | 930 | 1142200 | 1143700 | 1500 | 730280 | 731310 | 1030 | 631740 | 632940 | 1200 | 603270 | 605040 | 1770 | 462230 | 463460 | 1230 | 1345100 | 1349400 | 4300 | 30380 | 30401 | 21 | 24472 | 24511 | 39 | 21948 | 22001 | 53 | 34578 | 34612 | 34 | 26216 | 26291 | 75 | 24549 | 24612 | 63 | 16777 | 16801 | 24 | 45198 | 45330 | 132 | 32668 | 32600 | -68 | 98881 | 98991 | 110 | 79248 | 79615 | 367 | 16949 | 16991 | 42 | 221950 | 224110 | 2160
6 | 25552440 | 25556240 | 3800 | -156 | 12.709 | 22601861 | 22606998 | 5137 | 148 | 17.1806 | 85497398 | 85512707 | 15309 | 197 | 51.2007 | 1977100 | 1979200 | 2100 | 2676481 | 2679281 | 2800 | 1627500 | 1629400 | 1900 | 738347 | 739125 | 778 | 7634400 | 7641300 | 6900 | 1739400 | 1740800 | 1400 | 496399 | 496808 | 409 | 362860 | 363310 | 450 | 633580 | 634570 | 990 | 1143700 | 1145200 | 1500 | 731310 | 732360 | 1050 | 632940 | 634840 | 1900 | 605040 | 607010 | 1970 | 463460 | 464770 | 1310 | 1349400 | 1354100 | 4700 | 30401 | 30480 | 79 | 24511 | 24556 | 45 | 22001 | 22043 | 42 | 34612 | 34700 | 88 | 26291 | 26347 | 56 | 24612 | 24643 | 31 | 16801 | 16825 | 24 | 45330 | 45462 | 132 | 32600 | 32736 | 136 | 98991 | 99138 | 147 | 79615 | 79611 | -4 | 16991 | 16999 | 8 | 224110 | 225370 | 1260
7 | 25556240 | 25560028 | 3788 | -12 | 12.3843 | 22606998 | 22611897 | 4899 | -238 | 16.0166 | 85512707 | 85528586 | 15879 | 570 | 51.9142 | 1979200 | 1981300 | 2100 | 2679281 | 2682089 | 2808 | 1629400 | 1631600 | 2200 | 739125 | 739904 | 779 | 7641300 | 7648000 | 6700 | 1740800 | 1742300 | 1500 | 496808 | 497283 | 475 | 363310 | 363740 | 430 | 634570 | 635570 | 1000 | 1145200 | 1146800 | 1600 | 732360 | 733460 | 1100 | 634840 | 635590 | 750 | 607010 | 608540 | 1530 | 464770 | 466050 | 1280 | 1354100 | 1359100 | 5000 | 30480 | 30584 | 104 | 24556 | 24641 | 85 | 22043 | 22079 | 36 | 34700 | 34817 | 117 | 26347 | 26459 | 112 | 24643 | 24689 | 46 | 16825 | 16870 | 45 | 45462 | 45601 | 139 | 32736 | 32805 | 69 | 99138 | 99394 | 256 | 79611 | 79955 | 344 | 16999 | 17043 | 44 | 225370 | 228700 | 3330
8 | 25560028 |  | -25560028 | -25563816 | 28.4655 | 22611897 |  | -22611897 | -22616796 | 25.1822 | 85528586 |  | -85528586 | -85544465 | 95.2508 | 1981300 |  | -1981300 | 2682089 |  | -2682089 | 1631600 |  | -1631600 | 739904 |  | -739904 | 7648000 |  | -7648000 | 1742300 |  | -1742300 | 497283 |  | -497283 | 363740 |  | -363740 | 635570 |  | -635570 | 1146800 |  | -1146800 | 733460 |  | -733460 | 635590 |  | -635590 | 608540 |  | -608540 | 466050 |  | -466050 | 1359100 |  | -1359100 | 30584 |  | -30584 | 24641 |  | -24641 | 22079 |  | -22079 | 34817 |  | -34817 | 26459 |  | -26459 | 24689 |  | -24689 | 16870 |  | -16870 | 45601 |  | -45601 | 32805 |  | -32805 | 99394 |  | -99394 | 79955 |  | -79955 | 17043 |  | -17043 | 228700 |  | -228700
9 | 0 |  | 0 | 25560028 | #DIV/0! | 0 |  | 0 | 22611897 | #DIV/0! | 0 |  | 0 | 85528586 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
10 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
11 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
12 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
13 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
14 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
15 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
16 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
17 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25532712 |  |  |  |  | -22576918 |  |  |  |  | -85421095 |  |  |  |  | -1966900 |  |  | -2662097 |  |  | -1618900 |  |  | -734522 |  |  | -7600100 |  |  | -1732600 |  |  | -494210 |  |  | -360610 |  |  | -628570 |  |  | -1136100 |  |  | -725910 |  |  | -626490 |  |  | -596350 |  |  | -457080 |  |  | -1326100 |  |  | -29873 |  |  | -23966 |  |  | -21609 |  |  | -33989 |  |  | -25598 |  |  | -24150 |  |  | -16546 |  |  | -44409 |  |  | -32323 |  |  | -97564 |  |  | -77254 |  |  | -16706 |  |  | -202860

## WATER
RO Plant Water Production Reading | [19 empty] | Water Consumption by locations
Month |  | 2021-05-01 | [17 empty] | Date: |  |  |  | 2021-04-13
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production |  |  |  | Laundry |  |  |  | Staff Block - E0 |  |  | Staff Block - E1 |  |  | Staff Block - E2 |  |  | Staff Block - E3 |  |  | Staff Block - E4 |  |  | Staff Block - E5 |  |  | Management Block |  |  | PC Block |  |  | GM Bungalow |  |  | Boat Dock |  |  | Supply Jetty |  |  | Main Kitchen |  |  | Day Facility |  |  | Reception |  |  | Main Pool |  |  | Dive Center |  |  | Albarakthu |  |  | Blu Resturant |  |  | Main Jetty |  |  | Landaa Estate
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $ | DAY | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage
1 | 6146 | 6264 | 34 | 1 | 3418 | 3418 | 0 | 1 | 735063 | 735257 | 194 | 1 | 201811 | 201874 | 63 | 1 | 291 | 45 |  | 1 | 35804 | 35824 | 20 | 7532 | 7544 | 12 | 5202 | 5202 | 0 | 13166 | 13179 | 13 | 31413 | 31421 | 8 | 5604 | 5610 | 6 | 21244 | 21256 | 12 | 5509 | 5516 | 7 | 3242 | 3243 | 1 | 1505 | 1506 | 1 | 26451 | 26451 | 0 | 2261 | 2261 | 0 | 69860 | 69881 | 21 | 22964 | 22967 | 3 | 12323 | 12323 | 0 | 16700 | 16708 | 8 | 19209 | 19211 | 2 | 8202 | 8205 | 3 | 16920 | 16935 | 15 | 1666 | 1667 | 1 | 9286 | 9292 | 6
2 | 6264 | 6386 | 122 | 2 | 3418 | 3418 | 0 | 2 | 735257 | 735453 | 196 | 2 | 201874 | 201917 | 43 | 2 | 361 | 48 |  | 2 | 35824 | 35843 | 19 | 7544 | 7550 | 6 | 5202 | 5202 | 0 | 13179 | 13193 | 14 | 31421 | 31429 | 8 | 5610 | 5617 | 7 | 21256 | 21268 | 12 | 5516 | 5523 | 7 | 3243 | 3244 | 1 | 1506 | 1507 | 1 | 26451 | 26452 | 1 | 2261 | 2263 | 2 | 69881 | 69904 | 23 | 22967 | 22970 | 3 | 12323 | 12324 | 1 | 16708 | 16714 | 6 | 19211 | 19214 | 3 | 8205 | 8207 | 2 | 16935 | 16951 | 16 | 1667 | 1669 | 2 | 9292 | 9297 | 5
3 | 6386 | 6499 | 113 | 3 | 3418 | 3418 | 0 | 3 | 735453 | 735645 | 192 | 3 | 201917 | 201997 | 80 | 3 | 385 | 34 |  | 3 | 35843 | 35864 | 21 | 7550 | 7558 | 8 | 5202 | 5211 | 9 | 13193 | 13207 | 14 | 31429 | 31437 | 8 | 5617 | 5625 | 8 | 21268 | 21280 | 12 | 5523 | 5531 | 8 | 3244 | 3246 | 2 | 1507 | 1508 | 1 | 26452 | 26453 | 1 | 2263 | 2263 | 0 | 69904 | 69926 | 22 | 22970 | 22972 | 2 | 12324 | 12325 | 1 | 16714 | 16721 | 7 | 19214 | 19217 | 3 | 8207 | 8212 | 5 | 16951 | 16967 | 16 | 1669 | 1670 | 1 | 9297 | 9304 | 7
4 | 6499 | 6555 | 56 | 4 | 3418 | 3418 | 0 | 4 | 735645 | 735857 | 212 | 4 | 201997 | 202097 | 100 | 4 | 368 | 54 |  | 4 | 35864 | 35884 | 20 | 7558 | 7565 | 7 | 5211 | 5220 | 9 | 13207 | 13221 | 14 | 31437 | 31444 | 7 | 5625 | 5631 | 6 | 21280 | 21292 | 12 | 5531 | 5538 | 7 | 3246 | 3247 | 1 | 1508 | 1509 | 1 | 26453 | 26456 | 3 | 2263 | 2268 | 5 | 69926 | 69951 | 25 | 22972 | 22974 | 2 | 12325 | 12326 | 1 | 16721 | 16726 | 5 | 19217 | 19219 | 2 | 8212 | 8215 | 3 | 16967 | 16982 | 15 | 1670 | 1672 | 2 | 9304 | 9311 | 7
5 | 6555 | 6681 | 126 | 5 | 3418 | 3418 | 0 | 5 | 735857 | 736049 | 192 | 5 | 202097 | 202135 | 38 | 5 | 356 | 53 |  | 5 | 35884 | 35904 | 20 | 7565 | 7572 | 7 | 5220 | 5228 | 8 | 13221 | 13233 | 12 | 31444 | 31452 | 8 | 5631 | 5638 | 7 | 21292 | 21305 | 13 | 5538 | 5546 | 8 | 3247 | 3248 | 1 | 1509 | 1509 | 0 | 26456 | 26456 | 0 | 2268 | 2268 | 0 | 69951 | 69976 | 25 | 22974 | 22977 | 3 | 12326 | 12326 | 0 | 16726 | 16727 | 1 | 19219 | 19222 | 3 | 8215 | 8217 | 2 | 16982 | 17000 | 18 | 1672 | 1673 | 1 | 9311 | 9317 | 6
6 | 6681 | 6783 | 102 | 6 | 3418 | 3418 | 0 | 6 | 736049 | 736237 | 188 | 6 | 202135 | 202224 | 89 | 6 | 379 | 45 |  | 6 | 35904 | 35924 | 20 | 7572 | 7578 | 6 | 5228 | 5238 | 10 | 13233 | 13244 | 11 | 31452 | 31459 | 7 | 5638 | 5645 | 7 | 21305 | 21317 | 12 | 5546 | 5553 | 7 | 3248 | 3249 | 1 | 1509 | 1509 | 0 | 26456 | 26458 | 2 | 2268 | 2271 | 3 | 69976 | 70000 | 24 | 22977 | 22979 | 2 | 12326 | 12326 | 0 | 16727 | 16751 | 24 | 19222 | 19225 | 3 | 8217 | 8220 | 3 | 17000 | 17020 | 20 | 1673 | 1678 | 5 | 9317 | 9325 | 8
7 | 6783 | 6907 | 124 | 7 | 3418 | 3418 | 0 | 7 | 736237 | 736435 | 198 | 7 | 202224 | 202319 | 95 | 7 | 417 | 0 |  | 7 | 35924 | 35948 | 24 | 7578 | 7584 | 6 | 5238 | 5247 | 9 | 13244 | 13257 | 13 | 31459 | 31466 | 7 | 5645 | 5652 | 7 | 21317 | 21329 | 12 | 5553 | 5560 | 7 | 3249 | 3250 | 1 | 1509 | 1509 | 0 | 26458 | 26460 | 2 | 2271 | 2275 | 4 | 70000 | 70025 | 25 | 22979 | 22981 | 2 | 12326 | 12327 | 1 | 16751 | 16764 | 13 | 19225 | 19228 | 3 | 8220 | 8223 | 3 | 17020 | 17044 | 24 | 1678 | 1680 | 2 | 9325 | 9335 | 10
8 | 6907 | 7001 | 94 | 8 | 3418 | 3418 | 0 | 8 | 736435 | 736627 | 192 | 8 | 202319 | 202423 | 104 | 8 | 390 | 0 |  | 8 | 35948 |  | -35948 | 7584 |  | -7584 | 5247 |  | -5247 | 13257 |  | -13257 | 31466 |  | -31466 | 5652 |  | -5652 | 21329 |  | -21329 | 5560 |  | -5560 | 3250 |  | -3250 | 1509 |  | -1509 | 26460 |  | -26460 | 2275 |  | -2275 | 70025 |  | -70025 | 22981 |  | -22981 | 12327 |  | -12327 | 16764 |  | -16764 | 19228 |  | -19228 | 8223 |  | -8223 | 17044 |  | -17044 | 1680 |  | -1680 | 9335 |  | -9335
9 | 7001 |  | -7001 | 9 | 3418 |  | -3418 | 9 | 736627 |  | -736627 | 9 | 202423 |  | -202423 | 9 | -949469 | 0 |  | 9 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
10 | 0 |  | 0 | 10 | 0 |  | 0 | 10 | 0 |  | 0 | 10 | 0 |  | 0 | 10 | 0 | 0 |  | 10 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
11 | 0 |  | 0 | 11 | 0 |  | 0 | 11 | 0 |  | 0 | 11 | 0 |  | 0 | 11 | 0 | 0 |  | 11 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 | 0 |  | 12 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 | 0 |  | 13 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 | 0 |  | 14 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 | 0 |  | 15 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 | 0 |  | 16 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 | 0 |  | 17 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 | 0 |  | 18 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 | 0 |  | 19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 | 0 |  | 20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 | 0 |  | 21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 | 0 |  | 22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0 |  | 23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0 |  | 24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0 |  | 25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0 |  | 26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0 |  | 27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0 |  | 28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 30 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
31 | 0 |  |  | 31 | 0 |  |  | 31 | 0 |  |  | 31 | 0 |  |  | 31 | 0 | 0 |  | 31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -6230 | Total |  |  | -3418 | Total |  |  | -735063 | Total |  |  | -201811 |  |  | 279
9
Note on V5: Faisal Ibrahim: Average 400 cubic meter
Note on AC5: Faisal Ibrahim: AVERAGE 31 CUBIC
Note on AF5: Faisal Ibrahim: AVG 6 CUBIC METER
Note on AI5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AL5: Faisal Ibrahim: AVG 13 CUBIC METER
Note on AO5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AR5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AU5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AX5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on BA5: Faisal Ibrahim: AVG 2
Note on BD5: Faisal Ibrahim: AVG 1
Note on BG5: Faisal Ibrahim: AVG 1.6 CUBIC METER
Note on BJ5: Faisal Ibrahim: AVG 2.5 CUBIC METER
Note on BM5: Faisal Ibrahim: AVG 33
Note on BP5: Faisal Ibrahim: AVG 3
Note on BS5: Faisal Ibrahim: AVG 1
Note on BV5: Faisal Ibrahim: AVG 5
Note on BY5: Faisal Ibrahim: AVG 4
Note on CB5: Faisal Ibrahim: AVG 2
Note on CE5: Faisal Ibrahim: AVG 20
Note on CH5: Faisal Ibrahim: AVG 2.3
Note on CK5: Faisal Ibrahim: AVG 2

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-05-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-04-30
1 | 2 | 0 | 1 | 2 | 5 | 225 | 45
2 | 2 | 1 | 1 | 0 | 4 | 180 | 48
3 | 2 | 0 | 1 | 3 | 6 | 270 | 34
4 | 2 | 1 | 1 | 3 | 7 | 315 | 54
5 |  |  |  |  | 0 | 0 | 53
6 |  |  |  |  | 0 | 0 | 45
7 |  |  |  |  | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 8 | 22 | 990 | 9.3

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 0 | 13269 | 10077 | 3225 | 3562 | 30133
| 2 | 0 | 13679 | 3304 | 2788 | 11626 | 31397
| 3 | 0 | 13818 | 10037 | 3135 | 3157 | 30147
| 4 | 0 | 12361 | 5205 | 2037 | 9201 | 28804
| 5 | 1133 | 11712 | 7284 | 2947 | 7289 | 30365
| 6 | 2760 | 11285 | 4056 | 2634 | 9165 | 29900
| 7 | 792 | 11776 | 10477 | 3322 | 4220 | 30587
| 8 | -17086941 | -29759772 | -13087086 | -11660022 | -18199219 | -89793040
| 9 | 0 | 0 | 0 | 0 | 0 | 0
| 10 | 0 | 0 | 0 | 0 | 0 | 0
| 11 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTAL |  | #REF! | #REF! | #REF! | #REF! | #REF!

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 30133 | 8220 | 3180 | 225 | 291 | 45 | 3.6658 | 33313
2 | 31397 | 8710 | 3214 | 180 | 361 | 48 | 3.6047 | 34611
3 | 30147 | 8430 | 2336 | 270 | 385 | 34 | 3.5762 | 32483
4 | 28804 | 8070 | 3076 | 315 | 368 | 54 | 3.5693 | 31880
5 | 30365 | 8200 | 3178 | 0 | 356 | 53 | 3.703 | 33543
6 | 29900 | 8570 | 2974 | 0 | 379 | 45 | 3.4889 | 32874
7 | 30587 | 8380 | 2854 | 0 | 417 | 0 | 3.65 | 33441
8 | -89793040 | -43908800 | -2617514 | 0 | 390 | 0 | 2.045 | -92410554
9 | 0 | 0 | 0 | 0 | -949469 | 0 | #DIV/0! | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | #REF! | #REF! | 0 | 0 | 0
Total | -89581707 | #REF! | #REF! | 990 | -946522 |  |  | #REF!