## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 5 | 2021 | 30133 | 0.93 | 225 | 1.24 | 418 | 2.16 | 45 | 318
Maldives at Landaa Giraavaru | 2 | 5 | 2021 | 31397 | 0.93 | 0 | 1.24 | 361 | 2.16 | 48 | 391
Maldives at Landaa Giraavaru | 3 | 5 | 2021 | 30147 | 0.93 | 90 | 1.24 | 385 | 2.16 | 34 | 252
Maldives at Landaa Giraavaru | 4 | 5 | 2021 | 28804 | 0.93 | 45 | 1.24 | 368 | 2.16 | 54 | 379
Maldives at Landaa Giraavaru | 5 | 5 | 2021 | 30365 | 0.93 | 0 | 1.24 | 356 | 2.16 | 53 | 402
Maldives at Landaa Giraavaru | 6 | 5 | 2021 | 29900 | 0.93 | 0 | 1.24 | 379 | 2.16 | 45 | 427
Maldives at Landaa Giraavaru | 7 | 5 | 2021 | 30587 | 0.93 | 0 | 1.24 | 417 | 2.16 | 48 | 376
Maldives at Landaa Giraavaru | 8 | 5 | 2021 | 30219 | 0.93 | 45 | 1.24 | 390 | 2.16 | 47 | 351
Maldives at Landaa Giraavaru | 9 | 5 | 2021 | 30190 | 0.93 | 0 | 1.24 | 381 | 2.16 | 47 | 391
Maldives at Landaa Giraavaru | 10 | 5 | 2021 | 30007 | 0.93 | 0 | 1.24 | 353 | 2.16 | 46 | 342
Maldives at Landaa Giraavaru | 11 | 5 | 2021 | 29374 | 0.93 | 0 | 1.24 | 387 | 2.16 | 46 | 343
Maldives at Landaa Giraavaru | 12 | 5 | 2021 | 29062 | 0.93 | 0 | 1.24 | 328 | 2.16 | 45 | 350
Maldives at Landaa Giraavaru | 13 | 5 | 2021 | 28176 | 0.93 | 0 | 1.24 | 408 | 2.16 | 48 | 422
Maldives at Landaa Giraavaru | 14 | 5 | 2021 | 28460 | 0.93 | 90 | 1.24 | 364 | 2.16 | 46 | 377
Maldives at Landaa Giraavaru | 15 | 5 | 2021 | 29731 | 0.93 | 0 | 1.24 | 331 | 2.16 | 41 | 380
Maldives at Landaa Giraavaru | 16 | 5 | 2021 | 30407 | 0.93 | 135 | 1.24 | 325 | 2.16 | 34 | 323
Maldives at Landaa Giraavaru | 17 | 5 | 2021 | 30934 | 0.93 | 0 | 1.24 | 387 | 2.16 | 31 | 272
Maldives at Landaa Giraavaru | 18 | 5 | 2021 | 30563 | 0.93 | 0 | 1.24 | 358 | 2.16 | 40 | 359
Maldives at Landaa Giraavaru | 19 | 5 | 2021 | 30366 | 0.93 | 135 | 1.24 | 367 | 2.16 | 36 | 304
Maldives at Landaa Giraavaru | 20 | 5 | 2021 | 29240 | 0.93 | 0 | 1.24 | 356 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 320 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 5 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 5 | 2021 | 0 | 0.93 | 0 | 2.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 5 | 2021 | 0 | 1.93 | 0 | 3.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 5 | 2021 | 0 | 2.93 | 0 | 4.24 | 0 | 2.16 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-04-30 | 89581707 | 30577 | 0 | 90 | 946438 | 423
2021-05-01 | 89611840 | 30133 | 225 | 225 | 946813 | 418 | 45 | 318
2021-05-02 | 89643237 | 31397 | 180 | 0 | 947174 | 361 | 48 | 391
2021-05-03 | 89673384 | 30147 | 270 | 90 | 947559 | 385 | 34 | 252
2021-05-04 | 89702188 | 28804 | 315 | 45 | 947927 | 368 | 54 | 379
2021-05-05 | 89732553 | 30365 | 270 | 0 | 948283 | 356 | 53 | 402
2021-05-06 | 89762453 | 29900 | 270 | 0 | 948662 | 379 | 45 | 427
2021-05-07 | 89793040 | 30587 | 270 | 0 | 949079 | 417 | 48 | 376
2021-05-08 | 89823259 | 30219 | 315 | 45 | 949469 | 390 | 47 | 351
2021-05-09 | 89853449 | 30190 | 315 | 0 | 949850 | 381 | 47 | 391
2021-05-10 | 89883456 | 30007 | 270 | 0 | 950203 | 353 | 46 | 342
2021-05-11 | 89912830 | 29374 | 270 | 0 | 950590 | 387 | 46 | 343
2021-05-12 | 89941892 | 29062 | 225 | 0 | 950918 | 328 | 45 | 350
2021-05-13 | 89970068 | 28176 | 180 | 0 | 951326 | 408 | 48 | 422
2021-05-14 | 89998528 | 28460 | 270 | 90 | 951690 | 364 | 46 | 377
2021-05-15 | 90028259 | 29731 | 180 | 0 | 952021 | 331 | 41 | 380
2021-05-16 | 90058666 | 30407 | 315 | 135 | 952346 | 325 | 34 | 323
2021-05-17 | 90089600 | 30934 | 270 | 0 | 952733 | 387 | 31 | 272
2021-05-18 | 90120163 | 30563 | 270 | 0 | 953091 | 358 | 40 | 359
2021-05-19 | 90150529 | 30366 | 405 | 135 | 953458 | 367 | 36 | 304
2021-05-20 | 90179769 | 29240 | 0 | 0 | 953814 | 356
2021-05-21 | 0 | 0 | 0 | 0 | 954134 | 320
2021-05-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-31 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | May
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather
1 | 30133 | 8220 | 3180 | 225 | 291 | 45 | partly sunny
2 | 31397 | 8710 | 3214 | 180 | 361 | 48 | partly sunny
3 | 30147 | 8430 | 2336 | 270 | 385 | 34 | partly cloudy
4 | 28804 | 8070 | 3076 | 315 | 368 | 54 | partly sunny
5 | 30365 | 8200 | 3178 | 270 | 356 | 53 | partly sunny
6 | 29900 | 8570 | 2974 | 270 | 379 | 45 | partlu cloudly
7 | 30587 | 8380 | 2854 | 270 | 417 | 48 | partly cloudy
8 | 30219 | 8650 | 2674 | 315 | 390 | 47 | partly cloudy
9 | 30190 | 8350 | 3112 | 315 | 381 | 47 | sunny
10 | 30007 | 8460 | 2430 | 270 | 353 | 46 | cloudy
11 | 29374 | 8140 | 1801 | 270 | 387 | 46 | rainy
12 | 29062 | 8070 | 1981 | 225 | 328 | 45 | rainy
13 | 28176 | 7960 | 998 | 180 | 408 | 48 | heavy rain
14 | 28460 | 7980 | 536 | 270 | 364 | 46 | heavy rain
15 | 29731 | 8260 | 1650 | 180 | 331 | 41 | rainy
16 | 30407 | 8990 | 3141 | 315 | 325 | 34 | partly sunny
17 | 30934 | 8700 | 3268 | 270 | 387 | 31 | sunny
18 | 30563 | 8500 | 3268 | 270 | 358 | 40 | sunny
19 | 30366 | 8560 | 3310 | 405 | 367 | 36 | sunny
20 | 29240 | 8470 | 2884 | 0 | 356 | 0 | cloudy
21 | -90179769 | -44017890 | -2648567 | 0 | 320 | 0 | 0
22 | 0 | 0 | 0 | 0 | -954134 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | -89581707 | -43850220 | -2596702 | 5085 | -946522 | 27.8
Avg | -2986056.9 | -1461674 | -86556.7333 | 169.5 | -30532.9677
Note on G38: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-05-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17082256 | 17082256 | 0
2 | 17082256 | 17082256 | 0
3 | 17082256 | 17082256 | 0
4 | 17082256 | 17082256 | 0
5 | 17082256 | 17083389 | 1133
6 | 17083389 | 17086149 | 2760
7 | 17086149 | 17086941 | 792
8 | 17086941 | 17095994 | 9053
9 | 17095994 | 17095994 | 0
10 | 17095994 | 17099926 | 3932
11 | 17099926 | 17103659 | 3733
12 | 17103659 | 17107039 | 3380
13 | 17107039 | 17115559 | 8520
14 | 17115559 | 17121819 | 6260
15 | 17121819 | 17125626 | 3807
16 | 17125626 | 17136847 | 11221
17 | 17136847 | 17144886 | 8039
18 | 17144886 | 17151577 | 6691
19 | 17151577 | 17155529 | 3952
20 | 17155529 | 17163352 | 7823
21 | 17163352 |  | -17163352
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -17082256 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-05-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 29671872 | 29685141 | 13269
2 | 29685141 | 29698820 | 13679
3 | 29698820 | 29712638 | 13818
4 | 29712638 | 29724999 | 12361
5 | 29724999 | 29736711 | 11712
6 | 29736711 | 29747996 | 11285
7 | 29747996 | 29759772 | 11776
8 | 29759772 | 29770905 | 11133
9 | 29770905 | 29782326 | 11421
10 | 29782326 | 29794460 | 12134
11 | 29794460 | 29807543 | 13083
12 | 29807543 | 29819893 | 12350
13 | 29819893 | 29832611 | 12718
14 | 29832611 | 29844880 | 12269
15 | 29844880 | 29857339 | 12459
16 | 29857339 | 29868112 | 10773
17 | 29868112 | 29881265 | 13153
18 | 29881265 | 29899924 | 18659
19 | 29899924 | 29914882 | 14958
20 | 29914882 | 29928357 | 13475
21 | 29928357 |  | -29928357
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -29671872

## GENSET #3
900 KVA
NO#3
2021-05-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 13036646 | 13046723 | 10077
2 | 13046723 | 13050027 | 3304
3 | 13050027 | 13060064 | 10037
4 | 13060064 | 13065269 | 5205
5 | 13065269 | 13072553 | 7284
6 | 13072553 | 13076609 | 4056
7 | 13076609 | 13087086 | 10477
8 | 13087086 | 13087232 | 146
9 | 13087232 | 13097423 | 10191
10 | 13097423 | 13097895 | 472
11 | 13097895 | 13101261 | 3366
12 | 13101261 | 13108418 | 7157
13 | 13108418 | 13112001 | 3583
14 | 13112001 | 13116799 | 4798
15 | 13116799 | 13120395 | 3596
16 | 13120395 | 13120395 | 0
17 | 13120395 | 13120395 | 0
18 | 13120395 | 13120395 | 0
19 | 13120395 | 13127906 | 7511
20 | 13127906 | 13134204 | 6298
21 | 13134204 |  | -13134204
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -13036646

## GENSET #4
500 KVA
NO#4
2021-05-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11639934 | 11643159 | 3225
2 | 11643159 | 11645947 | 2788
3 | 11645947 | 11649082 | 3135
4 | 11649082 | 11651119 | 2037
5 | 11651119 | 11654066 | 2947
6 | 11654066 | 11656700 | 2634
7 | 11656700 | 11660022 | 3322
8 | 11660022 | 11663033 | 3011
9 | 11663033 | 11667340 | 4307
10 | 11667340 | 11669968 | 2628
11 | 11669968 | 11671066 | 1098
12 | 11671066 | 11673429 | 2363
13 | 11673429 | 11673429 | 0
14 | 11673429 | 11674541 | 1112
15 | 11674541 | 11676520 | 1979
16 | 11676520 | 11680264 | 3744
17 | 11680264 | 11682780 | 2516
18 | 11682780 | 11687575 | 4795
19 | 11687575 | 11691520 | 3945
20 | 11691520 | 11693164 | 1644
21 | 11693164 |  | -11693164
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -11639934

## GENSET #5
1000 KVA
NO#5
2021-05-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 18150999 | 18154561 | 3562
2 | 18154561 | 18166187 | 11626
3 | 18166187 | 18169344 | 3157
4 | 18169344 | 18178545 | 9201
5 | 18178545 | 18185834 | 7289
6 | 18185834 | 18194999 | 9165
7 | 18194999 | 18199219 | 4220
8 | 18199219 | 18206095 | 6876
9 | 18206095 | 18210366 | 4271
10 | 18210366 | 18221207 | 10841
11 | 18221207 | 18229301 | 8094
12 | 18229301 | 18233113 | 3812
13 | 18233113 | 18236468 | 3355
14 | 18236468 | 18240489 | 4021
15 | 18240489 | 18248379 | 7890
16 | 18248379 | 18253048 | 4669
17 | 18253048 | 18260274 | 7226
18 | 18260274 | 18260692 | 418
19 | 18260692 | 18260692 | 0
20 | 18260692 | 18260692 | 0
21 | 18260692 |  | -18260692
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -18150999

## Diesel consumption
Diesel Consumption - Powerhouse |  |  |  | Diesel usage by Boats
2021-05-01
|  |  | Liters | Boat meter Reading
Date | Yesterday | Today | ConsumptionIn 24 hrs | Yesterday | Today | Consumption (Liters) | In Barrels | Carbon Emmision
1 | 43850220 | 43858440 | 8220 | 360610 | 361070 | 460 | 41.1 | 22029.6 | 22.0296
2 | 43858440 | 43867150 | 8710 | 361070 | 361480 | 410 | 43.55 | 23342.8 | 23.3428
3 | 43867150 | 43875580 | 8430 | 361480 | 361980 | 500 | 42.15 | 22592.4 | 22.5924
4 | 43875580 | 43883650 | 8070 | 361980 | 362430 | 450 | 40.35 | 21627.6 | 21.6276
5 | 43883650 | 43891850 | 8200 | 362430 | 362860 | 430 | 41 | 21976 | 21.976
6 | 43891850 | 43900420 | 8570 | 362860 | 363310 | 450 | 42.85 | 22967.6 | 22.9676
7 | 43900420 | 43908800 | 8380 | 363310 | 363740 | 430 | 41.9 | 22458.4 | 22.4584
8 | 43908800 | 43917450 | 8650 | 363740 | 364230 | 490 | 43.25 | 23182 | 23.182
9 | 43917450 | 43925800 | 8350 | 364230 | 364630 | 400 | 41.75 | 22378 | 22.378
10 | 43925800 | 43934260 | 8460 | 364630 | 365130 | 500 | 42.3 | 22672.8 | 22.6728
11 | 43934260 | 43942400 | 8140 | 365130 | 365620 | 490 | 40.7 | 21815.2 | 21.8152
12 | 43942400 | 43950470 | 8070 | 365620 | 366050 | 430 | 40.35 | 21627.6 | 21.6276
13 | 43950470 | 43958430 | 7960 | 366050 | 366530 | 480 | 39.8 | 21332.8 | 21.3328
14 | 43958430 | 43966410 | 7980 | 366530 | 367030 | 500 | 39.9 | 21386.4 | 21.3864
15 | 43966410 | 43974670 | 8260 | 367030 | 367450 | 420 | 41.3 | 22136.8 | 22.1368
16 | 43974670 | 43983660 | 8990 | 367450 | 367820 | 370 | 44.95 | 24093.2 | 24.0932
17 | 43983660 | 43992360 | 8700 | 367820 | 368200 | 380 | 43.5 | 23316 | 23.316
18 | 43992360 | 44000860 | 8500 | 368200 | 368580 | 380 | 42.5 | 22780 | 22.78
19 | 44000860 | 44009420 | 8560 | 368580 | 368950 | 370 | 42.8 | 22940.8 | 22.9408
20 | 44009420 | 44017890 | 8470 | 368950 | 369380 | 430 | 42.35 | 22699.6 | 22.6996
21 | 44017890 |  | -44017890 | 369380 |  | -369380 | -220089.45 | -117967945.2 | -117967.9452
22 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
|  |  | -43850220 |  |  |  | -219251.1 | -117518589.6 | -117518.5896

## SOLAR METER READING
solar reading
2021-05-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2596702 | 2599882 | 3180 | partly sunny
2 | 2599882 | 2603096 | 3214 | partly sunny
3 | 2603096 | 2605432 | 2336 | partly cloudy
4 | 2605432 | 2608508 | 3076 | partly sunny
5 | 2608508 | 2611686 | 3178 | partly sunny | 1 liter diesel | 11.1 kwh
6 | 2611686 | 2614660 | 2974 | partlu cloudly | 212.88 diesel | 2363 kwh
7 | 2614660 | 2617514 | 2854 | partly cloudy
8 | 2617514 | 2620188 | 2674 | partly cloudy
9 | 2620188 | 2623300 | 3112 | sunny
10 | 2623300 | 2625730 | 2430 | cloudy
11 | 2625730 | 2627531 | 1801 | rainy
12 | 2627531 | 2629512 | 1981 | rainy
13 | 2629512 | 2630510 | 998 | heavy rain
14 | 2630510 | 2631046 | 536 | heavy rain
15 | 2631046 | 2632696 | 1650 | rainy
16 | 2632696 | 2635837 | 3141 | partly sunny
17 | 2635837 | 2639105 | 3268 | sunny
18 | 2639105 | 2642373 | 3268 | sunny
19 | 2642373 | 2645683 | 3310 | sunny
20 | 2645683 | 2648567 | 2884 | cloudy
21 | 2648567 |  | -2648567
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
Total |  |  | -2596702

## FEEDER Consumption
2021-05-01
POWER HOUSE FEEDER READING
| BLU FEEDER PANEL 1 |  |  |  |  | BLU FEEDER PANEL 2 |  |  |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  |  |  | Main Kitchen -7 |  |  |  |  | Main Kitchen -10 |  |  |  |  | Water treatment Plant |  |  |  |  | Sewage treatment Plant |  |  |  |  | Laundry--8SSB |  |  |  |  | Laundry-9 |  |  |  |  | New staff accomodation (E0) |  |  |  |  | Staff block-16(E2-E3) |  |  |  |  | Staff Block Feeder-3(E4-E5) |  |  |  |  | Management block-5 |  |  |  |  | SNR STAFF BLOCK |  |  |  |  | RECEPTION |  |  |  |  | DIVE CENTER |  |  |  |  | DIESEL TANK JETTY METER |  |  |  |  | 301-307 |  |  |  |  | 308-314 |  |  |  |  | 315-320 |  |  |  |  | 401-407 |  |  |  |  | 408-414 |  |  |  |  | 415-420 |  |  |  |  | SPA - 1 |  |  |  |  | SPA - 2 |  |  |  |  | BLU KITCHEN - 1 |  |  |  |  | BLU KITCHEN - 2 |  |  |  |  | AL BARAKATH |  |  |  |  | STAFF KITCHEN |  |  |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | %
1 | 25532712 | 25536808 | 4096 |  |  | 22576918 | 22582098 | 5180 |  |  | 85421095 | 85436113 | 15018 |  |  | 1966900 | 1968900 | 2000 |  |  | 2662097 | 2664993 | 2896 |  |  | 1618900 | 1620600 | 1700 |  |  | 734522 | 735223 | 701 |  |  | 7600100 | 7607100 | 7000 |  |  | 1732600 | 1733800 | 1200 |  |  | 494210 | 494652 | 442 |  |  | 628570 | 629570 | 1000 |  |  | 725910 | 727000 | 1090 |  |  | 1136100 | 1137600 | 1500 |  |  | 596350 | 598180 | 1830 |  |  | 457080 | 458360 | 1280 |  |  | 1326100 | 1331000 | 4900 |  |  | 626490 | 626890 | 400 |  |  | 29873 | 30083 | 210 |  |  | 23966 | 24227 | 261 |  |  | 21609 | 21760 | 151 |  |  | 33989 | 34228 | 239 |  |  | 25598 | 25857 | 259 |  |  | 24150 | 24309 | 159 |  |  | 16546 | 16640 | 94 |  |  | 44409 | 44672 | 263 |  |  | 32323 | 32462 | 139 |  |  | 97564 | 98073 | 509 |  |  | 77254 | 78016 | 762 |  |  | 16706 | 16803 | 97 |  |  | 202860 | 210970 | 8110
2 | 25536808 | 25540997 | 4189 | 93 | 13.342 | 22582098 | 22587381 | 5283 | 103 | 16.8264 | 85436113 | 85452122 | 16009 | 991 | 50.9889 | 1968900 | 1971000 | 2100 | 100 | 6.6885 | 2664993 | 2667886 | 2893 | -3 | 9.2143 | 1620600 | 1622400 | 1800 | 100 | 5.733 | 735223 | 736018 | 795 | 94 | 2.5321 | 7607100 | 7614500 | 7400 | 400 | 23.5691 | 1733800 | 1735100 | 1300 | 100 | 4.1405 | 494652 | 495105 | 453 | 11 | 1.4428 | 629570 | 630630 | 1060 | 60 | 3.3761 | 727000 | 728130 | 1130 | 40 | 3.5991 | 1137600 | 1139200 | 1600 | 100 | 5.096 | 598180 | 599950 | 1770 | -60 | 5.6375 | 458360 | 459700 | 1340 | 60 | 4.2679 | 1331000 | 1336100 | 5100 | 200 | 16.2436 | 626890 | 627530 | 640 | 240 | 2.0384 | 30083 | 30182 | 99 | -111 | 0.31532 | 24227 | 24304 | 77 | -184 | 0.24525 | 21760 | 21822 | 62 | -89 | 0.19747 | 34228 | 34346 | 118 | -121 | 0.37583 | 25857 | 25979 | 122 | -137 | 0.38857 | 24309 | 24384 | 75 | -84 | 0.23888 | 16640 | 16686 | 46 | -48 | 0.14651 | 44672 | 44781 | 109 | -154 | 0.34717 | 32462 | 32528 | 66 | -73 | 0.21021 | 98073 | 98334 | 261 | -248 | 0.83129 | 78016 | 78413 | 397 | -365 | 1.2645 | 16803 | 16841 | 38 | -59 | 0.12103 | 210970 | 215130 | 4160 | -3950 | 13.2497
3 | 25540997 | 25544804 | 3807 | -382 | 12.6281 | 22587381 | 22592255 | 4874 | -409 | 16.1674 | 85452122 | 85467711 | 15589 | -420 | 51.71 | 1971000 | 1973000 | 2000 | -100 | 6.6342 | 2667886 | 2670757 | 2871 | -22 | 9.5233 | 1622400 | 1624200 | 1800 | 0 | 5.9707 | 736018 | 736831 | 813 | 18 | 2.6968 | 7614500 | 7621100 | 6600 | -800 | 21.8927 | 1735100 | 1736500 | 1400 | 100 | 4.6439 | 495105 | 495543 | 438 | -15 | 1.4529 | 630630 | 631730 | 1100 | 40 | 3.6488 | 728130 | 729280 | 1150 | 20 | 3.8146 | 1139200 | 1140800 | 1600 | 0 | 5.3073 | 599950 | 601740 | 1790 | 20 | 5.9376 | 459700 | 460950 | 1250 | -90 | 4.1463 | 1336100 | 1340800 | 4700 | -400 | 15.5903 | 627530 | 631240 | 3710 | 3070 | 12.3064 | 30182 | 30268 | 86 | -13 | 0.28527 | 24304 | 24381 | 77 | 0 | 0.25542 | 21822 | 21878 | 56 | -6 | 0.18576 | 34346 | 34463 | 117 | -1 | 0.3881 | 25979 | 26091 | 112 | -10 | 0.37151 | 24384 | 24465 | 81 | 6 | 0.26868 | 16686 | 16732 | 46 | 0 | 0.15259 | 44781 | 44913 | 132 | 23 | 0.43785 | 32528 | 32594 | 66 | 0 | 0.21893 | 98334 | 98598 | 264 | 3 | 0.87571 | 78413 | 78841 | 428 | 31 | 1.4197 | 16841 | 16898 | 57 | 19 | 0.18907 | 215130 | 218430 | 3300 | -860 | 10.9464
4 | 25544804 | 25548484 | 3680 | -127 | 12.776 | 22592255 | 22596872 | 4617 | -257 | 16.029 | 85467711 | 85482286 | 14575 | -1014 | 50.6006 | 1973000 | 1975100 | 2100 | 100 | 7.2907 | 2670757 | 2673580 | 2823 | -48 | 9.8007 | 1624200 | 1625700 | 1500 | -300 | 5.2076 | 736831 | 737577 | 746 | -67 | 2.5899 | 7621100 | 7627400 | 6300 | -300 | 21.872 | 1736500 | 1738000 | 1500 | 100 | 5.2076 | 495543 | 495952 | 409 | -29 | 1.4199 | 631730 | 632650 | 920 | -180 | 3.194 | 729280 | 730280 | 1000 | -150 | 3.4717 | 1140800 | 1142200 | 1400 | -200 | 4.8604 | 601740 | 603270 | 1530 | -260 | 5.3118 | 460950 | 462230 | 1280 | 30 | 4.4438 | 1340800 | 1345100 | 4300 | -400 | 14.9285 | 631240 | 631740 | 500 | -3210 | 1.7359 | 30268 | 30380 | 112 | 26 | 0.38883 | 24381 | 24472 | 91 | 14 | 0.31593 | 21878 | 21948 | 70 | 14 | 0.24302 | 34463 | 34578 | 115 | -2 | 0.39925 | 26091 | 26216 | 125 | 13 | 0.43397 | 24465 | 24549 | 84 | 3 | 0.29163 | 16732 | 16777 | 45 | -1 | 0.15623 | 44913 | 45198 | 285 | 153 | 0.98945 | 32594 | 32668 | 74 | 8 | 0.25691 | 98598 | 98881 | 283 | 19 | 0.9825 | 78841 | 79248 | 407 | -21 | 1.413 | 16898 | 16949 | 51 | -6 | 0.17706 | 218430 | 221950 | 3520 | 220 | 12.2205
5 | 25548484 | 25552440 | 3956 | 276 | 13.0282 | 22596872 | 22601861 | 4989 | 372 | 16.4301 | 85482286 | 85497398 | 15112 | 537 | 49.7678 | 1975100 | 1977100 | 2000 | -100 | 6.5865 | 2673580 | 2676481 | 2901 | 78 | 9.5538 | 1625700 | 1627500 | 1800 | 300 | 5.9279 | 737577 | 738347 | 770 | 24 | 2.5358 | 7627400 | 7634400 | 7000 | 700 | 23.0529 | 1738000 | 1739400 | 1400 | -100 | 4.6106 | 495952 | 496399 | 447 | 38 | 1.4721 | 632650 | 633580 | 930 | 10 | 3.0627 | 730280 | 731310 | 1030 | 30 | 3.3921 | 1142200 | 1143700 | 1500 | 100 | 4.9399 | 603270 | 605040 | 1770 | 240 | 5.8291 | 462230 | 463460 | 1230 | -50 | 4.0507 | 1345100 | 1349400 | 4300 | 0 | 14.161 | 631740 | 632940 | 1200 | 700 | 3.9519 | 30380 | 30401 | 21 | -91 | 0.069159 | 24472 | 24511 | 39 | -52 | 0.12844 | 21948 | 22001 | 53 | -17 | 0.17454 | 34578 | 34612 | 34 | -81 | 0.11197 | 26216 | 26291 | 75 | -50 | 0.24699 | 24549 | 24612 | 63 | -21 | 0.20748 | 16777 | 16801 | 24 | -21 | 0.079038 | 45198 | 45330 | 132 | -153 | 0.43471 | 32668 | 32600 | -68 | -142 | -0.22394 | 98881 | 98991 | 110 | -173 | 0.36226 | 79248 | 79615 | 367 | -40 | 1.2086 | 16949 | 16991 | 42 | -9 | 0.13832 | 221950 | 224110 | 2160 | -1360 | 7.1135
6 | 25552440 | 25556240 | 3800 | -156 | 12.709 | 22601861 | 22606998 | 5137 | 148 | 17.1806 | 85497398 | 85512707 | 15309 | 197 | 51.2007 | 1977100 | 1979200 | 2100 | 100 | 7.0234 | 2676481 | 2679281 | 2800 | -101 | 9.3645 | 1627500 | 1629400 | 1900 | 100 | 6.3545 | 738347 | 739125 | 778 | 8 | 2.602 | 7634400 | 7641300 | 6900 | -100 | 23.0769 | 1739400 | 1740800 | 1400 | 0 | 4.6823 | 496399 | 496808 | 409 | -38 | 1.3679 | 633580 | 634570 | 990 | 60 | 3.311 | 731310 | 732360 | 1050 | 20 | 3.5117 | 1143700 | 1145200 | 1500 | 0 | 5.0167 | 605040 | 607010 | 1970 | 200 | 6.5886 | 463460 | 464770 | 1310 | 80 | 4.3813 | 1349400 | 1354100 | 4700 | 400 | 15.7191 | 632940 | 634840 | 1900 | 700 | 6.3545 | 30401 | 30480 | 79 | 58 | 0.26421 | 24511 | 24556 | 45 | 6 | 0.1505 | 22001 | 22043 | 42 | -11 | 0.14047 | 34612 | 34700 | 88 | 54 | 0.29431 | 26291 | 26347 | 56 | -19 | 0.18729 | 24612 | 24643 | 31 | -32 | 0.10368 | 16801 | 16825 | 24 | 0 | 0.080268 | 45330 | 45462 | 132 | 0 | 0.44147 | 32600 | 32736 | 136 | 204 | 0.45485 | 98991 | 99138 | 147 | 37 | 0.49164 | 79615 | 79611 | -4 | -371 | -0.013378 | 16991 | 16999 | 8 | -34 | 0.026756 | 224110 | 225370 | 1260 | -900 | 4.214
7 | 25556240 | 25560028 | 3788 | -12 | 12.3843 | 22606998 | 22611897 | 4899 | -238 | 16.0166 | 85512707 | 85528586 | 15879 | 570 | 51.9142 | 1979200 | 1981300 | 2100 | 0 | 6.8657 | 2679281 | 2682089 | 2808 | 8 | 9.1804 | 1629400 | 1631600 | 2200 | 300 | 7.1926 | 739125 | 739904 | 779 | 1 | 2.5468 | 7641300 | 7648000 | 6700 | -200 | 21.9047 | 1740800 | 1742300 | 1500 | 100 | 4.904 | 496808 | 497283 | 475 | 66 | 1.5529 | 634570 | 635570 | 1000 | 10 | 3.2694 | 732360 | 733460 | 1100 | 50 | 3.5963 | 1145200 | 1146800 | 1600 | 100 | 5.231 | 607010 | 608540 | 1530 | -440 | 5.0021 | 464770 | 466050 | 1280 | -30 | 4.1848 | 1354100 | 1359100 | 5000 | 300 | 16.3468 | 634840 | 635590 | 750 | -1150 | 2.452 | 30480 | 30584 | 104 | 25 | 0.34001 | 24556 | 24641 | 85 | 40 | 0.2779 | 22043 | 22079 | 36 | -6 | 0.1177 | 34700 | 34817 | 117 | 29 | 0.38252 | 26347 | 26459 | 112 | 56 | 0.36617 | 24643 | 24689 | 46 | 15 | 0.15039 | 16825 | 16870 | 45 | 21 | 0.14712 | 45462 | 45601 | 139 | 7 | 0.45444 | 32736 | 32805 | 69 | -67 | 0.22559 | 99138 | 99394 | 256 | 109 | 0.83696 | 79611 | 79955 | 344 | 348 | 1.1247 | 16999 | 17043 | 44 | 36 | 0.14385 | 225370 | 228700 | 3330 | 2070 | 10.887
8 | 25560028 | 25563757 | 3729 | -59 | 12.3399 | 22611897 | 22616873 | 4976 | 77 | 16.4665 | 85528586 | 85544114 | 15528 | -351 | 51.3849 | 1981300 | 1983400 | 2100 | 0 | 6.9493 | 2682089 | 2685051 | 2962 | 154 | 9.8018 | 1631600 | 1633500 | 1900 | -300 | 6.2874 | 739904 | 740654 | 750 | -29 | 2.4819 | 7648000 | 7654700 | 6700 | 0 | 22.1715 | 1742300 | 1743900 | 1600 | 100 | 5.2947 | 497283 | 497705 | 422 | -53 | 1.3965 | 635570 | 636630 | 1060 | 60 | 3.5077 | 733460 | 734590 | 1130 | 30 | 3.7394 | 1146800 | 1148400 | 1600 | 0 | 5.2947 | 608540 | 610310 | 1770 | 240 | 5.8572 | 466050 | 467350 | 1300 | 20 | 4.3019 | 1359100 | 1363500 | 4400 | -600 | 14.5604 | 635590 | 637400 | 1810 | 1060 | 5.9896 | 30584 | 30683 | 99 | -5 | 0.32761 | 24641 | 24725 | 84 | -1 | 0.27797 | 22079 | 22158 | 79 | 43 | 0.26142 | 34817 | 34933 | 116 | -1 | 0.38386 | 26459 | 26571 | 112 | 0 | 0.37063 | 24689 | 24761 | 72 | 26 | 0.23826 | 16870 | 16915 | 45 | 0 | 0.14891 | 45601 | 45495 | -106 | -245 | -0.35077 | 32805 | 32873 | 68 | -1 | 0.22502 | 99394 | 99661 | 267 | 11 | 0.88355 | 79955 | 80327 | 372 | 28 | 1.231 | 17043 | 17090 | 47 | 3 | 0.15553 | 228700 | 232090 | 3390 | 60 | 11.2181
9 | 25563757 | 25567592 | 3835 | 106 | 12.7029 | 22616873 | 22622044 | 5171 | 195 | 17.1282 | 85544114 | 85559380 | 15266 | -262 | 50.5664 | 1983400 | 1985300 | 1900 | -200 | 6.2935 | 2685051 | 2687885 | 2834 | -128 | 9.3872 | 1633500 | 1635500 | 2000 | 100 | 6.6247 | 740654 | 741424 | 770 | 20 | 2.5505 | 7654700 | 7661400 | 6700 | 0 | 22.1928 | 1743900 | 1745600 | 1700 | 100 | 5.631 | 497705 | 498127 | 422 | 0 | 1.3978 | 636630 | 637630 | 1000 | -60 | 3.3124 | 734590 | 735640 | 1050 | -80 | 3.478 | 1148400 | 1150000 | 1600 | 0 | 5.2998 | 610310 | 612100 | 1790 | 20 | 5.9291 | 467350 | 468620 | 1270 | -30 | 4.2067 | 1363500 | 1367900 | 4400 | 0 | 14.5744 | 637400 | 638350 | 950 | -860 | 3.1467 | 30683 | 30775 | 92 | -7 | 0.30474 | 24725 | 24809 | 84 | 0 | 0.27824 | 22158 | 22241 | 83 | 4 | 0.27493 | 34933 | 35053 | 120 | 4 | 0.39748 | 26571 | 26685 | 114 | 2 | 0.37761 | 24761 | 24841 | 80 | 8 | 0.26499 | 16915 | 16961 | 46 | 1 | 0.15237 | 45495 | 45657 | 162 | 268 | 0.5366 | 32873 | 32939 | 66 | -2 | 0.21862 | 99661 | 99923 | 262 | -5 | 0.86784 | 80327 | 81100 | 773 | 401 | 2.5605 | 17090 | 17137 | 47 | 0 | 0.15568 | 232090 | 235570 | 3480 | 90 | 11.527
10 | 25567592 | 25571360 | 3768 | -67 | 12.5571 | 22622044 | 22626957 | 4913 | -258 | 16.3728 | 85559380 | 85574984 | 15604 | 338 | 52.0012 | 1985300 | 1987500 | 2200 | 300 | 7.3316 | 2687885 | 2690574 | 2689 | -145 | 8.9612 | 1635500 | 1637200 | 1700 | -300 | 5.6653 | 741424 | 742252 | 828 | 58 | 2.7594 | 7661400 | 7667700 | 6300 | -400 | 20.9951 | 1745600 | 1747100 | 1500 | -200 | 4.9988 | 498127 | 498575 | 448 | 26 | 1.493 | 637630 | 638750 | 1120 | 120 | 3.7325 | 735640 | 736800 | 1160 | 110 | 3.8658 | 1150000 | 1151700 | 1700 | 100 | 5.6653 | 612100 | 613900 | 1800 | 10 | 5.9986 | 468620 | 469920 | 1300 | 30 | 4.3323 | 1367900 | 1372600 | 4700 | 300 | 15.663 | 638350 | 639300 | 950 | 0 | 3.1659 | 30775 | 30864 | 89 | -3 | 0.2966 | 24809 | 24888 | 79 | -5 | 0.26327 | 22241 | 22316 | 75 | -8 | 0.24994 | 35053 | 35174 | 121 | 1 | 0.40324 | 26685 | 26801 | 116 | 2 | 0.38658 | 24841 | 24915 | 74 | -6 | 0.24661 | 16961 | 17005 | 44 | -2 | 0.14663 | 45657 | 45795 | 138 | -24 | 0.45989 | 32939 | 33013 | 74 | 8 | 0.24661 | 99923 | 100190 | 267 | 5 | 0.88979 | 81100 | 81459 | 359 | -414 | 1.1964 | 17137 | 17185 | 48 | 1 | 0.15996 | 235570 | 238660 | 3090 | -390 | 10.2976
11 | 25571360 | 25574765 | 3405 | -363 | 11.5919 | 22626957 | 22632110 | 5153 | 240 | 17.5427 | 85574984 | 85589831 | 14847 | -757 | 50.5447 | 1987500 | 1989500 | 2000 | -200 | 6.8087 | 2690574 | 2693298 | 2724 | 35 | 9.2735 | 1637200 | 1638900 | 1700 | 0 | 5.7874 | 742252 | 742969 | 717 | -111 | 2.4409 | 7667700 | 7673500 | 5800 | -500 | 19.7454 | 1747100 | 1748700 | 1600 | 100 | 5.447 | 498575 | 499002 | 427 | -21 | 1.4537 | 638750 | 639780 | 1030 | -90 | 3.5065 | 736800 | 737840 | 1040 | -120 | 3.5405 | 1151700 | 1153200 | 1500 | -200 | 5.1066 | 613900 | 615360 | 1460 | -340 | 4.9704 | 469920 | 471170 | 1250 | -50 | 4.2555 | 1372600 | 1376600 | 4000 | -700 | 13.6175 | 639300 | 640000 | 700 | -250 | 2.3831 | 30864 | 30959 | 95 | 6 | 0.32342 | 24888 | 24958 | 70 | -9 | 0.23831 | 22316 | 22384 | 68 | -7 | 0.2315 | 35174 | 35339 | 165 | 44 | 0.56172 | 26801 | 26923 | 122 | 6 | 0.41533 | 24915 | 24994 | 79 | 5 | 0.26895 | 17005 | 17052 | 47 | 3 | 0.16001 | 45795 | 45939 | 144 | 6 | 0.49023 | 33013 | 33083 | 70 | -4 | 0.23831 | 100190 | 100440 | 250 | -17 | 0.85109 | 81459 | 81798 | 339 | -20 | 1.1541 | 17185 | 17236 | 51 | 3 | 0.17362 | 238660 | 240940 | 2280 | -810 | 7.762
12 | 25574765 | 25578064 | 3299 | -106 | 11.3516 | 22632110 | 22637491 | 5381 | 228 | 18.5156 | 85589831 | 85604394 | 14563 | -284 | 50.1101 | 1989500 | 1991400 | 1900 | -100 | 6.5377 | 2693298 | 2695946 | 2648 | -76 | 9.1116 | 1638900 | 1640800 | 1900 | 200 | 6.5377 | 742969 | 743678 | 709 | -8 | 2.4396 | 7673500 | 7679300 | 5800 | 0 | 19.9573 | 1748700 | 1750300 | 1600 | 0 | 5.5055 | 499002 | 499415 | 413 | -14 | 1.4211 | 639780 | 640720 | 940 | -90 | 3.2345 | 737840 | 738840 | 1000 | -40 | 3.4409 | 1153200 | 1154600 | 1400 | -100 | 4.8173 | 615360 | 617020 | 1660 | 200 | 5.7119 | 471170 | 472420 | 1250 | 0 | 4.3011 | 1376600 | 1381000 | 4400 | 400 | 15.14 | 640000 | 640090 | 90 | -610 | 0.30968 | 30959 | 31069 | 110 | 15 | 0.3785 | 24958 | 25029 | 71 | 1 | 0.24431 | 22384 | 22455 | 71 | 3 | 0.24431 | 35339 | 35498 | 159 | -6 | 0.54711 | 26923 | 27019 | 96 | -26 | 0.33033 | 24994 | 25083 | 89 | 10 | 0.30624 | 17052 | 17109 | 57 | 10 | 0.19613 | 45939 | 46090 | 151 | 7 | 0.51958 | 33083 | 33149 | 66 | -4 | 0.2271 | 100440 | 100750 | 310 | 60 | 1.0667 | 81798 | 82172 | 374 | 35 | 1.2869 | 17236 | 17283 | 47 | -4 | 0.16172 | 240940 | 243170 | 2230 | -50 | 7.6733
13 | 25578064 | 25581172 | 3108 | -191 | 11.0307 | 22637491 | 22642149 | 4658 | -723 | 16.5318 | 85604394 | 85618908 | 14514 | -49 | 51.5119 | 1991400 | 1993400 | 2000 | 100 | 7.0982 | 2695946 | 2698458 | 2512 | -136 | 8.9154 | 1640800 | 1642800 | 2000 | 100 | 7.0982 | 743678 | 744373 | 695 | -14 | 2.4666 | 7679300 | 7684500 | 5200 | -600 | 18.4554 | 1750300 | 1752200 | 1900 | 300 | 6.7433 | 499415 | 499806 | 391 | -22 | 1.3877 | 640720 | 641650 | 930 | -10 | 3.3007 | 738840 | 739810 | 970 | -30 | 3.4426 | 1154600 | 1156000 | 1400 | 0 | 4.9688 | 617020 | 618420 | 1400 | -260 | 4.9688 | 472420 | 473600 | 1180 | -70 | 4.188 | 1381000 | 1384500 | 3500 | -900 | 12.4219 | 640090 | 642000 | 1910 | 1820 | 6.7788 | 31069 | 31170 | 101 | -9 | 0.35846 | 25029 | 25153 | 124 | 53 | 0.44009 | 22455 | 22507 | 52 | -19 | 0.18455 | 35498 | 35644 | 146 | -13 | 0.51817 | 27019 | 27106 | 87 | -9 | 0.30877 | 25083 | 25092 | 9 | -80 | 0.031942 | 17109 | 17162 | 53 | -4 | 0.1881 | 46090 | 46243 | 153 | 2 | 0.54302 | 33149 | 33215 | 66 | 0 | 0.23424 | 100750 | 100990 | 240 | -70 | 0.85179 | 82172 |  | -82172 | -82546 | -291.6383 | 17283 | 17334 | 51 | 4 | 0.18101 | 243170 | 244920 | 1750 | -480 | 6.211
14 | 25581172 | 25584441 | 3269 | 161 | 11.4863 | 22642149 | 22647359 | 5210 | 552 | 18.3064 | 85618908 | 85633105 | 14197 | -317 | 49.884 | 1993400 | 1995500 | 2100 | 100 | 7.3788 | 2698458 | 2701016 | 2558 | 46 | 8.9881 | 1642800 | 1644500 | 1700 | -300 | 5.9733 | 744373 | 745129 | 756 | 61 | 2.6564 | 7684500 | 7689500 | 5000 | -200 | 17.5685 | 1752200 | 1754000 | 1800 | -100 | 6.3247 | 499806 | 500201 | 395 | 4 | 1.3879 | 641650 | 642690 | 1040 | 110 | 3.6543 | 739810 | 740910 | 1100 | 130 | 3.8651 | 1156000 | 1157500 | 1500 | 100 | 5.2706 | 618420 | 620140 | 1720 | 320 | 6.0436 | 473600 | 474770 | 1170 | -10 | 4.111 | 1384500 | 1387800 | 3300 | -200 | 11.5952 | 642000 | 642320 | 320 | -1590 | 1.1244 | 31170 |  | -31170 | -31271 | -109.5221 | 25153 |  | -25153 | -25277 | -88.3802 | 22507 |  | -22507 | -22559 | -79.0829 | 35644 |  | -35644 | -35790 | -125.2424 | 27106 |  | -27106 | -27193 | -95.2424 | 25092 |  | -25092 | -25101 | -88.1658 | 17162 |  | -17162 | -17215 | -60.3022 | 46243 |  | -46243 | -46396 | -162.4842 | 33215 |  | -33215 | -33281 | -116.7077 | 100990 |  | -100990 | -101230 | -354.8489 | 0 |  | 0 | 82172 | 0 | 17334 |  | -17334 | -17385 | -60.9065 | 244920 |  | -244920 | -246670 | -860.5762
15 | 25584441 | 25587946 | 3505 | 236 | 11.789 | 22647359 | 22653133 | 5774 | 564 | 19.4208 | 85633105 | 85647330 | 14225 | 28 | 47.8457 | 1995500 | 1997400 | 1900 | -200 | 6.3906 | 2701016 | 2703650 | 2634 | 76 | 8.8594 | 1644500 | 1646300 | 1800 | 100 | 6.0543 | 745129 | 745822 | 693 | -63 | 2.3309 | 7689500 | 7694700 | 5200 | 200 | 17.4902 | 1754000 | 1756000 | 2000 | 200 | 6.727 | 500201 | 501035 | 834 | 439 | 2.8052 | 642690 | 643680 | 990 | -50 | 3.3299 | 740910 | 741930 | 1020 | -80 | 3.4308 | 1157500 | 1158800 | 1300 | -200 | 4.3725 | 620140 | 621660 | 1520 | -200 | 5.1125 | 474770 | 475930 | 1160 | -10 | 3.9017 | 1387800 | 1391400 | 3600 | 300 | 12.1086 | 642320 | 642320 | 0 | -320 | 0 | 0 |  | 0 | 31170 | 0 | 0 |  | 0 | 25153 | 0 | 0 |  | 0 | 22507 | 0 | 0 |  | 0 | 35644 | 0 | 0 |  | 0 | 27106 | 0 | 0 |  | 0 | 25092 | 0 | 0 |  | 0 | 17162 | 0 | 0 |  | 0 | 46243 | 0 | 0 |  | 0 | 33215 | 0 | 0 |  | 0 | 100990 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 17334 | 0 | 0 |  | 0 | 244920 | 0
16 | 25587946 | 25591624 | 3678 | 173 | 12.0959 | 22653133 | 22659290 | 6157 | 383 | 20.2486 | 85647330 | 85661653 | 14323 | 98 | 47.1043 | 1997400 | 1999500 | 2100 | 200 | 6.9063 | 2703650 | 2706414 | 2764 | 130 | 9.09 | 1646300 | 1648000 | 1700 | -100 | 5.5908 | 745822 | 746534 | 712 | 19 | 2.3416 | 7694700 | 7701200 | 6500 | 1300 | 21.3767 | 1756000 | 1757900 | 1900 | -100 | 6.2486 | 501035 | 501456 | 421 | -413 | 1.3845 | 643680 | 644570 | 890 | -100 | 2.927 | 741930 | 742870 | 940 | -80 | 3.0914 | 1158800 | 1160200 | 1400 | 100 | 4.6042 | 621660 | 623380 | 1720 | 200 | 5.6566 | 475930 | 477130 | 1200 | 40 | 3.9465 | 1391400 | 1396300 | 4900 | 1300 | 16.1147 | 642320 | 642800 | 480 | 480 | 1.5786 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
17 | 25591624 | 25595279 | 3655 | -23 | 11.8155 | 22659290 | 22665414 | 6124 | -33 | 19.797 | 85661653 | 85675925 | 14272 | -51 | 46.1369 | 1999500 | 2001600 | 2100 | 0 | 6.7886 | 2706414 | 2709318 | 2904 | 140 | 9.3877 | 1648000 | 1649400 | 1400 | -300 | 4.5258 | 746534 | 747157 | 623 | -89 | 2.014 | 7701200 | 7707600 | 6400 | -100 | 20.6892 | 1757900 | 1759900 | 2000 | 100 | 6.4654 | 501456 | 501920 | 464 | 43 | 1.5 | 644570 | 644570 | 0 | -890 | 0 | 742870 | 743830 | 960 | 20 | 3.1034 | 1160200 | 1161600 | 1400 | 0 | 4.5258 | 623380 | 623380 | 0 | -1720 | 0 | 477130 | 478340 | 1210 | 10 | 3.9116 | 1396300 | 1400500 | 4200 | -700 | 13.5773 | 642800 | 645290 | 2490 | 2010 | 8.0494 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
18 | 25595279 | 25599085 | 3806 | 151 | 12.453 | 22665414 | 22671704 | 6290 | 166 | 20.5804 | 85675925 | 85690840 | 14915 | 643 | 48.8008 | 2001600 | 2003800 | 2200 | 100 | 7.1982 | 2709318 | 2712143 | 2825 | -79 | 9.2432 | 1649400 | 1651000 | 1600 | 200 | 5.2351 | 747157 | 747827 | 670 | 47 | 2.1922 | 7707600 | 7714100 | 6500 | 100 | 21.2675 | 1759900 | 1761300 | 1400 | -600 | 4.5807 | 501920 | 502366 | 446 | -18 | 1.4593 | 644570 | 645450 | 880 | 880 | 2.8793 | 743830 | 744820 | 990 | 30 | 3.2392 | 1161600 | 1163100 | 1500 | 100 | 4.9079 | 623380 | 624900 | 1520 | 1520 | 4.9733 | 478340 | 479590 | 1250 | 40 | 4.0899 | 1400500 | 1405500 | 5000 | 800 | 16.3597 | 645290 | 645790 | 500 | -1990 | 1.636 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
19 | 25599085 | 25602913 | 3828 | 22 | 12.6062 | 22671704 | 22677318 | 5614 | -676 | 18.4878 | 85690840 | 85705893 | 15053 | 138 | 49.5719 | 2003800 | 2005800 | 2000 | -200 | 6.5863 | 2712143 | 2714919 | 2776 | -49 | 9.1418 | 1651000 | 1653200 | 2200 | 600 | 7.2449 | 747827 | 748540 | 713 | 43 | 2.348 | 7714100 | 7720500 | 6400 | -100 | 21.0762 | 1761300 | 1762700 | 1400 | 0 | 4.6104 | 502366 | 502823 | 457 | 11 | 1.505 | 645450 | 646420 | 970 | 90 | 3.1944 | 744820 | 745760 | 940 | -50 | 3.0956 | 1163100 | 1164500 | 1400 | -100 | 4.6104 | 624900 | 626630 | 1730 | 210 | 5.6972 | 479590 | 480840 | 1250 | 0 | 4.1164 | 1405500 | 1409900 | 4400 | -600 | 14.4899 | 645790 | 647690 | 1900 | 1400 | 6.257 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
20 | 25602913 | 25606569 | 3656 | -172 | 12.5034 | 22677318 | 22682734 | 5416 | -198 | 18.5226 | 85705893 | 85720653 | 14760 | -293 | 50.4788 | 2005800 | 2007900 | 2100 | 100 | 7.1819 | 2714919 | 2717592 | 2673 | -103 | 9.1416 | 1653200 | 1654900 | 1700 | -500 | 5.814 | 748540 | 749201 | 661 | -52 | 2.2606 | 7720500 | 7726700 | 6200 | -200 | 21.2038 | 1762700 | 1764500 | 1800 | 400 | 6.156 | 502823 |  | -502823 | -503280 | -1719.6409 | 646420 | 647340 | 920 | -50 | 3.1464 | 745760 | 746760 | 1000 | 60 | 3.42 | 1164500 | 1166100 | 1600 | 200 | 5.472 | 626630 | 628150 | 1520 | -210 | 5.1984 | 480840 | 482090 | 1250 | 0 | 4.275 | 1409900 | 1414100 | 4200 | -200 | 14.3639 | 647690 | 649650 | 1960 | 60 | 6.7031 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
21 | 25606569 |  | -25606569 | -25610225 | 28.395 | 22682734 |  | -22682734 | -22688150 | 25.1528 | 85720653 |  | -85720653 | -85735413 | 95.0553 | 2007900 |  | -2007900 | -2010000 | 2.2266 | 2717592 |  | -2717592 | -2720265 | 3.0135 | 1654900 |  | -1654900 | -1656600 | 1.8351 | 749201 |  | -749201 | -749862 | 0.83079 | 7726700 |  | -7726700 | -7732900 | 8.5681 | 1764500 |  | -1764500 | -1766300 | 1.9566 | 0 |  | 0 | 502823 | 0 | 647340 | 648320 | 980 | 60 | -0.0010867 | 746760 |  | -746760 | -747760 | 0.82808 | 1166100 |  | -1166100 | -1167700 | 1.2931 | 628150 | 629790 | 1640 | 120 | -0.0018186 | 482090 |  | -482090 | -483340 | 0.53459 | 1414100 |  | -1414100 | -1418300 | 1.5681 | 649650 |  | -649650 | -651610 | 0.72039 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
22 | 0 |  | 0 | 25606569 | #DIV/0! | 0 |  | 0 | 22682734 | #DIV/0! | 0 |  | 0 | 85720653 | #DIV/0! | 0 |  | 0 | 2007900 | #DIV/0! | 0 |  | 0 | 2717592 | #DIV/0! | 0 |  | 0 | 1654900 | #DIV/0! | 0 |  | 0 | 749201 | #DIV/0! | 0 |  | 0 | 7726700 | #DIV/0! | 0 |  | 0 | 1764500 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 648320 |  | -648320 | -649300 | #DIV/0! | 0 |  | 0 | 746760 | #DIV/0! | 0 |  | 0 | 1166100 | #DIV/0! | 629790 |  | -629790 | -631430 | #DIV/0! | 0 |  | 0 | 482090 | #DIV/0! | 0 |  | 0 | 1414100 | #DIV/0! | 0 |  | 0 | 649650 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
23 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 648320 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 629790 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
24 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
25 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
26 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
27 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
28 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
29 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
30 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
Total |  |  | -25532712 |  |  |  |  | -22576918 |  |  |  |  | -85421095 |  |  |  |  | -1966900 |  |  |  |  | -2662097 |  |  |  |  | -1618900 |  |  |  |  | -734522 |  |  |  |  | -7600100 |  |  |  |  | -1732600 |  |  |  |  | -494210 |  |  |  |  | -628570 |  |  |  |  | -725910 |  |  |  |  | -1136100 |  |  |  |  | -596350 |  |  |  |  | -457080 |  |  |  |  | -1326100 |  |  |  |  | -626490 |  |  |  |  | -29873 |  |  |  |  | -23966 |  |  |  |  | -21609 |  |  |  |  | -33989 |  |  |  |  | -25598 |  |  |  |  | -24150 |  |  |  |  | -16546 |  |  |  |  | -44409 |  |  |  |  | -32323 |  |  |  |  | -97564 |  |  |  |  | -77254 |  |  |  |  | -16706 |  |  |  |  | -202860

## WATER
RO Plant Water Production Reading | [19 empty] | Water Consumption by locations
Month |  | 2021-05-01 | [17 empty] | Date: |  |  |  | 2021-04-13
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production |  |  |  | Laundry |  |  |  | Staff Block - E0 |  |  | Staff Block - E1 |  |  | Staff Block - E2 |  |  | Staff Block - E3 |  |  | Staff Block - E4 |  |  | Staff Block - E5 |  |  | Management Block |  |  | PC Block |  |  | GM Bungalow |  |  | Boat Dock |  |  | Supply Jetty |  |  | Main Kitchen |  |  | Day Facility |  |  | Reception |  |  | Main Pool |  |  | Dive Center |  |  | Albarakthu |  |  | Blu Resturant |  |  | Main Jetty |  |  | Landaa Estate
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $ | DAY | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage
1 | 6146 | 6264 | 34 | 1 | 3418 | 3418 | 0 | 1 | 735063 | 735257 | 194 | 1 | 201811 | 201874 | 63 | 1 | 291 | 45 |  | 1 | 35804 | 35824 | 20 | 7532 | 7544 | 12 | 5202 | 5202 | 0 | 13166 | 13179 | 13 | 31413 | 31421 | 8 | 5604 | 5610 | 6 | 21244 | 21256 | 12 | 5509 | 5516 | 7 | 3242 | 3243 | 1 | 1505 | 1506 | 1 | 26451 | 26451 | 0 | 2261 | 2261 | 0 | 69860 | 69881 | 21 | 22964 | 22967 | 3 | 12323 | 12323 | 0 | 16700 | 16708 | 8 | 19209 | 19211 | 2 | 8202 | 8205 | 3 | 16920 | 16935 | 15 | 1666 | 1667 | 1 | 9286 | 9292 | 6
2 | 6264 | 6386 | 122 | 2 | 3418 | 3418 | 0 | 2 | 735257 | 735453 | 196 | 2 | 201874 | 201917 | 43 | 2 | 361 | 48 |  | 2 | 35824 | 35843 | 19 | 7544 | 7550 | 6 | 5202 | 5202 | 0 | 13179 | 13193 | 14 | 31421 | 31429 | 8 | 5610 | 5617 | 7 | 21256 | 21268 | 12 | 5516 | 5523 | 7 | 3243 | 3244 | 1 | 1506 | 1507 | 1 | 26451 | 26452 | 1 | 2261 | 2263 | 2 | 69881 | 69904 | 23 | 22967 | 22970 | 3 | 12323 | 12324 | 1 | 16708 | 16714 | 6 | 19211 | 19214 | 3 | 8205 | 8207 | 2 | 16935 | 16951 | 16 | 1667 | 1669 | 2 | 9292 | 9297 | 5
3 | 6386 | 6499 | 113 | 3 | 3418 | 3418 | 0 | 3 | 735453 | 735645 | 192 | 3 | 201917 | 201997 | 80 | 3 | 385 | 34 |  | 3 | 35843 | 35864 | 21 | 7550 | 7558 | 8 | 5202 | 5211 | 9 | 13193 | 13207 | 14 | 31429 | 31437 | 8 | 5617 | 5625 | 8 | 21268 | 21280 | 12 | 5523 | 5531 | 8 | 3244 | 3246 | 2 | 1507 | 1508 | 1 | 26452 | 26453 | 1 | 2263 | 2263 | 0 | 69904 | 69926 | 22 | 22970 | 22972 | 2 | 12324 | 12325 | 1 | 16714 | 16721 | 7 | 19214 | 19217 | 3 | 8207 | 8212 | 5 | 16951 | 16967 | 16 | 1669 | 1670 | 1 | 9297 | 9304 | 7
4 | 6499 | 6555 | 56 | 4 | 3418 | 3418 | 0 | 4 | 735645 | 735857 | 212 | 4 | 201997 | 202097 | 100 | 4 | 368 | 54 |  | 4 | 35864 | 35884 | 20 | 7558 | 7565 | 7 | 5211 | 5220 | 9 | 13207 | 13221 | 14 | 31437 | 31444 | 7 | 5625 | 5631 | 6 | 21280 | 21292 | 12 | 5531 | 5538 | 7 | 3246 | 3247 | 1 | 1508 | 1509 | 1 | 26453 | 26456 | 3 | 2263 | 2268 | 5 | 69926 | 69951 | 25 | 22972 | 22974 | 2 | 12325 | 12326 | 1 | 16721 | 16726 | 5 | 19217 | 19219 | 2 | 8212 | 8215 | 3 | 16967 | 16982 | 15 | 1670 | 1672 | 2 | 9304 | 9311 | 7
5 | 6555 | 6681 | 126 | 5 | 3418 | 3418 | 0 | 5 | 735857 | 736049 | 192 | 5 | 202097 | 202135 | 38 | 5 | 356 | 53 |  | 5 | 35884 | 35904 | 20 | 7565 | 7572 | 7 | 5220 | 5228 | 8 | 13221 | 13233 | 12 | 31444 | 31452 | 8 | 5631 | 5638 | 7 | 21292 | 21305 | 13 | 5538 | 5546 | 8 | 3247 | 3248 | 1 | 1509 | 1509 | 0 | 26456 | 26456 | 0 | 2268 | 2268 | 0 | 69951 | 69976 | 25 | 22974 | 22977 | 3 | 12326 | 12326 | 0 | 16726 | 16727 | 1 | 19219 | 19222 | 3 | 8215 | 8217 | 2 | 16982 | 17000 | 18 | 1672 | 1673 | 1 | 9311 | 9317 | 6
6 | 6681 | 6783 | 102 | 6 | 3418 | 3418 | 0 | 6 | 736049 | 736237 | 188 | 6 | 202135 | 202224 | 89 | 6 | 379 | 45 |  | 6 | 35904 | 35924 | 20 | 7572 | 7578 | 6 | 5228 | 5238 | 10 | 13233 | 13244 | 11 | 31452 | 31459 | 7 | 5638 | 5645 | 7 | 21305 | 21317 | 12 | 5546 | 5553 | 7 | 3248 | 3249 | 1 | 1509 | 1509 | 0 | 26456 | 26458 | 2 | 2268 | 2271 | 3 | 69976 | 70000 | 24 | 22977 | 22979 | 2 | 12326 | 12326 | 0 | 16727 | 16751 | 24 | 19222 | 19225 | 3 | 8217 | 8220 | 3 | 17000 | 17020 | 20 | 1673 | 1678 | 5 | 9317 | 9325 | 8
7 | 6783 | 6907 | 124 | 7 | 3418 | 3418 | 0 | 7 | 736237 | 736435 | 198 | 7 | 202224 | 202319 | 95 | 7 | 417 | 48 |  | 7 | 35924 | 35948 | 24 | 7578 | 7584 | 6 | 5238 | 5247 | 9 | 13244 | 13257 | 13 | 31459 | 31466 | 7 | 5645 | 5652 | 7 | 21317 | 21329 | 12 | 5553 | 5560 | 7 | 3249 | 3250 | 1 | 1509 | 1509 | 0 | 26458 | 26460 | 2 | 2271 | 2275 | 4 | 70000 | 70025 | 25 | 22979 | 22981 | 2 | 12326 | 12327 | 1 | 16751 | 16764 | 13 | 19225 | 19228 | 3 | 8220 | 8223 | 3 | 17020 | 17044 | 24 | 1678 | 1680 | 2 | 9325 | 9335 | 10
8 | 6907 | 7001 | 94 | 8 | 3418 | 3418 | 0 | 8 | 736435 | 736627 | 192 | 8 | 202319 | 202423 | 104 | 8 | 390 | 47 |  | 8 | 35948 | 35969 | 21 | 7584 | 7590 | 6 | 5247 | 5255 | 8 | 13257 | 13270 | 13 | 31466 | 31474 | 8 | 5652 | 5658 | 6 | 21329 | 21340 | 11 | 5560 | 5568 | 8 | 3250 | 3251 | 1 | 1509 | 1510 | 1 | 26460 | 26460 | 0 | 2275 | 2276 | 1 | 70025 | 70048 | 23 | 22981 | 22984 | 3 | 12327 | 12328 | 1 | 16764 | 16775 | 11 | 19228 | 19230 | 2 | 8223 | 8226 | 3 | 17044 | 17061 | 17 | 1680 | 1682 | 2 | 9335 | 9343 | 8
9 | 7001 | 7109 | 108 | 9 | 3418 | 3418 | 0 | 9 | 736627 | 736822 | 195 | 9 | 202423 | 202501 | 78 | 9 | 381 | 47 |  | 9 | 35969 | 35994 | 25 | 7590 | 7595 | 5 | 5255 | 5264 | 9 | 13270 | 13283 | 13 | 31474 | 31481 | 7 | 5658 | 5665 | 7 | 21340 | 21351 | 11 | 5568 | 5575 | 7 | 3251 | 3252 | 1 | 1510 | 1510 | 0 | 26460 | 26461 | 1 | 2276 | 2276 | 0 | 70048 | 70074 | 26 | 22984 | 22986 | 2 | 12328 | 12328 | 0 | 16775 | 16781 | 6 | 19230 | 19232 | 2 | 8226 | 8229 | 3 | 17061 | 17076 | 15 | 1682 | 1685 | 3 | 9343 | 9354 | 11
10 | 7109 | 7195 | 86 | 10 | 3418 | 3418 | 0 | 10 | 736822 | 737006 | 184 | 10 | 202501 | 202584 | 83 | 10 | 353 | 46 |  | 10 | 35994 | 36017 | 23 | 7595 | 7602 | 7 | 5264 | 5272 | 8 | 13283 | 13296 | 13 | 31481 | 31489 | 8 | 5665 | 5673 | 8 | 21351 | 21363 | 12 | 5575 | 5582 | 7 | 3252 | 3253 | 1 | 1510 | 1510 | 0 | 26461 | 26462 | 1 | 2276 | 2278 | 2 | 70074 | 70098 | 24 | 22986 | 22989 | 3 | 12328 | 12329 | 1 | 16781 | 16791 | 10 | 19232 | 19234 | 2 | 8229 | 8231 | 2 | 17076 | 17093 | 17 | 1685 | 1686 | 1 | 9354 | 9362 | 8
11 | 7195 | 7295 | 100 | 11 | 3418 | 3418 | 0 | 11 | 737006 | 737209 | 203 | 11 | 202584 | 202668 | 84 | 11 | 387 | 46 |  | 11 | 36017 | 36037 | 20 | 7602 | 7608 | 6 | 5272 | 5281 | 9 | 13296 | 13309 | 13 | 31489 | 31497 | 8 | 5673 | 5680 | 7 | 21363 | 21373 | 10 | 5582 | 5590 | 8 | 3253 | 3254 | 1 | 1510 | 1510 | 0 | 26462 | 26464 | 2 | 2278 | 2281 | 3 | 70098 | 70120 | 22 | 22989 | 22991 | 2 | 12329 | 12330 | 1 | 16791 | 16798 | 7 | 19234 | 19237 | 3 | 8231 | 8234 | 3 | 17093 | 17107 | 14 | 1686 | 1689 | 3 | 9362 | 9375 | 13
12 | 7295 | 7366 | 71 | 12 | 3418 | 3418 | 0 | 12 | 737209 | 737404 | 195 | 12 | 202668 | 202730 | 62 | 12 | 328 | 45 |  | 12 | 36037 | 36062 | 25 | 7608 | 7616 | 8 | 5281 | 5290 | 9 | 13309 | 13323 | 14 | 31497 | 31505 | 8 | 5680 | 5687 | 7 | 21373 | 21385 | 12 | 5590 | 5599 | 9 | 3254 | 3254 | 0 | 1510 | 1510 | 0 | 26464 | 26465 | 1 | 2281 | 2283 | 2 | 70120 | 70144 | 24 | 22991 | 22994 | 3 | 12330 | 12331 | 1 | 16798 | 16798 | 0 | 19237 | 19240 | 3 | 8234 | 8237 | 3 | 17107 | 17115 | 8 | 1689 | 1691 | 2 | 9375 | 9385 | 10
13 | 7366 | 7476 | 110 | 13 | 3418 | 3418 | 0 | 13 | 737404 | 737609 | 205 | 13 | 202730 | 202823 | 93 | 13 | 408 | 48 |  | 13 | 36062 | 36084 | 22 | 7616 | 7624 | 8 | 5290 | 5300 | 10 | 13323 | 13336 | 13 | 31505 | 31513 | 8 | 5687 | 5692 | 5 | 21385 | 21397 | 12 | 5599 | 5608 | 9 | 3254 | 3255 | 1 | 1510 | 1511 | 1 | 26465 | 26467 | 2 | 2283 | 2284 | 1 | 70144 | 70168 | 24 | 22994 | 22997 | 3 | 12331 | 12332 | 1 | 16798 | 16803 | 5 | 19240 | 19243 | 3 | 8237 | 8241 | 4 | 17115 | 17159 | 44 | 1691 | 1691 | 0 | 9385 | 9390 | 5
14 | 7476 | 7570 | 94 | 14 | 3418 | 3418 | 0 | 14 | 737609 | 737795 | 186 | 14 | 202823 | 202907 | 84 | 14 | 364 | 46 |  | 14 | 36084 | 36109 | 25 | 7624 | 7637 | 13 | 5300 | 5308 | 8 | 13336 | 13349 | 13 | 31513 | 31519 | 6 | 5692 | 5700 | 8 | 21397 | 21409 | 12 | 5608 | 5616 | 8 | 3255 | 3257 | 2 | 1511 | 1511 | 0 | 26467 | 26470 | 3 | 2284 | 2286 | 2 | 70168 | 70191 | 23 | 22997 | 23000 | 3 | 12332 | 12333 | 1 | 16803 | 16803 | 0 | 19243 | 19246 | 3 | 8241 | 8244 | 3 | 17159 | 17190 | 31 | 1691 | 1693 | 2 | 9390 | 9394 | 4
15 | 7570 | 7605 | 35 | 15 | 3418 | 3418 | 0 | 15 | 737795 | 737998 | 203 | 15 | 202907 | 203000 | 93 | 15 | 331 | 41 |  | 15 | 36109 | 36155 | 46 | 7637 | 7637 | 0 | 5308 | 5311 | 3 | 13349 | 13349 | 0 | 31519 | 31528 | 9 | 5700 | 5708 | 8 | 21409 | 21419 | 10 | 5616 | 5618 | 2 | 3257 | 3258 | 1 | 1511 | 1512 | 1 | 26470 | 26472 | 2 | 2286 | 2287 | 1 | 70191 | 70213 | 22 | 23000 | 23003 | 3 | 12333 | 12333 | 0 | 16803 | 16804 | 1 | 19246 | 19248 | 2 | 8244 | 8244 | 0 | 17190 | 17214 | 24 | 1693 | 1694 | 1 | 9394 | 9395 | 1
16 | 7605 | 7681 | 76 | 16 | 3418 | 3422 | 4 | 16 | 737998 | 738166 | 168 | 16 | 203000 | 203077 | 77 | 16 | 325 | 34 |  | 16 | 36155 | 36159 | 4 | 7637 | 7634 | -3 | 5311 | 5318 | 7 | 13349 | 13369 | 20 | 31528 | 31535 | 7 | 5708 | 5708 | 0 | 21419 | 21419 | 0 | 5618 | 5620 | 2 | 3258 | 3258 | 0 | 1512 | 1512 | 0 | 26472 | 26473 | 1 | 2287 | 2288 | 1 | 70213 | 70213 | 0 | 23003 | 23003 | 0 | 12333 | 12334 | 1 | 16804 | 16805 | 1 | 19248 | 19248 | 0 | 8244 | 8248 | 4 | 17214 | 17239 | 25 | 1694 | 1717 | 23 | 9395 | 9395 | 0
17 | 7681 | 7774 | 93 | 17 | 3422 | 3422 | 0 | 17 | 738166 | 738369 | 203 | 17 | 203077 | 203168 | 91 | 17 | 387 | 31 |  | 17 | 36159 | 36170 | 11 | 7634 | 7639 | 5 | 5318 | 5325 | 7 | 13369 | 13379 | 10 | 31535 | 31542 | 7 | 5708 | 5719 | 11 | 21419 | 21419 | 0 | 5620 | 5626 | 6 | 3258 | 3261 | 3 | 1512 | 1512 | 0 | 26473 | 26474 | 1 | 2288 | 2290 | 2 | 70213 | 70258 | 45 | 23003 | 23005 | 2 | 12334 | 12334 | 0 | 16805 | 16805 | 0 | 19248 | 19248 | 0 | 8248 | 8252 | 4 | 17239 | 17239 | 0 | 1717 | 1719 | 2 | 9395 | 9399 | 4
18 | 7774 | 7817 | 43 | 18 | 3422 | 3422 | 0 | 18 | 738369 | 738594 | 225 | 18 | 203168 | 203258 | 90 | 18 | 358 | 40 |  | 18 | 36170 | 36194 | 24 | 7639 | 7645 | 6 | 5325 | 5332 | 7 | 13379 | 13391 | 12 | 31542 | 31549 | 7 | 5719 | 5726 | 7 | 21419 | 21419 | 0 | 5626 | 5632 | 6 | 3261 | 3262 | 1 | 1512 | 1512 | 0 | 26474 | 26478 | 4 | 2290 | 2296 | 6 | 70258 | 70281 | 23 | 23005 | 23008 | 3 | 12334 | 12334 | 0 | 16805 | 16806 | 1 | 19248 | 19250 | 2 | 8252 | 8255 | 3 | 17239 | 17239 | 0 | 1719 | 1720 | 1 | 9399 | 9399 | 0
19 | 7817 | 7852 | 35 | 19 | 3422 | 3438 | 16 | 19 | 738594 | 738798 | 204 | 19 | 203258 | 203370 | 112 | 19 | 367 | 36 |  | 19 | 36194 | 36213 | 19 | 7645 | 7650 | 5 | 5332 | 5339 | 7 | 13391 | 13402 | 11 | 31549 | 31557 | 8 | 5726 | 5732 | 6 | 21419 | 21419 | 0 | 5632 | 5640 | 8 | 3262 | 3263 | 1 | 1512 | 1513 | 1 | 26478 | 26480 | 2 | 2296 | 2296 | 0 | 70281 | 70303 | 22 | 23008 | 23011 | 3 | 12334 | 12335 | 1 | 16806 | 16806 | 0 | 19250 | 19252 | 2 | 8255 | 8259 | 4 | 17239 | 17288 | 49 | 1720 | 1722 | 2 | 9399 | 9403 | 4
20 | 7852 | 7940 | 88 | 20 | 3438 | 3448 | 10 | 20 | 738798 | 738963 | 165 | 20 | 203370 | 203463 | 93 | 20 | 356 | 0 |  | 20 | 36213 | 36233 | 20 | 7650 | 7656 | 6 | 5339 | 5346 | 7 | 13402 | 13413 | 11 | 31557 | 31563 | 6 | 5732 | 5738 | 6 | 21419 | 21419 | 0 | 5640 | 5648 | 8 | 3263 | 3264 | 1 | 1513 | 1513 | 0 | 26480 | 26481 | 1 | 2296 | 2301 | 5 | 70303 | 70324 | 21 | 23011 | 23015 | 4 | 12335 | 12336 | 1 | 16806 | 16807 | 1 | 19252 | 19254 | 2 | 8259 | 8262 | 3 | 17288 | 17308 | 20 | 1722 | 1723 | 1 | 9403 | 9405 | 2
21 | 7940 | 8020 | 80 | 21 | 3448 | 3457 | 9 | 21 | 738963 | 739120 | 157 | 21 | 203463 | 203537 | 74 | 21 | 320 | 0 |  | 21 | 36233 |  | -36233 | 7656 |  | -7656 | 5346 |  | -5346 | 13413 |  | -13413 | 31563 |  | -31563 | 5738 |  | -5738 | 21419 |  | -21419 | 5648 |  | -5648 | 3264 |  | -3264 | 1513 |  | -1513 | 26481 |  | -26481 | 2301 |  | -2301 | 70324 |  | -70324 | 23015 |  | -23015 | 12336 |  | -12336 | 16807 |  | -16807 | 19254 |  | -19254 | 8262 |  | -8262 | 17308 |  | -17308 | 1723 |  | -1723 | 9405 |  | -9405
22 | 8020 |  | -8020 | 22 | 3457 |  | -3457 | 22 | 739120 |  | -739120 | 22 | 203537 |  | -203537 | 22 | -954134 | 0 |  | 22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0 |  | 23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0 |  | 24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0 |  | 25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0 |  | 26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0 |  | 27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0 |  | 28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 30 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
31 | 0 |  |  | 31 | 0 |  |  | 31 | 0 |  |  | 31 | 0 |  |  | 31 | 0 | 0 |  | 31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -6230 | Total |  |  | -3418 | Total |  |  | -735063 | Total |  |  | -201811 |  |  | 834
26.9032
Note on V5: Faisal Ibrahim: Average 400 cubic meter
Note on AC5: Faisal Ibrahim: AVERAGE 31 CUBIC
Note on AF5: Faisal Ibrahim: AVG 6 CUBIC METER
Note on AI5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AL5: Faisal Ibrahim: AVG 13 CUBIC METER
Note on AO5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AR5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AU5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AX5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on BA5: Faisal Ibrahim: AVG 2
Note on BD5: Faisal Ibrahim: AVG 1
Note on BG5: Faisal Ibrahim: AVG 1.6 CUBIC METER
Note on BJ5: Faisal Ibrahim: AVG 2.5 CUBIC METER
Note on BM5: Faisal Ibrahim: AVG 33
Note on BP5: Faisal Ibrahim: AVG 3
Note on BS5: Faisal Ibrahim: AVG 1
Note on BV5: Faisal Ibrahim: AVG 5
Note on BY5: Faisal Ibrahim: AVG 4
Note on CB5: Faisal Ibrahim: AVG 2
Note on CE5: Faisal Ibrahim: AVG 20
Note on CH5: Faisal Ibrahim: AVG 2.3
Note on CK5: Faisal Ibrahim: AVG 2

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-05-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-04-30
1 | 2 | 0 | 1 | 2 | 5 | 225 | 45
2 | 2 | 1 | 1 | 0 | 4 | 180 | 48
3 | 2 | 0 | 1 | 3 | 6 | 270 | 34
4 | 2 | 1 | 1 | 3 | 7 | 315 | 54
5 | 2 | 0 | 1 | 3 | 6 | 270 | 53
6 | 1 | 1 | 1 | 3 | 6 | 270 | 45
7 | 2 | 0 | 1 | 3 | 6 | 270 | 48
8 | 2 | 1 | 1 | 3 | 7 | 315 | 47
9 | 2 | 1 | 1 | 3 | 7 | 315 | 47
10 | 2 | 0 | 1 | 3 | 6 | 270 | 46
11 | 1 | 2 | 1 | 2 | 6 | 270 | 46
12 | 2 | 0 | 1 | 2 | 5 | 225 | 45
13 | 2 | 0 | 1 | 1 | 4 | 180 | 48
14 | 2 | 1 | 1 | 2 | 6 | 270 | 46
15 | 1 | 0 | 1 | 2 | 4 | 180 | 41
16 | 2 | 1 | 1 | 3 | 7 | 315 | 34
17 | 2 | 1 | 1 | 2 | 6 | 270 | 31
18 | 2 | 0 | 1 | 3 | 6 | 270 | 40
19 | 2 | 2 | 1 | 4 | 9 | 405 | 36
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 47 | 113 | 5085 | 27.8

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 0 | 13269 | 10077 | 3225 | 3562 | 30133
| 2 | 0 | 13679 | 3304 | 2788 | 11626 | 31397
| 3 | 0 | 13818 | 10037 | 3135 | 3157 | 30147
| 4 | 0 | 12361 | 5205 | 2037 | 9201 | 28804
| 5 | 1133 | 11712 | 7284 | 2947 | 7289 | 30365
| 6 | 2760 | 11285 | 4056 | 2634 | 9165 | 29900
| 7 | 792 | 11776 | 10477 | 3322 | 4220 | 30587
| 8 | 9053 | 11133 | 146 | 3011 | 6876 | 30219
| 9 | 0 | 11421 | 10191 | 4307 | 4271 | 30190
| 10 | 3932 | 12134 | 472 | 2628 | 10841 | 30007
| 11 | 3733 | 13083 | 3366 | 1098 | 8094 | 29374
| 12 | 3380 | 12350 | 7157 | 2363 | 3812 | 29062
| 13 | 8520 | 12718 | 3583 | 0 | 3355 | 28176
| 14 | 6260 | 12269 | 4798 | 1112 | 4021 | 28460
| 15 | 3807 | 12459 | 3596 | 1979 | 7890 | 29731
| 16 | 11221 | 10773 | 0 | 3744 | 4669 | 30407
| 17 | 8039 | 13153 | 0 | 2516 | 7226 | 30934
| 18 | 6691 | 18659 | 0 | 4795 | 418 | 30563
| 19 | 3952 | 14958 | 7511 | 3945 | 0 | 30366
| 20 | 7823 | 13475 | 6298 | 1644 | 0 | 29240
| 21 | -17163352 | -29928357 | -13134204 | -11693164 | -18260692 | -90179769
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTAL |  | #REF! | #REF! | #REF! | #REF! | #REF!

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 30133 | 8220 | 3180 | 225 | 291 | 45 | 3.6658 | 33313
2 | 31397 | 8710 | 3214 | 180 | 361 | 48 | 3.6047 | 34611
3 | 30147 | 8430 | 2336 | 270 | 385 | 34 | 3.5762 | 32483
4 | 28804 | 8070 | 3076 | 315 | 368 | 54 | 3.5693 | 31880
5 | 30365 | 8200 | 3178 | 270 | 356 | 53 | 3.703 | 33543
6 | 29900 | 8570 | 2974 | 270 | 379 | 45 | 3.4889 | 32874
7 | 30587 | 8380 | 2854 | 270 | 417 | 48 | 3.65 | 33441
8 | 30219 | 8650 | 2674 | 315 | 390 | 47 | 3.4935 | 32893
9 | 30190 | 8350 | 3112 | 315 | 381 | 47 | 3.6156 | 33302
10 | 30007 | 8460 | 2430 | 270 | 353 | 46 | 3.5469 | 32437
11 | 29374 | 8140 | 1801 | 270 | 387 | 46 | 3.6086 | 31175
12 | 29062 | 8070 | 1981 | 225 | 328 | 45 | 3.6012 | 31043
13 | 28176 | 7960 | 998 | 180 | 408 | 48 | 3.5397 | 29174
14 | 28460 | 7980 | 536 | 270 | 364 | 46 | 3.5664 | 28996
15 | 29731 | 8260 | 1650 | 180 | 331 | 41 | 3.5994 | 31381
16 | 30407 | 8990 | 3141 | 315 | 325 | 34 | 3.3823 | 33548
17 | 30934 | 8700 | 3268 | 270 | 387 | 31 | 3.5556 | 34202
18 | 30563 | 8500 | 3268 | 270 | 358 | 40 | 3.5956 | 33831
19 | 30366 | 8560 | 3310 | 405 | 367 | 36 | 3.5474 | 33676
20 | 29240 | 8470 | 2884 | 0 | 356 | 0 | 3.4522 | 32124
21 | -90179769 | -44017890 | -2648567 | 0 | 320 | 0 | 2.0487 | -92828336
22 | 0 | 0 | 0 | 0 | -954134 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | #REF! | #REF! | 0 | 0 | 0
Total | -89581707 | #REF! | #REF! | 5085 | -946522 |  |  | #REF!