## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights
Tunis | 1 | 8 | 2021 | 13738 | 0.251 | 885 | 0.56711 | 428 | 3.03 | 111
Tunis | 2 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 3 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 4 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 5 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 6 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 7 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 8 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 9 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 10 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 11 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 12 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 13 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 14 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 15 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 16 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 17 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 18 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 19 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 20 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 21 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 22 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 23 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 24 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 25 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 26 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 27 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 28 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 29 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 30 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 31 | 8 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0

## Submetring
Site Name | Day | Month | Year | Ph1 KWh | Ph2 KWh | Ph3 KWh | Cuisine m3 | Chaufferie m3 | Water m3 | Room Nights | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
Tunis | 1 | 8 | 2021 | 4687 | 4631 | 4420 | 146 | 739 | 428 | 111 | [49 empty] | 389 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 2 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 328 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 3 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 4 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 264 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 5 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 349 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 6 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 285 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 7 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 367 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 8 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 9 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 226 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 10 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 11 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 277 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 12 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 293 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 13 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 438 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 14 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 470 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 15 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 16 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 268 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 17 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 225 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 18 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 19 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 20 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 21 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 22 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 23 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 24 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 25 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 26 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 27 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 309 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 28 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 301 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 29 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 30 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 31 | 8 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Hotel
[5 empty] | RELEVEE JOURNALIERE D'ENERGIE | [14 empty] | August
2021
D | 1 | 5657793 |  | 5610038 |  | 5300477 | 5300477 |  | 5300477 | #REF! | 149207 | #REF! | 2279024 | #REF! | #REF! | #REF! | 283567 | #REF! | #REF! |  | #REF! | 100 | #REF!
|  | ELECTRICITE | [8 empty] | GAZ | [5 empty] | EAU |  |  |  | Cout | Pax / | Cout
|  | PH 1 | Con. | PH 2 | Con. | PH 3 | Con. | E.A Totale | cosℓ | cout | Cuisine | Con. | Chaufferie | Con. | T.cons | cout | SONEDE | Con. | cout |  | / jour | Nuité | / pax
ME | 1 | 5662480 | 4687 | 5614669 | 4631 | 5304897 | 4420 | 13738 | 0.97 | 3448.238 | 149353 | 146 | 2279763 | 739 | 885 | 520.8135 | 283995 | 428 | 1221.94 |  | 5190.9915 | 111 | 46.7657
J | 2 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 3 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 4 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 5 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 6 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 7 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 8 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 9 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 10 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 11 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 12 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 13 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 14 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 15 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 16 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 17 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 18 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 19 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 20 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 21 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 22 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 23 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 24 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 25 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 26 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 27 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 28 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 29 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 30 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 31 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
|  | 4687 |  | 4631 |  | 4420 |  | 13738 |  | 3448.238 | 146 |  | 739 |  | 885 | 520.8135 | 428 |  | 1221.94 |  | 5190.9915 | 111 | 1.5086

## Submetres
| 49433 | 79236 | 15207 | 13719 | 189420 | 3495 | 1485 | 380288 | 68377 | 7921 | 29890 | 52115 | 38542 | 181658 | 375920 | 2808 | 18050 | 25503 | 278413 | 375407 | 40159 | 5416 | 13927 | 86195 | 540 | 170186 | 7562 | 1974 | 17975 | 76508 | 205359 | 1125790 | 11123 | 483379 | 637743 | 9334 | 29315 | 28542 | 596531 | 5246 | 0 | 109712 | 217210 | 63112 | 560 | 107079 | 44534 | 38275 | 175158 | 481902
Day | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
1 | 78665 | 109693 | 19704 | 21539 | 273829 | 4911 | 10011 | 540431 | 91252 | 8077 | 39901 | 61484 | 55539 | 269908 | 561781 | 5098 | 26608 | 25503 | 374396 | 536193 | 59337 | 7566 | 21967 | 123967 | 1302 | 235926 | 11340 | 2753 | 24995 | 121998 | 310420 | 1520062 | 13954 | 4944003 | 910226 | 19573 | 48315 | 48576 | 845596 | 5710 | 0 | 151987 | 302719 | 862857 | 865 | 162360 | 61387 | 51470 | 256991 | 693331
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31