## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 7 | 2021 | 25744 | 0.93 | 225 | 1.24 | 418 | 2.16 | 18 | 196
Maldives at Landaa Giraavaru | 2 | 7 | 2021 | 26606 | 0.93 | 0 | 1.24 | 390 | 2.16 | 23 | 225
Maldives at Landaa Giraavaru | 3 | 7 | 2021 | 26843 | 0.93 | 90 | 1.24 | 429 | 2.16 | 26 | 243
Maldives at Landaa Giraavaru | 4 | 7 | 2021 | 27285 | 0.93 | 0 | 1.24 | 416 | 2.16 | 33 | 295
Maldives at Landaa Giraavaru | 5 | 7 | 2021 | 29505 | 0.93 | 90 | 1.24 | 387 | 2.16 | 30 | 256
Maldives at Landaa Giraavaru | 6 | 7 | 2021 | 24509 | 0.93 | 0 | 1.24 | 409 | 2.16 | 33 | 272
Maldives at Landaa Giraavaru | 7 | 7 | 2021 | 27353 | 0.93 | 0 | 1.24 | 328 | 2.16 | 36 | 308
Maldives at Landaa Giraavaru | 8 | 7 | 2021 | 28127 | 0.93 | 0 | 1.24 | 398 | 2.16 | 45 | 311
Maldives at Landaa Giraavaru | 9 | 7 | 2021 | 27718 | 0.93 | 0 | 1.24 | 364 | 2.16 | 41 | 281
Maldives at Landaa Giraavaru | 10 | 7 | 2021 | 28349 | 0.93 | 45 | 1.24 | 362 | 2.16 | 37 | 255
Maldives at Landaa Giraavaru | 11 | 7 | 2021 | 28217 | 0.93 | 0 | 1.24 | 405 | 2.16 | 36 | 327
Maldives at Landaa Giraavaru | 12 | 7 | 2021 | 28423 | 0.93 | 0 | 1.24 | 415 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 406 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-07-31 | 92090395 | 0 | 0 | 90 | 979486 | 423 | 23 | 251
2021-08-01 | 92116139 | 25744 | 225 | 225 | 979861 | 418 | 18 | 196
2021-08-02 | 92142745 | 26606 | 180 | 0 | 980251 | 390 | 23 | 225
2021-08-03 | 92169588 | 26843 | 270 | 90 | 980680 | 429 | 26 | 243
2021-08-04 | 92196873 | 27285 | 180 | 0 | 981096 | 416 | 33 | 295
2021-08-05 | 92226378 | 29505 | 270 | 90 | 981483 | 387 | 30 | 256
2021-08-06 | 92250887 | 24509 | 225 | 0 | 981892 | 409 | 33 | 272
2021-08-07 | 92278240 | 27353 | 225 | 0 | 982220 | 328 | 36 | 308
2021-08-08 | 92306367 | 28127 | 225 | 0 | 982618 | 398 | 45 | 311
2021-08-09 | 92334085 | 27718 | 225 | 0 | 982982 | 364 | 41 | 281
2021-08-10 | 92362434 | 28349 | 270 | 45 | 983344 | 362 | 37 | 255
2021-08-11 | 92390651 | 28217 | 270 | 0 | 983749 | 405 | 36 | 327
2021-08-12 | 92419074 | 28423 | 135 | 0 | 984164 | 415
2021-08-13 | 0 | 0 | 0 | 0 | 984570 | 406
2021-08-14 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-15 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-16 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-17 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-18 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-08-31 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | August
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather | Electricity Variance (Today vs Yesterday)
1 | 25744 | 7390 | 3215 | 225 | 375 | 18 | SUNNY
2 | 26606 | 7010 | 3103 | 180 | 390 | 23 | SUNNY | 862
3 | 26843 | 7590 | 3081 | 270 | 429 | 26 | SUNNY | 237
4 | 27285 | 7480 | 3158 | 180 | 416 | 33 | SUNNY | 442
5 | 29505 | 7780 | 2492 | 270 | 387 | 30 | CLOUDY | 2220
6 | 24509 | 7410 | 1206 | 225 | 409 | 33 | CLOUDY | -4996
7 | 27353 | 7520 | 2441 | 225 | 328 | 36 | CLOUDY | 2844
8 | 28127 | 7700 | 1599 | 225 | 398 | 45 | CLOUDY | 774
9 | 27718 | 7850 | 3321 | 225 | 364 | 41 | SUNNY | -409
10 | 28349 | 7650 | 2286 | 270 | 362 | 37 | CLOUDY | 631
11 | 28217 | 7720 | 2952 | 270 | 405 | 36 | SUNNY | -132
12 | 28423 | 8010 | 2946 | 135 | 415 | 0 | SUNNY | 206
13 | -92419074 | -44637690 | -2881555 | 0 | 406 | 0 | 0 | -92447497
14 | 0 | 0 | 0 | 0 | -984570 | 0 | 0 | 92419074
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | -92090395 | -44546580 | -2849755 | 2700 | -979486 | 11.9333
Avg | -3069679.8333 | -1484886 | -94991.8333 | 90 | -31596.3226
Note on G39: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-08-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17618058 | 17619819 | 1761
2 | 17619819 | 17626689 | 6870
3 | 17626689 | 17634252 | 7563
4 | 17634252 | 17636770 | 2518
5 | 17636770 | 17645771 | 9001
6 | 17645771 | 17651070 | 5299
7 | 17651070 | 17653380 | 2310
8 | 17653380 | 17659940 | 6560
9 | 17659940 | 17666513 | 6573
10 | 17666513 | 17672810 | 6297
11 | 17672810 | 17672843 | 33
12 | 17672843 | 17683136 | 10293
13 | 17683136 |  | -17683136
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -17618058 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-08-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 30410715 | 30421989 | 11274
2 | 30421989 | 30428295 | 6306
3 | 30428295 | 30438498 | 10203
4 | 30438498 | 30448299 | 9801
5 | 30448299 | 30457686 | 9387
6 | 30457686 | 30465066 | 7380
7 | 30465066 | 30480334 | 15268
8 | 30480334 | 30490840 | 10506
9 | 30490840 | 30501479 | 10639
10 | 30501479 | 30508204 | 6725
11 | 30508204 | 30524196 | 15992
12 | 30524196 | 30532099 | 7903
13 | 30532099 |  | -30532099
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -30410715

## GENSET #3
900 KVA
NO#3
2021-08-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 13572734 | 13581250 | 8516
2 | 13581250 | 13584756 | 3506
3 | 13584756 | 13586563 | 1807
4 | 13586563 | 13591915 | 5352
5 | 13591915 | 13597734 | 5819
6 | 13597734 | 13600008 | 2274
7 | 13600008 | 13606173 | 6165
8 | 13606173 | 13610643 | 4470
9 | 13610643 | 13615260 | 4617
10 | 13615260 | 13621687 | 6427
11 | 13621687 | 13623732 | 2045
12 | 13623732 | 13629927 | 6195
13 | 13629927 |  | -13629927
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -13572734

## GENSET #4
500 KVA
NO#4
2021-08-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11841888 | 11841888 | 0
2 | 11841888 | 11844915 | 3027
3 | 11844915 | 11846904 | 1989
4 | 11846904 | 11850611 | 3707
5 | 11850611 | 11850611 | 0
6 | 11850611 | 11853072 | 2461
7 | 11853072 | 11854373 | 1301
8 | 11854373 | 11855921 | 1548
9 | 11855921 | 11856656 | 735
10 | 11856656 | 11858413 | 1757
11 | 11858413 | 11860306 | 1893
12 | 11860306 | 11863519 | 3213
13 | 11863519 |  | -11863519
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -11841888

## GENSET #5
1000 KVA
NO#5
2021-08-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 18647000 | 18651193 | 4193
2 | 18651193 | 18658090 | 6897
3 | 18658090 | 18663371 | 5281
4 | 18663371 | 18669278 | 5907
5 | 18669278 | 18674576 | 5298
6 | 18674576 | 18681671 | 7095
7 | 18681671 | 18683980 | 2309
8 | 18683980 | 18689023 | 5043
9 | 18689023 | 18694177 | 5154
10 | 18694177 | 18701320 | 7143
11 | 18701320 | 18709574 | 8254
12 | 18709574 | 18710393 | 819
13 | 18710393 |  | -18710393
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -18647000

## Diesel consumption
Diesel Consumption - Powerhouse |  |  |  | Diesel Tank Jetty Meter
2021-08-01
|  |  | Liters | Boat meter Reading
Date | Yesterday | Today | ConsumptionIn 24 hrs | Yesterday | Today | Consumption (Liters) | In Barrels | Carbon Emmision
1 | 44546580 | 44553970 | 7390 | 726690 | 727310 | 620 | 36.95 | 19805.2 | 19.8052
2 | 44553970 | 44560980 | 7010 | 727310 | 729120 | 1810 | 35.05 | 18786.8 | 18.7868
3 | 44560980 | 44568570 | 7590 | 729120 | 729740 | 620 | 37.95 | 20341.2 | 20.3412
4 | 44568570 | 44576050 | 7480 | 729740 | 729940 | 200 | 37.4 | 20046.4 | 20.0464
5 | 44576050 | 44583830 | 7780 | 729940 | 731930 | 1990 | 38.9 | 20850.4 | 20.8504
6 | 44583830 | 44591240 | 7410 | 731930 | 733150 | 1220 | 37.05 | 19858.8 | 19.8588
7 | 44591240 | 44598760 | 7520 | 733150 | 733150 | 0 | 37.6 | 20153.6 | 20.1536
8 | 44598760 | 44606460 | 7700 | 733150 | 733410 | 260 | 38.5 | 20636 | 20.636
9 | 44606460 | 44614310 | 7850 | 733410 | 735440 | 2030 | 39.25 | 21038 | 21.038
10 | 44614310 | 44621960 | 7650 | 735440 | 735640 | 200 | 38.25 | 20502 | 20.502
11 | 44621960 | 44629680 | 7720 | 735640 | 736740 | 1100 | 38.6 | 20689.6 | 20.6896
12 | 44629680 | 44637690 | 8010 | 736740 | 740760 | 4020 | 40.05 | 21466.8 | 21.4668
13 | 44637690 |  | -44637690 | 740760 |  | -740760 | -223188.45 | -119629009.2 | -119629.0092
14 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 0 |  | 0 | 0 |  | 0
|  |  | -44546580 |  |  |  | -222732.9 | -119384834.4 | -119384.8344

## SOLAR METER READING
solar reading
2021-08-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2849755 | 2852970 | 3215 | SUNNY
2 | 2852970 | 2856073 | 3103 | SUNNY
3 | 2856073 | 2859154 | 3081 | SUNNY
4 | 2859154 | 2862312 | 3158 | SUNNY
5 | 2862312 | 2864804 | 2492 | CLOUDY | 1 liter diesel | 11.1 kwh
6 | 2864804 | 2866010 | 1206 | CLOUDY | 212.88 diesel | 2363 kwh
7 | 2866010 | 2868451 | 2441 | CLOUDY
8 | 2868451 | 2870050 | 1599 | CLOUDY
9 | 2870050 | 2873371 | 3321 | SUNNY
10 | 2873371 | 2875657 | 2286 | CLOUDY
11 | 2875657 | 2878609 | 2952 | SUNNY
12 | 2878609 | 2881555 | 2946 | SUNNY
13 | 2881555 |  | -2881555
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2849755

## FEEDER Consumption
2021-08-01
POWER HOUSE FEEDER READING
|  | BLU FEEDER PANEL 1 |  |  |  |  | BLU FEEDER PANEL 2 |  |  |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  |  |  | Main Kitchen -7 |  |  |  |  | Main Kitchen -10 |  |  |  |  | Water treatment Plant |  |  |  |  | Sewage treatment Plant |  |  |  |  | Laundry--8SSB |  |  |  |  | Laundry-9 |  |  |  |  | New staff accomodation (E0) |  |  |  |  | Staff block-16(E2-E3) |  |  |  |  | Staff Block Feeder-3(E4-E5) |  |  |  |  | Management block-5 |  |  |  |  | SNR STAFF BLOCK |  |  |  |  | BOAT DOCK FEEDER - 22 |  |  |  |  | RECEPTION |  |  |  |  | DIVE CENTER |  |  |  |  | 301-307 |  |  |  |  | 308-314 |  |  |  |  | 315-320 |  |  |  |  | 401-407 |  |  |  |  | 408-414 |  |  |  |  | 415-420 |  |  |  |  | SPA - 1 |  |  |  |  | SPA - 2 |  |  |  |  | BLU KITCHEN - 1 |  |  |  |  | BLU KITCHEN - 2 |  |  |  |  | AL BARAKATH |  |  |  |  | STAFF KITCHEN |  |  |  |  | MANAGR BLOCK GARDEN |  |  |  |  | 121-131 |  |  |  |  | 113-120
DAY | Occupancy | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | %
1 | 18 | 25797276 | 25799595 | 2319 |  |  | 23012686 | 23016925 | 4239 |  |  | 86714172 | 86727618 | 13446 |  |  | 21516 | 21536 | 20 |  |  | 2910539 | 2913286 | 2747 |  |  | 17818 | 17835 | 17 |  |  | 790459 | 791118 | 659 |  |  | 81890 | 81955 | 65 |  |  | 18457 | 18469 | 12 |  |  | 532676 | 533093 | 417 |  |  | 71411 | 71496 | 85 |  |  | 81256 | 81351 | 95 |  |  | 12670 | 12684 | 14 |  |  | 74596 | 74736 | 140 |  |  | 39682 | 39717 | 35 |  |  | 56881 | 57003 | 122 |  |  | 17093 | 17131 | 38 |  |  | 39028 | 39121 | 93 |  |  | 30715 | 30786 | 71 |  |  | 27021 | 27070 | 49 |  |  | 45440 | 45536 | 96 |  |  | 34215 | 34304 | 89 |  |  | 31620 | 31699 | 79 |  |  | 21040 | 21087 | 47 |  |  | 55671 | 55757 | 86 |  |  | 38361 | 38427 | 66 |  |  | 11921 | 11943 | 22 |  |  | 10828 | 10862 | 34 |  |  | 21268 | 21321 | 53 |  |  | 50280 | 50705 | 425 |  |  | 22069 | 24737 | 2668 |  |  | 9736 | 10619 | 883
2 | 23 | 25799595 | 25801940 | 2345 | 26 | 8.8138 | 23016925 | 23021371 | 4446 | 207 | 16.7105 | 86727618 | 86741582 | 13964 | 518 | 52.4844 | 21536 | 21556 | 20 | 0 | 0.075171 | 2913286 | 2916024 | 2738 | -9 | 10.2909 | 17835 | 17854 | 19 | 2 | 0.071412 | 791118 | 791787 | 669 | 10 | 2.5145 | 81955 | 82020 | 65 | 0 | 0.24431 | 18469 | 18478 | 9 | -3 | 0.033827 | 533093 | 533492 | 399 | -18 | 1.4997 | 71496 | 71585 | 89 | 4 | 0.33451 | 81351 | 81434 | 83 | -12 | 0.31196 | 12684 | 12698 | 14 | 0 | 0.05262 | 74736 | 74854 | 118 | -22 | 0.44351 | 39717 | 39757 | 40 | 5 | 0.15034 | 57003 | 57124 | 121 | -1 | 0.45478 | 17131 | 17169 | 38 | 0 | 0.14282 | 39121 | 39209 | 88 | -5 | 0.33075 | 30786 | 30856 | 70 | -1 | 0.2631 | 27070 | 27125 | 55 | 6 | 0.20672 | 45536 | 45644 | 108 | 12 | 0.40592 | 34304 | 34388 | 84 | -5 | 0.31572 | 31699 | 31785 | 86 | 7 | 0.32324 | 21087 | 21135 | 48 | 1 | 0.18041 | 55757 | 55843 | 86 | 0 | 0.32324 | 38427 | 38493 | 66 | 0 | 0.24806 | 11943 | 11966 | 23 | 1 | 0.086447 | 10862 | 10895 | 33 | -1 | 0.12403 | 21321 | 21367 | 46 | -7 | 0.17289 | 50705 | 50705 | 0 | -425 | 0 | 24737 | 27191 | 2454 | -214 | 10669.5652 | 10619 | 12389 | 1770 | 887 | #DIV/0!
3 | 26 | 25801940 | 25804235 | 2295 | -50 | 8.5497 | 23021371 | 23025911 | 4540 | 94 | 16.9132 | 86741582 | 86755303 | 13721 | -243 | 51.1157 | 21556 | 21577 | 21 | 1 | 0.078233 | 2916024 | 2918746 | 2722 | -16 | 10.1404 | 17854 | 17871 | 17 | -2 | 0.063331 | 791787 | 792504 | 717 | 48 | 2.6711 | 82020 | 82085 | 65 | 0 | 0.24215 | 18478 | 18492 | 14 | 5 | 0.052155 | 533492 | 533892 | 400 | 1 | 1.4901 | 71585 | 71676 | 91 | 2 | 0.33901 | 81434 | 81519 | 85 | 2 | 0.31666 | 12698 | 12712 | 14 | 0 | 0.052155 | 74854 | 74959 | 105 | -13 | 0.39116 | 39757 | 39796 | 39 | -1 | 0.14529 | 57124 | 57249 | 125 | 4 | 0.46567 | 17169 | 17207 | 38 | 0 | 0.14156 | 39209 | 39308 | 99 | 11 | 0.36881 | 30856 | 30925 | 69 | -1 | 0.25705 | 27125 | 27171 | 46 | -9 | 0.17137 | 45644 | 45747 | 103 | -5 | 0.38371 | 34388 | 34484 | 96 | 12 | 0.35764 | 31785 | 31875 | 90 | 4 | 0.33528 | 21135 | 21181 | 46 | -2 | 0.17137 | 55843 | 55929 | 86 | 0 | 0.32038 | 38493 | 38558 | 65 | -1 | 0.24215 | 11966 | 11990 | 24 | 1 | 0.089409 | 10895 | 10928 | 33 | 0 | 0.12294 | 21367 | 21417 | 50 | 4 | 0.18627 | 50705 | 51536 | 831 | 831 | 3.0958 | 27191 | 31137 | 3946 | 1492 | 15176.9231 | 12389 | 14242 | 1853 | 83 | #DIV/0!
4 | 33 | 25804235 | 25806502 | 2267 | -28 | 8.3086 | 23025911 | 23030729 | 4818 | 278 | 17.6581 | 86755303 | 86769827 | 14524 | 803 | 53.2307 | 21577 | 21599 | 22 | 1 | 0.08063 | 2918746 | 2921641 | 2895 | 173 | 10.6102 | 17871 | 17890 | 19 | 2 | 0.069635 | 792504 | 793121 | 617 | -100 | 2.2613 | 82085 | 82152 | 67 | 2 | 0.24556 | 18492 | 18502 | 10 | -4 | 0.03665 | 533892 | 534281 | 389 | -11 | 1.4257 | 71676 | 71767 | 91 | 0 | 0.33352 | 81519 | 81606 | 87 | 2 | 0.31886 | 12712 | 12725 | 13 | -1 | 0.047645 | 74959 | 75087 | 128 | 23 | 0.46912 | 39796 | 39834 | 38 | -1 | 0.13927 | 57249 | 57377 | 128 | 3 | 0.46912 | 17207 | 17247 | 40 | 2 | 0.1466 | 39308 | 39411 | 103 | 4 | 0.3775 | 30925 | 30999 | 74 | 5 | 0.27121 | 27171 | 27241 | 70 | 24 | 0.25655 | 45747 | 45858 | 111 | 8 | 0.40682 | 34484 | 34577 | 93 | -3 | 0.34085 | 31875 | 31978 | 103 | 13 | 0.3775 | 21181 | 21230 | 49 | 3 | 0.17959 | 55929 | 56011 | 82 | -4 | 0.30053 | 38558 | 38625 | 67 | 2 | 0.24556 | 11990 | 12012 | 22 | -2 | 0.08063 | 10928 | 10964 | 36 | 3 | 0.13194 | 21417 | 21476 | 59 | 9 | 0.21624 | 51536 | 52102 | 566 | -265 | 2.0744 | 31137 | 33324 | 2187 | -1759 | 6627.2727 | 14242 | 16013 | 1771 | -82 | #DIV/0!
5 | 30 | 25806502 | 25808743 | 2241 | -26 | 7.5953 | 23030729 | 23035583 | 4854 | 36 | 16.4514 | 86769827 | 86780802 | 10975 | -3549 | 37.1971 | 21599 | 21619 | 20 | -2 | 0.067785 | 2921641 | 2924453 | 2812 | -83 | 9.5306 | 17890 | 17908 | 18 | -1 | 0.061007 | 793121 | 793857 | 736 | 119 | 2.4945 | 82152 | 82216 | 64 | -3 | 0.21691 | 18502 | 18518 | 16 | 6 | 0.054228 | 534281 | 534677 | 396 | 7 | 1.3421 | 71767 | 71864 | 97 | 6 | 0.32876 | 81606 | 81696 | 90 | 3 | 0.30503 | 12725 | 12740 | 15 | 2 | 0.050839 | 75087 | 75235 | 148 | 20 | 0.50161 | 39834 | 39877 | 43 | 5 | 0.14574 | 57377 | 57500 | 123 | -5 | 0.41688 | 17247 | 17287 | 40 | 0 | 0.13557 | 39411 | 39506 | 95 | -8 | 0.32198 | 30999 | 31073 | 74 | 0 | 0.2508 | 27241 | 27306 | 65 | -5 | 0.2203 | 45858 | 45975 | 117 | 6 | 0.39654 | 34577 | 34681 | 104 | 11 | 0.35248 | 31978 | 32087 | 109 | 6 | 0.36943 | 21230 | 21280 | 50 | 1 | 0.16946 | 56011 | 56113 | 102 | 20 | 0.3457 | 38625 | 38692 | 67 | 0 | 0.22708 | 12012 | 12036 | 24 | 2 | 0.081342 | 10964 | 10999 | 35 | -1 | 0.11862 | 21476 | 21515 | 39 | -20 | 0.13218 | 52102 | 52416 | 314 | -252 | 1.0642 | 33324 | 35233 | 1909 | -278 | 6363.3333 | 16013 | 17437 | 1424 | -347 | #DIV/0!
6 | 33 | 25808743 | 25810837 | 2094 | -147 | 8.5438 | 23035583 | 23039995 | 4412 | -442 | 18.0016 | 86780802 | 86798102 | 17300 | 6325 | 70.5863 | 21619 | 21639 | 20 | 0 | 0.081603 | 2924453 | 2927074 | 2621 | -191 | 10.694 | 17908 | 17925 | 17 | -1 | 0.069362 | 793857 | 794594 | 737 | 1 | 3.0071 | 82216 | 82275 | 59 | -5 | 0.24073 | 18518 | 18534 | 16 | 0 | 0.065282 | 534677 | 535066 | 389 | -7 | 1.5872 | 71864 | 71961 | 97 | 0 | 0.39577 | 81696 | 81789 | 93 | 3 | 0.37945 | 12740 | 12755 | 15 | 0 | 0.061202 | 75235 | 75357 | 122 | -26 | 0.49778 | 39877 | 39920 | 43 | 0 | 0.17545 | 57500 | 57622 | 122 | -1 | 0.49778 | 17287 | 17324 | 37 | -3 | 0.15096 | 39506 | 39574 | 68 | -27 | 0.27745 | 31073 | 31146 | 73 | -1 | 0.29785 | 27306 | 27361 | 55 | -10 | 0.22441 | 45975 | 46056 | 81 | -36 | 0.33049 | 34681 | 34754 | 73 | -31 | 0.29785 | 32087 | 32171 | 84 | -25 | 0.34273 | 21280 | 21326 | 46 | -4 | 0.18769 | 56113 | 56198 | 85 | -17 | 0.34681 | 38692 | 38749 | 57 | -10 | 0.23257 | 12036 | 12057 | 21 | -3 | 0.085683 | 10999 | 11018 | 19 | -16 | 0.077523 | 21515 | 21564 | 49 | 10 | 0.19993 | 52416 | 52724 | 308 | -6 | 1.2567 | 35233 | 36503 | 1270 | -639 | 3848.4848 | 17437 | 18418 | 981 | -443 | #DIV/0!
7 | 36 | 25810837 | 25813137 | 2300 | 206 | 8.4086 | 23039995 | 23045166 | 5171 | 759 | 18.9047 | 86798102 | 86811726 | 13624 | -3676 | 49.8081 | 21639 | 21659 | 20 | 0 | 0.073118 | 2927074 | 2929715 | 2641 | 20 | 9.6552 | 17925 | 17940 | 15 | -2 | 0.054839 | 794594 | 795311 | 717 | -20 | 2.6213 | 82275 | 82332 | 57 | -2 | 0.20839 | 18534 | 18551 | 17 | 1 | 0.06215 | 535066 | 535401 | 335 | -54 | 1.2247 | 71961 | 72055 | 94 | -3 | 0.34366 | 81789 | 81867 | 78 | -15 | 0.28516 | 12755 | 12769 | 14 | -1 | 0.051183 | 75357 | 75491 | 134 | 12 | 0.48989 | 39920 | 39955 | 35 | -8 | 0.12796 | 57622 | 57743 | 121 | -1 | 0.44236 | 17324 | 17370 | 46 | 9 | 0.16817 | 39574 | 39659 | 85 | 17 | 0.31075 | 31146 | 31248 | 102 | 29 | 0.3729 | 27361 | 27438 | 77 | 22 | 0.2815 | 46056 | 46183 | 127 | 46 | 0.4643 | 34754 | 34853 | 99 | 26 | 0.36193 | 32171 | 32266 | 95 | 11 | 0.34731 | 21326 | 21378 | 52 | 6 | 0.19011 | 56198 | 56284 | 86 | 1 | 0.31441 | 38749 | 38814 | 65 | 8 | 0.23763 | 12057 | 12080 | 23 | 2 | 0.084086 | 11018 | 11049 | 31 | 12 | 0.11333 | 21564 | 21610 | 46 | -3 | 0.16817 | 52724 | 53076 | 352 | 44 | 1.2869 | 36503 | 37899 | 1396 | 126 | 3877.7778 | 18418 | 19520 | 1102 | 121 | #DIV/0!
8 | 45 | 25813137 | 25815389 | 2252 | -48 | 8.0065 | 23045166 | 23050532 | 5366 | 195 | 19.0778 | 86811726 | 86825738 | 14012 | 388 | 49.8169 | 21659 | 21679 | 20 | 0 | 0.071106 | 2929715 | 2932364 | 2649 | 8 | 9.418 | 17940 | 17958 | 18 | 3 | 0.063995 | 795311 | 796055 | 744 | 27 | 2.6451 | 82332 | 82391 | 59 | 2 | 0.20976 | 18551 | 18566 | 15 | -2 | 0.05333 | 535401 | 535770 | 369 | 34 | 1.3119 | 72055 | 72154 | 99 | 5 | 0.35197 | 81867 | 81956 | 89 | 11 | 0.31642 | 12769 | 12784 | 15 | 1 | 0.05333 | 75491 | 75644 | 153 | 19 | 0.54396 | 39955 | 39995 | 40 | 5 | 0.14221 | 57743 | 57859 | 116 | -5 | 0.41242 | 17370 | 17412 | 42 | -4 | 0.14932 | 39659 | 39744 | 85 | 0 | 0.3022 | 31248 | 31337 | 89 | -13 | 0.31642 | 27438 | 27526 | 88 | 11 | 0.31287 | 46183 | 46328 | 145 | 18 | 0.51552 | 34853 | 34946 | 93 | -6 | 0.33064 | 32266 | 32376 | 110 | 15 | 0.39108 | 21378 | 21426 | 48 | -4 | 0.17065 | 56284 | 56374 | 90 | 4 | 0.31998 | 38814 | 38881 | 67 | 2 | 0.23821 | 12080 | 12104 | 24 | 1 | 0.085327 | 11049 | 11083 | 34 | 3 | 0.12088 | 21610 | 21665 | 55 | 9 | 0.19554 | 53076 | 53437 | 361 | 9 | 1.2835 | 37899 | 38984 | 1085 | -311 | 2411.1111 | 19520 | 20430 | 910 | -192 | #DIV/0!
9 | 41 | 25815389 | 25817798 | 2409 | 157 | 8.6911 | 23050532 | 23056639 | 6107 | 741 | 22.0326 | 86825738 | 86839380 | 13642 | -370 | 49.2171 | 21679 | 21701 | 22 | 2 | 0.079371 | 2932364 | 2935211 | 2847 | 198 | 10.2713 | 17958 | 17975 | 17 | -1 | 0.061332 | 796055 | 796774 | 719 | -25 | 2.594 | 82391 | 82453 | 62 | 3 | 0.22368 | 18566 | 18581 | 15 | 0 | 0.054116 | 535770 | 536198 | 428 | 59 | 1.5441 | 72154 | 72236 | 82 | -17 | 0.29584 | 81956 | 82034 | 78 | -11 | 0.28141 | 12784 | 12797 | 13 | -2 | 0.046901 | 75644 | 75782 | 138 | -15 | 0.49787 | 39995 | 40030 | 35 | -5 | 0.12627 | 57859 | 57985 | 126 | 10 | 0.45458 | 17412 | 17451 | 39 | -3 | 0.1407 | 39744 | 39852 | 108 | 23 | 0.38964 | 31337 | 31438 | 101 | 12 | 0.36438 | 27526 | 27621 | 95 | 7 | 0.34274 | 46328 | 46486 | 158 | 13 | 0.57003 | 34946 | 35050 | 104 | 11 | 0.37521 | 32376 | 32505 | 129 | 19 | 0.4654 | 21426 | 21476 | 50 | 2 | 0.18039 | 56374 | 56475 | 101 | 11 | 0.36438 | 38881 | 38950 | 69 | 2 | 0.24894 | 12104 | 12130 | 26 | 2 | 0.093802 | 11083 | 11117 | 34 | 0 | 0.12266 | 21665 | 21715 | 50 | -5 | 0.18039 | 53437 | 53868 | 431 | 70 | 1.5549 | 38984 | 39883 | 899 | -186 | 2192.6829 | 20430 | 21095 | 665 | -245 | #DIV/0!
10 | 37 | 25817798 | 25820132 | 2334 | -75 | 8.2331 | 23056639 | 23061886 | 5247 | -860 | 18.5086 | 86839380 | 86853664 | 14284 | 642 | 50.3863 | 21701 | 21723 | 22 | 0 | 0.077604 | 2935211 | 2937954 | 2743 | -104 | 9.6758 | 17975 | 17992 | 17 | 0 | 0.059967 | 796774 | 797501 | 727 | 8 | 2.5645 | 82453 | 82515 | 62 | 0 | 0.2187 | 18581 | 18599 | 18 | 3 | 0.063494 | 536198 | 536535 | 337 | -91 | 1.1888 | 72236 | 72332 | 96 | 14 | 0.33864 | 82034 | 82128 | 94 | 16 | 0.33158 | 12797 | 12811 | 14 | 1 | 0.049384 | 75782 | 75907 | 125 | -13 | 0.44093 | 40030 | 40067 | 37 | 2 | 0.13052 | 57985 | 58107 | 122 | -4 | 0.43035 | 17451 | 17490 | 39 | 0 | 0.13757 | 39852 | 39946 | 94 | -14 | 0.33158 | 31438 | 31533 | 95 | -6 | 0.33511 | 27621 | 27696 | 75 | -20 | 0.26456 | 46486 | 46614 | 128 | -30 | 0.45152 | 35050 | 35150 | 100 | -4 | 0.35275 | 32505 | 32596 | 91 | -38 | 0.321 | 21476 | 21526 | 50 | 0 | 0.17637 | 56475 | 56582 | 107 | 6 | 0.37744 | 38950 | 39013 | 63 | -6 | 0.22223 | 12130 | 12155 | 25 | -1 | 0.088187 | 11117 | 11146 | 29 | -5 | 0.1023 | 21715 | 21764 | 49 | -1 | 0.17285 | 53868 | 54337 | 469 | 38 | 1.6544 | 39883 | 40260 | 377 | -522 | 1018.9189 | 21095 | 21661 | 566 | -99 | #DIV/0!
11 | 36 | 25820132 | 25822585 | 2453 | 119 | 8.6933 | 23061886 | 23066988 | 5102 | -145 | 18.0813 | 86853664 | 86868100 | 14436 | 152 | 51.1606 | 21723 | 21745 | 22 | 0 | 0.077967 | 2937954 | 2940744 | 2790 | 47 | 9.8877 | 17992 | 18009 | 17 | 0 | 0.060247 | 797501 | 798238 | 737 | 10 | 2.6119 | 82515 | 82580 | 65 | 3 | 0.23036 | 18599 | 18614 | 15 | -3 | 0.053159 | 536535 | 536934 | 399 | 62 | 1.414 | 72332 | 72426 | 94 | -2 | 0.33313 | 82128 | 82223 | 95 | 1 | 0.33668 | 12811 | 12825 | 14 | 0 | 0.049615 | 75907 | 76062 | 155 | 30 | 0.54931 | 40067 | 40102 | 35 | -2 | 0.12404 | 58107 | 58236 | 129 | 7 | 0.45717 | 17490 | 17533 | 43 | 4 | 0.15239 | 39946 | 40049 | 103 | 9 | 0.36503 | 31533 | 31639 | 106 | 11 | 0.37566 | 27696 | 27757 | 61 | -14 | 0.21618 | 46614 | 46726 | 112 | -16 | 0.39692 | 35150 | 35241 | 91 | -9 | 0.3225 | 32596 | 32676 | 80 | -11 | 0.28352 | 21526 | 21579 | 53 | 3 | 0.18783 | 56582 | 56693 | 111 | 4 | 0.39338 | 39013 | 39077 | 64 | 1 | 0.22681 | 12155 | 12179 | 24 | -1 | 0.085055 | 11146 | 11178 | 32 | 3 | 0.11341 | 21764 | 21814 | 50 | 1 | 0.1772 | 54337 | 54774 | 437 | -32 | 1.5487 | 40260 | 40262 | 2 | -375 | 5.5556 | 21661 | 22284 | 623 | 57 | #DIV/0!
12 | 0 | 25822585 | 25825089 | 2504 | 51 | 8.8098 | 23066988 | 23071956 | 4968 | -134 | 17.4788 | 86868100 | 86882578 | 14478 | 42 | 50.9376 | 21745 | 21767 | 22 | 0 | 0.077402 | 2940744 | 2943599 | 2855 | 65 | 10.0447 | 18009 | 18028 | 19 | 2 | 0.066847 | 798238 | 798959 | 721 | -16 | 2.5367 | 82580 | 82642 | 62 | -3 | 0.21813 | 18614 | 18631 | 17 | 2 | 0.059811 | 536934 | 537331 | 397 | -2 | 1.3968 | 72426 | 72519 | 93 | -1 | 0.3272 | 82223 | 82306 | 83 | -12 | 0.29202 | 12825 | 12840 | 15 | 1 | 0.052774 | 76062 | 76199 | 137 | -18 | 0.482 | 40102 | 40138 | 36 | 1 | 0.12666 | 58236 | 58363 | 127 | -2 | 0.44682 | 17533 | 17574 | 41 | -2 | 0.14425 | 40049 | 40146 | 97 | -6 | 0.34127 | 31639 | 31755 | 116 | 10 | 0.40812 | 27757 | 27813 | 56 | -5 | 0.19702 | 46726 | 46850 | 124 | 12 | 0.43627 | 35241 | 35333 | 92 | 1 | 0.32368 | 32676 | 32761 | 85 | 5 | 0.29905 | 21579 | 21628 | 49 | -4 | 0.1724 | 56693 | 56804 | 111 | 0 | 0.39053 | 39077 | 39147 | 70 | 6 | 0.24628 | 12179 | 12202 | 23 | -1 | 0.08092 | 11178 | 11207 | 29 | -3 | 0.10203 | 21814 | 21863 | 49 | -1 | 0.1724 | 54774 | 55261 | 487 | 50 | 1.7134 | 40262 | 40401 | 139 | 137 | #DIV/0! | 22284 | 23179 | 895 | 272 | #DIV/0!
13 | 0 | 25825089 |  | -25825089 | -25827593 | 27.9435 | 23071956 |  | -23071956 | -23076924 | 24.9645 | 86882578 |  | -86882578 | -86897056 | 94.0094 | 21767 |  | -21767 | -21789 | 0.023552 | 2943599 |  | -2943599 | -2946454 | 3.1851 | 18028 |  | -18028 | -18047 | 0.019507 | 798959 |  | -798959 | -799680 | 0.8645 | 82642 |  | -82642 | -82704 | 0.089421 | 18631 |  | -18631 | -18648 | 0.020159 | 537331 |  | -537331 | -537728 | 0.58141 | 72519 |  | -72519 | -72612 | 0.078468 | 82306 |  | -82306 | -82389 | 0.089057 | 12840 |  | -12840 | -12855 | 0.013893 | 76199 |  | -76199 | -76336 | 0.082449 | 40138 |  | -40138 | -40174 | 0.04343 | 58363 |  | -58363 | -58490 | 0.06315 | 17574 |  | -17574 | -17615 | 0.019016 | 40146 |  | -40146 | -40243 | 0.043439 | 31755 |  | -31755 | -31871 | 0.03436 | 27813 |  | -27813 | -27869 | 0.030094 | 46850 |  | -46850 | -46974 | 0.050693 | 35333 |  | -35333 | -35425 | 0.038231 | 32761 |  | -32761 | -32846 | 0.035448 | 21628 |  | -21628 | -21677 | 0.023402 | 56804 |  | -56804 | -56915 | 0.061464 | 39147 |  | -39147 | -39217 | 0.042358 | 12202 |  | -12202 | -12225 | 0.013203 | 11207 |  | -11207 | -11236 | 0.012126 | 21863 |  | -21863 | -21912 | 0.023656 | 55261 |  | -55261 | -55748 | 0.059794 | 40401 |  | -40401 | -40540 | #DIV/0! | 23179 |  | -23179 | -24074 | #DIV/0!
14 | 0 | 0 |  | 0 | 25825089 | #DIV/0! | 0 |  | 0 | 23071956 | #DIV/0! | 0 |  | 0 | 86882578 | #DIV/0! | 0 |  | 0 | 21767 | #DIV/0! | 0 |  | 0 | 2943599 | #DIV/0! | 0 |  | 0 | 18028 | #DIV/0! | 0 |  | 0 | 798959 | #DIV/0! | 0 |  | 0 | 82642 | #DIV/0! | 0 |  | 0 | 18631 | #DIV/0! | 0 |  | 0 | 537331 | #DIV/0! | 0 |  | 0 | 72519 | #DIV/0! | 0 |  | 0 | 82306 | #DIV/0! | 0 |  | 0 | 12840 | #DIV/0! | 0 |  | 0 | 76199 | #DIV/0! | 0 |  | 0 | 40138 | #DIV/0! | 0 |  | 0 | 58363 | #DIV/0! | 0 |  | 0 | 17574 | #DIV/0! | 0 |  | 0 | 40146 | #DIV/0! | 0 |  | 0 | 31755 | #DIV/0! | 0 |  | 0 | 27813 | #DIV/0! | 0 |  | 0 | 46850 | #DIV/0! | 0 |  | 0 | 35333 | #DIV/0! | 0 |  | 0 | 32761 | #DIV/0! | 0 |  | 0 | 21628 | #DIV/0! | 0 |  | 0 | 56804 | #DIV/0! | 0 |  | 0 | 39147 | #DIV/0! | 0 |  | 0 | 12202 | #DIV/0! | 0 |  | 0 | 11207 | #DIV/0! | 0 |  | 0 | 21863 | #DIV/0! | 0 |  | 0 | 55261 | #DIV/0! | 0 |  | 0 | 40401 | #DIV/0! | 0 |  | 0 | 23179 | #DIV/0!
15 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
16 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
17 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
18 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
19 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
20 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
21 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
22 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
23 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
24 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
25 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
26 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
27 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
28 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
29 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
30 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
31 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | #DIV/0!
Total |  |  |  | -25797276 |  |  |  |  | -23012686 |  |  |  |  | -86714172 |  |  |  |  | -21516 |  |  |  |  | -2910539 |  |  |  |  | -17818 |  |  |  |  | -790459 |  |  |  |  | -81890 |  |  |  |  | -18457 |  |  |  |  | -532676 |  |  |  |  | -71411 |  |  |  |  | -81256 |  |  |  |  | -12670 |  |  |  |  | -74596 |  |  |  |  | -39682 |  |  |  |  | -56881 |  |  |  |  | -17093 |  |  |  |  | -39028 |  |  |  |  | -30715 |  |  |  |  | -27021 |  |  |  |  | -45440 |  |  |  |  | -34215 |  |  |  |  | -31620 |  |  |  |  | -21040 |  |  |  |  | -55671 |  |  |  |  | -38361 |  |  |  |  | -11921 |  |  |  |  | -10828 |  |  |  |  | -21268 |  |  |  |  | -50280 |  |  |  |  | -22069 |  |  |  |  | -9736

## WATER
RO Plant Water Production Reading | [19 empty] | Water Consumption by locations
Month |  | 2021-08-02 | [17 empty] | Date: |  |  |  | 2021-06-13
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production |  |  |  | Laundry |  |  |  | Staff Block - E0 |  |  | Staff Block - E1 |  |  | Staff Block - E2 |  |  | Staff Block - E3 |  |  | Staff Block - E4 |  |  | Staff Block - E5 |  |  | Management Block |  |  | PC Block |  |  | GM Bungalow |  |  | Boat Dock |  |  | Supply Jetty |  |  | Main Kitchen |  |  | Day Facility |  |  | Reception |  |  | Main Pool |  |  | Dive Center |  |  | Albarakthu |  |  | Blu Resturant |  |  | Main Jetty |  |  | Landaa Estate
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $ | DAY | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage
1 | 12433 | 12489 | 56 | 1 | 8622 | 8680 | 58 | 1 | 750885 | 751124 | 239 | 1 | 207546 | 207568 | 22 | 1 | 375 | 18 |  | 1 | 37504 | 37526 | 22 | 8042 | 8047 | 5 | 5890 | 5896 | 6 | 14224 | 14234 | 10 | 32051 | 32057 | 6 | 6190 | 6195 | 5 | 22224 | 22235 | 11 | 6294 | 6303 | 9 | 3390 | 3390 | 0 | 1531 | 1531 | 0 | 26669 | 26680 | 11 | 2445 | 2445 | 0 | 72027 | 72052 | 25 | 23268 | 23272 | 4 | 12412 | 12413 | 1 | 17237 | 17243 | 6 | 19513 | 19519 | 6 | 8436 | 8440 | 4 | 18440 | 18456 | 16 | 1858 | 1860 | 2 | 9639 | 9639 | 0
2 | 12489 | 12563 | 74 | 2 | 8680 | 8775 | 95 | 2 | 751124 | 751336 | 212 | 2 | 207568 | 207577 | 9 | 2 | 390 | 23 |  | 2 | 37526 | 37543 | 17 | 8047 | 8052 | 5 | 5896 | 5903 | 7 | 14234 | 14245 | 11 | 32057 | 32063 | 6 | 6195 | 6200 | 5 | 22235 | 22245 | 10 | 6303 | 6312 | 9 | 3390 | 3391 | 1 | 1531 | 1532 | 1 | 26680 | 26681 | 1 | 2445 | 2448 | 3 | 72052 | 72075 | 23 | 23272 | 23276 | 4 | 12413 | 12414 | 1 | 17243 | 17251 | 8 | 19519 | 19523 | 4 | 8440 | 8442 | 2 | 18456 | 18472 | 16 | 1860 | 1860 | 0 | 9639 | 9645 | 6
3 | 12563 | 12564 | 1 | 3 | 8775 | 8847 | 72 | 3 | 751336 | 751599 | 263 | 3 | 207577 | 207670 | 93 | 3 | 429 | 26 |  | 3 | 37543 | 37561 | 18 | 8052 | 8058 | 6 | 5903 | 5912 | 9 | 14245 | 14255 | 10 | 32063 | 32069 | 6 | 6200 | 6206 | 6 | 22245 | 22256 | 11 | 6312 | 6322 | 10 | 3391 | 3392 | 1 | 1532 | 1532 | 0 | 26681 | 26682 | 1 | 2448 | 2453 | 5 | 72075 | 72099 | 24 | 23276 | 23281 | 5 | 12414 | 12415 | 1 | 17251 | 17258 | 7 | 19523 | 19528 | 5 | 8442 | 8444 | 2 | 18472 | 18487 | 15 | 1860 | 1861 | 1 | 9645 | 9646 | 1
4 | 12564 | 12659 | 95 | 4 | 8847 | 8932 | 85 | 4 | 751599 | 751835 | 236 | 4 | 207670 | 207670 | 0 | 4 | 416 | 33 |  | 4 | 37561 | 37584 | 23 | 8058 | 8062 | 4 | 5912 | 5918 | 6 | 14255 | 14266 | 11 | 32069 | 32075 | 6 | 6206 | 6211 | 5 | 22256 | 22267 | 11 | 6322 | 6333 | 11 | 3392 | 3394 | 2 | 1532 | 1534 | 2 | 26682 | 26685 | 3 | 2453 | 2454 | 1 | 72099 | 72121 | 22 | 23281 | 23281 | 0 | 12415 | 12416 | 1 | 17258 | 17263 | 5 | 19528 | 19528 | 0 | 8444 | 8447 | 3 | 18487 | 18487 | 0 | 1861 | 1863 | 2 | 9646 | 9647 | 1
5 | 12659 | 12659 | 0 | 5 | 8932 | 9038 | 106 | 5 | 751835 | 752017 | 182 | 5 | 207670 | 207769 | 99 | 5 | 387 | 30 |  | 5 | 37584 | 37602 | 18 | 8062 | 8066 | 4 | 5918 | 5925 | 7 | 14266 | 14276 | 10 | 32075 | 32080 | 5 | 6211 | 6216 | 5 | 22267 | 22277 | 10 | 6333 | 6342 | 9 | 3394 | 3396 | 2 | 1534 | 1534 | 0 | 26685 | 26690 | 5 | 2454 | 2455 | 1 | 72121 | 72147 | 26 | 23281 | 23284 | 3 | 12416 | 12417 | 1 | 17263 | 17269 | 6 | 19528 | 19533 | 5 | 8447 | 8449 | 2 | 18487 | 18487 | 0 | 1863 | 1865 | 2 | 9647 | 9649 | 2
6 | 12659 | 12728 | 69 | 6 | 9038 | 9153 | 115 | 6 | 752017 | 752242 | 225 | 6 | 207769 | 207769 | 0 | 6 | 409 | 33 |  | 6 | 37602 | 37624 | 22 | 8066 | 8071 | 5 | 5925 | 5932 | 7 | 14276 | 14287 | 11 | 32080 | 32086 | 6 | 6216 | 6221 | 5 | 22277 | 22287 | 10 | 6342 | 6351 | 9 | 3396 | 3397 | 1 | 1534 | 1534 | 0 | 26690 | 26693 | 3 | 2455 | 2458 | 3 | 72147 | 72173 | 26 | 23284 | 23287 | 3 | 12417 | 12418 | 1 | 17269 | 17271 | 2 | 19533 | 19536 | 3 | 8449 | 8451 | 2 | 18487 | 18530 | 43 | 1865 | 1866 | 1 | 9649 | 9650 | 1
7 | 12728 | 12728 | 0 | 7 | 9153 | 9203 | 50 | 7 | 752242 | 752456 | 214 | 7 | 207769 | 207833 | 64 | 7 | 328 | 36 |  | 7 | 37624 | 37644 | 20 | 8071 | 8076 | 5 | 5932 | 5939 | 7 | 14287 | 14297 | 10 | 32086 | 32091 | 5 | 6221 | 6227 | 6 | 22287 | 22297 | 10 | 6351 | 6361 | 10 | 3397 | 3399 | 2 | 1534 | 1534 | 0 | 26693 | 26694 | 1 | 2458 | 2460 | 2 | 72173 | 72201 | 28 | 23287 | 23289 | 2 | 12418 | 12418 | 0 | 17271 | 17274 | 3 | 19536 | 19538 | 2 | 8451 | 8452 | 1 | 18530 | 18548 | 18 | 1866 | 1869 | 3 | 9650 | 9651 | 1
8 | 12728 | 12831 | 103 | 8 | 9203 | 9276 | 73 | 8 | 752456 | 752678 | 222 | 8 | 207833 | 207833 | 0 | 8 | 398 | 45 |  | 8 | 37644 | 37667 | 23 | 8076 | 8081 | 5 | 5939 | 5947 | 8 | 14297 | 14307 | 10 | 32091 | 32098 | 7 | 6227 | 6232 | 5 | 22297 | 22308 | 11 | 6361 | 6371 | 10 | 3399 | 3400 | 1 | 1534 | 1534 | 0 | 26694 | 26697 | 3 | 2460 | 2460 | 0 | 72201 | 72229 | 28 | 23289 | 23298 | 9 | 12418 | 12419 | 1 | 17274 | 17275 | 1 | 19538 | 19539 | 1 | 8452 | 8454 | 2 | 18548 | 18566 | 18 | 1869 | 1870 | 1 | 9651 | 9652 | 1
9 | 12831 | 12831 | 0 | 9 | 9276 | 9354 | 78 | 9 | 752678 | 752864 | 186 | 9 | 207833 | 207933 | 100 | 9 | 364 | 41 |  | 9 | 37667 | 37692 | 25 | 8081 | 8085 | 4 | 5947 | 5950 | 3 | 14307 | 14313 | 6 | 32098 | 32105 | 7 | 6232 | 6237 | 5 | 22308 | 22318 | 10 | 6380 | 6388 | 8 | 3400 | 3402 | 2 | 1534 | 1535 | 1 | 26697 | 26698 | 1 | 2460 | 2462 | 2 | 72229 | 72257 | 28 | 23298 | 23301 | 3 | 12419 | 12419 | 0 | 17279 | 17283 | 4 | 19539 | 19541 | 2 | 8454 | 8457 | 3 | 18566 | 18584 | 18 | 1870 | 1871 | 1 | 9652 | 9654 | 2
10 | 12831 | 12864 | 33 | 10 | 9354 | 9453 | 99 | 10 | 752864 | 753063 | 199 | 10 | 207933 | 207964 | 31 | 10 | 362 | 37 |  | 10 | 37692 | 37718 | 26 | 8085 | 8091 | 6 | 5950 | 5958 | 8 | 14313 | 14321 | 8 | 32105 | 32111 | 6 | 6237 | 6242 | 5 | 22318 | 22327 | 9 | 6388 | 6388 | 0 | 3402 | 3404 | 2 | 1535 | 1535 | 0 | 26698 | 26701 | 3 | 2462 | 2464 | 2 | 72257 | 72284 | 27 | 23301 | 23304 | 0 | 12419 | 12420 | 1 | 17283 | 17283 | 0 | 19541 | 19544 | 3 | 8457 | 8459 | 2 | 18584 | 18602 | 18 | 1871 | 1873 | 2 | 9654 | 9655 | 1
11 | 12864 | 12936 | 72 | 11 | 9453 | 9558 | 105 | 11 | 753063 | 753268 | 205 | 11 | 207964 | 207987 | 23 | 11 | 405 | 36 |  | 11 | 37718 | 37742 | 24 | 8091 | 8095 | 4 | 5958 | 5969 | 11 | 14321 | 14336 | 15 | 32111 | 32116 | 5 | 6242 | 6249 | 7 | 22327 | 22338 | 11 | 6388 | 6398 | 10 | 3404 | 3405 | 1 | 1535 | 1535 | 0 | 26701 | 26703 | 2 | 2464 | 2468 | 4 | 72284 | 72312 | 28 | 23304 | 23307 | 3 | 12420 | 12421 | 1 | 17283 | 17290 | 7 | 19544 | 19547 | 3 | 8459 | 8461 | 2 | 18602 | 18619 | 17 | 1873 | 1875 | 2 | 9655 | 9656 | 1
12 | 12936 | 12937 | 1 | 12 | 9558 | 9642 | 84 | 12 | 753268 | 753502 | 234 | 12 | 207987 | 208083 | 96 | 12 | 415 | 0 |  | 12 | 37742 | 37767 | 25 | 8095 | 8101 | 6 | 5969 | 5977 | 8 | 14336 | 14346 | 10 | 32116 | 32122 | 6 | 6249 | 6255 | 6 | 22338 | 22346 | 8 | 6398 | 6407 | 9 | 3405 | 3407 | 2 | 1535 | 1535 | 0 | 26703 | 26706 | 3 | 2468 | 2470 | 2 | 72312 | 72341 | 29 | 23307 | 23310 | 3 | 12421 | 12425 | 4 | 17290 | 17295 | 5 | 19547 | 19550 | 3 | 8461 | 8464 | 3 | 18619 | 18634 | 15 | 1875 | 1878 | 3 | 9656 | 9658 | 2
13 | 12937 | 12966 | 29 | 13 | 9642 | 9725 | 83 | 13 | 753502 | 753736 | 234 | 13 | 208083 | 208143 | 60 | 13 | 406 | 0 |  | 13 | 37767 |  | -37767 | 8101 |  | -8101 | 5977 |  | -5977 | 14346 |  | -14346 | 32122 |  | -32122 | 6255 |  | -6255 | 22346 |  | -22346 | 6407 |  | -6407 | 3407 |  | -3407 | 1535 |  | -1535 | 26706 |  | -26706 | 2470 |  | -2470 | 72341 |  | -72341 | 23310 |  | -23310 | 12425 |  | -12425 | 17295 |  | -17295 | 19550 |  | -19550 | 8464 |  | -8464 | 18634 |  | -18634 | 1878 |  | -1878 | 9658 |  | -9658
14 | 12966 |  | -12966 | 14 | 9725 |  | -9725 | 14 | 753736 |  | -753736 | 14 | 208143 |  | -208143 | 14 | -984570 | 0 |  | 14 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 | 0 |  | 15 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 | 0 |  | 16 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 | 0 |  | 17 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 | 0 |  | 18 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 | 0 |  | 19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 | 0 |  | 20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 | 0 |  | 21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 | 0 |  | 22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0 |  | 23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0 |  | 24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0 |  | 25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0 |  | 26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0 |  | 27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0 |  | 28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 | 0 |  | 31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -12433 | Total |  |  | -8622 | Total |  |  | -750885 | Total |  |  | -207546 |  |  | 358
11.5484
Note on V5: Faisal Ibrahim: Average 400 cubic meter
Note on AC5: Faisal Ibrahim: AVERAGE 31 CUBIC
Note on AF5: Faisal Ibrahim: AVG 6 CUBIC METER
Note on AI5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AL5: Faisal Ibrahim: AVG 13 CUBIC METER
Note on AO5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AR5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AU5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AX5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on BA5: Faisal Ibrahim: AVG 2
Note on BD5: Faisal Ibrahim: AVG 1
Note on BG5: Faisal Ibrahim: AVG 1.6 CUBIC METER
Note on BJ5: Faisal Ibrahim: AVG 2.5 CUBIC METER
Note on BM5: Faisal Ibrahim: AVG 33
Note on BP5: Faisal Ibrahim: AVG 3
Note on BS5: Faisal Ibrahim: AVG 1
Note on BV5: Faisal Ibrahim: AVG 5
Note on BY5: Faisal Ibrahim: AVG 4
Note on CB5: Faisal Ibrahim: AVG 2
Note on CE5: Faisal Ibrahim: AVG 20
Note on CH5: Faisal Ibrahim: AVG 2.3
Note on CK5: Faisal Ibrahim: AVG 2

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-08-02
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-08-01
1 | 1 | 1 | 1 | 2 | 5 | 225 | 18
2 | 1 | 0 | 1 | 2 | 4 | 180 | 23
3 | 2 | 1 | 1 | 2 | 6 | 270 | 26
4 | 1 | 0 | 1 | 2 | 4 | 180 | 33
5 | 2 | 1 | 1 | 2 | 6 | 270 | 30
6 | 2 | 0 | 1 | 2 | 5 | 225 | 33
7 | 1 | 0 | 1 | 3 | 5 | 225 | 36
8 | 1 | 1 | 1 | 2 | 5 | 225 | 45
9 | 1 | 0 | 1 | 3 | 5 | 225 | 41
10 | 2 | 1 | 1 | 2 | 6 | 270 | 37
11 | 2 | 0 | 1 | 3 | 6 | 270 | 36
12 | 1 | 1 | 1 |  | 3 | 135 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 25 | 60 | 2700 | 11.9333

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 1761 | 11274 | 8516 | 0 | 4193 | 25744
| 2 | 6870 | 6306 | 3506 | 3027 | 6897 | 26606
| 3 | 7563 | 10203 | 1807 | 1989 | 5281 | 26843
| 4 | 2518 | 9801 | 5352 | 3707 | 5907 | 27285
| 5 | 9001 | 9387 | 5819 | 0 | 5298 | 29505
| 6 | 5299 | 7380 | 2274 | 2461 | 7095 | 24509
| 7 | 2310 | 15268 | 6165 | 1301 | 2309 | 27353
| 8 | 6560 | 10506 | 4470 | 1548 | 5043 | 28127
| 9 | 6573 | 10639 | 4617 | 735 | 5154 | 27718
| 10 | 6297 | 6725 | 6427 | 1757 | 7143 | 28349
| 11 | 33 | 15992 | 2045 | 1893 | 8254 | 28217
| 12 | 10293 | 7903 | 6195 | 3213 | 819 | 28423
| 13 | -17683136 | -30532099 | -13629927 | -11863519 | -18710393 | -92419074
| 14 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTAL |  | #REF! | #REF! | #REF! | #REF! | #REF!

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 25744 | 7390 | 3215 | 225 | 375 | 18 | 3.4836 | 28959
2 | 26606 | 7010 | 3103 | 180 | 390 | 23 | 3.7954 | 29709
3 | 26843 | 7590 | 3081 | 270 | 429 | 26 | 3.5366 | 29924
4 | 27285 | 7480 | 3158 | 180 | 416 | 33 | 3.6477 | 30443
5 | 29505 | 7780 | 2492 | 270 | 387 | 30 | 3.7924 | 31997
6 | 24509 | 7410 | 1206 | 225 | 409 | 33 | 3.3076 | 25715
7 | 27353 | 7520 | 2441 | 225 | 328 | 36 | 3.6374 | 29794
8 | 28127 | 7700 | 1599 | 225 | 398 | 45 | 3.6529 | 29726
9 | 27718 | 7850 | 3321 | 225 | 364 | 41 | 3.531 | 31039
10 | 28349 | 7650 | 2286 | 270 | 362 | 37 | 3.7058 | 30635
11 | 28217 | 7720 | 2952 | 270 | 405 | 36 | 3.6551 | 31169
12 | 28423 | 8010 | 2946 | 135 | 415 | 0 | 3.5484 | 31369
13 | -92419074 | -44637690 | -2881555 | 0 | 406 | 0 | 2.0704 | -95300629
14 | 0 | 0 | 0 | 0 | -984570 | 0 | #DIV/0! | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | #REF! | #REF! | 0 | 0 | 0
Total | -92090395 | #REF! | #REF! | 2700 | -979486 |  |  | #REF!