## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights
Cairo at Nile Plaza | #VALUE! | 12 | 2021 | 64852.5009 | 1.27 | 2125.7628 | 3.65 | 1026 | 10.03 | 315

## Submetering
Site Name | Day | Month | Year | Main (m3) | Podium (m3) | Hotel (m3) | Large (m3) | Feeder 1 (KWh) | Feeder 2 (KWh) | T1 (KWh) | T2 (KWh) | T3 (KWh) | T4 (KWh) | T5 (KWh) | T7 (KWh) | New Chiller (KWh) | Hotel (BTU) | B.S (BTU) | LS (BTU) | Mall (BTU) | AHU#25 (BTU) | AHU#9 (BTU) | Room Nights | Loss (KWH) | Mall (KWH) | Citadel (KWH) | Rotana (KWH) | CIB (KWH) | Plaza suits water consumption (M3) | Hotel water consumption (M3)
Cairo at Nile Plaza | #VALUE! | 12 | 2021 | 1220 | 490 | 490 | 5.697 | 788.4 | 52747 | 5.697 | 2504.097 | 14674.0084 | 0 | 0 | 0 | 0 | 2.736 | 0.912 | 3 | 0.917 | 0.8 | 0.69 | 315 | 36351.5976 | 1879 | 800 | 4 | 140 | 134.4759 | 885.8271

## Mall, Citadel, Rotana
Day | R1 | Cons | R2 | Cons | R3 | Cons | R4 | Cons | RO1 | Cons | RO2 | Cons | ROE | Cons | CIB. 1 | Cons | CIB. E | Cons | Co | Cons
2021-12-31 | 46419 | 0 | 40169 | 0 | 21164 | 0 | 253097 | 0 | 303517 | 0 | 25728 | 0 | 218807 | 0 | 136263 | 0 | 55047 | 0 | 3889 | 0
2022-01-01 | 46424 | 800 | 40171 | 320 | 21168 | 80 | 253116 | 19 | 303517 | 0 | 25730 | 320 | 218890 | 83 | 136382 | 119 | 55047 | 0 | 3890 | 160
2022-01-02 | 46429 | 800 | 40175 | 640 | 21173 | 100 | 253133 | 17 | 303517 | 0 | 25735 | 800 | 219009 | 119 | 136499 | 117 | 55047 | 0 | 3891 | 160
2022-01-03 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-04 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-05 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-06 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-07 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-08 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-09 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-10 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-11 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-12 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-13 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-14 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-15 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-16 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-17 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-18 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-19 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-20 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-21 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-22 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-23 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-24 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-25 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-26 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-27 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-28 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-29 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-30 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
2022-01-31 | 46429 | 0 | 40175 | 0 | 21173 | 0 | 253133 | 0 | 303517 | 0 | 25735 | 0 | 219009 | 0 | 136499 | 0 | 55047 | 0 | 3891 | 0
Total |  |  |  | 640 |  | 100 |  | 17 |  | 0 |  | 800 |  | 119 |  | 117 |  | 0 |  | 160

## ELECT.
Day | Rooms Sold | New Chillers | Cons | F-1 | Cons. | F-2 | Cons. | Total | T-1 | Cons. | T-2 | Cons. | T-3 | Cons. | T-4 | Cons. | T-5 | Cons. | T-6 | Cons. | T-7 | Cons. | Total | Diff | Daily Money Value | MTD Total Money
2021-12-31 | 286 | 19263 | 0 | 29394326 | 0 | 93376522 | 0 | 0 | 9244110 | 0 | 9241929 | 0 | 6233074 | 0 | 5733151 | 0 | 19746392 | 0 | 0 |  | 7634077 |  | 0 | 0 | 0 | 0
2022-01-01 | 226 | 19265 | 320 | 29406857 | 12531 | 93413328 | 36806 | 49337 | 9248103 | 7986 | 9248180 | 6251 | 6236140 | 6132 | 5735521 | 2370 | 19755737 | 9345 |  |  | 7644097 | 10020 | 42104 | 7233 | 5930.9974 | #REF!
2022-01-02 | 222 | 19267 | 320 | 29415767 | 8910 | 93443932 | 30604 | 39514 | 9251822 | 7438 | 9252516 | 4336 | 6238368 | 4456 | 5737493 | 1972 | 19763562 | 7825 |  |  | 7652165 | 8068 | 34095 | 5419 | 4788.0414 | #REF!
2022-01-03 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-04 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-05 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-06 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-07 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-08 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-09 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-10 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-11 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-12 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-13 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-14 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-15 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-16 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-17 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-18 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-19 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-20 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-21 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-22 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-23 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-24 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-25 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-26 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-27 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-28 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-29 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-30 |  |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
2022-01-31 |  |  | 0 |  | 0 |  | 0 | [6 empty] | 0 |  | 0 |  | 0 |  |  |  | 0 | 0 | 0 | 0 | #REF!
Total | 448 |  | 640 | 0 | 21441 | 0 | 67410 | 0 | 0 | 15424 | 0 | 10587 | 0 | 10588 | 0 | 4342 | 0 | 17170 | 0 | 0 | 0 | 18088 | 0 | 12652 | 10719.0388 | #REF!

## Water
Day | Main Reading | Cons. | Podium | Cons. | Hotel | Cons. | Large | Cons. | Total | cost.LE
2021-12-31 | 435789 | 0 | 1292 | 0 | 7381100 |  | 766162 | 0 | 0 | 0
2022-01-01 | 435872 | 830 | 1344 | 520 | 7392600 | 310.5 | 766323 | 4.347
2022-01-02 | 435950 | 780 | 1389 | 450 | 7402800 | 275.4 | 766502 | 4.833
2022-01-03 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-04 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-05 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-06 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-07 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-08 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-09 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-10 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-11 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-12 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-13 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-14 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-15 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-16 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0 |  |  | `
2022-01-17 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-18 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-19 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-20 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-21 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-22 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-23 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-24 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-25 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-26 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-27 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-28 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-29 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-30 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
2022-01-31 | 435950 | 0 | 1389 | 0 | 7402800 | 0 | 766502 | 0
Total |  | 780 |  | 450 |  | 275.4 |  | 4.833 | 0 | 0

## Gas
Day | Main | Cons.
2021-12-31 | 17869775 | 0
2022-01-01 | 17873522 | 3747
2022-01-02 | 17875871 | 2349
2022-01-03 | 17875871 | 0
2022-01-04 | 17875871 | 0
2022-01-05 | 17875871 | 0
2022-01-06 | 17875871 | 0
2022-01-07 | 17875871 | 0
2022-01-08 | 17875871 | 0
2022-01-09 | 17875871 | 0
2022-01-10 | 17875871 | 0
2022-01-11 | 17875871 | 0
2022-01-12 | 17875871 | 0
2022-01-13 | 17875871 | 0
2022-01-14 | 17875871 | 0
2022-01-15 | 17875871 | 0
2022-01-16 | 17875871 | 0
2022-01-17 | 17875871 | 0
2022-01-18 | 17875871 | 0
2022-01-19 | 17875871 | 0
2022-01-20 | 17875871 | 0
2022-01-21 | 17875871 | 0
2022-01-22 | 17875871 | 0
2022-01-23 | 17875871 | 0
2022-01-24 | 17875871 | 0
2022-01-25 | 17875871 | 0
2022-01-26 | 17875871 | 0
2022-01-27 | 17875871 | 0
2022-01-28 | 17875871 | 0
2022-01-29 | 17875871 | 0
2022-01-30 | 17875871 | 0
2022-01-31 | 17875871 | 0
Total |  | 2349

## BTU
Day | Hotel | Cons. Mwh | Cost (LE) | B.S | Cons. Mwh | Cost (LE) | LS | Cons.Mwh | Cost (LE) | AHU # 25 | Cons.Mwh | Cost (LE) | Mall | Cons.Mwh | Cost (LE) | AHU # 9 | Cons.Mwh | Cost (LE) | Total Cons. | Total Cost (LE) | Water consumption for cooling towers |  |  |  |  | Chilled Water |  | Oil Boiler |  | B2 Cooling tower
2021-12-31 | 22785.927 |  | 0 | 4083.9 | 0 | 0 | 4553 | 0 | 0 | 13883.09 | 0 | 0 | 3369 | 0 | 0 | 5289.9 | 0 | 0 | 0 | 0 | 2021-12-31 | 163330 | 0 | 8244 | 0 | 18.87 | 0 | 85 | 0 | 5234 | 0
2022-01-01 | 22788.09 | 2.163 | 4109.7 | 4084.395 | 0.495 | 940.5 | 4557 | 4 | 7600 | 13883.09 | 0 | 0 | 3370.389 | 1.389 | 2639.1 | 5290.56 | 0.66 | 1254 |  | 0 | 2022-01-01 | 163383 | 53 | 8248 | 4 | 19 | 0.13 | 89 | 4 | 5250 | 16
2022-01-02 | 22790.295 | 2.205 | 4189.5 | 4085.1 | 0.705 | 1339.5 | 4562 | 5 | 9500 | 13883.26 | 0.17 | 323 | 3371.619 | 1.23 | 2337 | 5290.83 | 0.27 | 513 |  | 0 | 2022-01-02 | 163421 | 38 | 8251 | 3 | 19 | 0 | 89 | 0 | 5258 | 8
2022-01-03 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-03 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-04 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-04 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-05 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-05 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-06 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-06 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-07 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-07 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-08 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-08 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-09 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-09 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-10 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-10 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-11 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-11 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-12 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-12 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-13 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-13 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-14 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-14 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-15 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-15 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-16 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-16 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-17 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-17 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-18 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-18 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-19 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-19 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-20 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-20 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-21 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-21 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-22 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-22 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-23 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-23 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-24 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-24 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-25 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-25 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-26 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-26 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-27 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-27 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-28 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-28 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-29 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-29 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-30 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-30 | 163421 | 0 | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
2022-01-31 | 22790.295 | 0 | 0 | 4085.1 | 0 | 0 | 4562 | 0 | 0 | 13883.26 | 0 | 0 | 3371.619 | 0 | 0 |  | 0 | 0 |  | 0 | 2022-01-31 | 163421 |  | 8251 | 0 | 19 | 0 | 89 | 0 | 5258 | 0
Total |  | 2.205 | 8299.2 | 0 | 1.2 | 2280 |  | 9 | 17100 |  | 0.17 | 323 |  | 0 | 4976.1 |  | 0.93 | 1767 | 0 | 0 | Total cons. |  | 0 |  | 0 |  |  |  | 0 | 0 | 0

## Energy Monthly Statement
Energy Monthly Statement January 2021
| Plant room | #REF! | #REF! |  | Electric
[5 empty] | Feeder 1 | 29003598 | #REF! | #REF!
| With out Plant room | Kwh | LE |  | Feeder 2 | 92139910 | #REF! | #REF!
| Hotel | #REF! | #REF! |  | Total |  |  | #REF!
| Plaza | #REF! | #REF! |  | Tr1 | 9100173 | #REF! | #REF!
| Large s. | #REF! | #REF! |  | Tr2 | 9052227 | #REF! | #REF!
| Mall | #REF! | #REF! |  | Tr3 | 6133946 | #REF! | #REF!
| EZZ | #REF! | #REF! |  | Tr4 | 5618556 | #REF! | #REF!
| Citadle | #REF! | #REF! |  | Tr5 | 19446426 | #REF! | #REF!
| CIB Bank | #REF! | #REF! |  | Tr6 | 0 | 0 | 0
[5 empty] | Tr7 | 7309228 | #REF! | #REF!
| Water | M3 | LE |  | Total |  |  | #REF!
| Main | #REF! | #REF! |  | loss |  |  | #REF!
| Large suite | #REF! | #REF!
| Plaza | #REF! | #REF! |  | CO | 3856 | #REF! | #REF!
| Mall | 1420 | 14242.6 |  | RO1 | 303517 | #REF! | #REF!
| CIB Bank | 200 | 2006 |  | RO2 | 25637 | #REF! | #REF!
| EZZ | 600 | 6018 | Estimated value as there is no water Flow meter | CIB 1 | 132781 | #REF! | #REF!
| Citadle | 600 | 6018 |  | CIB E | 55047 | #REF! | #REF!
| Plant room | 3000 | 30090 |  | R1 | 46274 | #REF! | #REF!
| Hotel | #REF! | #REF! |  | R2 | 40081 | #REF! | #REF!
[5 empty] | R3 | 21055 | #REF! | #REF!
| Gas |  |  |  | R4 | 252282 | #REF! | #REF!
|  | M3 | L.E |  | RO.E | 216119 | #REF! | #REF!
| Main | #REF! | #REF! |  | New chiller | 19174 | #REF! | #REF!
| Plant Room | #REF! | #REF!
Water
[5 empty] | Main Reading | 433119 | #REF! | #REF!
[5 empty] | Large Reading | 760516 | #REF! | #REF!
[5 empty] | Pdium Reading | 59 | #REF! | #REF!
[5 empty] | Hotel reading | 6928000 | #REF! | #REF!
Gas
[5 empty] | Main | 17783497 | #REF! | #REF!

## Plaza and residential
| Floor | Type | Acutal till July 2021 | Acutal till August 2021 | Consumption | Note |  | Floor | Type | Acutal till August 2021 | Acutal till Octobar 2021 | Consumption | Note
| 6 | Jade | 280262 | 281385 | 1123 |  |  | 6 | Jade | 281385 | 283246 | 1861
|  | Pearl | 242725 | 243779 | 1054 |  |  |  | Pearl | 243779 | 245142 | 1363
|  | Topaz | 190541 | 191088 | 547 |  |  |  | Topaz | 191088 | 192356 | 1268
| 7 | Jade | 241447 | 242725 | 1278 |  |  | 7 | Jade | 242725 | 245439 | 2714
|  | Pearl | 153709 | 153801 | 92 |  |  |  | Pearl | 153801 | 153827 | 26
|  | Topaz | 119307 | 120067 | 760 |  |  |  | Topaz | 120067 | 121622 | 1555
| 8 | Jade | 72845 | 73064 | 219 |  |  | 8 | Jade | 73064 | 75412 | 2348
|  | Pearl | 158 | 158 | 0 |  |  |  | Pearl | 158 | 158 | 0
|  | Topaz | 98137 | 98822 | 685 |  |  |  | Topaz | 98822 | 99971 | 1149
| 9 | Jade | 34639 | 34694 | 55 |  |  | 9 | Jade | 34694 | 34726 | 32
|  | Pearl | 0 | 0 | 0 |  |  |  | Pearl | 0 | 0 | 0
|  | Topaz | 28642 | 28776 | 134 |  |  |  | Topaz | 28776 | 28926 | 150
| 10 | Jade | 197101 | 198779 | 1678 |  |  | 10 | Jade | 198779 | 202553 | 3774
|  | Pearl | 7741 | 7741 | 0 |  |  |  | Pearl | 7741 | 7174 | -567
|  | Topaz | 185938 | 186735 | 797 |  |  |  | Topaz | 186735 | 188697 | 1962
| 11 | Jade | 64235 | 64951 | 716 |  |  | 11 | Jade | 64951 | 66191 | 1240
|  | Pearl | 213386 | 214391 | 1005 |  |  |  | Pearl | 214391 | 215756 | 1365
|  | Topaz | 30683 | 30758 | 75 |  |  |  | Topaz | 30758 | 30919 | 161
| 12 | Jade | 146008 | 146144 | 136 |  |  | 12 | Jade | 146144 | 146382 | 238
|  | Pearl | 22414 | 22438 | 24 |  |  |  | Pearl | 22438 | 22483 | 45
|  | Topaz | 242715 | 243056 | 341 |  |  |  | Topaz | 243056 | 245112 | 2056
| 14 | Jade | 116871 | 117017 | 146 |  |  | 14 | Jade | 117017 | 117346 | 329
|  | Pearl | 23763 | 23763 | 0 |  |  |  | Pearl | 23763 | 25937 | 2174
|  | Topaz | 1999 | 1999 | 0 |  |  |  | Topaz | 1999 | 1767 | -232
| 15 | Jade | 39380 | 39380 | 0 |  |  | 15 | Jade | 39380 | 39348 | -32
|  | Pearl | 80522 | 80886 | 364 |  |  |  | Pearl | 80886 | 81676 | 790
|  | Topaz | 154238 | 155292 | 1054 |  |  |  | Topaz | 155292 | 157355 | 2063
| 16 | Jade | 97965 | 97965 | 0 |  |  | 16 | Jade | 97965 | 97792 | -173
|  | Pearl | 59824 | 60065 | 241 |  |  |  | Pearl | 60065 | 60464 | 399
|  | Topaz | 68462 | 68462 | 0 |  |  |  | Topaz | 68462 | 68462 | 0
| 17 | Jade | 32768 | 33108 | 340 |  |  | 17 | Jade | 33108 | 34035 | 927
|  | Pearl | 64149 | 64190 | 41 |  |  |  | Pearl | 64190 | 64134 | -56
|  | Topaz | 11579 | 11664 | 85 |  |  |  | Topaz | 11664 | 83366 | 71702
| 18 | Jade | 239144 | 240194 | 1050 |  |  | 18 | Jade | 240194 | 243624 | 3430
|  | Pearl | 16836 | 17660 | 824 |  |  |  | Pearl | 17660 | 17660 | 0
|  | Topaz | 78775 | 80127 | 1352 |  |  |  | Topaz | 80127 | 83790 | 3663
| 19 | Jade | 21552 | 21717 | 165 |  |  | 19 | Jade | 21717 | 22092 | 375
|  | Pearl | 83126 | 83384 | 258 |  |  |  | Pearl | 83384 | 53053 | -30331
|  | Topaz | 53053 | 53053 | 0 |  |  |  | Topaz | 53053 | 53053 | 0
| 20 | Jade | 118849 | 119121 | 272 |  |  | 20 | Jade | 119121 | 119626 | 505
|  | Pearl | 69099 | 69249 | 150 |  |  |  | Pearl | 69249 | 66556 | -2693
|  | Topaz | 3298 | 3298 | 0 |  |  |  | Topaz | 3298 | 3312 | 14
| 21 | Emerald | 3468 | 3511 | 43 |  |  | 21 | Emerald | 3511 | 3585 | 74
|  | Topaz | 38755 | 39537 | 782 |  |  |  | Topaz | 39537 | 41106 | 1569
| 22 | Emerald | 13941 | 13941 | 0 |  |  | 22 | Emerald | 13941 | 13642 | -299
|  | Topaz | 19792 | 19942 | 150 |  |  |  | Topaz | 19942 | 20213 | 271
| 23 | Emerald |  |  | 0 |  |  | 23 | Emerald |  |  | 0
|  | Topaz |  |  | 0 |  |  |  | Topaz |  |  | 0
| 24 | Sapphire | 242334 | 243404 | 1070 |  |  | 24 | Sapphire | 243404 | 245344 | 1940
|  | Ruby | 536218 | 536689 | 471 |  |  |  | Ruby | 536689 | 237646 | -299043
|  | Sapphire | 34567 | 34567 | 0 |  |  |  | Sapphire | 34567 | 34557 | -10
| 25 | Sapphire | 330 | 330 | 0 |  |  | 25 | Sapphire | 330 | 330 | 0
|  | Ruby | 3 | 3 | 0 |  |  |  | Ruby | 3 | 3 | 0
| 26 | Sapphire | 706781 | 709819 | 3038 |  |  | 26 | Sapphire | 709819 | 716183 | 6364
|  | Ruby | 775701 | 779269 | 3568 |  |  |  | Ruby | 779269 | 786793 | 7524
| 27 | Sapphire | 239540 | 240561 | 1021 |  |  | 27 | Sapphire | 240561 | 242888 | 2327
|  | Ruby | 99246 | 100967 | 1721 |  |  |  | Ruby | 100967 | 102293 | 1326
| 28 | Diamond |  |  |  | without |  | 28 | Diamond |  |  |  | without
| Total Electricity Consumption KW |  |  |  | 28925 |  |  | Total Electricity Consumption KW |  |  |  | -202363
2021-08-01 |  |  |  |  | 2021-10-01 |  |  |  |  | Cons.
. | 30 | 35,40 | 45,50 |  | . | 30 | 35,40 | 45,50 |  | Floor | 30 | 35,40 | 45,50
6 | 92813 | 56584 | 78901 |  | 6 | 92813 | 56584 | 78901 |  | 6 | 0 | 0 | 0
7 | 97400 | 104249 | 64322 |  | 7 | 97400 | 104249 | 64322 |  | 7 | 0 | 0 | 0
8 | 113302 | 251904 | 109334 |  | 8 | 113302 | 251904 | 109334 |  | 8 | 0 | 0 | 0
9 | 68757 | 152765 | 155974 |  | 9 | 68757 | 152765 | 155974 |  | 9 | 0 | 0 | 0
10 | 72174 | 113714 | 147690 |  | 10 | 72174 | 113714 | 147690 |  | 10 | 0 | 0 | 0
11 | 154783 | 184017 | 212196 |  | 11 | 154783 | 184017 | 212196 |  | 11 | 0 | 0 | 0
12 | 149996 | 96553 | 100449 |  | 12 | 149996 | 96553 | 100449 |  | 12 | 0 | 0 | 0
14 | 123669 | 48259 | 51167 |  | 14 | 123669 | 48259 | 51167 |  | 14 | 0 | 0 | 0
15 | 169635 | 148519 | 158828 |  | 15 | 169635 | 148519 | 158828 |  | 15 | 0 | 0 | 0
16 | 122562 | 147878 | 216460 |  | 16 | 122562 | 147878 | 216460 |  | 16 | 0 | 0 | 0
17 | 38476 | 86216 | 202489 |  | 17 | 38476 | 86216 | 202489 |  | 17 | 0 | 0 | 0
18 | 137474 | 72899 | 164019 |  | 18 | 137474 | 72899 | 164019 |  | 18 | 0 | 0 | 0
19 | 76648 | 171894 | 123189 |  | 19 | 76648 | 171894 | 123189 |  | 19 | 0 | 0 | 0
20 | 144145 | 174846 | 88296 |  | 20 | 144145 | 174846 | 88296 |  | 20 | 0 | 0 | 0
21 | 192087 | 89374 | 113214 |  | 21 | 192087 | 89374 | 113214 |  | 21 | 0 | 0 | 0
22 | 137553 | 94869 | 120503 |  | 22 | 137553 | 94869 | 120503 |  | 22 | 0 | 0 | 0
23 | 127540 | 154958 | 290053 |  | 23 | 127540 | 154958 | 290053 |  | 23 | 0 | 0 | 0
24 | 78785 | 151027 | 101545 |  | 24 | 78785 | 151027 | 101545 |  | 24 | 0 | 0 | 0
25 | 120977 | 179891 | 162144 |  | 25 | 120977 | 179891 | 162144 |  | 25 | 0 | 0 | 0
26 | 113853 | 51611 | 54175 |  | 26 | 113853 | 51611 | 54175 |  | 26 | 0 | 0 | 0
27 | 102062 | 108979 | 120492 |  | 27 | 102062 | 108979 | 120492 |  | 27 | 0 | 0 | 0
28 | 195314 | 102314 | 111385 |  | 28 | 195314 | 102314 | 111385 |  | 28 | 0 | 0 | 0
29 |  | 83853 | 102313 |  | 29 |  | 83853 | 102313 |  | 29 | 0 | 0
30 |  | 14818 |  |  | 30 |  | 14818 |  |  | 30 | 0 | 0