## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 2 | 2022 | 36150.24 | 0.44448 | 844.83 | 3.6731 | 500 | 13.83 | 198 | 1.2 | 113.76 | 240
Dubai at Jumeirah Beach | 2 | 2 | 2022 | 38099.04 | 0.44448 | 1007.37 | 3.6731 | 525 | 13.83 | 197 | 1.2 | 118.5 | 263
Dubai at Jumeirah Beach | 3 | 2 | 2022 | 38050.32 | 0.44448 | 996.03 | 3.6731 | 493 | 13.83 | 221 | 1.2 | 118.5 | 224
Dubai at Jumeirah Beach | 4 | 2 | 2022 | 38537.52 | 0.44448 | 899.64 | 3.6731 | 534 | 13.83 | 184 | 1.2 | 146.94 | 270
Dubai at Jumeirah Beach | 5 | 2 | 2022 | 43701.84 | 0.44448 | 1035.72 | 3.6731 | 606 | 13.83 | 226 | 1.2 | 151.68 | 285
Dubai at Jumeirah Beach | 6 | 2 | 2022 | 38537.52 | 0.44448 | 1175.58 | 3.6731 | 492 | 13.83 | 171 | 1.2 | 163.53 | 306
Dubai at Jumeirah Beach | 7 | 2 | 2022 | 39365.76 | 0.44448 | 1254.96 | 3.6731 | 518 | 13.83 | 32 | 1.2 | 173.01 | 313
Dubai at Jumeirah Beach | 8 | 2 | 2022 | 38001.6 | 0.44448 | 1273.86 | 3.6731 | 521 | 13.83 | 44 | 1.2 | 184.86 | 337
Dubai at Jumeirah Beach | 9 | 2 | 2022 | 39560.64 | 0.44448 | 1031.94 | 3.6731 | 587 | 13.83 | 214 | 1.2 | 208.56 | 384
Dubai at Jumeirah Beach | 10 | 2 | 2022 | 39219.6 | 0.44448 | 859.95 | 3.6731 | 557 | 13.83 | 188 | 1.2 | 208.56 | 398
Dubai at Jumeirah Beach | 11 | 2 | 2022 | 40047.84 | 0.44448 | 924.21 | 3.6731 | 568 | 13.83 | 202 | 1.2 | 218.04 | 422
Dubai at Jumeirah Beach | 12 | 2 | 2022 | 41996.64 | 0.44448 | 979.02 | 3.6731 | 614 | 13.83 | 220 | 1.2 | 218.04 | 411
Dubai at Jumeirah Beach | 13 | 2 | 2022 | 37855.44 | 0.44448 | 1126.44 | 3.6731 | 601 | 13.83 | 18 | 1.2 | 187.23 | 367
Dubai at Jumeirah Beach | 14 | 2 | 2022 | 38196.48 | 0.44448 | 1045.17 | 3.6731 | 545 | 13.83 | 185 | 1.2 | 199.08 | 383
Dubai at Jumeirah Beach | 15 | 2 | 2022 | 40194 | 0.44448 | 914.76 | 3.6731 | 562 | 13.83 | 212 | 1.2 | 215.67 | 411
Dubai at Jumeirah Beach | 16 | 2 | 2022 | 40681.2 | 0.44448 | 1007.37 | 3.6731 | 574 | 13.83 | 210 | 1.2 | 182.49 | 376
Dubai at Jumeirah Beach | 17 | 2 | 2022 | 40729.92 | 0.44448 | 1113.21 | 3.6731 | 613 | 13.83 | 247 | 1.2 | 208.56 | 410
Dubai at Jumeirah Beach | 18 | 2 | 2022 | 40681.2 | 0.44448 | 996.03 | 3.6731 | 643 | 13.83 | 223 | 1.2 | 227.52 | 429
Dubai at Jumeirah Beach | 19 | 2 | 2022 | 41217.12 | 0.44448 | 958.23 | 3.6731 | 643 | 13.83 | 225 | 1.2 | 213.3 | 427
Dubai at Jumeirah Beach | 20 | 2 | 2022 | 39950.4 | 0.44448 | 876.96 | 3.6731 | 628 | 13.83 | 97 | 1.2 | 201.45 | 417
Dubai at Jumeirah Beach | 21 | 2 | 2022 | 38245.2 | 0.44448 | 899.64 | 3.6731 | 637 | 13.83 | 208 | 1.2 | 203.58 | 404
Dubai at Jumeirah Beach | 22 | 2 | 2022 | 38196.48 | 0.44448 | 975.24 | 3.6731 | 616 | 13.83 | 205 | 1.2 | 218.04 | 428
Dubai at Jumeirah Beach | 23 | 2 | 2022 | 39365.76 | 0.44448 | 807.03 | 3.6731 | 496 | 13.83 | 230 | 1.2 | 222.78 | 420
Dubai at Jumeirah Beach | 24 | 2 | 2022 | 39560.64 | 0.44448 | 971.46 | 3.6731 | 649 | 13.83 | 237 | 1.2 | 220.41 | 444
Dubai at Jumeirah Beach | 25 | 2 | 2022 | 41314.56 | 0.44448 | 803.25 | 3.6731 | 842 | 13.83 | 237 | 1.2 | 222.78 | 457
Dubai at Jumeirah Beach | 26 | 2 | 2022 | 42191.52 | 0.44448 | 801.36 | 3.6731 | 730 | 13.83 | 49 | 1.2 | 213.3 | 460
Dubai at Jumeirah Beach | 27 | 2 | 2022 | 41850.48 | 0.44448 | 727.65 | 3.6731 | 616 | 13.83 | 6 | 1.2 | 203.82 | 438
Dubai at Jumeirah Beach | 28 | 2 | 2022 | 41412 | 0.44448 | 788.13 | 3.6731 | 548 | 13.83 | 270 | 1.2 | 203.82 | 429

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 2 | 2022 | 113.76 | 240 | 500 | 357 | 198 | 198 | 74.16 | 6 | 2971.92 | 4482.24 | 0 | 194.88 | 8087.52 | 5066.88 | 3702.72 | 3848.88 | 2825.76 | 4969.44 | 0 | 0 | 41400 | 206.01 | 190.89 | 447.93 | 244 | 28.35 | 34.02 | 11.34 | 18.9 | 26.46 | 49.14 | 5 | 7 | 19 | 15 | 7 | 9 | 6 | 12 | 8 | 5 | 7 | 8.5 |  | 7.1 | 6 | 536 | 155.2 | 2600 | 260 | 3300 | 200 | 200 | 670 | 22.68 | 18.9 | 26.46 | 17.01 | 49.14
Dubai at Jumeirah Beach | 2 | 2 | 2022 | 118.5 | 263 | 525 | 388 | 197 | 197 | 67.83 | 6 | 3215.52 | 4872 | 0 | 146.16 | 7697.76 | 5505.36 | 4189.92 | 4141.2 | 3264.24 | 5066.88 | 0 | 0 | 37000 | 202.23 | 215.46 | 589.68 | 250 | 28.35 | 30.24 | 7.56 | 17.01 | 22.68 | 47.25 | 6 | 8 | 19 | 19 | 7 | 9 | 6 | 12 | 8 | 6 | 6 | 8.4 |  | 6.3 | 5.5 | 483 | 160.3 | 2100 | 270 | 2700 | 300 | 300 | 700 | 24.57 | 20.79 | 37.8 | 18.9 | 45.36
Dubai at Jumeirah Beach | 3 | 2 | 2022 | 118.5 | 224 | 493 | 374 | 221 | 221 | 65.53 | 6 | 3361.68 | 4725.84 | 0 | 146.16 | 7600.32 | 5554.08 | 3995.04 | 4189.92 | 3020.64 | 5456.64 | 0 | 0 | 36400 | 204.12 | 223.02 | 568.89 | 261 | 28.35 | 37.8 | 9.45 | 18.9 | 18.9 | 43.47 | 12 | 15 | 8 | 10 | 9 | 9 | 8 | 11 | 6 | 2 | 8 | 8.6 |  | 6.4 | 7.1 | 525 | 153.6 | 1700 | 190 | 1500 | 200 | 100 | 490 | 20.79 | 22.68 | 37.8 | 18.9 | 51.03
Dubai at Jumeirah Beach | 4 | 2 | 2022 | 146.94 | 270 | 534 | 422 | 184 | 184 | 69.97 | 3 | 3312.96 | 4725.84 | 0 | 146.16 | 7990.08 | 5700.24 | 3946.32 | 4092.48 | 3215.52 | 5407.92 | 0 | 0 | 38700 | 202.23 | 215.46 | 481.95 | 254 | 24.57 | 35.91 | 7.56 | 17.01 | 24.57 | 54.81 | 6 | 15 | 17 | 17 | 7 | 10 | 7 | 14 | 7 | 5 | 9 | 8.7 |  | 6.9 | 6.4 | 551 | 154.8 | 2500 | 260 | 2700 | 200 | 300 | 690 | 28.35 | 22.68 | 34.02 | 18.9 | 60.48
Dubai at Jumeirah Beach | 5 | 2 | 2022 | 151.68 | 285 | 606 | 464 | 226 | 226 | 79.5 | 4 | 2241.12 | 5066.88 | 0 | 9744 | 1656.48 | 5992.56 | 4384.8 | 4482.24 | 4043.76 | 6090 | 0 | 40000 | 2800 | 213.57 | 236.25 | 585.9 | 265 | 24.57 | 39.69 | 11.34 | 20.79 | 24.57 | 54.81 | 2 | 15 | 17 | 17 | 7 | 10 | 17 | 16 | 8 | 6 | 8 | 9.9 |  | 7.8 | 9.4 | 648 | 170.8 | 1900 | 230 | 2100 | 250 | 200 | 590 | 32.13 | 22.68 | 37.8 | 26.46 | 60.48
Dubai at Jumeirah Beach | 6 | 2 | 2022 | 163.53 | 306 | 492 | 371 | 171 | 171 | 66.28 | 3 | 2046.24 | 4482.24 | 0 | 8379.84 | 876.96 | 5554.08 | 4092.48 | 4043.76 | 3751.44 | 5310.48 | 0 | 37600 | 0 | 194.67 | 213.57 | 767.34 | 245 | 32.13 | 32.13 | 11.34 | 18.9 | 17.01 | 45.36 | 2 | 7 | 17 | 18 | 5 | 9 | 7 | 9 | 5 | 6 | 5 | 8 |  | 6.3 | 7.1 | 499 | 138 | 2300 | 250 | 2900 | 250 | 200 | 740 | 22.68 | 20.79 | 32.13 | 22.68 | 39.69
Dubai at Jumeirah Beach | 7 | 2 | 2022 | 173.01 | 313 | 518 | 388 | 32 | 32 | 58.62 | 5 | 2874.48 | 4823.28 | 0 | 7990.08 | 48.72 | 5846.4 | 4384.8 | 4238.64 | 3800.16 | 5359.2 | 0 | 32500 | 0 | 204.12 | 206.01 | 844.83 | 256 | 34.02 | 34.02 | 11.34 | 20.79 | 13.23 | 49.14 | 2 | 9 | 16 | 14 | 6 | 9 | 6 | 11 | 5 | 3 | 2 | 8.1 |  | 6.6 | 7.1 | 471 | 151.8 | 1300 | 210 | 1600 | 200 | 200 | 570 | 26.46 | 18.9 | 26.46 | 18.9 | 47.25
Dubai at Jumeirah Beach | 8 | 2 | 2022 | 184.86 | 337 | 521 | 421 | 44 | 44 | 58.98 | 4 | 2874.48 | 4774.56 | 0 | 2484.72 | 4823.28 | 5602.8 | 4287.36 | 4287.36 | 3410.4 | 5456.64 | 0 | 10800 | 21400 | 204.12 | 224.91 | 844.83 | 256 | 37.8 | 37.8 | 7.56 | 15.12 | 17.01 | 47.25 | 5 | 6 | 16 | 12 | 6 | 8 | 2 | 12 | 5 | 4 | 0 | 8.2 |  | 6.7 | 6.6 | 481 | 155.5 | 1700 | 250 | 1200 | 300 | 200 | 650 | 22.68 | 17.01 | 32.13 | 17.01 | 52.92
Dubai at Jumeirah Beach | 9 | 2 | 2022 | 208.56 | 384 | 587 | 451 | 214 | 214 | 55.02 | 1 | 2143.68 | 4628.4 | 1120.56 | 8087.52 | 0 | 5748.96 | 4384.8 | 4530.96 | 3556.56 | 5359.2 | 0 | 34600 | 0 | 202.23 | 228.69 | 601.02 | 255 | 39.69 | 34.02 | 11.34 | 22.68 | 37.8 | 69.93 | 8 | 9 | 19 | 14 | 6 | 9 | 8 | 10 | 7 | 5 | 11 | 8.5 |  | 6.4 | 6.9 | 488 | 156 | 1000 | 200 | 1300 | 200 | 200 | 510 | 22.68 | 17.01 | 35.91 | 18.9 | 56.7
Dubai at Jumeirah Beach | 10 | 2 | 2022 | 208.56 | 398 | 557 | 434 | 188 | 188 | 72.57 | 1 | 1997.52 | 4579.68 | 1364.16 | 8720.88 | 0 | 5895.12 | 3848.88 | 4189.92 | 3069.36 | 5554.08 | 0 | 38100 | 0 | 204.12 | 228.69 | 427.14 | 251 | 35.91 | 35.91 | 11.34 | 20.79 | 24.57 | 35.91 | 10 | 10 | 17 | 15 | 7 | 9 | 6 | 10 | 7 | 5 | 6 | 8.7 |  | 6.1 | 7.4 | 542 | 157.7 | 1600 | 240 | 1700 | 200 | 200 | 640 | 18.9 | 17.01 | 34.02 | 18.9 | 54.81
Dubai at Jumeirah Beach | 11 | 2 | 2022 | 218.04 | 422 | 568 | 437 | 202 | 202 | 70.59 | 2 | 2094.96 | 4482.24 | 1364.16 | 8769.6 | 0 | 5943.84 | 4238.64 | 4482.24 | 3069.36 | 5602.8 | 0 | 39200 | 0 | 198.45 | 223.02 | 502.74 | 179 | 35.91 | 35.91 | 9.45 | 18.9 | 34.02 | 56.7 | 9 | 10 | 16 | 17 | 7 | 10 | 10 | 19 | 7 | 5 | 4 | 8.7 |  | 6.4 | 8 | 546 | 155.4 | 2400 | 230 | 1600 | 300 | 200 | 600 | 22.68 | 20.79 | 34.02 | 18.9 | 56.7
Dubai at Jumeirah Beach | 12 | 2 | 2022 | 218.04 | 411 | 614 | 484 | 220 | 220 | 83.64 | 7 | 2241.12 | 4677.12 | 0 | 10913.28 | 0 | 6236.16 | 4433.52 | 4628.4 | 3264.24 | 5602.8 | 0 | 42300 | 0 | 189 | 241.92 | 548.1 | 202 | 35.91 | 37.8 | 11.34 | 17.01 | 41.58 | 52.92 | 9 | 13 | 16 | 17 | 7 | 10 | 10 | 19 | 7 | 5 | 10 | 9.8 |  | 7 | 6.9 | 577 | 165.9 | 3200 | 260 | 1800 | 300 | 600 | 730 | 20.79 | 20.79 | 37.8 | 28.35 | 66.15
Dubai at Jumeirah Beach | 13 | 2 | 2022 | 187.23 | 367 | 601 | 468 | 18 | 18 | 58.98 | 5 | 2046.24 | 4384.8 | 48.72 | 8769.6 | 0 | 6090 | 4092.48 | 4189.92 | 2874.48 | 5359.2 | 0 | 33100 | 0 | 181.44 | 255.15 | 689.85 | 192 | 35.91 | 35.91 | 7.56 | 20.79 | 9.45 | 49.14 | 8 | 13 | 16 | 16 | 6 | 10 | 9 | 19 | 7 | 5 | 0 | 8.7 |  | 7.2 | 5.9 | 544 | 155.3 | 1700 | 210 | 1100 | 200 | 300 | 600 | 24.57 | 20.79 | 30.24 | 26.46 | 60.48
Dubai at Jumeirah Beach | 14 | 2 | 2022 | 199.08 | 383 | 545 | 411 | 185 | 185 | 64.71 | 1 | 2143.68 | 4530.96 | 0 | 8477.28 | 1120.56 | 5797.68 | 3897.6 | 4189.92 | 2874.48 | 5164.32 | 0 | 35900 | 0 | 190.89 | 238.14 | 616.14 | 214 | 35.91 | 35.91 | 7.56 | 24.57 | 20.79 | 54.81 | 4 | 0 | 19 | 19 | 10 | 11 | 13 | 7 | 8 | 6 | 7 | 8.3 |  | 6.3 | 5 | 540 | 141.5 | 2500 | 230 | 1500 | 200 | 300 | 640 | 24.57 | 24.57 | 34.02 | 20.79 | 58.59
Dubai at Jumeirah Beach | 15 | 2 | 2022 | 215.67 | 411 | 562 | 433 | 212 | 212 | 78.8 | 2 | 2143.68 | 4530.96 | 48.72 | 9549.12 | 1364.16 | 5651.52 | 4141.2 | 4287.36 | 2777.04 | 5700.24 | 0 | 43200 | 0 | 189 | 240.03 | 485.73 | 199 | 34.02 | 35.91 | 7.56 | 22.68 | 13.23 | 49.14 | 6 | 6 | 18 | 17 | 8 | 9 | 7 | 13 | 7 | 4 | 7 | 9 |  | 6.6 | 7.8 | 524 | 156.3 | 3100 | 260 | 1900 | 300 | 200 | 640 | 20.79 | 22.68 | 30.24 | 20.79 | 58.59
Dubai at Jumeirah Beach | 16 | 2 | 2022 | 182.49 | 376 | 574 | 445 | 210 | 210 | 74.66 | 4 | 2143.68 | 4774.56 | 146.16 | 8964.48 | 1461.6 | 5700.24 | 4433.52 | 4482.24 | 2971.92 | 5602.8 | 0 | 42500 | 0 | 189 | 245.7 | 572.67 | 209 | 35.91 | 35.91 | 9.45 | 22.68 | 15.12 | 52.92 | 9 | 10 | 14 | 16 | 7 | 11 | 9 | 12 | 8 | 5 | 7 | 8.7 |  | 6.7 | 7.5 | 561 | 156.1 | 2500 | 260 | 1800 | 200 | 200 | 630 | 24.57 | 22.68 | 34.02 | 20.79 | 62.37
Dubai at Jumeirah Beach | 17 | 2 | 2022 | 208.56 | 410 | 613 | 494 | 247 | 247 | 70.49 | 6 | 2192.4 | 4774.56 | 194.88 | 8038.8 | 1510.32 | 6041.28 | 4579.68 | 4433.52 | 3312.96 | 5651.52 | 0 | 40900 | 0 | 187.11 | 258.93 | 667.17 | 165 | 30.24 | 35.91 | 9.45 | 18.9 | 22.68 | 49.14 | 12 | 11 | 15 | 15 | 8 | 10 | 8 | 14 | 8 | 4 | 7 | 8.7 |  | 6.7 | 6.8 | 548 | 156.8 | 2700 | 240 | 1500 | 200 | 200 | 620 | 28.35 | 24.57 | 37.8 | 22.68 | 62.37
Dubai at Jumeirah Beach | 18 | 2 | 2022 | 227.52 | 429 | 643 | 502 | 223 | 223 | 67.52 | 2 | 2094.96 | 4823.28 | 194.88 | 8428.56 | 1364.16 | 6138.72 | 4384.8 | 4628.4 | 3069.36 | 5554.08 | 0 | 41000 | 0 | 187.11 | 262.71 | 546.21 | 218 | 34.02 | 34.02 | 11.34 | 20.79 | 34.02 | 62.37 | 8 | 10 | 16 | 18 | 8 | 11 | 7 | 16 | 7 | 5 | 7 | 9.2 |  | 6.9 | 7 | 570 | 156.8 | 2800 | 240 | 1400 | 300 | 200 | 630 | 28.35 | 24.57 | 34.02 | 22.68 | 64.26
Dubai at Jumeirah Beach | 19 | 2 | 2022 | 213.3 | 427 | 643 | 505 | 225 | 225 | 78.29 | 5 | 3312.96 | 5310.48 | 7941.36 | 779.52 | 48.72 | 5943.84 | 4336.08 | 4628.4 | 2971.92 | 5943.84 | 38900 | 4000 | 0 | 190.89 | 260.82 | 506.52 | 220 | 34.02 | 39.69 | 13.23 | 17.01 | 30.24 | 56.7 | 8 | 11 | 16 | 17 | 8 | 9 | 7 | 16 | 7 | 6 | 6 | 9.3 |  | 7.2 | 8.8 | 580 | 162.9 | 3100 | 260 | 2100 | 300 | 200 | 750 | 30.24 | 24.57 | 32.13 | 30.24 | 64.26
Dubai at Jumeirah Beach | 20 | 2 | 2022 | 201.45 | 417 | 628 | 453 | 97 | 97 | 77.63 | 8 | 3410.4 | 4384.8 | 8428.56 | 194.88 | 0 | 5895.12 | 4336.08 | 4433.52 | 3166.8 | 5700.24 | 44100 | 0 | 0 | 185.22 | 255.15 | 436.59 | 214 | 34.02 | 35.91 | 11.34 | 18.9 | 11.34 | 49.14 | 3 | 5 | 18 | 21 | 8 | 11 | 14 | 17 | 10 | 2 | 4 | 8.6 |  | 7.2 | 8.4 | 507 | 149.2 | 2800 | 230 | 1700 | 200 | 200 | 630 | 26.46 | 22.68 | 30.24 | 24.57 | 56.7
Dubai at Jumeirah Beach | 21 | 2 | 2022 | 203.58 | 404 | 637 | 450 | 208 | 208 | 70.08 | 7 | 3264.24 | 4725.84 | 7697.76 | 194.88 | 0 | 5992.56 | 3751.44 | 4092.48 | 2971.92 | 5554.08 | 39100 | 0 | 0 | 192.78 | 247.59 | 459.27 | 228 | 32.13 | 35.91 | 13.23 | 17.01 | 13.23 | 47.25 | 6 | 7 | 17 | 16 | 7 | 10 | 6 | 14 | 6 | 4 | 7 | 8.3 |  | 7.2 | 7.2 | 504 | 150.2 | 2900 | 230 | 1800 | 300 | 200 | 660 | 24.57 | 22.68 | 32.13 | 18.9 | 51.03
Dubai at Jumeirah Beach | 22 | 2 | 2022 | 218.04 | 428 | 616 | 455 | 205 | 205 | 65.63 | 9 | 3410.4 | 4872 | 7405.44 | 146.16 | 0 | 5895.12 | 3751.44 | 4287.36 | 3020.64 | 5407.92 | 38900 | 0 | 0 | 187.11 | 264.6 | 523.53 | 220 | 34.02 | 35.91 | 13.23 | 17.01 | 18.9 | 47.25 | 7 | 9 | 18 | 17 | 9 | 10 | 8 | 14 | 7 | 5 | 7 | 8.6 |  | 6.7 | 7 | 508 | 155.5 | 2800 | 250 | 1800 | 200 | 200 | 640 | 28.35 | 22.68 | 34.02 | 20.79 | 52.92
Dubai at Jumeirah Beach | 23 | 2 | 2022 | 222.78 | 420 | 496 | 448 | 230 | 230 | 77.51 | 9 | 3556.56 | 4677.12 | 8331.12 | 48.72 | 97.44 | 5992.56 | 3897.6 | 4384.8 | 2923.2 | 5456.64 | 44700 | 0 | 0 | 187.11 | 249.48 | 370.44 | 208 | 32.13 | 35.91 | 9.45 | 18.9 | 11.34 | 51.03 | 8 | 10 | 19 | 15 | 8 | 9 | 7 | 17 | 7 | 5 | 9 | 11.9 |  | 7 | 7.2 | 523 | 155.2 | 3400 | 260 | 1500 | 300 | 100 | 670 | 20.79 | 20.79 | 35.91 | 18.9 | 58.59
Dubai at Jumeirah Beach | 24 | 2 | 2022 | 220.41 | 444 | 649 | 457 | 237 | 237 | 76.83 | 5 | 3605.28 | 4920.72 | 8477.28 | 48.72 | 0 | 5846.4 | 3995.04 | 4238.64 | 2777.04 | 5651.52 | 45100 | 0 | 0 | 187.11 | 255.15 | 529.2 | 214 | 30.24 | 37.8 | 7.56 | 17.01 | 11.34 | 58.59 | 11 | 11 | 17 | 18 | 9 | 11 | 7 | 15 | 7 | 5 | 15 | 5.8 |  | 7.3 | 7.4 | 539 | 157.1 | 3200 | 280 | 1500 | 200 | 100 | 700 | 22.68 | 22.68 | 32.13 | 22.68 | 56.7
Dubai at Jumeirah Beach | 25 | 2 | 2022 | 222.78 | 457 | 842 | 487 | 237 | 237 | 187.95 | 7 | 3605.28 | 4823.28 | 9305.52 | 146.16 | 0 | 5992.56 | 4189.92 | 4482.24 | 3118.08 | 5651.52 | 50300 | 0 | 0 | 190.89 | 219.24 | 393.12 | 224 | 32.13 | 35.91 | 15.12 | 22.68 | 18.9 | 56.7 | 10 | 12 | 19 | 19 | 9 | 11 | 9 | 16 | 7 | 6 | 14 | 9.3 |  | 6.9 | 7.8 | 589 | 157.6 | 3300 | 280 | 2400 | 300 | 0 | 670 | 26.46 | 24.57 | 34.02 | 26.46 | 58.59
Dubai at Jumeirah Beach | 26 | 2 | 2022 | 213.3 | 460 | 730 | 514 | 49 | 49 | 83.29 | 0 | 2094.96 | 4920.72 | 1218 | 9208.08 | 584.64 | 6041.28 | 4433.52 | 4579.68 | 3166.8 | 5943.84 | 2400 | 46000 | 0 | 190.89 | 234.36 | 376.11 | 226 | 35.91 | 35.91 | 15.12 | 18.9 | 18.9 | 58.59 | 10 | 12 | 19 | 18 | 9 | 11 | 5 | 16 | 7 | 7 | 3 | 10.2 |  | 7.9 | 9.3 | 586 | 165.6 | 3100 | 280 | 3400 | 300 | 0 | 680 | 26.46 | 26.46 | 34.02 | 32.13 | 58.59
Dubai at Jumeirah Beach | 27 | 2 | 2022 | 203.82 | 438 | 616 | 440 | 6 | 6 | 78.3 | 0 | 1851.36 | 4677.12 | 828.24 | 10279.92 | 730.8 | 5846.4 | 4336.08 | 4287.36 | 3069.36 | 5943.84 | 0 | 54000 | 0 | 185.22 | 238.14 | 304.29 | 223 | 34.02 | 35.91 | 13.23 | 20.79 | 30.24 | 58.59 | 4 | 7 | 17 | 23 | 9 | 9 | 17 | 17 | 8 | 3 | 0 | 9.3 |  | 7 | 8.5 | 665 | 143.6 | 3400 | 260 | 4000 | 200 | 100 | 610 | 24.57 | 22.68 | 28.35 | 26.46 | 60.48
Dubai at Jumeirah Beach | 28 | 2 | 2022 | 203.82 | 429 | 548 | 422 | 270 | 270 | 82.82 | 0 | 2971.92 | 4823.28 | 3459.12 | 6382.32 | 730.8 | 5846.4 | 3995.04 | 4433.52 | 2971.92 | 5797.68 | 16700 | 36500 | 0 | 192.78 | 226.8 | 368.55 | 230 | 41.58 | 32.13 | 13.23 | 20.79 | 26.46 | 56.7 | 5 | 8 | 18 | 19 | 7 | 9 | 3 | 14 | 7 | 5 | 20 | 9.4 |  | 7.1 | 8.4 | 537 | 152.1 | 3600 | 270 | 4400 | 300 | 300 | 610 | 22.68 | 22.68 | 30.24 | 24.57 | 52.92

## DJB Daily Readings
Daily Water Consumption February 2022 | [18 empty] | Electricity Daily Consumption February 2022 | [29 empty] | Chiller BTU Meter Reading February 2022 | [20 empty] | Lpg Daily Consumption February 2022 | [25 empty] | F& B Village Daily Water Meter Reading 2022 | [21 empty] | F & B Electrical Daily Reading February 2022 | [11 empty] | F & B Village Chilled Water Reading February 2022 | [11 empty] | F & B Village Daily Lpg Reading February 2022
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 90% | 51217 | 500 | 433 | 113998 | 357 | 389 | 164625 | 0 | 827562 | 198 | 193754 | 0 | 57064.25 | 74.16 | 74.16 | 4406 | 6 | 7309802.64 | 2971.92 | 1802.64 | 14003199.84 | 4482.24 | 4336.08 | 13842180.24 | 0 | 0 | 16821651.84 | 194.88 | 48.72 | 17304418.32 | 8087.52 | 7746.48 | 15784549.2 | 5066.88 | 5261.76 | 13402043.76 | 3702.72 | 3946.32 | 12889265.76 | 3848.88 | 3556.56 | 10258921.68 | 2825.76 | 3166.8 | 15949710 | 4969.44 | 4920.72 | 68689200 | 0 | 0 | 70961700 | 0 | 0 | 65975000 | 41400 | 31000 | [10 empty] | 8014880 | 5590 | 73% | -8% | 9% | 58111 | 15 | 49575 | 18 | 16986 | 6 | 22653 | 10 | 24687 | 14 | 54710 | 26 | 239760 | 109 | 87 | 186253 | 101 | 104 | 334353 | 237 | 414 | 632827 | 244 | 6845 | 7 | 4309 | 5 | 27779 | 15 | 28430 | 19 | 19131 | 9 | 22234 | 7 | 3766 | 12 | 7455 | 6 | 2039 | 5 | 3973 | 8 | 26575 | 7 | 3586.4 | 8.5 | 8581.1 | 7.2 | 2711.4 | 7.1 | 2837.8 | 6 | 902510 | 536 | 184587.9 | 155.2 | 10559600 | 2600 | 840950 | 260 | 6445600 | 200 | 2268700 | 200 | 1030620 | 670 | 14416100 | 3300 | 38296 | 12 | 33179 | 10 | 4264 | 9 | 55146 | 14 | 39482 | 26
2020-01-01 | 48% | 51717 |  |  | 114355 |  |  | 164625 |  | 827760 |  | 193754 |  | 57138.41 |  |  | 4412 |  | 7312774.56 |  |  | 14007682.08 |  |  | 13842180.24 |  |  | 16821846.72 |  |  | 17312505.84 |  |  | 15789616.08 |  |  | 13405746.48 |  |  | 12893114.64 |  |  | 10261747.44 |  |  | 15954679.44 |  |  | 68689200 |  |  | 70961700 |  |  | 66016400 | [12 empty] | 8020470 |  | 65% |  |  | 58126 |  | 49593 |  | 16992 |  | 22663 |  | 24701 |  | 54736 |  | 239869 |  |  | 186354 |  |  | 334590 |  |  | 633071 |  | 6852 |  | 4314 |  | 27794 |  | 28449 |  | 19140 |  | 22241 |  | 3778 |  | 7461 |  | 2044 |  | 3981 |  | 26582 |  | 3594.9 |  | 8588.3 |  | 2718.5 |  | 2843.8 |  | 903046 |  | 184743.1 |  | 10562200 |  | 841210 |  | 6445800 |  | 2268900 |  | 1031290 |  | 14419400 |  | 38308 |  | 33189 |  | 4273 |  | 55160 |  | 39508
2020-01-02 | 50% | 52242 | 525 | 376 | 114743 | 388 | 365 | 164625 | 0 | 827957 | 197 | 193754 | 0 | 57206.24 | 67.83 | 9 | 4418 | 6 | 7315990.08 | 3215.52 | 1802.64 | 14012554.08 | 4872 | 4384.8 | 13842180.24 | 0 | 48.72 | 16821992.88 | 146.16 | 97.44 | 17320203.6 | 7697.76 | 7941.36 | 15795121.44 | 5505.36 | 5115.6 | 13409936.4 | 4189.92 | 3946.32 | 12897255.84 | 4141.2 | 3556.56 | 10265011.68 | 3264.24 | 2874.48 | 15959746.32 | 5066.88 | 5066.88 | 68689200 | 0 | 0 | 70961700 | 0 | 0 | 66053400 | 37000 | 30400 | [10 empty] | 8025930 | 5460 | 55% | 10% | -10% | 58141 | 15 | 49609 | 16 | 16996 | 4 | 22672 | 9 | 24713 | 12 | 54761 | 25 | 239976 | 107 | 89 | 186468 | 114 | 97 | 334902 | 312 | 380 | 633321 | 250 | 6860 | 8 | 4320 | 6 | 27813 | 19 | 28468 | 19 | 19149 | 9 | 22248 | 7 | 3790 | 12 | 7467 | 6 | 2050 | 6 | 3989 | 8 | 26588 | 6 | 3603.3 | 8.4 | 8595.5 | 7.2 | 2724.8 | 6.3 | 2849.3 | 5.5 | 903529 | 483 | 184903.4 | 160.3 | 10564300 | 2100 | 841480 | 270 | 6446100 | 300 | 2269200 | 300 | 1031990 | 700 | 14422100 | 2700 | 38321 | 13 | 33200 | 11 | 4283 | 10 | 55180 | 20 | 39532 | 24
2020-01-03 | 50% | 52735 | 493 | 415 | 115117 | 374 | 408 | 164625 | 0 | 828178 | 221 | 193754 | 0 | 57271.77 | 65.53 | 10 | 4424 | 6 | 7319351.76 | 3361.68 | 1851.36 | 14017279.92 | 4725.84 | 4336.08 | 13842180.24 | 0 | 0 | 16822139.04 | 146.16 | 48.72 | 17327803.92 | 7600.32 | 8184.96 | 15800675.52 | 5554.08 | 4872 | 13413931.44 | 3995.04 | 3995.04 | 12901445.76 | 4189.92 | 3946.32 | 10268032.32 | 3020.64 | 2923.2 | 15965202.96 | 5456.64 | 4969.44 | 68689200 | 0 | 0 | 70961700 | 0 | 0 | 66089800 | 36400 | 31700 | [10 empty] | 8030830 | 4900 | 68% | -13% | 10% | 58156 | 15 | 49629 | 20 | 17001 | 5 | 22682 | 10 | 24723 | 10 | 54784 | 23 | 240084 | 108 | 92 | 186586 | 118 | 99 | 335203 | 301 | 370 | 633582 | 261 | 6875 | 15 | 4332 | 12 | 27823 | 10 | 28476 | 8 | 19158 | 9 | 22257 | 9 | 3801 | 11 | 7475 | 8 | 2052 | 2 | 3995 | 6 | 26596 | 8 | 3611.9 | 8.6 | 8603.9 | 8.4 | 2731.2 | 6.4 | 2856.4 | 7.1 | 904054 | 525 | 185057 | 153.6 | 10566000 | 1700 | 841670 | 190 | 6446300 | 200 | 2269300 | 100 | 1032480 | 490 | 14423600 | 1500 | 38332 | 11 | 33212 | 12 | 4293 | 10 | 55200 | 20 | 39559 | 27
2020-01-04 | 62% | 53269 | 534 | 405 | 115539 | 422 | 390 | 164625 | 0 | 828362 | 184 | 193754 | 0 | 57341.74 | 69.97 | 13 | 4427 | 3 | 7322664.72 | 3312.96 | 1900.08 | 14022005.76 | 4725.84 | 4433.52 | 13842180.24 | 0 | 97.44 | 16822285.2 | 146.16 | 146.16 | 17335794 | 7990.08 | 8331.12 | 15806375.76 | 5700.24 | 4725.84 | 13417877.76 | 3946.32 | 4092.48 | 12905538.24 | 4092.48 | 3751.44 | 10271247.84 | 3215.52 | 3069.36 | 15970610.88 | 5407.92 | 5213.04 | 68689200 | 0 | 0 | 70961700 | 0 | 0 | 66128500 | 38700 | 33300 | [10 empty] | 8036320 | 5490 | 62% | 6% | 5% | 58169 | 13 | 49648 | 19 | 17005 | 4 | 22691 | 9 | 24736 | 13 | 54813 | 29 | 240191 | 107 | 91 | 186700 | 114 | 99 | 335458 | 255 | 352 | 633836 | 254 | 6890 | 15 | 4338 | 6 | 27840 | 17 | 28493 | 17 | 19168 | 10 | 22264 | 7 | 3815 | 14 | 7482 | 7 | 2057 | 5 | 4002 | 7 | 26605 | 9 | 3620.6 | 8.7 | 8612 | 8.1 | 2738.1 | 6.9 | 2862.8 | 6.4 | 904605 | 551 | 185211.8 | 154.8 | 10568500 | 2500 | 841930 | 260 | 6446500 | 200 | 2269600 | 300 | 1033170 | 690 | 14426300 | 2700 | 38347 | 15 | 33224 | 12 | 4303 | 10 | 55218 | 18 | 39591 | 32
2020-01-05 | 64% | 53875 | 606 | 423 | 116003 | 464 | 404 | 164625 | 0 | 828588 | 226 | 193754 | 0 | 57421.24 | 79.5 | 14 | 4431 | 4 | 7324905.84 | 2241.12 | 1948.8 | 14027072.64 | 5066.88 | 4384.8 | 13842180.24 | 0 | 0 | 16832029.2 | 9744 | 97.44 | 17337450.48 | 1656.48 | 8574.72 | 15812368.32 | 5992.56 | 4823.28 | 13422262.56 | 4384.8 | 3946.32 | 12910020.48 | 4482.24 | 3995.04 | 10275291.6 | 4043.76 | 2923.2 | 15976700.88 | 6090 | 4969.44 | 68689200 | 0 | 0 | 71001700 | 40000 | 0 | 66131300 | 2800 | 33600 | [10 empty] | 8042600 | 6280 | 77% | -15% | -14% | 58182 | 13 | 49669 | 21 | 17011 | 6 | 22702 | 11 | 24749 | 13 | 54842 | 29 | 240304 | 113 | 90 | 186825 | 125 | 92 | 335768 | 310 | 343 | 634101 | 265 | 6905 | 15 | 4340 | 2 | 27857 | 17 | 28510 | 17 | 19178 | 10 | 22271 | 7 | 3831 | 16 | 7499 | 17 | 2063 | 6 | 4010 | 8 | 26613 | 8 | 3630.5 | 9.9 | 8620.6 | 8.6 | 2745.9 | 7.8 | 2872.2 | 9.4 | 905253 | 648 | 185382.6 | 170.8 | 10570400 | 1900 | 842160 | 230 | 6446750 | 250 | 2269800 | 200 | 1033760 | 590 | 14428400 | 2100 | 38364 | 17 | 33236 | 12 | 4317 | 14 | 55238 | 20 | 39623 | 32
2020-01-06 | 69% | 54367 | 492 | 408 | 116374 | 371 | 396 | 164625 | 0 | 828759 | 171 | 193754 | 0 | 57487.52 | 66.28 | 17 | 4434 | 3 | 7326952.08 | 2046.24 | 2582.16 | 14031554.88 | 4482.24 | 4336.08 | 13842180.24 | 0 | 7064.4 | 16840409.04 | 8379.84 | 0 | 17338327.44 | 876.96 | 438.48 | 15817922.4 | 5554.08 | 4725.84 | 13426355.04 | 4092.48 | 4043.76 | 12914064.24 | 4043.76 | 3800.16 | 10279043.04 | 3751.44 | 2923.2 | 15982011.36 | 5310.48 | 4969.44 | 68689200 | 0 | 34100 | 71039300 | 37600 | 0 | 66131300 | 0 | 900 | [10 empty] | 8048020 | 5420 | 69% | 8% | 8% | 58199 | 17 | 49686 | 17 | 17017 | 6 | 22712 | 10 | 24758 | 9 | 54866 | 24 | 240407 | 103 | 89 | 186938 | 113 | 93 | 336174 | 406 | 369 | 634346 | 245 | 6912 | 7 | 4342 | 2 | 27875 | 18 | 28527 | 17 | 19187 | 9 | 22276 | 5 | 3840 | 9 | 7506 | 7 | 2069 | 6 | 4015 | 5 | 26618 | 5 | 3638.5 | 8 | 8627.7 | 7.1 | 2752.2 | 6.3 | 2879.3 | 7.1 | 905752 | 499 | 185520.6 | 138 | 10572700 | 2300 | 842410 | 250 | 6447000 | 250 | 2270000 | 200 | 1034500 | 740 | 14431300 | 2900 | 38376 | 12 | 33247 | 11 | 4329 | 12 | 55255 | 17 | 39644 | 21
2020-01-07 | 73% | 54885 | 518 | 416 | 116762 | 388 | 395 | 164625 | 0 | 828791 | 32 | 193754 | 0 | 57546.14 | 58.62 | 14 | 4439 | 5 | 7329826.56 | 2874.48 | 2630.88 | 14036378.16 | 4823.28 | 4433.52 | 13842180.24 | 0 | 7454.16 | 16848399.12 | 7990.08 | 48.72 | 17338376.16 | 48.72 | 0 | 15823768.8 | 5846.4 | 4725.84 | 13430739.84 | 4384.8 | 4043.76 | 12918302.88 | 4238.64 | 3897.6 | 10282843.2 | 3800.16 | 3118.08 | 15987370.56 | 5359.2 | 5066.88 | 68689200 | 0 | 34800 | 71071800 | 32500 | 0 | 66131300 | 0 | 0 | [10 empty] | 8053070 | 5050 | 78% | -9% | -5% | 58217 | 18 | 49704 | 18 | 17023 | 6 | 22723 | 11 | 24765 | 7 | 54892 | 26 | 240515 | 108 | 89 | 187047 | 109 | 95 | 336621 | 447 | 373 | 634602 | 256 | 6921 | 9 | 4344 | 2 | 27889 | 14 | 28543 | 16 | 19196 | 9 | 22282 | 6 | 3851 | 11 | 7512 | 6 | 2072 | 3 | 4020 | 5 | 26620 | 2 | 3646.6 | 8.1 | 8635 | 7.3 | 2758.8 | 6.6 | 2886.4 | 7.1 | 906223 | 471 | 185672.4 | 151.8 | 10574000 | 1300 | 842620 | 210 | 6447200 | 200 | 2270200 | 200 | 1035070 | 570 | 14432900 | 1600 | 38390 | 14 | 33257 | 10 | 4339 | 10 | 55269 | 14 | 39669 | 25
2020-01-08 | 78% | 55406 | 521 | 398 | 117183 | 421 | 384 | 164625 | 0 | 828835 | 44 | 193754 | 0 | 57605.12 | 58.98 | 16 | 4443 | 4 | 7332701.04 | 2874.48 | 2630.88 | 14041152.72 | 4774.56 | 4336.08 | 13842180.24 | 0 | 7600.32 | 16850883.84 | 2484.72 | 0 | 17343199.44 | 4823.28 | 48.72 | 15829371.6 | 5602.8 | 4530.96 | 13435027.2 | 4287.36 | 3848.88 | 12922590.24 | 4287.36 | 3654 | 10286253.6 | 3410.4 | 3020.64 | 15992827.2 | 5456.64 | 5018.16 | 68689200 | 0 | 38400 | 71082600 | 10800 | 0 | 66152700 | 21400 | 0 | [10 empty] | 8058020 | 4950 | 68% | 10% | 4% | 58237 | 20 | 49724 | 20 | 17027 | 4 | 22731 | 8 | 24774 | 9 | 54917 | 25 | 240623 | 108 | 90 | 187166 | 119 | 92 | 337068 | 447 | 336 | 634858 | 256 | 6927 | 6 | 4349 | 5 | 27901 | 12 | 28559 | 16 | 19204 | 8 | 22288 | 6 | 3863 | 12 | 7514 | 2 | 2076 | 4 | 4025 | 5 | 26620 | 0 | 3654.8 | 8.2 | 8642.6 | 7.6 | 2765.5 | 6.7 | 2893 | 6.6 | 906704 | 481 | 185827.9 | 155.5 | 10575700 | 1700 | 842870 | 250 | 6447500 | 300 | 2270400 | 200 | 1035720 | 650 | 14434100 | 1200 | 38402 | 12 | 33266 | 9 | 4348 | 9 | 55286 | 17 | 39697 | 28
2020-01-09 | 88% | 55993 | 587 | 409 | 117634 | 451 | 357 | 164625 | 0 | 829049 | 214 | 193754 | 0 | 57660.14 | 55.02 | 17 | 4444 | 1 | 7334844.72 | 2143.68 | 1900.08 | 14045781.12 | 4628.4 | 4384.8 | 13843300.8 | 1120.56 | 9013.2 | 16858971.36 | 8087.52 | 48.72 | 17343199.44 | 0 | 0 | 15835120.56 | 5748.96 | 4920.72 | 13439412 | 4384.8 | 3995.04 | 12927121.2 | 4530.96 | 3702.72 | 10289810.16 | 3556.56 | 3020.64 | 15998186.4 | 5359.2 | 4969.44 | 68689200 | 0 | 41700 | 71117200 | 34600 | 0 | 66152700 | 0 | 0 | [10 empty] | 8064010 | 5990 | 60% | 8% | -8% | 58258 | 21 | 49742 | 18 | 17033 | 6 | 22743 | 12 | 24794 | 20 | 54954 | 37 | 240730 | 107 | 92 | 187287 | 121 | 94 | 337386 | 318 | 344 | 635113 | 255 | 6936 | 9 | 4357 | 8 | 27915 | 14 | 28578 | 19 | 19213 | 9 | 22294 | 6 | 3873 | 10 | 7522 | 8 | 2081 | 5 | 4032 | 7 | 26631 | 11 | 3663.3 | 8.5 | 8650.4 | 7.8 | 2771.9 | 6.4 | 2899.9 | 6.9 | 907192 | 488 | 185983.9 | 156 | 10576700 | 1000 | 843070 | 200 | 6447700 | 200 | 2270600 | 200 | 1036230 | 510 | 14435400 | 1300 | 38414 | 12 | 33275 | 9 | 4358 | 10 | 55305 | 19 | 39727 | 30
2020-01-10 | 88% | 56550 | 557 | 394 | 118068 | 434 | 355 | 164625 | 0 | 829237 | 188 | 193754 | 0 | 57732.71 | 72.57 | 20 | 4445 | 1 | 7336842.24 | 1997.52 | 1900.08 | 14050360.8 | 4579.68 | 4433.52 | 13844664.96 | 1364.16 | 9256.8 | 16867692.24 | 8720.88 | 0 | 17343199.44 | 0 | 0 | 15841015.68 | 5895.12 | 4823.28 | 13443260.88 | 3848.88 | 3848.88 | 12931311.12 | 4189.92 | 3751.44 | 10292879.52 | 3069.36 | 3118.09 | 16003740.48 | 5554.08 | 5066.88 | 68689200 | 0 | 42100 | 71155300 | 38100 | 0 | 66152700 | 0 | 0 | [10 empty] | 8069480 | 5470 | 50% | 10% | 9% | 58277 | 19 | 49761 | 19 | 17039 | 6 | 22754 | 11 | 24807 | 13 | 54973 | 19 | 240838 | 108 | 99 | 187408 | 121 | 95 | 337612 | 226 | 317 | 635364 | 251 | 6946 | 10 | 4367 | 10 | 27930 | 15 | 28595 | 17 | 19222 | 9 | 22301 | 7 | 3883 | 10 | 7528 | 6 | 2086 | 5 | 4039 | 7 | 26637 | 6 | 3672 | 8.7 | 8658.6 | 8.2 | 2778 | 6.1 | 2907.3 | 7.4 | 907734 | 542 | 186141.6 | 157.7 | 10578300 | 1600 | 843310 | 240 | 6447900 | 200 | 2270800 | 200 | 1036870 | 640 | 14437100 | 1700 | 38424 | 10 | 33284 | 9 | 4368 | 10 | 55323 | 18 | 39756 | 29
2020-01-11 | 92% | 57118 | 568 | 423 | 118505 | 437 | 371 | 164625 | 0 | 829439 | 202 | 193754 | 0 | 57803.3 | 70.59 | 17 | 4447 | 2 | 7338937.2 | 2094.96 | 1851.36 | 14054843.04 | 4482.24 | 4433.52 | 13846029.12 | 1364.16 | 8574.72 | 16876461.84 | 8769.6 | 0 | 17343199.44 | 0 | 0 | 15846959.52 | 5943.84 | 4823.28 | 13447499.52 | 4238.64 | 3995.04 | 12935793.36 | 4482.24 | 3751.44 | 10295948.88 | 3069.36 | 3069.35 | 16009343.28 | 5602.8 | 5180 | 68689200 | 0 | 39900 | 71194500 | 39200 | 0 | 66152700 | 0 | 0 | [10 empty] | 8075100 | 5620 | 63% | -13% | -12% | 58296 | 19 | 49780 | 19 | 17044 | 5 | 22764 | 10 | 24825 | 18 | 55003 | 30 | 240943 | 105 | 87 | 187526 | 118 | 95 | 337878 | 266 | 334 | 635543 | 179 | 6956 | 10 | 4376 | 9 | 27947 | 17 | 28611 | 16 | 19232 | 10 | 22308 | 7 | 3902 | 19 | 7538 | 10 | 2091 | 5 | 4046 | 7 | 26641 | 4 | 3680.7 | 8.7 | 8666.8 | 8.2 | 2784.4 | 6.4 | 2915.3 | 8 | 908280 | 546 | 186297 | 155.4 | 10580700 | 2400 | 843540 | 230 | 6448200 | 300 | 2271000 | 200 | 1037470 | 600 | 14438700 | 1600 | 38436 | 12 | 33295 | 11 | 4378 | 10 | 55341 | 18 | 39786 | 30
2020-01-12 | 92% | 57732 | 614 | 421 | 118989 | 484 | 389 | 164625 | 0 | 829659 | 220 | 193754 | 0 | 57886.94 | 83.64 | 13 | 4454 | 7 | 7341178.32 | 2241.12 | 1997.52 | 14059520.16 | 4677.12 | 4579.68 | 13846029.12 | 0 | 8428.56 | 16887375.12 | 10913.28 | 97.44 | 17343199.44 | 0 | 0 | 15853195.68 | 6236.16 | 5066.88 | 13451933.04 | 4433.52 | 4189.92 | 12940421.76 | 4628.4 | 3995.04 | 10299213.12 | 3264.24 | 3264.24 | 16014946.08 | 5602.8 | 4953.76 | 68689200 | 0 | 37000 | 71236800 | 42300 | 0 | 66152700 | 0 | 0 | [10 empty] | 8080880 | 5780 | 51% | 12% | 10% | 58315 | 19 | 49800 | 20 | 17050 | 6 | 22773 | 9 | 24847 | 22 | 55031 | 28 | 241043 | 100 | 103 | 187654 | 128 | 97 | 338168 | 290 | 343 | 635745 | 202 | 6969 | 13 | 4385 | 9 | 27964 | 17 | 28627 | 16 | 19242 | 10 | 22315 | 7 | 3921 | 19 | 7548 | 10 | 2096 | 5 | 4053 | 7 | 26651 | 10 | 3690.5 | 9.8 | 8675.3 | 8.5 | 2791.4 | 7 | 2922.2 | 6.9 | 908857 | 577 | 186462.9 | 165.9 | 10583900 | 3200 | 843800 | 260 | 6448500 | 300 | 2271600 | 600 | 1038200 | 730 | 14440500 | 1800 | 38447 | 11 | 33306 | 11 | 4393 | 15 | 55361 | 20 | 39821 | 35
2020-01-13 | 79% | 58333 | 601 | 405 | 119457 | 468 | 371 | 164625 | 0 | 829677 | 18 | 193754 | 0 | 57945.92 | 58.98 | 11 | 4459 | 5 | 7343224.56 | 2046.24 | 1753.92 | 14063904.96 | 4384.8 | 3946.32 | 13846077.84 | 48.72 | 828.24 | 16896144.72 | 8769.6 | 6723.36 | 17343199.44 | 0 | 0 | 15859285.68 | 6090 | 4530.96 | 13456025.52 | 4092.48 | 3751.44 | 12944611.68 | 4189.92 | 3605.28 | 10302087.6 | 2874.48 | 2874.48 | 16020305.28 | 5359.2 | 5066.88 | 68689200 | 0 | 1800 | 71269900 | 33100 | 34500 | 66152700 | 0 | 0 | [10 empty] | 8086250 | 5370 | 62% | -11% | -10% | 58334 | 19 | 49819 | 19 | 17054 | 4 | 22784 | 11 | 24852 | 5 | 55057 | 26 | 241139 | 96 | 91 | 187789 | 135 | 90 | 338533 | 365 | 328 | 635937 | 192 | 6982 | 13 | 4393 | 8 | 27980 | 16 | 28643 | 16 | 19252 | 10 | 22321 | 6 | 3940 | 19 | 7557 | 9 | 2101 | 5 | 4060 | 7 | 26651 | 0 | 3699.2 | 8.7 | 8683.1 | 7.8 | 2798.6 | 7.2 | 2928.1 | 5.9 | 909401 | 544 | 186618.2 | 155.3 | 10585600 | 1700 | 844010 | 210 | 6448700 | 200 | 2271900 | 300 | 1038800 | 600 | 14441600 | 1100 | 38460 | 13 | 33317 | 11 | 4407 | 14 | 55377 | 16 | 39853 | 32
2020-01-14 | 84% | 58878 | 545 | 409 | 119868 | 411 | 392 | 164625 | 0 | 829862 | 185 | 193754 | 0 | 58010.63 | 64.71 | 17 | 4460 | 1 | 7345368.24 | 2143.68 | 1851.36 | 14068435.92 | 4530.96 | 4287.36 | 13846077.84 | 0 | 925.68 | 16904622 | 8477.28 | 7551.6 | 17344320 | 1120.56 | 0 | 15865083.36 | 5797.68 | 4774.56 | 13459923.12 | 3897.6 | 4092.48 | 12948801.6 | 4189.92 | 3946.32 | 10304962.08 | 2874.48 | 3020.64 | 16025469.6 | 5164.32 | 5359.2 | 68689200 | 0 | 0 | 71305800 | 35900 | 36800 | 66152700 | 0 | 0 | [10 empty] | 8091390 | 5140 | 82% | -20% | 8% | 58353 | 19 | 49838 | 19 | 17058 | 4 | 22797 | 13 | 24863 | 11 | 55086 | 29 | 241240 | 101 | 94 | 187915 | 126 | 97 | 338859 | 326 | 343 | 636151 | 214 | 6982 | 0 | 4397 | 4 | 27999 | 19 | 28662 | 19 | 19263 | 11 | 22331 | 10 | 3947 | 7 | 7570 | 13 | 2107 | 6 | 4068 | 8 | 26658 | 7 | 3707.5 | 8.3 | 8691.3 | 8.2 | 2804.9 | 6.3 | 2933.1 | 5 | 909941 | 540 | 186759.7 | 141.5 | 10588100 | 2500 | 844240 | 230 | 6448900 | 200 | 2272200 | 300 | 1039440 | 640 | 14443100 | 1500 | 38473 | 13 | 33330 | 13 | 4418 | 11 | 55395 | 18 | 39884 | 31
2020-01-15 | 91% | 59440 | 562 | 413 | 120301 | 433 | 346 | 164625 | 0 | 830074 | 212 | 193754 | 0 | 58089.43 | 78.8 | 13 | 4462 | 2 | 7347511.92 | 2143.68 | 1851.36 | 14072966.88 | 4530.96 | 4336.08 | 13846126.56 | 48.72 | 925.68 | 16914171.12 | 9549.12 | 7356.72 | 17345684.16 | 1364.16 | 0 | 15870734.88 | 5651.52 | 4725.84 | 13464064.32 | 4141.2 | 3995.04 | 12953088.96 | 4287.36 | 3751.44 | 10307739.12 | 2777.04 | 2923.2 | 16031169.84 | 5700.24 | 5115.6 | 68689200 | 0 | 0 | 71349000 | 43200 | 36300 | 66152700 | 0 | 0 | [10 empty] | 8096520 | 5130 | 74% | 8% | 2% | 58371 | 18 | 49857 | 19 | 17062 | 4 | 22809 | 12 | 24870 | 7 | 55112 | 26 | 241340 | 100 | 93 | 188042 | 127 | 93 | 339116 | 257 | 339 | 636350 | 199 | 6988 | 6 | 4403 | 6 | 28016 | 17 | 28680 | 18 | 19272 | 9 | 22339 | 8 | 3960 | 13 | 7577 | 7 | 2111 | 4 | 4075 | 7 | 26665 | 7 | 3716.5 | 9 | 8699.1 | 7.8 | 2811.5 | 6.6 | 2940.9 | 7.8 | 910465 | 524 | 186916 | 156.3 | 10591200 | 3100 | 844500 | 260 | 6449200 | 300 | 2272400 | 200 | 1040080 | 640 | 14445000 | 1900 | 38484 | 11 | 33342 | 12 | 4429 | 11 | 55411 | 16 | 39915 | 31
2020-01-16 | 77% | 60014 | 574 | 376 | 120746 | 445 | 352 | 164625 | 0 | 830284 | 210 | 193754 | 0 | 58164.09 | 74.66 | 16 | 4466 | 4 | 7349655.6 | 2143.68 | 1461.6 | 14077741.44 | 4774.56 | 4384.8 | 13846272.72 | 146.16 | 925.68 | 16923135.6 | 8964.48 | 7454.16 | 17347145.76 | 1461.6 | 0 | 15876435.12 | 5700.24 | 4725.84 | 13468497.84 | 4433.52 | 3995.04 | 12957571.2 | 4482.24 | 3751.44 | 10310711.04 | 2971.92 | 3118.08 | 16036772.64 | 5602.8 | 5018.16 | 68689200 | 0 | 0 | 71391500 | 42500 | 38000 | 66152700 | 0 | 0 | [10 empty] | 8101850 | 5330 | 68% | 6% | 0% | 58390 | 19 | 49876 | 19 | 17067 | 5 | 22821 | 12 | 24878 | 8 | 55140 | 28 | 241440 | 100 | 94 | 188172 | 130 | 95 | 339419 | 303 | 328 | 636559 | 209 | 6998 | 10 | 4412 | 9 | 28032 | 16 | 28694 | 14 | 19283 | 11 | 22346 | 7 | 3972 | 12 | 7586 | 9 | 2116 | 5 | 4083 | 8 | 26672 | 7 | 3725.2 | 8.7 | 8707.5 | 8.4 | 2818.2 | 6.7 | 2948.4 | 7.5 | 911026 | 561 | 187072.1 | 156.1 | 10593700 | 2500 | 844760 | 260 | 6449400 | 200 | 2272600 | 200 | 1040710 | 630 | 14446800 | 1800 | 38497 | 13 | 33354 | 12 | 4440 | 11 | 55429 | 18 | 39948 | 33
2020-01-17 | 88% | 60627 | 613 | 431 | 121240 | 494 | 366 | 164625 | 0 | 830531 | 247 | 193754 | 0 | 58234.58 | 70.49 | 22 | 4472 | 6 | 7351848 | 2192.4 | 2241.12 | 14082516 | 4774.56 | 4336.08 | 13846467.6 | 194.88 | 1412.88 | 16931174.4 | 8038.8 | 1315.44 | 17348656.08 | 1510.32 | 6479.76 | 15882476.4 | 6041.28 | 4774.56 | 13473077.52 | 4579.68 | 3897.6 | 12962004.72 | 4433.52 | 3848.88 | 10314024 | 3312.96 | 2923.2 | 16042424.16 | 5651.52 | 5164.32 | 68689200 | 0 | 1500 | 71432400 | 40900 | 7200 | 66152700 | 0 | 29900 | [10 empty] | 8107120 | 5270 | 73% | -5% | -7% | 58406 | 16 | 49895 | 19 | 17072 | 5 | 22831 | 10 | 24890 | 12 | 55166 | 26 | 241539 | 99 | 93 | 188309 | 137 | 96 | 339772 | 353 | 274 | 636724 | 165 | 7009 | 11 | 4424 | 12 | 28047 | 15 | 28709 | 15 | 19293 | 10 | 22354 | 8 | 3986 | 14 | 7594 | 8 | 2120 | 4 | 4091 | 8 | 26679 | 7 | 3733.9 | 8.7 | 8715.7 | 8.2 | 2824.9 | 6.7 | 2955.2 | 6.8 | 911574 | 548 | 187228.9 | 156.8 | 10596400 | 2700 | 845000 | 240 | 6449600 | 200 | 2272800 | 200 | 1041330 | 620 | 14448300 | 1500 | 38512 | 15 | 33367 | 13 | 4452 | 12 | 55449 | 20 | 39981 | 33
2020-01-18 | 96% | 61270 | 643 | 442 | 121742 | 502 | 403 | 164625 | 0 | 830754 | 223 | 193754 | 0 | 58302.1 | 67.52 | 21 | 4474 | 2 | 7353942.96 | 2094.96 | 1900.08 | 14087339.28 | 4823.28 | 4482.24 | 13846662.48 | 194.88 | 1218 | 16939602.96 | 8428.56 | 97.44 | 17350020.24 | 1364.16 | 8233.68 | 15888615.12 | 6138.72 | 4920.72 | 13477462.32 | 4384.8 | 3946.32 | 12966633.12 | 4628.4 | 3897.6 | 10317093.36 | 3069.36 | 2971.92 | 16047978.24 | 5554.08 | 5261.76 | 68689200 | 0 | 0 | 71473400 | 41000 | 0 | 66152700 | 0 | 39200 | [10 empty] | 8112720 | 5600 | 65% | 8% | 6% | 58424 | 18 | 49913 | 18 | 17078 | 6 | 22842 | 11 | 24908 | 18 | 55199 | 33 | 241638 | 99 | 95 | 188448 | 139 | 94 | 340061 | 289 | 309 | 636942 | 218 | 7019 | 10 | 4432 | 8 | 28065 | 18 | 28725 | 16 | 19304 | 11 | 22362 | 8 | 4002 | 16 | 7601 | 7 | 2125 | 5 | 4098 | 7 | 26686 | 7 | 3743.1 | 9.2 | 8724 | 8.3 | 2831.8 | 6.9 | 2962.2 | 7 | 912144 | 570 | 187385.7 | 156.8 | 10599200 | 2800 | 845240 | 240 | 6449900 | 300 | 2273000 | 200 | 1041960 | 630 | 14449700 | 1400 | 38527 | 15 | 33380 | 13 | 4464 | 12 | 55467 | 18 | 40015 | 34
2020-01-19 | 90% | 61913 | 643 | 455 | 122247 | 505 | 390 | 164625 | 0 | 830979 | 225 | 193761 | 7 | 58380.39 | 78.29 | 26 | 4479 | 5 | 7357255.92 | 3312.96 | 1802.64 | 14092649.76 | 5310.48 | 4287.36 | 13854603.84 | 7941.36 | 194.88 | 16940382.48 | 779.52 | 1364.16 | 17350068.96 | 48.72 | 9549.12 | 15894558.96 | 5943.84 | 4823.28 | 13481798.4 | 4336.08 | 4092.48 | 12971261.52 | 4628.4 | 3995.04 | 10320065.28 | 2971.92 | 3020.64 | 16053922.08 | 5943.84 | 5164.32 | 68728100 | 38900 | 0 | 71477400 | 4000 | 0 | 66152700 | 0 | 46600 | [10 empty] | 8118320 | 5600 | 75% | -10% | -9% | 58442 | 18 | 49934 | 21 | 17085 | 7 | 22851 | 9 | 24924 | 16 | 55229 | 30 | 241739 | 101 | 93 | 188586 | 138 | 95 | 340329 | 268 | 186 | 637162 | 220 | 7030 | 11 | 4440 | 8 | 28082 | 17 | 28741 | 16 | 19313 | 9 | 22370 | 8 | 4018 | 16 | 7608 | 7 | 2131 | 6 | 4105 | 7 | 26692 | 6 | 3752.4 | 9.3 | 8732.3 | 8.3 | 2839 | 7.2 | 2971 | 8.8 | 912724 | 580 | 187548.6 | 162.9 | 10602300 | 3100 | 845500 | 260 | 6450200 | 300 | 2273200 | 200 | 1042710 | 750 | 14451800 | 2100 | 38543 | 16 | 33393 | 13 | 4480 | 16 | 55484 | 17 | 40049 | 34
2020-01-20 | 85% | 62541 | 628 | 440 | 122700 | 453 | 378 | 164625 | 0 | 831076 | 97 | 193810 | 49 | 58458.02 | 77.63 | 29 | 4487 | 8 | 7360666.32 | 3410.4 | 1851.36 | 14097034.56 | 4384.8 | 4336.08 | 13863032.4 | 8428.56 | 7649.04 | 16940577.36 | 194.88 | 146.16 | 17350068.96 | 0 | 3751.44 | 15900454.08 | 5895.12 | 4774.56 | 13486134.48 | 4336.08 | 4092.48 | 12975695.04 | 4433.52 | 3995.04 | 10323232.08 | 3166.8 | 3069.36 | 16059622.32 | 5700.24 | 5310.48 | 68772200 | 44100 | 38400 | 71477400 | 0 | 0 | 66152700 | 0 | 13000 | [10 empty] | 8123890 | 5570 | 68% | 7% | 8% | 58460 | 18 | 49953 | 19 | 17091 | 6 | 22861 | 10 | 24930 | 6 | 55255 | 26 | 241837 | 98 | 92 | 188721 | 135 | 94 | 340560 | 231 | 225 | 637376 | 214 | 7035 | 5 | 4443 | 3 | 28103 | 21 | 28759 | 18 | 19324 | 11 | 22378 | 8 | 4035 | 17 | 7622 | 14 | 2133 | 2 | 4115 | 10 | 26696 | 4 | 3761 | 8.6 | 8740.2 | 7.9 | 2846.2 | 7.2 | 2979.4 | 8.4 | 913231 | 507 | 187697.8 | 149.2 | 10605100 | 2800 | 845730 | 230 | 6450400 | 200 | 2273400 | 200 | 1043340 | 630 | 14453500 | 1700 | 38557 | 14 | 33405 | 12 | 4493 | 13 | 55500 | 16 | 40079 | 30
2020-01-21 | 87% | 63178 | 637 | 427 | 123150 | 450 | 373 | 164625 | 0 | 831284 | 208 | 193810 | 0 | 58528.1 | 70.08 | 24 | 4494 | 7 | 7363930.56 | 3264.24 | 1851.36 | 14101760.4 | 4725.84 | 4384.8 | 13870730.16 | 7697.76 | 9208.08 | 16940772.24 | 194.88 | 0 | 17350068.96 | 0 | 1266.72 | 15906446.64 | 5992.56 | 4920.72 | 13489885.92 | 3751.44 | 4092.48 | 12979787.52 | 4092.48 | 4092.48 | 10326204 | 2971.92 | 3166.8 | 16065176.4 | 5554.08 | 5164.32 | 68811300 | 39100 | 48200 | 71477400 | 0 | 0 | 66152700 | 0 | -800 | [10 empty] | 8128890 | 5000 | 80% | -12% | -7% | 58477 | 17 | 49972 | 19 | 17098 | 7 | 22870 | 9 | 24937 | 7 | 55280 | 25 | 241939 | 102 | 92.61 | 188852 | 131 | 94.83 | 340803 | 243 | 277 | 637604 | 228 | 7042 | 7 | 4449 | 6 | 28119 | 16 | 28776 | 17 | 19334 | 10 | 22385 | 7 | 4049 | 14 | 7628 | 6 | 2137 | 4 | 4121 | 6 | 26703 | 7 | 3769.3 | 8.3 | 8748.1 | 7.9 | 2853.4 | 7.2 | 2986.6 | 7.2 | 913735 | 504 | 187848 | 150.2 | 10608000 | 2900 | 845960 | 230 | 6450700 | 300 | 2273600 | 200 | 1044000 | 660 | 14455300 | 1800 | 38570 | 13 | 33417 | 12 | 4503 | 10 | 55517 | 17 | 40106 | 27
2020-01-22 | 92% | 63794 | 616 | 424 | 123605 | 455 | 375 | 164625 | 0 | 831489 | 205 | 193810 | 0 | 58593.73 | 65.63 | 24 | 4503 | 9 | 7367340.96 | 3410.4 | 1948.8 | 14106632.4 | 4872 | 4287.36 | 13878135.6 | 7405.44 | 8672.16 | 16940918.4 | 146.16 | 0 | 17350068.96 | 0 | 1120.56 | 15912341.76 | 5895.12 | 4725.84 | 13493637.36 | 3751.44 | 3995.04 | 12984074.88 | 4287.36 | 3995.04 | 10329224.64 | 3020.64 | 3020.64 | 16070584.32 | 5407.92 | 4872 | 68850200 | 38900 | 46200 | 71477400 | 0 | 0 | 66152700 | 0 | 0 | [10 empty] | 8133930 | 5040 | 69% | 11% | 7% | 58495 | 18 | 49991 | 19 | 17105 | 7 | 22879 | 9 | 24947 | 10 | 55305 | 25 | 242038 | 99 | 89.39 | 188992 | 140 | 89.17 | 341080 | 277 | 203 | 637824 | 220 | 7051 | 9 | 4456 | 7 | 28136 | 17 | 28794 | 18 | 19344 | 10 | 22394 | 9 | 4063 | 14 | 7636 | 8 | 2142 | 5 | 4128 | 7 | 26710 | 7 | 3777.9 | 8.6 | 8756.2 | 8.1 | 2860.1 | 6.7 | 2993.6 | 7 | 914243 | 508 | 188003.5 | 155.5 | 10610800 | 2800 | 846210 | 250 | 6450900 | 200 | 2273800 | 200 | 1044640 | 640 | 14457100 | 1800 | 38585 | 15 | 33429 | 12 | 4514 | 11 | 55535 | 18 | 40134 | 28
2020-01-23 | 94% | 64290 | 496 | 484 | 124053 | 448 | 360 | 164625 | 0 | 831719 | 230 | 193810 | 0 | 58671.24 | 77.51 | 48 | 4512 | 9 | 7370897.52 | 3556.56 | 1948.8 | 14111309.52 | 4677.12 | 4336.08 | 13886466.72 | 8331.12 | 8623.44 | 16940967.12 | 48.72 | 48.72 | 17350166.4 | 97.44 | 1071.84 | 15918334.32 | 5992.56 | 4872 | 13497534.96 | 3897.6 | 3995.04 | 12988459.68 | 4384.8 | 3946.32 | 10332147.84 | 2923.2 | 3215.52 | 16076040.96 | 5456.64 | 5066.88 | 68894900 | 44700 | 45200 | 71477400 | 0 | 0 | 66152700 | 0 | 0 | [10 empty] | 8139970 | 6040 | 62% | 7% | -8% | 58512 | 17 | 50010 | 19 | 17110 | 5 | 22889 | 10 | 24953 | 6 | 55332 | 27 | 242137 | 99 | 93 | 189124 | 132 | 96 | 341276 | 196 | 234 | 638032 | 208 | 7061 | 10 | 4464 | 8 | 28151 | 15 | 28813 | 19 | 19353 | 9 | 22402 | 8 | 4080 | 17 | 7643 | 7 | 2147 | 5 | 4135 | 7 | 26719 | 9 | 3789.8 | 11.9 | 8764.2 | 8 | 2867.1 | 7 | 3000.8 | 7.2 | 914766 | 523 | 188158.7 | 155.2 | 10614200 | 3400 | 846470 | 260 | 6451200 | 300 | 2273900 | 100 | 1045310 | 670 | 14458600 | 1500 | 38596 | 11 | 33440 | 11 | 4524 | 10 | 55554 | 19 | 40165 | 31
2020-01-24 | 93% | 64939 | 649 | 457 | 124510 | 457 | 380 | 164625 | 0 | 831956 | 237 | 193810 | 0 | 58748.07 | 76.83 | 39 | 4517 | 5 | 7374502.8 | 3605.28 | 1900.08 | 14116230.24 | 4920.72 | 4433.52 | 13894944 | 8477.28 | 9110.64 | 16941015.84 | 48.72 | 194.88 | 17350166.4 | 0 | 1266.72 | 15924180.72 | 5846.4 | 4823.28 | 13501530 | 3995.04 | 4043.76 | 12992698.32 | 4238.64 | 3995.04 | 10334924.88 | 2777.04 | 3020.64 | 16081692.48 | 5651.52 | 5213.04 | 68940000 | 45100 | 49500 | 71477400 | 0 | 0 | 66152700 | 0 | 0 | [10 empty] | 8146160 | 6190 | 54% | 8% | 8% | 58528 | 16 | 50030 | 20 | 17114 | 4 | 22898 | 9 | 24959 | 6 | 55363 | 31 | 242236 | 99 | 91 | 189259 | 135 | 93 | 341556 | 280 | 232 | 638246 | 214 | 7072 | 11 | 4475 | 11 | 28169 | 18 | 28830 | 17 | 19364 | 11 | 22411 | 9 | 4095 | 15 | 7650 | 7 | 2152 | 5 | 4142 | 7 | 26734 | 15 | 3795.6 | 5.8 | 8772.3 | 8.1 | 2874.4 | 7.3 | 3008.2 | 7.4 | 915305 | 539 | 188315.8 | 157.1 | 10617400 | 3200 | 846750 | 280 | 6451400 | 200 | 2274000 | 100 | 1046010 | 700 | 14460100 | 1500 | 38608 | 12 | 33452 | 12 | 4536 | 12 | 55571 | 17 | 40195 | 30
2020-01-25 | 94% | 65781 | 842 | 506 | 124997 | 487 | 425 | 164625 | 0 | 832193 | 237 | 193942 | 132 | 58936.02 | 187.95 | 30 | 4524 | 7 | 7378108.08 | 3605.28 | 1948.8 | 14121053.52 | 4823.28 | 4384.8 | 13904249.52 | 9305.52 | 9256.8 | 16941162 | 146.16 | 194.88 | 17350166.4 | 0 | 1218 | 15930173.28 | 5992.56 | 4823.28 | 13505719.92 | 4189.92 | 3995.04 | 12997180.56 | 4482.24 | 4092.48 | 10338042.96 | 3118.08 | 3020.64 | 16087344 | 5651.52 | 5310.48 | 68990300 | 50300 | 50200 | 71477400 | 0 | 0 | 66152700 | 0 | 0 | [10 empty] | 8152860 | 6700 | 68% | -14% | -9% | 58545 | 17 | 50049 | 19 | 17122 | 8 | 22910 | 12 | 24969 | 10 | 55393 | 30 | 242337 | 101 | 91 | 189375 | 116 | 92 | 341764 | 208 | 233 | 638470 | 224 | 7084 | 12 | 4485 | 10 | 28188 | 19 | 28849 | 19 | 19375 | 11 | 22420 | 9 | 4111 | 16 | 7659 | 9 | 2158 | 6 | 4149 | 7 | 26748 | 14 | 3804.9 | 9.3 | 8780.8 | 8.5 | 2881.3 | 6.9 | 3016 | 7.8 | 915894 | 589 | 188473.4 | 157.6 | 10620700 | 3300 | 847030 | 280 | 6451700 | 300 | 2274000 | 0 | 1046680 | 670 | 14462500 | 2400 | 38622 | 14 | 33465 | 13 | 4550 | 14 | 55589 | 18 | 40226 | 31
2020-01-26 | 90% | 66511 | 730 | 464 | 125511 | 514 | 409 | 164625 | 0 | 832242 | 49 | 193942 | 0 | 59019.31 | 83.29 | 23 | 4524 | 0 | 7380203.04 | 2094.96 | 2630.88 | 14125974.24 | 4920.72 | 4433.52 | 13905467.52 | 1218 | 8379.84 | 16950370.08 | 9208.08 | 146.16 | 17350751.04 | 584.64 | 1266.72 | 15936214.56 | 6041.28 | 5066.88 | 13510153.44 | 4433.52 | 4092.48 | 13001760.24 | 4579.68 | 4189.92 | 10341209.76 | 3166.8 | 3264.24 | 16093287.84 | 5943.84 | 5407.92 | 68992700 | 2400 | 43700 | 71523400 | 46000 | 0 | 66152700 | 0 | 0 | [10 empty] | 8158950 | 6090 | 60% | 8% | 11% | 58564 | 19 | 50068 | 19 | 17130 | 8 | 22920 | 10 | 24979 | 10 | 55424 | 31 | 242438 | 101 | 93 | 189499 | 124 | 96 | 341963 | 199 | 372 | 638696 | 226 | 7096 | 12 | 4495 | 10 | 28206 | 18 | 28868 | 19 | 19386 | 11 | 22429 | 9 | 4127 | 16 | 7664 | 5 | 2165 | 7 | 4156 | 7 | 26751 | 3 | 3815.1 | 10.2 | 8789.2 | 8.4 | 2889.2 | 7.9 | 3025.3 | 9.3 | 916480 | 586 | 188639 | 165.6 | 10623800 | 3100 | 847310 | 280 | 6452000 | 300 | 2274000 | 0 | 1047360 | 680 | 14465900 | 3400 | 38636 | 14 | 33479 | 14 | 4567 | 17 | 55607 | 18 | 40257 | 31
2020-01-27 | 86% | 67127 | 616 | 511 | 125951 | 440 | 457 | 164625 | 0 | 832248 | 6 | 193942 | 0 | 59097.61 | 78.3 | 21 | 4524 | 0 | 7382054.4 | 1851.36 | 2533.44 | 14130651.36 | 4677.12 | 4287.36 | 13906295.76 | 828.24 | 487.2 | 16960650 | 10279.92 | 146.16 | 17351481.84 | 730.8 | 7697.76 | 15942060.96 | 5846.4 | 4725.84 | 13514489.52 | 4336.08 | 3946.32 | 13006047.6 | 4287.36 | 3848.88 | 10344279.12 | 3069.36 | 3069.36 | 16099231.68 | 5943.84 | 5164.32 | 68992700 | 0 | 2600 | 71577400 | 54000 | 0 | 66152700 | 0 | 35200 | [10 empty] | 8164740 | 5790 | 51% | 9% | -7% | 58582 | 18 | 50087 | 19 | 17137 | 7 | 22931 | 11 | 24995 | 16 | 55455 | 31 | 242536 | 98 | 94 | 189625 | 126 | 98 | 342124 | 161 | 348 | 638919 | 223 | 7103 | 7 | 4499 | 4 | 28229 | 23 | 28885 | 17 | 19395 | 9 | 22438 | 9 | 4144 | 17 | 7681 | 17 | 2168 | 3 | 4164 | 8 | 26751 | 0 | 3824.4 | 9.3 | 8797 | 7.8 | 2896.2 | 7 | 3033.8 | 8.5 | 917145 | 665 | 188782.6 | 143.6 | 10627200 | 3400 | 847570 | 260 | 6452200 | 200 | 2274100 | 100 | 1047970 | 610 | 14469900 | 4000 | 38649 | 13 | 33491 | 12 | 4581 | 14 | 55622 | 15 | 40289 | 32
2020-01-28 | 86% | 67675 | 548 | 430 | 126373 | 422 | 381 | 164625 | 0 | 832518 | 270 | 193942 | 0 | 59180.43 | 82.82 | 18 | 4524 | 0 | 7385026.32 | 2971.92 | 2874.48 | 14135474.64 | 4823.28 | 4433.52 | 13909754.88 | 3459.12 | 48.72 | 16967032.32 | 6382.32 | 146.16 | 17352212.64 | 730.8 | 7454.16 | 15947907.36 | 5846.4 | 4920.72 | 13518484.56 | 3995.04 | 3897.6 | 13010481.12 | 4433.52 | 4092.48 | 10347251.04 | 2971.92 | 2971.92 | 16105029.36 | 5797.68 | 5554.08 | 69009400 | 16700 | 0 | 71613900 | 36500 | 0 | 66152700 | 0 | 34800 | [10 empty] | 8170760 | 6020 | 74% | -23% | 9% | 58604 | 22 | 50104 | 17 | 17144 | 7 | 22942 | 11 | 25009 | 14 | 55485 | 30 | 242638 | 102 | 95.85 | 189745 | 120 | 93.12 | 342319 | 195 | 370.98 | 639149 | 230 | 7111 | 8 | 4504 | 5 | 28248 | 19 | 28903 | 18 | 19404 | 9 | 22445 | 7 | 4158 | 14 | 7684 | 3 | 2173 | 5 | 4171 | 7 | 26771 | 20 | 3833.8 | 9.4 | 8804.6 | 7.6 | 2903.3 | 7.1 | 3042.2 | 8.4 | 917682 | 537 | 188934.7 | 152.1 | 10630800 | 3600 | 847840 | 270 | 6452500 | 300 | 2274400 | 300 | 1048580 | 610 | 14474300 | 4400 | 38661 | 12 | 33503 | 12 | 4594 | 13 | 55638 | 16 | 40317 | 28
2020-01-29 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | Total Cold water Heat Exchanger 2022 | 0 | Lpg -10- DAYS Consumption February 2022 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Electrical -10 days- consumption February-2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Chilled Water -10-days consumption January-2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Lpg 10 days consumption February 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | Domestic Water | 0 | 0 | Resort Domestic Water | 0 | 0 | Tse Water | 0 | Irrigation Water | 0 | domestic water for irrigation | 0 | Cooling Tower make up & Blowdown | 0 | 0 | 0 | 0 | EMDB-1 | 0 | 0 | EMDB-2 | 0 | 0 | MDB-1 | 0 | 0 | MDB-2 | 0 | 0 | MDB-3 | 0 | 0 | MDB-4 | 0 | 0 | MDB-5 | 0 | 0 | MDB-6 | 0 | 0 | MDB-7 | 0 | 0 | MDB-8 | 0 | 0 | Chiller # 1 | 0 | 0 | Chiller # 2 | 0 | 0 | Chiller # 3 | 0 | 0 | [10 empty] | Heat Exchanger | 0 | LPG TOTAL CONSUMPTION | 0% | 0% | Ird Kitchen | 0 | Suq Kitchen | 0 | Bakery Kitchen | 0 | Shai Saloon Kitchen | 0 | Banquet Kitchen | 0 | Sea Fu Kitchen | 0 | Steam Boiler | 0 | 0 | Solar Hot Water Boiler | 0 | 0 | Lthw Boiler | 0 | 0 | Steam Boiler Steam Meter Reading Kg | 0 | Jean George Water Meter Reading | 0 | 0 | 0 | Coya Water Meter Reading M³ | 0 | 0 | 0 | Nusret Water meter Reading M³ | 0 | 0 | 0 | Provoceteur Meter Reading M³ | 0 | 0 | 0 | Scalini Meter Reading M³ | 0 | 0 | 0 | Irrigation | 0 | MDB - Coya | 0 | MDB Jean George | 0 | MDB - Nusret | 0 | Peovoceteur SMDB | 0 | 0 | 0 | Common ESMDB | 0 | Coya Btu | 0 | Coya Cold Room Btu | 0 | Nusret Btu | 0 | Provocateur- A | 0 | Provocateur- B | 0 | Jean George Btu | 0 | Coya Lpg | 0 | Nusret Lpg | 0 | Provocateur Lpg | 0 | Jean George Lpg | 0 | Scalini | 0
Potable Water Daily Consumption February 2018 | [18 empty] | Electricity Daily Consumption February 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption February 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
February Reading 2017 two weeks |  | 6148 |  |  | 5712 | [8 empty] | 275.16 |  |  |  |  | 30255.12 |  |  | 65382.24 |  |  | 60217.92 |  |  | 22265.04 |  |  | 41265.84 |  |  | 72446.64 |  |  | 59730.72 |  |  | 56661.36 |  |  | 45309.6 |  |  | 75905.76 |  |  | 269800 |  |  | 107600 |  |  | 160900 | [29 empty] | 1376 |  |  | 1432 |  |  | 5285
February Reading 2018 two weeks |  | 8223 |  |  | 6303 | [8 empty] | 1025.18 |  |  |  |  | 37709.28 |  |  | 69767.04 |  |  | 3946.32 |  |  | 92519.28 |  |  | 41265.84 |  |  | 86185.68 |  |  | 62020.56 |  |  | 63823.2 |  |  | 48817.44 |  |  | 81459.84 |  |  | 0 |  |  | 387300 |  |  | 177700 | [29 empty] | 1580 |  |  | 1789 |  |  | 4763 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 269800 |  |  | 279700 |  |  | 16800
February Reading 2017 Monthly |  | 11995 |  |  | 10761 |  |  | 7048.9 |  | 7702.2 |  |  |  | 616.16 |  |  | 476 |  | 57148.56 |  |  | 122189.76 |  |  | 125405.28 |  |  | 33519.36 |  |  | 91642.32 |  |  | 135344.16 |  |  | 111812.4 |  |  | 108402 |  |  | 85162.56 |  |  | 143577.84 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2582.85 |  |  | 2658.12 |  |  | 8876.98 |  |  | 3894 | [14 empty] | 487.2
February Reading 2018 Monthly |  | 15958 |  |  | 12375 |  |  | 0 |  | 4956 |  |  |  | 2116.18 |  |  | 118 |  | 75223.68 |  |  | 132274.8 |  |  | 67574.64 |  |  | 145380.48 |  |  | 47794.32 |  |  | 163358.16 |  |  | 116440.8 |  |  | 121215.36 |  |  | 88329.36 |  |  | 155319.36 |  |  | 320200 |  |  | 652200 |  |  | 177700 | [12 empty] | 155880 |  |  |  |  | 493 |  | 529 |  | 158 |  | 289 |  | 322 |  | 775 |  | 2878 |  |  | 3492 |  |  | 7966 |  |  | 6322
Difference |  | -3963 |  |  | -1614 |  |  | 7048.9 |  | 2746.2 |  |  |  | -1500.02 |  |  | 358 |  | 18075.12 |  |  | -10085.04 |  |  | 57830.64 |  |  | -111861.12 |  |  | 43848 |  |  | -28014 |  |  | -4628.4 |  |  | -12813.36 |  |  | -3166.8 |  |  | -11741.52 |  |  | -27100 |  |  | 291100 |  |  | -381142 | [29 empty] | -295.15 |  |  | -833.88 |  |  | 910.98 |  |  | -2428
Total Monthly Electrical Kwh | [18 empty] | February 2017 Kwh | [5 empty] | 1014204.24 | [5 empty] | February 2018 Kwh | [5 empty] | 1112910.96 | [5 empty] | Saving Kwh |  |  | -98706.72 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | February 2017 Kwh two weeks | [5 empty] | 529440.24 | [5 empty] | February 2018 Kwh two weeks | [5 empty] | 587514.48 | [5 empty] | Saving Kwh |  |  | -58074.24 |  |  | 1267242 |  |  | 1150100 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill