## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2022 | 39365.76 | 0.44448 | 910.98 | 3.6731 | 550 | 13.83 | 228 | 1.2 | 201.45 | 433
Dubai at Jumeirah Beach | 2 | 3 | 2022 | 41753.04 | 0.44448 | 863.73 | 3.6731 | 564 | 13.83 | 252 | 1.2 | 213.3 | 430
Dubai at Jumeirah Beach | 3 | 3 | 2022 | 39268.32 | 0.44448 | 738.99 | 3.6731 | 602 | 13.83 | 310 | 1.2 | 222.78 | 444
Dubai at Jumeirah Beach | 4 | 3 | 2022 | 44286.48 | 0.44448 | 782.46 | 3.6731 | 760 | 13.83 | 158 | 1.2 | 215.67 | 418
Dubai at Jumeirah Beach | 5 | 3 | 2022 | 40145.28 | 0.44448 | 765.45 | 3.6731 | 675 | 13.83 | 261 | 1.2 | 208.56 | 402
Dubai at Jumeirah Beach | 6 | 3 | 2022 | 39560.64 | 0.44448 | 701.19 | 3.6731 | 574 | 13.83 | 255 | 1.2 | 194.34 | 349
Dubai at Jumeirah Beach | 7 | 3 | 2022 | 39950.4 | 0.44448 | 665.28 | 3.6731 | 613 | 13.83 | 221 | 1.2 | 222.78 | 375
Dubai at Jumeirah Beach | 8 | 3 | 2022 | 42240.24 | 0.44448 | 837.27 | 3.6731 | 796 | 13.83 | 268 | 1.2 | 196.71 | 364
Dubai at Jumeirah Beach | 9 | 3 | 2022 | 41655.6 | 0.44448 | 678.51 | 3.6731 | 687 | 13.83 | 268 | 1.2 | 194.34 | 347
Dubai at Jumeirah Beach | 10 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 417
Dubai at Jumeirah Beach | 11 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 3 | 2022 | 0 | 0.44448 | 0 | 3.6731 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Note on I27: Kriselda De Grano: New meter used.

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 3 | 2022 | 201.45 | 433 | 550 | 416 | 228 | 228 | 69 | 0 | 3264.24 | 4725.84 | 584.64 | 2289.84 | 6284.88 | 5651.52 | 3897.6 | 4530.96 | 2679.6 | 5456.64 | 0 | 14700 | 30400 | 187.11 | 215.46 | 508.41 | 222 | 34.02 | 34.02 | 11.34 | 20.79 | 28.35 | 52.92 | 9 | 9 | 16 | 16 | 8 | 9 | 6 | 13 | 6 | 5 | 10 | 9.1 |  | 7 | 7.1 | 501 | 153 | 3100 | 270 | 3200 | 300 | 500 | 610 | 24.57 | 22.68 | 30.24 | 20.79 | 51.03
Dubai at Jumeirah Beach | 2 | 3 | 2022 | 213.3 | 430 | 564 | 429 | 252 | 252 | 83.33 | 14 | 2436 | 4969.44 | 7405.44 | 194.88 | 2874.48 | 5846.4 | 4336.08 | 4774.56 | 3312.96 | 5602.8 | 33100 | 0 | 14200 | 200.34 | 226.8 | 436.59 | 238 | 34.02 | 26.46 | 11.34 | 18.9 | 24.57 | 51.03 | 11 | 10 | 13 | 17 | 8 | 9 | 6 | 15 | 7 | 6 | 12 | 10 |  | 7.8 | 7.3 | 513 | 171.7 | 3100 | 280 | 3300 | 300 | 200 | 620 | 22.68 | 22.68 | 32.13 | 20.79 | 60.48
Dubai at Jumeirah Beach | 3 | 3 | 2022 | 222.78 | 444 | 602 | 463 | 310 | 310 | 82.62 | 11 | 1948.8 | 4579.68 | 9451.68 | 194.88 | 633.36 | 5359.2 | 4092.48 | 4482.24 | 3166.8 | 5359.2 | 50700 | 0 | 0 | 179.55 | 219.24 | 340.2 | 213 | 30.24 | 34.02 | 13.23 | 17.01 | 26.46 | 51.03 | 12 | 11 | 13 | 18 | 9 | 11 | 6 | 15 | 7 | 5 | 19 | 8 |  | 6 | 7.5 | 552 | 139.8 | 3200 | 280 | 3500 | 400 | 200 | 600 | 22.68 | 24.57 | 32.13 | 20.79 | 64.26
Dubai at Jumeirah Beach | 4 | 3 | 2022 | 215.67 | 418 | 760 | 508 | 158 | 158 | 95.34 | 12 | 2094.96 | 4920.72 | 8915.76 | 243.6 | 1948.8 | 5748.96 | 4384.8 | 6674.64 | 3215.52 | 6138.72 | 46500 | 0 | 5800 | 192.78 | 230.58 | 359.1 | 227 | 32.13 | 32.13 | 11.34 | 20.79 | 32.13 | 54.81 | 12 | 11 | 13 | 19 | 19 | 11 | 7 | 16 | 7 | 6 | 18 | 10.4 |  | 8 | 9.8 | 587 | 171.5 | 3100 | 260 | 3900 | 400 | 200 | 610 | 35.91 | 24.57 | 30.24 | 22.68 | 66.15
Dubai at Jumeirah Beach | 5 | 3 | 2022 | 208.56 | 402 | 675 | 486 | 261 | 261 | 87.76 | 14 | 2728.32 | 4920.72 | 9061.92 | 584.64 | 194.88 | 5943.84 | 4384.8 | 3069.36 | 2971.92 | 6284.88 | 49200 | 0 | 0 | 190.89 | 245.7 | 328.86 | 220 | 32.13 | 37.8 | 9.45 | 17.01 | 24.57 | 47.25 | 2 | 11 | 14 | 19 | 1 | 11 | 7 | 17 | 7 | 7 | 18 | 9 |  | 6.9 | 7.4 | 532 | 155.7 | 3200 | 270 | 3600 | 400 | 300 | 640 | 26.46 | 24.57 | 34.02 | 30.24 | 58.59
Dubai at Jumeirah Beach | 6 | 3 | 2022 | 194.34 | 349 | 574 | 438 | 255 | 255 | 88.86 | 13 | 2582.16 | 4579.68 | 9695.28 | 48.72 | 0 | 5651.52 | 3800.16 | 4336.08 | 2874.48 | 5992.56 | 53000 | 0 | 0 | 187.11 | 223.02 | 291.06 | 220 | 34.02 | 39.69 | 7.56 | 17.01 | 18.9 | 54.81 | 10 | 5 | 23 | 24 | 2 | 10 | 7 | 14 | 9 | 3 | 9 | 3.3 |  | 6.6 | 10.6 | 585 | 141 | 3500 | 270 | 3900 | 500 | 200 | 610 | 32.13 | 20.79 | 28.35 | 22.68 | 56.7
Dubai at Jumeirah Beach | 7 | 3 | 2022 | 222.78 | 375 | 613 | 425 | 221 | 221 | 95.28 | 11 | 2582.16 | 4725.84 | 3118.08 | 48.72 | 6577.2 | 5651.52 | 3946.32 | 4384.8 | 3020.64 | 5895.12 | 16100 | 0 | 32400 | 185.22 | 211.68 | 268.38 | 217 | 32.13 | 34.02 | 11.34 | 17.01 | 20.79 | 52.92 | 5 | 6 | 16 | 18 | 8 | 9 | 5 | 12 | 6 | 4 | 19 | 15.1 |  | 7.3 | 8.9 | 492 | 151 | 3000 | 250 | 3500 | 400 | 100 | 610 | 32.13 | 20.79 | 30.24 | 18.9 | 58.59
Dubai at Jumeirah Beach | 8 | 3 | 2022 | 196.71 | 364 | 796 | 451 | 268 | 268 | 107.97 | 18 | 2825.76 | 4823.28 | 925.68 | 48.72 | 9695.28 | 5846.4 | 4189.92 | 4677.12 | 3215.52 | 5992.56 | 0 | 0 | 53000 | 192.78 | 226.8 | 417.69 | 222 | 32.13 | 35.91 | 11.34 | 18.9 | 30.24 | 54.81 | 7 | 9 | 17 | 21 | 8 | 10 | 5 | 11 | 6 | 4 | 19 | 8.9 |  | 7.1 | 8.7 | 584 | 153.1 | 3300 | 270 | 3400 | 400 | 200 | 630 | 28.35 | 24.57 | 32.13 | 20.79 | 51.03
Dubai at Jumeirah Beach | 9 | 3 | 2022 | 194.34 | 347 | 687 | 450 | 268 | 268 | 98.65 | 15 | 2679.6 | 4774.56 | 974.4 | 97.44 | 9695.28 | 5554.08 | 4189.92 | 4677.12 | 3069.36 | 5943.84 | 0 | 0 | 52600 | 189 | 198.45 | 291.06 | 224 | 30.24 | 34.02 | 9.45 | 20.79 | 26.46 | 51.03 | 8 | 10 | 15 | 20 | 7 | 10 | 8 | 12 | 7 | 4 | 19 | 9.3 |  | 7.1 | 8.3 | 573 | 155.7 | 3500 | 270 | 3200 | 500 | 400 | 650 | 26.46 | 20.79 | 30.24 | 22.68 | 60.48
Dubai at Jumeirah Beach | 10 | 3 | 2022 |  | 417
Dubai at Jumeirah Beach | 11 | 3 | 2022
Dubai at Jumeirah Beach | 12 | 3 | 2022
Dubai at Jumeirah Beach | 13 | 3 | 2022
Dubai at Jumeirah Beach | 14 | 3 | 2022
Dubai at Jumeirah Beach | 15 | 3 | 2022
Dubai at Jumeirah Beach | 16 | 3 | 2022
Dubai at Jumeirah Beach | 17 | 3 | 2022
Dubai at Jumeirah Beach | 18 | 3 | 2022
Dubai at Jumeirah Beach | 19 | 3 | 2022
Dubai at Jumeirah Beach | 20 | 3 | 2022
Dubai at Jumeirah Beach | 21 | 3 | 2022
Dubai at Jumeirah Beach | 22 | 3 | 2022
Dubai at Jumeirah Beach | 23 | 3 | 2022
Dubai at Jumeirah Beach | 24 | 3 | 2022
Dubai at Jumeirah Beach | 25 | 3 | 2022
Dubai at Jumeirah Beach | 26 | 3 | 2022
Dubai at Jumeirah Beach | 27 | 3 | 2022
Dubai at Jumeirah Beach | 28 | 3 | 2022
Dubai at Jumeirah Beach | 29 | 3 | 2022
Dubai at Jumeirah Beach | 30 | 3 | 2022
Dubai at Jumeirah Beach | 31 | 3 | 2022

## DJB Daily Readings
Daily Water Consumption March 2020 | [18 empty] | Electricity Daily Consumption March 2020 | [29 empty] | Chiller BTU Meter Reading March 2020 | [20 empty] | Lpg Daily Consumption March 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading March 2020 | [11 empty] | F & B Village Chilled Water Reading March 2020 | [11 empty] | F & B Village Daily Lpg Reading March 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 86% | 67675 | 550 | 425 | 126373 | 416 | 377 | 164625 | 0 | 832518 | 228 | 193942 | 0 | 59180.43 | 69 | 20 | 4524 | 0 | 7385026.32 | 3264.24 | 2728.32 | 14135474.64 | 4725.84 | 4433.52 | 13909754.88 | 584.64 | 48.72 | 16967032.32 | 2289.84 | 48.72 | 17352212.64 | 6284.88 | 7990.08 | 15947907.36 | 5651.52 | 4969.44 | 13518484.56 | 3897.6 | 3995.04 | 13010481.12 | 4530.96 | 3946.32 | 10347251.04 | 2679.6 | 2971.92 | 16105029.36 | 5456.64 | 5261.76 | 69009400 | 0 | 0 | 71613900 | 14700 | 0 | 66152700 | 30400 | 37400 | [10 empty] | 8170760 | 5690 | 74% | -7% | 6% | 58604 | 18 | 50104 | 18 | 17144 | 6 | 22942 | 11 | 25009 | 15 | 55485 | 28 | 242638 | 99 | 91.66 | 189745 | 114 | 94.02 | 342319 | 269 | 306.16 | 639149 | 222 | 7111 | 9 | 4504 | 9 | 28248 | 16 | 28903 | 16 | 19404 | 9 | 22445 | 8 | 4158 | 13 | 7684 | 6 | 2173 | 5 | 4171 | 6 | 26771 | 10 | 3833.8 | 9.1 | 8804.6 | 7.4 | 2903.3 | 7 | 3042.2 | 7.1 | 917682 | 501 | 188934.7 | 153 | 10630800 | 3100 | 847840 | 270 | 6452500 | 300 | 2274400 | 500 | 1048580 | 610 | 14474300 | 3200 | 38661 | 13 | 33503 | 12 | 4594 | 11 | 55638 | 16 | 40317 | 27
2020-01-01 | 85% | 68225 |  |  | 126789 |  |  | 164625 |  | 832746 |  | 193942 |  | 59249.43 |  |  | 4524 |  | 7388290.56 |  |  | 14140200.48 |  |  | 13910339.52 |  |  | 16969322.16 |  |  | 17358497.52 |  |  | 15953558.88 |  |  | 13522382.16 |  |  | 13015012.08 |  |  | 10349930.64 |  |  | 16110486 |  |  | 69009400 |  |  | 71628600 |  |  | 66183100 | [12 empty] | 8176450 |  | 67% |  |  | 58622 |  | 50122 |  | 17150 |  | 22953 |  | 25024 |  | 55513 |  | 242737 |  |  | 189859 |  |  | 342588 |  |  | 639371 |  | 7120 |  | 4513 |  | 28264 |  | 28919 |  | 19413 |  | 22453 |  | 4171 |  | 7690 |  | 2178 |  | 4177 |  | 26781 |  | 3842.9 |  | 8812 |  | 2910.3 |  | 3049.3 |  | 918183 |  | 189087.7 |  | 10633900 |  | 848110 |  | 6452800 |  | 2274900 |  | 1049190 |  | 14477500 |  | 38674 |  | 33515 |  | 4605 |  | 55654 |  | 40344
2020-01-02 | 90% | 68789 | 564 | 440 | 127218 | 429 | 396 | 164625 | 0 | 832998 | 252 | 193942 | 0 | 59332.76 | 83.33 | 31 | 4538 | 14 | 7390726.56 | 2436 | 3264.24 | 14145169.92 | 4969.44 | 4530.96 | 13917744.96 | 7405.44 | 97.44 | 16969517.04 | 194.88 | 0 | 17361372 | 2874.48 | 9695.28 | 15959405.28 | 5846.4 | 5164.32 | 13526718.24 | 4336.08 | 4287.36 | 13019786.64 | 3312.96 | 4043.76 | 10353243.6 | 3312.96 | 3215.52 | 16116088.8 | 5602.8 | 6041.28 | 69042500 | 33100 | 0 | 71628600 | 0 | 0 | 66197300 | 14200 | 45300 | [10 empty] | 8182670 | 6220 | 59% | 8% | -18% | 58640 | 18 | 50136 | 14 | 17156 | 6 | 22963 | 10 | 25037 | 13 | 55540 | 27 | 242843 | 106 | 92.49 | 189979 | 120 | 95.86 | 342819 | 231 | 272.86 | 639609 | 238 | 7130 | 10 | 4524 | 11 | 28281 | 17 | 28932 | 13 | 19422 | 9 | 22461 | 8 | 4186 | 15 | 7696 | 6 | 2184 | 6 | 4184 | 7 | 26793 | 12 | 3852.9 | 10 | 8820 | 8 | 2918.1 | 7.8 | 3056.6 | 7.3 | 918696 | 513 | 189259.4 | 171.7 | 10637000 | 3100 | 848390 | 280 | 6453100 | 300 | 2275100 | 200 | 1049810 | 620 | 14480800 | 3300 | 38686 | 12 | 33527 | 12 | 4616 | 11 | 55671 | 17 | 40376 | 32
2020-01-03 | 94% | 69391 | 602 | 389 | 127681 | 463 | 395 | 164625 | 0 | 833308 | 310 | 193951 | 9 | 59415.38 | 82.62 | 46 | 4549 | 11 | 7392675.36 | 1948.8 | 3118.08 | 14149749.6 | 4579.68 | 4336.08 | 13927196.64 | 9451.68 | 97.44 | 16969711.92 | 194.88 | 48.72 | 17362005.36 | 633.36 | 9597.84 | 15964764.48 | 5359.2 | 4774.56 | 13530810.72 | 4092.48 | 3800.16 | 13024268.88 | 3166.8 | 3897.6 | 10356410.4 | 3166.8 | 3118.08 | 16121448 | 5359.2 | 5797.68 | 69093200 | 50700 | 0 | 71628600 | 0 | 0 | 66197300 | 0 | 48600 | [10 empty] | 8188620 | 5950 | 69% | -10% | 7% | 58656 | 16 | 50154 | 18 | 17163 | 7 | 22972 | 9 | 25051 | 14 | 55567 | 27 | 242938 | 95 | 93.29 | 190095 | 116 | 93.32 | 342999 | 180 | 114.39 | 639822 | 213 | 7141 | 11 | 4536 | 12 | 28299 | 18 | 28945 | 13 | 19433 | 11 | 22470 | 9 | 4201 | 15 | 7702 | 6 | 2189 | 5 | 4191 | 7 | 26812 | 19 | 3860.9 | 8 | 8827.6 | 7.6 | 2924.1 | 6 | 3064.1 | 7.5 | 919248 | 552 | 189399.2 | 139.8 | 10640200 | 3200 | 848670 | 280 | 6453500 | 400 | 2275300 | 200 | 1050410 | 600 | 14484300 | 3500 | 38698 | 12 | 33540 | 13 | 4627 | 11 | 55688 | 17 | 40410 | 34
2020-01-04 | 91% | 70151 | 760 | 571 | 128189 | 508 | 385 | 164625 | 0 | 833466 | 158 | 194089 | 138 | 59510.72 | 95.34 | 39 | 4561 | 12 | 7394770.32 | 2094.96 | 3312.96 | 14154670.32 | 4920.72 | 4336.08 | 13936112.4 | 8915.76 | 48.72 | 16969955.52 | 243.6 | 48.72 | 17363954.16 | 1948.8 | 10036.32 | 15970513.44 | 5748.96 | 4823.28 | 13535195.52 | 4384.8 | 4141.2 | 13030943.52 | 3215.52 | 3946.32 | 10359625.92 | 3215.52 | 3410.4 | 16127586.72 | 6138.72 | 5602.8 | 69139700 | 46500 | 0 | 71628600 | 0 | 0 | 66203100 | 5800 | 48500 | [10 empty] | 8195050 | 6430 | 62% | 7% | 3% | 58673 | 17 | 50171 | 17 | 17169 | 6 | 22983 | 11 | 25068 | 17 | 55596 | 29 | 243040 | 102 | 91.71 | 190217 | 122 | 99.68 | 343189 | 190 | 79.61 | 640049 | 227 | 7152 | 11 | 4548 | 12 | 28318 | 19 | 28958 | 13 | 19444 | 11 | 22489 | 19 | 4217 | 16 | 7709 | 7 | 2195 | 6 | 4198 | 7 | 26830 | 18 | 3871.3 | 10.4 | 8836.2 | 8.6 | 2932.1 | 8 | 3073.9 | 9.8 | 919835 | 587 | 189570.7 | 171.5 | 10643300 | 3100 | 848930 | 260 | 6453900 | 400 | 2275500 | 200 | 1051020 | 610 | 14488200 | 3900 | 38717 | 19 | 33553 | 13 | 4639 | 12 | 55704 | 16 | 40445 | 35
2020-01-05 | 88% | 70826 | 675 | 487 | 128675 | 486 | 378 | 164625 | 0 | 833727 | 261 | 194089 | 0 | 59598.48 | 87.76 | 59 | 4575 | 14 | 7397498.64 | 2728.32 | 2679.6 | 14159591.04 | 4920.72 | 4433.52 | 13945174.32 | 9061.92 | 682.08 | 16970540.16 | 584.64 | 97.44 | 17364149.04 | 194.88 | 11838.96 | 15976457.28 | 5943.84 | 4969.44 | 13539580.32 | 4384.8 | 4092.48 | 13034012.88 | 2971.92 | 3995.04 | 10362597.84 | 2971.92 | 2825.76 | 16133871.6 | 6284.88 | 5992.56 | 69188900 | 49200 | 0 | 71628600 | 0 | 0 | 66203100 | 0 | 56100 | [10 empty] | 8202100 | 7050 | 54% | 8% | -12% | 58690 | 17 | 50191 | 20 | 17174 | 5 | 22992 | 9 | 25081 | 13 | 55621 | 25 | 243141 | 101 | 95 | 190347 | 130 | 90 | 343363 | 174 | 109 | 640269 | 220 | 7163 | 11 | 4550 | 2 | 28337 | 19 | 28972 | 14 | 19455 | 11 | 22490 | 1 | 4234 | 17 | 7716 | 7 | 2202 | 7 | 4205 | 7 | 26848 | 18 | 3880.3 | 9 | 8844.3 | 8.1 | 2939 | 6.9 | 3081.3 | 7.4 | 920367 | 532 | 189726.4 | 155.7 | 10646500 | 3200 | 849200 | 270 | 6454300 | 400 | 2275800 | 300 | 1051660 | 640 | 14491800 | 3600 | 38731 | 14 | 33566 | 13 | 4655 | 16 | 55722 | 18 | 40476 | 31
2020-01-06 | 82% | 71400 | 574 | 520 | 129113 | 438 | 381 | 164625 | 0 | 833982 | 255 | 194089 | 0 | 59687.34 | 88.86 | 46 | 4588 | 13 | 7400080.8 | 2582.16 | 1656.48 | 14164170.72 | 4579.68 | 4336.08 | 13954869.6 | 9695.28 | 9890.16 | 16970588.88 | 48.72 | 48.72 | 17364149.04 | 0 | 925.68 | 15982108.8 | 5651.52 | 4774.56 | 13543380.48 | 3800.16 | 4043.76 | 13038348.96 | 2874.48 | 3897.6 | 10365472.32 | 2874.48 | 3069.36 | 16139864.16 | 5992.56 | 5554.08 | 69241900 | 53000 | 47500 | 71628600 | 0 | 0 | 66203100 | 0 | 2800 | [10 empty] | 8206730 | 4630 | 75% | -21% | 8% | 58708 | 18 | 50212 | 21 | 17178 | 4 | 23001 | 9 | 25091 | 10 | 55650 | 29 | 243240 | 99 | 92.97 | 190465 | 118 | 97.1 | 343517 | 154 | 236.09 | 640489 | 220 | 7168 | 5 | 4560 | 10 | 28361 | 24 | 28995 | 23 | 19465 | 10 | 22492 | 2 | 4248 | 14 | 7723 | 7 | 2205 | 3 | 4214 | 9 | 26857 | 9 | 3883.6 | 3.3 | 8851.7 | 7.4 | 2945.6 | 6.6 | 3091.9 | 10.6 | 920952 | 585 | 189867.4 | 141 | 10650000 | 3500 | 849470 | 270 | 6454800 | 500 | 2276000 | 200 | 1052270 | 610 | 14495700 | 3900 | 38748 | 17 | 33577 | 11 | 4667 | 12 | 55737 | 15 | 40506 | 30
2020-01-07 | 94% | 72013 | 613 | 420 | 129538 | 425 | 352 | 164625 | 0 | 834203 | 221 | 194089 | 0 | 59782.62 | 95.28 | 28 | 4599 | 11 | 7402662.96 | 2582.16 | 1705.2 | 14168896.56 | 4725.84 | 4433.52 | 13957987.68 | 3118.08 | 8282.4 | 16970637.6 | 48.72 | 0 | 17370726.24 | 6577.2 | 535.92 | 15987760.32 | 5651.52 | 5018.16 | 13547326.8 | 3946.32 | 3946.32 | 13042733.76 | 3020.64 | 3897.6 | 10368492.96 | 3020.64 | 2825.76 | 16145759.28 | 5895.12 | 5310.48 | 69258000 | 16100 | 41000 | 71628600 | 0 | 0 | 66235500 | 32400 | 0 | [10 empty] | 8212520 | 5790 | 69% | 6% | -4% | 58725 | 17 | 50230 | 18 | 17184 | 6 | 23010 | 9 | 25102 | 11 | 55678 | 28 | 243338 | 98 | 92.83 | 190577 | 112 | 91.9 | 343659 | 142 | 404.91 | 640706 | 217 | 7174 | 6 | 4565 | 5 | 28379 | 18 | 29011 | 16 | 19474 | 9 | 22500 | 8 | 4260 | 12 | 7728 | 5 | 2209 | 4 | 4220 | 6 | 26876 | 19 | 3898.7 | 15.1 | 8859 | 7.3 | 2952.9 | 7.3 | 3100.8 | 8.9 | 921444 | 492 | 190018.4 | 151 | 10653000 | 3000 | 849720 | 250 | 6455200 | 400 | 2276100 | 100 | 1052880 | 610 | 14499200 | 3500 | 38765 | 17 | 33588 | 11 | 4677 | 10 | 55753 | 16 | 40537 | 31
2020-01-08 | 83% | 72809 | 796 | 390 | 129989 | 451 | 370 | 164625 | 0 | 834471 | 268 | 194291 | 202 | 59890.59 | 107.97 | 18 | 4617 | 18 | 7405488.72 | 2825.76 | 1607.76 | 14173719.84 | 4823.28 | 4384.8 | 13958913.36 | 925.68 | 48.72 | 16970686.32 | 48.72 | 535.92 | 17380421.52 | 9695.28 | 535.92 | 15993606.72 | 5846.4 | 4920.72 | 13551516.72 | 4189.92 | 3946.32 | 13047410.88 | 3215.52 | 3702.72 | 10371708.48 | 3215.52 | 2777.04 | 16151751.84 | 5992.56 | 5505.36 | 69258000 | 0 | 40800 | 71628600 | 0 | 0 | 66288500 | 53000 | 0 | [10 empty] | 8218550 | 6030 | 62% | 7% | 6% | 58742 | 17 | 50249 | 19 | 17190 | 6 | 23020 | 10 | 25118 | 16 | 55707 | 29 | 243440 | 102 | 89.2 | 190697 | 120 | 96 | 343880 | 221 | 329 | 640928 | 222 | 7183 | 9 | 4572 | 7 | 28400 | 21 | 29028 | 17 | 19484 | 10 | 22508 | 8 | 4271 | 11 | 7733 | 5 | 2213 | 4 | 4226 | 6 | 26895 | 19 | 3907.6 | 8.9 | 8866.8 | 7.8 | 2960 | 7.1 | 3109.5 | 8.7 | 922028 | 584 | 190171.5 | 153.1 | 10656300 | 3300 | 849990 | 270 | 6455600 | 400 | 2276300 | 200 | 1053510 | 630 | 14502600 | 3400 | 38780 | 15 | 33601 | 13 | 4688 | 11 | 55770 | 17 | 40564 | 27
2020-01-09 | 82% | 73496 | 687 | 424 | 130439 | 450 | 372 | 164625 | 0 | 834739 | 268 | 194354 | 63 | 59989.24 | 98.65 | 24 | 4632 | 15 | 7408168.32 | 2679.6 | 1656.48 | 14178494.4 | 4774.56 | 4238.64 | 13959887.76 | 974.4 | 0 | 16970783.76 | 97.44 | 584.64 | 17390116.8 | 9695.28 | 584.64 | 15999160.8 | 5554.08 | 5115.6 | 13555706.64 | 4189.92 | 3995.04 | 13052088 | 3069.36 | 3800.16 | 10374777.84 | 3069.36 | 2777.04 | 16157695.68 | 5943.84 | 5797.68 | 69258000 | 0 | 41300 | 71628600 | 0 | 0 | 66341100 | 52600 | 0 | [10 empty] | 8224760 | 6210 | 54% | 8% | -6% | 58758 | 16 | 50267 | 18 | 17195 | 5 | 23031 | 11 | 25132 | 14 | 55734 | 27 | 243540 | 100 | 92 | 190802 | 105 | 97 | 344034 | 154 | 276 | 641152 | 224 | 7193 | 10 | 4580 | 8 | 28420 | 20 | 29043 | 15 | 19494 | 10 | 22515 | 7 | 4283 | 12 | 7741 | 8 | 2217 | 4 | 4233 | 7 | 26914 | 19 | 3916.9 | 9.3 | 8874.9 | 8.1 | 2967.1 | 7.1 | 3117.8 | 8.3 | 922601 | 573 | 190327.2 | 155.7 | 10659800 | 3500 | 850260 | 270 | 6456100 | 500 | 2276700 | 400 | 1054160 | 650 | 14505800 | 3200 | 38794 | 14 | 33612 | 11 | 4700 | 12 | 55786 | 16 | 40596 | 32
2020-01-10 | 0% | 0 | -73496 | 425 | 0 | -130439 | 377 | 0 | -164625 | 0 | -834739 | 0 | -194354 | 0 | -59989.24 | 25 | 0 | -4632 | 0 | -7408168.32 | 1753.92 | 0 | -14178494.4 | 4384.8 | 0 | -13959887.76 | 9208.08 | 0 | -16970783.76 | 341.04 | 0 | -17390116.8 | 292.32 | 0 | -15999160.8 | 5115.6 | 0 | -13555706.64 | 3946.32 | 0 | -10374777.84 | 3897.6 | 0 | -10374777.84 | 2777.04 | 0 | -16157695.68 | 6041.28 | 0 | -69258000 | 45300 | 0 | -71628600 | 0 | 0 | -66341100 | 0 | [10 empty] | 0 | -8224760 | 0% | 54% | 6% | 0 | -58758 | 0 | -50267 | 0 | -17195 | 0 | -23031 | 0 | -25132 | 0 | -55734 | 0 | -243540 | 92 | 0 | -190802 | 96 | 0 | -344034 | 234 | 0 | -641152 | 0 | -7193 | 0 | -4580 | 0 | -28420 | 0 | -29043 | 0 | -19494 | 0 | -22515 | 0 | -4283 | 0 | -7741 | 0 | -2217 | 0 | -4233 | 0 | -26914 | 0 | -3916.9 | 0 | -8874.9 | 0 | -2967.1 | 0 | -3117.8 | 0 | -922601 | 0 | -190327.2 | 0 | -10659800 | 0 | -850260 | 0 | -6456100 | 0 | -2276700 | 0 | -1054160 | 0 | -14505800 | 0 | -38794 | 0 | -33612 | 0 | -4700 | 0 | -55786 | 0 | -40596
2020-01-11 | 0% | 0 | 0 | 491 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 1900.08 | 0 | 0 | 4336.08 | 0 | 0 | 9646.56 | 0 | 0 | 438.48 | 0 | 0 | 146.16 | 0 | 0 | 5213.04 | 0 | 0 | 4141.2 | 0 | 0 | 3946.32 | 0 | 0 | 2825.76 | 0 | 0 | 6284.88 | 0 | 0 | 50400 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -6% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 97 | 0 | 0 | 247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-12 | 0% | 0 | 0 | 475 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 1948.8 | 0 | 0 | 4384.8 | 0 | 0 | 9305.52 | 0 | 0 | 487.2 | 0 | 0 | 97.44 | 0 | 0 | 4920.72 | 0 | 0 | 4092.48 | 0 | 0 | 3946.32 | 0 | 0 | 2728.32 | 0 | 0 | 6138.72 | 0 | 0 | 47900 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 6% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 98 | 0 | 0 | 242 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-13 | 0% | 0 | 0 | 475 | 0 | 0 | 391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 1851.36 | 0 | 0 | 4336.08 | 0 | 0 | 584.64 | 0 | 0 | 9256.8 | 0 | 0 | 487.2 | 0 | 0 | 4774.56 | 0 | 0 | 4092.48 | 0 | 0 | 3848.88 | 0 | 0 | 2679.6 | 0 | 0 | 6041.28 | 0 | 0 | 2100 | 0 | 0 | 47900 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 0 | 0 | 98 | 0 | 0 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 453 | 0 | 0 | 367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 1802.64 | 0 | 0 | 4336.08 | 0 | 0 | 194.88 | 0 | 0 | 8769.6 | 0 | 0 | 438.48 | 0 | 0 | 4774.56 | 0 | 0 | 3946.32 | 0 | 0 | 3946.32 | 0 | 0 | 2630.88 | 0 | 0 | 5895.12 | 0 | 0 | 0 | 0 | 0 | 44700 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 98 | 0 | 0 | 266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 436 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 1851.36 | 0 | 0 | 4482.24 | 0 | 0 | 194.88 | 0 | 0 | 8672.16 | 0 | 0 | 925.68 | 0 | 0 | 4872 | 0 | 0 | 4043.76 | 0 | 0 | 4092.48 | 0 | 0 | 2874.48 | 0 | 0 | 5943.84 | 0 | 0 | 0 | 0 | 0 | 43200 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 94 | 0 | 0 | 253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 444 | 0 | 0 | 378 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 1753.92 | 0 | 0 | 4287.36 | 0 | 0 | 194.88 | 0 | 0 | 8574.72 | 0 | 0 | 0 | 0 | 0 | 4628.4 | 0 | 0 | 3995.04 | 0 | 0 | 3848.88 | 0 | 0 | 2777.04 | 0 | 0 | 5895.12 | 0 | 0 | 0 | 0 | 0 | 44600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 95 | 0 | 0 | 229 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 461 | 0 | 0 | 387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 1851.36 | 0 | 0 | 4336.08 | 0 | 0 | 243.6 | 0 | 0 | 9208.08 | 0 | 0 | 487.2 | 0 | 0 | 4725.84 | 0 | 0 | 3995.04 | 0 | 0 | 3848.88 | 0 | 0 | 2923.2 | 0 | 0 | 6479.76 | 0 | 0 | 0 | 0 | 0 | 47700 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.71 | 0 | 0 | 100.83 | 0 | 0 | 191.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 481 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 1948.8 | 0 | 0 | 4336.08 | 0 | 0 | 194.88 | 0 | 0 | 9354.24 | 0 | 0 | 487.2 | 0 | 0 | 4969.44 | 0 | 0 | 4043.76 | 0 | 0 | 3946.32 | 0 | 0 | 2874.48 | 0 | 0 | 5943.84 | 0 | 0 | 0 | 0 | 0 | 49500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -14% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.28 | 0 | 0 | 96.88 | 0 | 0 | 180.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 515 | 0 | 0 | 426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 1997.52 | 0 | 0 | 4482.24 | 0 | 0 | 292.32 | 0 | 0 | 11059.44 | 0 | 0 | 730.8 | 0 | 0 | 5164.32 | 0 | 0 | 4189.92 | 0 | 0 | 4092.48 | 0 | 0 | 2923.2 | 0 | 0 | 6382.32 | 0 | 0 | 0 | 0 | 0 | 58300 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 6% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94.92 | 0 | 0 | 96.7 | 0 | 0 | 185.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 510 | 0 | 0 | 427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0 | 0 | 0 | 2436 | 0 | 0 | 4238.64 | 0 | 0 | 146.16 | 0 | 0 | 3605.28 | 0 | 0 | 9549.12 | 0 | 0 | 4920.72 | 0 | 0 | 4043.76 | 0 | 0 | 4092.48 | 0 | 0 | 2923.2 | 0 | 0 | 6284.88 | 0 | 0 | 0 | 0 | 0 | 14600 | 0 | 0 | 45900 | [10 empty] | 0 | 0 | 0% | 0% | -9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.02 | 0 | 0 | 95.51 | 0 | 0 | 188.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 503 | 0 | 0 | 392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 2338.56 | 0 | 0 | 4384.8 | 0 | 0 | 194.88 | 0 | 0 | 876.96 | 0 | 0 | 9597.84 | 0 | 0 | 4774.56 | 0 | 0 | 3995.04 | 0 | 0 | 4043.76 | 0 | 0 | 2971.92 | 0 | 0 | 6187.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49500 | [10 empty] | 0 | 0 | 0% | 0% | 10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.27 | 0 | 0 | 98.2 | 0 | 0 | 351.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 500 | 0 | 0 | 390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 2484.72 | 0 | 0 | 4336.08 | 0 | 0 | 97.44 | 0 | 0 | 876.96 | 0 | 0 | 9451.68 | 0 | 0 | 4433.52 | 0 | 0 | 4189.92 | 0 | 0 | 3946.32 | 0 | 0 | 3020.64 | 0 | 0 | 6041.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49500 | [10 empty] | 0 | 0 | 0% | 0% | -10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95.8 | 0 | 0 | 97.88 | 0 | 0 | 270.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 462 | 0 | 0 | 384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 3361.68 | 0 | 0 | 4336.08 | 0 | 0 | 292.32 | 0 | 0 | 730.8 | 0 | 0 | 9061.92 | 0 | 0 | 4725.84 | 0 | 0 | 4189.92 | 0 | 0 | 4043.76 | 0 | 0 | 3020.64 | 0 | 0 | 5992.56 | 0 | 0 | 1100 | 0 | 0 | 0 | 0 | 0 | 49300 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 97.79 | 0 | 0 | 228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 502 | 0 | 0 | 416 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 3751.44 | 0 | 0 | 4384.8 | 0 | 0 | 146.16 | 0 | 0 | 974.4 | 0 | 0 | 9500.4 | 0 | 0 | 4823.28 | 0 | 0 | 4384.8 | 0 | 0 | 4092.48 | 0 | 0 | 3020.64 | 0 | 0 | 6138.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54900 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 0 | 0 | 99.21 | 0 | 0 | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 534 | 0 | 0 | 414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 0 | 0 | 0 | 0 | 3800.16 | 0 | 0 | 4384.8 | 0 | 0 | 194.88 | 0 | 0 | 2582.16 | 0 | 0 | 3267.36 | 0 | 0 | 4872 | 0 | 0 | 4336.08 | 0 | 0 | 3995.04 | 0 | 0 | 2777.04 | 0 | 0 | 6431.04 | 0 | 0 | 0 | 0 | 0 | 8400 | 0 | 0 | 53300 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 99 | 0 | 0 | 177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 541 | 0 | 0 | 432 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 3848.88 | 0 | 0 | 4336.08 | 0 | 0 | 243.6 | 0 | 0 | 2192.4 | 0 | 0 | 15538.56 | 0 | 0 | 4823.28 | 0 | 0 | 4530.96 | 0 | 0 | 3946.32 | 0 | 0 | 2825.76 | 0 | 0 | 6431.04 | 0 | 0 | 0 | 0 | 0 | 7300 | 0 | 0 | 50900 | [10 empty] | 0 | 0 | 0% | 0% | -7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 102 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 529 | 0 | 0 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 2046.24 | 0 | 0 | 4384.8 | 0 | 0 | 11303.04 | 0 | 0 | 97.44 | 0 | 0 | 1364.16 | 0 | 0 | 4725.84 | 0 | 0 | 4482.24 | 0 | 0 | 3848.88 | 0 | 0 | 2728.32 | 0 | 0 | 6431.04 | 0 | 0 | 59800 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.95 | 0 | 0 | 95.4 | 0 | 0 | 110.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -143668.1 | 0 | 0 | 0 | 0 | 2728.32 | 0 | 0 | 4433.52 | 0 | 0 | 11497.92 | 0 | 0 | 48.72 | 0 | 0 | 3264.24 | 0 | 0 | 4969.44 | 0 | 0 | 4482.24 | 0 | 0 | 3995.04 | 0 | 0 | 2971.92 | 0 | 0 | 4433.52 | 0 | 0 | 55600 | 0 | 0 | 0 | 0 | 0 | 2400 | [10 empty] | 0 | 0 | 0% | 0% | -10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94.98 | 0 | 0 | 100.72 | 0 | 0 | 120.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 503 | 0 | 0 | 350.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.18 | 0 | 0 | 0 | 0 | 2436 | 0 | 0 | 4530.96 | 0 | 0 | 12180 | 0 | 0 | 0 | 0 | 0 | 292.32 | 0 | 0 | 4872 | 0 | 0 | 4482.24 | 0 | 0 | 4092.48 | 0 | 0 | 3069.36 | 0 | 0 | 8331.12 | 0 | 0 | 64900 | 0 | 0 | 0 | 0 | 0 | 14500 | [10 empty] | 0 | 0 | 0% | 0% | 10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94.07 | 0 | 0 | 95.88 | 0 | 0 | 150.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 501 | 0 | 0 | 356.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.8 | 0 | 0 | 0 | 0 | 2582.16 | 0 | 0 | 4482.24 | 0 | 0 | 12813.36 | 0 | 0 | 48.72 | 0 | 0 | 389.76 | 0 | 0 | 4774.56 | 0 | 0 | 4530.96 | 0 | 0 | 3897.6 | 0 | 0 | 3166.8 | 0 | 0 | 6382.32 | 0 | 0 | 68300 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 94 | 0 | 0 | 127.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 515 | 0 | 0 | 374.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102.93 | 0 | 0 | 0 | 0 | 3507.84 | 0 | 0 | 5115.6 | 0 | 0 | 0 | 0 | 0 | 97.44 | 0 | 0 | 3215.52 | 0 | 0 | 5261.76 | 0 | 0 | 5115.6 | 0 | 0 | 4482.24 | 0 | 0 | 3800.16 | 0 | 0 | 7356.72 | 0 | 0 | 59500 | 0 | 0 | 0 | 0 | 0 | 15400 | [10 empty] | 0 | 0 | 0% | 0% | 9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 91.34 | 0 | 0 | 147.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption March 2018 | [18 empty] | Electricity Daily Consumption March 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption March 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
March Reading 2017 two weeks |  | 6821 |  |  | 5747 | [8 empty] | 495 |  |  |  |  | 32837.28 |  |  | 65723.28 |  |  | 48330.24 |  |  | 29378.16 |  |  | 54127.92 |  |  | 74200.56 |  |  | 60510.24 |  |  | 58805.04 |  |  | 43506.96 |  |  | 87208.8 |  |  | 316300 |  |  | 135800 |  |  | 238700 | [29 empty] | 1388.15 |  |  | 1435.88 |  |  | 3682.02
March Reading 2018 two weeks |  | -67675 |  |  | -126373 | [8 empty] | -59180.43 |  |  |  |  | -7385026.32 |  |  | -14135474.64 |  |  | -13909754.88 |  |  | -16967032.32 |  |  | -17352212.64 |  |  | -15947907.36 |  |  | -13518484.56 |  |  | -10345399.68 |  |  | -10347251.04 |  |  | -16105029.36 |  |  | -69009400 |  |  | -71613900 |  |  | -66152700 | [29 empty] | -242638 |  |  | -189745 |  |  | -342319 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 69325700 |  |  | -71749700 |  |  | -66391400
March Reading 2017 Monthly |  | 14316 |  |  | 11329.12 |  |  | 7048.9 |  | 7702.2 |  |  |  | -142456.12 |  |  | 476 |  | 72203.04 |  |  | 131397.84 |  |  | 98365.68 |  |  | 79608.48 |  |  | 127110.48 |  |  | 146403.6 |  |  | 124382.16 |  |  | 118535.76 |  |  | 87501.12 |  |  | 180994.8 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2814.15 |  |  | 2900.88 |  |  | 6547.92 |  |  | 3894 | [14 empty] | 487.2
March Reading 2018 Monthly |  | -68225 |  |  | -126373 |  |  | -164625 |  | -832518 |  |  |  | -59180.43 |  |  | -4524 |  | -7385026.32 |  |  | -14135474.64 |  |  | -13909754.88 |  |  | -16967032.32 |  |  | -17352212.64 |  |  | -15947907.36 |  |  | -13518484.56 |  |  | -10345399.68 |  |  | -10347251.04 |  |  | -16105029.36 |  |  | -69009400 |  |  | -71613900 |  |  | -66152700 | [12 empty] | -8170760 |  |  |  |  | -58604 |  | -50104 |  | -17144 |  | -22942 |  | -25009 |  | -55485 |  | -242638 |  |  | -189745 |  |  | -342319 |  |  | -639149
Difference |  | 82541 |  |  | 137702.12 |  |  | 171673.9 |  | 840220.2 |  |  |  | -83275.69 |  |  | 5000 |  | -7457229.36 |  |  | 14266872.48 |  |  | 14008120.56 |  |  | 17046640.8 |  |  | 17479323.12 |  |  | 16094310.96 |  |  | 13642866.72 |  |  | 10463935.44 |  |  | 10434752.16 |  |  | 16286024.16 |  |  | -69356700 |  |  | -71975000 |  |  | -66711542 | [29 empty] | 245452.15 |  |  | 192645.88 |  |  | 348866.92 |  |  | 643043
Total Monthly Electrical Kwh | [18 empty] | March 2017 Kwh | [5 empty] | 1166502.96 | [5 empty] | March 2018 Kwh | [5 empty] | -136013572.8 | [5 empty] | Saving Kwh |  |  | 137180075.76 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | March 2017 Kwh two weeks | [5 empty] | 554628.48 | [5 empty] | March 2018 Kwh two weeks | [5 empty] | -136013572.8 | [5 empty] | Saving Kwh |  |  | 136568201.28 |  |  | 1267242 |  |  | -206776000 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill