## Sheet1
Date | Electric (KWH) | [5 empty] | Gas (Therm) |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption | Mina | Consumption | Main | Consumption | Main (FT3) | Consumption | Chilled (THR) | Consumption | Hot (MMBTU) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption
2022-04-01 | 946520 | 4376 | 29507599 | 10019 | 8092354 | 3821 | 78972 | 100 | 20679 | 6 | 53456 | 7085.5615 | 52166472 | 6667 | 231661 | 71 | 65333 | 461 | 1663 | 18 | 1388 | 10 | 1663 |  | 1388 |  |  | 67137 | 0 | 217746 | 170 | 10769654 | 5435 | 28651 | 3 | 11147 | 647
2022-04-02 | 951121 | 4601 | 29517142 | 9543 | 8096118 | 3764 | 79088 | 130.964 | 20685 | 6.774 | 53510 | 7219.2513 | 52171424 | 4952 | 231742 | 81 | 65765 | 432 | 1680 | 17 | 1399 | 11 | 1680 | 170000 | 1399 | 110000 |  | 67137 | 0 | 217909 | 163 | 10775519 | 5865 | 28656 | 5 | 11971 | 824 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2022-04-03 | 955769 | 4648 | 29526181 | 9039 | 8099811 | 3693 | 79207 | 134.351 | 20691 | 6.774 | 53555 | 6016.0428 | 52176128 | 4704 | 231817 | 75 | 66173 | 408 | 1696 | 16 | 1405 | 6 |  | -16800000 |  | -13990000 |  | 67137 | 0 | 218075 | 166 | 10782008 | 6489 | 28662 | 6 | 12800 | 829 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2022-04-04 | 959661 | 3892 | 29534085 | 7904 | 8102981 | 3170 | 79298 | 102.739 | 20696 | 5.645 | 53592 | 4946.5241 | 52180401 | 4273 | 231883 | 66 | 66522 | 349 | 1711 | 15 | 1417 | 12 |  | 0 |  | 0 |  | 67137 | 0 | 218212 | 137 | 10787815 | 5807 | 28665 | 3 | 13207 | 407 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2022-04-05 | 964363 | 4702 | 29544120 | 10035 | 8106822 | 3841 | 79400 | 115.158 | 20703 | 7.903 | 53638 | 6149.7326 | 52185127 | 4726 | 231971 | 88 | 66983 | 461 | 1730 | 19 | 1429 | 12 |  | 0 |  | 0 |  | 67137 | 0 | 218350 | 138 | 10791404 | 3589 | 28666 | 1 | 13602 | 395 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2022-04-06 | 968698 | 4335 | 29553204 | 9084 | 8110341 | 3519 | 79493 | 104.997 | 20710 | 7.903 | 53676 | 5080.2139 | 52189975 | 4848 | 232045 | 74 | 67410 | 427 | 1748 | 18 | 1439 | 10 |  | 0 |  | 0 |  | 67137 | 0 | 218488 | 138 | 10796294 | 4890 | 28668 | 2 | 14028 | 426 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2022-04-07 | 973407 | 4709 | 29563281 | 10077 | 8114264 | 3923 | 79580 | 98.223 | 20719 | 10.161 | 53733 | 7620.3209 | 52196053 | 6078 | 232122 | 77 | 67872 | 462 | 1767 | 19 | 1450 | 11 | 799252 | 7992520000 | 357970 | 3579700000 |  | 67137 | 0 | 218651 | 163 | 10800987 | 4693 | 28669 | 1 | 14808 | 780 | 578955 | 5789550000 | 234978 | 2349780000 | 70493 | 704930000 | 269318 | 2693180000 | 454153 | 4541530000 | 19318 | 193180000 | 435701 | 4357010000 | 124010 | 1240100000
2022-04-08 | 977751 | 4344 | 29572366 | 9085 | 8117611 | 3347 | 79673 | 104.997 | 20725 | 6.774 | 53775 | 5614.9733 | 52200814 | 4761 | 232200 | 78 | 68275 | 403 | 1771 | 4 | 1461 | 11 | 799300 | 480000 | 358078 | 1080000 |  | 67137 | 0 | 218797 | 146 | 10806578 | 5591 | 28672 | 3 | 15489 | 681 | 578959 | 40000 | 234978 | 0 | 70493 | 0 | 269318 | 0 | 454753 | 6000000 | 19318 | 0 | 435879 | 1780000 | 124010 | 0
2022-04-09 | 982850 | 5099 | 29582422 | 10056 | 8121545 | 3934 | 79785 | 126.448 | 20731 | 6.774 | 53824 | 6550.8021 | 52206257 | 5443 | 232280 | 80 | 68730 | 455 | 1788 | 17 | 1472 | 11 | 799647 | 3470000 | 358415 | 3370000 |  | 67137 | 0 | 218976 | 179 | 10815192 | 8614 | 28677 | 5 | 16339 | 850 | 579093 | 1340000 | 234978 | 0 | 70508 | 150000 | 269318 | 0 | 454753 | 0 | 19318 | 0 | 436041 | 1620000 | 124010 | 0
2022-04-10 | 986987 | 4137 | 29590889 | 8467 | 8124898 | 3353 | 79903 | 133.222 | 20737 | 6.774 | 53871 | 6283.4225 | 52210873 | 4616 | 232354 | 74 | 69120 | 390 | 1805 | 17 | 1482 | 10 | 799978 | 3310000 | 358756 | 3410000 |  | 67137 | 0 | 219127 | 151 | 10822992 | 7800 | 28682 | 5 | 17094 | 755 | 579119 | 260000 | 234978 | 0 | 70508 | 0 | 269318 | 0 | 454753 | 0 | 19318 | 0 | 436182 | 1410000 | 124010 | 0
2022-04-11 | 991451 | 4464 | 29599836 | 8947 | 8128484 | 3586 | 79993 | 101.61 | 20743 | 6.774 | 53915 | 5882.3529 | 52215878 | 5005 | 232436 | 82 | 69522 | 402 | 1820 | 15 | 1492 | 10 | 800117 | 1390000 | 359096 | 3400000 |  | 67137 | 0 | 219276 | 149 | 10829751 | 6759 | 28685 | 3 | 17881 | 787 | 579119 | 0 | 234978 | 0 | 70508 | 0 | 269318 | 0 | 454753 | 0 | 19318 | 0 | 436205 | 230000 | 124010 | 0
2022-04-12 | 995505 | 4054 | 29607961 | 8125 | 8131574 | 3090 | 80086 | 104.997 | 20749 | 6.774 | 53952 | 4946.5241 | 52219274 | 3396 | 232499 | 63 | 69893 | 371 | 1821 | 1 | 1502 | 10 | 800272 | 1550000 | 359157 | 610000 |  | 67137 | 0 | 219418 | 142 | 10834829 | 5078 | 28686 | 1 | 18606 | 725 | 579156 | 370000 | 234978 | 0 | 70511 | 30000 | 269318 | 0 | 454753 | 0 | 19318 | 0 | 436237 | 320000 | 124010 | 0
2022-04-13 | 999776 | 4271 | 29617055 | 9094 | 8135126 | 3552 | 80185 | 111.771 | 20756 | 7.903 | 53992 | 5347.5936 | 52226914 | 7640 | 232554 | 55 | 69987 | 94 | 1827 | 6 | 1513 | 11 | 800368 | 960000 | 359198 | 410000 |  | 67137 | 0 | 219552 | 134 | 10839991 | 5162 | 28687 | 1 | 19300 | 694 | 579297 | 1410000 | 234978 | 0 | 70534 | 230000 | 269318 | 0 | 454782 | 290000 | 19318 | 0 | 436275 | 380000 | 124014 | 40000
2022-04-14 | 3835 | -995941 | 29626297 | 9242 | 8138701 | 3575 | 80283 | 110.642 | 20762 | 6.774 | 54037 | 6016.0428 | 52234574 | 7660 | 232605 | 51 | 70414 | 427 | 1844 | 17 | 1525 | 12 | 800727 | 3590000 | 359391 | 1930000 |  | 67137 | 0 | 219712 | 160 | 10846550 | 6559 | 28689 | 2 | 20112 | 812 | 579512 | 2150000 | 234978 | 0 | 70700 | 1660000 | 269335 | 170000 | 454834 | 520000 | 19318 | 0 | 436495 | 2200000 | 124014 | 0
2022-04-15 | 8558 | 4723 | 29637031 | 10734 | 8142999 | 4298 | 80398 | 129.835 | 20770 | 9.032 | 54081 | 5882.3529 | 52244204 | 9630 | 232661 | 56 | 70908 | 494 | 1863 | 19 | 1540 | 15 | 801152 | 4250000 | 359641 | 2500000 |  | 67137 | 0 | 219884 | 172 | 10852986 | 6436 | 28692 | 3 | 20883 | 771 | 579620 | 1080000 | 234978 | 0 | 70879 | 1790000 | 269335 | 0 | 454994 | 1600000 | 19318 | 0 | 436716 | 2210000 | 124015 | 10000
2022-04-16 | 12407 | 3849 | 29645055 | 8024 | 8146192 | 3193 | 80512 | 128.706 | 20776 | 6.774 | 54129 | 6417.1123 | 52250341 | 6137 | 232706 | 45 | 227 | -70681 | 0 | -1863 | 6 | -1534 | 801265 | 1130000 | 359766 | 1250000 |  | 67137 | 0 | 220057 | 173 | 10860960 | 7974 | 28697 | 5 | 21710 | 827 | 580007 | 3870000 | 234978 | 0 | 71011 | 1320000 | 269335 | 0 | 455008 | 140000 | 19318 | 0 | 436870 | 1540000 | 124015 | 0
2022-04-17 | 17493 | 5086 | 29656320 | 11265 | 8150679 | 4487 | 80633 | 136.609 | 20783 | 7.903 | 54182 | 7085.5615 | 52257800 | 7459 | 232757 | 51 | 744 | 517 | 9 | 9 | 19 | 13 | 801517 | 2520000 | 359783 | 170000 |  | 67137 | 0 | 220225 | 168 | 10868274 | 7314 | 28702 | 5 | 22591 | 881 | 580384 | 3770000 | 234978 | 0 | 71046 | 350000 | 269335 | 0 | 455107 | 990000 | 19318 | 0 | 437058 | 1880000 | 124015 | 0
2022-04-18 | 21411 | 3918 | 29664281 | 7961 | 8153911 | 3232 | 80736 | 116.287 | 20789 | 6.774 | 54229 | 6283.4225 | 52263841 | 6041 | 232825 | 68 | 1099 | 355 | 27 | 18 | 32 | 13 | 801769 | 2520000 | 359855 | 720000 |  | 67137 | 0 | 220355 | 130 | 10874297 | 6023 | 28705 | 3 | 23365 | 774 | 580535 | 1510000 | 234978 | 0 | 71046 | 0 | 269335 | 0 | 455110 | 30000 | 19318 | 0 | 437246 | 1880000 | 124015 | 0
2022-04-19 | 25474 | 4063 | 29673092 | 8811 | 8157343 | 3432 | 80829 | 104.997 | 20794 | 5.645 | 54261 | 4278.0749 | 52267703 | 3862 | 232901 | 76 | 1490 | 391 | 45 | 18 | 46 | 14 | 802005 | 2360000 | 360092 | 2370000 |  | 67137 | 0 | 220506 | 151 | 10879464 | 5167 | 28706 | 1 | 24124 | 759 | 580537 | 20000 | 234978 | 0 | 71046 | 0 | 269335 | 0 | 455110 | 0 | 19318 | 0 | 437409 | 1630000 | 124015 | 0
2022-04-20 | 30133 | 4659 | 29682909 | 9817 | 8161086 | 3743 | 80927 | 110.642 | 20800 | 6.774 | 54302 | 5481.2834 | 52272388 | 4685 | 232994 | 93 | 1910 | 420 | 64 | 19 | 60 | 14 | 802305 | 3000000 | 360391 | 2990000 |  | 67137 | 0 | 220641 | 135 | 10883882 | 4418 | 28708 | 2 | 24774 | 650 | 580537 | 0 | 234978 | 0 | 71046 | 0 | 269336 | 10000 | 455110 | 0 | 19319 | 10000 | 437563 | 1540000 | 124015 | 0
2022-04-21 | 34286 | 4153 | 29691972 | 9063 | 8164793 | 3707 | 81015 | 99.352 | 20805 | 5.645 | 54342 | 5347.5936 | 52277209 | 4821 | 233069 | 75 | 2282 | 372 | 75 | 11 | 80 | 20 | 802606 | 3010000 | 360656 | 2650000 |  | 67137 | 0 | 220795 | 154 | 10888287 | 4405 | 28710 | 2 | 25538 | 764 | 580651 | 1140000 | 234978 | 0 | 71046 | 0 | 269336 | 0 | 455115 | 50000 | 19319 | 0 | 437724 | 1610000 | 124015 | 0
2022-04-22 | 38382 | 4096 | 29700815 | 8843 | 8168058 | 3265 | 81111 | 108.384 | 20811 | 6.774 | 54382 | 5347.5936 | 52281797 | 4588 | 233123 | 54 | 2652 | 370 | 95 | 20 | 90 | 10 | 802867 | 2610000 | 360837 | 1810000 |  | 67137 | 0 | 220970 | 175 | 10894144 | 5857 | 28713 | 3 | 26397 | 859 | 580659 | 80000 | 234978 | 0 | 71061 | 150000 | 269336 | 0 | 455119 | 40000 | 19319 | 0 | 437879 | 1550000 | 124015 | 0
2022-04-23 | 42662 | 4280 | 29710406 | 9591 | 8171805 | 3747 | 81233 | 137.738 | 20819 | 9.032 | 54433 | 6818.1818 | 52288336 | 6539 | 233179 | 56 | 3037 | 385 | 111 | 16 | 99 | 9 | 803166 | 2990000 | 361020 | 1830000 |  | 67137 | 0 | 221127 | 157 | 10901053 | 6909 | 28717 | 4 | 27192 | 795 | 580662 | 30000 | 234978 | 0 | 71081 | 200000 | 269336 | 0 | 455186 | 670000 | 19319 | 0 | 438065 | 1860000 | 124015 | 0
2022-04-24 | 47043 | 4381 | 29720280 | 9874 | 8175644 | 3839 | 81353 | 135.48 | 20825 | 6.774 | 54483 | 6684.492 | 52295440 | 7104 | 233236 | 57 | 3441 | 404 | 127 | 16 | 113 | 14 | 803468 | 3020000 | 361188 | 1680000 |  | 67137 | 0 | 221303 | 176 | 10908550 | 7497 | 28722 | 5 | 28114 | 922 | 580910 | 2480000 | 234978 | 0 | 71146 | 650000 | 269336 | 0 | 455222 | 360000 | 19319 | 0 | 438260 | 1950000 | 124015 | 0
2022-04-25 | 51316 | 4273 | 29729499 | 9219 | 8179456 | 3812 | 81464 | 125.319 | 20831 | 6.774 | 54526 | 5748.6631 | 52302767 | 7327 | 233289 | 53 | 3827 | 386 | 135 | 8 | 125 | 12 | 803761 | 2930000 | 361343 | 1550000 |  | 67137 | 0 | 221452 | 149 | 10914218 | 5668 | 28724 | 2 | 28913 | 799 | 581020 | 1100000 | 234978 | 0 | 71209 | 630000 | 269336 | 0 | 455272 | 500000 | 19319 | 0 | 438464 | 2040000 | 124015 | 0
2022-04-26 | 55886 | 4570 | 29739854 | 10355 | 8183409 | 3953 | 81562 | 110.642 | 20838 | 7.903 | 54571 | 6016.0428 | 52309629 | 6862 | 233351 | 62 | 4252 | 425 | 161 | 26 | 139 | 14 | 804100 | 3390000 | 361555 | 2120000 |  | 67137 | 0 | 221605 | 153 | 10919160 | 4942 | 28725 | 1 | 29683 | 770 | 581023 | 30000 | 234918 | -600000 | 71212 | 30000 | 269336 | 0 | 455279 | 70000 | 19319 | 0 | 438707 | 2430000 | 124015 | 0
2022-04-27 | 59955 | 4069 | 29749426 | 9572 | 8187153 | 3744 | 81656 | 106.126 | 20845 | 7.903 | 54613 | 5614.9733 | 52317030 | 7401 | 233413 | 62 | 4646 | 394 | 177 | 16 | 153 | 14 | 804411 | 3110000 | 361735 | 1800000 |  | 67137 | 0 | 221763 | 158 | 10924157 | 4997 | 28727 | 2 | 30437 | 754 | 581044 | 210000 | 234978 | 600000 | 71229 | 170000 | 269336 | 0 | 455315 | 360000 | 19319 | 0 | 438886 | 1790000 | 124015 | 0
2022-04-28 | 64338 | 4383 | 29758801 | 9375 | 8190689 | 3536 | 81775 | 134.351 | 20851 | 6.774 | 54656 | 5748.6631 | 52322264 | 5234 | 233481 | 68 | 5043 | 397 | 193 | 16 | 168 | 15 | 804710 | 2990000 | 361988 | 2530000 |  | 67137 | 0 | 221907 | 144 | 10929273 | 5116 | 28729 | 2 | 31206 | 769 | 581092 | 480000 | 234978 | 0 | 71229 | 0 | 269336 | 0 | 455322 | 70000 | 19319 | 0 | 438886 | 0 | 124015 | 0
2022-04-29 | 68387 | 4049 | 29767049 | 8248 | 8193850 | 3161 | 81850 | 84.675 | 20857 | 6.774 | 54746 | 12032.0856 | 52326643 | 4379 | 233547 | 66 | 5407 | 364 | 208 | 15 | 184 | 16 | 804972 | 2620000 | 362228 | 2400000 |  | 67137 | 0 | 222063 | 156 | 10935204 | 5931 | 28731 | 2 | 31959 | 753 | 581128 | 360000 | 234978 | 0 | 71229 | 0 | 269336 | 0 | 455323 | 10000 | 19319 | 0 | 439002 | 1160000 | 124015 | 0
2022-04-30 | 72694 | 4307 | 29776202 | 9153 | 8197381 | 3531 | 81968 | 133.222 | 20862 | 5.645 | 54747 | 133.6898 | 52332082 | 5439 | 233610 | 63 | 5800 | 393 | 219 | 11 | 199 | 15 | 805256 | 2840000 | 362455 | 2270000 |  | 67137 | 0 | 222233 | 170 | 10942898 | 7694 | 28735 | 4 | 32719 | 760 | 581181 | 530000 | 234978 | 0 | 71229 | 0 | 269336 | 0 | 455371 | 480000 | 19319 | 0 | 439169 | 1670000 | 124015 | 0
|  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total |  | 130550 |  | 278622 |  | 108848 |  | 3482.484 |  | 212.607 |  | 179679.1444 |  | 172277 |  | 2020 |  | 11928 |  | 574 |  | 421 |  | 8035930000 |  | 3610670000 |  |  | 0 |  | 4657 |  | 178679 |  | 87 |  | 22219 |  | 5811810000 |  | 2349780000 |  | 712290000 |  | 2693360000 |  | 4553710000 |  | 193190000 |  | 4391690000 |  | 1240150000
March |  | 130914 |  | 281562 |  | 112047 |  | 3259 |  | 201 |  | 219860 |  | 158298 |  | 2819 |  | 12936 |  | 445 |  | 333 |  |  | 0 |  | 12241 |  | 0 |  | 4509 |  | 176641 |  | 90 |  | 18770
Varience |  | -364 |  | -2940 |  | -3199 |  | 223.484 |  | 11.607 |  | -40180.8556 |  | 13979 |  | -799 |  | -1008 |  | 129 |  | 88 |  |  | 0 |  | -12241 |  | 0 |  | 148 |  | 2038 |  | -3 |  | 3449
Varience % |  | -0.278% |  | -1.044% |  | -2.855% |  | 6.857% |  | 5.775% |  | -18.28% |  | 8.831% |  | -28.34% |  | -7.792% |  | 28.99% |  | 26.43% | [6 empty] | #DIV/0! |  | 3.282% |  | 1.154% |  | -3.333% |  | 18.38%