## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 5 | 2022 | 48573.84 | 0.44448 | 478.17 | 4.3077 | 771 | 13.83 | 306 | 1.2 | 154.05 | 329
Dubai at Jumeirah Beach | 2 | 5 | 2022 | 44578.8 | 0.44448 | 442.26 | 4.3077 | 953 | 13.83 | 357 | 1.2 | 173.01 | 353
Dubai at Jumeirah Beach | 3 | 5 | 2022 | 45845.52 | 0.44448 | 508.41 | 4.3077 | 633 | 13.83 | 248 | 1.2 | 182.49 | 377
Dubai at Jumeirah Beach | 4 | 5 | 2022 | 51399.6 | 0.44448 | 472.5 | 4.3077 | 870 | 13.83 | 394 | 1.2 | 189.6 | 372
Dubai at Jumeirah Beach | 5 | 5 | 2022 | 44383.92 | 0.44448 | 408.24 | 4.3077 | 687 | 13.83 | 203 | 1.2 | 184.86 | 380
Dubai at Jumeirah Beach | 6 | 5 | 2022 | 44627.52 | 0.44448 | 483.84 | 4.3077 | 712 | 13.83 | 131 | 1.2 | 173.01 | 332
Dubai at Jumeirah Beach | 7 | 5 | 2022 | 47891.76 | 0.44448 | 410.13 | 4.3077 | 881 | 13.83 | 274 | 1.2 | 146.94 | 297
Dubai at Jumeirah Beach | 8 | 5 | 2022 | 48963.6 | 0.44448 | 385.56 | 4.3077 | 842 | 13.83 | 341 | 1.2 | 123.24 | 243
Dubai at Jumeirah Beach | 9 | 5 | 2022 | 43896.72 | 0.44448 | 389.34 | 4.3077 | 771 | 13.83 | 286 | 1.2 | 130.35 | 236
Dubai at Jumeirah Beach | 10 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 281
Dubai at Jumeirah Beach | 11 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 5 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 5 | 2022 | 154.05 | 329 | 771 | 359 | 306 | 306 | 157.55 | 34 | 5407.92 | 4969.44 | 1071.84 | 3946.32 | 9695.28 | 5846.4 | 3995.04 | 4872 | 2874.48 | 5895.12 | 0 | 20600 | 53700 | 171.99 | 200.34 | 105.84 | 223 | 39.69 | 35.91 | 7.56 | 11.34 | 18.9 | 51.03 | 4 | 5 | 12 | 16 | 5 | 9 | 18 | 10 | 6 | 4 | 0 | 8.1 |  | 6 | 8.2 | 664 | 133.3 | 4500 | 190 | 5170 | 2700 | 700 | 530 | 32.13 | 24.57 | 20.79 | 22.68 | 56.7
Dubai at Jumeirah Beach | 2 | 5 | 2022 | 173.01 | 353 | 953 | 498 | 357 | 357 | 150.25 | 27 | 3020.64 | 4774.56 | 682.08 | 3848.88 | 9500.4 | 5456.64 | 4141.2 | 4530.96 | 2728.32 | 5895.12 | 0 | 20000 | 53600 | 170.1 | 177.66 | 94.5 | 220 | 39.69 | 43.47 | 7.56 | 15.12 | 18.9 | 47.25 | 5 | 8 | 15 | 18 | 6 | 10 | 2 | 15 | 9 | 7 | 0 | 10.2 |  | 7.9 | 12.4 | 774 | 169.4 | 3600 | 230 | 4930 | 1900 | 600 | 800 | 32.13 | 30.24 | 22.68 | 34.02 | 71.82
Dubai at Jumeirah Beach | 3 | 5 | 2022 | 182.49 | 377 | 633 | 385 | 248 | 248 | 150.42 | 30 | 4189.92 | 4725.84 | 974.4 | 97.44 | 12667.2 | 5943.84 | 3995.04 | 4530.96 | 2728.32 | 5992.56 | 0 | 0 | 72800 | 183.33 | 168.21 | 156.87 | 232 | 26.46 | 28.35 | 9.45 | 13.23 | 13.23 | 45.36 | 7 | 9 | 9 | 16 | 4 | 11 | 7 | 12 | 9 | 5 | 10 | 7.7 |  | 5.3 | 8.5 | 872 | 125.3 | 4500 | 230 | 5300 | 2500 | 600 | 730 | 24.57 | 20.79 | 26.46 | 22.68 | 49.14
Dubai at Jumeirah Beach | 4 | 5 | 2022 | 189.6 | 372 | 870 | 469 | 394 | 394 | 152.77 | 22 | 4579.68 | 5115.6 | 1023.12 | 4043.76 | 11156.88 | 6431.04 | 4433.52 | 5066.88 | 3118.08 | 6431.04 | 0 | 21700 | 57300 | 196.56 | 194.67 | 81.27 | 249 | 32.13 | 39.69 | 9.45 | 15.12 | 7.56 | 45.36 | 10 | 10 | 13 | 20 | 7 | 12 | 9 | 14 | 12 | 6 | 29 | 10.4 |  | 7.5 | 10.3 | 973 | 170.1 | 5600 | 270 | 6900 | 3000 | 800 | 790 | 32.13 | 32.13 | 26.46 | 26.46 | 83.16
Dubai at Jumeirah Beach | 5 | 5 | 2022 | 184.86 | 380 | 687 | 383 | 203 | 203 | 165.77 | 30 | 3848.88 | 4336.08 | 974.4 | 4969.44 | 8574.72 | 5554.08 | 4043.76 | 4141.2 | 2484.72 | 5456.64 | 0 | 27600 | 55400 | 168.21 | 181.44 | 58.59 | 211 | 30.24 | 28.35 | 11.34 | 11.34 | 15.12 | 47.25 | 9 | 10 | 13 | 17 | 4 | 11 | 9 | 11 | 7 | 7 | 10 | 8.9 |  | 6.4 | 8.6 | 814 | 144.4 | 5200 | 300 | 6100 | 2600 | 700 | 720 | 26.46 | 24.57 | 28.35 | 20.79 | 62.37
Dubai at Jumeirah Beach | 6 | 5 | 2022 | 173.01 | 332 | 712 | 470 | 131 | 131 | 161.66 | 31 | 4141.2 | 4677.12 | 828.24 | 3507.84 | 8964.48 | 5846.4 | 3897.6 | 4482.24 | 2387.28 | 5895.12 | 0 | 18300 | 53100 | 177.66 | 200.34 | 105.84 | 228 | 30.24 | 34.02 | 7.56 | 13.23 | 17.01 | 43.47 | 10 | 10 | 17 | 17 | 5 | 11 | 7 | 9 | 9 | 6 | 1 | 9.7 |  | 7 | 9.4 | 838 | 152.8 | 4500 | 310 | 5500 | 2400 | 700 | 690 | 28.35 | 28.35 | 28.35 | 22.68 | 69.93
Dubai at Jumeirah Beach | 7 | 5 | 2022 | 146.94 | 297 | 881 | 451 | 274 | 274 | 185.89 | 36 | 2728.32 | 4725.84 | 10620.96 | 974.4 | 5164.32 | 6090 | 4141.2 | 4482.24 | 2630.88 | 6333.6 | 52900 | 0 | 29000 | 181.44 | 181.44 | 47.25 | 228 | 35.91 | 37.8 | 11.34 | 13.23 | 9.45 | 45.36 | 10 | 10 | 13 | 17 | 5 | 10 | 7 | 9 | 9 | 6 | 10 | 10.4 |  | 7.2 | 11 | 749 | 156.5 | 4700 | 250 | 5800 | 2500 | 600 | 720 | 30.24 | 26.46 | 28.35 | 28.35 | 68.04
Dubai at Jumeirah Beach | 8 | 5 | 2022 | 123.24 | 243 | 842 | 416 | 341 | 341 | 187.43 | 34 | 2971.92 | 4920.72 | 10279.92 | 1071.84 | 6284.88 | 5700.24 | 4336.08 | 4530.96 | 2777.04 | 6090 | 53800 | 0 | 33600 | 185.22 | 173.88 | 26.46 | 231 | 39.69 | 34.02 | 7.56 | 13.23 | 15.12 | 43.47 | 8 | 8 | 13 | 17 | 5 | 10 | 7 | 5 | 10 | 1 | 1 | 10.1 |  | 6.5 | 9.3 | 737 | 149.2 | 6400 | 400 | 8000 | 3300 | 900 | 850 | 30.24 | 24.57 | 26.46 | 24.57 | 60.48
Dubai at Jumeirah Beach | 9 | 5 | 2022 | 130.35 | 236 | 771 | 388 | 286 | 286 | 155.69 | 32 | 1900.08 | 4530.96 | 13739.04 | 974.4 | 974.4 | 5261.76 | 4141.2 | 4141.2 | 2777.04 | 5456.64 | 76300 | 0 | 0 | 175.77 | 170.1 | 43.47 | 227 | 34.02 | 32.13 | 9.45 | 13.23 | 17.01 | 45.36 | 0 | 1 | 19 | 15 | 5 | 7 | 11 | 30 | 11 | 2 | 29 | 8.7 |  | 6.3 | 9.7 | 720 | 146.2 | 4600 | 300 | 5900 | 2700 | 500 | 710 | 28.35 | 20.79 | 11.34 | 17.01 | 54.81
Dubai at Jumeirah Beach | 10 | 5 | 2022 |  | 281
Dubai at Jumeirah Beach | 11 | 5 | 2022
Dubai at Jumeirah Beach | 12 | 5 | 2022
Dubai at Jumeirah Beach | 13 | 5 | 2022
Dubai at Jumeirah Beach | 14 | 5 | 2022
Dubai at Jumeirah Beach | 15 | 5 | 2022
Dubai at Jumeirah Beach | 16 | 5 | 2022
Dubai at Jumeirah Beach | 17 | 5 | 2022
Dubai at Jumeirah Beach | 18 | 5 | 2022
Dubai at Jumeirah Beach | 19 | 5 | 2022
Dubai at Jumeirah Beach | 20 | 5 | 2022
Dubai at Jumeirah Beach | 21 | 5 | 2022
Dubai at Jumeirah Beach | 22 | 5 | 2022
Dubai at Jumeirah Beach | 23 | 5 | 2022
Dubai at Jumeirah Beach | 24 | 5 | 2022
Dubai at Jumeirah Beach | 25 | 5 | 2022
Dubai at Jumeirah Beach | 26 | 5 | 2022
Dubai at Jumeirah Beach | 27 | 5 | 2022
Dubai at Jumeirah Beach | 28 | 5 | 2022
Dubai at Jumeirah Beach | 29 | 5 | 2022
Dubai at Jumeirah Beach | 30 | 5 | 2022
Dubai at Jumeirah Beach | 31 | 5 | 2022

## DJB Daily Readings
Daily Water Consumption May 2020 | [18 empty] | Electricity Daily Consumption May 2020 | [29 empty] | Chiller BTU Meter Reading May 2020 | [20 empty] | Lpg Daily Consumption May 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading May 2020 | [11 empty] | F & B Village Chilled Water Reading May 2020 | [11 empty] | F & B Village Daily Lpg Reading May 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 73% | 112844 | 771 | 561 | 152757 | 359 | 381 | 164625 | 0 | 849471 | 306 | 201192 | 181 | 66718.5 | 157.55 | 143.12 | 567 | 34 | 7548335.76 | 5407.92 | 2825.76 | 14427551.04 | 4969.44 | 4872 | 14093429.28 | 1071.84 | 11546.64 | 17318790.72 | 3946.32 | 1169.28 | 17594156.16 | 9695.28 | 5407.92 | 16299568.32 | 5846.4 | 5602.8 | 13784885.52 | 3995.04 | 4579.68 | 13291205.76 | 4872 | 4433.52 | 10527222.72 | 2874.48 | 2971.92 | 16449382.32 | 5895.12 | 5651.52 | 69858800 | 0 | 52700 | 73408300 | 20600 | 0 | 67379500 | 53700 | 31700 | [10 empty] | 8554430 | 6140 | 70% | 10% | 5% | 59727 | 21 | 51267 | 19 | 17466 | 4 | 23467 | 6 | 25660 | 10 | 57125 | 27 | 248857 | 91 | 102 | 196649 | 106 | 94 | 349214 | 56 | 0 | 650983 | 223 | 7530 | 5 | 4867 | 4 | 29360 | 16 | 29850 | 12 | 19981 | 9 | 22850 | 5 | 4892 | 10 | 8093 | 18 | 2440 | 4 | 4593 | 6 | 27721 | 0 | 4391.4 | 8.1 | 9298.1 | 8.5 | 3311.1 | 6 | 3555.7 | 8.2 | 958984 | 664 | 198334.2 | 133.3 | 10880000 | 4500 | 862820 | 190 | 6559000 | 2700 | 2306000 | 700 | 1085920 | 530 | 14753500 | 5170 | 39607 | 17 | 34249 | 13 | 5281 | 12 | 56418 | 11 | 42126 | 30
2020-01-01 | 65% | 113615 |  |  | 153116 |  |  | 164625 |  | 849777 |  | 201373 |  | 66876.05 |  |  | 601 |  | 7553743.68 |  |  | 14432520.48 |  |  | 14094501.12 |  |  | 17322737.04 |  |  | 17603851.44 |  |  | 16305414.72 |  |  | 13788880.56 |  |  | 13296077.76 |  |  | 10530097.2 |  |  | 16455277.44 |  |  | 69858800 |  |  | 73428900 |  |  | 67433200 | [12 empty] | 8560570 |  | 80% |  |  | 59748 |  | 51286 |  | 17470 |  | 23473 |  | 25670 |  | 57152 |  | 248948 |  |  | 196755 |  |  | 349270 |  |  | 651206 |  | 7535 |  | 4871 |  | 29376 |  | 29862 |  | 19990 |  | 22855 |  | 4902 |  | 8111 |  | 2444 |  | 4599 |  | 27721 |  | 4399.5 |  | 9306.6 |  | 3317.1 |  | 3563.9 |  | 959648 |  | 198467.5 |  | 10884500 |  | 863010 |  | 6561700 |  | 2306700 |  | 1086450 |  | 14758670 |  | 39624 |  | 34262 |  | 5293 |  | 56429 |  | 42156
2020-01-02 | 73% | 114568 | 953 | 682 | 153614 | 498 | 428 | 164625 | 0 | 850134 | 357 | 201569 | 196 | 67026.3 | 150.25 | 140.7 | 628 | 27 | 7556764.32 | 3020.64 | 2094.96 | 14437295.04 | 4774.56 | 4872 | 14095183.2 | 682.08 | 12180 | 17326585.92 | 3848.88 | 1607.76 | 17613351.84 | 9500.4 | 5651.52 | 16310871.36 | 5456.64 | 5456.64 | 13793021.76 | 4141.2 | 4628.4 | 13300608.72 | 2728.32 | 4336.08 | 10532825.52 | 2728.32 | 2971.92 | 16461172.56 | 5895.12 | 5505.36 | 69858800 | 0 | 57200 | 73448900 | 20000 | 1900 | 67486800 | 53600 | 27800 | [10 empty] | 8568430 | 7860 | 78% | 2% | -5% | 59769 | 21 | 51309 | 23 | 17474 | 4 | 23481 | 8 | 25680 | 10 | 57177 | 25 | 249038 | 90 | 110 | 196849 | 94 | 107 | 349320 | 50 | 0 | 651426 | 220 | 7543 | 8 | 4876 | 5 | 29394 | 18 | 29877 | 15 | 20000 | 10 | 22861 | 6 | 4917 | 15 | 8113 | 2 | 2451 | 7 | 4608 | 9 | 27721 | 0 | 4409.7 | 10.2 | 9315.6 | 9 | 3325 | 7.9 | 3576.3 | 12.4 | 960422 | 774 | 198636.9 | 169.4 | 10888100 | 3600 | 863240 | 230 | 6563600 | 1900 | 2307300 | 600 | 1087250 | 800 | 14763600 | 4930 | 39641 | 17 | 34278 | 16 | 5311 | 18 | 56441 | 12 | 42194 | 38
2020-01-03 | 77% | 115201 | 633 | 572 | 153999 | 385 | 372 | 164625 | 0 | 850382 | 248 | 201660 | 91 | 67176.72 | 150.42 | 146.03 | 658 | 30 | 7560954.24 | 4189.92 | 1705.2 | 14442020.88 | 4725.84 | 4336.08 | 14096157.6 | 974.4 | 9695.28 | 17326683.36 | 97.44 | 974.4 | 17626019.04 | 12667.2 | 4920.72 | 16316815.2 | 5943.84 | 4920.72 | 13797016.8 | 3995.04 | 4189.92 | 13305139.68 | 2728.32 | 3897.6 | 10535553.84 | 2728.32 | -1133.74 | 16467165.12 | 5992.56 | 4823.28 | 69858800 | 0 | 53700 | 73448900 | 0 | 0 | 67559600 | 72800 | 23600 | [10 empty] | 8574160 | 5730 | 70% | 8% | 5% | 59783 | 14 | 51324 | 15 | 17479 | 5 | 23488 | 7 | 25687 | 7 | 57201 | 24 | 249135 | 97 | 95.92 | 196938 | 89 | 91 | 349403 | 83 | 0 | 651658 | 232 | 7552 | 9 | 4883 | 7 | 29410 | 16 | 29886 | 9 | 20011 | 11 | 22865 | 4 | 4929 | 12 | 8120 | 7 | 2456 | 5 | 4617 | 9 | 27731 | 10 | 4417.4 | 7.7 | 9325.2 | 9.6 | 3330.3 | 5.3 | 3584.8 | 8.5 | 961294 | 872 | 198762.2 | 125.3 | 10892600 | 4500 | 863470 | 230 | 6566100 | 2500 | 2307900 | 600 | 1087980 | 730 | 14768900 | 5300 | 39654 | 13 | 34289 | 11 | 5323 | 12 | 56455 | 14 | 42220 | 26
2020-01-04 | 80% | 116071 | 870 | 631 | 154468 | 469 | 390 | 164625 | 0 | 850776 | 394 | 201850 | 190 | 67329.49 | 152.77 | 171.14 | 680 | 22 | 7565533.92 | 4579.68 | 1948.8 | 14447136.48 | 5115.6 | 4774.56 | 14097180.72 | 1023.12 | 10474.8 | 17330727.12 | 4043.76 | 1120.56 | 17637175.92 | 11156.88 | 5310.48 | 16323246.24 | 6431.04 | 5310.48 | 13801450.32 | 4433.52 | 4628.4 | 13310206.56 | 3118.08 | 4189.92 | 10538671.92 | 3118.08 | 6833.98 | 16473596.16 | 6431.04 | 5456.64 | 69858800 | 0 | 53600 | 73470600 | 21700 | 0 | 67616900 | 57300 | 25200 | [10 empty] | 8580930 | 6770 | 67% | 3% | 3% | 59800 | 17 | 51345 | 21 | 17484 | 5 | 23496 | 8 | 25691 | 4 | 57225 | 24 | 249239 | 104 | 103.08 | 197041 | 103 | 97 | 349446 | 43 | 0 | 651907 | 249 | 7562 | 10 | 4893 | 10 | 29430 | 20 | 29899 | 13 | 20023 | 12 | 22872 | 7 | 4943 | 14 | 8129 | 9 | 2462 | 6 | 4629 | 12 | 27760 | 29 | 4427.8 | 10.4 | 9336.2 | 11 | 3337.8 | 7.5 | 3595.1 | 10.3 | 962267 | 973 | 198932.3 | 170.1 | 10898200 | 5600 | 863740 | 270 | 6569100 | 3000 | 2308700 | 800 | 1088770 | 790 | 14775800 | 6900 | 39671 | 17 | 34306 | 17 | 5337 | 14 | 56469 | 14 | 42264 | 44
2020-01-05 | 78% | 116758 | 687 | 677 | 154851 | 383 | 427 | 164625 | 0 | 850979 | 203 | 201916 | 66 | 67495.26 | 165.77 | 180.76 | 710 | 30 | 7569382.8 | 3848.88 | 1900.08 | 14451472.56 | 4336.08 | 4677.12 | 14098155.12 | 974.4 | 11351.76 | 17335696.56 | 4969.44 | 1364.16 | 17645750.64 | 8574.72 | 6918.24 | 16328800.32 | 5554.08 | 5261.76 | 13805494.08 | 4043.76 | 4579.68 | 13314347.76 | 2484.72 | 4238.64 | 10541156.64 | 2484.72 | 2874.48 | 16479052.8 | 5456.64 | 5359.2 | 69858800 | 0 | 59800 | 73498200 | 27600 | 0 | 67672300 | 55400 | 33400 | [10 empty] | 8587250 | 6320 | 76% | -9% | -7% | 59816 | 16 | 51360 | 15 | 17490 | 6 | 23502 | 6 | 25699 | 8 | 57250 | 25 | 249328 | 89 | 102 | 197137 | 96 | 94 | 349477 | 31 | 0 | 652118 | 211 | 7572 | 10 | 4902 | 9 | 29447 | 17 | 29912 | 13 | 20034 | 11 | 22876 | 4 | 4954 | 11 | 8138 | 9 | 2469 | 7 | 4636 | 7 | 27770 | 10 | 4436.7 | 8.9 | 9344.6 | 8.4 | 3344.2 | 6.4 | 3603.7 | 8.6 | 963081 | 814 | 199076.7 | 144.4 | 10903400 | 5200 | 864040 | 300 | 6571700 | 2600 | 2309400 | 700 | 1089490 | 720 | 14781900 | 6100 | 39685 | 14 | 34319 | 13 | 5348 | 11 | 56484 | 15 | 42297 | 33
2020-01-06 | 73% | 117470 | 712 | 635 | 155321 | 470 | 384 | 164625 | 0 | 851110 | 131 | 201932 | 16 | 67656.92 | 161.66 | 189.77 | 741 | 31 | 7573524 | 4141.2 | 1851.36 | 14456149.68 | 4677.12 | 4823.28 | 14098983.36 | 828.24 | 11497.92 | 17339204.4 | 3507.84 | 1461.6 | 17654715.12 | 8964.48 | 8184.96 | 16334646.72 | 5846.4 | 5261.76 | 13809391.68 | 3897.6 | 4384.8 | 13318830 | 2387.28 | 4336.08 | 10543543.92 | 2387.28 | 3069.36 | 16484947.92 | 5895.12 | 5748.96 | 69858800 | 0 | 58600 | 73516500 | 18300 | 0 | 67725400 | 53100 | 40000 | [10 empty] | 8594420 | 7170 | 69% | 7% | 4% | 59832 | 16 | 51378 | 18 | 17494 | 4 | 23509 | 7 | 25708 | 9 | 57273 | 23 | 249422 | 94 | 102 | 197243 | 106 | 101 | 349533 | 56 | 0 | 652346 | 228 | 7582 | 10 | 4912 | 10 | 29464 | 17 | 29929 | 17 | 20045 | 11 | 22881 | 5 | 4963 | 9 | 8145 | 7 | 2475 | 6 | 4645 | 9 | 27771 | 1 | 4446.4 | 9.7 | 9354.1 | 9.5 | 3351.2 | 7 | 3613.1 | 9.4 | 963919 | 838 | 199229.5 | 152.8 | 10907900 | 4500 | 864350 | 310 | 6574100 | 2400 | 2310100 | 700 | 1090180 | 690 | 14787400 | 5500 | 39700 | 15 | 34334 | 15 | 5360 | 12 | 56499 | 15 | 42334 | 37
2020-01-07 | 62% | 118351 | 881 | 686 | 155772 | 451 | 420 | 164625 | 0 | 851384 | 274 | 202111 | 179 | 67842.81 | 185.89 | 185.42 | 777 | 36 | 7576252.32 | 2728.32 | 2046.24 | 14460875.52 | 4725.84 | 4774.56 | 14109604.32 | 10620.96 | 12082.56 | 17340178.8 | 974.4 | 1412.88 | 17659879.44 | 5164.32 | 7210.56 | 16340736.72 | 6090 | 5554.08 | 13813532.88 | 4141.2 | 4628.4 | 13323312.24 | 2630.88 | 4189.92 | 10546174.8 | 2630.88 | 2971.92 | 16491281.52 | 6333.6 | 5748.96 | 69911700 | 52900 | 58900 | 73516500 | 0 | 0 | 67754400 | 29000 | 35300 | [10 empty] | 8601670 | 7250 | 79% | -10% | -5% | 59851 | 19 | 51398 | 20 | 17500 | 6 | 23516 | 7 | 25713 | 5 | 57297 | 24 | 249518 | 96 | 105.3 | 197339 | 96 | 105 | 349558 | 25 | 0 | 652574 | 228 | 7592 | 10 | 4922 | 10 | 29481 | 17 | 29942 | 13 | 20055 | 10 | 22886 | 5 | 4972 | 9 | 8152 | 7 | 2481 | 6 | 4654 | 9 | 27781 | 10 | 4456.8 | 10.4 | 9363.4 | 9.3 | 3358.4 | 7.2 | 3624.1 | 11 | 964668 | 749 | 199386 | 156.5 | 10912600 | 4700 | 864600 | 250 | 6576600 | 2500 | 2310700 | 600 | 1090900 | 720 | 14793200 | 5800 | 39716 | 16 | 34348 | 14 | 5375 | 15 | 56514 | 15 | 42370 | 36
2020-01-08 | 52% | 119193 | 842 | 577 | 156188 | 416 | 363 | 164625 | 0 | 851725 | 341 | 202298 | 187 | 68030.24 | 187.43 | 178.17 | 811 | 34 | 7579224.24 | 2971.92 | 1802.64 | 14465796.24 | 4920.72 | 4677.12 | 14119884.24 | 10279.92 | 7015.68 | 17341250.64 | 1071.84 | 9549.12 | 17666164.32 | 6284.88 | 1169.28 | 16346436.96 | 5700.24 | 5115.6 | 13817868.96 | 4336.08 | 4384.8 | 13327843.2 | 2777.04 | 3848.88 | 10548951.84 | 2777.04 | 2777.04 | 16497371.52 | 6090 | 5505.36 | 69965500 | 53800 | 40600 | 73516500 | 0 | 48300 | 67788000 | 33600 | 0 | [10 empty] | 8608620 | 6950 | 74% | 5% | 80% | 59872 | 21 | 51416 | 18 | 17504 | 4 | 23523 | 7 | 25721 | 8 | 57320 | 23 | 249616 | 98 | 97.7 | 197431 | 92 | 91 | 349572 | 14 | 0 | 652805 | 231 | 7600 | 8 | 4930 | 8 | 29498 | 17 | 29955 | 13 | 20065 | 10 | 22891 | 5 | 4977 | 5 | 8159 | 7 | 2482 | 1 | 4664 | 10 | 27782 | 1 | 4466.9 | 10.1 | 9372.6 | 9.2 | 3364.9 | 6.5 | 3633.4 | 9.3 | 965405 | 737 | 199535.2 | 149.2 | 10919000 | 6400 | 865000 | 400 | 6579900 | 3300 | 2311600 | 900 | 1091750 | 850 | 14801200 | 8000 | 39732 | 16 | 34361 | 13 | 5388 | 13 | 56528 | 14 | 42402 | 32
2020-01-09 | 55% | 119964 | 771 | 593 | 156576 | 388 | 368 | 164625 | 0 | 852011 | 286 | 202462 | 164 | 68185.93 | 155.69 | 167.97 | 843 | 32 | 7581124.32 | 1900.08 | 1900.08 | 14470327.2 | 4530.96 | 4628.4 | 14133623.28 | 13739.04 | 6333.6 | 17342225.04 | 974.4 | 10182.48 | 17667138.72 | 974.4 | 1169.28 | 16351698.72 | 5261.76 | 5359.2 | 13822010.16 | 4141.2 | 4482.24 | 13331984.4 | 2777.04 | 4043.76 | 10551728.88 | 2777.04 | 3069.36 | 16502828.16 | 5456.64 | 5456.64 | 70041800 | 76300 | 31000 | 73516500 | 0 | 52800 | 67788000 | 0 | 0 | [10 empty] | 8615120 | 6500 | 84% | -10% | -80% | 59890 | 18 | 51433 | 17 | 17509 | 5 | 23530 | 7 | 25730 | 9 | 57344 | 24 | 249709 | 93 | 104 | 197521 | 90 | 96 | 349595 | 23 | 0 | 653032 | 227 | 7601 | 1 | 4930 | 0 | 29513 | 15 | 29974 | 19 | 20072 | 7 | 22896 | 5 | 5007 | 30 | 8170 | 11 | 2484 | 2 | 4675 | 11 | 27811 | 29 | 4475.6 | 8.7 | 9381 | 8.4 | 3371.2 | 6.3 | 3643.1 | 9.7 | 966125 | 720 | 199681.4 | 146.2 | 10923600 | 4600 | 865300 | 300 | 6582600 | 2700 | 2312100 | 500 | 1092460 | 710 | 14807100 | 5900 | 39747 | 15 | 34372 | 11 | 5397 | 9 | 56534 | 6 | 42431 | 29
2020-01-10 | 0% | 0 | -119964 | 529 | 0 | -156576 | 317 | 0 | -164625 | 0 | -852011 | 0 | -202462 | 0 | -68185.93 | 154.09 | 0 | -843 | 0 | -7581124.32 | 2241.12 | 0 | -14470327.2 | 6041.28 | 0 | -14133623.28 | 7308 | 0 | -17342225.04 | 12862.08 | 0 | -17667138.72 | 1364.16 | 0 | -16351698.72 | 6431.04 | 0 | -13822010.16 | 5554.08 | 0 | -10551728.88 | 5261.76 | 0 | -10551728.88 | 3848.88 | 0 | -16502828.16 | 7600.32 | 0 | -70041800 | 29900 | 0 | -73516500 | 48800 | 0 | -67788000 | 0 | [10 empty] | 0 | -8615120 | 0% | 84% | 3% | 0 | -59890 | 0 | -51433 | 0 | -17509 | 0 | -23530 | 0 | -25730 | 0 | -57344 | 0 | -249709 | 103 | 0 | -197521 | 95 | 0 | -349595 | 0 | 0 | -653032 | 0 | -7601 | 0 | -4930 | 0 | -29513 | 0 | -29974 | 0 | -20072 | 0 | -22896 | 0 | -5007 | 0 | -8170 | 0 | -2484 | 0 | -4675 | 0 | -27811 | 0 | -4475.6 | 0 | -9381 | 0 | -3371.2 | 0 | -3643.1 | 0 | -966125 | 0 | -199681.4 | 0 | -10923600 | 0 | -865300 | 0 | -6582600 | 0 | -2312100 | 0 | -1092460 | 0 | -14807100 | 0 | -39747 | 0 | -34372 | 0 | -5397 | 0 | -56534 | 0 | -42431
2020-01-11 | 0% | 0 | 0 | 507 | 0 | 0 | 306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162.14 | 0 | 0 | 0 | 0 | 1510.32 | 0 | 0 | 3361.68 | 0 | 0 | 4969.44 | 0 | 0 | 7308 | 0 | 0 | 876.96 | 0 | 0 | 3848.88 | 0 | 0 | 3166.8 | 0 | 0 | 2825.76 | 0 | 0 | 2143.68 | 0 | 0 | 4530.96 | 0 | 0 | 29700 | 0 | 0 | 54200 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-12 | 0% | 0 | 0 | 552 | 0 | 0 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168.97 | 0 | 0 | 0 | 0 | 1753.92 | 0 | 0 | 4969.44 | 0 | 0 | 7405.44 | 0 | 0 | 10572.24 | 0 | 0 | 1169.28 | 0 | 0 | 5359.2 | 0 | 0 | 4482.24 | 0 | 0 | 4530.96 | 0 | 0 | 3020.64 | 0 | 0 | 6431.04 | 0 | 0 | 35800 | 0 | 0 | 49500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-13 | 0% | 0 | 0 | 572 | 0 | 0 | 342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 183.17 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4677.12 | 0 | 0 | 8233.68 | 0 | 0 | 11010.72 | 0 | 0 | 1364.16 | 0 | 0 | 5115.6 | 0 | 0 | 4287.36 | 0 | 0 | 4043.76 | 0 | 0 | 3020.64 | 0 | 0 | 6382.32 | 0 | 0 | 40500 | 0 | 0 | 54600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 631 | 0 | 0 | 380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204.64 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4482.24 | 0 | 0 | 8720.88 | 0 | 0 | 11644.08 | 0 | 0 | 1559.04 | 0 | 0 | 5066.88 | 0 | 0 | 4238.64 | 0 | 0 | 3995.04 | 0 | 0 | 3069.36 | 0 | 0 | 6284.88 | 0 | 0 | 45400 | 0 | 0 | 61900 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 0 | 101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 585 | 0 | 0 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 198.94 | 0 | 0 | 0 | 0 | 2874.48 | 0 | 0 | 4677.12 | 0 | 0 | 1169.28 | 0 | 0 | 7965.72 | 0 | 0 | 11790.24 | 0 | 0 | 5213.04 | 0 | 0 | 4384.8 | 0 | 0 | 4092.48 | 0 | 0 | 2971.92 | 0 | 0 | 6528.48 | 0 | 0 | 1800 | 0 | 0 | 39500 | 0 | 0 | 54900 | [10 empty] | 0 | 0 | 0% | 0% | -3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 0 | 0 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 590 | 0 | 0 | 337 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.96 | 0 | 0 | 0 | 0 | 3507.84 | 0 | 0 | 4579.68 | 0 | 0 | 682.08 | 0 | 0 | 6065.64 | 0 | 0 | 12618.48 | 0 | 0 | 4872 | 0 | 0 | 4384.8 | 0 | 0 | 3702.72 | 0 | 0 | 2825.76 | 0 | 0 | 6431.04 | 0 | 0 | 0 | 0 | 0 | 36100 | 0 | 0 | 60600 | [10 empty] | 0 | 0 | 0% | 0% | 3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 587 | 0 | 0 | 301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 203.07 | 0 | 0 | 0 | 0 | 3848.88 | 0 | 0 | 4628.4 | 0 | 0 | 730.8 | 0 | 0 | 6772.08 | 0 | 0 | 12715.92 | 0 | 0 | 5407.92 | 0 | 0 | 4482.24 | 0 | 0 | 3848.88 | 0 | 0 | 2923.2 | 0 | 0 | 5554.08 | 0 | 0 | 0 | 0 | 0 | 39700 | 0 | 0 | 60000 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 531 | 0 | 0 | 289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202.17 | 0 | 0 | 0 | 0 | 3605.28 | 0 | 0 | 4579.68 | 0 | 0 | 730.8 | 0 | 0 | 5456.64 | 0 | 0 | 12667.2 | 0 | 0 | 5456.64 | 0 | 0 | 4482.24 | 0 | 0 | 3800.16 | 0 | 0 | 2241.12 | 0 | 0 | 5797.68 | 0 | 0 | 0 | 0 | 0 | 31900 | 0 | 0 | 60900 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 899 | 0 | 0 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 221.51 | 0 | 0 | 0 | 0 | 3800.16 | 0 | 0 | 4628.4 | 0 | 0 | 779.52 | 0 | 0 | 6333.6 | 0 | 0 | 14080.08 | 0 | 0 | 5018.16 | 0 | 0 | 4530.96 | 0 | 0 | 3897.6 | 0 | 0 | 3166.8 | 0 | 0 | 5797.68 | 0 | 0 | 0 | 0 | 0 | 39100 | 0 | 0 | 62700 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 788 | 0 | 0 | 338 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 224.49 | 0 | 0 | 0 | 0 | 3751.44 | 0 | 0 | 4628.4 | 0 | 0 | 97.44 | 0 | 0 | 6431.04 | 0 | 0 | 13641.6 | 0 | 0 | 5066.88 | 0 | 0 | 4384.8 | 0 | 0 | 4189.92 | 0 | 0 | 2874.48 | 0 | 0 | 5456.64 | 0 | 0 | 0 | 0 | 0 | 36700 | 0 | 0 | 63300 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 713 | 0 | 0 | 376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.76 | 0 | 0 | 0 | 0 | 4092.48 | 0 | 0 | 4725.84 | 0 | 0 | 779.52 | 0 | 0 | 8038.8 | 0 | 0 | 15492.96 | 0 | 0 | 5554.08 | 0 | 0 | 4579.68 | 0 | 0 | 3946.32 | 0 | 0 | 2874.48 | 0 | 0 | 5456.64 | 0 | 0 | 0 | 0 | 0 | 46700 | 0 | 0 | 66500 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 868 | 0 | 0 | 328.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 244.52 | 0 | 0 | 0 | 0 | 2923.2 | 0 | 0 | 4725.84 | 0 | 0 | 13544.16 | 0 | 0 | 682.08 | 0 | 0 | 10962 | 0 | 0 | 5115.6 | 0 | 0 | 4677.12 | 0 | 0 | 3995.04 | 0 | 0 | 2728.32 | 0 | 0 | 5261.76 | 0 | 0 | 64500 | 0 | 0 | 0 | 0 | 0 | 52900 | [10 empty] | 0 | 0 | 0% | 0% | 6% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 869 | 0 | 0 | 314.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 233.86 | 0 | 0 | 0 | 0 | 2728.32 | 0 | 0 | 4872 | 0 | 0 | 14421.12 | 0 | 0 | 633.36 | 0 | 0 | 8087.52 | 0 | 0 | 5505.36 | 0 | 0 | 4530.96 | 0 | 0 | 4287.36 | 0 | 0 | 3069.36 | 0 | 0 | 5407.92 | 0 | 0 | 66300 | 0 | 0 | 0 | 0 | 0 | 37400 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 746 | 0 | 0 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 233.43 | 0 | 0 | 0 | 0 | 2436 | 0 | 0 | 4482.24 | 0 | 0 | 12910.8 | 0 | 0 | 633.36 | 0 | 0 | 8038.8 | 0 | 0 | 5066.88 | 0 | 0 | 4433.52 | 0 | 0 | 3848.88 | 0 | 0 | 2825.76 | 0 | 0 | 5018.16 | 0 | 0 | 65900 | 0 | 0 | 0 | 0 | 0 | 37900 | [10 empty] | 0 | 0 | 0% | 0% | -12% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89 | 0 | 0 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 745 | 0 | 0 | 377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 224.75 | 0 | 0 | 0 | 0 | 2777.04 | 0 | 0 | 5115.6 | 0 | 0 | 13105.68 | 0 | 0 | 584.64 | 0 | 0 | 6528.48 | 0 | 0 | 5895.12 | 0 | 0 | 4774.56 | 0 | 0 | 4433.52 | 0 | 0 | 3166.8 | 0 | 0 | 5359.2 | 0 | 0 | 62700 | 0 | 0 | 1500 | 0 | 0 | 31900 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 694 | 0 | 0 | 308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 225.11 | 0 | 0 | 0 | 0 | 2484.72 | 0 | 0 | 4336.08 | 0 | 0 | 11790.24 | 0 | 0 | 1071.84 | 0 | 0 | 8428.56 | 0 | 0 | 5359.2 | 0 | 0 | 4336.08 | 0 | 0 | 3897.6 | 0 | 0 | 2777.04 | 0 | 0 | 4823.28 | 0 | 0 | 63000 | 0 | 0 | 0 | 0 | 0 | 37900 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 700 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235.28 | 0 | 0 | 0 | 0 | 2923.2 | 0 | 0 | 4872 | 0 | 0 | 12180 | 0 | 0 | 779.52 | 0 | 0 | 9451.68 | 0 | 0 | 5456.64 | 0 | 0 | 4336.08 | 0 | 0 | 4189.92 | 0 | 0 | 3215.52 | 0 | 0 | 5261.76 | 0 | 0 | 63500 | 0 | 0 | 0 | 0 | 0 | 46700 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 1428 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.48 | 0 | 0 | 0 | 0 | 2923.2 | 0 | 0 | 4677.12 | 0 | 0 | 14421.12 | 0 | 0 | 925.68 | 0 | 0 | 10718.4 | 0 | 0 | 5456.64 | 0 | 0 | 4336.08 | 0 | 0 | 4238.64 | 0 | 0 | 3507.84 | 0 | 0 | 1071.84 | 0 | 0 | 70800 | 0 | 0 | 0 | 0 | 0 | 48900 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89 | 0 | 0 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 640 | 0 | 0 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 242.85 | 0 | 0 | 0 | 0 | 2777.04 | 0 | 0 | 4677.12 | 0 | 0 | 10718.4 | 0 | 0 | 12033.84 | 0 | 0 | 828.24 | 0 | 0 | 5651.52 | 0 | 0 | 4336.08 | 0 | 0 | 4043.76 | 0 | 0 | 3361.68 | 0 | 0 | 10231.2 | 0 | 0 | 51300 | 0 | 0 | 62100 | 0 | 0 | 2900 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 593 | 0 | 0 | 321 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.12 | 0 | 0 | 0 | 0 | 1997.52 | 0 | 0 | 4872 | 0 | 0 | 4579.68 | 0 | 0 | 13008.24 | 0 | 0 | 6041.28 | 0 | 0 | 5407.92 | 0 | 0 | 4482.24 | 0 | 0 | 4092.48 | 0 | 0 | 3459.12 | 0 | 0 | 6187.44 | 0 | 0 | 16200 | 0 | 0 | 60800 | 0 | 0 | 26800 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 624 | 0 | 0 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 232.76 | 0 | 0 | 0 | 0 | 1905-12-31 09:36 | 0 | 0 | 1912-10-20 02:53 | 0 | 0 | 1926-04-10 20:10 | 0 | 0 | 1935-05-06 19:12 | 0 | 0 | 1901-09-24 08:38 | 0 | 0 | 1914-07-15 11:31 | 0 | 0 | 1912-02-19 12:29 | 0 | 0 | 1910-09-01 14:24 | 0 | 0 | 1909-01-24 23:02 | 0 | 0 | 5895.12 | 0 | 0 | 43800 | 0 | 0 | 64600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption May 2018 | [18 empty] | Electricity Daily Consumption May 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption May 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
May Reading 2017 two weeks |  | 8990 |  |  | 5530 | [8 empty] | 2575.03 |  |  |  |  | 30742.32 |  |  | 70644 |  |  | 129984.96 |  |  | 90205.08 |  |  | 64066.8 |  |  | 78877.68 |  |  | 66600.24 |  |  | 62264.16 |  |  | 44481.36 |  |  | 87013.92 |  |  | 649200 |  |  | 411500 |  |  | 271900 | [29 empty] | 1548 |  |  | 1430 |  |  | 0
May Reading 2018 two weeks |  | -112844 |  |  | -152757 | [8 empty] | -66718.5 |  |  |  |  | -7548335.76 |  |  | -14427551.04 |  |  | -14093429.28 |  |  | -17318790.72 |  |  | -17594156.16 |  |  | -16299568.32 |  |  | -13784885.52 |  |  | -10525225.2 |  |  | -10527222.72 |  |  | -16449382.32 |  |  | -69858800 |  |  | -73408300 |  |  | -67379500 | [29 empty] | -248857 |  |  | -196649 |  |  | -349214 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 70508000 |  |  | -73819800 |  |  | -67651400
May Reading 2017 Monthly |  | 20381 |  |  | 10685 |  |  | 7048.9 |  | 7702.2 |  |  |  | 5954.39 |  |  | 476 |  | 77318.64 |  |  | 141044.4 |  |  | 241456.32 |  |  | 159655.44 |  |  | 214368 |  |  | 159168.24 |  |  | 133687.68 |  |  | 122676.96 |  |  | 89498.64 |  |  | 170130.24 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2986 |  |  | 2759 |  |  | 0 |  |  | 3894 | [14 empty] | 487.2
May Reading 2018 Monthly |  | -113615 |  |  | -152757 |  |  | -164625 |  | -849471 |  |  |  | -66718.5 |  |  | -567 |  | -7548335.76 |  |  | -14427551.04 |  |  | -14093429.28 |  |  | -17318790.72 |  |  | -17594156.16 |  |  | -16299568.32 |  |  | -13784885.52 |  |  | -10525225.2 |  |  | -10527222.72 |  |  | -16449382.32 |  |  | -69858800 |  |  | -73408300 |  |  | -67379500 | [12 empty] | -8554430 |  |  |  |  | -59727 |  | -51267 |  | -17466 |  | -23467 |  | -25660 |  | -57125 |  | -248857 |  |  | -196649 |  |  | -349214 |  |  | -650983
Difference |  | 133996 |  |  | 163442 |  |  | 171673.9 |  | 857173.2 |  |  |  | 72672.89 |  |  | 1043 |  | -7625654.4 |  |  | 14568595.44 |  |  | 14334885.6 |  |  | 17478446.16 |  |  | 17808524.16 |  |  | 16458736.56 |  |  | 13918573.2 |  |  | 10647902.16 |  |  | 10616721.36 |  |  | 16619512.56 |  |  | -70206100 |  |  | -73769400 |  |  | -67938342 | [29 empty] | 251843 |  |  | 199408 |  |  | 349214 |  |  | 654877
Total Monthly Electrical Kwh | [18 empty] | May 2017 Kwh | [5 empty] | 1509004.56 | [5 empty] | May 2018 Kwh | [5 empty] | -138568547.04 | [5 empty] | Saving Kwh |  |  | 140077551.6 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | May 2017 Kwh two weeks | [5 empty] | 724880.52 | [5 empty] | May 2018 Kwh two weeks | [5 empty] | -138568547.04 | [5 empty] | Saving Kwh |  |  | 139293427.56 |  |  | 1267242 |  |  | -210646600 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
Electricity Daily Consumption May 2020 = '[1]May - 2022'!AE40
Daily Consumption Kwh 2018 = '[1]May - 2022'!AF40
Daily Consumption Kwh 2018 = '[1]May - 2022'!AI40
Daily Consumption Kwh 2017 = '[1]May - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]May - 2022'!AJ40
EMDB-2 Elevators = '[1]May - 2022'!AH40
MDB-1 Chiller # 1 = '[1]May - 2022'!AK40
MDB-2 Chiller # 2 = '[1]May - 2022'!AN40
MDB-3 Chiller # 3 = '[1]May - 2022'!AQ40
MDB-4 North Riser Guest Rooms = '[1]May - 2022'!AT40
MDB-5 North Riser Guest Rooms = '[1]May - 2022'!AW40
MDB-6 Main Kitchen = '[1]May - 2022'!AZ40
MDB-7 South Riser Guest Rooms = '[1]May - 2022'!BC40
MDB-8 F & B = '[1]May - 2022'!BF40
Reading M³ = '[1]May - 2022'!BZ40
Daily consumption M³ December-2017 = '[1]May - 2022'!CA40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill