## Sheet1
Date | Electric (KWH) | [5 empty] | Gas (Therm) |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption | Mina | Consumption | Main | Consumption | Main (FT3) | Consumption | Chilled (THR) | Consumption | Hot (MMBTU) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption
2022-05-01 | 77308 | 4614 | 29785677 | 9475 | 8201191 | 3810 | 82093 | 125 | 20869 | 7 | 54812 | 8689.8396 | 52338698 | 6616 | 233676 | 66 | 6195 | 395 | 240 | 21 | 214 | 15 | 805533 | 2770000 | 362663 | 2080000 |  | 67137 | 0 | 222383 | 150 | 10950688 | 7790 | 28740 | 5 | 13130 | 411 | 581258 | 770000 | 234978 | 0 | 71254 | 250000 | 269336 | 0 | 455577 | 2060000 | 19319 | 0 | 439354 | 1850000 | 124015 | 0
2022-05-02 | 81996 | 4688 | 29795849 | 10172 | 8205308 | 4117 | 82198 | 118.545 | 20878 | 10.161 | 54874 | 8288.7701 | 52345521 | 6823 | 233746 | 70 | 6630 | 435 | 257 | 17 | 230 | 16 | 805878 | 3450000 | 362868 | 2050000 |  | 67138 | 1 | 222558 | 175 | 10956857 | 6169 | 28742 | 2 | 13581 | 451 | 581274 | 160000 | 234978 | 0 | 71261 | 70000 | 269336 | 0 | 455801 | 2240000 | 19320 | 10000 | 439576 | 2220000 | 124015 | 0
2022-05-03 | 85867 | 3871 | 29804626 | 8777 | 8208894 | 3586 | 82301 | 116.287 | 20882 | 4.516 | 54915 | 5481.2834 | 52353108 | 7587 | 233796 | 50 | 7009 | 379 | 273 | 16 | 244 | 14 | 806169 | 2910000 | 363022 | 1540000 |  | 67138 | 0 | 222694 | 136 | 10961863 | 5006 | 28743 | 1 | 14248 | 667 | 581411 | 1370000 | 234978 | 0 | 71280 | 190000 | 269336 | 0 | 455982 | 1810000 | 19320 | 0 | 439791 | 2150000 | 124015 | 0
2022-05-04 | 90130 | 4263 | 29813920 | 9294 | 8212504 | 3610 | 82403 | 115.158 | 20888 | 6.774 | 54960 | 6016.0428 | 52360660 | 7552 | 233851 | 55 | 7393 | 384 | 289 | 16 | 258 | 14 | 806474 | 3050000 | 363193 | 1710000 |  | 67138 | 0 | 222856 | 162 | 10966752 | 4889 | 28745 | 2 | 15021 | 773 | 581453 | 420000 | 234978 | 0 | 71352 | 720000 | 269336 | 0 | 456012 | 300000 | 19320 | 0 | 440038 | 2470000 | 124015 | 0
2022-05-05 | 94613 | 4483 | 29823707 | 9787 | 8216348 | 3844 | 82495 | 103.868 | 20896 | 9.032 | 55011 | 6818.1818 | 52368453 | 7793 | 233910 | 59 | 7802 | 409 | 305 | 16 | 274 | 16 | 806797 | 3230000 | 363371 | 1780000 |  | 67138 | 0 | 223023 | 167 | 10971731 | 4979 | 28748 | 3 | 15808 | 787 | 581507 | 540000 | 234978 | 0 | 71355 | 30000 | 269336 | 0 | 456054 | 420000 | 19320 | 0 | 440313 | 2750000 | 124015 | 0
2022-05-06 | 98377 | 3764 | 29831585 | 7878 | 8219424 | 3076 | 82600 | 118.545 | 20902 | 6.774 | 55059 | 6417.1123 | 52374900 | 6447 | 233961 | 51 | 8134 | 332 | 320 | 15 | 286 | 12 | 807068 | 2710000 | 363526 | 1550000 |  | 67138 | 0 | 223185 | 162 | 10976852 | 5121 | 28750 | 2 | 16617 | 809 | 581618 | 1110000 | 234978 | 0 | 71410 | 550000 | 269336 | 0 | 456078 | 240000 | 19320 | 0 | 440524 | 2110000 | 124015 | 0
2022-05-07 | 104382 | 6005 | 29843965 | 12380 | 8226385 | 6961 | 82733 | 150.157 | 20911 | 10.161 | 55124 | 8689.8396 | 52382340 | 7440 | 234044 | 83 | 8644 | 510 | 344 | 24 | 305 | 19 |  | -8070680000 |  | -3635260000 |  | 67138 | 0 | 223382 | 197 | 10983462 | 6610 | 28751 | 1 | 17585 | 968 | 581652 | 340000 | 234978 | 0 | 71425 | 150000 | 269336 | 0 | 456088 | 100000 | 19320 | 0 | 440837 | 3130000 | 124015 | 0
2022-05-08 | 107990 | 3608 | 29850633 | 6668 | 8226947 | 562 | 82842 | 123.061 | 20915 | 4.516 | 55170 | 6149.7326 | 52386548 | 4208 | 234111 | 67 | 8755 | 111 | 359 | 15 | 317 | 12 | 807130 | 8071300000 | 363912 | 3639120000 |  | 67138 | 0 |  | -223382 |  | -10983462 |  | -28751 |  | -17585 | 581681 | 290000 | 234978 | 0 | 71429 | 40000 | 269336 | 0 | 456093 | 50000 | 19320 | 0 | 441016 | 1790000 | 124015 | 0
2022-05-09 | 112793 | 4803 | 29860474 | 9841 | 8231044 | 4097 | 82960 | 133.222 | 20922 | 7.903 | 55221 | 6818.1818 | 52391850 | 5302 | 234194 | 83 | 9327 | 572 | 373 | 14 | 334 | 17 | 807969 | 8390000 | 364197 | 2850000 |  | 67138 | 0 | 223694 | 223694 | 10996703 | 10996703 | 28761 | 28761 | 19711 | 19711 | 581710 | 290000 | 234978 | 0 | 71429 | 0 | 269521 | 1850000 | 456177 | 840000 | 19320 | 0 | 441211 | 1950000 | 124015 | 0
2022-05-10 | 116849 | 4056 | 29868760 | 8286 | 8234334 | 3290 | 83055 | 107.255 | 20927 | 5.645 | 55263 | 5614.9733 | 52397599 | 5749 | 234249 | 55 | 9671 | 344 | 383 | 10 | 334 | 0 | 808213 | 2440000 | 364365 | 1680000 |  | 67138 | 0 | 223833 | 139 | 11002069 | 5366 | 28763 | 2 | 19771 | 60 | 581789 | 790000 | 234978 | 0 | 71430 | 10000 | 269527 | 60000 | 456232 | 550000 | 19320 | 0 | 441382 | 1710000 | 124015 | 0
2022-05-11 | 120904 | 4055 | 29877304 | 8544 | 8237595 | 3261 | 83152 | 109.513 | 20932 | 5.645 | 55306 | 5748.6631 | 52404147 | 6548 | 234301 | 52 | 10017 | 346 | 399 | 16 | 337 | 3 | 808471 | 2580000 | 364529 | 1640000 |  | 67138 | 0 | 223986 | 153 | 11007305 | 5236 | 28766 | 3 | 20571 | 800 | 581844 | 550000 | 234978 | 0 | 71430 | 0 | 269527 | 0 | 456325 | 930000 | 19320 | 0 | 441554 | 1720000 | 124015 | 0
2022-05-12 | 125367 | 4463 | 29886901 | 9597 | 8241857 | 4262 | 83252 | 112.9 | 20938 | 6.774 | 55355 | 6550.8021 | 52412987 | 8840 | 234359 | 58 | 10405 | 388 | 419 | 20 | 342 | 5 | 808769 | 2980000 | 364701 | 1720000 |  | 67138 | 0 | 224154 | 168 | 11013142 | 5837 | 28768 | 2 | 21427 | 856 | 581876 | 320000 | 234978 | 0 | 71463 | 330000 | 269527 | 0 | 456409 | 840000 | 19320 | 0 | 441777 | 2230000 | 124015 | 0
2022-05-13 | 129361 | 3994 | 29895394 | 8493 | 8244553 | 2696 | 83359 | 120.803 | 20943 | 5.645 | 55403 | 6417.1123 | 52420193 | 7206 | 234415 | 56 | 10753 | 348 | 433 | 14 | 344 | 2 | 809043 | 2740000 | 364836 | 1350000 |  | 67138 | 0 | 224333 | 179 | 11018977 | 5835 | 28770 | 2 | 22194 | 767 | 582026 | 1500000 | 234978 | 0 | 71487 | 240000 | 269527 | 0 | 456540 | 1310000 | 19320 | 0 | 442038 | 2610000 | 124015 | 0
2022-05-14 | 133963 | 4602 | 29903894 | 8500 | 8248243 | 3690 | 83488 | 145.641 | 20950 | 7.903 | 55455 | 6951.8717 | 52430150 | 9957 | 234460 | 45 | 11140 | 387 | 451 | 18 | 346 | 2 | 809356 | 3130000 | 364980 | 1440000 |  | 67138 | 0 | 224524 | 191 | 11024834 | 5857 | 28772 | 2 | 23038 | 844 | 582279 | 2530000 | 234978 | 0 | 71526 | 390000 | 269527 | 0 | 456669 | 1290000 | 19320 | 0 | 456702 | 146640000 | 124015 | 0
2022-05-15 | 138422 | 4459 | 29912849 | 8955 | 8251793 | 3550 | 83615 | 143.383 | 20956 | 6.774 | 55510 | 7352.9412 | 52440902 | 10752 | 234524 | 64 | 11506 | 366 | 468 | 17 | 350 | 4 | 809656 | 3000000 | 365114 | 1340000 |  | 67138 | 0 | 224703 | 179 | 11032211 | 7377 | 28776 | 4 | 23878 | 840 | 582490 | 2110000 | 234978 | 0 | 71626 | 1000000 | 269527 | 0 | 456799 | 1300000 | 19320 | 0 | 456837 | 1350000 | 124015 | 0
2022-05-16 | 143457 | 5035 | 29924769 | 11920 | 8256052 | 4259 | 83726 | 125.319 | 20964 | 9.032 | 55573 | 8422.4599 | 52452869 | 11967 | 234585 | 61 | 11935 | 429 | 488 | 20 | 352 | 2 | 810008 | 3520000 | 365265 | 1510000 |  | 67138 | 0 | 224857 | 154 | 11037783 | 5572 | 28778 | 2 | 24648 | 770 | 582720 | 2300000 | 234978 | 0 | 71725 | 990000 | 269527 | 0 | 457015 | 2160000 | 19320 | 0 | 443177 | -136600000 | 124015 | 0
2022-05-17 | 147869 | 4412 | 29934431 | 9662 | 8259733 | 3681 | 83834 | 121.932 | 20970 | 6.774 | 55621 | 6417.1123 | 52463307 | 10438 | 234639 | 54 | 12328 | 393 | 506 | 18 | 356 | 4 | 810327 | 3190000 | 365397 | 1320000 |  | 67138 | 0 | 225023 | 166 | 11043246 | 5463 | 28779 | 1 | 25437 | 789 | 582879 | 1590000 | 234978 | 0 | 71769 | 440000 | 269527 | 0 | 457171 | 1560000 | 19320 | 0 | 443426 | 2490000 | 124015 | 0
2022-05-18 | 152407 | 4538 | 29944428 | 9997 | 8263436 | 3703 | 83937 | 116.287 | 20978 | 9.032 | 55676 | 7352.9412 | 52472943 | 9636 | 234703 | 64 | 12734 | 406 | 525 | 19 | 358 | 2 | 810643 | 3160000 | 365553 | 1560000 |  | 67138 | 0 | 225184 | 161 | 11048259 | 5013 | 28780 | 1 | 26224 | 787 | 583092 | 2130000 | 234978 | 0 | 71787 | 180000 | 269527 | 0 | 457359 | 1880000 | 19320 | 0 | 443645 | 2190000 | 124015 | 0
2022-05-19 | 156427 | 4020 | 29953066 | 8638 | 8266733 | 3297 | 84039 | 115.158 | 20984 | 6.774 | 55724 | 6417.1123 | 52480456 | 7513 | 234766 | 63 | 13083 | 349 | 542 | 17 | 361 | 3 | 810914 | 2710000 | 365697 | 1440000 |  | 67138 | 0 | 225354 | 170 | 11054011 | 5752 | 28783 | 3 | 27028 | 804 | 583114 | 220000 | 234978 | 0 | 71905 | 1180000 | 269527 | 0 | 457435 | 760000 | 19320 | 0 | 443839 | 1940000 | 124015 | 0
2022-05-20 | 160334 | 3907 | 29961513 | 8447 | 8270054 | 3321 | 84143 | 117.416 | 20989 | 5.645 | 55767 | 5748.6631 | 52489481 | 9025 | 234816 | 50 | 13413 | 330 | 557 | 15 | 363 | 2 | 811165 | 2510000 | 365786 | 890000 |  | 67138 | 0 | 225518 | 164 | 11059217 | 5206 | 28784 | 1 | 27761 | 733 | 583354 | 2400000 | 234978 | 0 | 71989 | 840000 | 269527 | 0 | 457604 | 1690000 | 19320 | 0 | 444092 | 2530000 | 124015 | 0
2022-05-21 | 164373 | 4039 | 29970512 | 8999 | 8273245 | 3191 | 84264 | 136.609 | 20995 | 6.774 | 55817 | 6684.492 | 52501339 | 11858 | 234863 | 47 | 13771 | 358 | 574 | 17 | 365 | 2 | 811465 | 3000000 | 365862 | 760000 |  | 67138 | 0 | 225725 | 207 | 11066907 | 7690 | 28789 | 5 | 28646 | 885 | 583639 | 2850000 | 234978 | 0 | 72325 | 3360000 | 269527 | 0 | 457844 | 2400000 | 19320 | 0 | 444398 | 3060000 | 124015 | 0
2022-05-22 | 169192 | 4819 | 29980725 | 10213 | 8277277 | 4032 | 84415 | 170.479 | 21002 | 7.903 | 55882 | 8689.8396 | 52517429 | 16090 | 234908 | 45 | 14183 | 412 | 592 | 18 | 369 | 4 | 811828 | 3630000 | 365921 | 590000 |  | 67138 | 0 | 225909 | 184 | 11073571 | 6664 | 28793 | 4 | 29534 | 888 | 584103 | 4640000 | 234978 | 0 | 72872 | 5470000 | 269527 | 0 | 458184 | 3400000 | 19320 | 0 | 444780 | 3820000 | 124015 | 0
2022-05-23 | 173462 | 4270 | 29989919 | 9194 | 8280923 | 3646 | 84524 | 123.061 | 21008 | 6.774 | 55931 | 6550.8021 | 52531414 | 13985 | 234954 | 46 | 14556 | 373 | 609 | 17 | 371 | 2 | 812150 | 3220000 | 365971 | 500000 |  | 67138 | 0 | 226081 | 172 | 11079049 | 5478 | 28795 | 2 | 30429 | 895 | 584430 | 3270000 | 234978 | 0 | 73234 | 3620000 | 269527 | 0 | 458463 | 2790000 | 19320 | 0 | 445126 | 3460000 | 124015 | 0
2022-05-24 | 177466 | 4004 | 29999160 | 9241 | 8284453 | 3530 | 84622 | 110.642 | 21013 | 5.645 | 55971 | 5347.5936 | 52540285 | 8871 | 235065 | 111 | 14924 | 368 | 626 | 17 | 374 | 3 | 812434 | 2840000 | 366026 | 550000 |  | 67138 | 0 | 226236 | 155 | 11084751 | 5702 | 28796 | 1 | 31070 | 641 | 584436 | 60000 | 234978 | 0 | 73286 | 520000 |  | -2695270000 | 458565 | 1020000 | 19320 | 0 | 445392 | 2660000 | 124015 | 0
2022-05-25 | 181761 | 4295 | 30008965 | 9805 | 8288337 | 3884 | 84728 | 119.674 | 21020 | 7.903 | 56023 | 6951.8717 | 52548496 | 8211 | 235075 | 10 | 15323 | 399 | 646 | 20 | 377 | 3 | 812775 | 3410000 | 366210 | 1840000 |  | 67138 | 0 | 226389 | 153 | 11090225 | 5474 | 28797 | 1 | 31766 | 696 | 584514 | 780000 | 234978 | 0 | 73342 | 560000 | 269527 | 2695270000 | 458596 | 310000 | 19320 | 0 | 44579 | -4008130000 | 124015 | 0
2022-05-26 | 186009 | 4248 | 30018411 | 9446 | 8291760 | 3423 | 84831 | 116.287 | 21027 | 7.903 | 56100 | 10294.1176 | 52556423 | 7927 | 235140 | 65 | 15707 | 384 | 664 | 18 | 380 | 3 | 813076 | 3010000 | 366339 | 1290000 |  | 67138 | 0 | 226537 | 148 | 11095644 | 5419 | 28798 | 1 | 32514 | 748 | 584563 | 490000 | 234978 | 0 | 73456 | 1140000 | 269527 | 0 | 458690 | 940000 | 19320 | 0 | 445890 | 4013110000 | 124015 | 0
2022-05-27 | 190045 | 4036 | 30027158 | 8747 | 8295005 | 3245 | 84947 | 130.964 | 21033 | 6.774 | 56137 | 4946.5241 | 52564081 | 7658 | 235191 | 51 | 16061 | 354 | 680 | 16 | 381 | 1 | 813360 | 2840000 | 366452 | 1130000 |  | 67138 | 0 | 226699 | 162 | 11101809 | 6165 | 28800 | 2 | 33284 | 770 | 584597 | 340000 | 234978 | 0 | 73588 | 1320000 | 269527 | 0 | 458749 | 590000 | 19320 | 0 | 446139 | 2490000 | 124015 | 0
2022-05-28 | 194191 | 4146 | 30036145 | 8987 | 8298745 | 3740 | 85060 | 127.577 | 21038 | 5.645 | 56183 | 6149.7326 | 52575088 | 11007 | 235249 | 58 | 16448 | 387 | 699 | 19 | 384 | 3 | 813707 | 3470000 | 366550 | 980000 |  | 67138 | 0 | 226897 | 198 | 11110048 | 8239 | 28803 | 3 | 34194 | 910 | 584831 | 2340000 | 234978 | 0 | 73915 | 3270000 | 269527 | 0 | 458969 | 2200000 | 19321 | 10000 | 446481 | 3420000 | 124015 | 0
2022-05-29 | 198574 | 4383 | 30045253 | 9108 | 8302292 | 3547 | 85174 | 128.706 | 21045 | 7.903 | 56235 | 6951.8717 | 52584970 | 9882 | 235304 | 55 | 16815 | 367 | 716 | 17 | 386 | 2 | 814012 | 3050000 | 366648 | 980000 |  | 67138 | 0 | 227092 | 195 | 11117726 | 7678 | 28807 | 4 | 35093 | 899 | 585121 | 2900000 | 234978 | 0 | 73933 | 180000 | 269527 | 0 | 459147 | 1780000 | 19321 | 0 | 446785 | 3040000 | 124015 | 0
2022-05-30 | 203665 | 5091 | 30055998 | 10745 | 8306566 | 4274 | 85288 | 128.706 | 21052 | 7.903 | 56301 | 8823.5294 | 52597331 | 12361 | 235363 | 59 | 17250 | 435 | 736 | 20 | 388 | 2 | 814364 | 3520000 | 366746 | 980000 |  | 67138 | 0 | 227243 | 151 |  | -11117726 | 28818 | 11 |  | -35093 | 585372 | 2510000 | 234978 | 0 | 74079 | 1460000 | 269527 | 0 | 459322 | 1750000 | 19321 | 0 | 447097 | 3120000 | 124015 | 0
2022-05-31 | 207808 | 4143 | 30064566 | 8568 | 8309829 | 3263 | 85383 | 107.255 | 21058 | 6.774 | 56348 | 6283.4225 | 52609561 | 12230 | 235408 | 45 | 17686 | 436 | 751 | 15 | 391 | 3 | 814661 | 2970000 | 366797 | 510000 |  | 67138 | 0 | 227394 | 151 |  | 0 | 28812 | 0 |  | 0 | 585481 | 1090000 | 234978 | 0 | 74276 | 1970000 | 269527 | 0 | 459519 | 1970000 | 19321 | 0 | 447382 | 2850000 | 124015 | 0
Total |  | 135114 |  | 288364 |  | 112448 |  | 3839.41 |  | 220.381 |  | 214037.4332 |  | 277479 |  | 1798 |  | 11886 |  | 532 |  | 192 |  | 94050000 |  | 43420000 |  |  | 1 |  | 5161 |  | 174828 |  | 83 |  | 22374 |  | 43000000 |  | 0 |  | 30470000 |  | 1910000 |  | 41480000 |  | 20000 |  | 82130000 |  | 0
April |  | 130550 |  | 278622 |  | 108848 |  | 3482 |  | 212.607 |  | 179679 |  | 172277 |  | 2020 |  | 11928 |  | 574 |  | 421 |  | 8035930000 |  | 3610670000 | 12241 |  | 0 |  | 4657 |  | 178679 |  | 87 |  | 22219 |  | 5811810000 |  | 2349780000 |  | 712290000 |  | 2693360000 |  | 4553710000 |  | 193190000 |  | 4391690000 |  | 1240150000
Varience |  | 4564 |  | 9742 |  | 3600 |  | 357.41 |  | 7.774 |  | 34358.4332 |  | 105202 |  | -222 |  | -42 |  | -42 |  | -229 |  | -7941880000 |  | -3567250000 | -12241 |  | 1 |  | 504 |  | -3851 |  | -4 |  | 155 |  | -5768810000 |  | -2349780000 |  | -681820000 |  | -2691450000 |  | -4512230000 |  | -193170000 |  | -4309560000 |  | -1240150000
Varience % |  | 3.496% |  | 3.496% |  | 3.307% |  | 10.26% |  | 3.657% |  | 19.12% |  | 61.07% |  | -10.99% |  | -0.3521% |  | -7.317% |  | -54.39% |  | -98.83% |  | -98.8% |  |  | #DIV/0! |  | 10.82% |  | -2.155% |  | -4.598% |  | 0.6976% |  | -99.26% |  | -100% |  | -95.72% |  | -99.93% |  | -99.09% |  | -99.99% |  | -98.13% |  | -100%