## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights
Tunis | 1 | 6 | 2022 | 12324 | 0.257 | 1116 | 0.56711 | 422 | 3.03 | 164
Tunis | 2 | 6 | 2022 | 13135 | 0.257 | 1165 | 0.56711 | 512 | 3.03 | 166
Tunis | 3 | 6 | 2022 | 13373 | 0.257 | 1164 | 0.56711 | 476 | 3.03 | 181
Tunis | 4 | 6 | 2022 | 14195 | 0.257 | 1287 | 0.56711 | 468 | 3.03 | 173
Tunis | 5 | 6 | 2022 | 15228 | 0.257 | 1241 | 0.56711 | 457 | 3.03 | 168
Tunis | 6 | 6 | 2022 | 14038 | 0.257 | 1113 | 0.56711 | 441 | 3.03 | 157
Tunis | 7 | 6 | 2022 | 13927 | 0.257 | 1119 | 0.56711 | 451 | 3.03 | 135
Tunis | 8 | 6 | 2022 | 13714 | 0.257 | 1074 | 0.56711 | 237 | 3.03 | 139
Tunis | 9 | 6 | 2022 | 12819 | 0.257 | 1021 | 0.56711 | 419 | 3.03 | 135
Tunis | 10 | 6 | 2022 | 13121 | 0.257 | 1092 | 0.56711 | 242 | 3.03 | 152
Tunis | 11 | 6 | 2022 | 12584 | 0.257 | 1105 | 0.56711 | 242 | 3.03 | 122
Tunis | 12 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 13 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 14 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 15 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 16 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 17 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 18 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 19 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 20 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 21 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 22 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 23 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 24 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 25 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 26 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 27 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 28 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 29 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 30 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 31 | 6 | 2022 | 0 | 0.257 | 0 | 0.56711 | 0 | 3.03 | 0

## Submetring
Site Name | Day | Month | Year | Ph1 KWh | Ph2 KWh | Ph3 KWh | Cuisine m3 | Chaufferie m3 | Water m3 | Room Nights | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
Tunis | 1 | 6 | 2022 | 3881 | 4266 | 4177 | 120 | 996 | 422 | 164 | [49 empty] | 389 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 2 | 6 | 2022 | 4764 | 4291 | 4080 | 146 | 1019 | 512 | 166 | [49 empty] | 328 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 3 | 6 | 2022 | 4533 | 4489 | 4351 | 138 | 1026 | 476 | 181 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 4 | 6 | 2022 | 4808 | 4753 | 4634 | 157 | 1130 | 468 | 173 | [49 empty] | 264 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 5 | 6 | 2022 | 5167 | 5091 | 4970 | 158 | 1083 | 457 | 168 | [49 empty] | 349 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 6 | 6 | 2022 | 4772 | 4719 | 4547 | 164 | 949 | 441 | 157 | [49 empty] | 285 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 7 | 6 | 2022 | 4738 | 4683 | 4506 | 127 | 992 | 451 | 135 | [49 empty] | 367 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 8 | 6 | 2022 | 4678 | 4596 | 4440 | 124 | 950 | 237 | 139 | [49 empty] | 196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 9 | 6 | 2022 | 4379 | 4302 | 4138 | 141 | 880 | 419 | 135 | [49 empty] | 226 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 10 | 6 | 2022 | 4472 | 4425 | 4224 | 161 | 931 | 242 | 152 | [49 empty] | 300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 11 | 6 | 2022 | 4291 | 4232 | 4061 | 157 | 948 | 242 | 122 | [49 empty] | 277 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 12 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 293 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 13 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 438 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 14 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 470 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 15 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 16 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 268 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 17 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 225 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 18 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 19 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 20 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 21 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 22 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 23 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 24 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 25 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 26 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 27 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 309 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 28 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 301 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 29 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 30 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 31 | 6 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Hotel
[5 empty] | RELEVEE JOURNALIERE D'ENERGIE | [14 empty] | June
2022
D | 1 | 6717759 |  | 6664313 |  | 6294343 | 6294343 |  | 6294343 | #REF! | 185936 | #REF! | 2767330 | #REF! | #REF! | #REF! | 368104 | #REF! | #REF! |  | #REF! | 100 | #REF!
|  | ELECTRICITE | [8 empty] | GAZ | [5 empty] | EAU |  |  |  | Cout | Pax / | Cout
|  | PH 1 | Con. | PH 2 | Con. | PH 3 | Con. | E.A Totale | cosℓ | cout | Cuisine | Con. | Chaufferie | Con. | T.cons | cout | SONEDE | Con. | cout |  | / jour | Nuité | / pax
J | 1 | 6721640 | 3881 | 6668579 | 4266 | 6298520 | 4177 | 12324 | 0.99 | 3167.268 | 186056 | 120 | 2768326 | 996 | 1116 | 648.4472 | 368526 | 422 | 1204.81 |  | 5020.5252 | 164 | 30.613
V | 2 | 6726404 | 4764 | 6672870 | 4291 | 6302600 | 4080 | 13135 | 0.99 | 3375.695 | 186202 | 146 | 2769345 | 1019 | 1165 | 679.6049 | 369038 | 512 | 1461.76 |  | 5517.0599 | 166 | 33.2353
S | 3 | 6730937 | 4533 | 6677359 | 4489 | 6306951 | 4351 | 13373 | 0.99 | 3436.861 | 186340 | 138 | 2770371 | 1026 | 1164 | 678.0011 | 369514 | 476 | 1358.98 |  | 5473.8421 | 181 | 30.2422
D | 4 | 6735745 | 4808 | 6682112 | 4753 | 6311585 | 4634 | 14195 | 0.99 | 3648.115 | 186497 | 157 | 2771501 | 1130 | 1287 | 750.218 | 369982 | 468 | 1336.14 |  | 5734.473 | 173 | 33.1472
L | 5 | 6740912 | 5167 | 6687203 | 5091 | 6316555 | 4970 | 15228 | 0.99 | 3913.596 | 186655 | 158 | 2772584 | 1083 | 1241 | 724.2604 | 370439 | 457 | 1304.735 |  | 5942.5914 | 168 | 35.3726
MA | 6 | 6745684 | 4772 | 6691922 | 4719 | 6321102 | 4547 | 14038 | 0.99 | 3607.766 | 186819 | 164 | 2773533 | 949 | 1113 | 652.4476 | 370880 | 441 | 1259.055 |  | 5519.2686 | 157 | 35.1546
ME | 7 | 6750422 | 4738 | 6696605 | 4683 | 6325608 | 4506 | 13927 | 0.99 | 3579.239 | 186946 | 127 | 2774525 | 992 | 1119 | 651.0556 | 371331 | 451 | 1287.605 |  | 5517.8996 | 135 | 40.8733
J | 8 | 6755100 | 4678 | 6701201 | 4596 | 6330048 | 4440 | 13714 | 0.99 | 3524.498 | 187070 | 124 | 2775475 | 950 | 1074 | 625.1468 | 371568 | 237 | 676.635 |  | 4826.2798 | 139 | 34.7214
V | 9 | 6759479 | 4379 | 6705503 | 4302 | 6334186 | 4138 | 12819 | 0.99 | 3294.483 | 187211 | 141 | 2776355 | 880 | 1021 | 597.2928 | 371987 | 419 | 1196.245 |  | 5088.0208 | 135 | 37.689
S | 10 | 6763951 | 4472 | 6709928 | 4425 | 6338410 | 4224 | 13121 | 0.99 | 3372.097 | 187372 | 161 | 2777286 | 931 | 1092 | 640.1495 | 372229 | 242 | 690.91 |  | 4703.1565 | 152 | 30.9418
D | 11 | 6768242 | 4291 | 6714160 | 4232 | 6342471 | 4061 | 12584 | 0.99 | 3234.088 | 187529 | 157 | 2778234 | 948 | 1105 | 647.0036 | 372471 | 242 | 690.91 |  | 4572.0016 | 122 | 37.4754
L | 12 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 13 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 14 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 15 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 16 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 17 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 18 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 19 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 20 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 21 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 22 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 23 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 24 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 25 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 26 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 27 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 28 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 29 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 30 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 31 |  | 0 |  | 0 |  | 0 | 0 | 0.99 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
|  | 50483 |  | 49847 |  | 48128 |  | 148458 |  | 38153.706 | 1593 |  | 10904 |  | 12497 | 7293.6277 | 4367 |  | 12467.785 |  | 57915.1187 | 1692 | 12.2408

## Submetres
| 49433 | 79236 | 15207 | 13719 | 189420 | 3495 | 1485 | 380288 | 68377 | 7921 | 29890 | 52115 | 38542 | 181658 | 375920 | 2808 | 18050 | 25503 | 278413 | 375407 | 40159 | 5416 | 13927 | 86195 | 540 | 170186 | 7562 | 1974 | 17975 | 76508 | 205359 | 1125790 | 11123 | 483379 | 637743 | 9334 | 29315 | 28542 | 596531 | 5246 | 0 | 109712 | 217210 | 63112 | 560 | 107079 | 44534 | 38275 | 175158 | 481902
Day | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31