## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 7 | 2022 | 160337.52 | 0.44448 | 338.31 | 3.7115 | 928 | 13.83 | 370 | 1.2 | 139.83 | 247
Dubai at Jumeirah Beach | 2 | 7 | 2022 | 72446.64 | 0.44448 | 255.15 | 3.7115 | 1184 | 13.83 | 410.3 | 1.2 | 120.87 | 241
Dubai at Jumeirah Beach | 3 | 7 | 2022 | 56028 | 0.44448 | 404.46 | 3.7115 | 839 | 13.83 | 404.7 | 1.2 | 90.06 | 177
Dubai at Jumeirah Beach | 4 | 7 | 2022 | 60071.76 | 0.44448 | 317.52 | 3.7115 | 923 | 13.83 | 363 | 1.2 | 125.61 | 192
Dubai at Jumeirah Beach | 5 | 7 | 2022 | 62556.48 | 0.44448 | 332.64 | 3.7115 | 868 | 13.83 | 291 | 1.2 | 139.83 | 202
Dubai at Jumeirah Beach | 6 | 7 | 2022 | 57440.88 | 0.44448 | 304.29 | 3.7115 | 959 | 13.83 | 326 | 1.2 | 125.61 | 212
Dubai at Jumeirah Beach | 7 | 7 | 2022 | 57635.76 | 0.44448 | 326.97 | 3.7115 | 1050 | 13.83 | 410 | 1.2 | 104.28 | 200
Dubai at Jumeirah Beach | 8 | 7 | 2022 | 56515.2 | 0.44448 | 345.114 | 3.7115 | 916 | 13.83 | 354.9 | 1.2 | 144.57 | 224
Dubai at Jumeirah Beach | 9 | 7 | 2022 | 56953.68 | 0.44448 | 325.836 | 3.7115 | 904.5 | 13.83 | 390.1 | 1.2 | 130.35 | 258
Dubai at Jumeirah Beach | 10 | 7 | 2022 | 58025.52 | 0.44448 | 321.3 | 3.7115 | 927.5 | 13.83 | 390 | 1.2 | 144.57 | 276
Dubai at Jumeirah Beach | 11 | 7 | 2022 | 54517.68 | 0.44448 | 306.18 | 3.7115 | 946 | 13.83 | 368 | 1.2 | 203.82 | 300
Dubai at Jumeirah Beach | 12 | 7 | 2022 | 58561.44 | 0.44448 | 325.08 | 3.7115 | 926 | 13.83 | 398 | 1.2 | 203.82 | 318
Dubai at Jumeirah Beach | 13 | 7 | 2022 | 60948.72 | 0.44448 | 302.4 | 3.7115 | 988 | 13.83 | 370 | 1.2 | 213.3 | 318
Dubai at Jumeirah Beach | 14 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 268
Dubai at Jumeirah Beach | 15 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 7 | 2022 | 0 | 0.44448 | 0 | 3.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 7 | 2022 | 139.83 | 247 | 928 | 404 | 370 | 370 | 288.05 | 50 | 5992.56 | 9744 | 40145.28 | 5797.68 | 39804.24 | 16028.88 | 14762.16 | 13349.28 | 8769.6 | 5943.84 | 62400 | 0 | 66900 | 200.34 | 137.97 | 0 | 240 | 39.69 | 32.13 | 11.34 | 18.9 | 18.9 | 35.91 | 6 | 7 | 14 | 18 | 3 | 8 | 3 | 11 | 7 | 4 | 21 | 10.2 |  | 6.4 | 8.8 | 865 | 152.9 | 9200 | 350 | 10700 | 3300 | 1000 | 900 | 26.46 | 20.79 | 24.57 | 18.9 | 62.37
Dubai at Jumeirah Beach | 2 | 7 | 2022 | 120.87 | 241 | 1184 | 323 | 410.3 | 410.3 | 301.22 | 59 | 3264.24 | 10962 | 1071.84 | 6090 | 20072.64 | 7113.12 | 6382.32 | 5797.68 | 3800.16 | 7892.64 | 2500 | 69200 | 66700 | 141.75 | 113.4 | 0 | 195 | 37.8 | 32.13 | 11.34 | 18.9 | 17.01 | 39.69 | 6 | 7 | 14 | 17 | 3 | 8 | 3 | 11 | 7 | 4 | 5 | 13.3 |  | 9.2 | 12.3 | 1367 | 203.1 | 13600 | 470 | 16200 | 5200 | 1300 | 1290 | 26.46 | 22.68 | 20.79 | 24.57 | 56.7
Dubai at Jumeirah Beach | 3 | 7 | 2022 | 90.06 | 177 | 839 | 439 | 404.7 | 404.7 | 299.73 | 120 | 2192.4 | 3166.8 | 487.2 | 25383.12 | 8769.6 | 3995.04 | 3166.8 | 2825.76 | 2289.84 | 3751.44 | 0 | 72200 | 67700 | 260.82 | 143.64 | 0 | 284 | 49.14 | 32.13 | 7.56 | 20.79 | 30.24 | 35.91 | 4 | 6 | 7 | 17 | 3 | 8 | 3 | 11 | 6 | 3 | 6 | 6.2 |  | 4.6 | 6.6 | 620 | 103.6 | 7200 | 270 | 8600 | 2700 | 800 | 510 | 24.57 | 20.79 | 28.35 | 20.79 | 69.93
Dubai at Jumeirah Beach | 4 | 7 | 2022 | 125.61 | 192 | 923 | 315 | 363 | 363 | 317.72 | 57 | 2923.2 | 4628.4 | 730.8 | 15298.08 | 13836.48 | 5164.32 | 4774.56 | 4287.36 | 2289.84 | 6138.72 | 0 | 70900 | 65100 | 192.78 | 124.74 | 0 | 232 | 39.69 | 30.24 | 11.34 | 18.9 | 13.23 | 32.13 | 7 | 7 | 7 | 18 | 3 | 8 | 3 | 11 | 7 | 5 | 18 | 9.8 |  | 6.3 | 6.7 | 865 | 102.1 | 1800 | 400 | 18600 | 4100 | 100 | 260 | 13.23 | 17.01 | 24.57 | 17.01 | 56.7
Dubai at Jumeirah Beach | 5 | 7 | 2022 | 139.83 | 202 | 868 | 356 | 291 | 291 | 309.98 | 54 | 2923.2 | 4628.4 | 730.8 | 15980.16 | 14421.12 | 5797.68 | 5164.32 | 4384.8 | 2874.48 | 5651.52 | 0 | 72900 | 68500 | 198.45 | 134.19 | 0 | 238 | 43.47 | 34.02 | 11.34 | 22.68 | 22.68 | 37.8 | 8 | 9 | 13 | 10 | 10 | 5 | 23 | 7 | 12 | 5 | 12 | 8.7 |  | 7.2 | 10.4 | 833 | 202.9 | 16300 | 300 | 3700 | 3200 | 2100 | 1250 | 13.23 | 15.12 | 24.57 | 15.12 | 52.92
Dubai at Jumeirah Beach | 6 | 7 | 2022 | 125.61 | 212 | 959 | 383 | 326 | 326 | 304.05 | 55 | 3069.36 | 4872 | 487.2 | 14080.08 | 11985.12 | 5456.64 | 4677.12 | 4433.52 | 2825.76 | 5554.08 | 0 | 65100 | 57600 | 196.56 | 107.73 | 0 | 234 | 37.8 | 32.13 | 11.34 | 17.01 | 28.35 | 35.91 | 2 | 5 | 9 | 13 | 4 | 6 | 4 | 8 | 6 | 4 | 12 | 8.3 |  | 6.4 | 7.9 | 826 | 145.3 | 7300 | 340 | 10800 | 3200 | 900 | 970 | 32.13 | 22.68 | 15.12 | 17.01 | 56.7
Dubai at Jumeirah Beach | 7 | 7 | 2022 | 104.28 | 200 | 1050 | 406 | 410 | 410 | 293.88 | 21 | 2971.92 | 4872 | 341.04 | 14177.52 | 11741.52 | 5602.8 | 4872 | 4628.4 | 2777.04 | 5651.52 | 0 | 64700 | 59200 | 194.67 | 132.3 | 0 | 232 | 37.8 | 32.13 | 9.45 | 22.68 | 24.57 | 43.47 | 5 | 7 | 9 | 13 | 3 | 6 | 7 | 8 | 6 | 4 | 18 | 9 |  | 6.7 | 8.3 | 833 | 154.2 | 8200 | 370 | 11200 | 3600 | 1100 | 1060 | 22.68 | 18.9 | 26.46 | 17.01 | 56.7
Dubai at Jumeirah Beach | 8 | 7 | 2022 | 144.57 | 224 | 916 | 302 | 354.9 | 354.9 | 273.27 | 24 | 2971.92 | 4725.84 | 389.76 | 13933.92 | 11351.76 | 5846.4 | 4774.56 | 3946.32 | 2679.6 | 5895.12 | 0 | 62800 | 56000 | 200.6046 | 144.5094 | 0 | 239 | 41.58 | 34.02 | 13.23 | 20.79 | 24.57 | 30.24 | 5 | 2 | 11 | 16 | 7 | 16 | 10 | 12 | 11 | 2 | 18 | 9.2 |  | 6.9 | 9.6 | 875 | 153.6 | 8800 | 290 | 12500 | 3700 | 800 | 520 | 24.57 | 18.9 | 22.68 | 17.01 | 60.48
Dubai at Jumeirah Beach | 9 | 7 | 2022 | 130.35 | 258 | 904.5 | 343 | 390.1 | 390.1 | 283.54 | 51 | 3069.36 | 4579.68 | 14567.28 | 10279.92 | 1218 | 5602.8 | 4774.56 | 4336.08 | 2582.16 | 5943.84 | 69200 | 55200 | 3100 | 190.6254 | 135.2106 | 0 | 228 | 37.8 | 28.35 | 9.45 | 17.01 | 11.34 | 28.35 | 5 | 4 | 11 | 13 | 7 | 6 | 9 | 11 | 10 | 3 | 19 | 9.3 |  | 6.9 | 10 | 1004 | 154 | 5900 | 340 | 5000 | 2100 | 800 | 1220 | 24.57 | 22.68 | 22.68 | 28.35 | 69.93
Dubai at Jumeirah Beach | 10 | 7 | 2022 | 144.57 | 276 | 927.5 | 352 | 390 | 390 | 293.22 | 49 | 3361.68 | 4725.84 | 15054.48 | 10377.36 | 730.8 | 5797.68 | 4969.44 | 4384.8 | 2582.16 | 6041.28 | 71600 | 56200 | 0 | 196.56 | 124.74 | 0 | 235 | 39.69 | 28.35 | 11.34 | 22.68 | 11.34 | 24.57 | 4 | 3 | 11 | 13 | 8 | 6 | 10 | 8 | 10 | 3 | 18 | 9.3 |  | 6.8 | 9.7 | 1107 | 151.9 | 8000 | 350 | 10300 | 2900 | 900 | 980 | 26.46 | 24.57 | 24.57 | 22.68 | 71.82
Dubai at Jumeirah Beach | 11 | 7 | 2022 | 203.82 | 300 | 946 | 344 | 368 | 368 | 274.06 | 48 | 3069.36 | 4725.84 | 13933.92 | 8867.04 | 779.52 | 5554.08 | 4872 | 4384.8 | 2679.6 | 5651.52 | 67300 | 50500 | 0 | 196.56 | 109.62 | 0 | 235 | 39.69 | 30.24 | 11.34 | 22.68 | 22.68 | 24.57 | 3 | 5 | 3 | 13 | 2 | 6 | 10 | 6 | 10 | 3 | 9 | 8.7 |  | 6.8 | 9 | 978 | 154.1 | 7500 | 360 | 10000 | 3300 | 1200 | 1010 | 26.46 | 18.9 | 24.57 | 22.68 | 68.04
Dubai at Jumeirah Beach | 12 | 7 | 2022 | 203.82 | 318 | 926 | 332.6 | 398 | 398 | 280.56 | 46 | 3069.36 | 4774.56 | 15541.68 | 12082.56 | 730.8 | 5554.08 | 4482.24 | 4238.64 | 2192.4 | 5895.12 | 72200 | 63600 | 0 | 196.56 | 128.52 | 0 | 236 | 45.36 | 30.24 | 11.34 | 17.01 | 22.68 | 24.57 | 4 | 6 | 4 | 13 | 4 | 7 | 6 | 8 | 10 | 5 | 10 | 8.8 |  | 6.7 | 8.4 | 886 | 149.3 | 9100 | 320 | 10800 | 3300 | 1200 | 880 | 20.79 | 18.9 | 22.68 | 15.12 | 56.7
Dubai at Jumeirah Beach | 13 | 7 | 2022 | 213.3 | 318 | 988 | 351.4 | 370 | 370 | 306.02 | 56 | 3215.52 | 4774.56 | 16369.92 | 12521.04 | 779.52 | 5651.52 | 4969.44 | 4433.52 | 2679.6 | 5554.08 | 76100 | 64200 | 0 | 198.45 | 103.95 | 0 | 236 | 37.8 | 32.13 | 11.34 | 20.79 | 20.79 | 28.35 | 3 | 5 | 27 | 22 | 1 | 8 | 2 | 21 | 7 | 12 | 10 | 9.3 |  | 7.1 | 8.5 | 851 | 156.8 | 10500 | 380 | 12600 | 3900 | 1200 | 1030 | 26.46 | 20.79 | 28.35 | 13.23 | 60.48
Dubai at Jumeirah Beach | 14 | 7 | 2022 |  | 268
Dubai at Jumeirah Beach | 15 | 7 | 2022
Dubai at Jumeirah Beach | 16 | 7 | 2022
Dubai at Jumeirah Beach | 17 | 7 | 2022
Dubai at Jumeirah Beach | 18 | 7 | 2022
Dubai at Jumeirah Beach | 19 | 7 | 2022
Dubai at Jumeirah Beach | 20 | 7 | 2022
Dubai at Jumeirah Beach | 21 | 7 | 2022
Dubai at Jumeirah Beach | 22 | 7 | 2022
Dubai at Jumeirah Beach | 23 | 7 | 2022
Dubai at Jumeirah Beach | 24 | 7 | 2022
Dubai at Jumeirah Beach | 25 | 7 | 2022
Dubai at Jumeirah Beach | 26 | 7 | 2022
Dubai at Jumeirah Beach | 27 | 7 | 2022
Dubai at Jumeirah Beach | 28 | 7 | 2022
Dubai at Jumeirah Beach | 29 | 7 | 2022
Dubai at Jumeirah Beach | 30 | 7 | 2022
Dubai at Jumeirah Beach | 31 | 7 | 2022

## DJB Daily Readings
Daily Water Consumption July 2020 | [18 empty] | Electricity Daily Consumption July 2020 | [29 empty] | Chiller BTU Meter Reading July 2020 | [20 empty] | Lpg Daily Consumption July 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading July 2020 | [11 empty] | F & B Village Chilled Water Reading July 2020 | [11 empty] | F & B Village Daily Lpg Reading July 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 54% | 167250 | 928 | 787 | 177623 | 404 | 300 | 164625 | 0 | 869912 | 370 | 212354 | 172 | 79687.31 | 288.05 | 249.69 | 2564 | 50 | 7717589.04 | 5992.56 | 3507.84 | 14710614.24 | 9744 | 4384.8 | 14578777.92 | 40145.28 | 876.96 | 17688088.32 | 5797.68 | 9013.2 | 17982649.44 | 39804.24 | 12082.56 | 16647526.56 | 16028.88 | 5359.2 | 14057376.48 | 14762.16 | 4677.12 | 13561796.64 | 13349.28 | 4141.2 | 10704027.6 | 8769.6 | 4092.48 | 16809861.6 | 5943.84 | 6041.28 | 72371000 | 62400 | 0 | 75119000 | 0 | 42800 | 69379500 | 66900 | 62900 | [10 empty] | 8988710 | 7810 | 63% | 16% | 2% | 60901 | 21 | 52376 | 17 | 17806 | 6 | 23929 | 10 | 26293 | 10 | 58691 | 19 | 254919 | 106 | 97.31 | 202177 | 73 | 81 | 349824 | 0 | 0 | 664975 | 240 | 7893 | 7 | 5208 | 6 | 30400 | 18 | 30693 | 14 | 20493 | 8 | 23139 | 3 | 5595 | 11 | 8487 | 3 | 2703 | 4 | 5073 | 7 | 28734 | 21 | 4960.5 | 10.2 | 9860.2 | 9.5 | 3714.8 | 6.4 | 4117.9 | 8.8 | 1008154 | 865 | 207646.2 | 152.9 | 11268100 | 9200 | 882410 | 350 | 6753600 | 3300 | 2356800 | 1000 | 1135140 | 900 | 15245300 | 10700 | 40481 | 14 | 34965 | 11 | 5914 | 10 | 57173 | 13 | 44069 | 33
2020-01-01 | 59% | 168178 |  |  | 178027 |  |  | 164625 |  | 870282 |  | 212526 |  | 79975.36 |  |  | 2614 |  | 7723581.6 |  |  | 14720358.24 |  |  | 14618923.2 |  |  | 17693886 |  |  | 18022453.68 |  |  | 16663555.44 |  |  | 14072138.64 |  |  | 13575145.92 |  |  | 10712797.2 |  |  | 16815805.44 |  |  | 72433400 |  |  | 75119000 |  |  | 69446400 | [12 empty] | 8996520 |  | 79% |  |  | 60922 |  | 52393 |  | 17812 |  | 23939 |  | 26303 |  | 58710 |  | 255025 |  |  | 202250 |  |  | 349824 |  |  | 665215 |  | 7900 |  | 5214 |  | 30418 |  | 30707 |  | 20501 |  | 23142 |  | 5606 |  | 8490 |  | 2707 |  | 5080 |  | 28755 |  | 4970.7 |  | 9869.7 |  | 3721.2 |  | 4126.7 |  | 1009019 |  | 207799.1 |  | 11277300 |  | 882760 |  | 6756900 |  | 2357800 |  | 1136040 |  | 15256000 |  | 40495 |  | 34976 |  | 5924 |  | 57186 |  | 44102
2020-01-02 | 51% | 169362 | 1184 | 608 | 178350 | 323 | 328 | 164625 | 0 | 870692.3 | 410.3 | 212731.2 | 205.2 | 80276.58 | 301.22 | 251.53 | 2673 | 59 | 7726845.84 | 3264.24 | 4141.2 | 14731320.24 | 10962 | 4336.08 | 14619995.04 | 1071.84 | 1071.84 | 17699976 | 6090 | 10620.96 | 18042526.32 | 20072.64 | 13105.68 | 16670668.56 | 7113.12 | 5310.48 | 14078520.96 | 6382.32 | 4725.84 | 13580943.6 | 3800.16 | 4238.64 | 10716597.36 | 3800.16 | 2825.76 | 16823698.08 | 7892.64 | 5943.84 | 72435900 | 2500 | 0 | 75188200 | 69200 | 48400 | 69513100 | 66700 | 66500 | [10 empty] | 9003080 | 6560 | 75% | 4% | -3% | 60942 | 20 | 52410 | 17 | 17818 | 6 | 23949 | 10 | 26312 | 9 | 58731 | 21 | 255100 | 75 | 91.69 | 202310 | 60 | 80 | 349824 | 0 | 0 | 665410 | 195 | 7907 | 7 | 5220 | 6 | 30435 | 17 | 30721 | 14 | 20509 | 8 | 23145 | 3 | 5617 | 11 | 8493 | 3 | 2711 | 4 | 5087 | 7 | 28760 | 5 | 4984 | 13.3 | 9882.8 | 13.1 | 3730.4 | 9.2 | 4139 | 12.3 | 1010386 | 1367 | 208002.2 | 203.1 | 11290900 | 13600 | 883230 | 470 | 6762100 | 5200 | 2359100 | 1300 | 1137330 | 1290 | 15272200 | 16200 | 40509 | 14 | 34988 | 12 | 5937 | 13 | 57197 | 11 | 44132 | 30
2020-01-03 | 38% | 170201 | 839 | 794 | 178789 | 439 | 338 | 164625 | 0 | 871097 | 404.7 | 213052 | 320.8 | 80576.31 | 299.73 | 272.59 | 2793 | 120 | 7729038.24 | 2192.4 | 3507.84 | 14734487.04 | 3166.8 | 4677.12 | 14620482.24 | 487.2 | 15541.68 | 17725359.12 | 25383.12 | 2192.4 | 18051295.92 | 8769.6 | 10669.68 | 16674663.6 | 3995.04 | 5407.92 | 14081687.76 | 3166.8 | 4823.28 | 13583769.36 | 2289.84 | 4287.36 | 10718887.2 | 2289.84 | 3751.44 | 16827449.52 | 3751.44 | 6138.72 | 72435900 | 0 | 68900 | 75260400 | 72200 | 2300 | 69580800 | 67700 | 57200 | [10 empty] | 9011170 | 8090 | 71% | 4% | 5% | 60968 | 26 | 52427 | 17 | 17822 | 4 | 23960 | 11 | 26328 | 16 | 58750 | 19 | 255238 | 138 | 95 | 202386 | 76 | 82 | 349824 | 0 | 0 | 665694 | 284 | 7913 | 6 | 5224 | 4 | 30452 | 17 | 30728 | 7 | 20517 | 8 | 23148 | 3 | 5628 | 11 | 8496 | 3 | 2714 | 3 | 5093 | 6 | 28766 | 6 | 4990.2 | 6.2 | 9889.8 | 7 | 3735 | 4.6 | 4145.6 | 6.6 | 1011006 | 620 | 208105.8 | 103.6 | 11298100 | 7200 | 883500 | 270 | 6764800 | 2700 | 2359900 | 800 | 1137840 | 510 | 15280800 | 8600 | 40522 | 13 | 34999 | 11 | 5948 | 11 | 57212 | 15 | 44169 | 37
2020-01-04 | 53% | 171124 | 923 | 743 | 179104 | 315 | 317 | 164625 | 0 | 871460 | 363 | 213291 | 239 | 80894.03 | 317.72 | 272 | 2850 | 57 | 7731961.44 | 2923.2 | 3410.4 | 14739115.44 | 4628.4 | 4189.92 | 14621213.04 | 730.8 | 13787.76 | 17740657.2 | 15298.08 | 1705.2 | 18065132.4 | 13836.48 | 8915.76 | 16679827.92 | 5164.32 | 5018.16 | 14086462.32 | 4774.56 | 5359.2 | 13588056.72 | 2289.84 | 3995.04 | 10721177.04 | 2289.84 | 3312.96 | 16833588.24 | 6138.72 | 5651.52 | 72435900 | 0 | 69300 | 75331300 | 70900 | 0 | 69645900 | 65100 | 45300 | [10 empty] | 9017900 | 6730 | 69% | 2% | 3% | 60989 | 21 | 52443 | 16 | 17828 | 6 | 23970 | 10 | 26335 | 7 | 58767 | 17 | 255340 | 102 | 99 | 202452 | 66 | 73 | 349824 | 0 | 0 | 665926 | 232 | 7920 | 7 | 5231 | 7 | 30470 | 18 | 30735 | 7 | 20525 | 8 | 23151 | 3 | 5639 | 11 | 8499 | 3 | 2719 | 5 | 5100 | 7 | 28784 | 18 | 5000 | 9.8 | 9898.3 | 8.5 | 3741.3 | 6.3 | 4152.3 | 6.7 | 1011871 | 865 | 208207.9 | 102.1 | 11299900 | 1800 | 883900 | 400 | 6768900 | 4100 | 2360000 | 100 | 1138100 | 260 | 15299400 | 18600 | 40529 | 7 | 35008 | 9 | 5957 | 9 | 57225 | 13 | 44199 | 30
2020-01-05 | 59% | 171992 | 868 | 780 | 179460 | 356 | 281 | 164625 | 0 | 871751 | 291 | 213427 | 136 | 81204.01 | 309.98 | 290 | 2904 | 54 | 7734884.64 | 2923.2 | 3654 | 14743743.84 | 4628.4 | 4287.36 | 14621943.84 | 730.8 | 13739.04 | 17756637.36 | 15980.16 | 1753.92 | 18079553.52 | 14421.12 | 9744 | 16685625.6 | 5797.68 | 5261.76 | 14091626.64 | 5164.32 | 3312.96 | 13592441.52 | 2874.48 | 3897.6 | 10724051.52 | 2874.48 | 3166.8 | 16839239.76 | 5651.52 | 5554.08 | 72435900 | 0 | 67400 | 75404200 | 72900 | 0 | 69714400 | 68500 | 52100 | [10 empty] | 9025220 | 7320 | 80% | -11% | 2% | 61012 | 23 | 52461 | 18 | 17834 | 6 | 23982 | 12 | 26347 | 12 | 58787 | 20 | 255445 | 105 | 94 | 202523 | 71 | 80 | 349824 | 0 | 0 | 666164 | 238 | 7929 | 9 | 5239 | 8 | 30480 | 10 | 30748 | 13 | 20530 | 5 | 23161 | 10 | 5646 | 7 | 8522 | 23 | 2724 | 5 | 5112 | 12 | 28796 | 12 | 5008.7 | 8.7 | 9907.3 | 9 | 3748.5 | 7.2 | 4162.7 | 10.4 | 1012704 | 833 | 208410.8 | 202.9 | 11316200 | 16300 | 884200 | 300 | 6772100 | 3200 | 2362100 | 2100 | 1139350 | 1250 | 15303100 | 3700 | 40536 | 7 | 35016 | 8 | 5965 | 8 | 57238 | 13 | 44227 | 28
2020-01-06 | 53% | 172951 | 959 | 704 | 179843 | 383 | 266 | 164625 | 0 | 872077 | 326 | 213639 | 212 | 81508.06 | 304.05 | 280.97 | 2959 | 55 | 7737954 | 3069.36 | 3215.52 | 14748615.84 | 4872 | 4189.92 | 14622431.04 | 487.2 | 13739.04 | 17770717.44 | 14080.08 | 1705.2 | 18091538.64 | 11985.12 | 8720.88 | 16691082.24 | 5456.64 | 5164.32 | 14096303.76 | 4677.12 | 4043.76 | 13596875.04 | 2825.76 | 3897.6 | 10726877.28 | 2825.76 | 3069.36 | 16844793.84 | 5554.08 | 5992.56 | 72435900 | 0 | 68100 | 75469300 | 65100 | 0 | 69772000 | 57600 | 48700 | [10 empty] | 9032400 | 7180 | 69% | 11% | -2% | 61032 | 20 | 52478 | 17 | 17840 | 6 | 23991 | 9 | 26362 | 15 | 58806 | 19 | 255549 | 104 | 94 | 202580 | 57 | 71 | 349824 | 0 | 0 | 666398 | 234 | 7934 | 5 | 5241 | 2 | 30493 | 13 | 30757 | 9 | 20536 | 6 | 23165 | 4 | 5654 | 8 | 8526 | 4 | 2728 | 4 | 5118 | 6 | 28808 | 12 | 5017 | 8.3 | 9916.6 | 9.3 | 3754.9 | 6.4 | 4170.6 | 7.9 | 1013530 | 826 | 208556.1 | 145.3 | 11323500 | 7300 | 884540 | 340 | 6775300 | 3200 | 2363000 | 900 | 1140320 | 970 | 15313900 | 10800 | 40553 | 17 | 35028 | 12 | 5974 | 9 | 57246 | 8 | 44257 | 30
2020-01-07 | 44% | 174001 | 1050 | 594 | 180249 | 406 | 296 | 164625 | 0 | 872487 | 410 | 213915 | 276 | 81801.94 | 293.88 | 245.13 | 2980 | 21 | 7740925.92 | 2971.92 | 3410.4 | 14753487.84 | 4872 | 4336.08 | 14622772.08 | 341.04 | 13836.48 | 17784894.96 | 14177.52 | 1169.28 | 18103280.16 | 11741.52 | 8331.12 | 16696685.04 | 5602.8 | 5359.2 | 14101175.76 | 4872 | 4336.08 | 13601503.44 | 2777.04 | 3800.16 | 10729654.32 | 2777.04 | 3264.24 | 16850445.36 | 5651.52 | 6041.28 | 72435900 | 0 | 67600 | 75534000 | 64700 | 100 | 69831200 | 59200 | 42800 | [10 empty] | 9040680 | 8280 | 74% | -5% | 2% | 61052 | 20 | 52495 | 17 | 17845 | 5 | 24003 | 12 | 26375 | 13 | 58829 | 23 | 255652 | 103 | 94 | 202650 | 70 | 71 | 349824 | 0 | 0 | 666630 | 232 | 7941 | 7 | 5246 | 5 | 30506 | 13 | 30766 | 9 | 20542 | 6 | 23168 | 3 | 5662 | 8 | 8533 | 7 | 2732 | 4 | 5124 | 6 | 28826 | 18 | 5026 | 9 | 9926 | 9.4 | 3761.6 | 6.7 | 4178.9 | 8.3 | 1014363 | 833 | 208710.3 | 154.2 | 11331700 | 8200 | 884910 | 370 | 6778900 | 3600 | 2364100 | 1100 | 1141380 | 1060 | 15325100 | 11200 | 40565 | 12 | 35038 | 10 | 5983 | 9 | 57260 | 14 | 44287 | 30
2020-01-08 | 61% | 174917 | 916 | 925 | 180551 | 302 | 306 | 164625 | 0 | 872841.9 | 354.9 | 214196 | 281 | 82075.21 | 273.27 | 258.63 | 3004 | 24 | 7743897.84 | 2971.92 | 2143.68 | 14758213.68 | 4725.84 | 4530.96 | 14623161.84 | 389.76 | 12667.2 | 17798828.88 | 13933.92 | 1705.2 | 18114631.92 | 11351.76 | 7356.72 | 16702531.44 | 5846.4 | 5261.76 | 14105950.32 | 4774.56 | 4530.96 | 13605449.76 | 2679.6 | 3946.32 | 10732333.92 | 2679.6 | 3361.68 | 16856340.48 | 5895.12 | 5992.56 | 72435900 | 0 | 67000 | 75596800 | 62800 | 1600 | 69887200 | 56000 | 36800 | [10 empty] | 9047660 | 6980 | 70% | 4% | -8% | 61074 | 22 | 52513 | 18 | 17852 | 7 | 24014 | 11 | 26388 | 13 | 58845 | 16 | 255758.14 | 106.14 | 99 | 202726.46 | 76.46 | 74 | 349824 | 0 | 0 | 666869 | 239 | 7943 | 2 | 5251 | 5 | 30522 | 16 | 30777 | 11 | 20558 | 16 | 23175 | 7 | 5674 | 12 | 8543 | 10 | 2734 | 2 | 5135 | 11 | 28844 | 18 | 5035.2 | 9.2 | 9935.6 | 9.6 | 3768.5 | 6.9 | 4188.5 | 9.6 | 1015238 | 875 | 208863.9 | 153.6 | 11340500 | 8800 | 885200 | 290 | 6782600 | 3700 | 2364900 | 800 | 1141900 | 520 | 15337600 | 12500 | 40578 | 13 | 35048 | 10 | 5992 | 9 | 57272 | 12 | 44319 | 32
2020-01-09 | 55% | 175821.5 | 904.5 | 597 | 180894 | 343 | 303 | 164625 | 0 | 873232 | 390.1 | 214397 | 201 | 82358.75 | 283.54 | 249.27 | 3055 | 51 | 7746967.2 | 3069.36 | 1997.52 | 14762793.36 | 4579.68 | 4141.2 | 14637729.12 | 14567.28 | 3657 | 17809108.8 | 10279.92 | 1559.04 | 18115849.92 | 1218 | 8720.88 | 16708134.24 | 5602.8 | 5213.04 | 14110724.88 | 4774.56 | 4287.36 | 13609785.84 | 2582.16 | 3702.72 | 10734916.08 | 2582.16 | 2777.04 | 16862284.32 | 5943.84 | 5700.24 | 72505100 | 69200 | 72100 | 75652000 | 55200 | 0 | 69890300 | 3100 | 42000 | [10 empty] | 9055000 | 7340 | 79% | -9% | 0% | 61094 | 20 | 52528 | 15 | 17857 | 5 | 24023 | 9 | 26394 | 6 | 58860 | 15 | 255859 | 100.86 | 94 | 202798 | 71.54 | 74 | 349824 | 0 | 0 | 667097 | 228 | 7947 | 4 | 5256 | 5 | 30535 | 13 | 30788 | 11 | 20564 | 6 | 23182 | 7 | 5685 | 11 | 8552 | 9 | 2737 | 3 | 5145 | 10 | 28863 | 19 | 5044.5 | 9.3 | 9944.9 | 9.3 | 3775.4 | 6.9 | 4198.5 | 10 | 1016242 | 1004 | 209017.9 | 154 | 11346400 | 5900 | 885540 | 340 | 6784700 | 2100 | 2365700 | 800 | 1143120 | 1220 | 15342600 | 5000 | 40591 | 13 | 35060 | 12 | 6007 | 15 | 57284 | 12 | 44356 | 37
2020-01-10 | 61% | 176749 | 927.5 | 687 | 181246 | 352 | 292 | 164625 | 0 | 873622 | 390 | 214647 | 250 | 82651.97 | 293.22 | 254.02 | 3104 | 49 | 7750328.88 | 3361.68 | 2241.12 | 14767519.2 | 4725.84 | 4384.8 | 14652783.6 | 15054.48 | 7941.36 | 17819486.16 | 10377.36 | 12374.88 | 18116580.72 | 730.8 | 1315.44 | 16713931.92 | 5797.68 | 5213.04 | 14115694.32 | 4969.44 | 4482.24 | 13614170.64 | 2582.16 | 3897.6 | 10737498.24 | 2582.16 | 3069.36 | 16868325.6 | 6041.28 | 5651.52 | 72576700 | 71600 | 43700 | 75708200 | 56200 | 55800 | 69890300 | 0 | 0 | [10 empty] | 9062090 | 7090 | 74% | 5% | 4% | 61115 | 21 | 52543 | 15 | 17863 | 6 | 24035 | 12 | 26400 | 6 | 58873 | 13 | 255963 | 104 | 95 | 202864 | 66 | 72 | 349824 | 0 | 0 | 667332 | 235 | 7950 | 3 | 5260 | 4 | 30548 | 13 | 30799 | 11 | 20570 | 6 | 23190 | 8 | 5693 | 8 | 8562 | 10 | 2740 | 3 | 5155 | 10 | 28881 | 18 | 5053.8 | 9.3 | 9955.2 | 10.3 | 3782.2 | 6.8 | 4208.2 | 9.7 | 1017349 | 1107 | 209169.8 | 151.9 | 11354400 | 8000 | 885890 | 350 | 6787600 | 2900 | 2366600 | 900 | 1144100 | 980 | 15352900 | 10300 | 40605 | 14 | 35073 | 13 | 6019 | 12 | 57297 | 13 | 44394 | 38
2020-01-11 | 86% | 177695 | 946 | 711 | 181590 | 344 | 284 | 164625 | 0 | 873990 | 368 | 214890 | 243 | 82926.03 | 274.06 | 264.17 | 3152 | 48 | 7753398.24 | 3069.36 | 2094.96 | 14772245.04 | 4725.84 | 4677.12 | 14666717.52 | 13933.92 | 9549.12 | 17828353.2 | 8867.04 | 13690.32 | 18117360.24 | 779.52 | 1607.76 | 16719486 | 5554.08 | 5261.76 | 14120566.32 | 4872 | 4774.56 | 13618555.44 | 2679.6 | 4092.48 | 10740177.84 | 2679.6 | 3361.68 | 16873977.12 | 5651.52 | 6090 | 72644000 | 67300 | 49900 | 75758700 | 50500 | 61500 | 69890300 | 0 | 0 | [10 empty] | 9069200 | 7110 | 70% | 4% | 1% | 61136 | 21 | 52559 | 16 | 17869 | 6 | 24047 | 12 | 26412 | 12 | 58886 | 13 | 256067 | 104 | 99 | 202922 | 58 | 71 | 349824 | 0 | 0 | 667567 | 235 | 7955 | 5 | 5263 | 3 | 30561 | 13 | 30802 | 3 | 20576 | 6 | 23192 | 2 | 5699 | 6 | 8572 | 10 | 2743 | 3 | 5165 | 10 | 28890 | 9 | 5062.5 | 8.7 | 9965.2 | 10 | 3789 | 6.8 | 4217.2 | 9 | 1018327 | 978 | 209323.9 | 154.1 | 11361900 | 7500 | 886250 | 360 | 6790900 | 3300 | 2367800 | 1200 | 1145110 | 1010 | 15362900 | 10000 | 40619 | 14 | 35083 | 10 | 6031 | 12 | 57310 | 13 | 44430 | 36
2020-01-12 | 86% | 178621 | 926 | 747 | 181922.6 | 332.6 | 269 | 164625 | 0 | 874388 | 398 | 215147 | 257 | 83206.59 | 280.56 | 283.95 | 3198 | 46 | 7756467.6 | 3069.36 | 2046.24 | 14777019.6 | 4774.56 | 4579.68 | 14682259.2 | 15541.68 | 10864.56 | 17840435.76 | 12082.56 | 14080.08 | 18118091.04 | 730.8 | 1559.04 | 16725040.08 | 5554.08 | 5018.16 | 14125048.56 | 4482.24 | 4530.96 | 13622794.08 | 2192.4 | 3848.88 | 10742370.24 | 2192.4 | 3215.52 | 16879872.24 | 5895.12 | 6333.6 | 72716200 | 72200 | 55400 | 75822300 | 63600 | 65500 | 69890300 | 0 | 0 | [10 empty] | 9076340 | 7140 | 80% | -10% | -8% | 61160 | 24 | 52575 | 16 | 17875 | 6 | 24056 | 9 | 26424 | 12 | 58899 | 13 | 256171 | 104 | 94 | 202990 | 68 | 70 | 349824 | 0 | 0 | 667803 | 236 | 7961 | 6 | 5267 | 4 | 30574 | 13 | 30806 | 4 | 20583 | 7 | 23196 | 4 | 5707 | 8 | 8578 | 6 | 2748 | 5 | 5175 | 10 | 28900 | 10 | 5071.3 | 8.8 | 9974.9 | 9.7 | 3795.7 | 6.7 | 4225.6 | 8.4 | 1019213 | 886 | 209473.2 | 149.3 | 11371000 | 9100 | 886570 | 320 | 6794200 | 3300 | 2369000 | 1200 | 1145990 | 880 | 15373700 | 10800 | 40630 | 11 | 35093 | 10 | 6039 | 8 | 57322 | 12 | 44460 | 30
2020-01-13 | 90% | 179609 | 988 | 722 | 182274 | 351.4 | 272 | 164625 | 0 | 874758 | 370 | 215415 | 268 | 83512.61 | 306.02 | 289 | 3254 | 56 | 7759683.12 | 3215.52 | 2192.4 | 14781794.16 | 4774.56 | 4482.24 | 14698629.12 | 16369.92 | 9646.56 | 17852956.8 | 12521.04 | 12959.52 | 18118870.56 | 779.52 | 1510.32 | 16730691.6 | 5651.52 | 4969.44 | 14130018 | 4969.44 | 4336.08 | 13627227.6 | 2679.6 | 3800.16 | 10745049.84 | 2679.6 | 3069.36 | 16885426.32 | 5554.08 | 6041.28 | 72792300 | 76100 | 53300 | 75886500 | 64200 | 62800 | 69890300 | 0 | 0 | [10 empty] | 9083420 | 7080 | 76% | 4% | 6% | 61180 | 20 | 52592 | 17 | 17881 | 6 | 24067 | 11 | 26435 | 11 | 58914 | 15 | 256276 | 105 | 97 | 203045 | 55 | 73 | 349824 | 0 | 0 | 668039 | 236 | 7966 | 5 | 5270 | 3 | 30596 | 22 | 30833 | 27 | 20591 | 8 | 23197 | 1 | 5728 | 21 | 8580 | 2 | 2760 | 12 | 5182 | 7 | 28910 | 10 | 5080.6 | 9.3 | 9984.5 | 9.6 | 3802.8 | 7.1 | 4234.1 | 8.5 | 1020064 | 851 | 209630 | 156.8 | 11381500 | 10500 | 886950 | 380 | 6798100 | 3900 | 2370200 | 1200 | 1147020 | 1030 | 15386300 | 12600 | 40644 | 14 | 35104 | 11 | 6046 | 7 | 57337 | 15 | 44492 | 32
2020-01-14 | 0% | 0 | -179609 | 849 | 0 | -182274 | 282 | 0 | -164625 | 0 | -874758 | 0 | -215415 | 0 | -83512.61 | 284.42 | 0 | -3254 | 0 | -7759683.12 | 2046.24 | 0 | -14781794.16 | 4189.92 | 0 | -14698629.12 | 10328.64 | 0 | -17852956.8 | 13300.56 | 0 | -18118870.56 | 1412.88 | 0 | -16730691.6 | 4920.72 | 0 | -14130018 | 4384.8 | 0 | -10745049.84 | 3654 | 0 | -10745049.84 | 3020.64 | 0 | -16885426.32 | 5943.84 | 0 | -72792300 | 56100 | 0 | -75886500 | 65300 | 0 | -69890300 | 0 | [10 empty] | 0 | -9083420 | 0% | 76% | -7% | 0 | -61180 | 0 | -52592 | 0 | -17881 | 0 | -24067 | 0 | -26435 | 0 | -58914 | 0 | -256276 | 90.9 | 0 | -203045 | 73 | 0 | -349824 | 0 | 0 | -668039 | 0 | -7966 | 0 | -5270 | 0 | -30596 | 0 | -30833 | 0 | -20591 | 0 | -23197 | 0 | -5728 | 0 | -8580 | 0 | -2760 | 0 | -5182 | 0 | -28910 | 0 | -5080.6 | 0 | -9984.5 | 0 | -3802.8 | 0 | -4234.1 | 0 | -1020064 | 0 | -209630 | 0 | -11381500 | 0 | -886950 | 0 | -6798100 | 0 | -2370200 | 0 | -1147020 | 0 | -15386300 | 0 | -40644 | 0 | -35104 | 0 | -6046 | 0 | -57337 | 0 | -44492
2020-01-15 | 0% | 0 | 0 | 844 | 0 | 0 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 275.44 | 0 | 0 | 0 | 0 | 2241.12 | 0 | 0 | 4579.68 | 0 | 0 | 8915.76 | 0 | 0 | 12326.16 | 0 | 0 | 1461.6 | 0 | 0 | 5164.32 | 0 | 0 | 4628.4 | 0 | 0 | 3751.44 | 0 | 0 | 3166.8 | 0 | 0 | 6479.76 | 0 | 0 | 50000 | 0 | 0 | 59500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.1 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 745 | 0 | 0 | 292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.87 | 0 | 0 | 0 | 0 | 2289.84 | 0 | 0 | 4725.84 | 0 | 0 | 8623.44 | 0 | 0 | 12374.88 | 0 | 0 | 1510.32 | 0 | 0 | 5115.6 | 0 | 0 | 4579.68 | 0 | 0 | 3946.32 | 0 | 0 | 3605.28 | 0 | 0 | 6284.88 | 0 | 0 | 48500 | 0 | 0 | 58400 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 742 | 0 | 0 | 276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234.49 | 0 | 0 | 0 | 0 | 3312.96 | 0 | 0 | 4628.4 | 0 | 0 | 11449.2 | 0 | 0 | 1607.76 | 0 | 0 | 9646.56 | 0 | 0 | 5213.04 | 0 | 0 | 4482.24 | 0 | 0 | 3751.44 | 0 | 0 | 3410.4 | 0 | 0 | 6479.76 | 0 | 0 | 55800 | 0 | 0 | 8700 | 0 | 0 | 39800 | [10 empty] | 0 | 0 | 0% | 0% | 3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 914 | 0 | 0 | 273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.24 | 0 | 0 | 0 | 0 | 3020.64 | 0 | 0 | 4287.36 | 0 | 0 | 5992.56 | 0 | 0 | 7015.68 | 0 | 0 | 10474.8 | 0 | 0 | 5164.32 | 0 | 0 | 4238.64 | 0 | 0 | 3751.44 | 0 | 0 | 3069.36 | 0 | 0 | 6090 | 0 | 0 | 31400 | 0 | 0 | 34000 | 0 | 0 | 40100 | [10 empty] | 0 | 0 | 0% | 0% | -7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 806 | 0 | 0 | 258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 286.1 | 0 | 0 | 0 | 0 | 2728.32 | 0 | 0 | 4530.96 | 0 | 0 | 876.96 | 0 | 0 | 9646.56 | 0 | 0 | 14031.36 | 0 | 0 | 4628.4 | 0 | 0 | 3995.04 | 0 | 0 | 3556.56 | 0 | 0 | 2533.44 | 0 | 0 | 5943.84 | 0 | 0 | 0 | 0 | 0 | 50800 | 0 | 0 | 62600 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 761 | 0 | 0 | 287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.16 | 0 | 0 | 0 | 0 | 2630.88 | 0 | 0 | 4092.48 | 0 | 0 | 876.96 | 0 | 0 | 10133.76 | 0 | 0 | 14957.04 | 0 | 0 | 4920.72 | 0 | 0 | 4141.2 | 0 | 0 | 3702.72 | 0 | 0 | 2777.04 | 0 | 0 | 6382.32 | 0 | 0 | 0 | 0 | 0 | 51500 | 0 | 0 | 64500 | [10 empty] | 0 | 0 | 0% | 0% | 3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 619 | 0 | 0 | 302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.24 | 0 | 0 | 0 | 0 | 3312.96 | 0 | 0 | 4141.2 | 0 | 0 | 730.8 | 0 | 0 | 9987.6 | 0 | 0 | 14372.4 | 0 | 0 | 5018.16 | 0 | 0 | 4141.2 | 0 | 0 | 3654 | 0 | 0 | 2923.2 | 0 | 0 | 6236.16 | 0 | 0 | 0 | 0 | 0 | 51100 | 0 | 0 | 63300 | [10 empty] | 0 | 0 | 0% | 0% | -9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 616 | 0 | 0 | 336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230.57 | 0 | 0 | 0 | 0 | 3166.8 | 0 | 0 | 4189.92 | 0 | 0 | 779.52 | 0 | 0 | 8379.84 | 0 | 0 | 14323.68 | 0 | 0 | 4920.72 | 0 | 0 | 4141.2 | 0 | 0 | 3897.6 | 0 | 0 | 2825.76 | 0 | 0 | 6382.32 | 0 | 0 | 0 | 0 | 0 | 44800 | 0 | 0 | 63700 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 595 | 0 | 0 | 344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.97 | 0 | 0 | 0 | 0 | 2533.44 | 0 | 0 | 4238.64 | 0 | 0 | 876.96 | 0 | 0 | 8818.32 | 0 | 0 | 14518.56 | 0 | 0 | 5066.88 | 0 | 0 | 4189.92 | 0 | 0 | 3995.04 | 0 | 0 | 3215.52 | 0 | 0 | 6479.76 | 0 | 0 | 0 | 0 | 0 | 46600 | 0 | 0 | 61700 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 594 | 0 | 0 | 310 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 242.9 | 0 | 0 | 0 | 0 | 3848.88 | 0 | 0 | 4482.24 | 0 | 0 | 13787.76 | 0 | 0 | 730.8 | 0 | 0 | 7941.36 | 0 | 0 | 4628.4 | 0 | 0 | 3800.16 | 0 | 0 | 3507.84 | 0 | 0 | 2484.72 | 0 | 0 | 5115.6 | 0 | 0 | 64600 | 0 | 0 | 0 | 0 | 0 | 46700 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 835 | 0 | 0 | 293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.15 | 0 | 0 | 0 | 0 | 3848.88 | 0 | 0 | 4043.76 | 0 | 0 | 13251.84 | 0 | 0 | 1071.84 | 0 | 0 | 7551.6 | 0 | 0 | 4677.12 | 0 | 0 | 3946.32 | 0 | 0 | 3556.56 | 0 | 0 | 2679.6 | 0 | 0 | 5846.4 | 0 | 0 | 64600 | 0 | 0 | 0 | 0 | 0 | 43700 | [10 empty] | 0 | 0 | 0% | 0% | -10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 760 | 0 | 0 | 276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 244.25 | 0 | 0 | 0 | 0 | 3946.32 | 0 | 0 | 4433.52 | 0 | 0 | 13398 | 0 | 0 | 1120.56 | 0 | 0 | 7697.76 | 0 | 0 | 4774.56 | 0 | 0 | 4043.76 | 0 | 0 | 3605.28 | 0 | 0 | 2436 | 0 | 0 | 6041.28 | 0 | 0 | 66700 | 0 | 0 | 0 | 0 | 0 | 40600 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 798 | 0 | 0 | 328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 228.58 | 0 | 0 | 0 | 0 | 4043.76 | 0 | 0 | 4336.08 | 0 | 0 | 14518.56 | 0 | 0 | 1169.28 | 0 | 0 | 8379.84 | 0 | 0 | 4969.44 | 0 | 0 | 4141.2 | 0 | 0 | 3800.16 | 0 | 0 | 2582.16 | 0 | 0 | 6284.88 | 0 | 0 | 70400 | 0 | 0 | 0 | 0 | 0 | 44500 | [10 empty] | 0 | 0 | 0% | 0% | 3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 694 | 0 | 0 | 334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 227.17 | 0 | 0 | 0 | 0 | 3897.6 | 0 | 0 | 3995.04 | 0 | 0 | 12959.52 | 0 | 0 | 1023.12 | 0 | 0 | 7649.04 | 0 | 0 | 4677.12 | 0 | 0 | 4043.76 | 0 | 0 | 3556.56 | 0 | 0 | 2630.88 | 0 | 0 | 5943.84 | 0 | 0 | 68100 | 0 | 0 | 0 | 0 | 0 | 41400 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 795 | 0 | 0 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 239.27 | 0 | 0 | 0 | 0 | 3507.84 | 0 | 0 | 4530.96 | 0 | 0 | 12959.52 | 0 | 0 | 11010.72 | 0 | 0 | 3166.8 | 0 | 0 | 4969.44 | 0 | 0 | 4238.64 | 0 | 0 | 3848.88 | 0 | 0 | 3312.96 | 0 | 0 | 6577.2 | 0 | 0 | 60300 | 0 | 0 | 48400 | 0 | 0 | 13800 | [10 empty] | 0 | 0 | 0% | 0% | 2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 668 | 0 | 0 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 253.16 | 0 | 0 | 0 | 0 | 2874.48 | 0 | 0 | 3946.32 | 0 | 0 | 12033.84 | 0 | 0 | 12521.04 | 0 | 0 | 535.92 | 0 | 0 | 4579.68 | 0 | 0 | 3702.72 | 0 | 0 | 3410.4 | 0 | 0 | 2143.68 | 0 | 0 | 6041.28 | 0 | 0 | 56600 | 0 | 0 | 64400 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 778 | 0 | 0 | 330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 259.98 | 0 | 0 | 0 | 0 | 1906-10-19 17:17 | 0 | 0 | 1912-02-19 12:29 | 0 | 0 | 1936-01-05 09:36 | 0 | 0 | 1940-02-23 17:17 | 0 | 0 | 1902-12-06 20:10 | 0 | 0 | 1913-06-20 17:17 | 0 | 0 | 1911-06-20 22:05 | 0 | 0 | 1910-09-01 14:24 | 0 | 0 | 1908-12-07 05:46 | 0 | 0 | 5407.92 | 0 | 0 | 59100 | 0 | 0 | 67600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption July 2018 | [18 empty] | Electricity Daily Consumption July 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption July 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
July Reading 2017 two weeks |  | 11092 |  |  | 4494 | [8 empty] | 4020.81 |  |  |  |  | 41850.48 |  |  | 65966.88 |  |  | 146163 |  |  | 110155.92 |  |  | 96514.32 |  |  | 77903.28 |  |  | 67233.6 |  |  | 58951.2 |  |  | 48525.12 |  |  | 89596.08 |  |  | 788800 |  |  | 465600 |  |  | 454300 | [29 empty] | 1426 |  |  | 1121 |  |  | 0
July Reading 2018 two weeks |  | -167250 |  |  | -177623 | [8 empty] | -79687.31 |  |  |  |  | -7717589.04 |  |  | -14710614.24 |  |  | -14578777.92 |  |  | -17688088.32 |  |  | -17982649.44 |  |  | -16647526.56 |  |  | -14057376.48 |  |  | -10699447.92 |  |  | -10704027.6 |  |  | -16809861.6 |  |  | -72371000 |  |  | -75119000 |  |  | -69379500 | [29 empty] | -254919 |  |  | -202177 |  |  | -349824 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 73159800 |  |  | -75584600 |  |  | -69833800
July Reading 2017 Monthly |  | 22034 |  |  | 9085 |  |  | 7048.9 |  | 7702.2 |  |  |  | 7624.93 |  |  | 476 |  | 90814.08 |  |  | 130569.6 |  |  | 269278.44 |  |  | 206767.68 |  |  | 233271.36 |  |  | 151226.88 |  |  | 129059.28 |  |  | 114492 |  |  | 91155.12 |  |  | 181725.6 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2810 |  |  | 2206 |  |  | 0 |  |  | 3894 | [14 empty] | 487.2
July Reading 2018 Monthly |  | -168178 |  |  | -177623 |  |  | -164625 |  | -869912 |  |  |  | -79687.31 |  |  | -2564 |  | -7717589.04 |  |  | -14710614.24 |  |  | -14578777.92 |  |  | -17688088.32 |  |  | -17982649.44 |  |  | -16647526.56 |  |  | -14057376.48 |  |  | -10699447.92 |  |  | -10704027.6 |  |  | -16809861.6 |  |  | -72371000 |  |  | -75119000 |  |  | -69379500 | [12 empty] | -8988710 |  |  |  |  | -60901 |  | -52376 |  | -17806 |  | -23929 |  | -26293 |  | -58691 |  | -254919 |  |  | -202177 |  |  | -349824 |  |  | -664975
Difference |  | 190212 |  |  | 186708 |  |  | 171673.9 |  | 877614.2 |  |  |  | 87312.24 |  |  | 3040 |  | -7808403.12 |  |  | 14841183.84 |  |  | 14848056.36 |  |  | 17894856 |  |  | 18215920.8 |  |  | 16798753.44 |  |  | 14186435.76 |  |  | 10813939.92 |  |  | 10795182.72 |  |  | 16991587.2 |  |  | -72718300 |  |  | -75480100 |  |  | -69938342 | [29 empty] | 257729 |  |  | 204383 |  |  | 349824 |  |  | 668869
Total Monthly Electrical Kwh | [18 empty] | July 2017 Kwh | [5 empty] | 1598360.04 | [5 empty] | July 2018 Kwh | [5 empty] | -141595959.12 | [5 empty] | Saving Kwh |  |  | 143194319.16 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | July 2017 Kwh two weeks | [5 empty] | 802859.88 | [5 empty] | July 2018 Kwh two weeks | [5 empty] | -141595959.12 | [5 empty] | Saving Kwh |  |  | 142398819 |  |  | 1267242 |  |  | -216869500 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]July - 2022'!AE40
Daily Consumption Kwh 2018 = '[1]July - 2022'!AF40
Daily Consumption Kwh 2018 = '[1]July - 2022'!AI40
Daily Consumption Kwh 2017 = '[1]July - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]July - 2022'!AJ40
EMDB-2 Elevators = '[1]July - 2022'!AH40
MDB-1 Chiller # 1 = '[1]July - 2022'!AK40
MDB-2 Chiller # 2 = '[1]July - 2022'!AN40
MDB-3 Chiller # 3 = '[1]July - 2022'!AQ40
MDB-4 North Riser Guest Rooms = '[1]July - 2022'!AT40
MDB-5 North Riser Guest Rooms = '[1]July - 2022'!AW40
MDB-6 Main Kitchen = '[1]July - 2022'!AZ40
MDB-7 South Riser Guest Rooms = '[1]July - 2022'!BC40
MDB-8 F & B = '[1]July - 2022'!BF40
Reading M³ = '[1]July - 2022'!BZ40
Daily consumption M³ December-2017 = '[1]July - 2022'!CA40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill