## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 8 | 2022 | 43019.76 | 0.44448 | 249.48 | 3.5 | 900 | 13.83 | 284 | 1.2 | 120.87 | 231
Dubai at Jumeirah Beach | 2 | 8 | 2022 | 51156 | 0.44448 | 309.96 | 3.5 | 931 | 13.83 | 347 | 1.2 | 120.87 | 224
Dubai at Jumeirah Beach | 3 | 8 | 2022 | 55394.64 | 0.44448 | 308.07 | 3.5 | 900 | 13.83 | 392 | 1.2 | 123.24 | 228
Dubai at Jumeirah Beach | 4 | 8 | 2022 | 55930.56 | 0.44448 | 326.97 | 3.5 | 843 | 13.83 | 293 | 1.2 | 130.35 | 266
Dubai at Jumeirah Beach | 5 | 8 | 2022 | 52812.48 | 0.44448 | 302.4 | 3.5 | 888 | 13.83 | 343 | 1.2 | 154.05 | 307
Dubai at Jumeirah Beach | 6 | 8 | 2022 | 54030.48 | 0.44448 | 287.28 | 3.5 | 984 | 13.83 | 341 | 1.2 | 139.83 | 263
Dubai at Jumeirah Beach | 7 | 8 | 2022 | 53202.24 | 0.44448 | 285.39 | 3.5 | 856 | 13.83 | 401 | 1.2 | 127.98 | 246
Dubai at Jumeirah Beach | 8 | 8 | 2022 | 56125.44 | 0.44448 | 302.4 | 3.5 | 944 | 13.83 | 386 | 1.2 | 135.09 | 264
Dubai at Jumeirah Beach | 9 | 8 | 2022 | 53250.96 | 0.44448 | 387.45 | 3.5 | 927 | 13.83 | 362 | 1.2 | 142.2 | 283
Dubai at Jumeirah Beach | 10 | 8 | 2022 | 50230.32 | 0.44448 | 298.62 | 3.5 | 941 | 13.83 | 376 | 1.2 | 144.57 | 281
Dubai at Jumeirah Beach | 11 | 8 | 2022 | 56222.88 | 0.44448 | 289.17 | 3.5 | 906 | 13.83 | 368 | 1.2 | 158.79 | 304
Dubai at Jumeirah Beach | 12 | 8 | 2022 | 49889.28 | 0.44448 | 260.82 | 3.5 | 1003 | 13.83 | 391 | 1.2 | 165.9 | 321
Dubai at Jumeirah Beach | 13 | 8 | 2022 | 48525.12 | 0.44448 | 328.86 | 3.5 | 964 | 13.83 | 403 | 1.2 | 151.68 | 309
Dubai at Jumeirah Beach | 14 | 8 | 2022 | 53592 | 0.44448 | 287.28 | 3.5 | 916 | 13.83 | 370 | 1.2 | 135.09 | 286
Dubai at Jumeirah Beach | 15 | 8 | 2022 | 48817.44 | 0.44448 | 249.48 | 3.5 | 890 | 13.83 | 366 | 1.2 | 125.61 | 258
Dubai at Jumeirah Beach | 16 | 8 | 2022 | 53299.68 | 0.44448 | 298.62 | 3.5 | 925 | 13.83 | 251 | 1.2 | 137.46 | 276
Dubai at Jumeirah Beach | 17 | 8 | 2022 | 52471.44 | 0.44448 | 266.49 | 3.5 | 812 | 13.83 | 329 | 1.2 | 146.94 | 298
Dubai at Jumeirah Beach | 18 | 8 | 2022 | 52958.64 | 0.44448 | 274.05 | 3.5 | 829 | 13.83 | 390 | 1.2 | 144.57 | 347
Dubai at Jumeirah Beach | 19 | 8 | 2022 | 50863.68 | 0.44448 | 274.05 | 3.5 | 1040 | 13.83 | 391 | 1.2 | 146.94 | 313
Dubai at Jumeirah Beach | 20 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 377
Dubai at Jumeirah Beach | 21 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 8 | 2022 | 0 | 0.44448 | 0 | 3.5 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Note on I27: Kriselda De Grano: New meter used.

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 8 | 2022 | 120.87 | 231 | 900 | 253 | 284 | 284 | 256.65 | 38 | 2387.28 | 3995.04 | 584.64 | 9597.84 | 8574.72 | 4482.24 | 3702.72 | 3702.72 | 2143.68 | 3848.88 | 0 | 57300 | 44900 | 164.43 | 85.05 | 0 | 195 | 35.91 | 30.24 | 11.34 | 17.01 | 18.9 | 0 | 3 | 2 | 1 | 0 | 3 | 6 | 7 | 5 | 7 | 3 | 0 | 1.4 |  | 6 | 7.4 | 768 | 155 | 1100 | 280 | 8800 | 2800 | 900 | 850 | 0 | 17.01 | 18.9 | 13.23 | 58.59
Dubai at Jumeirah Beach | 2 | 8 | 2022 | 120.87 | 224 | 931 | 360 | 347 | 347 | 268 | 37 | 2971.92 | 4628.4 | 730.8 | 11156.88 | 11059.44 | 5115.6 | 4043.76 | 4482.24 | 2484.72 | 4482.24 | 0 | 59200 | 49800 | 190.89 | 119.07 | 0 | 225 | 35.91 | 37.8 | 9.45 | 17.01 | 28.35 | 0 | 3 | 2 | 1 | 0 | 3 | 6 | 6 | 4 | 6 | 3 | 57 | 1.3 |  | 6.1 | 8 | 806 | 150.4 | 1500 | 340 | 10900 | 3400 | 1000 | 1030 | 0 | 17.01 | 18.9 | 15.12 | 62.37
Dubai at Jumeirah Beach | 3 | 8 | 2022 | 123.24 | 228 | 900 | 349 | 392 | 392 | 276 | 43 | 3118.08 | 5213.04 | 974.4 | 12082.56 | 12813.36 | 5359.2 | 4189.92 | 4628.4 | 2484.72 | 4530.96 | 0 | 61900 | 55700 | 190.89 | 117.18 | 0 | 226 | 32.13 | 37.8 | 7.56 | 22.68 | 28.35 | 0 | 3 | 2 | 1 | 0 | 3 | 6 | 6 | 4 | 6 | 3 | 10 | 1.4 |  | 6.8 | 8.2 | 846 | 161.1 | 1300 | 230 | 10900 | 3200 | 900 | 980 | 0 | 20.79 | 26.46 | 13.23 | 69.93
Dubai at Jumeirah Beach | 4 | 8 | 2022 | 130.35 | 266 | 843 | 323 | 293 | 293 | 288 | 45 | 3312.96 | 4823.28 | 925.68 | 12862.08 | 13349.28 | 5310.48 | 3995.04 | 4238.64 | 2484.72 | 4628.4 | 0 | 65000 | 59000 | 189 | 137.97 | 0 | 225 | 34.02 | 39.69 | 7.56 | 20.79 | 22.68 | 0 | 3 | 2 | 0 | 0 | 3 | 6 | 6 | 4 | 6 | 3 | 9 | 0.7 |  | 6.4 | 8.5 | 793 | 147.7 | 800 | 440 | 12000 | 3600 | 1000 | 1060 | 0 | 18.9 | 22.68 | 17.01 | 54.81
Dubai at Jumeirah Beach | 5 | 8 | 2022 | 154.05 | 307 | 888 | 336 | 343 | 343 | 273 | 30 | 2874.48 | 4384.8 | 1120.56 | 11985.12 | 12326.16 | 5115.6 | 3800.16 | 4482.24 | 2338.56 | 4384.8 | 0 | 63300 | 56500 | 185.22 | 117.18 | 0 | 220 | 35.91 | 41.58 | 5.67 | 13.23 | 22.68 | 0 | 3 | 2 | 1 | 0 | 3 | 6 | 6 | 4 | 6 | 3 | 0 | 0.7 |  | 6.6 | 9.7 | 746 | 151.3 | 500 | 320 | 11300 | 3400 | 1000 | 1050 | 0 | 20.79 | 24.57 | 24.57 | 64.26
Dubai at Jumeirah Beach | 6 | 8 | 2022 | 139.83 | 263 | 984 | 332 | 341 | 341 | 287 | 36 | 3020.64 | 4579.68 | 14469.84 | 10036.32 | 487.2 | 5359.2 | 4238.64 | 4579.68 | 2630.88 | 4628.4 | 66200 | 49100 | 1900 | 190.89 | 96.39 | 0 | 225 | 35.91 | 37.8 | 7.56 | 20.79 | 24.57 | 0 | 3 | 2 | 0 | 0 | 3 | 6 | 6 | 2 | 6 | 3 | 0 | 1.1 |  | 6.7 | 8.8 | 751 | 136.1 | 1400 | 360 | 11300 | 3500 | 1300 | 1160 | 0 | 18.9 | 22.68 | 22.68 | 64.26
Dubai at Jumeirah Beach | 7 | 8 | 2022 | 127.98 | 246 | 856 | 288 | 401 | 401 | 293 | 35 | 2971.92 | 4482.24 | 15054.48 | 9841.44 | 292.32 | 5213.04 | 4043.76 | 4336.08 | 2484.72 | 4482.24 | 69900 | 50500 | 0 | 187.11 | 98.28 | 0 | 218 | 35.91 | 37.8 | 7.56 | 18.9 | 24.57 | 0 | 8 | 15 | 4 | 0 | 14 | 15 | 6 | 3 | 18 | 8 | 0 | 1.3 |  | 6.8 | 8.6 | 759 | 102.2 | 1400 | 340 | 11200 | 3500 | 1500 | 1150 | 0 | 20.79 | 18.9 | 20.79 | 58.59
Dubai at Jumeirah Beach | 8 | 8 | 2022 | 135.09 | 264 | 944 | 334 | 386 | 386 | 289 | 30 | 2923.2 | 4677.12 | 14762.16 | 9061.92 | 292.32 | 5359.2 | 4043.76 | 4579.68 | 5992.56 | 4433.52 | 70800 | 46600 | 0 | 173.88 | 128.52 | 0 | 189 | 34.02 | 35.91 | 9.45 | 17.01 | 22.68 | 0 | 3 | 2 | 3 | 0 | 5 | 7 | 6 | 2 | 7 | 4 | 0 | 1.4 |  | 6.5 | 7.7 | 730 | 102.1 | 800 | 300 | 9900 | 3100 | 1400 | 1000 | 0 | 18.9 | 17.01 | 13.23 | 56.7
Dubai at Jumeirah Beach | 9 | 8 | 2022 | 142.2 | 283 | 927 | 327 | 362 | 362 | 278 | 41 | 2728.32 | 4677.12 | 15444.24 | 10864.56 | 438.48 | 5213.04 | 4141.2 | 4287.36 | 779.52 | 4677.12 | 69400 | 52800 | 0 | 196.56 | 190.89 | 0 | 247 | 34.02 | 39.69 | 9.45 | 22.68 | 26.46 | 0 | 3 | 2 | 2 | 0 | 5 | 12 | 6 | 2 | 4 | 3 | 0 | 1.5 |  | 6.5 | 7.9 | 767 | 102.7 | 1900 | 340 | 12200 | 3700 | 1400 | 1130 | 0 | 18.9 | 22.68 | 13.23 | 56.7
Dubai at Jumeirah Beach | 10 | 8 | 2022 | 144.57 | 281 | 941 | 320 | 376 | 376 | 272 | 47 | 2971.92 | 4579.68 | 15054.48 | 7843.92 | 389.76 | 5261.76 | 4043.76 | 4530.96 | 974.4 | 4579.68 | 70900 | 50700 | 0 | 190.89 | 107.73 | 0 | 245 | 34.02 | 35.91 | 5.67 | 18.9 | 24.57 | 0 | 4 | 3 | 2 | 0 | 6 | 9 | 6 | 3 | 4 | 4 | 0 | 1.4 |  | 7.1 | 8.9 | 760 | 105 | 1300 | 360 | 11400 | 3700 | 1400 | 1080 | 0 | 20.79 | 22.68 | 15.12 | 66.15
Dubai at Jumeirah Beach | 11 | 8 | 2022 | 158.79 | 304 | 906 | 334 | 368 | 368 | 281 | 41 | 2874.48 | 4579.68 | 15054.48 | 12521.04 | 438.48 | 5018.16 | 3995.04 | 4384.8 | 2679.6 | 4677.12 | 69800 | 54300 | 0 | 190.89 | 98.28 | 0 | 240 | 30.24 | 37.8 | 9.45 | 20.79 | 26.46 | 0 | 4 | 3 | 1 | 0 | 6 | 8 | 6 | 3 | 4 | 4 | 0 | 1.3 |  | 6.7 | 8.4 | 694 | 102.3 | 1300 | 340 | 12100 | 3600 | 1200 | 1140 | 0 | 18.9 | 18.9 | 15.12 | 56.7
Dubai at Jumeirah Beach | 12 | 8 | 2022 | 165.9 | 321 | 1003 | 397 | 391 | 391 | 266 | 27 | 2777.04 | 4579.68 | 14226.24 | 7015.68 | 341.04 | 5213.04 | 4043.76 | 4433.52 | 2679.6 | 4579.68 | 69500 | 36900 | 0 | 189 | 71.82 | 0 | 240 | 32.13 | 35.91 | 9.45 | 17.01 | 24.57 | 0 | 4 | 3 | 2 | 0 | 6 | 8 | 6 | 3 | 4 | 4 | 0 | 1.3 |  | 6.8 | 8.9 | 777 | 106 | 1200 | 320 | 9500 | 3200 | 1200 | 1070 | 0 | 22.68 | 22.68 | 22.68 | 62.37
Dubai at Jumeirah Beach | 13 | 8 | 2022 | 151.68 | 309 | 964 | 359 | 403 | 403 | 243 | 45 | 1851.36 | 4823.28 | 6820.8 | 1705.2 | 12374.88 | 5310.48 | 3800.16 | 4482.24 | 2777.04 | 4579.68 | 34400 | 1700 | 58500 | 149.31 | 179.55 | 0 | 176 | 34.02 | 39.69 | 7.56 | 18.9 | 20.79 | 0 | 4 | 3 | 2 | 0 | 6 | 9 | 6 | 3 | 4 | 4 | 0 | 1.4 |  | 6.5 | 9 | 775 | 103 | 1200 | 310 | 8000 | 2900 | 1100 | 1010 | 0 | 20.79 | 22.68 | 24.57 | 62.37
Dubai at Jumeirah Beach | 14 | 8 | 2022 | 135.09 | 286 | 916 | 297 | 370 | 370 | 263 | 17 | 1900.08 | 4823.28 | 10182.48 | 1607.76 | 13690.32 | 5651.52 | 4189.92 | 4530.96 | 2582.16 | 4433.52 | 50700 | 0 | 60900 | 139.86 | 147.42 | 0 | 169 | 35.91 | 35.91 | 5.67 | 18.9 | 28.35 | 0 | 4 | 3 | 2 | 0 | 1 | 7 | 6 | 3 | 4 | 4 | 0 | 1.4 |  | 7.3 | 7.8 | 754 | 152.9 | 1400 | 320 | 10900 | 3300 | 1100 | 1200 | 0 | 22.68 | 15.12 | 22.68 | 62.37
Dubai at Jumeirah Beach | 15 | 8 | 2022 | 125.61 | 258 | 890 | 304 | 366 | 366 | 243 | 20 | 1607.76 | 4482.24 | 8672.16 | 1607.76 | 12423.6 | 5261.76 | 3897.6 | 4287.36 | 2582.16 | 3995.04 | 46200 | 0 | 57000 | 137.97 | 111.51 | 0 | 164 | 41.58 | 34.02 | 9.45 | 20.79 | 18.9 | 0 | 1 | 10 | 4 | 0 | 1 | 1 | 50 | 72 | 27 | 3 | 0 | 1.4 |  | 6.7 | 5.6 | 720 | 153.8 | 1500 | 340 | 10900 | 3400 | 1000 | 1180 | 0 | 18.9 | 17.01 | 15.12 | 52.92
Dubai at Jumeirah Beach | 16 | 8 | 2022 | 137.46 | 276 | 925 | 342 | 251 | 251 | 273 | 37 | 1705.2 | 4579.68 | 11010.72 | 1705.2 | 13446.72 | 5359.2 | 4092.48 | 4482.24 | 2777.04 | 4141.2 | 56100 | 0 | 61600 | 141.75 | 156.87 | 0 | 171 | 43.47 | 35.91 | 3.78 | 18.9 | 26.46 | 0 | 1 | 3 | 1 | 0 | 1 | 2 | 6 | 10 | 11 | 2 | 0 | 1.7 |  | 6.6 | 5.3 | 684 | 150.9 | 1500 | 340 | 11100 | 3600 | 1100 | 1190 | 0 | 20.79 | 17.01 | 13.23 | 64.26
Dubai at Jumeirah Beach | 17 | 8 | 2022 | 146.94 | 298 | 812 | 314 | 329 | 329 | 252 | 28 | 1900.08 | 4579.68 | 10279.92 | 1705.2 | 13495.44 | 5456.64 | 3946.32 | 4482.24 | 2777.04 | 3848.88 | 52900 | 0 | 60500 | 141.75 | 124.74 | 0 | 170 | 45.36 | 37.8 | 9.45 | 17.01 | 26.46 | 0 | 4 | 3 | 1 | 0 | 8 | 13 | 10 | 4 | 4 | 5 | 123 | 0.7 |  | 6.4 | 5.3 | 724 | 148.3 | 900 | 330 | 11700 | 3200 | 1100 | 1120 | 0 | 18.9 | 17.01 | 15.12 | 58.59
Dubai at Jumeirah Beach | 18 | 8 | 2022 | 144.57 | 347 | 829 | 319 | 390 | 390 | 264 | 18 | 2046.24 | 4725.84 | 10182.48 | 1656.48 | 13495.44 | 5359.2 | 3897.6 | 4579.68 | 2728.32 | 4287.36 | 52500 | 0 | 62800 | 139.86 | 134.19 | 0 | 167 | 45.36 | 37.8 | 9.45 | 20.79 | 26.46 | 0 | 5 | 6 | 1 | 0 | 4 | 8 | 8 | 7 | 6 | 4 | 99 | 1.4 |  | 6.6 | 6.9 | 760 | 154.1 | 1200 | 300 | 10200 | 3000 | 1100 | 1000 | 0 | 20.79 | 20.79 | 17.01 | 62.37
Dubai at Jumeirah Beach | 19 | 8 | 2022 | 146.94 | 313 | 1040 | 356 | 391 | 391 | 254 | 24 | 1900.08 | 4482.24 | 9110.64 | 1656.48 | 13300.56 | 5261.76 | 3654 | 4384.8 | 2728.32 | 4384.8 | 49200 | 0 | 58800 | 139.86 | 134.19 | 0 | 167 | 41.58 | 32.13 | 7.56 | 20.79 | 20.79 | 0 | 5 | 7 | 1 | 0 | 6 | 8 | 10 | 8 | 8 | 3 | 64 | 1.4 |  | 7 | 8.3 | 817 | 161.8 | 1300 | 340 | 10600 | 3100 | 1000 | 1100 | 0 | 18.9 | 20.79 | 20.79 | 64.26
Dubai at Jumeirah Beach | 20 | 8 | 2022 |  | 377
Dubai at Jumeirah Beach | 21 | 8 | 2022
Dubai at Jumeirah Beach | 22 | 8 | 2022
Dubai at Jumeirah Beach | 23 | 8 | 2022
Dubai at Jumeirah Beach | 24 | 8 | 2022
Dubai at Jumeirah Beach | 25 | 8 | 2022
Dubai at Jumeirah Beach | 26 | 8 | 2022
Dubai at Jumeirah Beach | 27 | 8 | 2022
Dubai at Jumeirah Beach | 28 | 8 | 2022
Dubai at Jumeirah Beach | 29 | 8 | 2022
Dubai at Jumeirah Beach | 30 | 8 | 2022
Dubai at Jumeirah Beach | 31 | 8 | 2022

## DJB Daily Readings
Daily Water Consumption August 2020 | [18 empty] | Electricity Daily Consumption August 2020 | [29 empty] | Chiller BTU Meter Reading August 2020 | [20 empty] | Lpg Daily Consumption August 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading August 2020 | [11 empty] | F & B Village Chilled Water Reading August 2020 | [11 empty] | F & B Village Daily Lpg Reading August 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 62% | 194644 | 900 | 756 | 187994 | 253 | 293 | 164625 | 0 | 880634 | 284 | 218625 | 382 | 88634.35 | 256.65 | 219.02 | 4164 | 38 | 7806454.32 | 2387.28 | 2387.28 | 14869197.84 | 3995.04 | 3995.04 | 14888247.36 | 584.64 | 584.64 | 17965889.76 | 9597.84 | 9597.84 | 18276090 | 8574.72 | 8574.72 | 16829252.16 | 4482.24 | 4482.24 | 14214060 | 3702.72 | 3702.72 | 13707713.04 | 3702.72 | 3702.72 | 10792356.96 | 2143.68 | 2143.68 | 16976386.56 | 3848.88 | 3848.88 | 73718500 | 0 | 0 | 76393300 | 57300 | 57300 | 70591700 | 44900 | 44900 | [10 empty] | 9207320 | 5560 | 80% | -2% | 2% | 61564 | 19 | 52922 | 16 | 17984 | 6 | 24268 | 9 | 26659 | 10 | 59232 | 0 | 258104 | 87 | 87 | 204200 | 45 | 45 | 349825 | 0 | 0 | 672109 | 195 | 8053 | 2 | 5350 | 3 | 30708 | 0 | 30917 | 1 | 20724 | 6 | 23270 | 3 | 5882 | 5 | 8720 | 7 | 2829 | 3 | 5328 | 7 | 29205 | 0 | 5158.2 | 1.4 | 10152.5 | 7.6 | 3920.3 | 6 | 4388 | 7.4 | 1034894 | 768 | 212400 | 155 | 11455600 | 1100 | 892950 | 280 | 6856300 | 2800 | 2388600 | 900 | 1163960 | 850 | 15585400 | 8800 | 40716 | 0 | 35293 | 9 | 6211 | 0 | 57561 | 10 | 45078 | 31
2020-01-01 | 51% | 195544 |  |  | 188247 |  |  | 164625 |  | 880918 |  | 219007 |  | 88891 |  |  | 4202 |  | 7808841.6 |  |  | 14873192.88 |  |  | 14888832 |  |  | 17975487.6 |  |  | 18284664.72 |  |  | 16833734.4 |  |  | 14217762.72 |  |  | 13711415.76 |  |  | 10794500.64 |  |  | 16980235.44 |  |  | 73718500 |  |  | 76450600 |  |  | 70636600 | [12 empty] | 9212880 |  | 78% |  |  | 61583 |  | 52938 |  | 17990 |  | 24277 |  | 26669 |  | 59232 |  | 258191 |  |  | 204245 |  |  | 349825 |  |  | 672304 |  | 8055 |  | 5353 |  | 30708 |  | 30918 |  | 20730 |  | 23273 |  | 5887 |  | 8727 |  | 2832 |  | 5335 |  | 29205 |  | 5159.6 |  | 10160.1 |  | 3926.3 |  | 4395.4 |  | 1035662 |  | 212555 |  | 11456700 |  | 893230 |  | 6859100 |  | 2389500 |  | 1164810 |  | 15594200 |  | 40716 |  | 35302 |  | 6218 |  | 57571 |  | 45109
2020-01-02 | 51% | 196475 | 931 | 681 | 188607 | 360 | 294 | 164625 | 0 | 881265 | 347 | 219234 | 227 | 89159 | 268 | 210.63 | 4239 | 37 | 7811813.52 | 2971.92 | 2971.92 | 14877821.28 | 4628.4 | 4628.4 | 14889562.8 | 730.8 | 730.8 | 17986644.48 | 11156.88 | 11156.88 | 18295724.16 | 11059.44 | 11059.44 | 16838850 | 5115.6 | 5115.6 | 14221806.48 | 4043.76 | 4043.76 | 13715898 | 4482.24 | 4482.24 | 10796985.36 | 2484.72 | 2484.72 | 16984717.68 | 4482.24 | 4482.24 | 73718500 | 0 | 0 | 76509800 | 59200 | 59200 | 70686400 | 49800 | 49800 | [10 empty] | 9220070 | 7190 | 73% | 5% | 5% | 61602 | 19 | 52958 | 20 | 17995 | 5 | 24286 | 9 | 26684 | 15 | 59232 | 0 | 258292 | 101 | 101 | 204308 | 63 | 63 | 349825 | 0 | 0 | 672529 | 225 | 8057 | 2 | 5356 | 3 | 30708 | 0 | 30919 | 1 | 20736 | 6 | 23276 | 3 | 5891 | 4 | 8733 | 6 | 2835 | 3 | 5341 | 6 | 29262 | 57 | 5160.9 | 1.3 | 10169.2 | 9.1 | 3932.4 | 6.1 | 4403.4 | 8 | 1036468 | 806 | 212705.4 | 150.4 | 11458200 | 1500 | 893570 | 340 | 6862500 | 3400 | 2390500 | 1000 | 1165840 | 1030 | 15605100 | 10900 | 40716 | 0 | 35311 | 9 | 6226 | 8 | 57581 | 10 | 45142 | 33
2020-01-03 | 52% | 197375 | 900 | 730 | 188956 | 349 | 303 | 164625 | 0 | 881657 | 392 | 219476 | 242 | 89435 | 276 | 204.98 | 4282 | 43 | 7814931.6 | 3118.08 | 3118.08 | 14883034.32 | 5213.04 | 5213.04 | 14890537.2 | 974.4 | 974.4 | 17998727.04 | 12082.56 | 12082.56 | 18308537.52 | 12813.36 | 12813.36 | 16844209.2 | 5359.2 | 5359.2 | 14225996.4 | 4189.92 | 4189.92 | 13720526.4 | 4628.4 | 4628.4 | 10799470.08 | 2484.72 | 2484.72 | 16989248.64 | 4530.96 | 4530.96 | 73718500 | 0 | 0 | 76571700 | 61900 | 61900 | 70742100 | 55700 | 55700 | [10 empty] | 9226540 | 6470 | 70% | 3% | 3% | 61619 | 17 | 52978 | 20 | 17999 | 4 | 24298 | 12 | 26699 | 15 | 59232 | 0 | 258393 | 101 | 101 | 204370 | 62 | 62 | 349825 | 0 | 0 | 672755 | 226 | 8059 | 2 | 5359 | 3 | 30708 | 0 | 30920 | 1 | 20742 | 6 | 23279 | 3 | 5895 | 4 | 8739 | 6 | 2838 | 3 | 5347 | 6 | 29272 | 10 | 5162.3 | 1.4 | 10178.5 | 9.3 | 3939.2 | 6.8 | 4411.6 | 8.2 | 1037314 | 846 | 212866.5 | 161.1 | 11459500 | 1300 | 893800 | 230 | 6865700 | 3200 | 2391400 | 900 | 1166820 | 980 | 15616000 | 10900 | 40716 | 0 | 35322 | 11 | 6233 | 7 | 57595 | 14 | 45179 | 37
2020-01-04 | 55% | 198218 | 843 | 693 | 189279 | 323 | 321 | 164625 | 0 | 881950 | 293 | 219659 | 183 | 89723 | 288 | 234.38 | 4327 | 45 | 7818244.56 | 3312.96 | 3312.96 | 14887857.6 | 4823.28 | 4823.28 | 14891462.88 | 925.68 | 925.68 | 18011589.12 | 12862.08 | 12862.08 | 18321886.8 | 13349.28 | 13349.28 | 16849519.68 | 5310.48 | 5310.48 | 14229991.44 | 3995.04 | 3995.04 | 13724765.04 | 4238.64 | 4238.64 | 10801954.8 | 2484.72 | 2484.72 | 16993877.04 | 4628.4 | 4628.4 | 73718500 | 0 | 0 | 76636700 | 65000 | 65000 | 70801100 | 59000 | 59000 | [10 empty] | 9232800 | 6260 | 80% | -10% | -10% | 61637 | 18 | 52999 | 21 | 18003 | 4 | 24309 | 11 | 26711 | 12 | 59232 | 0 | 258493 | 100 | 100 | 204443 | 73 | 73 | 349825 | 0 | 0 | 672980 | 225 | 8061 | 2 | 5362 | 3 | 30708 | 0 | 30920 | 0 | 20748 | 6 | 23282 | 3 | 5899 | 4 | 8745 | 6 | 2841 | 3 | 5353 | 6 | 29281 | 9 | 5163 | 0.7 | 10187.6 | 9.1 | 3945.6 | 6.4 | 4420.1 | 8.5 | 1038107 | 793 | 213014.2 | 147.7 | 11460300 | 800 | 894240 | 440 | 6869300 | 3600 | 2392400 | 1000 | 1167880 | 1060 | 15628000 | 12000 | 40716 | 0 | 35332 | 10 | 6242 | 9 | 57607 | 12 | 45208 | 29
2020-01-05 | 65% | 199106 | 888 | 612 | 189615 | 336 | 346 | 164625 | 0 | 882293 | 343 | 219862 | 203 | 89996 | 273 | 243.22 | 4357 | 30 | 7821119.04 | 2874.48 | 2874.48 | 14892242.4 | 4384.8 | 4384.8 | 14892583.44 | 1120.56 | 1120.56 | 18023574.24 | 11985.12 | 11985.12 | 18334212.96 | 12326.16 | 12326.16 | 16854635.28 | 5115.6 | 5115.6 | 14233791.6 | 3800.16 | 3800.16 | 13729247.28 | 4482.24 | 4482.24 | 10804293.36 | 2338.56 | 2338.56 | 16998261.84 | 4384.8 | 4384.8 | 73718500 | 0 | 0 | 76700000 | 63300 | 63300 | 70857600 | 56500 | 56500 | [10 empty] | 9239530 | 6730 | 78% | 2% | 2% | 61656 | 19 | 53021 | 22 | 18006 | 3 | 24316 | 7 | 26723 | 12 | 59232 | 0 | 258591 | 98 | 98 | 204505 | 62 | 62 | 349825 | 0 | 0 | 673200 | 220 | 8063 | 2 | 5365 | 3 | 30708 | 0 | 30921 | 1 | 20754 | 6 | 23285 | 3 | 5903 | 4 | 8751 | 6 | 2844 | 3 | 5359 | 6 | 29281 | 0 | 5163.7 | 0.7 | 10196.4 | 8.8 | 3952.2 | 6.6 | 4429.8 | 9.7 | 1038853 | 746 | 213165.5 | 151.3 | 11460800 | 500 | 894560 | 320 | 6872700 | 3400 | 2393400 | 1000 | 1168930 | 1050 | 15639300 | 11300 | 40716 | 0 | 35343 | 11 | 6255 | 13 | 57620 | 13 | 45242 | 34
2020-01-06 | 59% | 200090 | 984 | 751 | 189947 | 332 | 315 | 164625 | 0 | 882634 | 341 | 220168 | 306 | 90283 | 287 | 282.96 | 4393 | 36 | 7824139.68 | 3020.64 | 3020.64 | 14896822.08 | 4579.68 | 4579.68 | 14907053.28 | 14469.84 | 14469.84 | 18033610.56 | 10036.32 | 10036.32 | 18334700.16 | 487.2 | 487.2 | 16859994.48 | 5359.2 | 5359.2 | 14238030.24 | 4238.64 | 4238.64 | 13733826.96 | 4579.68 | 4579.68 | 10806924.24 | 2630.88 | 2630.88 | 17002890.24 | 4628.4 | 4628.4 | 73784700 | 66200 | 66200 | 76749100 | 49100 | 49100 | 70859500 | 1900 | 1900 | [10 empty] | 9246570 | 7040 | 74% | 4% | 4% | 61675 | 19 | 53041 | 20 | 18010 | 4 | 24327 | 11 | 26736 | 13 | 59232 | 0 | 258692 | 101 | 101 | 204556 | 51 | 51 | 349825 | 0 | 0 | 673425 | 225 | 8065 | 2 | 5368 | 3 | 30708 | 0 | 30921 | 0 | 20760 | 6 | 23288 | 3 | 5905 | 2 | 8757 | 6 | 2847 | 3 | 5365 | 6 | 29281 | 0 | 5164.8 | 1.1 | 10205.5 | 9.1 | 3958.9 | 6.7 | 4438.6 | 8.8 | 1039604 | 751 | 213301.6 | 136.1 | 11462200 | 1400 | 894920 | 360 | 6876200 | 3500 | 2394700 | 1300 | 1170090 | 1160 | 15650600 | 11300 | 40716 | 0 | 35353 | 10 | 6267 | 12 | 57632 | 12 | 45276 | 34
2020-01-07 | 54% | 200946 | 856 | 624 | 190235 | 288 | 292 | 164625 | 0 | 883035 | 401 | 220404 | 236 | 90576 | 293 | 290.51 | 4428 | 35 | 7827111.6 | 2971.92 | 2971.92 | 14901304.32 | 4482.24 | 4482.24 | 14922107.76 | 15054.48 | 15054.48 | 18043452 | 9841.44 | 9841.44 | 18334992.48 | 292.32 | 292.32 | 16865207.52 | 5213.04 | 5213.04 | 14242074 | 4043.76 | 4043.76 | 13738163.04 | 4336.08 | 4336.08 | 10809408.96 | 2484.72 | 2484.72 | 17007372.48 | 4482.24 | 4482.24 | 73854600 | 69900 | 69900 | 76799600 | 50500 | 50500 | 70859500 | 0 | 0 | [10 empty] | 9252820 | 6250 | 80% | -6% | -6% | 61694 | 19 | 53061 | 20 | 18014 | 4 | 24337 | 10 | 26749 | 13 | 59232 | 0 | 258791 | 99 | 99 | 204608 | 52 | 52 | 349825 | 0 | 0 | 673643 | 218 | 8080 | 15 | 5376 | 8 | 30708 | 0 | 30925 | 4 | 20775 | 15 | 23302 | 14 | 5908 | 3 | 8763 | 6 | 2855 | 8 | 5383 | 18 | 29281 | 0 | 5166.1 | 1.3 | 10214.1 | 8.6 | 3965.7 | 6.8 | 4447.2 | 8.6 | 1040363 | 759 | 213403.8 | 102.2 | 11463600 | 1400 | 895260 | 340 | 6879700 | 3500 | 2396200 | 1500 | 1171240 | 1150 | 15661800 | 11200 | 40716 | 0 | 35364 | 11 | 6278 | 11 | 57642 | 10 | 45307 | 31
2020-01-08 | 57% | 201890 | 944 | 616 | 190569 | 334 | 265 | 164625 | 0 | 883421 | 386 | 220692 | 288 | 90865 | 289 | 301.85 | 4458 | 30 | 7830034.8 | 2923.2 | 2923.2 | 14905981.44 | 4677.12 | 4677.12 | 14936869.92 | 14762.16 | 14762.16 | 18052513.92 | 9061.92 | 9061.92 | 18335284.8 | 292.32 | 292.32 | 16870566.72 | 5359.2 | 5359.2 | 14246117.76 | 4043.76 | 4043.76 | 13742742.72 | 4579.68 | 4579.68 | 10815401.52 | 5992.56 | 5992.56 | 17011806 | 4433.52 | 4433.52 | 73925400 | 70800 | 70800 | 76846200 | 46600 | 46600 | 70859500 | 0 | 0 | [10 empty] | 9259550 | 6730 | 70% | 10% | 10% | 61712 | 18 | 53080 | 19 | 18019 | 5 | 24346 | 9 | 26761 | 12 | 59232 | 0 | 258883 | 92 | 92 | 204676 | 68 | 68 | 349825 | 0 | 0 | 673832 | 189 | 8082 | 2 | 5379 | 3 | 30708 | 0 | 30928 | 3 | 20782 | 7 | 23307 | 5 | 5910 | 2 | 8769 | 6 | 2859 | 4 | 5390 | 7 | 29281 | 0 | 5167.5 | 1.4 | 10222.7 | 8.6 | 3972.2 | 6.5 | 4454.9 | 7.7 | 1041093 | 730 | 213505.9 | 102.1 | 11464400 | 800 | 895560 | 300 | 6882800 | 3100 | 2397600 | 1400 | 1172240 | 1000 | 15671700 | 9900 | 40716 | 0 | 35374 | 10 | 6285 | 7 | 57651 | 9 | 45337 | 30
2020-01-09 | 60% | 202817 | 927 | 547 | 190896 | 327 | 268 | 164625 | 0 | 883783 | 362 | 220952 | 260 | 91143 | 278 | 279.55 | 4499 | 41 | 7832763.12 | 2728.32 | 2728.32 | 14910658.56 | 4677.12 | 4677.12 | 14952314.16 | 15444.24 | 15444.24 | 18063378.48 | 10864.56 | 10864.56 | 18335723.28 | 438.48 | 438.48 | 16875779.76 | 5213.04 | 5213.04 | 14250258.96 | 4141.2 | 4141.2 | 13747030.08 | 4287.36 | 4287.36 | 10816181.04 | 779.52 | 779.52 | 17016483.12 | 4677.12 | 4677.12 | 73994800 | 69400 | 69400 | 76899000 | 52800 | 52800 | 70859500 | 0 | 0 | [10 empty] | 9266590 | 7040 | 78% | -8% | -8% | 61730 | 18 | 53101 | 21 | 18024 | 5 | 24358 | 12 | 26775 | 14 | 59232 | 0 | 258987 | 104 | 104 | 204777 | 101 | 101 | 349825 | 0 | 0 | 674079 | 247 | 8084 | 2 | 5382 | 3 | 30708 | 0 | 30930 | 2 | 20794 | 12 | 23312 | 5 | 5912 | 2 | 8775 | 6 | 2862 | 3 | 5394 | 4 | 29281 | 0 | 5169 | 1.5 | 10231.4 | 8.7 | 3978.7 | 6.5 | 4462.8 | 7.9 | 1041860 | 767 | 213608.6 | 102.7 | 11466300 | 1900 | 895900 | 340 | 6886500 | 3700 | 2399000 | 1400 | 1173370 | 1130 | 15683900 | 12200 | 40716 | 0 | 35384 | 10 | 6292 | 7 | 57663 | 12 | 45367 | 30
2020-01-10 | 61% | 203758 | 941 | 771 | 191216 | 320 | 273 | 164625 | 0 | 884159 | 376 | 221231 | 279 | 91415 | 272 | 280.18 | 4546 | 47 | 7835735.04 | 2971.92 | 2971.92 | 14915238.24 | 4579.68 | 4579.68 | 14967368.64 | 15054.48 | 15054.48 | 18071222.4 | 7843.92 | 7843.92 | 18336113.04 | 389.76 | 389.76 | 16881041.52 | 5261.76 | 5261.76 | 14254302.72 | 4043.76 | 4043.76 | 13751561.04 | 4530.96 | 4530.96 | 10817155.44 | 974.4 | 974.4 | 17021062.8 | 4579.68 | 4579.68 | 74065700 | 70900 | 70900 | 76949700 | 50700 | 50700 | 70859500 | 0 | 0 | [10 empty] | 9273150 | 6560 | 73% | 5% | 5% | 61748 | 18 | 53120 | 19 | 18027 | 3 | 24368 | 10 | 26788 | 13 | 59232 | 0 | 259088 | 101 | 101 | 204834 | 57 | 57 | 349825 | 0 | 0 | 674324 | 245 | 8087 | 3 | 5386 | 4 | 30708 | 0 | 30932 | 2 | 20803 | 9 | 23318 | 6 | 5915 | 3 | 8781 | 6 | 2866 | 4 | 5398 | 4 | 29281 | 0 | 5170.4 | 1.4 | 10240.4 | 9 | 3985.8 | 7.1 | 4471.7 | 8.9 | 1042620 | 760 | 213713.6 | 105 | 11467600 | 1300 | 896260 | 360 | 6890200 | 3700 | 2400400 | 1400 | 1174450 | 1080 | 15695300 | 11400 | 40716 | 0 | 35395 | 11 | 6300 | 8 | 57675 | 12 | 45402 | 35
2020-01-11 | 67% | 204664 | 906 | 836 | 191550 | 334 | 286 | 164625 | 0 | 884527 | 368 | 221485 | 254 | 91696 | 281 | 281.89 | 4587 | 41 | 7838609.52 | 2874.48 | 2874.48 | 14919817.92 | 4579.68 | 4579.68 | 14982423.12 | 15054.48 | 15054.48 | 18083743.44 | 12521.04 | 12521.04 | 18336551.52 | 438.48 | 438.48 | 16886059.68 | 5018.16 | 5018.16 | 14258297.76 | 3995.04 | 3995.04 | 13755945.84 | 4384.8 | 4384.8 | 10819835.04 | 2679.6 | 2679.6 | 17025739.92 | 4677.12 | 4677.12 | 74135500 | 69800 | 69800 | 77004000 | 54300 | 54300 | 70859500 | 0 | 0 | [10 empty] | 9279960 | 6810 | 79% | -6% | -6% | 61764 | 16 | 53140 | 20 | 18032 | 5 | 24379 | 11 | 26802 | 14 | 59232 | 0 | 259189 | 101 | 101 | 204886 | 52 | 52 | 349825 | 0 | 0 | 674564 | 240 | 8090 | 3 | 5390 | 4 | 30708 | 0 | 30933 | 1 | 20811 | 8 | 23324 | 6 | 5918 | 3 | 8787 | 6 | 2870 | 4 | 5402 | 4 | 29281 | 0 | 5171.7 | 1.3 | 10249.2 | 8.8 | 3992.5 | 6.7 | 4480.1 | 8.4 | 1043314 | 694 | 213815.9 | 102.3 | 11468900 | 1300 | 896600 | 340 | 6893800 | 3600 | 2401600 | 1200 | 1175590 | 1140 | 15707400 | 12100 | 40716 | 0 | 35405 | 10 | 6308 | 8 | 57685 | 10 | 45432 | 30
2020-01-12 | 70% | 205667 | 1003 | 836 | 191947 | 397 | 275 | 164625 | 0 | 884918 | 391 | 221764 | 279 | 91962 | 266 | 293.93 | 4614 | 27 | 7841386.56 | 2777.04 | 2777.04 | 14924397.6 | 4579.68 | 4579.68 | 14996649.36 | 14226.24 | 14226.24 | 18090759.12 | 7015.68 | 7015.68 | 18336892.56 | 341.04 | 341.04 | 16891272.72 | 5213.04 | 5213.04 | 14262341.52 | 4043.76 | 4043.76 | 13760379.36 | 4433.52 | 4433.52 | 10822514.64 | 2679.6 | 2679.6 | 17030319.6 | 4579.68 | 4579.68 | 74205000 | 69500 | 69500 | 77040900 | 36900 | 36900 | 70859500 | 0 | 0 | [10 empty] | 9286410 | 6450 | 78% | 1% | 1% | 61781 | 17 | 53159 | 19 | 18037 | 5 | 24388 | 9 | 26815 | 13 | 59232 | 0 | 259289 | 100 | 100 | 204924 | 38 | 38 | 349825 | 0 | 0 | 674804 | 240 | 8093 | 3 | 5394 | 4 | 30708 | 0 | 30935 | 2 | 20819 | 8 | 23330 | 6 | 5921 | 3 | 8793 | 6 | 2874 | 4 | 5406 | 4 | 29281 | 0 | 5173 | 1.3 | 10258.3 | 9.1 | 3999.3 | 6.8 | 4489 | 8.9 | 1044091 | 777 | 213921.9 | 106 | 11470100 | 1200 | 896920 | 320 | 6897000 | 3200 | 2402800 | 1200 | 1176660 | 1070 | 15716900 | 9500 | 40716 | 0 | 35417 | 12 | 6320 | 12 | 57697 | 12 | 45465 | 33
2020-01-13 | 64% | 206631 | 964 | 819 | 192306 | 359 | 338 | 164625 | 0 | 885321 | 403 | 222060 | 296 | 92205 | 243 | 229.43 | 4659 | 45 | 7843237.92 | 1851.36 | 1851.36 | 14929220.88 | 4823.28 | 4823.28 | 15003470.16 | 6820.8 | 6820.8 | 18092464.32 | 1705.2 | 1705.2 | 18349267.44 | 12374.88 | 12374.88 | 16896583.2 | 5310.48 | 5310.48 | 14266141.68 | 3800.16 | 3800.16 | 13764861.6 | 4482.24 | 4482.24 | 10825291.68 | 2777.04 | 2777.04 | 17034899.28 | 4579.68 | 4579.68 | 74239400 | 34400 | 34400 | 77042600 | 1700 | 1700 | 70918000 | 58500 | 58500 | [10 empty] | 9294280 | 7870 | 80% | -2% | -2% | 61799 | 18 | 53180 | 21 | 18041 | 4 | 24398 | 10 | 26826 | 11 | 59232 | 0 | 259368 | 79 | 79 | 205019 | 95 | 95 | 349825 | 0 | 0 | 674980 | 176 | 8096 | 3 | 5398 | 4 | 30708 | 0 | 30937 | 2 | 20828 | 9 | 23336 | 6 | 5924 | 3 | 8799 | 6 | 2878 | 4 | 5410 | 4 | 29281 | 0 | 5174.4 | 1.4 | 10267 | 8.7 | 4005.8 | 6.5 | 4498 | 9 | 1044866 | 775 | 214024.9 | 103 | 11471300 | 1200 | 897230 | 310 | 6899900 | 2900 | 2403900 | 1100 | 1177670 | 1010 | 15724900 | 8000 | 40716 | 0 | 35428 | 11 | 6333 | 13 | 57709 | 12 | 45498 | 33
2020-01-14 | 57% | 207547 | 916 | 874 | 192603 | 297 | 289 | 164625 | 0 | 885691 | 370 | 222351 | 291 | 92468 | 263 | 377.49 | 4676 | 17 | 7845138 | 1900.08 | 1900.08 | 14934044.16 | 4823.28 | 4823.28 | 15013652.64 | 10182.48 | 10182.48 | 18094072.08 | 1607.76 | 1607.76 | 18362957.76 | 13690.32 | 13690.32 | 16902234.72 | 5651.52 | 5651.52 | 14270331.6 | 4189.92 | 4189.92 | 13769392.56 | 4530.96 | 4530.96 | 10827873.84 | 2582.16 | 2582.16 | 17039332.8 | 4433.52 | 4433.52 | 74290100 | 50700 | 50700 | 77042600 | 0 | 0 | 70978900 | 60900 | 60900 | [10 empty] | 9301610 | 7330 | 78% | 2% | 2% | 61818 | 19 | 53199 | 19 | 18044 | 3 | 24408 | 10 | 26841 | 15 | 59232 | 0 | 259442 | 74 | 74 | 205097 | 78 | 78 | 349825 | 0 | 0 | 675149 | 169 | 8099 | 3 | 5402 | 4 | 30708 | 0 | 30939 | 2 | 20835 | 7 | 23337 | 1 | 5927 | 3 | 8805 | 6 | 2882 | 4 | 5414 | 4 | 29281 | 0 | 5175.8 | 1.4 | 10275.8 | 8.8 | 4013.1 | 7.3 | 4505.8 | 7.8 | 1045620 | 754 | 214177.8 | 152.9 | 11472700 | 1400 | 897550 | 320 | 6903200 | 3300 | 2405000 | 1100 | 1178870 | 1200 | 15735800 | 10900 | 40716 | 0 | 35440 | 12 | 6345 | 12 | 57717 | 8 | 45531 | 33
2020-01-15 | 53% | 208437 | 890 | 797 | 192907 | 304 | 288 | 164625 | 0 | 886057 | 366 | 222644 | 293 | 92711 | 243 | 291.75 | 4696 | 20 | 7846745.76 | 1607.76 | 1607.76 | 14938526.4 | 4482.24 | 4482.24 | 15022324.8 | 8672.16 | 8672.16 | 18095679.84 | 1607.76 | 1607.76 | 18375381.36 | 12423.6 | 12423.6 | 16907496.48 | 5261.76 | 5261.76 | 14274229.2 | 3897.6 | 3897.6 | 13773679.92 | 4287.36 | 4287.36 | 10830456 | 2582.16 | 2582.16 | 17043327.84 | 3995.04 | 3995.04 | 74336300 | 46200 | 46200 | 77042600 | 0 | 0 | 71035900 | 57000 | 57000 | [10 empty] | 9308550 | 6940 | 72% | 6% | 6% | 61840 | 22 | 53217 | 18 | 18049 | 5 | 24419 | 11 | 26851 | 10 | 59232 | 0 | 259515 | 73 | 73 | 205156 | 59 | 59 | 349825 | 0 | 0 | 675313 | 164 | 8109 | 10 | 5403 | 1 | 30708 | 0 | 30943 | 4 | 20836 | 1 | 23338 | 1 | 5999 | 72 | 8855 | 50 | 2885 | 3 | 5441 | 27 | 29281 | 0 | 5177.2 | 1.4 | 10284.2 | 8.4 | 4019.8 | 6.7 | 4511.4 | 5.6 | 1046340 | 720 | 214331.6 | 153.8 | 11474200 | 1500 | 897890 | 340 | 6906600 | 3400 | 2406000 | 1000 | 1180050 | 1180 | 15746700 | 10900 | 40716 | 0 | 35450 | 10 | 6353 | 8 | 57726 | 9 | 45559 | 28
2020-01-16 | 58% | 209362 | 925 | 883 | 193249 | 342 | 302 | 164625 | 0 | 886308 | 251 | 222898 | 254 | 92984 | 273 | 331.13 | 4733 | 37 | 7848450.96 | 1705.2 | 1705.2 | 14943106.08 | 4579.68 | 4579.68 | 15033335.52 | 11010.72 | 11010.72 | 18097385.04 | 1705.2 | 1705.2 | 18388828.08 | 13446.72 | 13446.72 | 16912855.68 | 5359.2 | 5359.2 | 14278321.68 | 4092.48 | 4092.48 | 13778162.16 | 4482.24 | 4482.24 | 10833233.04 | 2777.04 | 2777.04 | 17047469.04 | 4141.2 | 4141.2 | 74392400 | 56100 | 56100 | 77042600 | 0 | 0 | 71097500 | 61600 | 61600 | [10 empty] | 9316360 | 7810 | 70% | 2% | 2% | 61863 | 23 | 53236 | 19 | 18051 | 2 | 24429 | 10 | 26865 | 14 | 59232 | 0 | 259590 | 75 | 75 | 205239 | 83 | 83 | 349825 | 0 | 0 | 675484 | 171 | 8112 | 3 | 5404 | 1 | 30708 | 0 | 30944 | 1 | 20838 | 2 | 23339 | 1 | 6009 | 10 | 8861 | 6 | 2887 | 2 | 5452 | 11 | 29281 | 0 | 5178.9 | 1.7 | 10292 | 7.8 | 4026.4 | 6.6 | 4516.7 | 5.3 | 1047024 | 684 | 214482.5 | 150.9 | 11475700 | 1500 | 898230 | 340 | 6910200 | 3600 | 2407100 | 1100 | 1181240 | 1190 | 15757800 | 11100 | 40716 | 0 | 35461 | 11 | 6360 | 7 | 57735 | 9 | 45593 | 34
2020-01-17 | 62% | 210174 | 812 | 925 | 193563 | 314 | 287 | 164625 | 0 | 886637 | 329 | 223102 | 204 | 93236 | 252 | 285 | 4761 | 28 | 7850351.04 | 1900.08 | 1900.08 | 14947685.76 | 4579.68 | 4579.68 | 15043615.44 | 10279.92 | 10279.92 | 18099090.24 | 1705.2 | 1705.2 | 18402323.52 | 13495.44 | 13495.44 | 16918312.32 | 5456.64 | 5456.64 | 14282268 | 3946.32 | 3946.32 | 13782644.4 | 4482.24 | 4482.24 | 10836010.08 | 2777.04 | 2777.04 | 17051317.92 | 3848.88 | 3848.88 | 74445300 | 52900 | 52900 | 77042600 | 0 | 0 | 71158000 | 60500 | 60500 | [10 empty] | 9323530 | 7170 | 67% | 3% | 3% | 61887 | 24 | 53256 | 20 | 18056 | 5 | 24438 | 9 | 26879 | 14 | 59232 | 0 | 259665 | 75 | 75 | 205305 | 66 | 66 | 349825 | 0 | 0 | 675654 | 170 | 8115 | 3 | 5408 | 4 | 30708 | 0 | 30945 | 1 | 20851 | 13 | 23347 | 8 | 6013 | 4 | 8871 | 10 | 2892 | 5 | 5456 | 4 | 29404 | 123 | 5179.6 | 0.7 | 10301.7 | 9.7 | 4032.8 | 6.4 | 4522 | 5.3 | 1047748 | 724 | 214630.8 | 148.3 | 11476600 | 900 | 898560 | 330 | 6913400 | 3200 | 2408200 | 1100 | 1182360 | 1120 | 15769500 | 11700 | 40716 | 0 | 35471 | 10 | 6368 | 8 | 57744 | 9 | 45624 | 31
2020-01-18 | 61% | 211003 | 829 | 825 | 193882 | 319 | 303 | 164625 | 0 | 887027 | 390 | 223373 | 271 | 93500 | 264 | 286 | 4779 | 18 | 7852397.28 | 2046.24 | 2046.24 | 14952411.6 | 4725.84 | 4725.84 | 15053797.92 | 10182.48 | 10182.48 | 18100746.72 | 1656.48 | 1656.48 | 18415818.96 | 13495.44 | 13495.44 | 16923671.52 | 5359.2 | 5359.2 | 14286165.6 | 3897.6 | 3897.6 | 13787224.08 | 4579.68 | 4579.68 | 10838738.4 | 2728.32 | 2728.32 | 17055605.28 | 4287.36 | 4287.36 | 74497800 | 52500 | 52500 | 77042600 | 0 | 0 | 71220800 | 62800 | 62800 | [10 empty] | 9331080 | 7550 | 80% | -13% | -13% | 61911 | 24 | 53276 | 20 | 18061 | 5 | 24449 | 11 | 26893 | 14 | 59232 | 0 | 259739 | 74 | 74 | 205376 | 71 | 71 | 349825 | 0 | 0 | 675821 | 167 | 8121 | 6 | 5413 | 5 | 30708 | 0 | 30946 | 1 | 20859 | 8 | 23351 | 4 | 6020 | 7 | 8879 | 8 | 2896 | 4 | 5462 | 6 | 29503 | 99 | 5181 | 1.4 | 10310.8 | 9.1 | 4039.4 | 6.6 | 4528.9 | 6.9 | 1048508 | 760 | 214784.9 | 154.1 | 11477800 | 1200 | 898860 | 300 | 6916400 | 3000 | 2409300 | 1100 | 1183360 | 1000 | 15779700 | 10200 | 40716 | 0 | 35482 | 11 | 6377 | 9 | 57755 | 11 | 45657 | 33
2020-01-19 | 62% | 212043 | 1040 | 818 | 194238 | 356 | 290 | 164625 | 0 | 887418 | 391 | 223648 | 275 | 93754 | 254 | 233 | 4803 | 24 | 7854297.36 | 1900.08 | 1900.08 | 14956893.84 | 4482.24 | 4482.24 | 15062908.56 | 9110.64 | 9110.64 | 18102403.2 | 1656.48 | 1656.48 | 18429119.52 | 13300.56 | 13300.56 | 16928933.28 | 5261.76 | 5261.76 | 14289819.6 | 3654 | 3654 | 13791608.88 | 4384.8 | 4384.8 | 10841466.72 | 2728.32 | 2728.32 | 17059990.08 | 4384.8 | 4384.8 | 74547000 | 49200 | 49200 | 77042600 | 0 | 0 | 71279600 | 58800 | 58800 | [10 empty] | 9339200 | 8120 | 76% | 4% | 4% | 61933 | 22 | 53293 | 17 | 18065 | 4 | 24460 | 11 | 26904 | 11 | 59232 | 0 | 259813 | 74 | 74 | 205447 | 71 | 71 | 349825 | 0 | 0 | 675988 | 167 | 8128 | 7 | 5418 | 5 | 30708 | 0 | 30947 | 1 | 20867 | 8 | 23357 | 6 | 6028 | 8 | 8889 | 10 | 2899 | 3 | 5470 | 8 | 29567 | 64 | 5182.4 | 1.4 | 10319.9 | 9.1 | 4046.4 | 7 | 4537.2 | 8.3 | 1049325 | 817 | 214946.7 | 161.8 | 11479100 | 1300 | 899200 | 340 | 6919500 | 3100 | 2410300 | 1000 | 1184460 | 1100 | 15790300 | 10600 | 40716 | 0 | 35492 | 10 | 6388 | 11 | 57766 | 11 | 45691 | 34
2020-01-20 | 0% | 0 | -212043 | 879 | 0 | -194238 | 310 | 0 | -164625 | 0 | -887418 | 0 | -223648 | 0 | -93754 | 285 | 0 | -4803 | 0 | -7854297.36 | -7854297.36 | 0 | -14956893.84 | -14956893.84 | 0 | -15062908.56 | -15062908.56 | 0 | -18102403.2 | -18102403.2 | 0 | -18429119.52 | -18429119.52 | 0 | -16928933.28 | -16928933.28 | 0 | -14289819.6 | -14289819.6 | 0 | -13791608.88 | -13791608.88 | 0 | -10841466.72 | -10841466.72 | 0 | -17059990.08 | -17059990.08 | 0 | -74547000 | -74547000 | 0 | -77042600 | -77042600 | 0 | -71279600 | -71279600 | [10 empty] | 0 | -9339200 | 0% | 76% | 76% | 0 | -61933 | 0 | -53293 | 0 | -18065 | 0 | -24460 | 0 | -26904 | 0 | -59232 | 0 | -259813 | -259813 | 0 | -205447 | -205447 | 0 | -349825 | -349825 | 0 | -675988 | 0 | -8128 | 0 | -5418 | 0 | -30708 | 0 | -30947 | 0 | -20867 | 0 | -23357 | 0 | -6028 | 0 | -8889 | 0 | -2899 | 0 | -5470 | 0 | -29567 | 0 | -5182.4 | 0 | -10319.9 | 0 | -4046.4 | 0 | -4537.2 | 0 | -1049325 | 0 | -214946.7 | 0 | -11479100 | 0 | -899200 | 0 | -6919500 | 0 | -2410300 | 0 | -1184460 | 0 | -15790300 | 0 | -40716 | 0 | -35492 | 0 | -6388 | 0 | -57766 | 0 | -45691
2020-01-21 | 0% | 0 | 0 | 892 | 0 | 0 | 312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 831 | 0 | 0 | 239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 743 | 0 | 0 | 253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 803 | 0 | 0 | 241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 833 | 0 | 0 | 277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 773 | 0 | 0 | 265 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 842 | 0 | 0 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 835 | 0 | 0 | 368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 282 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 838 | 0 | 0 | 207 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 747 | 0 | 0 | 233 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 789 | 0 | 0 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption August 2018 | [18 empty] | Electricity Daily Consumption August 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption August 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
August Reading 2017 two weeks |  | 10943 |  |  | 4446 | [8 empty] | 4021.77 |  |  |  |  | 40291.44 |  |  | 69328.56 |  |  | 134077.44 |  |  | 129790.08 |  |  | 99291.36 |  |  | 78244.32 |  |  | 60169.2 |  |  | 65966.88 |  |  | 38099.04 |  |  | 66941.28 |  |  | 617800 |  |  | 649300 |  |  | 444200 | [29 empty] | 1411 |  |  | 956 |  |  | 0
August Reading 2018 two weeks |  | 13793 |  |  | 4913 | [8 empty] | 4076.65 |  |  |  |  | 40291.44 |  |  | 69328.56 |  |  | 134077.44 |  |  | 129790.08 |  |  | 99291.36 |  |  | 78244.32 |  |  | 60169.2 |  |  | 65966.88 |  |  | 38099.04 |  |  | 66941.28 |  |  | 617800 |  |  | 649300 |  |  | 444200 | [29 empty] | 1411 |  |  | 956 |  |  | 0 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
August Reading 2017 Monthly |  | 23410 |  |  | 8653 |  |  | 7048.9 |  | 7702.2 |  |  |  | 8179.9 |  |  | 476 |  | -7806454.32 |  |  | -14869197.84 |  |  | -14888247.36 |  |  | -17965889.76 |  |  | -18276090 |  |  | -16829252.16 |  |  | -14214060 |  |  | -13707713.04 |  |  | -10792356.96 |  |  | -16976386.56 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -258104 |  |  | -204200 |  |  | -349825 |  |  | 3894 | [14 empty] | 487.2
August Reading 2018 Monthly |  | -195544 |  |  | -187994 |  |  | -164625 |  | -880634 |  |  |  | -88634.35 |  |  | -4164 |  | -7806454.32 |  |  | -14869197.84 |  |  | -14888247.36 |  |  | -17965889.76 |  |  | -18276090 |  |  | -16829252.16 |  |  | -14214060 |  |  | -13707713.04 |  |  | -10792356.96 |  |  | -16976386.56 |  |  | -73718500 |  |  | -76393300 |  |  | -70591700 | [12 empty] | -9207320 |  |  |  |  | -61564 |  | -52922 |  | -17984 |  | -24268 |  | -26659 |  | -59232 |  | -258104 |  |  | -204200 |  |  | -349825 |  |  | -672109
Difference |  | 218954 |  |  | 196647 |  |  | 171673.9 |  | 888336.2 |  |  |  | 96814.25 |  |  | 4640 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -74065800 |  |  | -76754400 |  |  | -71150542 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 676003
Total Monthly Electrical Kwh | [18 empty] | August 2017 Kwh | [5 empty] | -146325648 | [5 empty] | August 2018 Kwh | [5 empty] | -146325648 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | August 2017 Kwh two weeks | [5 empty] | 782199.6 | [5 empty] | August 2018 Kwh two weeks | [5 empty] | 782199.6 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -220703500 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]August - 2022'!AC40
Daily Consumption Kwh 2018 = '[1]August - 2022'!AD40
Daily Consumption Kwh 2018 = '[1]August - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]August - 2022'!AD40
Daily Consumption Kwh 2017 = '[1]August - 2022'!AG40
EMDB-2 Elevators = '[1]August - 2022'!AF40
MDB-1 Chiller # 1 = '[1]August - 2022'!AI40
MDB-2 Chiller # 2 = '[1]August - 2022'!AL40
MDB-3 Chiller # 3 = '[1]August - 2022'!AO40
MDB-4 North Riser Guest Rooms = '[1]August - 2022'!AR40
MDB-5 North Riser Guest Rooms = '[1]August - 2022'!AU40
MDB-6 Main Kitchen = '[1]August - 2022'!AX40
MDB-7 South Riser Guest Rooms = '[1]August - 2022'!BA40
MDB-8 F & B = '[1]August - 2022'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill