## Sheet1
Date | Electric (KWH) | [6 empty] | Gas (Therm) |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  |  | Maximon Meters | [17 empty] | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption |  | Mina | Consumption | Main | Consumption | Main (FT3) | Consumption | Hot (MMBTU) | Consumption | Chilled (THR) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Electric #70 | Consumption | Electric #69 | Consumption | Electric #67 | Consumption | Electric #68 | Consumption | Electric #63 | Consumption | Electric #64 | Consumption | Electric #66 | Consumption | Electric #65 | Consumption | Water | Consumption
2022-09-01 | 609943 | 4026 | 30938280 | 9172 | 8651379 | 3600 |  | 95707 | 101 | 21693 | 7 | 61589 | 5614.9733 | 239568 | 37 | 53956866 | 12247 | 50862 | 369 | 1316 | 16 | 300 | 1 | 843180 | 2760000 | 368584 | 0 |  | 67138 | 0 | 243208 | 178 | 11632557 | 6062 | 28950 | 0 | 13017 | 869 | 626566 | 3510000 | 234978 | 0 | 92636 | 0 | 269527 | 0 | 480831 | 2260000 | 19321 | 0 | 477430 | 3160000 | 124015 | 0 |  | 1019281 | 988 | 549056 | 487 | 282244 | 174 | 149917 | 157 | 145751 | 51 | 90029 | 15 | 506606 | 101 | 2829 | 1 | 377800 | 12
2022-09-02 | 613800 | 3857 | 30947292 | 9012 | 8654944 | 3565 |  | 95817 | 124.19 | 21700 | 7.903 | 61642 | 7085.5615 | 239608 | 40 | 53969526 | 12660 | 51238 | 376 | 1334 | 18 | 301 | 1 | 843479 | 2990000 | 368584 | 0 |  | 67138 | 0 | 243374 | 166 | 11638529 | 5972 | 28950 | 0 | 13792 | 775 | 626957 | 3910000 | 234978 | 0 | 92684 | 480000 | 269527 | 0 | 481044 | 2130000 | 19321 | 0 | 477730 | 3000000 | 124015 | 0 |  | 1020138 | 857 | 549579 | 523 | 282437 | 193 | 150083 | 166 | 145805 | 54 | 90042 | 13 | 506717 | 111 | 2830 | 1 | 377818 | 18
2022-09-03 | 617778 | 3978 | 30956563 | 9271 | 8658795 | 3851 |  | 95937 | 135.48 | 21708 | 9.032 | 61691 | 6550.8021 | 239643 | 35 | 53981340 | 11814 | 51607 | 369 | 1351 | 17 | 301 | 0 | 843758 | 2790000 | 368584 | 0 |  | 67138 | 0 | 243575 | 201 | 11645425 | 6896 | 28951 | 1 | 14711 | 919 | 627454 | 4970000 | 234978 | 0 | 92843 | 1590000 | 269527 | 0 | 481245 | 2010000 | 19321 | 0 | 477988 | 2580000 | 124015 | 0 |  | 1021032 | 894 | 550101 | 522 | 282645 | 208 | 150244 | 161 | 145858 | 53 | 90057 | 15 | 506817 | 100 | 2831 | 1 | 377851 | 33
2022-09-04 | 621892 | 4114 | 30965821 | 9258 | 8662372 | 3577 |  | 96080 | 161.447 | 21716 | 9.032 | 61760 | 9224.5989 | 239684 | 41 | 53996450 | 15110 | 51965 | 358 | 1359 | 8 | 303 | 2 | 844073 | 3150000 | 368584 | 0 |  | 67138 | 0 | 243751 | 176 | 11652931 | 7506 | 28952 | 1 | 15492 | 781 | 627969 | 5150000 | 234978 | 0 | 93102 | 2590000 | 269527 | 0 | 481542 | 2970000 | 19321 | 0 | 478319 | 3310000 | 124015 | 0 |  | 1021999 | 967 | 550630 | 529 | 282864 | 219 | 150416 | 172 | 145906 | 48 | 90072 | 15 | 506922 | 105 | 2832 | 1 | 377879 | 28
2022-09-05 | 626476 | 4584 | 30976048 | 10227 | 8666434 | 4062 |  | 96202 | 137.738 | 21724 | 9.032 | 61846 | 11497.3262 | 239722 | 38 | 54012366 | 15916 | 52354 | 389 | 1367 | 8 | 303 | 0 | 844388 | 3150000 | 368584 | 0 |  | 67138 | 0 | 243894 | 143 | 11660166 | 7235 | 28952 | 0 | 16311 | 819 | 628755 | 7860000 | 234978 | 0 | 93337 | 2350000 | 269527 | 0 | 481818 | 2760000 | 19321 | 0 | 478647 | 3280000 | 124015 | 0 |  | 1022889 | 890 | 551156 | 526 | 283075 | 211 | 150589 | 173 | 145956 | 50 | 90085 | 13 | 507027 | 105 | 2833 | 1 | 377900 | 21
2022-09-06 | 630345 | 3869 | 30984920 | 8872 | 8669880 | 3446 |  | 96313 | 125.319 | 21731 | 7.903 | 61898 | 6951.8717 | 239761 | 39 | 54026932 | 14566 | 52717 | 363 | 1378 | 11 | 304 | 1 | 844709 | 3210000 | 368584 | 0 |  | 67138 | 0 | 244055 | 161 | 11666162 | 5996 | 28953 | 1 | 17126 | 815 | 629330 | 5750000 | 234978 | 0 | 93487 | 1500000 | 269527 | 0 | 482064 | 2460000 | 19321 | 0 | 478985 | 3380000 | 124015 | 0 |  | 1023735 | 846 | 551656 | 500 | 283265 | 190 | 150750 | 161 | 146007 | 51 | 90097 | 12 | 507117 | 90 | 2834 | 1 | 377917 | 17
2022-09-07 | 634115 | 3770 | 30994110 | 9190 | 8673496 | 3616 |  | 96416 | 116.287 | 21737 | 6.774 | 61938 | 5347.5936 | 239788 | 27 | 54040584 | 13652 | 53072 | 355 | 1398 | 20 | 305 | 1 | 845023 | 3140000 | 368584 | 0 |  | 67138 | 0 | 244229 | 174 | 11671949 | 5787 | 28953 | 0 | 17974 | 848 | 629793 | 4630000 | 234978 | 0 | 93759 | 2720000 | 269527 | 0 | 482313 | 2490000 | 19321 | 0 | 479321 | 3360000 | 124015 | 0 | 6 | 1024563 | 828 | 552171 | 515 | 283451 | 186 | 150906 | 156 | 146059 | 52 | 90111 | 14 | 507205 | 88 | 2835 | 1 | 377932 | 15
2022-09-08 | 637684 | 3569 | 31002811 | 8701 | 8676887 | 3391 |  | 96522 | 119.674 | 21744 | 7.903 | 61981 | 5748.6631 | 239842 | 54 | 54052204 | 11620 | 53412 | 340 | 1418 | 20 | 306 | 1 | 845314 | 2910000 | 368584 | 0 |  | 67138 | 0 | 244373 | 144 | 11675993 | 4044 | 28953 | 0 | 18574 | 600 | 630637 | 8440000 | 234978 | 0 | 93951 | 1920000 | 269527 | 0 | 482425 | 1120000 | 19321 | 0 | 479672 | 3510000 | 124015 | 0 |  | 1025401 | 838 | 552681 | 510 | 283635 | 184 | 151047 | 141 | 146114 | 55 | 90127 | 16 | 507304 | 99 | 2836 | 1 | 377949 | 17
2022-09-09 | 641611 | 3927 | 31012181 | 9370 | 8680441 | 3554 |  | 96642 | 135.48 | 21751 | 7.903 | 62032 | 6818.1818 | 239882 | 40 | 54063390 | 11186 | 53778 | 366 | 1439 | 21 | 306 | 0 | 48.6 | -8452654000 | 78.5 | -3685055000 |  | 67138 | 0 | 244587 | 214 | 11683422 | 7429 | 28954 | 1 | 19640 | 1066 | 630892 | 2550000 | 234978 | 0 | 94105 | 1540000 | 269527 | 0 | 482585 | 1600000 | 19321 | 0 | 479994 | 3220000 | 124015 | 0 |  | 1026214 | 813 | 553187 | 506 | 283821 | 186 | 151191 | 144 | 146167 | 53 | 90139 | 12 | 507397 | 93 | 2837 | 1 | 377959 | 10
2022-09-10 | 645513 | 3902 | 31021288 | 9107 | 8684058 | 3617 |  | 96773 | 147.899 | 21758 | 7.903 | 62089 | 7620.3209 | 239921 | 39 | 54075180 | 11790 | 54127 | 349 | 1456 | 17 | 307 | 1 | 49.3 | 7000 | 86 | 75000 |  | 67138 | 0 | 244739 | 152 | 11691117 | 7695 | 28955 | 1 | 20372 | 732 | 631277 | 3850000 | 234978 | 0 | 94174 | 690000 | 269527 | 0 | 482779 | 1940000 | 19321 | 0 | 480283 | 2890000 | 124015 | 0 |  | 1027071 | 857 | 553736 | 549 | 284029 | 208 | 151350 | 159 | 146214 | 47 | 90151 | 12 | 507513 | 116 | 2838 | 1 | 377996 | 37
2022-09-11 | 649683 | 4170 | 31030357 | 9069 |  | -8684058 |  | 96917 | 162.576 | 21766 | 9.032 | 62151 | 8288.7701 | 239972 | 51 | 54088906 | 13726 | 54468 | 341 | 1474 | 18 | 308 | 1 | 49.2 | -1000 | 87.8 | 18000 |  | 67138 | 0 | 244913 | 174 | 11698655 | 7538 | 28956 | 1 | 21246 | 874 | 631943 | 6660000 | 234978 | 0 | 94344 | 1700000 | 269527 | 0 | 483009 | 2300000 | 19321 | 0 | 480560 | 2770000 | 124015 | 0 |  | 1027998 | 927 | 554214 | 478 | 284250 | 221 | 151516 | 166 | 146259 | 45 | 90166 | 15 | 507626 | 113 | 2839 | 1 | 378021 | 25
2022-09-12 | 653791 | 4108 | 31039644 | 9287 | 8691212 | 8691212 |  | 97045 | 144.512 | 21772 | 6.774 | 62207 | 7486.631 | 240020 | 48 | 54102405 | 13499 | 54811 | 343 | 1483 | 9 | 308 | 0 | 845434 | 8453848000 | 368585 | 3684972000 |  | 67138 | 0 | 245072 | 159 | 11704569 | 5914 | 28957 | 1 | 22069 | 823 | 632281 | 3380000 | 234978 | 0 | 94538 | 1940000 | 269527 | 0 | 483214 | 2050000 | 19321 | 0 | 480838 | 2780000 | 124015 | 0 |  | 1028795 | 797 | 554697 | 483 | 284443 | 193 | 151672 | 156 | 146307 | 48 | 90178 | 12 | 507735 | 109 | 2840 | 1 | 378034 | 13
2022-09-13 | 657703 | 3912 | 31048955 | 9311 | 8694749 | 3537 |  | 97158 | 127.577 | 21778 | 6.774 | 62253 | 6149.7326 | 240062 | 42 | 54117159 | 14754 | 55172 | 361 | 1495 | 12 | 310 | 2 | 846730 | 12960000 | 368585 | 0 |  | 67138 | 0 | 245233 | 161 | 11709811 | 5242 | 28958 | 1 | 22822 | 753 | 632510 | 2290000 | 234978 | 0 | 94801 | 2630000 | 269527 | 0 | 483444 | 2300000 | 19321 | 0 | 481163 | 3250000 | 124015 | 0 |  | 1029582 | 787 | 555213 | 516 | 284607 | 164 | 151832 | 160 | 146362 | 55 | 90188 | 10 | 507842 | 107 | 2841 | 1 | 378045 | 11
2022-09-14 | 661628 | 3925 | 31058101 | 9146 | 8698259 | 3510 |  | 97257 | 111.771 | 21785 | 7.903 | 62310 | 7620.3209 | 240105 | 43 | 54129022 | 11863 | 55543 | 371 | 1515 | 20 | 310 | 0 | 847010 | 2800000 | 368585 | 0 |  | 67138 | 0 | 245419 | 186 | 11715604 | 5793 | 28959 | 1 | 23635 | 813 | 632835 | 3250000 | 234978 | 0 | 94967 | 1660000 | 269527 | 0 | 483649 | 2050000 | 19321 | 0 | 481419 | 2560000 | 124015 | 0 |  | 1030371 | 789 | 555719 | 506 | 284771 | 164 | 151967 | 135 | 146415 | 53 | 90197 | 9 | 507943 | 101 | 2842 | 1 | 378063 | 18
2022-09-15 | 665696 | 4068 | 31067379 | 9278 | 8701633 | 3374 |  | 97355 | 110.642 | 21792 | 7.903 | 62371 | 8155.0802 | 240159 | 54 | 54140482 | 11460 | 55929 | 386 | 1528 | 13 | 311 | 1 | 847293 | 2830000 | 368585 | 0 |  | 67138 | 0 | 245602 | 183 | 11722158 | 6554 | 28960 | 1 | 24508 | 873 | 633507 | 6720000 | 234978 | 0 | 94974 | 70000 | 269527 | 0 | 483797 | 1480000 | 19321 | 0 | 481636 | 2170000 | 124015 | 0 |  | 1031214 | 843 | 556249 | 530 | 284953 | 182 | 152139 | 172 | 146471 | 56 | 90213 | 16 | 508058 | 115 | 2843 | 1 | 378081 | 18
2022-09-16 | 669560 | 3864 | 31076195 | 8816 | 8705082 | 3449 |  | 97454 | 111.771 | 21799 | 7.903 | 62434 | 8422.4599 | 240202 | 43 | 54150979 | 10497 | 56291 | 362 | 1543 | 15 | 312 | 1 | 847564 | 2710000 | 368585 | 0 |  | 67138 | 0 | 245760 | 158 | 11728697 | 6539 | 28961 | 1 | 25272 | 764 | 633822 | 3150000 | 234978 | 0 | 95098 | 1240000 | 269527 | 0 | 483918 | 1210000 | 19321 | 0 | 481845 | 2090000 | 124015 | 0 |  | 1032055 | 841 | 556755 | 506 | 285131 | 178 | 152304 | 165 | 146524 | 53 | 90229 | 16 | 508177 | 119 | 2844 | 1 | 378094 | 13
2022-09-17 | 673538 | 3978 | 31085499 | 9304 | 8708791 | 3709 |  | 97577 | 138.867 | 21807 | 9.032 | 62498 | 8556.1497 | 240249 | 47 | 54161292 | 10313 | 56680 | 389 | 1562 | 19 | 312 | 0 | 847843 | 2790000 | 368585 | 0 |  | 67138 | 0 | 245947 | 187 | 11736025 | 7328 | 28962 | 1 | 26116 | 844 | 634191 | 3690000 | 234978 | 0 | 95107 | 90000 | 269527 | 0 | 484059 | 1410000 | 19321 | 0 | 482045 | 2000000 | 124015 | 0 |  | 1032966 | 911 | 557292 | 537 | 285336 | 205 | 152475 | 171 | 146568 | 44 | 90242 | 13 | 508283 | 106 | 2845 | 1 | 378125 | 31
2022-09-18 | 677645 | 4107 | 31094789 | 9290 | 8712463 | 3672 |  | 97707 | 146.77 | 21814 | 7.903 | 62574 | 10160.4278 | 240289 | 40 | 54173301 | 12009 | 57048 | 368 | 1578 | 16 | 313 | 1 | 848123 | 2800000 | 368585 | 0 |  | 67138 | 0 | 246146 | 199 | 11744564 | 8539 | 28965 | 3 | 27092 | 976 | 634595 | 4040000 | 234978 | 0 | 95265 | 1580000 | 269527 | 0 | 484255 | 1960000 | 19321 | 0 | 482262 | 2170000 | 124015 | 0 |  | 1033859 | 893 | 557820 | 528 | 285542 | 206 | 152655 | 180 | 146619 | 51 | 90256 | 14 | 508373 | 90 | 2846 | 1 | 378158 | 33
2022-09-19 | 681775 | 4130 | 31104103 | 9314 | 8716220 | 3757 |  | 97824 | 132.093 | 21822 | 9.032 | 62656 | 10962.5668 | 240348 | 59 | 54185741 | 12440 | 57422 | 374 | 1598 | 20 | 314 | 1 | 848406 | 2830000 | 368585 | 0 |  | 67138 | 0 | 246286 | 140 | 11751073 | 6509 | 28966 | 1 | 27845 | 753 | 635020 | 4250000 | 234978 | 0 | 95419 | 1540000 | 269527 | 0 | 484471 | 2160000 | 19321 | 0 | 482493 | 2310000 | 124015 | 0 |  | 1034749 | 890 | 558329 | 509 | 285728 | 186 | 152832 | 177 | 146670 | 51 | 90267 | 11 | 508486 | 113 | 2847 | 1 | 378177 | 19
2022-09-20 | 685603 | 3828 | 31113267 | 9164 | 8719703 | 3483 |  | 97928 | 117.416 | 21829 | 7.903 | 62718 | 8288.7701 | 240390 | 42 | 54198630 | 12889 | 57799 | 377 | 1618 | 20 | 315 | 1 | 848707 | 3010000 | 368585 | 0 |  | 67138 | 0 | 246447 | 161 | 11756401 | 5328 | 28967 | 1 | 28580 | 735 | 635351 | 3310000 | 234978 | 0 | 95502 | 830000 | 269527 | 0 | 484729 | 2580000 | 19321 | 0 | 482729 | 2360000 | 124015 | 0 |  | 1035513 | 764 | 558844 | 515 | 285902 | 174 | 153003 | 171 | 146723 | 53 | 90284 | 17 | 508585 | 99 | 2848 | 1 | 378191 | 14
2022-09-21 | 689680 | 4077 | 31122711 | 9444 | 8723340 | 3637 |  | 98026 | 110.642 | 21835 | 6.774 | 62776 | 7754.0107 | 240431 | 41 | 54211337 | 12707 | 58181 | 382 | 1636 | 18 | 315 | 0 | 848994 | 2870000 | 368585 | 0 |  | 67138 | 0 | 246621 | 174 | 11762174 | 5773 | 28968 | 1 | 29396 | 816 | 635833 | 4820000 | 234978 | 0 | 95549 | 470000 | 269527 | 0 | 484884 | 1550000 | 19321 | 0 | 482958 | 2290000 | 124015 | 0 |  | 1036361 | 848 | 559367 | 523 | 286080 | 178 | 153166 | 163 | 146776 | 53 | 90301 | 17 | 508697 | 112 | 2849 | 1 | 378207 | 16
2022-09-22 | 693512 | 3832 | 31131589 | 8878 | 8726750 | 3410 |  | 98125 | 111.771 | 21842 | 7.903 | 62830 | 0 | 240471 | 40 | 54223476 | 12139 | 58513 | 332 | 1650 | 14 | 316 | 1 | 849208 | 2140000 | 368585 | 0 |  | 67138 | 0 | 246775 | 154 | 11767593 | 5419 | 28969 | 1 | 30142 | 746 | 636134 | 3010000 | 234978 | 0 | 95671 | 1220000 | 269527 | 0 | 485063 | 1790000 | 19321 | 0 | 483158 | 2000000 | 124015 | 0 |  | 1037176 | 815 | 559885 | 518 | 286256 | 176 | 153327 | 161 | 146834 | 58 | 90318 | 17 | 508796 | 99 | 2850 | 1 | 378221 | 14
2022-09-23 | 697378 | 3866 | 31140706 | 9117 | 8730307 | 3557 |  | 98232 | 120.803 | 21849 | 7.903 | 62892 | 8288.7701 | 240513 | 42 | 54234783 | 11307 | 58889 | 376 | 1669 | 19 | 317 | 1 | 849506 | 2980000 | 368585 | 0 |  | 67138 | 0 | 246947 | 172 | 11773031 | 5438 | 28970 | 1 | 30879 | 737 | 636474 | 3400000 | 234978 | 0 | 95716 | 450000 | 269527 | 0 | 485220 | 1570000 | 19321 | 0 | 483370 | 2120000 | 124015 | 0 |  | 1038141 | 965 | 560438 | 553 | 286444 | 188 | 153503 | 176 | 146890 | 56 | 90333 | 15 | 508909 | 113 | 2851 | 1 | 378240 | 19
2022-09-24 | 701228 | 3850 | 31149268 | 8562 | 8733840 | 3533 | 98349 | 98349 | 132.093 | 21855 | 6.774 | 62950 | 7754.0107 | 240559 | 46 | 54241493 | 6710 | 59253 | 364 | 1686 | 17 | 318 | 1 | 849746 | 2400000 | 368585 | 0 |  | 67138 | 0 | 247138 | 191 | 11780923 | 7892 | 28972 | 2 | 31818 | 939 | 636515 | 410000 | 234978 | 0 | 95756 | 400000 | 269527 | 0 | 485297 | 770000 | 19321 | 0 | 483431 | 610000 | 124015 | 0 |  | 1039069 | 928 | 560908 | 470 | 286626 | 182 | 153644 | 141 | 146932 | 42 | 90345 | 12 | 509005 | 96 | 2851 | 0 | 378265 | 25
2022-09-25 | 705394 | 4166 | 31158245 | 8977 | 8737601 | 3761 |  | 98486 | 154.673 | 21862 | 7.903 | 63024 | 9893.0481 | 240610 | 51 | 54249054 | 7561 | 59640 | 387 | 1705 | 19 | 319 | 1 | 849993 | 2470000 | 368585 | 0 |  | 67138 | 0 | 247335 | 197 | 11787997 | 7074 | 28974 | 2 | 32737 | 919 | 636562 | 470000 | 234978 | 0 | 95816 | 600000 | 269527 | 0 | 485385 | 880000 | 19321 | 0 | 483620 | 1890000 | 124015 | 0 |  | 1040184 | 1115 | 561441 | 533 | 286843 | 217 | 153826 | 182 | 146985 | 53 | 90359 | 14 | 509115 | 110 | 2852 | 1 | 378301 | 36
2022-09-26 | 709661 | 4267 | 31167183 | 8938 | 8741462 | 3861 |  | 98590 | 117.416 | 21869 | 7.903 | 63087 | 8422.4599 | 240656 | 46 | 54257479 | 8425 | 60028 | 388 | 1722 | 17 | 320 | 1 | 850248 | 2550000 | 368585 | 0 |  | 67138 | 0 | 247478 | 143 | 11794457 | 6460 | 28975 | 1 | 33526 | 789 | 636697 | 1350000 | 234978 | 0 | 96013 | 1970000 | 269527 | 0 | 485511 | 1260000 | 19321 | 0 | 483776 | 1560000 | 124015 | 0 |  | 1041097 | 913 | 561944 | 503 | 287021 | 178 | 153998 | 172 | 147035 | 50 | 90378 | 19 | 509223 | 108 | 2853 | 1 | 378317 | 16
2022-09-27 | 713212 | 3551 | 31175807 | 8624 | 8744781 | 3319 |  | 98695 | 118.545 | 21875 | 6.774 | 63136 | 6550.8021 | 240703 | 47 | 54265780 | 8301 | 60398 | 370 | 1738 | 16 | 320 | 0 | 850499 | 2510000 | 368585 | 0 |  | 67138 | 0 | 247641 | 163 | 11799215 | 4758 | 28976 | 1 | 34228 | 702 | 636718 | 210000 | 234978 | 0 | 96143 | 1300000 | 269527 | 0 | 485637 | 1260000 | 19321 | 0 | 483900 | 1240000 | 124015 | 0 |  | 1041918 | 821 | 562426 | 482 | 287179 | 158 | 154155 | 157 | 147077 | 42 | 90395 | 17 | 509319 | 96 | 2854 | 1 | 378331 | 14
2022-09-28 | 717080 | 3868 | 31184372 | 8565 | 8748202 | 3421 |  | 98794 | 111.771 | 21882 | 7.903 | 63189 | 7085.5615 | 240748 | 45 | 54273046 | 7266 | 60765 | 367 | 1755 | 17 | 322 | 2 | 850743 | 2440000 | 368585 | 0 |  | 67138 | 0 | 247797 | 156 | 11804368 | 5153 | 28977 | 1 | 34984 | 756 | 636830 | 1120000 | 234978 | 0 | 96258 | 1150000 | 269527 | 0 | 485749 | 1120000 | 19321 | 0 | 484000 | 1000000 | 124015 | 0 |  | 1042751 | 833 | 562909 | 483 | 287350 | 171 | 154308 | 153 | 147133 | 56 | 90413 | 18 | 509417 | 98 | 2855 | 1 | 378343 | 12
2022-09-29 | 720971 | 3891 | 31192853 | 8481 | 8751618 | 3416 |  | 98890 | 108.384 | 21889 | 7.903 | 63246 | 7620.3209 | 240800 | 52 | 54279609 | 6563 | 61134 | 369 | 1775 | 20 | 322 | 0 | 850988 | 2450000 | 368585 | 0 |  | 67138 | 0 | 247937 | 140 | 11809601 | 5233 | 28977 | 0 | 35656 | 672 | 636877 | 470000 | 234978 | 0 | 96305 | 470000 | 269527 | 0 | 485838 | 890000 | 19321 | 0 | 484100 | 1000000 | 124015 | 0 |  | 1043562 | 811 | 563404 | 495 | 287526 | 176 | 154475 | 167 | 147187 | 54 | 90425 | 12 | 509527 | 110 | 2855 | 0 | 378366 | 23
2022-09-30 | 724940 | 3969 | 31201333 | 8480 | 8755010 | 3392 |  | 98995 | 118.545 | 21895 | 6.774 | 63296 | 6684.492 | 240846 | 46 | 54285407 | 5798 | 61504 | 370 | 1792 | 17 | 323 | 1 | 851188 | 2000000 | 368585 | 0 |  | 67138 | 0 | 248097 | 160 | 11815527 | 5926 | 28980 | 3 | 36459 | 803 | 636880 | 30000 | 234978 | 0 | 96417 | 1120000 | 269527 | 0 | 485911 | 730000 | 19321 | 0 | 484189 | 890000 | 124015 | 0 |  | 1044434 | 872 | 563896 | 492 | 287701 | 175 | 154615 | 140 | 147239 | 52 | 90437 | 12 | 509635 | 108 | 2857 | 2 | 378382 | 16
Total |  | 119023 |  | 272225 |  | 107231 |  |  | 3813.152 |  | 235.058 |  | 226604.2781 |  | 1315 |  | 340788 |  | 11011 |  | 492 |  | 24 |  | 82840000 |  | 10000 |  |  | 0 |  | 5067 |  | 189032 |  | 30 |  | 24311 |  | 106650000 |  | 0 |  | 37810000 |  | 0 |  | 53060000 |  | 0 |  | 70750000 |  | 0 |  |  | 26141 |  | 15327 |  | 5631 |  | 4855 |  | 1539 |  | 423 |  | 3130 |  | 29 |  | 594
August |  | 131318 |  | 287463 |  | 114571 |  |  | 3859 |  | 250 |  | 233289 |  | 1258 |  | 472074 |  | 10687 |  | 491 |  | 25 |  | 91710000 |  | 200000 | 12241 |  | 0 |  | 5103 |  | 162020 |  | 17 |  | 24060 |  | 197880000 |  | 0 |  | 60800000 |  | 0 |  | 76150000 |  | 0 |  | 107110000 |  | 0 |  |  | 33132 |  | 15876 |  | 6364 |  | 4589 |  | 1650 |  | 416 |  | 3171 |  | 30 |  | 956
Varience |  | -12295 |  | -15238 |  | -7340 |  |  | -45.848 |  | -14.942 |  | -6684.7219 |  | 57 |  | -131286 |  | 324 |  | 1 |  | -1 |  | -8870000 |  | -190000 | -12241 |  | 0 |  | -36 |  | 27012 |  | 13 |  | 251 |  | -91230000 |  | 0 |  | -22990000 |  | 0 |  | -23090000 |  | 0 |  | -36360000 |  | 0 |  |  | -6991 |  | -549 |  | -733 |  | 266 |  | -111 |  | 7 |  | -41 |  | -1 |  | -362
Varience % |  | -9.363% |  | -5.301% |  | -6.407% |  |  | -1.188% |  | -5.977% |  | -2.865% |  | 4.531% |  | -27.81% |  | 3.032% |  | 0.2037% |  | -4% |  | -9.672% |  | -95% |  |  | #DIV/0! |  | -0.7055% |  | 16.67% |  | 76.47% |  | 1.043% |  | -46.1% |  | #DIV/0! |  | -37.81% |  | #DIV/0! |  | -30.32% |  | #DIV/0! |  | -33.95% |  | #DIV/0! |  |  | -21.1% |  | -3.458% |  | -11.52% |  | 5.796% |  | -6.727% |  | 1.683% |  | -1.293% |  | -3.333% |  | -37.87%
Formulas:
Date = [Date, row above]+1