## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 10 | 2022 | 56612.64 | 0.44448 | 292.95 | 3.3462 | 798 | 13.83 | 0 | 1.2 | 135.09 | 246
Dubai at Jumeirah Beach | 2 | 10 | 2022 | 55979.28 | 0.44448 | 294.84 | 3.3462 | 859 | 13.83 | 0 | 1.2 | 101.91 | 196
Dubai at Jumeirah Beach | 3 | 10 | 2022 | 52032.96 | 0.44448 | 289.17 | 3.3462 | 897 | 13.83 | 0 | 1.2 | 116.13 | 219
Dubai at Jumeirah Beach | 4 | 10 | 2022 | 53056.08 | 0.44448 | 289.17 | 3.3462 | 929 | 13.83 | 0 | 1.2 | 163.53 | 222
Dubai at Jumeirah Beach | 5 | 10 | 2022 | 57928.08 | 0.44448 | 302.4 | 3.3462 | 746 | 13.83 | 0 | 1.2 | 163.53 | 289
Dubai at Jumeirah Beach | 6 | 10 | 2022 | 52715.04 | 0.44448 | 247.59 | 3.3462 | 590 | 13.83 | 0 | 1.2 | 170.64 | 302
Dubai at Jumeirah Beach | 7 | 10 | 2022 | 52227.84 | 0.44448 | 274.05 | 3.3462 | 539 | 13.83 | 0 | 1.2 | 161.16 | 299
Dubai at Jumeirah Beach | 8 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 299
Dubai at Jumeirah Beach | 9 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 10 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 11 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 10 | 2022 | 135.09 | 246 | 798 | 482 | 251 | 251 | 250.59 | 16 | 3605.28 | 4677.12 | 10182.48 | 779.52 | 12472.32 | 5992.56 | 4384.8 | 4920.72 | 3215.52 | 6382.32 | 50100 | 2200 | 61100 | 137.97 | 154.98 | 0 | 165 | 35.91 | 34.02 | 11.34 | 15.12 | 28.35 | 56.7 | 6 | 6 | 11 | 12 | 5 | 8 | 8 | 3 | 7 | 3 | 6 | 12.6 |  | 7 | 15.3 | 787 | 157.6 | 7600 | 390 | 8400 | 3100 | 900 | 810 | 28.35 | 24.57 | 22.68 | 28.35 | 81.27 | 0
Dubai at Jumeirah Beach | 2 | 10 | 2022 | 101.91 | 196 | 859 | 430 | 314 | 314 | 224.41 | 12 | 2971.92 | 4628.4 | 10426.08 | 828.24 | 12472.32 | 5992.56 | 4433.52 | 4823.28 | 3264.24 | 6138.72 | 51200 | 0 | 60900 | 137.97 | 156.87 | 0 | 165 | 47.25 | 37.8 | 9.45 | 20.79 | 26.46 | 54.81 | 3 | 4 | 24 | 18 | 7 | 8 | 14 | 23 | 13 | 5 | 0 | 11.4 |  | 6.6 | 2.7 | 717 | 146.9 | 8900 | 310 | 10300 | 3000 | 1000 | 900 | 24.57 | 18.9 | 18.9 | 20.79 | 64.26 | 0
Dubai at Jumeirah Beach | 3 | 10 | 2022 | 116.13 | 219 | 897 | 371 | 316 | 316 | 225 | 8 | 2923.2 | 4677.12 | 9159.36 | 633.36 | 11400.48 | 5846.4 | 4238.64 | 4384.8 | 2971.92 | 5797.68 | 46900 | 0 | 57900 | 137.97 | 151.2 | 0 | 162 | 39.69 | 34.02 | 9.45 | 18.9 | 26.46 | 54.81 | 3 | 4 | 15 | 12 | 5 | 8 | 7 | 7 | 7 | 3 | 0 | 11.8 |  | 6.7 | 7.3 | 657 | 151.7 | 8300 | 350 | 9300 | 3100 | 900 | 860 | 26.46 | 22.68 | 20.79 | 15.12 | 58.59 | 0
Dubai at Jumeirah Beach | 4 | 10 | 2022 | 163.53 | 222 | 929 | 429 | 305 | 305 | 218 | 10 | 3020.64 | 4823.28 | 8087.52 | 682.08 | 12277.44 | 5895.12 | 4482.24 | 4725.84 | 3166.8 | 5895.12 | 40200 | 0 | 61000 | 137.97 | 153.09 | -1.89 | 162 | 39.69 | 35.91 | 11.34 | 18.9 | 28.35 | 58.59 | 3 | 4 | 15 | 12 | 7 | 8 | 5 | 11 | 8 | 3 | 0 | 11.2 |  | 6.7 | 7.1 | 695 | 114 | 7100 | 300 | 7800 | 2700 | 900 | 780 | 28.35 | 20.79 | 17.01 | 15.12 | 60.48 | 0
Dubai at Jumeirah Beach | 5 | 10 | 2022 | 163.53 | 289 | 746 | 421 | 231 | 231 | 221 | 10 | 3118.08 | 4969.44 | 9987.6 | 876.96 | 13495.44 | 6236.16 | 4725.84 | 4920.72 | 3459.12 | 6138.72 | 43100 | 0 | 63600 | 145.53 | 156.87 | 0 | 173 | 41.58 | 32.13 | 13.23 | 17.01 | 22.68 | 60.48 | 6 | 6 | 16 | 12 | 6 | 9 | 4 | 9 | 7 | 3 | 6 | 11.9 |  | 7.2 | 7.1 | 686 | 108 | 8100 | 340 | 9600 | 3100 | 1000 | 900 | 26.46 | 22.68 | 20.79 | 17.01 | 58.59 | 0
Dubai at Jumeirah Beach | 6 | 10 | 2022 | 170.64 | 302 | 590 | 443 | 344 | 344 | 237 | 8 | 2923.2 | 4433.52 | 9987.6 | 828.24 | 11887.68 | 5554.08 | 4043.76 | 4384.8 | 2923.2 | 5748.96 | 53000 | 0 | 61900 | 132.3 | 115.29 | 0 | 157 | 43.47 | 39.69 | 15.12 | 17.01 | 32.13 | 56.7 | 7 | 8 | 12 | 11 | 6 | 13 | 4 | 8 | 7 | 3 | 6 | 11.3 |  | 6.5 | 7.6 | 747 | 101.2 | 11000 | 420 | 13000 | 4200 | 1400 | 1150 | 32.13 | 24.57 | 24.57 | 17.01 | 77.49 | 0
Dubai at Jumeirah Beach | 7 | 10 | 2022 | 161.16 | 299 | 539 | 469 | 317 | 317 | 194 | 9 | 6333.6 | 4628.4 | 6820.8 | 292.32 | 10085.04 | 5943.84 | 4384.8 | 4579.68 | 3069.36 | 6090 | 33000 | 0 | 50900 | 137.97 | 136.08 | 0 | 162 | 39.69 | 34.02 | 7.56 | 18.9 | 24.57 | 58.59 | 7 | 8 | 11 | 10 | 6 | 11 | 4 | 8 | 7 | 3 | 6 | 11.9 |  | 6.7 | 8.6 | 710 | 14.3 | 4100 | 240 | 4500 | 1900 | 500 | 680 | 26.46 | 24.57 | 26.46 | 26.46 | 75.6 | 0
Dubai at Jumeirah Beach | 8 | 10 | 2022 |  | 299
Dubai at Jumeirah Beach | 9 | 10 | 2022
Dubai at Jumeirah Beach | 10 | 10 | 2022
Dubai at Jumeirah Beach | 11 | 10 | 2022
Dubai at Jumeirah Beach | 12 | 10 | 2022
Dubai at Jumeirah Beach | 13 | 10 | 2022
Dubai at Jumeirah Beach | 14 | 10 | 2022
Dubai at Jumeirah Beach | 15 | 10 | 2022
Dubai at Jumeirah Beach | 16 | 10 | 2022
Dubai at Jumeirah Beach | 17 | 10 | 2022
Dubai at Jumeirah Beach | 18 | 10 | 2022
Dubai at Jumeirah Beach | 19 | 10 | 2022
Dubai at Jumeirah Beach | 20 | 10 | 2022
Dubai at Jumeirah Beach | 21 | 10 | 2022
Dubai at Jumeirah Beach | 22 | 10 | 2022
Dubai at Jumeirah Beach | 23 | 10 | 2022
Dubai at Jumeirah Beach | 24 | 10 | 2022
Dubai at Jumeirah Beach | 25 | 10 | 2022
Dubai at Jumeirah Beach | 26 | 10 | 2022
Dubai at Jumeirah Beach | 27 | 10 | 2022
Dubai at Jumeirah Beach | 28 | 10 | 2022
Dubai at Jumeirah Beach | 29 | 10 | 2022
Dubai at Jumeirah Beach | 30 | 10 | 2022
Dubai at Jumeirah Beach | 31 | 10 | 2022

## DJB Daily Readings
Daily Water Consumption October 2020 | [18 empty] | Electricity Daily Consumption October 2020 | [29 empty] | Chiller BTU Meter Reading October 2020 | [20 empty] | Lpg Daily Consumption October 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading October 2020 | [11 empty] | F & B Village Chilled Water Reading October 2020 | [11 empty] | F & B Village Daily Lpg Reading October 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 73% | 249637 | 798 | 765 | 209695 | 482 | 417 | 164625 | 0 | 901152 | 251 | 232884 | 169 | 104106 | 250.59 | 271.21 | 5473 | 16 | 7964940.48 | 3605.28 | 3605.28 | 15154258.56 | 4677.12 | 4677.12 | 15418467.12 | 10182.48 | 10182.48 | 18468095.52 | 779.52 | 779.52 | 18698151.36 | 12472.32 | 12472.32 | 17163422.64 | 5992.56 | 5992.56 | 14474224.8 | 4384.8 | 4384.8 | 13983955.44 | 4920.72 | 4920.72 | 10964777.04 | 3215.52 | 3215.52 | 17294138.4 | 6382.32 | 6382.32 | 76246300 | 50100 | 50100 | 78795900 | 2200 | 2200 | 72490300 | 61100 | 61100 | [10 empty] | 9666570 | 9040 | 62% | 10% | -10% | 62854 | 19 | 54074 | 18 | 18304 | 6 | 24871 | 8 | 27478 | 15 | 60101 | 30 | 262903 | 73 | 73 | 208474 | 82 | 82 | 349824 | 0 | 0 | 682901 | 165 | 8333 | 6 | 5640 | 6 | 31073 | 12 | 31339 | 11 | 21176 | 8 | 23594 | 5 | 6400 | 3 | 9205 | 8 | 3032 | 3 | 5804 | 7 | 29895 | 6 | 5531.6 | 12.6 | 10690 | 9.1 | 4319.7 | 7 | 4891.7 | 15.3 | 1081222 | 787 | 221444.6 | 157.6 | 11732700 | 7600 | 913400 | 390 | 7048100 | 3100 | 2456600 | 900 | 1222870 | 810 | 16160500 | 8400 | 41021 | 15 | 35956 | 13 | 6825 | 0 | 58275 | 12 | 47099 | 43
2020-01-01 | 57% | 250435 |  |  | 210177 |  |  | 164625 |  | 901403 |  | 233053 |  | 104356.59 |  |  | 5489 |  | 7968545.76 |  |  | 15158935.68 |  |  | 15428649.6 |  |  | 18468875.04 |  |  | 18710623.68 |  |  | 17169415.2 |  |  | 14478609.6 |  |  | 13988876.16 |  |  | 10967992.56 |  |  | 17300520.72 |  |  | 76296400 |  |  | 78798100 |  |  | 72551400 | [12 empty] | 9675610 |  | 72% |  |  | 62873 |  | 54092 |  | 18310 |  | 24879 |  | 27493 |  | 60131 |  | 262976 |  |  | 208556 |  |  | 349824 |  |  | 683066 |  | 8339 |  | 5646 |  | 31085 |  | 31350 |  | 21184 |  | 23599 |  | 6403 |  | 9213 |  | 3035 |  | 5811 |  | 29901 |  | 5544.2 |  | 10699.1 |  | 4326.7 |  | 4907 |  | 1082009 |  | 221602.2 |  | 11740300 |  | 913790 |  | 7051200 |  | 2457500 |  | 1223680 |  | 16168900 |  | 41036 |  | 35969 |  | 6840 |  | 58287 |  | 47142
2020-01-02 | 43% | 251294 | 859 | 697 | 210607 | 430 | 324 | 164625 | 0 | 901717 | 314 | 233199 | 146 | 104581 | 224.41 | 264.55 | 5501 | 12 | 7971517.68 | 2971.92 | 2971.92 | 15163564.08 | 4628.4 | 4628.4 | 15439075.68 | 10426.08 | 10426.08 | 18469703.28 | 828.24 | 828.24 | 18723096 | 12472.32 | 12472.32 | 17175407.76 | 5992.56 | 5992.56 | 14483043.12 | 4433.52 | 4433.52 | 13993699.44 | 4823.28 | 4823.28 | 10971256.8 | 3264.24 | 3264.24 | 17306659.44 | 6138.72 | 6138.72 | 76347600 | 51200 | 51200 | 78798100 | 0 | 0 | 72612300 | 60900 | 60900 | [10 empty] | 9684000 | 8390 | 69% | 3% | 3% | 62898 | 25 | 54112 | 20 | 18315 | 5 | 24890 | 11 | 27507 | 14 | 60160 | 29 | 263049 | 73 | 73 | 208639 | 83 | 83 | 349824 | 0 | 0 | 683231 | 165 | 8343 | 4 | 5649 | 3 | 31103 | 18 | 31374 | 24 | 21192 | 8 | 23606 | 7 | 6426 | 23 | 9227 | 14 | 3040 | 5 | 5824 | 13 | 29901 | 0 | 5555.6 | 11.4 | 10707.7 | 8.6 | 4333.3 | 6.6 | 4909.7 | 2.7 | 1082726 | 717 | 221749.1 | 146.9 | 11749200 | 8900 | 914100 | 310 | 7054200 | 3000 | 2458500 | 1000 | 1224580 | 900 | 16179200 | 10300 | 41049 | 13 | 35979 | 10 | 6851 | 11 | 58297 | 10 | 47176 | 34
2020-01-03 | 49% | 252191 | 897 | 711 | 210978 | 371 | 314 | 164625 | 0 | 902033 | 316 | 233414 | 215 | 104806 | 225 | 234.09 | 5509 | 8 | 7974440.88 | 2923.2 | 2923.2 | 15168241.2 | 4677.12 | 4677.12 | 15448235.04 | 9159.36 | 9159.36 | 18470336.64 | 633.36 | 633.36 | 18734496.48 | 11400.48 | 11400.48 | 17181254.16 | 5846.4 | 5846.4 | 14487281.76 | 4238.64 | 4238.64 | 13998084.24 | 4384.8 | 4384.8 | 10974228.72 | 2971.92 | 2971.92 | 17312457.12 | 5797.68 | 5797.68 | 76394500 | 46900 | 46900 | 78798100 | 0 | 0 | 72670200 | 57900 | 57900 | [10 empty] | 9691920 | 7920 | 66% | 3% | 3% | 62919 | 21 | 54130 | 18 | 18320 | 5 | 24900 | 10 | 27521 | 14 | 60189 | 29 | 263122 | 73 | 73 | 208719 | 80 | 80 | 349824 | 0 | 0 | 683393 | 162 | 8347 | 4 | 5652 | 3 | 31115 | 12 | 31389 | 15 | 21200 | 8 | 23611 | 5 | 6433 | 7 | 9234 | 7 | 3043 | 3 | 5831 | 7 | 29901 | 0 | 5567.4 | 11.8 | 10716.1 | 8.4 | 4340 | 6.7 | 4917 | 7.3 | 1083383 | 657 | 221900.8 | 151.7 | 11757500 | 8300 | 914450 | 350 | 7057300 | 3100 | 2459400 | 900 | 1225440 | 860 | 16188500 | 9300 | 41063 | 14 | 35991 | 12 | 6859 | 8 | 58308 | 11 | 47207 | 31
2020-01-04 | 69% | 253120 | 929 | 574 | 211407 | 429 | 298 | 164625 | 0 | 902338 | 305 | 233638 | 224 | 105024 | 218 | 221.29 | 5519 | 10 | 7977461.52 | 3020.64 | 3020.64 | 15173064.48 | 4823.28 | 4823.28 | 15456322.56 | 8087.52 | 8087.52 | 18471018.72 | 682.08 | 682.08 | 18746773.92 | 12277.44 | 12277.44 | 17187149.28 | 5895.12 | 5895.12 | 14491764 | 4482.24 | 4482.24 | 14002810.08 | 4725.84 | 4725.84 | 10977395.52 | 3166.8 | 3166.8 | 17318352.24 | 5895.12 | 5895.12 | 76434700 | 40200 | 40200 | 78798100 | 0 | 0 | 72731200 | 61000 | 61000 | [10 empty] | 9700570 | 8650 | 63% | 3% | 3% | 62940 | 21 | 54149 | 19 | 18326 | 6 | 24910 | 10 | 27536 | 15 | 60220 | 31 | 263195 | 73 | 73 | 208800 | 81 | 81 | 349823 | -1 | -1 | 683555 | 162 | 8351 | 4 | 5655 | 3 | 31127 | 12 | 31404 | 15 | 21208 | 8 | 23618 | 7 | 6444 | 11 | 9239 | 5 | 3046 | 3 | 5839 | 8 | 29901 | 0 | 5578.6 | 11.2 | 10724.5 | 8.4 | 4346.7 | 6.7 | 4924.1 | 7.1 | 1084078 | 695 | 222014.8 | 114 | 11764600 | 7100 | 914750 | 300 | 7060000 | 2700 | 2460300 | 900 | 1226220 | 780 | 16196300 | 7800 | 41078 | 15 | 36002 | 11 | 6867 | 8 | 58317 | 9 | 47239 | 32
2020-01-05 | 69% | 253866 | 746 | 810 | 211828 | 421 | 306 | 164625 | 0 | 902569 | 231 | 233744 | 106 | 105245 | 221 | 221.84 | 5529 | 10 | 7980579.6 | 3118.08 | 3118.08 | 15178033.92 | 4969.44 | 4969.44 | 15466310.16 | 9987.6 | 9987.6 | 18471895.68 | 876.96 | 876.96 | 18760269.36 | 13495.44 | 13495.44 | 17193385.44 | 6236.16 | 6236.16 | 14496489.84 | 4725.84 | 4725.84 | 14007730.8 | 4920.72 | 4920.72 | 10980854.64 | 3459.12 | 3459.12 | 17324490.96 | 6138.72 | 6138.72 | 76477800 | 43100 | 43100 | 78798100 | 0 | 0 | 72794800 | 63600 | 63600 | [10 empty] | 9709490 | 8920 | 60% | 3% | 3% | 62962 | 22 | 54166 | 17 | 18333 | 7 | 24919 | 9 | 27548 | 12 | 60252 | 32 | 263272 | 77 | 77 | 208883 | 83 | 83 | 349823 | 0 | 0 | 683728 | 173 | 8357 | 6 | 5661 | 6 | 31139 | 12 | 31420 | 16 | 21217 | 9 | 23624 | 6 | 6453 | 9 | 9243 | 4 | 3049 | 3 | 5846 | 7 | 29907 | 6 | 5590.5 | 11.9 | 10734 | 9.5 | 4353.9 | 7.2 | 4931.2 | 7.1 | 1084764 | 686 | 222122.8 | 108 | 11772700 | 8100 | 915090 | 340 | 7063100 | 3100 | 2461300 | 1000 | 1227120 | 900 | 16205900 | 9600 | 41092 | 14 | 36014 | 12 | 6876 | 9 | 58328 | 11 | 47270 | 31
2020-01-06 | 72% | 254456 | 590 | 792 | 212271 | 443 | 330 | 164625 | 0 | 902913 | 344 | 233980 | 236 | 105482 | 237 | 224.28 | 5537 | 8 | 7983502.8 | 2923.2 | 2923.2 | 15182467.44 | 4433.52 | 4433.52 | 15476297.76 | 9987.6 | 9987.6 | 18472723.92 | 828.24 | 828.24 | 18772157.04 | 11887.68 | 11887.68 | 17198939.52 | 5554.08 | 5554.08 | 14500533.6 | 4043.76 | 4043.76 | 14012115.6 | 4384.8 | 4384.8 | 10983777.84 | 2923.2 | 2923.2 | 17330239.92 | 5748.96 | 5748.96 | 76530800 | 53000 | 53000 | 78798100 | 0 | 0 | 72856700 | 61900 | 61900 | [10 empty] | 9718090 | 8600 | 58% | 2% | 2% | 62985 | 23 | 54187 | 21 | 18341 | 8 | 24928 | 9 | 27565 | 17 | 60282 | 30 | 263342 | 70 | 70 | 208944 | 61 | 61 | 349823 | 0 | 0 | 683885 | 157 | 8365 | 8 | 5668 | 7 | 31150 | 11 | 31432 | 12 | 21230 | 13 | 23630 | 6 | 6461 | 8 | 9247 | 4 | 3052 | 3 | 5853 | 7 | 29913 | 6 | 5601.8 | 11.3 | 10742.3 | 8.3 | 4360.4 | 6.5 | 4938.8 | 7.6 | 1085511 | 747 | 222224 | 101.2 | 11783700 | 11000 | 915510 | 420 | 7067300 | 4200 | 2462700 | 1400 | 1228270 | 1150 | 16218900 | 13000 | 41109 | 17 | 36027 | 13 | 6885 | 9 | 58341 | 13 | 47311 | 41
2020-01-07 | 68% | 254995 | 539 | 792 | 212740 | 469 | 401 | 164625 | 0 | 903230 | 317 | 234222 | 242 | 105676 | 194 | 234.37 | 5546 | 9 | 7989836.4 | 6333.6 | 6333.6 | 15187095.84 | 4628.4 | 4628.4 | 15483118.56 | 6820.8 | 6820.8 | 18473016.24 | 292.32 | 292.32 | 18782242.08 | 10085.04 | 10085.04 | 17204883.36 | 5943.84 | 5943.84 | 14504918.4 | 4384.8 | 4384.8 | 14016695.28 | 4579.68 | 4579.68 | 10986847.2 | 3069.36 | 3069.36 | 17336329.92 | 6090 | 6090 | 76563800 | 33000 | 33000 | 78798100 | 0 | 0 | 72907600 | 50900 | 50900 | [10 empty] | 9726840 | 8750 | 51% | 7% | 7% | 63006 | 21 | 54205 | 18 | 18345 | 4 | 24938 | 10 | 27578 | 13 | 60313 | 31 | 263415 | 73 | 73 | 209016 | 72 | 72 | 349823 | 0 | 0 | 684047 | 162 | 8373 | 8 | 5675 | 7 | 31160 | 10 | 31443 | 11 | 21241 | 11 | 23636 | 6 | 6469 | 8 | 9251 | 4 | 3055 | 3 | 5860 | 7 | 29919 | 6 | 5613.7 | 11.9 | 10751.4 | 9.1 | 4367.1 | 6.7 | 4947.4 | 8.6 | 1086221 | 710 | 222238.3 | 14.3 | 11787800 | 4100 | 915750 | 240 | 7069200 | 1900 | 2463200 | 500 | 1228950 | 680 | 16223400 | 4500 | 41123 | 14 | 36040 | 13 | 6899 | 14 | 58355 | 14 | 47351 | 40
2020-01-08 | 0% | 0 | -254995 | 635 | 0 | -212740 | 376 | 0 | -164625 | 0 | -903230 | 0 | -234222 | 0 | -105676 | 245.14 | 0 | -5546 | 0 | -7989836.4 | -7989836.4 | 0 | -15187095.84 | -15187095.84 | 0 | -15483118.56 | -15483118.56 | 0 | -18473016.24 | -18473016.24 | 0 | -18782242.08 | -18782242.08 | 0 | -17204883.36 | -17204883.36 | 0 | -14504918.4 | -14504918.4 | 0 | -14016695.28 | -14016695.28 | 0 | -10986847.2 | -10986847.2 | 0 | -17336329.92 | -17336329.92 | 0 | -76563800 | -76563800 | 0 | -78798100 | -78798100 | 0 | -72907600 | -72907600 | [10 empty] | 0 | -9726840 | 0% | 51% | 51% | 0 | -63006 | 0 | -54205 | 0 | -18345 | 0 | -24938 | 0 | -27578 | 0 | -60313 | 0 | -263415 | -263415 | 0 | -209016 | -209016 | 0 | -349823 | -349823 | 0 | -684047 | 0 | -8373 | 0 | -5675 | 0 | -31160 | 0 | -31443 | 0 | -21241 | 0 | -23636 | 0 | -6469 | 0 | -9251 | 0 | -3055 | 0 | -5860 | 0 | -29919 | 0 | -5613.7 | 0 | -10751.4 | 0 | -4367.1 | 0 | -4947.4 | 0 | -1086221 | 0 | -222238.3 | 0 | -11787800 | 0 | -915750 | 0 | -7069200 | 0 | -2463200 | 0 | -1228950 | 0 | -16223400 | 0 | -41123 | 0 | -36040 | 0 | -6899 | 0 | -58355 | 0 | -47351
2020-01-09 | 0% | 0 | 0 | 627 | 0 | 0 | 366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 240.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-10 | 0% | 0 | 0 | 736 | 0 | 0 | 322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 231.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-11 | 0% | 0 | 0 | 689 | 0 | 0 | 334 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 196.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-12 | 0% | 0 | 0 | 741 | 0 | 0 | 357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 178.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-13 | 0% | 0 | 0 | 879 | 0 | 0 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 657 | 0 | 0 | 479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 211.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 804 | 0 | 0 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 637 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 223.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 601 | 0 | 0 | 342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 173.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 631 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 201.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 689 | 0 | 0 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 629 | 0 | 0 | 398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 664 | 0 | 0 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 201.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 679 | 0 | 0 | 444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 660 | 0 | 0 | 449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 589 | 0 | 0 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 172.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 597 | 0 | 0 | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 201.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 622 | 0 | 0 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 830 | 0 | 0 | 423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 693 | 0 | 0 | 427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 660 | 0 | 0 | 464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 670 | 0 | 0 | 465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 659 | 0 | 0 | 438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 187.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption October 2018 | [18 empty] | Electricity Daily Consumption October 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption October 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
October Reading 2017 two weeks |  | 10909 |  |  | 5301 | [8 empty] | 3367.55 |  |  |  |  | -7964940.48 |  |  | -15154258.56 |  |  | -15418467.12 |  |  | -18468095.52 |  |  | -18698151.36 |  |  | -17163422.64 |  |  | -14474224.8 |  |  | -13983955.44 |  |  | -10964777.04 |  |  | -17294138.4 |  |  | -76246300 |  |  | -78795900 |  |  | -72490300 | [29 empty] | -262903 |  |  | -208474 |  |  | -349824
October Reading 2018 two weeks |  | -249637 |  |  | -209695 | [8 empty] | -104106 |  |  |  |  | -7964940.48 |  |  | -15154258.56 |  |  | -15418467.12 |  |  | -18468095.52 |  |  | -18698151.36 |  |  | -17163422.64 |  |  | -14474224.8 |  |  | -13983955.44 |  |  | -10964777.04 |  |  | -17294138.4 |  |  | -76246300 |  |  | -78795900 |  |  | -72490300 | [29 empty] | -262903 |  |  | -208474 |  |  | -349824 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
October Reading 2017 Monthly |  | 20760 |  |  | 11428 |  |  | 7048.9 |  | 7702.2 |  |  |  | 6142.34 |  |  | 476 |  | -7964940.48 |  |  | -15154258.56 |  |  | -15418467.12 |  |  | -18468095.52 |  |  | -18698151.36 |  |  | -17163422.64 |  |  | -14474224.8 |  |  | -13983955.44 |  |  | -10964777.04 |  |  | -17294138.4 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -262903 |  |  | -208474 |  |  | -349824 |  |  | 3894 | [14 empty] | 487.2
October Reading 2018 Monthly |  | -250435 |  |  | -209695 |  |  | -164625 |  | -901152 |  |  |  | -104106 |  |  | -5473 |  | -7964940.48 |  |  | -15154258.56 |  |  | -15418467.12 |  |  | -18468095.52 |  |  | -18698151.36 |  |  | -17163422.64 |  |  | -14474224.8 |  |  | -13983955.44 |  |  | -10964777.04 |  |  | -17294138.4 |  |  | -76246300 |  |  | -78795900 |  |  | -72490300 | [12 empty] | -9666570 |  |  |  |  | -62854 |  | -54074 |  | -18304 |  | -24871 |  | -27478 |  | -60101 |  | -262903 |  |  | -208474 |  |  | -349824 |  |  | -682901
Difference |  | 271195 |  |  | 221123 |  |  | 171673.9 |  | 908854.2 |  |  |  | 110248.34 |  |  | 5949 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -76593600 |  |  | -79157000 |  |  | -73049142 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 686795
Total Monthly Electrical Kwh | [18 empty] | October 2017 Kwh | [5 empty] | -149584431.36 | [5 empty] | October 2018 Kwh | [5 empty] | -149584431.36 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | October 2017 Kwh two weeks | [5 empty] | -149584431.36 | [5 empty] | October 2018 Kwh two weeks | [5 empty] | -149584431.36 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -227532500 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]October - 2022'!AC40
Daily Consumption Kwh 2018 = '[1]October - 2022'!AD40
Daily Consumption Kwh 2018 = '[1]October - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]October - 2022'!AD40
Daily Consumption Kwh 2017 = '[1]October - 2022'!AG40
EMDB-2 Elevators = '[1]October - 2022'!AF40
MDB-1 Chiller # 1 = '[1]October - 2022'!AI40
MDB-2 Chiller # 2 = '[1]October - 2022'!AL40
MDB-3 Chiller # 3 = '[1]October - 2022'!AO40
MDB-4 North Riser Guest Rooms = '[1]October - 2022'!AR40
MDB-5 North Riser Guest Rooms = '[1]October - 2022'!AU40
MDB-6 Main Kitchen = '[1]October - 2022'!AX40
MDB-7 South Riser Guest Rooms = '[1]October - 2022'!BA40
MDB-8 F & B = '[1]October - 2022'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill