## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 10 | 2022 | 56612.64 | 0.44448 | 292.95 | 3.3462 | 798 | 13.83 | 0 | 1.2 | 135.09 | 246
Dubai at Jumeirah Beach | 2 | 10 | 2022 | 55979.28 | 0.44448 | 294.84 | 3.3462 | 859 | 13.83 | 0 | 1.2 | 101.91 | 196
Dubai at Jumeirah Beach | 3 | 10 | 2022 | 52032.96 | 0.44448 | 289.17 | 3.3462 | 897 | 13.83 | 0 | 1.2 | 116.13 | 219
Dubai at Jumeirah Beach | 4 | 10 | 2022 | 53056.08 | 0.44448 | 291.06 | 3.3462 | 929 | 13.83 | 0 | 1.2 | 135.09 | 222
Dubai at Jumeirah Beach | 5 | 10 | 2022 | 57928.08 | 0.44448 | 302.4 | 3.3462 | 746 | 13.83 | 0 | 1.2 | 156.42 | 278
Dubai at Jumeirah Beach | 6 | 10 | 2022 | 52715.04 | 0.44448 | 247.59 | 3.3462 | 590 | 13.83 | 0 | 1.2 | 165.9 | 289
Dubai at Jumeirah Beach | 7 | 10 | 2022 | 49986.72 | 0.44448 | 274.05 | 3.3462 | 539 | 13.83 | 0 | 1.2 | 173.01 | 302
Dubai at Jumeirah Beach | 8 | 10 | 2022 | 56953.68 | 0.44448 | 285.39 | 3.3462 | 752 | 13.83 | 0 | 1.2 | 156.42 | 299
Dubai at Jumeirah Beach | 9 | 10 | 2022 | 45601.92 | 0.44448 | 253.26 | 3.3462 | 880 | 13.83 | 0 | 1.2 | 165.9 | 309
Dubai at Jumeirah Beach | 10 | 10 | 2022 | 55199.76 | 0.44448 | 257.04 | 3.3462 | 841 | 13.83 | 0 | 1.2 | 182.49 | 351
Dubai at Jumeirah Beach | 11 | 10 | 2022 | 49402.08 | 0.44448 | 289.17 | 3.3462 | 910 | 13.83 | 0 | 1.2 | 187.23 | 340
Dubai at Jumeirah Beach | 12 | 10 | 2022 | 58853.76 | 0.44448 | 338.31 | 3.3462 | 915 | 13.83 | 85 | 1.2 | 194.34 | 338
Dubai at Jumeirah Beach | 13 | 10 | 2022 | 50132.88 | 0.44448 | 292.95 | 3.3462 | 943 | 13.83 | 116 | 1.2 | 196.71 | 361
Dubai at Jumeirah Beach | 14 | 10 | 2022 | 48866.16 | 0.44448 | 326.97 | 3.3462 | 934 | 13.83 | 116 | 1.2 | 182.49 | 351
Dubai at Jumeirah Beach | 15 | 10 | 2022 | 51838.08 | 0.44448 | 325.08 | 3.3462 | 1011 | 13.83 | 143 | 1.2 | 184.86 | 371
Dubai at Jumeirah Beach | 16 | 10 | 2022 | 53153.52 | 0.44448 | 302.4 | 3.3462 | 886 | 13.83 | 81 | 1.2 | 163.53 | 335
Dubai at Jumeirah Beach | 17 | 10 | 2022 | 53153.52 | 0.44448 | 298.62 | 3.3462 | 799 | 13.83 | 103 | 1.2 | 156.42 | 322
Dubai at Jumeirah Beach | 18 | 10 | 2022 | 53445.84 | 0.44448 | 313.74 | 3.3462 | 893 | 13.83 | 126 | 1.2 | 163.53 | 299
Dubai at Jumeirah Beach | 19 | 10 | 2022 | 51789.36 | 0.44448 | 294.84 | 3.3462 | 863 | 13.83 | 73 | 1.2 | 139.83 | 274
Dubai at Jumeirah Beach | 20 | 10 | 2022 | 53445.84 | 0.44448 | 315.63 | 3.3462 | 878 | 13.83 | 110 | 1.2 | 139.83 | 290
Dubai at Jumeirah Beach | 21 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 373
Dubai at Jumeirah Beach | 22 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 10 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Note on K12: Sophia Patrice Agrisola Malveda: New meter added

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 10 | 2022 | 135.09 | 246 | 798 | 482 | 251 | 251 | 250.59 | 16 | 3605.28 | 4677.12 | 10182.48 | 779.52 | 12472.32 | 5992.56 | 4384.8 | 4920.72 | 3215.52 | 6382.32 | 50100 | 2200 | 61100 | 137.97 | 154.98 | 0 | 165 | 35.91 | 34.02 | 11.34 | 15.12 | 28.35 | 56.7 | 6 | 6 | 11 | 12 | 5 | 8 | 8 | 3 | 7 | 3 | 6 | 12.6 |  | 7 | 15.3 | 787 | 157.6 | 7600 | 390 | 8400 | 3100 | 900 | 810 | 28.35 | 24.57 | 22.68 | 28.35 | 81.27 | 0
Dubai at Jumeirah Beach | 2 | 10 | 2022 | 101.91 | 196 | 859 | 430 | 314 | 314 | 224.41 | 12 | 2971.92 | 4628.4 | 10426.08 | 828.24 | 12472.32 | 5992.56 | 4433.52 | 4823.28 | 3264.24 | 6138.72 | 51200 | 0 | 60900 | 137.97 | 156.87 | 0 | 165 | 47.25 | 37.8 | 9.45 | 20.79 | 26.46 | 54.81 | 3 | 4 | 24 | 18 | 7 | 8 | 14 | 23 | 13 | 5 | 0 | 11.4 |  | 6.6 | 2.7 | 717 | 146.9 | 8900 | 310 | 10300 | 3000 | 1000 | 900 | 24.57 | 18.9 | 18.9 | 20.79 | 64.26 | 0
Dubai at Jumeirah Beach | 3 | 10 | 2022 | 116.13 | 219 | 897 | 371 | 316 | 316 | 225 | 8 | 2923.2 | 4677.12 | 9159.36 | 633.36 | 11400.48 | 5846.4 | 4238.64 | 4384.8 | 2971.92 | 5797.68 | 46900 | 0 | 57900 | 137.97 | 151.2 | 0 | 162 | 39.69 | 34.02 | 9.45 | 18.9 | 26.46 | 54.81 | 3 | 4 | 15 | 12 | 5 | 8 | 7 | 7 | 7 | 3 | 0 | 11.8 |  | 6.7 | 7.3 | 657 | 151.7 | 8300 | 350 | 9300 | 3100 | 900 | 860 | 26.46 | 22.68 | 20.79 | 15.12 | 58.59 | 0
Dubai at Jumeirah Beach | 4 | 10 | 2022 | 135.09 | 222 | 929 | 429 | 305 | 305 | 218 | 10 | 3020.64 | 4823.28 | 8087.52 | 682.08 | 12277.44 | 5895.12 | 4482.24 | 4725.84 | 3166.8 | 5895.12 | 40200 | 0 | 61000 | 137.97 | 153.09 | 0 | 162 | 39.69 | 35.91 | 11.34 | 18.9 | 28.35 | 58.59 | 3 | 4 | 15 | 12 | 7 | 8 | 5 | 11 | 8 | 3 | 0 | 11.2 |  | 6.7 | 7.1 | 695 | 114 | 7100 | 300 | 7800 | 2700 | 900 | 780 | 28.35 | 20.79 | 17.01 | 15.12 | 60.48 | 0
Dubai at Jumeirah Beach | 5 | 10 | 2022 | 156.42 | 278 | 746 | 421 | 231 | 231 | 221 | 10 | 3118.08 | 4969.44 | 9987.6 | 876.96 | 13495.44 | 6236.16 | 4725.84 | 4920.72 | 3459.12 | 6138.72 | 43100 | 0 | 63600 | 145.53 | 156.87 | 0 | 173 | 41.58 | 32.13 | 13.23 | 17.01 | 22.68 | 60.48 | 6 | 6 | 16 | 12 | 6 | 9 | 4 | 9 | 7 | 3 | 6 | 11.9 |  | 7.2 | 7.1 | 686 | 108 | 8100 | 340 | 9600 | 3100 | 1000 | 900 | 26.46 | 22.68 | 20.79 | 17.01 | 58.59 | 0
Dubai at Jumeirah Beach | 6 | 10 | 2022 | 165.9 | 289 | 590 | 443 | 344 | 344 | 237 | 8 | 2923.2 | 4433.52 | 9987.6 | 828.24 | 11887.68 | 5554.08 | 4043.76 | 4384.8 | 2923.2 | 5748.96 | 53000 | 0 | 61900 | 132.3 | 115.29 | 0 | 157 | 43.47 | 39.69 | 15.12 | 17.01 | 32.13 | 56.7 | 7 | 8 | 12 | 11 | 6 | 13 | 4 | 8 | 7 | 3 | 6 | 11.3 |  | 6.5 | 7.6 | 747 | 101.2 | 11000 | 420 | 13000 | 4200 | 1400 | 1150 | 32.13 | 24.57 | 24.57 | 17.01 | 77.49 | 0
Dubai at Jumeirah Beach | 7 | 10 | 2022 | 173.01 | 302 | 539 | 469 | 317 | 317 | 194 | 9 | 4092.48 | 4628.4 | 6820.8 | 292.32 | 10085.04 | 5943.84 | 4384.8 | 4579.68 | 3069.36 | 6090 | 33000 | 0 | 50900 | 137.97 | 136.08 | 0 | 162 | 39.69 | 34.02 | 7.56 | 18.9 | 24.57 | 58.59 | 7 | 8 | 11 | 10 | 6 | 11 | 4 | 8 | 7 | 3 | 6 | 11.9 |  | 6.7 | 8.6 | 710 | 14.3 | 4100 | 240 | 4500 | 1900 | 500 | 680 | 26.46 | 24.57 | 26.46 | 26.46 | 75.6 | 0
Dubai at Jumeirah Beach | 8 | 10 | 2022 | 156.42 | 299 | 752 | 511 | 363 | 363 | 195 | 13 | 1948.8 | 5115.6 | 292.32 | 13836.48 | 5554.08 | 6528.48 | 7746.48 | 5505.36 | 3507.84 | 6918.24 | 0 | 59100 | 28300 | 147.42 | 137.97 | 0 | 174 | 43.47 | 39.69 | 13.23 | 17.01 | 28.35 | 68.04 | 7 | 7 | 10 | 10 | 6 | 9 | 7 | 8 | 7 | 3 | 1 | 12.2 |  | 7.1 | 8.3 | 789 | 235.6 | 7100 | 340 | 8100 | 3000 | 1300 | 990 | 30.24 | 26.46 | 32.13 | 24.57 | 75.6 | 0
Dubai at Jumeirah Beach | 9 | 10 | 2022 | 165.9 | 309 | 880 | 443 | 284 | 284 | 195 | 14 | 2679.6 | 4384.8 | 389.76 | 11449.2 | 6820.8 | 5407.92 | 1559.04 | 4287.36 | 3215.52 | 5407.92 | 0 | 59000 | 34400 | 132.3 | 120.96 | 0 | 158 | 41.58 | 37.8 | 11.34 | 18.9 | 22.68 | 66.15 | 3 | 4 | 28 | 34 | 7 | 0 | 21 | 28 | 15 | 3 | 1 | 11.3 |  | 6.4 | 8.4 | 681 | 144.3 | 4600 | 230 | 5300 | 2000 | 400 | 600 | 22.68 | 20.79 | 24.57 | 22.68 | 60.48 | 0
Dubai at Jumeirah Beach | 10 | 10 | 2022 | 182.49 | 351 | 841 | 452 | 203 | 203 | 199 | 9 | 2971.92 | 4872 | 438.48 | 12715.92 | 8233.68 | 6138.72 | 4823.28 | 5066.88 | 3848.88 | 6090 | 0 | 60500 | 36900 | 141.75 | 115.29 | 0 | 170 | 47.25 | 43.47 | 11.34 | 18.9 | 32.13 | 64.26 | 3 | 5 | 19 | 13 | 7 | 7 | 6 | 9 | 8 | 3 | 9 | 11.5 |  | 7.1 | 7.5 | 699 | 155.8 | 7100 | 300 | 8400 | 2800 | 600 | 800 | 34.02 | 24.57 | 24.57 | 15.12 | 60.48 | 0
Dubai at Jumeirah Beach | 11 | 10 | 2022 | 187.23 | 340 | 910 | 448 | 296 | 296 | 229 | 11 | 2874.48 | 4579.68 | 633.36 | 8720.88 | 9110.64 | 5651.52 | 4336.08 | 4579.68 | 3361.68 | 5554.08 | 0 | 62700 | 50100 | 136.08 | 153.09 | 0 | 161 | 35.91 | 32.13 | 11.34 | 18.9 | 30.24 | 68.04 | 5 | 6 | 14 | 11 | 6 | 8 | 7 | 9 | 8 | 3 | 2 | 10.9 |  | 6.8 | 6.8 | 657 | 148.8 | 7700 | 300 | 8800 | 2900 | 900 | 830 | 20.79 | 20.79 | 22.68 | 17.01 | 64.26 | 0
Dubai at Jumeirah Beach | 12 | 10 | 2022 | 194.34 | 338 | 915 | 503 | 355 | 355 | 215 | 19 | 3215.52 | 4969.44 | 11351.76 | 12715.92 | 1169.28 | 6138.72 | 4725.84 | 4920.72 | 3507.84 | 6138.72 | 51600 | 47200 | 7200 | 158.76 | 179.55 | 0 | 168 | 45.36 | 37.8 | 13.23 | 18.9 | 30.24 | 62.37 | 8 | 10 | 14 | 15 | 6 | 8 | 5 | 9 | 9 | 3 | 8 | 12.1 |  | 7.4 | 7.4 | 699 | 159.9 | 7500 | 310 | 8300 | 2900 | 800 | 850 | 28.35 | 24.57 | 34.02 | 18.9 | 66.15 | 85
Dubai at Jumeirah Beach | 13 | 10 | 2022 | 196.71 | 361 | 943 | 445 | 323 | 323 | 182 | 13 | 2923.2 | 4628.4 | 12374.88 | 5018.16 | 0 | 5846.4 | 4433.52 | 4677.12 | 4384.8 | 5846.4 | 61500 | 26300 | 0 | 119.07 | 173.88 | 0 | 164 | 35.91 | 39.69 | 11.34 | 20.79 | 24.57 | 62.37 | 8 | 8 | 11 | 16 | 7 | 8 | 8 | 8 | 8 | 2 | 1 | 11.2 |  | 6.8 | 6.9 | 661 | 145.4 | 6000 | 300 | 6700 | 2600 | 600 | 800 | 28.35 | 24.57 | 30.24 | 17.01 | 68.04 | 116
Dubai at Jumeirah Beach | 14 | 10 | 2022 | 182.49 | 351 | 934 | 514 | 320 | 320 | 180 | 10 | 3020.64 | 4677.12 | 12813.36 | 5164.32 | 0 | 5943.84 | 4579.68 | 4872 | 1607.76 | 6187.44 | 60900 | 26600 | 0 | 141.75 | 185.22 | 0 | 171 | 37.8 | 34.02 | 13.23 | 20.79 | 30.24 | 58.59 | 7 | 10 | 14 | 15 | 6 | 10 | 10 | 11 | 10 | 4 | 9 | 11.5 |  | 6.8 | 8.5 | 696 | 153.9 | 6000 | 290 | 7100 | 2500 | 600 | 810 | 28.35 | 24.57 | 30.24 | 22.68 | 73.71 | 116
Dubai at Jumeirah Beach | 15 | 10 | 2022 | 184.86 | 371 | 1011 | 534 | 334 | 334 | 192 | 13 | 3312.96 | 4677.12 | 4628.4 | 1315.44 | 12764.64 | 5943.84 | 4774.56 | 4969.44 | 3215.52 | 6236.16 | 26400 | 0 | 65000 | 139.86 | 185.22 | 0 | 169 | 35.91 | 39.69 | 13.23 | 20.79 | 26.46 | 64.26 | 5 | 9 | 13 | 15 | 6 | 10 | 10 | 10 | 10 | 4 | 0 | 13 |  | 7.4 | 8.8 | 750 | 160.7 | 7100 | 300 | 8100 | 2800 | 600 | 880 | 28.35 | 22.68 | 35.91 | 32.13 | 77.49 | 143
Dubai at Jumeirah Beach | 16 | 10 | 2022 | 163.53 | 335 | 886 | 416 | 289 | 289 | 209 | 19 | 3264.24 | 4774.56 | 8818.32 | 1461.6 | 10377.36 | 5992.56 | 4482.24 | 4774.56 | 3020.64 | 6187.44 | 47600 | 0 | 65050 | 141.75 | 160.65 | 0 | 170 | 43.47 | 37.8 | 9.45 | 20.79 | 26.46 | 64.26 | 4 | 4 | 22 | 18 | 6 | 7 | 11 | 14 | 8 | 2 | 4 | 11.3 |  | 6.5 | 8.4 | 681 | 144.5 | 7100 | 280 | 7900 | 2700 | 500 | 790 | 26.46 | 18.9 | 26.46 | 17.01 | 66.15 | 81
Dubai at Jumeirah Beach | 17 | 10 | 2022 | 156.42 | 322 | 799 | 377 | 345 | 345 | 213 | 5 | 3995.04 | 4677.12 | 9646.56 | 828.24 | 9938.88 | 5992.56 | 4384.8 | 4823.28 | 2923.2 | 5943.84 | 45600 | 0 | 50350 | 137.97 | 160.65 | 0 | 166 | 45.36 | 35.91 | 11.34 | 20.79 | 28.35 | 60.48 | 2 | 5 | 15 | 15 | 6 | 7 | 7 | 6 | 6 | 3 | 16 | 11.7 |  | 6.9 | 7.6 | 698 | 151.2 | 8000 | 300 | 9300 | 3000 | 600 | 860 | 24.57 | 20.79 | 22.68 | 13.23 | 58.59 | 103
Dubai at Jumeirah Beach | 18 | 10 | 2022 | 163.53 | 299 | 893 | 400 | 332 | 332 | 195 | 14 | 3069.36 | 4677.12 | 8233.68 | 487.2 | 12618.48 | 5943.84 | 4433.52 | 5018.16 | 3069.36 | 5895.12 | 34400 | 0 | 62600 | 143.64 | 170.1 | 0 | 170 | 41.58 | 34.02 | 9.45 | 20.79 | 26.46 | 64.26 | 2 | 5 | 14 | 11 | 6 | 8 | 7 | 6 | 6 | 3 | 4 | 11.8 |  | 7.1 | 7.1 | 698 | 156.4 | 9900 | 390 | 11500 | 4000 | 800 | 1120 | 28.35 | 22.68 | 22.68 | 15.12 | 69.93 | 126
Dubai at Jumeirah Beach | 19 | 10 | 2022 | 139.83 | 274 | 863 | 397 | 262 | 262 | 212 | 21 | 2923.2 | 4384.8 | 9841.44 | 633.36 | 11303.04 | 5651.52 | 4189.92 | 4433.52 | 2777.04 | 5651.52 | 48100 | 0 | 60400 | 132.3 | 162.54 | 0 | 160 | 43.47 | 35.91 | 15.12 | 18.9 | 24.57 | 58.59 | 7 | 10 | 14 | 16 | 7 | 9 | 8 | 11 | 11 | 3 | 1 | 11.4 |  | 7 | 6.9 | 663 | 154.2 | 5400 | 230 | 6500 | 2000 | 500 | 650 | 26.46 | 18.9 | 30.24 | 18.9 | 62.37 | 73
Dubai at Jumeirah Beach | 20 | 10 | 2022 | 139.83 | 290 | 878 | 434 | 303 | 303 | 209 | 14 | 2777.04 | 4872 | 9695.28 | 584.64 | 11497.92 | 5992.56 | 4482.24 | 4725.84 | 2971.92 | 5846.4 | 43700 | 0 | 59100 | 141.75 | 173.88 | 0 | 171 | 45.36 | 39.69 | 13.23 | 20.79 | 30.24 | 66.15 | 7 | 9 | 16 | 16 | 6 | 10 | 8 | 9 | 8 | 3 | 11 | 11.2 |  | 6.8 | 7.2 | 708 | 146.8 | 7800 | 330 | 9200 | 3000 | 500 | 870 | 30.24 | 24.57 | 32.13 | 17.01 | 68.04 | 110
Dubai at Jumeirah Beach | 21 | 10 | 2022 | 189.6 | 373 | -3977 | 475 | 126 | 126 | 206 | 15 | 3020.64 | 4920.72 | 10620.96 | 779.52 | 10767.12 | 6187.44 | 4677.12 | 4774.56 | 3020.64 | 6236.16 | 44600 | 0 | 55500 | 139.86 | 143.64 | -1.89 | 167 | 45.36 | 39.69 | 11.34 | 22.68 | 26.46 | 69.93 | 6 | 9 | 18 | 18 | 7 | 12 | 9 | 11 | 9 | 3 | 11 | 12.4 |  | 6.9 | 8.5 | 738 | 157 | 7300 | 330 | 8600 | 2900 | 600 | 880 | 28.35 | 17.01 | 24.57 | 26.46 | 79.38 | 114
Dubai at Jumeirah Beach | 22 | 10 | 2022
Dubai at Jumeirah Beach | 23 | 10 | 2022
Dubai at Jumeirah Beach | 24 | 10 | 2022
Dubai at Jumeirah Beach | 25 | 10 | 2022
Dubai at Jumeirah Beach | 26 | 10 | 2022
Dubai at Jumeirah Beach | 27 | 10 | 2022
Dubai at Jumeirah Beach | 28 | 10 | 2022
Dubai at Jumeirah Beach | 29 | 10 | 2022
Dubai at Jumeirah Beach | 30 | 10 | 2022
Dubai at Jumeirah Beach | 31 | 10 | 2022

## DJB Daily Readings
Daily Water Consumption October 2020 | [18 empty] | Electricity Daily Consumption October 2020 | [29 empty] | Chiller BTU Meter Reading October 2020 | [20 empty] | Lpg Daily Consumption October 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading October 2020 | [11 empty] | F & B Village Chilled Water Reading October 2020 | [11 empty] | F & B Village Daily Lpg Reading October 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 73% | 249637 | 798 | 765 | 209695 | 482 | 417 | 164625 | 0 | 901152 | 251 | 232884 | 169 | 104106 | 250.59 | 271.21 | 5473 | 16 | 7964940.48 | 3605.28 | 3605.28 | 15154258.56 | 4677.12 | 4677.12 | 15418467.12 | 10182.48 | 10182.48 | 18468095.52 | 779.52 | 779.52 | 18698151.36 | 12472.32 | 12472.32 | 17163422.64 | 5992.56 | 5992.56 | 14474224.8 | 4384.8 | 4384.8 | 13983955.44 | 4920.72 | 4920.72 | 10964777.04 | 3215.52 | 3215.52 | 17294138.4 | 6382.32 | 6382.32 | 76246300 | 50100 | 50100 | 78795900 | 2200 | 2200 | 72490300 | 61100 | 61100 | [10 empty] | 9666570 | 9040 | 62% | 10% | -10% | 62854 | 19 | 54074 | 18 | 18304 | 6 | 24871 | 8 | 27478 | 15 | 60101 | 30 | 262903 | 73 | 73 | 208474 | 82 | 82 | 349824 | 0 | 0 | 682901 | 165 | 8333 | 6 | 5640 | 6 | 31073 | 12 | 31339 | 11 | 21176 | 8 | 23594 | 5 | 6400 | 3 | 9205 | 8 | 3032 | 3 | 5804 | 7 | 29895 | 6 | 5531.6 | 12.6 | 10690 | 9.1 | 4319.7 | 7 | 4891.7 | 15.3 | 1081222 | 787 | 221444.6 | 157.6 | 11732700 | 7600 | 913400 | 390 | 7048100 | 3100 | 2456600 | 900 | 1222870 | 810 | 16160500 | 8400 | 41021 | 15 | 35956 | 13 | 6825 | 0 | 58275 | 12 | 47099 | 43
2020-01-01 | 57% | 250435 |  |  | 210177 |  |  | 164625 |  | 901403 |  | 233053 |  | 104356.59 |  |  | 5489 |  | 7968545.76 |  |  | 15158935.68 |  |  | 15428649.6 |  |  | 18468875.04 |  |  | 18710623.68 |  |  | 17169415.2 |  |  | 14478609.6 |  |  | 13988876.16 |  |  | 10967992.56 |  |  | 17300520.72 |  |  | 76296400 |  |  | 78798100 |  |  | 72551400 | [12 empty] | 9675610 |  | 72% |  |  | 62873 |  | 54092 |  | 18310 |  | 24879 |  | 27493 |  | 60131 |  | 262976 |  |  | 208556 |  |  | 349824 |  |  | 683066 |  | 8339 |  | 5646 |  | 31085 |  | 31350 |  | 21184 |  | 23599 |  | 6403 |  | 9213 |  | 3035 |  | 5811 |  | 29901 |  | 5544.2 |  | 10699.1 |  | 4326.7 |  | 4907 |  | 1082009 |  | 221602.2 |  | 11740300 |  | 913790 |  | 7051200 |  | 2457500 |  | 1223680 |  | 16168900 |  | 41036 |  | 35969 |  | 6840 |  | 58287 |  | 47142
2020-01-02 | 43% | 251294 | 859 | 697 | 210607 | 430 | 324 | 164625 | 0 | 901717 | 314 | 233199 | 146 | 104581 | 224.41 | 264.55 | 5501 | 12 | 7971517.68 | 2971.92 | 2971.92 | 15163564.08 | 4628.4 | 4628.4 | 15439075.68 | 10426.08 | 10426.08 | 18469703.28 | 828.24 | 828.24 | 18723096 | 12472.32 | 12472.32 | 17175407.76 | 5992.56 | 5992.56 | 14483043.12 | 4433.52 | 4433.52 | 13993699.44 | 4823.28 | 4823.28 | 10971256.8 | 3264.24 | 3264.24 | 17306659.44 | 6138.72 | 6138.72 | 76347600 | 51200 | 51200 | 78798100 | 0 | 0 | 72612300 | 60900 | 60900 | [10 empty] | 9684000 | 8390 | 69% | 3% | 3% | 62898 | 25 | 54112 | 20 | 18315 | 5 | 24890 | 11 | 27507 | 14 | 60160 | 29 | 263049 | 73 | 73 | 208639 | 83 | 83 | 349824 | 0 | 0 | 683231 | 165 | 8343 | 4 | 5649 | 3 | 31103 | 18 | 31374 | 24 | 21192 | 8 | 23606 | 7 | 6426 | 23 | 9227 | 14 | 3040 | 5 | 5824 | 13 | 29901 | 0 | 5555.6 | 11.4 | 10707.7 | 8.6 | 4333.3 | 6.6 | 4909.7 | 2.7 | 1082726 | 717 | 221749.1 | 146.9 | 11749200 | 8900 | 914100 | 310 | 7054200 | 3000 | 2458500 | 1000 | 1224580 | 900 | 16179200 | 10300 | 41049 | 13 | 35979 | 10 | 6851 | 11 | 58297 | 10 | 47176 | 34
2020-01-03 | 49% | 252191 | 897 | 711 | 210978 | 371 | 314 | 164625 | 0 | 902033 | 316 | 233414 | 215 | 104806 | 225 | 234.09 | 5509 | 8 | 7974440.88 | 2923.2 | 2923.2 | 15168241.2 | 4677.12 | 4677.12 | 15448235.04 | 9159.36 | 9159.36 | 18470336.64 | 633.36 | 633.36 | 18734496.48 | 11400.48 | 11400.48 | 17181254.16 | 5846.4 | 5846.4 | 14487281.76 | 4238.64 | 4238.64 | 13998084.24 | 4384.8 | 4384.8 | 10974228.72 | 2971.92 | 2971.92 | 17312457.12 | 5797.68 | 5797.68 | 76394500 | 46900 | 46900 | 78798100 | 0 | 0 | 72670200 | 57900 | 57900 | [10 empty] | 9691920 | 7920 | 66% | 3% | 3% | 62919 | 21 | 54130 | 18 | 18320 | 5 | 24900 | 10 | 27521 | 14 | 60189 | 29 | 263122 | 73 | 73 | 208719 | 80 | 80 | 349824 | 0 | 0 | 683393 | 162 | 8347 | 4 | 5652 | 3 | 31115 | 12 | 31389 | 15 | 21200 | 8 | 23611 | 5 | 6433 | 7 | 9234 | 7 | 3043 | 3 | 5831 | 7 | 29901 | 0 | 5567.4 | 11.8 | 10716.1 | 8.4 | 4340 | 6.7 | 4917 | 7.3 | 1083383 | 657 | 221900.8 | 151.7 | 11757500 | 8300 | 914450 | 350 | 7057300 | 3100 | 2459400 | 900 | 1225440 | 860 | 16188500 | 9300 | 41063 | 14 | 35991 | 12 | 6859 | 8 | 58308 | 11 | 47207 | 31
2020-01-04 | 57% | 253120 | 929 | 574 | 211407 | 429 | 298 | 164625 | 0 | 902338 | 305 | 233638 | 224 | 105024 | 218 | 221.29 | 5519 | 10 | 7977461.52 | 3020.64 | 3020.64 | 15173064.48 | 4823.28 | 4823.28 | 15456322.56 | 8087.52 | 8087.52 | 18471018.72 | 682.08 | 682.08 | 18746773.92 | 12277.44 | 12277.44 | 17187149.28 | 5895.12 | 5895.12 | 14491764 | 4482.24 | 4482.24 | 14002810.08 | 4725.84 | 4725.84 | 10977395.52 | 3166.8 | 3166.8 | 17318352.24 | 5895.12 | 5895.12 | 76434700 | 40200 | 40200 | 78798100 | 0 | 0 | 72731200 | 61000 | 61000 | [10 empty] | 9700570 | 8650 | 63% | 3% | 3% | 62940 | 21 | 54149 | 19 | 18326 | 6 | 24910 | 10 | 27536 | 15 | 60220 | 31 | 263195 | 73 | 73 | 208800 | 81 | 81 | 349824 | 0 | 0 | 683555 | 162 | 8351 | 4 | 5655 | 3 | 31127 | 12 | 31404 | 15 | 21208 | 8 | 23618 | 7 | 6444 | 11 | 9239 | 5 | 3046 | 3 | 5839 | 8 | 29901 | 0 | 5578.6 | 11.2 | 10724.5 | 8.4 | 4346.7 | 6.7 | 4924.1 | 7.1 | 1084078 | 695 | 222014.8 | 114 | 11764600 | 7100 | 914750 | 300 | 7060000 | 2700 | 2460300 | 900 | 1226220 | 780 | 16196300 | 7800 | 41078 | 15 | 36002 | 11 | 6867 | 8 | 58317 | 9 | 47239 | 32
2020-01-05 | 66% | 253866 | 746 | 810 | 211828 | 421 | 306 | 164625 | 0 | 902569 | 231 | 233744 | 106 | 105245 | 221 | 221.84 | 5529 | 10 | 7980579.6 | 3118.08 | 3118.08 | 15178033.92 | 4969.44 | 4969.44 | 15466310.16 | 9987.6 | 9987.6 | 18471895.68 | 876.96 | 876.96 | 18760269.36 | 13495.44 | 13495.44 | 17193385.44 | 6236.16 | 6236.16 | 14496489.84 | 4725.84 | 4725.84 | 14007730.8 | 4920.72 | 4920.72 | 10980854.64 | 3459.12 | 3459.12 | 17324490.96 | 6138.72 | 6138.72 | 76477800 | 43100 | 43100 | 78798100 | 0 | 0 | 72794800 | 63600 | 63600 | [10 empty] | 9709490 | 8920 | 60% | 3% | 3% | 62962 | 22 | 54166 | 17 | 18333 | 7 | 24919 | 9 | 27548 | 12 | 60252 | 32 | 263272 | 77 | 77 | 208883 | 83 | 83 | 349824 | 0 | 0 | 683728 | 173 | 8357 | 6 | 5661 | 6 | 31139 | 12 | 31420 | 16 | 21217 | 9 | 23624 | 6 | 6453 | 9 | 9243 | 4 | 3049 | 3 | 5846 | 7 | 29907 | 6 | 5590.5 | 11.9 | 10734 | 9.5 | 4353.9 | 7.2 | 4931.2 | 7.1 | 1084764 | 686 | 222122.8 | 108 | 11772700 | 8100 | 915090 | 340 | 7063100 | 3100 | 2461300 | 1000 | 1227120 | 900 | 16205900 | 9600 | 41092 | 14 | 36014 | 12 | 6876 | 9 | 58328 | 11 | 47270 | 31
2020-01-06 | 70% | 254456 | 590 | 792 | 212271 | 443 | 330 | 164625 | 0 | 902913 | 344 | 233980 | 236 | 105482 | 237 | 224.28 | 5537 | 8 | 7983502.8 | 2923.2 | 2923.2 | 15182467.44 | 4433.52 | 4433.52 | 15476297.76 | 9987.6 | 9987.6 | 18472723.92 | 828.24 | 828.24 | 18772157.04 | 11887.68 | 11887.68 | 17198939.52 | 5554.08 | 5554.08 | 14500533.6 | 4043.76 | 4043.76 | 14012115.6 | 4384.8 | 4384.8 | 10983777.84 | 2923.2 | 2923.2 | 17330239.92 | 5748.96 | 5748.96 | 76530800 | 53000 | 53000 | 78798100 | 0 | 0 | 72856700 | 61900 | 61900 | [10 empty] | 9718090 | 8600 | 58% | 2% | 2% | 62985 | 23 | 54187 | 21 | 18341 | 8 | 24928 | 9 | 27565 | 17 | 60282 | 30 | 263342 | 70 | 70 | 208944 | 61 | 61 | 349824 | 0 | 0 | 683885 | 157 | 8365 | 8 | 5668 | 7 | 31150 | 11 | 31432 | 12 | 21230 | 13 | 23630 | 6 | 6461 | 8 | 9247 | 4 | 3052 | 3 | 5853 | 7 | 29913 | 6 | 5601.8 | 11.3 | 10742.3 | 8.3 | 4360.4 | 6.5 | 4938.8 | 7.6 | 1085511 | 747 | 222224 | 101.2 | 11783700 | 11000 | 915510 | 420 | 7067300 | 4200 | 2462700 | 1400 | 1228270 | 1150 | 16218900 | 13000 | 41109 | 17 | 36027 | 13 | 6885 | 9 | 58341 | 13 | 47311 | 41
2020-01-07 | 73% | 254995 | 539 | 792 | 212740 | 469 | 401 | 164625 | 0 | 903230 | 317 | 234222 | 242 | 105676 | 194 | 234.37 | 5546 | 9 | 7987595.28 | 4092.48 | 4092.48 | 15187095.84 | 4628.4 | 4628.4 | 15483118.56 | 6820.8 | 6820.8 | 18473016.24 | 292.32 | 292.32 | 18782242.08 | 10085.04 | 10085.04 | 17204883.36 | 5943.84 | 5943.84 | 14504918.4 | 4384.8 | 4384.8 | 14016695.28 | 4579.68 | 4579.68 | 10986847.2 | 3069.36 | 3069.36 | 17336329.92 | 6090 | 6090 | 76563800 | 33000 | 33000 | 78798100 | 0 | 0 | 72907600 | 50900 | 50900 | [10 empty] | 9726840 | 8750 | 51% | 7% | 7% | 63006 | 21 | 54205 | 18 | 18345 | 4 | 24938 | 10 | 27578 | 13 | 60313 | 31 | 263415 | 73 | 73 | 209016 | 72 | 72 | 349824 | 0 | 0 | 684047 | 162 | 8373 | 8 | 5675 | 7 | 31160 | 10 | 31443 | 11 | 21241 | 11 | 23636 | 6 | 6469 | 8 | 9251 | 4 | 3055 | 3 | 5860 | 7 | 29919 | 6 | 5613.7 | 11.9 | 10751.4 | 9.1 | 4367.1 | 6.7 | 4947.4 | 8.6 | 1086221 | 710 | 222238.3 | 14.3 | 11787800 | 4100 | 915750 | 240 | 7069200 | 1900 | 2463200 | 500 | 1228950 | 680 | 16223400 | 4500 | 41123 | 14 | 36040 | 13 | 6899 | 14 | 58355 | 14 | 47351 | 40
2020-01-08 | 66% | 255747 | 752 | 635 | 213251 | 511 | 376 | 164625 | 0 | 903593 | 363 | 234411 | 189 | 105871 | 195 | 245.14 | 5559 | 13 | 7989544.08 | 1948.8 | 1948.8 | 15192211.44 | 5115.6 | 5115.6 | 15483410.88 | 292.32 | 292.32 | 18486852.72 | 13836.48 | 13836.48 | 18787796.16 | 5554.08 | 5554.08 | 17211411.84 | 6528.48 | 6528.48 | 14512664.88 | 7746.48 | 7746.48 | 14022200.64 | 5505.36 | 5505.36 | 10990355.04 | 3507.84 | 3507.84 | 17343248.16 | 6918.24 | 6918.24 | 76563800 | 0 | 0 | 78857200 | 59100 | 59100 | 72935900 | 28300 | 28300 | [10 empty] | 9736340 | 9500 | 69% | -18% | -18% | 63029 | 23 | 54226 | 21 | 18352 | 7 | 24947 | 9 | 27593 | 15 | 60349 | 36 | 263493 | 78 | 78 | 209089 | 73 | 73 | 349824 | 0 | 0 | 684221 | 174 | 8380 | 7 | 5682 | 7 | 31170 | 10 | 31453 | 10 | 21250 | 9 | 23642 | 6 | 6477 | 8 | 9258 | 7 | 3058 | 3 | 5867 | 7 | 29920 | 1 | 5625.9 | 12.2 | 10761 | 9.6 | 4374.2 | 7.1 | 4955.7 | 8.3 | 1087010 | 789 | 222473.9 | 235.6 | 11794900 | 7100 | 916090 | 340 | 7072200 | 3000 | 2464500 | 1300 | 1229940 | 990 | 16231500 | 8100 | 41139 | 16 | 36054 | 14 | 6912 | 13 | 58372 | 17 | 47391 | 40
2020-01-09 | 70% | 256627 | 880 | 627 | 213694 | 443 | 366 | 164625 | 0 | 903877 | 284 | 234583 | 172 | 106066 | 195 | 240.34 | 5573 | 14 | 7992223.68 | 2679.6 | 2679.6 | 15196596.24 | 4384.8 | 4384.8 | 15483800.64 | 389.76 | 389.76 | 18498301.92 | 11449.2 | 11449.2 | 18794616.96 | 6820.8 | 6820.8 | 17216819.76 | 5407.92 | 5407.92 | 14514223.92 | 1559.04 | 1559.04 | 14026488 | 4287.36 | 4287.36 | 10993570.56 | 3215.52 | 3215.52 | 17348656.08 | 5407.92 | 5407.92 | 76563800 | 0 | 0 | 78916200 | 59000 | 59000 | 72970300 | 34400 | 34400 | [10 empty] | 9744560 | 8220 | 66% | 3% | 3% | 63051 | 22 | 54246 | 20 | 18358 | 6 | 24957 | 10 | 27605 | 12 | 60384 | 35 | 263563 | 70 | 70 | 209153 | 64 | 64 | 349824 | 0 | 0 | 684379 | 158 | 8384 | 4 | 5685 | 3 | 31204 | 34 | 31481 | 28 | 21250 | 0 | 23649 | 7 | 6505 | 28 | 9279 | 21 | 3061 | 3 | 5882 | 15 | 29921 | 1 | 5637.2 | 11.3 | 10769.3 | 8.3 | 4380.6 | 6.4 | 4964.1 | 8.4 | 1087691 | 681 | 222618.2 | 144.3 | 11799500 | 4600 | 916320 | 230 | 7074200 | 2000 | 2464900 | 400 | 1230540 | 600 | 16236800 | 5300 | 41151 | 12 | 36065 | 11 | 6924 | 12 | 58385 | 13 | 47423 | 32
2020-01-10 | 77% | 257468 | 841 | 736 | 214146 | 452 | 322 | 164625 | 0 | 904080 | 203 | 234694 | 111 | 106265 | 199 | 231.2 | 5582 | 9 | 7995195.6 | 2971.92 | 2971.92 | 15201468.24 | 4872 | 4872 | 15484239.12 | 438.48 | 438.48 | 18511017.84 | 12715.92 | 12715.92 | 18802850.64 | 8233.68 | 8233.68 | 17222958.48 | 6138.72 | 6138.72 | 14519047.2 | 4823.28 | 4823.28 | 14031554.88 | 5066.88 | 5066.88 | 10997419.44 | 3848.88 | 3848.88 | 17354746.08 | 6090 | 6090 | 76563800 | 0 | 0 | 78976700 | 60500 | 60500 | 73007200 | 36900 | 36900 | [10 empty] | 9751180 | 6620 | 62% | 4% | 4% | 63076 | 25 | 54269 | 23 | 18364 | 6 | 24967 | 10 | 27622 | 17 | 60418 | 34 | 263638 | 75 | 75 | 209214 | 61 | 61 | 349824 | 0 | 0 | 684549 | 170 | 8389 | 5 | 5688 | 3 | 31217 | 13 | 31500 | 19 | 21257 | 7 | 23656 | 7 | 6514 | 9 | 9285 | 6 | 3064 | 3 | 5890 | 8 | 29930 | 9 | 5648.7 | 11.5 | 10778.2 | 8.9 | 4387.7 | 7.1 | 4971.6 | 7.5 | 1088390 | 699 | 222774 | 155.8 | 11806600 | 7100 | 916620 | 300 | 7077000 | 2800 | 2465500 | 600 | 1231340 | 800 | 16245200 | 8400 | 41169 | 18 | 36078 | 13 | 6932 | 8 | 58398 | 13 | 47455 | 32
2020-01-11 | 79% | 258378 | 910 | 689 | 214594 | 448 | 334 | 0 | 0 | 904376 | 296 | 234860 | 166 | 106494 | 229 | 196.7 | 5593 | 11 | 7998070.08 | 2874.48 | 2874.48 | 15206047.92 | 4579.68 | 4579.68 | 15484872.48 | 633.36 | 633.36 | 18519738.72 | 8720.88 | 8720.88 | 18811961.28 | 9110.64 | 9110.64 | 17228610 | 5651.52 | 5651.52 | 14523383.28 | 4336.08 | 4336.08 | 14036134.56 | 4579.68 | 4579.68 | 11000781.12 | 3361.68 | 3361.68 | 17360300.16 | 5554.08 | 5554.08 | 76563800 | 0 | 0 | 79039400 | 62700 | 62700 | 73057300 | 50100 | 50100 | [10 empty] | 9760090 | 8910 | 60% | 2% | 2% | 63095 | 19 | 54286 | 17 | 18370 | 6 | 24977 | 10 | 27638 | 16 | 60454 | 36 | 263710 | 72 | 72 | 209295 | 81 | 81 | 349824 | 0 | 0 | 684710 | 161 | 8395 | 6 | 5693 | 5 | 31228 | 11 | 31514 | 14 | 21265 | 8 | 23662 | 6 | 6523 | 9 | 9292 | 7 | 3067 | 3 | 5898 | 8 | 29932 | 2 | 5659.6 | 10.9 | 10786.5 | 8.3 | 4394.5 | 6.8 | 4978.4 | 6.8 | 1089047 | 657 | 222922.8 | 148.8 | 11814300 | 7700 | 916920 | 300 | 7079900 | 2900 | 2466400 | 900 | 1232170 | 830 | 16254000 | 8800 | 41180 | 11 | 36089 | 11 | 6941 | 9 | 58410 | 12 | 47489 | 34
2020-01-12 | 82% | 259293 | 915 | 741 | 215097 | 503 | 357 | 85 | 85 | 904731 | 355 | 235098 | 238 | 106709 | 215 | 178.64 | 5612 | 19 | 8001285.6 | 3215.52 | 3215.52 | 15211017.36 | 4969.44 | 4969.44 | 15496224.24 | 11351.76 | 11351.76 | 18532454.64 | 12715.92 | 12715.92 | 18813130.56 | 1169.28 | 1169.28 | 17234748.72 | 6138.72 | 6138.72 | 14528109.12 | 4725.84 | 4725.84 | 14041055.28 | 4920.72 | 4920.72 | 11004288.96 | 3507.84 | 3507.84 | 17366438.88 | 6138.72 | 6138.72 | 76615400 | 51600 | 51600 | 79086600 | 47200 | 47200 | 73064500 | 7200 | 7200 | [10 empty] | 9769080 | 8990 | 57% | 3% | 3% | 63119 | 24 | 54306 | 20 | 18377 | 7 | 24987 | 10 | 27654 | 16 | 60487 | 33 | 263794 | 84 | 84 | 209390 | 95 | 95 | 349824 | 0 | 0 | 684878 | 168 | 8405 | 10 | 5701 | 8 | 31243 | 15 | 31528 | 14 | 21273 | 8 | 23668 | 6 | 6532 | 9 | 9297 | 5 | 3070 | 3 | 5907 | 9 | 29940 | 8 | 5671.7 | 12.1 | 10795.8 | 9.3 | 4401.9 | 7.4 | 4985.8 | 7.4 | 1089746 | 699 | 223082.7 | 159.9 | 11821800 | 7500 | 917230 | 310 | 7082800 | 2900 | 2467200 | 800 | 1233020 | 850 | 16262300 | 8300 | 41195 | 15 | 36102 | 13 | 6951 | 10 | 58428 | 18 | 47524 | 35
2020-01-13 | 83% | 260236 | 943 | 879 | 215542 | 445 | 352 | 201 | 116 | 905054 | 323 | 235321 | 223 | 106891 | 182 | 180.25 | 5625 | 13 | 8004208.8 | 2923.2 | 2923.2 | 15215645.76 | 4628.4 | 4628.4 | 15508599.12 | 12374.88 | 12374.88 | 18537472.8 | 5018.16 | 5018.16 | 18813130.56 | 0 | 0 | 17240595.12 | 5846.4 | 5846.4 | 14532542.64 | 4433.52 | 4433.52 | 14045732.4 | 4677.12 | 4677.12 | 11008673.76 | 4384.8 | 4384.8 | 17372285.28 | 5846.4 | 5846.4 | 76676900 | 61500 | 61500 | 79112900 | 26300 | 26300 | 73064500 | 0 | 0 | [10 empty] | 9777630 | 8550 | 51% | 6% | 6% | 63138 | 19 | 54327 | 21 | 18383 | 6 | 24998 | 11 | 27667 | 13 | 60520 | 33 | 263857 | 63 | 63 | 209482 | 92 | 92 | 349824 | 0 | 0 | 685042 | 164 | 8413 | 8 | 5709 | 8 | 31259 | 16 | 31539 | 11 | 21281 | 8 | 23675 | 7 | 6540 | 8 | 9305 | 8 | 3072 | 2 | 5915 | 8 | 29941 | 1 | 5682.9 | 11.2 | 10804.5 | 8.7 | 4408.7 | 6.8 | 4992.7 | 6.9 | 1090407 | 661 | 223228.1 | 145.4 | 11827800 | 6000 | 917530 | 300 | 7085400 | 2600 | 2467800 | 600 | 1233820 | 800 | 16269000 | 6700 | 41210 | 15 | 36115 | 13 | 6960 | 9 | 58444 | 16 | 47560 | 36
2020-01-14 | 77% | 261170 | 934 | 657 | 216056 | 514 | 479 | 317 | 116 | 905374 | 320 | 235513 | 192 | 107071 | 180 | 211.03 | 5635 | 10 | 8007229.44 | 3020.64 | 3020.64 | 15220322.88 | 4677.12 | 4677.12 | 15521412.48 | 12813.36 | 12813.36 | 18542637.12 | 5164.32 | 5164.32 | 18813130.56 | 0 | 0 | 17246538.96 | 5943.84 | 5943.84 | 14537122.32 | 4579.68 | 4579.68 | 14050604.4 | 4872 | 4872 | 11010281.52 | 1607.76 | 1607.76 | 17378472.72 | 6187.44 | 6187.44 | 76737800 | 60900 | 60900 | 79139500 | 26600 | 26600 | 73064500 | 0 | 0 | [10 empty] | 9786550 | 8920 | 48% | 3% | 3% | 63158 | 20 | 54345 | 18 | 18390 | 7 | 25009 | 11 | 27683 | 16 | 60551 | 31 | 263932 | 75 | 75 | 209580 | 98 | 98 | 349824 | 0 | 0 | 685213 | 171 | 8423 | 10 | 5716 | 7 | 31274 | 15 | 31553 | 14 | 21291 | 10 | 23681 | 6 | 6551 | 11 | 9315 | 10 | 3076 | 4 | 5925 | 10 | 29950 | 9 | 5694.4 | 11.5 | 10813.8 | 9.3 | 4415.5 | 6.8 | 5001.2 | 8.5 | 1091103 | 696 | 223382 | 153.9 | 11833800 | 6000 | 917820 | 290 | 7087900 | 2500 | 2468400 | 600 | 1234630 | 810 | 16276100 | 7100 | 41225 | 15 | 36128 | 13 | 6972 | 12 | 58460 | 16 | 47599 | 39
2020-01-15 | 78% | 262181 | 1011 | 804 | 216590 | 534 | 325 | 460 | 143 | 905708 | 334 | 235710 | 197 | 107263 | 192 | 212.62 | 5648 | 13 | 8010542.4 | 3312.96 | 3312.96 | 15225000 | 4677.12 | 4677.12 | 15526040.88 | 4628.4 | 4628.4 | 18543952.56 | 1315.44 | 1315.44 | 18825895.2 | 12764.64 | 12764.64 | 17252482.8 | 5943.84 | 5943.84 | 14541896.88 | 4774.56 | 4774.56 | 14055573.84 | 4969.44 | 4969.44 | 11013497.04 | 3215.52 | 3215.52 | 17384708.88 | 6236.16 | 6236.16 | 76764200 | 26400 | 26400 | 79139500 | 0 | 0 | 73129500 | 65000 | 65000 | [10 empty] | 9795710 | 9160 | 65% | -17% | -17% | 63177 | 19 | 54366 | 21 | 18397 | 7 | 25020 | 11 | 27697 | 14 | 60585 | 34 | 264006 | 74 | 74 | 209678 | 98 | 98 | 349824 | 0 | 0 | 685382 | 169 | 8432 | 9 | 5721 | 5 | 31289 | 15 | 31566 | 13 | 21301 | 10 | 23687 | 6 | 6561 | 10 | 9325 | 10 | 3080 | 4 | 5935 | 10 | 29950 | 0 | 5707.4 | 13 | 10822.8 | 9 | 4422.9 | 7.4 | 5010 | 8.8 | 1091853 | 750 | 223542.7 | 160.7 | 11840900 | 7100 | 918120 | 300 | 7090700 | 2800 | 2469000 | 600 | 1235510 | 880 | 16284200 | 8100 | 41240 | 15 | 36140 | 12 | 6989 | 17 | 58479 | 19 | 47640 | 41
2020-01-16 | 69% | 263067 | 886 | 637 | 217006 | 416 | 401 | 541 | 81 | 905997 | 289 | 235931 | 221 | 107472 | 209 | 223.31 | 5667 | 19 | 8013806.64 | 3264.24 | 3264.24 | 15229774.56 | 4774.56 | 4774.56 | 15534859.2 | 8818.32 | 8818.32 | 18545414.16 | 1461.6 | 1461.6 | 18836272.56 | 10377.36 | 10377.36 | 17258475.36 | 5992.56 | 5992.56 | 14546379.12 | 4482.24 | 4482.24 | 14060348.4 | 4774.56 | 4774.56 | 11016517.68 | 3020.64 | 3020.64 | 17390896.32 | 6187.44 | 6187.44 | 76811800 | 47600 | 47600 | 79139500 | 0 | 0 | 73194550 | 65050 | 65050 | [10 empty] | 9803530 | 7820 | 64% | 1% | 1% | 63200 | 23 | 54386 | 20 | 18402 | 5 | 25031 | 11 | 27711 | 14 | 60619 | 34 | 264081 | 75 | 75 | 209763 | 85 | 85 | 349824 | 0 | 0 | 685552 | 170 | 8436 | 4 | 5725 | 4 | 31307 | 18 | 31588 | 22 | 21308 | 7 | 23693 | 6 | 6575 | 14 | 9336 | 11 | 3082 | 2 | 5943 | 8 | 29954 | 4 | 5718.7 | 11.3 | 10831.4 | 8.6 | 4429.4 | 6.5 | 5018.4 | 8.4 | 1092534 | 681 | 223687.2 | 144.5 | 11848000 | 7100 | 918400 | 280 | 7093400 | 2700 | 2469500 | 500 | 1236300 | 790 | 16292100 | 7900 | 41254 | 14 | 36150 | 10 | 6998 | 9 | 58493 | 14 | 47675 | 35
2020-01-17 | 69% | 263866 | 799 | 601 | 217383 | 377 | 342 | 644 | 103 | 906342 | 345 | 236165 | 234 | 107685 | 213 | 173.14 | 5672 | 5 | 8017801.68 | 3995.04 | 3995.04 | 15234451.68 | 4677.12 | 4677.12 | 15544505.76 | 9646.56 | 9646.56 | 18546242.4 | 828.24 | 828.24 | 18846211.44 | 9938.88 | 9938.88 | 17264467.92 | 5992.56 | 5992.56 | 14550763.92 | 4384.8 | 4384.8 | 14065171.68 | 4823.28 | 4823.28 | 11019440.88 | 2923.2 | 2923.2 | 17396840.16 | 5943.84 | 5943.84 | 76857400 | 45600 | 45600 | 79139500 | 0 | 0 | 73244900 | 50350 | 50350 | [10 empty] | 9811020 | 7490 | 60% | 4% | 4% | 63224 | 24 | 54405 | 19 | 18408 | 6 | 25042 | 11 | 27726 | 15 | 60651 | 32 | 264154 | 73 | 73 | 209848 | 85 | 85 | 349824 | 0 | 0 | 685718 | 166 | 8441 | 5 | 5727 | 2 | 31322 | 15 | 31603 | 15 | 21315 | 7 | 23699 | 6 | 6581 | 6 | 9343 | 7 | 3085 | 3 | 5949 | 6 | 29970 | 16 | 5730.4 | 11.7 | 10840 | 8.6 | 4436.3 | 6.9 | 5026 | 7.6 | 1093232 | 698 | 223838.4 | 151.2 | 11856000 | 8000 | 918700 | 300 | 7096400 | 3000 | 2470100 | 600 | 1237160 | 860 | 16301400 | 9300 | 41267 | 13 | 36161 | 11 | 7005 | 7 | 58505 | 12 | 47706 | 31
2020-01-18 | 66% | 264759 | 893 | 631 | 217783 | 400 | 400 | 770 | 126 | 906674 | 332 | 236399 | 234 | 107880 | 195 | 201.03 | 5686 | 14 | 8020871.04 | 3069.36 | 3069.36 | 15239128.8 | 4677.12 | 4677.12 | 15552739.44 | 8233.68 | 8233.68 | 18546729.6 | 487.2 | 487.2 | 18858829.92 | 12618.48 | 12618.48 | 17270411.76 | 5943.84 | 5943.84 | 14555197.44 | 4433.52 | 4433.52 | 14070189.84 | 5018.16 | 5018.16 | 11022510.24 | 3069.36 | 3069.36 | 17402735.28 | 5895.12 | 5895.12 | 76891800 | 34400 | 34400 | 79139500 | 0 | 0 | 73307500 | 62600 | 62600 | [10 empty] | 9816010 | 4990 | 53% | 7% | 7% | 63246 | 22 | 54423 | 18 | 18413 | 5 | 25053 | 11 | 27740 | 14 | 60685 | 34 | 264230 | 76 | 76 | 209938 | 90 | 90 | 349824 | 0 | 0 | 685888 | 170 | 8446 | 5 | 5729 | 2 | 31333 | 11 | 31617 | 14 | 21323 | 8 | 23705 | 6 | 6587 | 6 | 9350 | 7 | 3088 | 3 | 5955 | 6 | 29974 | 4 | 5742.2 | 11.8 | 10848.6 | 8.6 | 4443.4 | 7.1 | 5033.1 | 7.1 | 1093930 | 698 | 223994.8 | 156.4 | 11865900 | 9900 | 919090 | 390 | 7100400 | 4000 | 2470900 | 800 | 1238280 | 1120 | 16312900 | 11500 | 41282 | 15 | 36173 | 12 | 7013 | 8 | 58517 | 12 | 47743 | 37
2020-01-19 | 59% | 265622 | 863 | 689 | 218180 | 397 | 370 | 843 | 73 | 906936 | 262 | 236596 | 197 | 108092 | 212 | 207.07 | 5707 | 21 | 8023794.24 | 2923.2 | 2923.2 | 15243513.6 | 4384.8 | 4384.8 | 15562580.88 | 9841.44 | 9841.44 | 18547362.96 | 633.36 | 633.36 | 18870132.96 | 11303.04 | 11303.04 | 17276063.28 | 5651.52 | 5651.52 | 14559387.36 | 4189.92 | 4189.92 | 14074623.36 | 4433.52 | 4433.52 | 11025287.28 | 2777.04 | 2777.04 | 17408386.8 | 5651.52 | 5651.52 | 76939900 | 48100 | 48100 | 79139500 | 0 | 0 | 73367900 | 60400 | 60400 | [10 empty] | 9825960 | 9950 | 50% | 3% | 3% | 63269 | 23 | 54442 | 19 | 18421 | 8 | 25063 | 10 | 27753 | 13 | 60716 | 31 | 264300 | 70 | 70 | 210024 | 86 | 86 | 349824 | 0 | 0 | 686048 | 160 | 8456 | 10 | 5736 | 7 | 31349 | 16 | 31631 | 14 | 21332 | 9 | 23712 | 7 | 6598 | 11 | 9358 | 8 | 3091 | 3 | 5966 | 11 | 29975 | 1 | 5753.6 | 11.4 | 10857 | 8.4 | 4450.4 | 7 | 5040 | 6.9 | 1094593 | 663 | 224149 | 154.2 | 11871300 | 5400 | 919320 | 230 | 7102400 | 2000 | 2471400 | 500 | 1238930 | 650 | 16319400 | 6500 | 41296 | 14 | 36183 | 10 | 7023 | 10 | 58533 | 16 | 47776 | 33
2020-01-20 | 59% | 266500 | 878 | 629 | 218614 | 434 | 398 | 953 | 110 | 907239 | 303 | 236777 | 181 | 108301 | 209 | 195.75 | 5721 | 14 | 8026571.28 | 2777.04 | 2777.04 | 15248385.6 | 4872 | 4872 | 15572276.16 | 9695.28 | 9695.28 | 18547947.6 | 584.64 | 584.64 | 18881630.88 | 11497.92 | 11497.92 | 17282055.84 | 5992.56 | 5992.56 | 14563869.6 | 4482.24 | 4482.24 | 14079349.2 | 4725.84 | 4725.84 | 11028259.2 | 2971.92 | 2971.92 | 17414233.2 | 5846.4 | 5846.4 | 76983600 | 43700 | 43700 | 79139500 | 0 | 0 | 73427000 | 59100 | 59100 | [10 empty] | 9834120 | 8160 | 48% | 2% | 2% | 63293 | 24 | 54463 | 21 | 18428 | 7 | 25074 | 11 | 27769 | 16 | 60751 | 35 | 264375 | 75 | 75 | 210116 | 92 | 92 | 349824 | 0 | 0 | 686219 | 171 | 8465 | 9 | 5743 | 7 | 31365 | 16 | 31647 | 16 | 21342 | 10 | 23718 | 6 | 6607 | 9 | 9366 | 8 | 3094 | 3 | 5974 | 8 | 29986 | 11 | 5764.8 | 11.2 | 10865.9 | 8.9 | 4457.2 | 6.8 | 5047.2 | 7.2 | 1095301 | 708 | 224295.8 | 146.8 | 11879100 | 7800 | 919650 | 330 | 7105400 | 3000 | 2471900 | 500 | 1239800 | 870 | 16328600 | 9200 | 41312 | 16 | 36196 | 13 | 7032 | 9 | 58550 | 17 | 47812 | 36
2020-01-21 | 80% | 262523 | -3977 | 664 | 219089 | 475 | 428 | 1067 | 114 | 907365 | 126 | 236980 | 203 | 108507 | 206 | 201.94 | 5736 | 15 | 8029591.92 | 3020.64 | 3020.64 | 15253306.32 | 4920.72 | 4920.72 | 15582897.12 | 10620.96 | 10620.96 | 18548727.12 | 779.52 | 779.52 | 18892398 | 10767.12 | 10767.12 | 17288243.28 | 6187.44 | 6187.44 | 14568546.72 | 4677.12 | 4677.12 | 14084123.76 | 4774.56 | 4774.56 | 11031279.84 | 3020.64 | 3020.64 | 17420469.36 | 6236.16 | 6236.16 | 77028200 | 44600 | 44600 | 79139500 | 0 | 0 | 73482500 | 55500 | 55500 | [10 empty] | 9842600 | 8480 | 55% | -7% | -7% | 63317 | 24 | 54484 | 21 | 18434 | 6 | 25086 | 12 | 27783 | 14 | 60788 | 37 | 264449 | 74 | 74 | 210192 | 76 | 76 | 349823 | -1 | -1 | 686386 | 167 | 8474 | 9 | 5749 | 6 | 31383 | 18 | 31665 | 18 | 21354 | 12 | 23725 | 7 | 6618 | 11 | 9375 | 9 | 3097 | 3 | 5983 | 9 | 29997 | 11 | 5777.2 | 12.4 | 10874.8 | 8.9 | 4464.1 | 6.9 | 5055.7 | 8.5 | 1096039 | 738 | 224452.8 | 157 | 11886400 | 7300 | 919990 | 340 | 7108300 | 2900 | 2472500 | 600 | 1240680 | 880 | 16337200 | 8600 | 41327 | 15 | 36205 | 9 | 7046 | 14 | 58563 | 13 | 47854 | 42
2020-01-22 | 0% | 0 | 0 | 679 | 0 | 0 | 444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 660 | 0 | 0 | 449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 589 | 0 | 0 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 172.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 597 | 0 | 0 | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 201.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 622 | 0 | 0 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 830 | 0 | 0 | 423 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 693 | 0 | 0 | 427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 660 | 0 | 0 | 464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 670 | 0 | 0 | 465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 659 | 0 | 0 | 438 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 187.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption October 2018 | [18 empty] | Electricity Daily Consumption October 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption October 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
October Reading 2017 two weeks |  | 10909 |  |  | 5301 | [8 empty] | 3367.55 |  |  |  |  | 45601.92 |  |  | 70741.44 |  |  | 107573.76 |  |  | 75857.04 |  |  | 127743.84 |  |  | 89060.16 |  |  | 67672.08 |  |  | 71618.4 |  |  | 48720 |  |  | 90570.48 |  |  | 517900 |  |  | 343600 |  |  | 639200 | [29 empty] | 1103 |  |  | 1204 |  |  | 0
October Reading 2018 two weeks |  | 12544 |  |  | 6895 | [8 empty] | 3157 |  |  |  |  | 45601.92 |  |  | 70741.44 |  |  | 107573.76 |  |  | 75857.04 |  |  | 127743.84 |  |  | 89060.16 |  |  | 67672.08 |  |  | 71618.4 |  |  | 48720 |  |  | 90570.48 |  |  | 517900 |  |  | 343600 |  |  | 639200 | [29 empty] | 1103 |  |  | 1204 |  |  | 0 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
October Reading 2017 Monthly |  | 20760 |  |  | 11428 |  |  | 7048.9 |  | 7702.2 |  |  |  | 6142.34 |  |  | 476 |  | -7964940.48 |  |  | -15154258.56 |  |  | -15418467.12 |  |  | -18468095.52 |  |  | -18698151.36 |  |  | -17163422.64 |  |  | -14474224.8 |  |  | -13983955.44 |  |  | -10964777.04 |  |  | -17294138.4 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -262903 |  |  | -208474 |  |  | -349824 |  |  | 3894 | [14 empty] | 487.2
October Reading 2018 Monthly |  | -250435 |  |  | -209695 |  |  | 0 |  | -901152 |  |  |  | -104106 |  |  | -5473 |  | -7964940.48 |  |  | -15154258.56 |  |  | -15418467.12 |  |  | -18468095.52 |  |  | -18698151.36 |  |  | -17163422.64 |  |  | -14474224.8 |  |  | -13983955.44 |  |  | -10964777.04 |  |  | -17294138.4 |  |  | -76246300 |  |  | -78795900 |  |  | -72490300 | [12 empty] | -9666570 |  |  |  |  | -62854 |  | -54074 |  | -18304 |  | -24871 |  | -27478 |  | -60101 |  | -262903 |  |  | -208474 |  |  | -349824 |  |  | -682901
Difference |  | 271195 |  |  | 221123 |  |  | 7048.9 |  | 908854.2 |  |  |  | 110248.34 |  |  | 5949 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -76593600 |  |  | -79157000 |  |  | -73049142 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 686795
Total Monthly Electrical Kwh | [18 empty] | October 2017 Kwh | [5 empty] | -149584431.36 | [5 empty] | October 2018 Kwh | [5 empty] | -149584431.36 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | October 2017 Kwh two weeks | [5 empty] | 795159.12 | [5 empty] | October 2018 Kwh two weeks | [5 empty] | 795159.12 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -227532500 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]October - 2022'!AC40
Daily Consumption Kwh 2018 = '[1]October - 2022'!AD40
Daily Consumption Kwh 2018 = '[1]October - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]October - 2022'!AD40
Daily Consumption Kwh 2017 = '[1]October - 2022'!AG40
EMDB-2 Elevators = '[1]October - 2022'!AF40
MDB-1 Chiller # 1 = '[1]October - 2022'!AI40
MDB-2 Chiller # 2 = '[1]October - 2022'!AL40
MDB-3 Chiller # 3 = '[1]October - 2022'!AO40
MDB-4 North Riser Guest Rooms = '[1]October - 2022'!AR40
MDB-5 North Riser Guest Rooms = '[1]October - 2022'!AU40
MDB-6 Main Kitchen = '[1]October - 2022'!AX40
MDB-7 South Riser Guest Rooms = '[1]October - 2022'!BA40
MDB-8 F & B = '[1]October - 2022'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill