## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 11 | 2022 | 48525.12 | 0.44448 | 389.34 | 3.3462 | 784 | 13.83 | 112 | 1.2 | 206.19 | 438
Dubai at Jumeirah Beach | 2 | 11 | 2022 | 48573.84 | 0.44448 | 347.76 | 3.3462 | 930 | 13.83 | 112 | 1.2 | 203.82 | 428
Dubai at Jumeirah Beach | 3 | 11 | 2022 | 49158.48 | 0.44448 | 326.97 | 3.3462 | 895 | 13.83 | 114 | 1.2 | 218.04 | 430
Dubai at Jumeirah Beach | 4 | 11 | 2022 | 47940.48 | 0.44448 | 415.8 | 3.3462 | 922 | 13.83 | 121 | 1.2 | 220.41 | 444
Dubai at Jumeirah Beach | 5 | 11 | 2022 | 50620.08 | 0.44448 | 814.59 | 3.3462 | 915 | 13.83 | 75 | 1.2 | 208.56 | 398
Dubai at Jumeirah Beach | 6 | 11 | 2022 | 50425.2 | 0.44448 | 699.3 | 3.3462 | 918 | 13.83 | 174 | 1.2 | 177.75 | 320
Dubai at Jumeirah Beach | 7 | 11 | 2022 | 49596.96 | 0.44448 | 491.4 | 3.3462 | 876 | 13.83 | 116 | 1.2 | 158.79 | 283
Dubai at Jumeirah Beach | 8 | 11 | 2022 | 47599.44 | 0.44448 | 544.32 | 3.3462 | 698 | 13.83 | 118 | 1.2 | 156.42 | 292
Dubai at Jumeirah Beach | 9 | 11 | 2022 | 51399.6 | 0.44448 | 725.76 | 3.3462 | 1106 | 13.83 | 67 | 1.2 | 168.27 | 329
Dubai at Jumeirah Beach | 10 | 11 | 2022 | 49353.36 | 0.44448 | 548.1 | 3.3462 | 910 | 13.83 | 23 | 1.2 | 170.64 | 319
Dubai at Jumeirah Beach | 11 | 11 | 2022 | 53786.88 | 0.44448 | 580.23 | 3.3462 | 680 | 13.83 | 36 | 1.2 | 175.38 | 307
Dubai at Jumeirah Beach | 12 | 11 | 2022 | 51643.2 | 0.44448 | 481.95 | 3.3462 | 1753 | 13.83 | 20 | 1.2 | 173.01 | 307
Dubai at Jumeirah Beach | 13 | 11 | 2022 | 48281.52 | 0.44448 | 553.77 | 3.3462 | 817 | 13.83 | 226 | 1.2 | 158.79 | 317
Dubai at Jumeirah Beach | 14 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 302
Dubai at Jumeirah Beach | 15 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 11 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 11 | 2022 | 206.19 | 438 | 784 | 449 | 296 | 296 | 185 | 16 | 2777.04 | 4482.24 | 11400.48 | 6625.92 | 0 | 5602.8 | 4482.24 | 4482.24 | 2825.76 | 5846.4 | 56200 | 34700 | 0 | 147.42 | 177.66 | 64.26 | 158 | 45.36 | 35.91 | 13.23 | 18.9 | 26.46 | 75.6 | 0 | 6 | 18 | 15 | 8 | 9 | 7 | 10 | 8 | 3 | 11 | 11.7 |  | 7.2 | 6.4 | 586 | 152.8 | 6300 | 300 | 7500 | 2600 | 600 | 830 | 34.02 | 24.57 | 24.57 | 15.12 | 68.04 | 112
Dubai at Jumeirah Beach | 2 | 11 | 2022 | 203.82 | 428 | 930 | 454 | 394 | 394 | 174 | 6 | 2874.48 | 4482.24 | 9500.4 | 2241.12 | 6090 | 5748.96 | 4384.8 | 4482.24 | 2923.2 | 5846.4 | 44600 | 10700 | 31000 | 143.64 | 181.44 | 22.68 | 164 | 37.8 | 35.91 | 11.34 | 20.79 | 24.57 | 75.6 | 11 | 7 | 17 | 14 | 6 | 10 | 7 | 8 | 9 | 3 | 0 | 11.1 |  | 6.5 | 7 | 666 | 170.4 | 5900 | 290 | 7100 | 2600 | 500 | 820 | 32.13 | 22.68 | 30.24 | 17.01 | 71.82 | 112
Dubai at Jumeirah Beach | 3 | 11 | 2022 | 218.04 | 430 | 895 | 464 | 259 | 259 | 169 | 17 | 2923.2 | 4920.72 | 5505.36 | 243.6 | 11546.64 | 5943.84 | 4433.52 | 4725.84 | 3069.36 | 5846.4 | 22500 | 0 | 58200 | 136.08 | 185.22 | 5.67 | 164 | 39.69 | 39.69 | 13.23 | 22.68 | 30.24 | 69.93 | 6 | 13 | 16 | 18 | 8 | 10 | 8 | 7 | 10 | 3 | 13 | 12.1 |  | 7.5 | 5.2 | 695 | 135.2 | 5500 | 280 | 6500 | 2400 | 600 | 770 | 34.02 | 22.68 | 30.24 | 17.01 | 64.26 | 114
Dubai at Jumeirah Beach | 4 | 11 | 2022 | 220.41 | 444 | 922 | 529 | 302 | 302 | 163 | 13 | 3020.64 | 4482.24 | 4384.8 | 97.44 | 11838.96 | 5895.12 | 4579.68 | 4774.56 | 2874.48 | 5992.56 | 16000 | 0 | 60800 | 149.31 | 200.34 | 66.15 | 170 | 43.47 | 37.8 | 13.23 | 20.79 | 28.35 | 71.82 | 8 | 9 | 19 | 17 | 9 | 11 | 7 | 13 | 12 | 3 | 0 | 12.2 |  | 7 | 7 | 707 | 54.2 | 4900 | 290 | 6100 | 2200 | 400 | 770 | 30.24 | 24.57 | 26.46 | 22.68 | 75.6 | 121
Dubai at Jumeirah Beach | 5 | 11 | 2022 | 208.56 | 398 | 915 | 533 | 259 | 259 | 184 | 10 | 2094.96 | 4725.84 | 48.72 | 11741.52 | 7308 | 5895.12 | 4579.68 | 4823.28 | 3264.24 | 6138.72 | 0 | 52700 | 34200 | 145.53 | 206.01 | 463.05 | 189 | 41.58 | 35.91 | 15.12 | 22.68 | 28.35 | 71.82 | 8 | 10 | 15 | 15 | 9 | 10 | 7 | 12 | 10 | 3 | 0 | 12.4 |  | 7.2 | 7.5 | 736 | 257.8 | 5500 | 280 | 6900 | 2500 | 500 | 830 | 34.02 | 24.57 | 30.24 | 26.46 | 52.92 | 75
Dubai at Jumeirah Beach | 6 | 11 | 2022 | 177.75 | 320 | 918 | 471 | 354 | 354 | 178 | 14 | 2094.96 | 4823.28 | 0 | 11790.24 | 7210.56 | 5992.56 | 4579.68 | 4725.84 | 2971.92 | 6236.16 | 0 | 52500 | 31500 | 151.2 | 194.67 | 353.43 | 193 | 45.36 | 39.69 | 13.23 | 22.68 | 28.35 | 73.71 | 0 | 4 | 17 | 20 | 4 | 10 | 14 | 13 | 10 | 4 | 26 | 12.2 |  | 7.3 | 7.2 | 691 | 152.9 | 5900 | 290 | 7200 | 2500 | 400 | 820 | 30.24 | 22.68 | 24.57 | 22.68 | 86.94 | 174
Dubai at Jumeirah Beach | 7 | 11 | 2022 | 158.79 | 283 | 876 | 435 | 337 | 337 | 184 | 9 | 2046.24 | 4579.68 | 48.72 | 11108.16 | 7600.32 | 5797.68 | 4823.28 | 4628.4 | 3264.24 | 5700.24 | 0 | 55600 | 33500 | 143.64 | 179.55 | 168.21 | 186 | 41.58 | 35.91 | 9.45 | 18.9 | 24.57 | 64.26 | 0 | 6 | 15 | 15 | 7 | 9 | 8 | 9 | 9 | 3 | 0 | 11 |  | 6.9 | 6.4 | 642 | 148.9 | 5400 | 280 | 6800 | 2400 | 500 | 780 | 30.24 | 20.79 | 18.9 | 20.79 | 66.15 | 116
Dubai at Jumeirah Beach | 8 | 11 | 2022 | 156.42 | 292 | 698 | 452 | 321 | 321 | 160 | 8 | 2094.96 | 4628.4 | 0 | 11887.68 | 4725.84 | 5651.52 | 4920.72 | 4823.28 | 3166.8 | 5700.24 | 0 | 56800 | 18700 | 151.2 | 185.22 | 207.9 | 172 | 41.58 | 35.91 | 13.23 | 18.9 | 30.24 | 64.26 | 0 | 5 | 14 | 14 | 6 | 8 | 6 | 8 | 10 | 4 | 7 | 10.6 |  | 7.2 | 6.2 | 665 | 150.6 | 4800 | 290 | 4400 | 2300 | 400 | 780 | 30.24 | 20.79 | 22.68 | 17.01 | 64.26 | 118
Dubai at Jumeirah Beach | 9 | 11 | 2022 | 168.27 | 329 | 1106 | 480 | 360 | 360 | 175 | 11 | 2143.68 | 4872 | 48.72 | 12910.8 | 5846.4 | 6041.28 | 5213.04 | 4872 | 3507.84 | 5943.84 | 0 | 58900 | 24100 | 153.09 | 189 | 383.67 | 189 | 43.47 | 37.8 | 13.23 | 20.79 | 32.13 | 68.04 | 0 | 9 | 13 | 15 | 6 | 10 | 6 | 7 | 9 | 4 | 0 | 11.3 |  | 7.4 | 6.2 | 697 | 159.5 | 5600 | 290 | 5100 | 2600 | 400 | 750 | 32.13 | 22.68 | 28.35 | 17.01 | 64.26 | 67
Dubai at Jumeirah Beach | 10 | 11 | 2022 | 170.64 | 319 | 910 | 525 | 261 | 261 | 184 | 8 | 2046.24 | 4579.68 | 0 | 11254.32 | 6479.76 | 5895.12 | 5018.16 | 4677.12 | 3702.72 | 5700.24 | 0 | 56300 | 33000 | 149.31 | 183.33 | 215.46 | 183 | 43.47 | 37.8 | 13.23 | 20.79 | 30.24 | 69.93 | 0 | 7 | 16 | 16 | 7 | 9 | 7 | 8 | 11 | 3 | 4 | 11.2 |  | 6.9 | 6.3 | 655 | 147.6 | 5400 | 280 | 6700 | 2400 | 500 | 770 | 34.02 | 20.79 | 28.35 | 17.01 | 66.15 | 23
Dubai at Jumeirah Beach | 11 | 11 | 2022 | 175.38 | 307 | 680 | 544 | 103 | 103 | 183 | 24 | 2143.68 | 4872 | 633.36 | 12569.76 | 7990.08 | 6090 | 5164.32 | 4823.28 | 3361.68 | 6138.72 | 0 | 57900 | 30000 | 153.09 | 179.55 | 247.59 | 201 | 37.8 | 35.91 | 13.23 | 22.68 | 30.24 | 69.93 | 32 | 9 | 16 | 17 | 7 | 11 | 10 | 12 | 12 | 4 | 10 | 11.8 |  | 7 | 7.2 | 677 | 159.2 | 5700 | 290 | 7100 | 2500 | 400 | 810 | 32.13 | 22.68 | 32.13 | 22.68 | 73.71 | 36
Dubai at Jumeirah Beach | 12 | 11 | 2022 | 173.01 | 307 | 1753 | 546 | 252 | 252 | 177 | 7 | 2777.04 | 4433.52 | 12910.8 | 4336.08 | 292.32 | 5554.08 | 4725.84 | 4872 | 5943.84 | 5797.68 | 62200 | 25900 | 0 | 137.97 | 183.33 | 160.65 | 179 | 41.58 | 37.8 | 13.23 | 22.68 | 26.46 | 68.04 | 10 | 9 | 15 | 15 | 7 | 10 | 10 | 12 | 12 | 4 | 5 | 12.4 |  | 7.3 | 7.3 | 697 | 157.7 | 7300 | 340 | 8800 | 3100 | 500 | 980 | 32.13 | 26.46 | 30.24 | 24.57 | 75.6 | 20
Dubai at Jumeirah Beach | 13 | 11 | 2022 | 158.79 | 317 | 817 | 457 | 297 | 297 | 199 | 17 | 2874.48 | 4530.96 | 12033.84 | 7015.68 | 487.2 | 5651.52 | 4920.72 | 4628.4 | 97.44 | 6041.28 | 58300 | 38400 | 0 | 145.53 | 194.67 | 213.57 | 189 | 41.58 | 37.8 | 11.34 | 18.9 | 28.35 | 71.82 | 2 | 6 | 19 | 22 | 6 | 12 | 7 | 14 | 10 | 4 | 5 | 10.9 |  | 6.9 | 7.3 | 596 | 145.4 | 5100 | 230 | 6000 | 2000 | 400 | 670 | 32.13 | 18.9 | 28.35 | 20.79 | 56.7 | 226
Dubai at Jumeirah Beach | 14 | 11 | 2022 |  | 302
Dubai at Jumeirah Beach | 15 | 11 | 2022
Dubai at Jumeirah Beach | 16 | 11 | 2022
Dubai at Jumeirah Beach | 17 | 11 | 2022
Dubai at Jumeirah Beach | 18 | 11 | 2022
Dubai at Jumeirah Beach | 19 | 11 | 2022
Dubai at Jumeirah Beach | 20 | 11 | 2022
Dubai at Jumeirah Beach | 21 | 11 | 2022
Dubai at Jumeirah Beach | 22 | 11 | 2022
Dubai at Jumeirah Beach | 23 | 11 | 2022
Dubai at Jumeirah Beach | 24 | 11 | 2022
Dubai at Jumeirah Beach | 25 | 11 | 2022
Dubai at Jumeirah Beach | 26 | 11 | 2022
Dubai at Jumeirah Beach | 27 | 11 | 2022
Dubai at Jumeirah Beach | 28 | 11 | 2022
Dubai at Jumeirah Beach | 29 | 11 | 2022
Dubai at Jumeirah Beach | 30 | 11 | 2022

## DJB Daily Readings
Daily Water Consumption November 2020 | [18 empty] | Electricity Daily Consumption November 2020 | [29 empty] | Chiller BTU Meter Reading November 2020 | [20 empty] | Lpg Daily Consumption November 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading November 2020 | [11 empty] | F & B Village Chilled Water Reading November 2020 | [11 empty] | F & B Village Daily Lpg Reading November 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 82% | 178881 | 784 | 722 | 223632 | 449 | 467 | 2208 | 112 | 910541 | 296 | 238920 | 191 | 110400 | 185 | 176.38 | 5862 | 16 | 8052051.84 | 2777.04 | 2777.04 | 15300662.16 | 4482.24 | 4482.24 | 15617780.64 | 11400.48 | 11400.48 | 18654011.04 | 6625.92 | 6625.92 | 18948669.6 | 0 | 0 | 17346512.4 | 5602.8 | 5602.8 | 14614489.68 | 4482.24 | 4482.24 | 14131382.16 | 4482.24 | 4482.24 | 11062363.2 | 2825.76 | 2825.76 | 17478835.92 | 5846.4 | 5846.4 | 77194800 | 56200 | 56200 | 79651500 | 34700 | 34700 | 73730900 | 0 | 0 | [10 empty] | 9927590 | 8230 | 49% | 11% | -11% | 63542 | 24 | 54684 | 19 | 18495 | 7 | 25191 | 10 | 27922 | 14 | 61167 | 40 | 265178 | 78 | 78 | 211137 | 94 | 94 | 349861 | 34 | 34 | 688055 | 158 | 8552 | 6 | 5797 | 0 | 31533 | 15 | 31811 | 18 | 21456 | 9 | 23796 | 8 | 6723 | 10 | 9463 | 7 | 3128 | 3 | 6070 | 8 | 30054 | 11 | 5893.9 | 11.7 | 10962.9 | 8.2 | 4534.6 | 7.2 | 5124 | 6.4 | 1102978 | 586 | 225971.5 | 152.8 | 11950500 | 6300 | 922990 | 300 | 7134400 | 2600 | 2479100 | 600 | 1248920 | 830 | 16413100 | 7500 | 41465 | 18 | 36332 | 13 | 7150 | 0 | 58712 | 13 | 48212 | 36
2020-01-01 | 87% | 179665 |  |  | 224081 |  |  | 2320 |  | 910837 |  | 239111 |  | 110585 |  |  | 5878 |  | 8054828.88 |  |  | 15305144.4 |  |  | 15629181.12 |  |  | 18660636.96 |  |  | 18948669.6 |  |  | 17352115.2 |  |  | 14618971.92 |  |  | 14135864.4 |  |  | 11065188.96 |  |  | 17484682.32 |  |  | 77251000 |  |  | 79686200 |  |  | 73730900 | [12 empty] | 9935820 |  | 60% |  |  | 63566 |  | 54703 |  | 18502 |  | 25201 |  | 27936 |  | 61207 |  | 265256 |  |  | 211231 |  |  | 349895 |  |  | 688213 |  | 8558 |  | 5797 |  | 31548 |  | 31829 |  | 21465 |  | 23804 |  | 6733 |  | 9470 |  | 3131 |  | 6078 |  | 30065 |  | 5905.6 |  | 10971.1 |  | 4541.8 |  | 5130.4 |  | 1103564 |  | 226124.3 |  | 11956800 |  | 923290 |  | 7137000 |  | 2479700 |  | 1249750 |  | 16420600 |  | 41483 |  | 36345 |  | 7158 |  | 58725 |  | 48248
2020-01-02 | 86% | 180595 | 930 | 461 | 224535 | 454 | 357 | 2432 | 112 | 911231 | 394 | 239359 | 248 | 110759 | 174 | 186.35 | 5884 | 6 | 8057703.36 | 2874.48 | 2874.48 | 15309626.64 | 4482.24 | 4482.24 | 15638681.52 | 9500.4 | 9500.4 | 18662878.08 | 2241.12 | 2241.12 | 18954759.6 | 6090 | 6090 | 17357864.16 | 5748.96 | 5748.96 | 14623356.72 | 4384.8 | 4384.8 | 14140346.64 | 4482.24 | 4482.24 | 11068112.16 | 2923.2 | 2923.2 | 17490528.72 | 5846.4 | 5846.4 | 77295600 | 44600 | 44600 | 79696900 | 10700 | 10700 | 73761900 | 31000 | 31000 | [10 empty] | 9943940 | 8120 | 84% | -24% | -24% | 63586 | 20 | 54722 | 19 | 18508 | 6 | 25212 | 11 | 27949 | 13 | 61247 | 40 | 265332 | 76 | 76 | 211327 | 96 | 96 | 349907 | 12 | 12 | 688377 | 164 | 8565 | 7 | 5808 | 11 | 31562 | 14 | 31846 | 17 | 21475 | 10 | 23810 | 6 | 6741 | 8 | 9477 | 7 | 3134 | 3 | 6087 | 9 | 30065 | 0 | 5916.7 | 11.1 | 10979.7 | 8.6 | 4548.3 | 6.5 | 5137.4 | 7 | 1104230 | 666 | 226294.7 | 170.4 | 11962700 | 5900 | 923580 | 290 | 7139600 | 2600 | 2480200 | 500 | 1250570 | 820 | 16427700 | 7100 | 41500 | 17 | 36357 | 12 | 7167 | 9 | 58741 | 16 | 48286 | 38
2020-01-03 | 92% | 181490 | 895 | 622 | 224999 | 464 | 429 | 2546 | 114 | 911490 | 259 | 239571 | 212 | 110928 | 169 | 181.7 | 5901 | 17 | 8060626.56 | 2923.2 | 2923.2 | 15314547.36 | 4920.72 | 4920.72 | 15644186.88 | 5505.36 | 5505.36 | 18663121.68 | 243.6 | 243.6 | 18966306.24 | 11546.64 | 11546.64 | 17363808 | 5943.84 | 5943.84 | 14627790.24 | 4433.52 | 4433.52 | 14145072.48 | 4725.84 | 4725.84 | 11071181.52 | 3069.36 | 3069.36 | 17496375.12 | 5846.4 | 5846.4 | 77318100 | 22500 | 22500 | 79696900 | 0 | 0 | 73820100 | 58200 | 58200 | [10 empty] | 9952160 | 8220 | 79% | 5% | 5% | 63607 | 21 | 54743 | 21 | 18515 | 7 | 25224 | 12 | 27965 | 16 | 61284 | 37 | 265404 | 72 | 72 | 211425 | 98 | 98 | 349910 | 3 | 3 | 688541 | 164 | 8578 | 13 | 5814 | 6 | 31580 | 18 | 31862 | 16 | 21485 | 10 | 23818 | 8 | 6748 | 7 | 9485 | 8 | 3137 | 3 | 6097 | 10 | 30078 | 13 | 5928.8 | 12.1 | 10988.6 | 8.9 | 4555.8 | 7.5 | 5142.6 | 5.2 | 1104925 | 695 | 226429.9 | 135.2 | 11968200 | 5500 | 923860 | 280 | 7142000 | 2400 | 2480800 | 600 | 1251340 | 770 | 16434200 | 6500 | 41518 | 18 | 36369 | 12 | 7176 | 9 | 58757 | 16 | 48320 | 34
2020-01-04 | 93% | 182412 | 922 | 689 | 225528 | 529 | 486 | 2667 | 121 | 911792 | 302 | 239748 | 177 | 111091 | 163 | 159.53 | 5914 | 13 | 8063647.2 | 3020.64 | 3020.64 | 15319029.6 | 4482.24 | 4482.24 | 15648571.68 | 4384.8 | 4384.8 | 18663219.12 | 97.44 | 97.44 | 18978145.2 | 11838.96 | 11838.96 | 17369703.12 | 5895.12 | 5895.12 | 14632369.92 | 4579.68 | 4579.68 | 14149847.04 | 4774.56 | 4774.56 | 11074056 | 2874.48 | 2874.48 | 17502367.68 | 5992.56 | 5992.56 | 77334100 | 16000 | 16000 | 79696900 | 0 | 0 | 73880900 | 60800 | 60800 | [10 empty] | 9961070 | 8910 | 73% | 6% | 6% | 63630 | 23 | 54763 | 20 | 18522 | 7 | 25235 | 11 | 27980 | 15 | 61322 | 38 | 265483 | 79 | 79 | 211531 | 106 | 106 | 349945 | 35 | 35 | 688711 | 170 | 8587 | 9 | 5822 | 8 | 31597 | 17 | 31881 | 19 | 21496 | 11 | 23827 | 9 | 6761 | 13 | 9492 | 7 | 3140 | 3 | 6109 | 12 | 30078 | 0 | 5941 | 12.2 | 10997.6 | 9 | 4562.8 | 7 | 5149.6 | 7 | 1105632 | 707 | 226484.1 | 54.2 | 11973100 | 4900 | 924150 | 290 | 7144200 | 2200 | 2481200 | 400 | 1252110 | 770 | 16440300 | 6100 | 41534 | 16 | 36382 | 13 | 7188 | 12 | 58771 | 14 | 48360 | 40
2020-01-05 | 88% | 183327 | 915 | 722 | 226061 | 533 | 501 | 2742 | 75 | 912051 | 259 | 239930 | 182 | 111275 | 184 | 167.57 | 5924 | 10 | 8065742.16 | 2094.96 | 2094.96 | 15323755.44 | 4725.84 | 4725.84 | 15648620.4 | 48.72 | 48.72 | 18674960.64 | 11741.52 | 11741.52 | 18985453.2 | 7308 | 7308 | 17375598.24 | 5895.12 | 5895.12 | 14636949.6 | 4579.68 | 4579.68 | 14154670.32 | 4823.28 | 4823.28 | 11077320.24 | 3264.24 | 3264.24 | 17508506.4 | 6138.72 | 6138.72 | 77334100 | 0 | 0 | 79749600 | 52700 | 52700 | 73915100 | 34200 | 34200 | [10 empty] | 9969840 | 8770 | 77% | -4% | -4% | 63652 | 22 | 54782 | 19 | 18530 | 8 | 25247 | 12 | 27995 | 15 | 61360 | 38 | 265560 | 77 | 77 | 211640 | 109 | 109 | 350190 | 245 | 245 | 688900 | 189 | 8597 | 10 | 5830 | 8 | 31612 | 15 | 31896 | 15 | 21506 | 10 | 23836 | 9 | 6773 | 12 | 9499 | 7 | 3143 | 3 | 6119 | 10 | 30078 | 0 | 5953.4 | 12.4 | 11006.6 | 9 | 4570 | 7.2 | 5157.1 | 7.5 | 1106368 | 736 | 226741.9 | 257.8 | 11978600 | 5500 | 924430 | 280 | 7146700 | 2500 | 2481700 | 500 | 1252940 | 830 | 16447200 | 6900 | 41552 | 18 | 36395 | 13 | 7202 | 14 | 58787 | 16 | 48388 | 28
2020-01-06 | 75% | 184245 | 918 | 647 | 226532 | 471 | 451 | 2916 | 174 | 912405 | 354 | 240119 | 189 | 111453 | 178 | 155.32 | 5938 | 14 | 8067837.12 | 2094.96 | 2094.96 | 15328578.72 | 4823.28 | 4823.28 | 15648620.4 | 0 | 0 | 18686750.88 | 11790.24 | 11790.24 | 18992663.76 | 7210.56 | 7210.56 | 17381590.8 | 5992.56 | 5992.56 | 14641529.28 | 4579.68 | 4579.68 | 14159396.16 | 4725.84 | 4725.84 | 11080292.16 | 2971.92 | 2971.92 | 17514742.56 | 6236.16 | 6236.16 | 77334100 | 0 | 0 | 79802100 | 52500 | 52500 | 73946600 | 31500 | 31500 | [10 empty] | 9978380 | 8540 | 69% | 8% | 8% | 63676 | 24 | 54803 | 21 | 18537 | 7 | 25259 | 12 | 28010 | 15 | 61399 | 39 | 265640 | 80 | 80 | 211743 | 103 | 103 | 350377 | 187 | 187 | 689093 | 193 | 8601 | 4 | 5830 | 0 | 31632 | 20 | 31913 | 17 | 21516 | 10 | 23840 | 4 | 6786 | 13 | 9513 | 14 | 3147 | 4 | 6129 | 10 | 30104 | 26 | 5965.6 | 12.2 | 11015 | 8.4 | 4577.3 | 7.3 | 5164.3 | 7.2 | 1107059 | 691 | 226894.8 | 152.9 | 11984500 | 5900 | 924720 | 290 | 7149200 | 2500 | 2482100 | 400 | 1253760 | 820 | 16454400 | 7200 | 41568 | 16 | 36407 | 12 | 7214 | 12 | 58800 | 13 | 48434 | 46
2020-01-07 | 67% | 185121 | 876 | 637 | 226967 | 435 | 424 | 3032 | 116 | 912742 | 337 | 240354 | 235 | 111637 | 184 | 125.2 | 5947 | 9 | 8069883.36 | 2046.24 | 2046.24 | 15333158.4 | 4579.68 | 4579.68 | 15648669.12 | 48.72 | 48.72 | 18697859.04 | 11108.16 | 11108.16 | 19000264.08 | 7600.32 | 7600.32 | 17387388.48 | 5797.68 | 5797.68 | 14646352.56 | 4823.28 | 4823.28 | 14164024.56 | 4628.4 | 4628.4 | 11083556.4 | 3264.24 | 3264.24 | 17520442.8 | 5700.24 | 5700.24 | 77334100 | 0 | 0 | 79857700 | 55600 | 55600 | 73980100 | 33500 | 33500 | [10 empty] | 9986250 | 7870 | 65% | 4% | 4% | 63698 | 22 | 54822 | 19 | 18542 | 5 | 25269 | 10 | 28023 | 13 | 61433 | 34 | 265716 | 76 | 76 | 211838 | 95 | 95 | 350466 | 89 | 89 | 689279 | 186 | 8607 | 6 | 5830 | 0 | 31647 | 15 | 31928 | 15 | 21525 | 9 | 23847 | 7 | 6795 | 9 | 9521 | 8 | 3150 | 3 | 6138 | 9 | 30104 | 0 | 5976.6 | 11 | 11023.3 | 8.3 | 4584.2 | 6.9 | 5170.7 | 6.4 | 1107701 | 642 | 227043.7 | 148.9 | 11989900 | 5400 | 925000 | 280 | 7151600 | 2400 | 2482600 | 500 | 1254540 | 780 | 16461200 | 6800 | 41584 | 16 | 36418 | 11 | 7225 | 11 | 58810 | 10 | 48469 | 35
2020-01-08 | 66% | 185819 | 698 | 596 | 227419 | 452 | 419 | 3150 | 118 | 913063 | 321 | 240574 | 220 | 111797 | 160 | 124.03 | 5955 | 8 | 8071978.32 | 2094.96 | 2094.96 | 15337786.8 | 4628.4 | 4628.4 | 15648669.12 | 0 | 0 | 18709746.72 | 11887.68 | 11887.68 | 19004989.92 | 4725.84 | 4725.84 | 17393040 | 5651.52 | 5651.52 | 14651273.28 | 4920.72 | 4920.72 | 14168847.84 | 4823.28 | 4823.28 | 11086723.2 | 3166.8 | 3166.8 | 17526143.04 | 5700.24 | 5700.24 | 77334100 | 0 | 0 | 79914500 | 56800 | 56800 | 73998800 | 18700 | 18700 | [10 empty] | 9994200 | 7950 | 70% | -5% | -5% | 63720 | 22 | 54841 | 19 | 18549 | 7 | 25279 | 10 | 28039 | 16 | 61467 | 34 | 265796 | 80 | 80 | 211936 | 98 | 98 | 350576 | 110 | 110 | 689451 | 172 | 8612 | 5 | 5830 | 0 | 31661 | 14 | 31942 | 14 | 21533 | 8 | 23853 | 6 | 6803 | 8 | 9527 | 6 | 3154 | 4 | 6148 | 10 | 30111 | 7 | 5987.2 | 10.6 | 11030.9 | 7.6 | 4591.4 | 7.2 | 5176.9 | 6.2 | 1108366 | 665 | 227194.3 | 150.6 | 11994700 | 4800 | 925290 | 290 | 7153900 | 2300 | 2483000 | 400 | 1255320 | 780 | 16465600 | 4400 | 41600 | 16 | 36429 | 11 | 7234 | 9 | 58822 | 12 | 48503 | 34
2020-01-09 | 71% | 186925 | 1106 | 501 | 227899 | 480 | 431 | 3217 | 67 | 913423 | 360 | 240797 | 223 | 111972 | 175 | 124.69 | 5966 | 11 | 8074122 | 2143.68 | 2143.68 | 15342658.8 | 4872 | 4872 | 15648717.84 | 48.72 | 48.72 | 18722657.52 | 12910.8 | 12910.8 | 19010836.32 | 5846.4 | 5846.4 | 17399081.28 | 6041.28 | 6041.28 | 14656486.32 | 5213.04 | 5213.04 | 14173719.84 | 4872 | 4872 | 11090231.04 | 3507.84 | 3507.84 | 17532086.88 | 5943.84 | 5943.84 | 77334100 | 0 | 0 | 79973400 | 58900 | 58900 | 74022900 | 24100 | 24100 | [10 empty] | 10003230 | 9030 | 73% | -3% | -3% | 63743 | 23 | 54861 | 20 | 18556 | 7 | 25290 | 11 | 28056 | 17 | 61503 | 36 | 265877 | 81 | 81 | 212036 | 100 | 100 | 350779 | 203 | 203 | 689640 | 189 | 8621 | 9 | 5830 | 0 | 31676 | 15 | 31955 | 13 | 21543 | 10 | 23859 | 6 | 6810 | 7 | 9533 | 6 | 3158 | 4 | 6157 | 9 | 30111 | 0 | 5998.5 | 11.3 | 11040 | 9.1 | 4598.8 | 7.4 | 5183.1 | 6.2 | 1109063 | 697 | 227353.8 | 159.5 | 12000300 | 5600 | 925580 | 290 | 7156500 | 2600 | 2483400 | 400 | 1256070 | 750 | 16470700 | 5100 | 41617 | 17 | 36441 | 12 | 7243 | 9 | 58837 | 15 | 48537 | 34
2020-01-10 | 72% | 187835 | 910 | 760 | 228424 | 525 | 432 | 3240 | 23 | 913684 | 261 | 241026 | 229 | 112156 | 184 | 117.45 | 5974 | 8 | 8076168.24 | 2046.24 | 2046.24 | 15347238.48 | 4579.68 | 4579.68 | 15648717.84 | 0 | 0 | 18733911.84 | 11254.32 | 11254.32 | 19017316.08 | 6479.76 | 6479.76 | 17404976.4 | 5895.12 | 5895.12 | 14661504.48 | 5018.16 | 5018.16 | 14178396.96 | 4677.12 | 4677.12 | 11093933.76 | 3702.72 | 3702.72 | 17537787.12 | 5700.24 | 5700.24 | 77334100 | 0 | 0 | 80029700 | 56300 | 56300 | 74055900 | 33000 | 33000 | [10 empty] | 10012190 | 8960 | 57% | 16% | 16% | 63766 | 23 | 54881 | 20 | 18563 | 7 | 25301 | 11 | 28072 | 16 | 61540 | 37 | 265956 | 79 | 79 | 212133 | 97 | 97 | 350893 | 114 | 114 | 689823 | 183 | 8628 | 7 | 5830 | 0 | 31692 | 16 | 31971 | 16 | 21552 | 9 | 23866 | 7 | 6818 | 8 | 9540 | 7 | 3161 | 3 | 6168 | 11 | 30115 | 4 | 6009.7 | 11.2 | 11049.4 | 9.4 | 4605.7 | 6.9 | 5189.4 | 6.3 | 1109718 | 655 | 227501.4 | 147.6 | 12005700 | 5400 | 925860 | 280 | 7158900 | 2400 | 2483900 | 500 | 1256840 | 770 | 16477400 | 6700 | 41635 | 18 | 36452 | 11 | 7252 | 9 | 58852 | 15 | 48572 | 35
2020-01-11 | 74% | 188515 | 680 | 731 | 228968 | 544 | 432 | 3276 | 36 | 913787 | 103 | 241026 | 0 | 112339 | 183 | 113.09 | 5998 | 24 | 8078311.92 | 2143.68 | 2143.68 | 15352110.48 | 4872 | 4872 | 15649351.2 | 633.36 | 633.36 | 18746481.6 | 12569.76 | 12569.76 | 19025306.16 | 7990.08 | 7990.08 | 17411066.4 | 6090 | 6090 | 14666668.8 | 5164.32 | 5164.32 | 14183220.24 | 4823.28 | 4823.28 | 11097295.44 | 3361.68 | 3361.68 | 17543925.84 | 6138.72 | 6138.72 | 77334100 | 0 | 0 | 80087600 | 57900 | 57900 | 74085900 | 30000 | 30000 | [10 empty] | 10020940 | 8750 | 51% | 6% | 6% | 63786 | 20 | 54900 | 19 | 18570 | 7 | 25313 | 12 | 28088 | 16 | 61577 | 37 | 266037 | 81 | 81 | 212228 | 95 | 95 | 351024 | 131 | 131 | 690024 | 201 | 8637 | 9 | 5862 | 32 | 31709 | 17 | 31987 | 16 | 21563 | 11 | 23873 | 7 | 6830 | 12 | 9550 | 10 | 3165 | 4 | 6180 | 12 | 30125 | 10 | 6021.5 | 11.8 | 11058.9 | 9.5 | 4612.7 | 7 | 5196.6 | 7.2 | 1110395 | 677 | 227660.6 | 159.2 | 12011400 | 5700 | 926150 | 290 | 7161400 | 2500 | 2484300 | 400 | 1257650 | 810 | 16484500 | 7100 | 41652 | 17 | 36464 | 12 | 7264 | 12 | 58869 | 17 | 48611 | 39
2020-01-12 | 73% | 190268 | 1753 | 707 | 229514 | 546 | 475 | 3296 | 20 | 914039 | 252 | 241118 | 92 | 112516 | 177 | 122.07 | 6005 | 7 | 8081088.96 | 2777.04 | 2777.04 | 15356544 | 4433.52 | 4433.52 | 15662262 | 12910.8 | 12910.8 | 18750817.68 | 4336.08 | 4336.08 | 19025598.48 | 292.32 | 292.32 | 17416620.48 | 5554.08 | 5554.08 | 14671394.64 | 4725.84 | 4725.84 | 14188092.24 | 4872 | 4872 | 11103239.28 | 5943.84 | 5943.84 | 17549723.52 | 5797.68 | 5797.68 | 77396300 | 62200 | 62200 | 80113500 | 25900 | 25900 | 74085900 | 0 | 0 | [10 empty] | 10029630 | 8690 | 63% | -12% | -12% | 63808 | 22 | 54920 | 20 | 18577 | 7 | 25325 | 12 | 28102 | 14 | 61613 | 36 | 266110 | 73 | 73 | 212325 | 97 | 97 | 351109 | 85 | 85 | 690203 | 179 | 8646 | 9 | 5872 | 10 | 31724 | 15 | 32002 | 15 | 21573 | 10 | 23880 | 7 | 6842 | 12 | 9560 | 10 | 3169 | 4 | 6192 | 12 | 30130 | 5 | 6033.9 | 12.4 | 11067.8 | 8.9 | 4620 | 7.3 | 5203.9 | 7.3 | 1111092 | 697 | 227818.3 | 157.7 | 12018700 | 7300 | 926490 | 340 | 7164500 | 3100 | 2484800 | 500 | 1258630 | 980 | 16493300 | 8800 | 41669 | 17 | 36478 | 14 | 7277 | 13 | 58885 | 16 | 48651 | 40
2020-01-13 | 67% | 191085 | 817 | 714 | 229971 | 457 | 444 | 3522 | 226 | 914336 | 297 | 241327 | 209 | 112715 | 199 | 133.61 | 6022 | 17 | 8083963.44 | 2874.48 | 2874.48 | 15361074.96 | 4530.96 | 4530.96 | 15674295.84 | 12033.84 | 12033.84 | 18757833.36 | 7015.68 | 7015.68 | 19026085.68 | 487.2 | 487.2 | 17422272 | 5651.52 | 5651.52 | 14676315.36 | 4920.72 | 4920.72 | 14192720.64 | 4628.4 | 4628.4 | 11103336.72 | 97.44 | 97.44 | 17555764.8 | 6041.28 | 6041.28 | 77454600 | 58300 | 58300 | 80151900 | 38400 | 38400 | 74085900 | 0 | 0 | [10 empty] | 10037840 | 8210 | 58% | 5% | 5% | 63830 | 22 | 54940 | 20 | 18583 | 6 | 25335 | 10 | 28117 | 15 | 61651 | 38 | 266187 | 77 | 77 | 212428 | 103 | 103 | 351222 | 113 | 113 | 690392 | 189 | 8652 | 6 | 5874 | 2 | 31746 | 22 | 32021 | 19 | 21585 | 12 | 23886 | 6 | 6856 | 14 | 9567 | 7 | 3173 | 4 | 6202 | 10 | 30135 | 5 | 6044.8 | 10.9 | 11076.7 | 8.9 | 4626.9 | 6.9 | 5211.2 | 7.3 | 1111688 | 596 | 227963.7 | 145.4 | 12023800 | 5100 | 926720 | 230 | 7166500 | 2000 | 2485200 | 400 | 1259300 | 670 | 16499300 | 6000 | 41686 | 17 | 36488 | 10 | 7288 | 11 | 58900 | 15 | 48681 | 30
2020-01-14 | 0% | 0 | -191085 | 652 | 0 | -229971 | 404 | 0 | -3522 | 0 | -914336 | 0 | -241327 | 0 | -112715 | 128.52 | 0 | -6022 | 0 | -8083963.44 | -8083963.44 | 0 | -15361074.96 | -15361074.96 | 0 | -15674295.84 | -15674295.84 | 0 | -18757833.36 | -18757833.36 | 0 | -19026085.68 | -19026085.68 | 0 | -17422272 | -17422272 | 0 | -14676315.36 | -14676315.36 | 0 | -14192720.64 | -14192720.64 | 0 | -11103336.72 | -11103336.72 | 0 | -17555764.8 | -17555764.8 | 0 | -77454600 | -77454600 | 0 | -80151900 | -80151900 | 0 | -74085900 | -74085900 | [10 empty] | 0 | -10037840 | 0% | 58% | 58% | 0 | -63830 | 0 | -54940 | 0 | -18583 | 0 | -25335 | 0 | -28117 | 0 | -61651 | 0 | -266187 | -266187 | 0 | -212428 | -212428 | 0 | -351222 | -351222 | 0 | -690392 | 0 | -8652 | 0 | -5874 | 0 | -31746 | 0 | -32021 | 0 | -21585 | 0 | -23886 | 0 | -6856 | 0 | -9567 | 0 | -3173 | 0 | -6202 | 0 | -30135 | 0 | -6044.8 | 0 | -11076.7 | 0 | -4626.9 | 0 | -5211.2 | 0 | -1111688 | 0 | -227963.7 | 0 | -12023800 | 0 | -926720 | 0 | -7166500 | 0 | -2485200 | 0 | -1259300 | 0 | -16499300 | 0 | -41686 | 0 | -36488 | 0 | -7288 | 0 | -58900 | 0 | -48681
2020-01-15 | 0% | 0 | 0 | 738 | 0 | 0 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 901 | 0 | 0 | 411 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 666 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 679 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 714 | 0 | 0 | 593 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 590 | 0 | 0 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 1228 | 0 | 0 | 422 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 117.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 466 | 0 | 0 | 373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 134.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 1470 | 0 | 0 | 493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 142.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 721 | 0 | 0 | 426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 667 | 0 | 0 | 506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 812 | 0 | 0 | 471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 658 | 0 | 0 | 430 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 631 | 0 | 0 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 694 | 0 | 0 | 390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 653 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption November 2018 | [18 empty] | Electricity Daily Consumption November 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption November 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
November Reading 2017 two weeks |  | 9899 |  |  | 6516 | [8 empty] | 2130.23 |  |  |  |  | -8052051.84 |  |  | -15300662.16 |  |  | -15617780.64 |  |  | -18654011.04 |  |  | -18948669.6 |  |  | -17346512.4 |  |  | -14614489.68 |  |  | -14131382.16 |  |  | -11062363.2 |  |  | -17478835.92 |  |  | -77194800 |  |  | -79651500 |  |  | -73730900 | [29 empty] | -265178 |  |  | -211137 |  |  | -349861
November Reading 2018 two weeks |  | -178881 |  |  | -223632 | [8 empty] | -110400 |  |  |  |  | -8052051.84 |  |  | -15300662.16 |  |  | -15617780.64 |  |  | -18654011.04 |  |  | -18948669.6 |  |  | -17346512.4 |  |  | -14614489.68 |  |  | -14131382.16 |  |  | -11062363.2 |  |  | -17478835.92 |  |  | -77194800 |  |  | -79651500 |  |  | -73730900 | [29 empty] | -265178 |  |  | -211137 |  |  | -349861 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
November Reading 2017 Monthly |  | 21449 |  |  | 12930 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3998.45 |  |  | 476 |  | -8052051.84 |  |  | -15300662.16 |  |  | -15617780.64 |  |  | -18654011.04 |  |  | -18948669.6 |  |  | -17346512.4 |  |  | -14614489.68 |  |  | -14131382.16 |  |  | -11062363.2 |  |  | -17478835.92 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -265178 |  |  | -211137 |  |  | -349861 |  |  | 3894 | [14 empty] | 487.2
November Reading 2018 Monthly |  | -179665 |  |  | -223632 |  |  | -2320 |  | -910541 |  |  |  | -110400 |  |  | -5862 |  | -8052051.84 |  |  | -15300662.16 |  |  | -15617780.64 |  |  | -18654011.04 |  |  | -18948669.6 |  |  | -17346512.4 |  |  | -14614489.68 |  |  | -14131382.16 |  |  | -11062363.2 |  |  | -17478835.92 |  |  | -77194800 |  |  | -79651500 |  |  | -73730900 | [12 empty] | -9927590 |  |  |  |  | -63542 |  | -54684 |  | -18495 |  | -25191 |  | -27922 |  | -61167 |  | -265178 |  |  | -211137 |  |  | -349861 |  |  | -688055
Difference |  | 201114 |  |  | 236562 |  |  | 9368.9 |  | 918243.2 |  |  |  | 114398.45 |  |  | 6338 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -77542100 |  |  | -80012600 |  |  | -74289742 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 691949
Total Monthly Electrical Kwh | [18 empty] | November 2017 Kwh | [5 empty] | -151206758.64 | [5 empty] | November 2018 Kwh | [5 empty] | -151206758.64 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | November 2017 Kwh two weeks | [5 empty] | -151206758.64 | [5 empty] | November 2018 Kwh two weeks | [5 empty] | -151206758.64 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -230577200 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]November - 2022'!AE40
Daily Consumption Kwh 2018 = '[1]November - 2022'!AF40
Daily Consumption Kwh 2018 = '[1]November - 2022'!AI40
Daily Consumption Kwh 2017 = '[1]November - 2022'!AF40
Daily Consumption Kwh 2017 = '[1]November - 2022'!AI40
EMDB-2 Elevators = '[1]November - 2022'!AH40
MDB-1 Chiller # 1 = '[1]November - 2022'!AK40
MDB-2 Chiller # 2 = '[1]November - 2022'!AN40
MDB-3 Chiller # 3 = '[1]November - 2022'!AQ40
MDB-4 North Riser Guest Rooms = '[1]November - 2022'!AT40
MDB-5 North Riser Guest Rooms = '[1]November - 2022'!AW40
MDB-6 Main Kitchen = '[1]November - 2022'!AZ40
MDB-7 South Riser Guest Rooms = '[1]November - 2022'!BC40
MDB-8 F & B = '[1]November - 2022'!BF40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill