## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 12 | 2022 | 44091.6 | 0.44448 | 644.49 | 3.3462 | 732 | 13.83 | 164 | 1.2 | 94.8 | 182
Dubai at Jumeirah Beach | 2 | 12 | 2022 | 43945.44 | 0.44448 | 621.81 | 3.3462 | 673 | 13.83 | 176 | 1.2 | 78.21 | 154
Dubai at Jumeirah Beach | 3 | 12 | 2022 | 41850.48 | 0.44448 | 604.8 | 3.3462 | 724 | 13.83 | 169 | 1.2 | 85.32 | 162
Dubai at Jumeirah Beach | 4 | 12 | 2022 | 42678.72 | 0.44448 | 667.17 | 3.3462 | 664 | 13.83 | 162 | 1.2 | 82.95 | 146
Dubai at Jumeirah Beach | 5 | 12 | 2022 | 42142.8 | 0.44448 | 636.93 | 3.3462 | 669 | 13.83 | 138 | 1.2 | 97.17 | 166
Dubai at Jumeirah Beach | 6 | 12 | 2022 | 41801.76 | 0.44448 | 627.48 | 3.3462 | 677 | 13.83 | 137 | 1.2 | 111.39 | 177
Dubai at Jumeirah Beach | 7 | 12 | 2022 | 41996.64 | 0.44448 | 678.51 | 3.3462 | 671 | 13.83 | 133 | 1.2 | 130.35 | 202
Dubai at Jumeirah Beach | 8 | 12 | 2022 | 47355.84 | 0.44448 | 725.76 | 3.3462 | 775 | 13.83 | 149 | 1.2 | 144.57 | 227
Dubai at Jumeirah Beach | 9 | 12 | 2022 | 38537.52 | 0.44448 | 716.31 | 3.3462 | 706 | 13.83 | 122 | 1.2 | 151.68 | 240
Dubai at Jumeirah Beach | 10 | 12 | 2022 | 41412 | 0.44448 | 801.36 | 3.3462 | 715 | 13.83 | 140 | 1.2 | 151.68 | 256
Dubai at Jumeirah Beach | 11 | 12 | 2022 | 41168.4 | 0.44448 | 827.82 | 3.3462 | 694 | 13.83 | 149 | 1.2 | 144.57 | 226
Dubai at Jumeirah Beach | 12 | 12 | 2022 | 42045.36 | 0.44448 | 839.16 | 3.3462 | 744 | 13.83 | 139 | 1.2 | 135.09 | 232
Dubai at Jumeirah Beach | 13 | 12 | 2022 | 36929.76 | 0.44448 | 859.95 | 3.3462 | 569 | 13.83 | 137 | 1.2 | 106.65 | 193
Dubai at Jumeirah Beach | 14 | 12 | 2022 | 39365.76 | 0.44448 | 882.63 | 3.3462 | 619 | 13.83 | 139 | 1.2 | 116.13 | 216
Dubai at Jumeirah Beach | 15 | 12 | 2022 | 40681.2 | 0.44448 | 614.25 | 3.3462 | 627 | 13.83 | 142 | 1.2 | 161.16 | 276
Dubai at Jumeirah Beach | 16 | 12 | 2022 | 41022.24 | 0.44448 | 765.45 | 3.3462 | 645 | 13.83 | 154 | 1.2 | 175.38 | 420
Dubai at Jumeirah Beach | 17 | 12 | 2022 | 43506.96 | 0.44448 | 829.71 | 3.3462 | 662 | 13.83 | 165 | 1.2 | 158.79 | 301
Dubai at Jumeirah Beach | 18 | 12 | 2022 | 38245.2 | 0.44448 | 710.64 | 3.3462 | 568 | 13.83 | 159 | 1.2 | 135.09 | 260
Dubai at Jumeirah Beach | 19 | 12 | 2022 | 39317.04 | 0.44448 | 782.46 | 3.3462 | 545 | 13.83 | 123 | 1.2 | 158.79 | 302
Dubai at Jumeirah Beach | 20 | 12 | 2022 | 40583.76 | 0.44448 | 852.39 | 3.3462 | 588 | 13.83 | 151 | 1.2 | 170.64 | 340
Dubai at Jumeirah Beach | 21 | 12 | 2022 | 39658.08 | 0.44448 | 871.29 | 3.3462 | 568 | 13.83 | 147 | 1.2 | 170.64 | 364
Dubai at Jumeirah Beach | 22 | 12 | 2022 | 37611.84 | 0.44448 | 799.47 | 3.3462 | 858 | 13.83 | 163 | 1.2 | 187.23 | 414
Dubai at Jumeirah Beach | 23 | 12 | 2022 | 40194 | 0.44448 | 788.13 | 3.3462 | 761 | 13.83 | 172 | 1.2 | 173.01 | 394
Dubai at Jumeirah Beach | 24 | 12 | 2022 | 39755.52 | 0.44448 | 774.9 | 3.3462 | 717 | 13.83 | 178 | 1.2 | 175.38 | 372
Dubai at Jumeirah Beach | 25 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 12 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 12 | 2022 | 94.8 | 182 | 732 | 427 | 277 | 277 | 131 | 18 | 2630.88 | 4579.68 | 0 | 48.72 | 12959.52 | 5943.84 | 4384.8 | 4872 | 3118.08 | 5554.08 | 0 | 0 | 65200 | 137.97 | 192.78 | 313.74 | 168 | 39.69 | 37.8 | 13.23 | 18.9 | 34.02 | 64.26 | 5 | 8 | 15 | 16 | 6 | 10 | 8 | 9 | 9 | 4 | 10 | 12 |  | 6.8 | 6.8 | 608 | 154.9 | 4400 | 340 | 5600 | 2000 | 400 | 700 | 30.24 | 24.57 | 28.35 | 15.12 | 68.04 | 164
Dubai at Jumeirah Beach | 2 | 12 | 2022 | 78.21 | 154 | 673 | 428 | 262 | 262 | 122 | 11 | 2728.32 | 4628.4 | 48.72 | 389.76 | 12813.36 | 5700.24 | 4043.76 | 4677.12 | 3020.64 | 5895.12 | 0 | 0 | 64700 | 134.19 | 187.11 | 300.51 | 165 | 35.91 | 35.91 | 11.34 | 18.9 | 26.46 | 60.48 | 5 | 8 | 12 | 15 | 4 | 10 | 8 | 9 | 10 | 4 | 5 | 10.9 |  | 6.5 | 6.9 | 614 | 148.3 | 4300 | 290 | 5100 | 2100 | 600 | 750 | 30.24 | 20.79 | 34.02 | 20.79 | 66.15 | 176
Dubai at Jumeirah Beach | 3 | 12 | 2022 | 85.32 | 162 | 724 | 431 | 250 | 250 | 122 | 12 | 2484.72 | 4287.36 | 1023.12 | 11546.64 | 0 | 5359.2 | 3995.04 | 4384.8 | 3069.36 | 5700.24 | 0 | 64000 | 2200 | 134.19 | 192.78 | 277.83 | 165 | 34.02 | 35.91 | 13.23 | 20.79 | 26.46 | 68.04 | 5 | 7 | 10 | 12 | 6 | 9 | 7 | 9 | 9 | 3 | 6 | 11.9 |  | 6.7 | 8.1 | 620 | 159 | 5600 | 270 | 5800 | 2500 | 600 | 800 | 32.13 | 26.46 | 28.35 | 18.9 | 62.37 | 169
Dubai at Jumeirah Beach | 4 | 12 | 2022 | 82.95 | 146 | 664 | 411 | 248 | 248 | 116 | 10 | 2582.16 | 4482.24 | 925.68 | 11546.64 | 0 | 5700.24 | 4141.2 | 4433.52 | 3069.36 | 5797.68 | 0 | 63600 | 0 | 137.97 | 196.56 | 332.64 | 170 | 35.91 | 37.8 | 9.45 | 17.01 | 24.57 | 69.93 | 4 | 8 | 16 | 22 | 9 | 12 | 14 | 16 | 8 | 5 | 5 | 10.6 |  | 6.5 | 7.4 | 550 | 148.3 | 4700 | 280 | 4700 | 2200 | 600 | 750 | 30.24 | 20.79 | 24.57 | 18.9 | 51.03 | 162
Dubai at Jumeirah Beach | 5 | 12 | 2022 | 97.17 | 166 | 669 | 352 | 271 | 271 | 120 | 18 | 2484.72 | 4628.4 | 876.96 | 11205.6 | 0 | 5700.24 | 4189.92 | 4336.08 | 3020.64 | 5700.24 | 0 | 62700 | 0 | 134.19 | 187.11 | 315.63 | 164 | 34.02 | 35.91 | 13.23 | 20.79 | 24.57 | 62.37 | 5 | 5 | 12 | 13 | 6 | 10 | 8 | 9 | 7 | 3 | 6 | 10.7 |  | 6.3 | 6.6 | 562 | 151.1 | 4900 | 280 | 4500 | 2300 | 600 | 750 | 30.24 | 20.79 | 22.68 | 18.9 | 62.37 | 138
Dubai at Jumeirah Beach | 6 | 12 | 2022 | 111.39 | 177 | 677 | 400 | 260 | 260 | 116 | 8 | 2533.44 | 4530.96 | 876.96 | 10962 | 0 | 5456.64 | 4141.2 | 4433.52 | 3312.96 | 5554.08 | 0 | 63700 | 0 | 134.19 | 192.78 | 300.51 | 165 | 35.91 | 34.02 | 13.23 | 20.79 | 34.02 | 54.81 | 2 | 6 | 14 | 14 | 5 | 10 | 8 | 9 | 8 | 3 | 7 | 10.9 |  | 6.4 | 6.4 | 561 | 151.1 | 4300 | 270 | 4300 | 2200 | 500 | 720 | 30.24 | 18.9 | 18.9 | 13.23 | 54.81 | 137
Dubai at Jumeirah Beach | 7 | 12 | 2022 | 130.35 | 202 | 671 | 394 | 251 | 251 | 111 | 13 | 2630.88 | 4530.96 | 876.96 | 10669.68 | 0 | 5602.8 | 4384.8 | 4336.08 | 3264.24 | 5700.24 | 0 | 57700 | 0 | 132.3 | 189 | 357.21 | 164 | 37.8 | 35.91 | 13.23 | 17.01 | 26.46 | 60.48 | 7 | 9 | 12 | 15 | 6 | 10 | 6 | 8 | 8 | 4 | 6 | 11.5 |  | 6.5 | 5.7 | 540 | 153.3 | 4100 | 270 | 4700 | 2000 | 300 | 720 | 28.35 | 22.68 | 28.35 | 15.12 | 60.48 | 133
Dubai at Jumeirah Beach | 8 | 12 | 2022 | 144.57 | 227 | 775 | 438 | 273 | 273 | 119 | 10 | 2923.2 | 4969.44 | 1266.72 | 12277.44 | 292.32 | 6187.44 | 4774.56 | 4872 | 3605.28 | 6187.44 | 800 | 61900 | 1300 | 143.64 | 209.79 | 372.33 | 176 | 34.02 | 39.69 | 11.34 | 22.68 | 32.13 | 58.59 | 5 | 9 | 14 | 11 | 7 | 12 | 11 | 9 | 9 | 3 | 10 | 12 |  | 7 | 6.9 | 571 | 164.2 | 4500 | 290 | 5400 | 2400 | 400 | 760 | 32.13 | 26.46 | 28.35 | 17.01 | 73.71 | 149
Dubai at Jumeirah Beach | 9 | 12 | 2022 | 151.68 | 240 | 706 | 417 | 214 | 214 | 106 | 9 | 2387.28 | 4141.2 | 828.24 | 9061.92 | 292.32 | 5359.2 | 3946.32 | 4141.2 | 2874.48 | 5505.36 | 0 | 55200 | 0 | 124.74 | 177.66 | 413.91 | 154 | 32.13 | 34.02 | 9.45 | 18.9 | 22.68 | 54.81 | 5 | 8 | 13 | 15 | 7 | 9 | 10 | 9 | 9 | 3 | 0 | 10.2 |  | 5.9 | 7.1 | 545 | 119.2 | 3600 | 250 | 3300 | 1700 | 300 | 630 | 26.46 | 18.9 | 28.35 | 20.79 | 62.37 | 122
Dubai at Jumeirah Beach | 10 | 12 | 2022 | 151.68 | 256 | 715 | 473 | 248 | 248 | 108 | 6 | 2046.24 | 4433.52 | 9646.56 | 974.4 | 389.76 | 5651.52 | 4482.24 | 4872 | 2971.92 | 5943.84 | 51100 | 2100 | 0 | 134.19 | 204.12 | 463.05 | 167 | 35.91 | 34.02 | 11.34 | 18.9 | 28.35 | 60.48 | 5 | 8 | 9 | 11 | 7 | 10 | 10 | 9 | 9 | 3 | 0 | 11.7 |  | 6.6 | 7.5 | 578 | 134.4 | 2700 | 270 | 2700 | 1500 | 300 | 700 | 30.24 | 20.79 | 28.35 | 20.79 | 56.7 | 140
Dubai at Jumeirah Beach | 11 | 12 | 2022 | 144.57 | 226 | 694 | 442 | 255 | 255 | 88 | 4 | 1948.8 | 4628.4 | 9013.2 | 682.08 | 584.64 | 5895.12 | 4384.8 | 4677.12 | 3361.68 | 5992.56 | 48100 | 0 | 0 | 137.97 | 207.9 | 481.95 | 172 | 37.8 | 35.91 | 13.23 | 20.79 | 26.46 | 69.93 | 3 | 3 | 15 | 25 | 5 | 7 | 10 | 14 | 5 | 6 | 15 | 11 |  | 6.6 | 7.4 | 553 | 128.2 | 3800 | 230 | 1700 | 1900 | 400 | 630 | 28.35 | 18.9 | 20.79 | 20.79 | 62.37 | 149
Dubai at Jumeirah Beach | 12 | 12 | 2022 | 135.09 | 232 | 744 | 429 | 283 | 283 | 81 | 6 | 1948.8 | 4823.28 | 9256.8 | 633.36 | 535.92 | 5992.56 | 4823.28 | 4823.28 | 3312.96 | 5895.12 | 44000 | 0 | 0 | 141.75 | 202.23 | 495.18 | 175 | 37.8 | 37.8 | 13.23 | 18.9 | 28.35 | 54.81 | 2 | 4 | 13 | 12 | 6 | 10 | 9 | 10 | 8 | 5 | 10 | 11.3 |  | 6.7 | 6.8 | 578 | 136.3 | 2900 | 250 | 1900 | 1600 | 300 | 630 | 32.13 | 20.79 | 18.9 | 15.12 | 64.26 | 139
Dubai at Jumeirah Beach | 13 | 12 | 2022 | 106.65 | 193 | 569 | 364 | 215 | 215 | 83 | 8 | 1851.36 | 4336.08 | 8087.52 | 584.64 | 487.2 | 5456.64 | 3800.16 | 4238.64 | 2728.32 | 5359.2 | 45100 | 0 | 0 | 128.52 | 187.11 | 544.32 | 159 | 37.8 | 35.91 | 11.34 | 20.79 | 24.57 | 54.81 | 3 | 6 | 13 | 13 | 5 | 8 | 7 | 8 | 7 | 4 | 6 | 10 |  | 6 | 5.9 | 492 | 122.9 | 2700 | 220 | 1800 | 1600 | 300 | 590 | 28.35 | 17.01 | 22.68 | 11.34 | 47.25 | 137
Dubai at Jumeirah Beach | 14 | 12 | 2022 | 116.13 | 216 | 619 | 394 | 185 | 185 | 100 | 7 | 1948.8 | 4384.8 | 9110.64 | 682.08 | 535.92 | 5602.8 | 4238.64 | 4287.36 | 3020.64 | 5554.08 | 50500 | 0 | 0 | 132.3 | 196.56 | 553.77 | 163 | 37.8 | 34.02 | 11.34 | 20.79 | 26.46 | 56.7 | 6 | 8 | 12 | 14 | 5 | 9 | 6 | 10 | 11 | 2 | 3 | 10.5 |  | 6.1 | 6.3 | 501 | 128.9 | 3100 | 250 | 2100 | 1900 | 300 | 670 | 28.35 | 20.79 | 28.35 | 15.12 | 56.7 | 139
Dubai at Jumeirah Beach | 15 | 12 | 2022 | 161.16 | 276 | 627 | 438 | 137 | 137 | 94 | 7 | 1948.8 | 4433.52 | 9305.52 | 779.52 | 535.92 | 5700.24 | 4384.8 | 4530.96 | 3312.96 | 5748.96 | 52500 | 0 | 0 | 136.08 | 206.01 | 272.16 | 171 | 39.69 | 35.91 | 13.23 | 17.01 | 28.35 | 58.59 | 3 | 5 | 13 | 16 | 6 | 10 | 7 | 10 | 7 | 4 | 7 | 11.5 |  | 6.5 | 6.4 | 578 | 131.9 | 3500 | 250 | 2000 | 2000 | 400 | 670 | 30.24 | 20.79 | 26.46 | 15.12 | 58.59 | 142
Dubai at Jumeirah Beach | 16 | 12 | 2022 | 175.38 | 420 | 645 | 472 | 42 | 42 | 98 | 9 | 1948.8 | 4384.8 | 9354.24 | 682.08 | 535.92 | 5846.4 | 4384.8 | 4725.84 | 3312.96 | 5846.4 | 53000 | 0 | 0 | 137.97 | 206.01 | 421.47 | 170 | 35.91 | 32.13 | 13.23 | 18.9 | 26.46 | 60.48 | 3 | 5 | 12 | 14 | 6 | 9 | 7 | 9 | 7 | 4 | 0 | 11.5 |  | 6.2 | 7.4 | 597 | 132 | 3500 | 260 | 4100 | 1800 | 300 | 640 | 32.13 | 18.9 | 30.24 | 18.9 | 68.04 | 154
Dubai at Jumeirah Beach | 17 | 12 | 2022 | 158.79 | 301 | 662 | 522 | 18 | 18 | 108 | 14 | 3848.88 | 4677.12 | 1071.84 | 97.44 | 8964.48 | 5797.68 | 4628.4 | 4969.44 | 3361.68 | 6090 | 2900 | 0 | 49600 | 139.86 | 224.91 | 464.94 | 175 | 39.69 | 39.69 | 13.23 | 18.9 | 30.24 | 62.37 | 3 | 5 | 12 | 15 | 6 | 9 | 7 | 9 | 7 | 4 | 0 | 11.6 |  | 6.8 | 8 | 637 | 136 | 3400 | 270 | 500 | 1900 | 300 | 690 | 35.91 | 22.68 | 22.68 | 20.79 | 71.82 | 165
Dubai at Jumeirah Beach | 18 | 12 | 2022 | 135.09 | 260 | 568 | 418 | 5 | 5 | 91 | 8 | 3459.12 | 4238.64 | 584.64 | 48.72 | 7454.16 | 5456.64 | 4189.92 | 4384.8 | 2923.2 | 5505.36 | 0 | 0 | 45900 | 130.41 | 158.76 | 421.47 | 163 | 34.02 | 34.02 | 9.45 | 20.79 | 24.57 | 52.92 | 9 | 13 | 15 | 21 | 4 | 12 | 17 | 13 | 10 | 5 | 0 | 10.3 |  | 6.1 | 6.8 | 480 | 129.6 | 3200 | 210 | 2200 | 1600 | 400 | 580 | 30.24 | 18.9 | 22.68 | 17.01 | 49.14 | 159
Dubai at Jumeirah Beach | 19 | 12 | 2022 | 158.79 | 302 | 545 | 428 | 195 | 195 | 88 | 12 | 3702.72 | 4579.68 | 487.2 | 0 | 7551.6 | 5602.8 | 4141.2 | 4628.4 | 3118.08 | 5505.36 | 0 | 0 | 45000 | 126.63 | 215.46 | 440.37 | 149 | 37.8 | 35.91 | 11.34 | 20.79 | 28.35 | 58.59 | 5 | 7 | 13 | 14 | 7 | 9 | 7 | 10 | 7 | 4 | 5 | 10.8 |  | 6.6 | 5.9 | 565 | 129.9 | 3100 | 240 | 1900 | 1700 | 300 | 610 | 30.24 | 22.68 | 24.57 | 18.9 | 60.48 | 123
Dubai at Jumeirah Beach | 20 | 12 | 2022 | 170.64 | 340 | 588 | 448 | 239 | 239 | 85 | 5 | 3897.6 | 4579.68 | 535.92 | 48.72 | 7551.6 | 5748.96 | 4530.96 | 4774.56 | 3166.8 | 5748.96 | 0 | 0 | 44300 | 158.76 | 207.9 | 485.73 | 181 | 37.8 | 35.91 | 13.23 | 18.9 | 28.35 | 60.48 | 5 | 6 | 13 | 14 | 6 | 11 | 6 | 7 | 8 | 4 | 7 | 11.2 |  | 6.6 | 6 | 568 | 133 | 2900 | 180 | 1900 | 1500 | 300 | 570 | 26.46 | 22.68 | 34.02 | 13.23 | 60.48 | 151
Dubai at Jumeirah Beach | 21 | 12 | 2022 | 170.64 | 364 | 568 | 444 | 261 | 261 | 88 | 14 | 3605.28 | 4579.68 | 535.92 | 48.72 | 7502.88 | 5602.8 | 4482.24 | 4579.68 | 3166.8 | 5554.08 | 0 | 0 | 44400 | 137.97 | 213.57 | 519.75 | 174 | 39.69 | 35.91 | 11.34 | 22.68 | 26.46 | 66.15 | 7 | 10 | 13 | 16 | 7 | 10 | 6 | 8 | 8 | 5 | 3 | 11.5 |  | 6.5 | 5.9 | 557 | 130.9 | 3100 | 270 | 2200 | 1800 | 100 | 700 | 28.35 | 22.68 | 30.24 | 15.12 | 62.37 | 147
Dubai at Jumeirah Beach | 22 | 12 | 2022 | 187.23 | 414 | 858 | 485 | 355 | 355 | 80 | 2 | 3556.56 | 4287.36 | 535.92 | 48.72 | 7161.84 | 5164.32 | 4092.48 | 4482.24 | 2825.76 | 5456.64 | 0 | 0 | 44100 | 132.3 | 209.79 | 457.38 | 166 | 37.8 | 35.91 | 9.45 | 22.68 | 26.46 | 62.37 | 8 | 9 | 11 | 15 | 6 | 10 | 9 | 9 | 7 | 4 | 6 | 11.3 |  | 6.2 | 6 | 561 | 125 | 2400 | 200 | 1700 | 1300 | 100 | 520 | 32.13 | 24.57 | 28.35 | 18.9 | 56.7 | 163
Dubai at Jumeirah Beach | 23 | 12 | 2022 | 173.01 | 394 | 761 | 501 | 259 | 259 | 92 | 8 | 3848.88 | 4530.96 | 584.64 | 97.44 | 7795.2 | 5456.64 | 4336.08 | 4725.84 | 3020.64 | 5797.68 | 0 | 0 | 46500 | 137.97 | 211.68 | 438.48 | 172 | 34.02 | 37.8 | 15.12 | 24.57 | 32.13 | 64.26 | 7 | 11 | 10 | 17 | 8 | 12 | 8 | 10 | 9 | 5 | 9 | 11.6 |  | 6.6 | 6.3 | 582 | 132.5 | 3200 | 220 | 2500 | 1700 | 200 | 620 | 30.24 | 24.57 | 26.46 | 22.68 | 66.15 | 172
Dubai at Jumeirah Beach | 24 | 12 | 2022 | 175.38 | 372 | 717 | 502 | 266 | 266 | 98 | 10 | 1997.52 | 4530.96 | 194.88 | 9841.44 | 779.52 | 5310.48 | 4043.76 | 4579.68 | 2825.76 | 5651.52 | 0 | 48700 | 2100 | 136.08 | 223.02 | 415.8 | 168 | 37.8 | 35.91 | 13.23 | 18.9 | 32.13 | 71.82 | 6 | 910 | 9 | 14 | 8 | 11 | 8 | 10 | 9 | 5 | 0 | 11.6 |  | 6.9 | 7.5 | 637 | 132.6 | 4200 | 260 | 2900 | 1800 | 300 | 650 | 32.13 | 28.35 | 26.46 | 20.79 | 77.49 | 178
Dubai at Jumeirah Beach | 25 | 12 | 2022
Dubai at Jumeirah Beach | 26 | 12 | 2022
Dubai at Jumeirah Beach | 27 | 12 | 2022
Dubai at Jumeirah Beach | 28 | 12 | 2022
Dubai at Jumeirah Beach | 29 | 12 | 2022
Dubai at Jumeirah Beach | 30 | 12 | 2022
Dubai at Jumeirah Beach | 31 | 12 | 2022

## DJB Daily Readings
Daily Water Consumption December 2020 | [18 empty] | Electricity Daily Consumption December 2020 | [29 empty] | Chiller BTU Meter Reading December 2020 | [20 empty] | Lpg Daily Consumption December 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading December 2020 | [11 empty] | F & B Village Chilled Water Reading December 2020 | [11 empty] | F & B Village Daily Lpg Reading December 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 51% | 204542 | 732 | 576 | 237720 | 427 | 407 | 5844 | 164 | 918944 | 277 | 243148 | 112 | 115205 | 131 | 105.09 | 6237 | 18 | 8125472.88 | 2630.88 | 2630.88 | 15438880.8 | 4579.68 | 4579.68 | 15753173.52 | 0 | 0 | 18820730.88 | 48.72 | 48.72 | 19140870 | 12959.52 | 12959.52 | 17520394.08 | 5943.84 | 5943.84 | 14752513.44 | 4384.8 | 4384.8 | 14272426.56 | 4872 | 4872 | 11154687.6 | 3118.08 | 3118.08 | 17655543.36 | 5554.08 | 5554.08 | 77840000 | 0 | 0 | 80452400 | 0 | 0 | 74637500 | 65200 | 65200 | [10 empty] | 10171610 | 7460 | 74% | -6% | 6% | 64169 | 21 | 55264 | 20 | 18695 | 7 | 25508 | 10 | 28364 | 18 | 62228 | 34 | 267458 | 73 | 73 | 214182 | 102 | 102 | 353835 | 166 | 166 | 693437 | 168 | 8807 | 8 | 5981 | 5 | 32007 | 16 | 32272 | 15 | 21764 | 10 | 23989 | 6 | 7013 | 9 | 9688 | 8 | 3228 | 4 | 6366 | 9 | 30245 | 10 | 6235.5 | 12 | 11223.7 | 9.1 | 4746.3 | 6.8 | 5319.5 | 6.8 | 1122112 | 608 | 230550 | 154.9 | 12107000 | 4400 | 931450 | 340 | 7205200 | 2000 | 2494100 | 400 | 1271830 | 700 | 16592300 | 5600 | 41974 | 16 | 36697 | 13 | 7448 | 0 | 59149 | 15 | 49260 | 36
2020-01-01 | 40% | 205274 |  |  | 238147 |  |  | 6008 |  | 919221 |  | 243260 |  | 115336 |  |  | 6255 |  | 8128103.76 |  |  | 15443460.48 |  |  | 15753173.52 |  |  | 18820779.6 |  |  | 19153829.52 |  |  | 17526337.92 |  |  | 14756898.24 |  |  | 14277298.56 |  |  | 11157805.68 |  |  | 17661097.44 |  |  | 77840000 |  |  | 80452400 |  |  | 74702700 | [12 empty] | 10179070 |  | 68% |  |  | 64190 |  | 55284 |  | 18702 |  | 25518 |  | 28382 |  | 62262 |  | 267531 |  |  | 214284 |  |  | 354001 |  |  | 693605 |  | 8815 |  | 5986 |  | 32023 |  | 32287 |  | 21774 |  | 23995 |  | 7022 |  | 9696 |  | 3232 |  | 6375 |  | 30255 |  | 6247.5 |  | 11232.8 |  | 4753.1 |  | 5326.3 |  | 1122720 |  | 230704.9 |  | 12111400 |  | 931790 |  | 7207200 |  | 2494500 |  | 1272530 |  | 16597900 |  | 41990 |  | 36710 |  | 7456 |  | 59164 |  | 49296
2020-01-02 | 33% | 205947 | 673 | 692 | 238575 | 428 | 443 | 6184 | 176 | 919483 | 262 | 243371 | 111 | 115458 | 122 | 95.11 | 6266 | 11 | 8130832.08 | 2728.32 | 2728.32 | 15448088.88 | 4628.4 | 4628.4 | 15753222.24 | 48.72 | 48.72 | 18821169.36 | 389.76 | 389.76 | 19166642.88 | 12813.36 | 12813.36 | 17532038.16 | 5700.24 | 5700.24 | 14760942 | 4043.76 | 4043.76 | 14281975.68 | 4677.12 | 4677.12 | 11160826.32 | 3020.64 | 3020.64 | 17666992.56 | 5895.12 | 5895.12 | 77840000 | 0 | 0 | 80452400 | 0 | 0 | 74767400 | 64700 | 64700 | [10 empty] | 10186430 | 7360 | 60% | 8% | 8% | 64209 | 19 | 55303 | 19 | 18708 | 6 | 25528 | 10 | 28396 | 14 | 62294 | 32 | 267602 | 71 | 71 | 214383 | 99 | 99 | 354160 | 159 | 159 | 693770 | 165 | 8823 | 8 | 5991 | 5 | 32038 | 15 | 32299 | 12 | 21784 | 10 | 23999 | 4 | 7031 | 9 | 9704 | 8 | 3236 | 4 | 6385 | 10 | 30260 | 5 | 6258.4 | 10.9 | 11241.1 | 8.3 | 4759.6 | 6.5 | 5333.2 | 6.9 | 1123334 | 614 | 230853.2 | 148.3 | 12115700 | 4300 | 932080 | 290 | 7209300 | 2100 | 2495100 | 600 | 1273280 | 750 | 16603000 | 5100 | 42006 | 16 | 36721 | 11 | 7467 | 11 | 59182 | 18 | 49331 | 35
2020-01-03 | 36% | 206671 | 724 | 736 | 239006 | 431 | 453 | 6353 | 169 | 919733 | 250 | 243484 | 113 | 115580 | 122 | 78.41 | 6278 | 12 | 8133316.8 | 2484.72 | 2484.72 | 15452376.24 | 4287.36 | 4287.36 | 15754245.36 | 1023.12 | 1023.12 | 18832716 | 11546.64 | 11546.64 | 19166642.88 | 0 | 0 | 17537397.36 | 5359.2 | 5359.2 | 14764937.04 | 3995.04 | 3995.04 | 14286360.48 | 4384.8 | 4384.8 | 11163895.68 | 3069.36 | 3069.36 | 17672692.8 | 5700.24 | 5700.24 | 77840000 | 0 | 0 | 80516400 | 64000 | 64000 | 74769600 | 2200 | 2200 | [10 empty] | 10193780 | 7350 | 70% | -10% | -10% | 64227 | 18 | 55322 | 19 | 18715 | 7 | 25539 | 11 | 28410 | 14 | 62330 | 36 | 267673 | 71 | 71 | 214485 | 102 | 102 | 354307 | 147 | 147 | 693935 | 165 | 8830 | 7 | 5996 | 5 | 32050 | 12 | 32309 | 10 | 21793 | 9 | 24005 | 6 | 7040 | 9 | 9711 | 7 | 3239 | 3 | 6394 | 9 | 30266 | 6 | 6270.3 | 11.9 | 11248.9 | 7.8 | 4766.3 | 6.7 | 5341.3 | 8.1 | 1123954 | 620 | 231012.2 | 159 | 12121300 | 5600 | 932350 | 270 | 7211800 | 2500 | 2495700 | 600 | 1274080 | 800 | 16608800 | 5800 | 42023 | 17 | 36735 | 14 | 7477 | 10 | 59197 | 15 | 49364 | 33
2020-01-04 | 35% | 207335 | 664 | 767 | 239417 | 411 | 455 | 6515 | 162 | 919981 | 248 | 243560 | 76 | 115696 | 116 | 111.76 | 6288 | 10 | 8135898.96 | 2582.16 | 2582.16 | 15456858.48 | 4482.24 | 4482.24 | 15755171.04 | 925.68 | 925.68 | 18844262.64 | 11546.64 | 11546.64 | 19166642.88 | 0 | 0 | 17543097.6 | 5700.24 | 5700.24 | 14769078.24 | 4141.2 | 4141.2 | 14290794 | 4433.52 | 4433.52 | 11166965.04 | 3069.36 | 3069.36 | 17678490.48 | 5797.68 | 5797.68 | 77840000 | 0 | 0 | 80580000 | 63600 | 63600 | 74769600 | 0 | 0 | [10 empty] | 10200980 | 7200 | 84% | -14% | -14% | 64246 | 19 | 55342 | 20 | 18720 | 5 | 25548 | 9 | 28423 | 13 | 62367 | 37 | 267746 | 73 | 73 | 214589 | 104 | 104 | 354483 | 176 | 176 | 694105 | 170 | 8838 | 8 | 6000 | 4 | 32072 | 22 | 32325 | 16 | 21805 | 12 | 24014 | 9 | 7056 | 16 | 9725 | 14 | 3244 | 5 | 6402 | 8 | 30271 | 5 | 6280.9 | 10.6 | 11256.5 | 7.6 | 4772.8 | 6.5 | 5348.7 | 7.4 | 1124504 | 550 | 231160.5 | 148.3 | 12126000 | 4700 | 932630 | 280 | 7214000 | 2200 | 2496300 | 600 | 1274830 | 750 | 16613500 | 4700 | 42039 | 16 | 36746 | 11 | 7487 | 10 | 59210 | 13 | 49391 | 27
2020-01-05 | 41% | 208004 | 669 | 714 | 239769 | 352 | 445 | 6653 | 138 | 920252 | 271 | 243714 | 154 | 115816 | 120 | 83.08 | 6306 | 18 | 8138383.68 | 2484.72 | 2484.72 | 15461486.88 | 4628.4 | 4628.4 | 15756048 | 876.96 | 876.96 | 18855468.24 | 11205.6 | 11205.6 | 19166642.88 | 0 | 0 | 17548797.84 | 5700.24 | 5700.24 | 14773268.16 | 4189.92 | 4189.92 | 14295130.08 | 4336.08 | 4336.08 | 11169985.68 | 3020.64 | 3020.64 | 17684190.72 | 5700.24 | 5700.24 | 77840000 | 0 | 0 | 80642700 | 62700 | 62700 | 74769600 | 0 | 0 | [10 empty] | 10207430 | 6450 | 77% | 7% | 7% | 64264 | 18 | 55361 | 19 | 18727 | 7 | 25559 | 11 | 28436 | 13 | 62400 | 33 | 267817 | 71 | 71 | 214688 | 99 | 99 | 354650 | 167 | 167 | 694269 | 164 | 8843 | 5 | 6005 | 5 | 32085 | 13 | 32337 | 12 | 21815 | 10 | 24020 | 6 | 7065 | 9 | 9733 | 8 | 3247 | 3 | 6409 | 7 | 30277 | 6 | 6291.6 | 10.7 | 11264.3 | 7.8 | 4779.1 | 6.3 | 5355.3 | 6.6 | 1125066 | 562 | 231311.6 | 151.1 | 12130900 | 4900 | 932910 | 280 | 7216300 | 2300 | 2496900 | 600 | 1275580 | 750 | 16618000 | 4500 | 42055 | 16 | 36757 | 11 | 7497 | 10 | 59222 | 12 | 49424 | 33
2020-01-06 | 47% | 208681 | 677 | 728 | 240169 | 400 | 402 | 6790 | 137 | 920512 | 260 | 243833 | 119 | 115932 | 116 | 82.79 | 6314 | 8 | 8140917.12 | 2533.44 | 2533.44 | 15466017.84 | 4530.96 | 4530.96 | 15756924.96 | 876.96 | 876.96 | 18866430.24 | 10962 | 10962 | 19166642.88 | 0 | 0 | 17554254.48 | 5456.64 | 5456.64 | 14777409.36 | 4141.2 | 4141.2 | 14299563.6 | 4433.52 | 4433.52 | 11173298.64 | 3312.96 | 3312.96 | 17689744.8 | 5554.08 | 5554.08 | 77840000 | 0 | 0 | 80706400 | 63700 | 63700 | 74769600 | 0 | 0 | [10 empty] | 10214370 | 6940 | 69% | 8% | 8% | 64283 | 19 | 55379 | 18 | 18734 | 7 | 25570 | 11 | 28454 | 18 | 62429 | 29 | 267888 | 71 | 71 | 214790 | 102 | 102 | 354809 | 159 | 159 | 694434 | 165 | 8849 | 6 | 6007 | 2 | 32099 | 14 | 32351 | 14 | 21825 | 10 | 24025 | 5 | 7074 | 9 | 9741 | 8 | 3250 | 3 | 6417 | 8 | 30284 | 7 | 6302.5 | 10.9 | 11271.6 | 7.3 | 4785.5 | 6.4 | 5361.7 | 6.4 | 1125627 | 561 | 231462.7 | 151.1 | 12135200 | 4300 | 933180 | 270 | 7218500 | 2200 | 2497400 | 500 | 1276300 | 720 | 16622300 | 4300 | 42071 | 16 | 36767 | 10 | 7504 | 7 | 59232 | 10 | 49453 | 29
2020-01-07 | 55% | 209352 | 671 | 705 | 240563 | 394 | 427 | 6923 | 133 | 920763 | 251 | 243950 | 117 | 116043 | 111 | 83.1 | 6327 | 13 | 8143548 | 2630.88 | 2630.88 | 15470548.8 | 4530.96 | 4530.96 | 15757801.92 | 876.96 | 876.96 | 18877099.92 | 10669.68 | 10669.68 | 19166642.88 | 0 | 0 | 17559857.28 | 5602.8 | 5602.8 | 14781794.16 | 4384.8 | 4384.8 | 14303899.68 | 4336.08 | 4336.08 | 11176562.88 | 3264.24 | 3264.24 | 17695445.04 | 5700.24 | 5700.24 | 77840000 | 0 | 0 | 80764100 | 57700 | 57700 | 74769600 | 0 | 0 | [10 empty] | 10219540 | 5170 | 63% | 6% | 6% | 64303 | 20 | 55398 | 19 | 18741 | 7 | 25579 | 9 | 28468 | 14 | 62461 | 32 | 267958 | 70 | 70 | 214890 | 100 | 100 | 354998 | 189 | 189 | 694598 | 164 | 8858 | 9 | 6014 | 7 | 32114 | 15 | 32363 | 12 | 21835 | 10 | 24031 | 6 | 7082 | 8 | 9747 | 6 | 3254 | 4 | 6425 | 8 | 30290 | 6 | 6314 | 11.5 | 11279.5 | 7.9 | 4792 | 6.5 | 5367.4 | 5.7 | 1126167 | 540 | 231616 | 153.3 | 12139300 | 4100 | 933450 | 270 | 7220500 | 2000 | 2497700 | 300 | 1277020 | 720 | 16627000 | 4700 | 42086 | 15 | 36779 | 12 | 7512 | 8 | 59247 | 15 | 49485 | 32
2020-01-08 | 61% | 210127 | 775 | 760 | 241001 | 438 | 433 | 7072 | 149 | 921036 | 273 | 244102 | 152 | 116162 | 119 | 85.43 | 6337 | 10 | 8146471.2 | 2923.2 | 2923.2 | 15475518.24 | 4969.44 | 4969.44 | 15759068.64 | 1266.72 | 1266.72 | 18889377.36 | 12277.44 | 12277.44 | 19166935.2 | 292.32 | 292.32 | 17566044.72 | 6187.44 | 6187.44 | 14786568.72 | 4774.56 | 4774.56 | 14308771.68 | 4872 | 4872 | 11180168.16 | 3605.28 | 3605.28 | 17701632.48 | 6187.44 | 6187.44 | 77840800 | 800 | 800 | 80826000 | 61900 | 61900 | 74770900 | 1300 | 1300 | [10 empty] | 10225400 | 5860 | 66% | -3% | -3% | 64321 | 18 | 55419 | 21 | 18747 | 6 | 25591 | 12 | 28485 | 17 | 62492 | 31 | 268034 | 76 | 76 | 215001 | 111 | 111 | 355195 | 197 | 197 | 694774 | 176 | 8867 | 9 | 6019 | 5 | 32125 | 11 | 32377 | 14 | 21847 | 12 | 24038 | 7 | 7091 | 9 | 9758 | 11 | 3257 | 3 | 6434 | 9 | 30300 | 10 | 6326 | 12 | 11288.4 | 8.9 | 4799 | 7 | 5374.3 | 6.9 | 1126738 | 571 | 231780.2 | 164.2 | 12143800 | 4500 | 933740 | 290 | 7222900 | 2400 | 2498100 | 400 | 1277780 | 760 | 16632400 | 5400 | 42103 | 17 | 36793 | 14 | 7521 | 9 | 59262 | 15 | 49524 | 39
2020-01-09 | 64% | 210833 | 706 | 748 | 241418 | 417 | 446 | 7194 | 122 | 921250 | 214 | 244225 | 123 | 116268 | 106 | 81.98 | 6346 | 9 | 8148858.48 | 2387.28 | 2387.28 | 15479659.44 | 4141.2 | 4141.2 | 15759896.88 | 828.24 | 828.24 | 18898439.28 | 9061.92 | 9061.92 | 19167227.52 | 292.32 | 292.32 | 17571403.92 | 5359.2 | 5359.2 | 14790515.04 | 3946.32 | 3946.32 | 14312912.88 | 4141.2 | 4141.2 | 11183042.64 | 2874.48 | 2874.48 | 17707137.84 | 5505.36 | 5505.36 | 77840800 | 0 | 0 | 80881200 | 55200 | 55200 | 74770900 | 0 | 0 | [10 empty] | 10230950 | 5550 | 71% | -5% | -5% | 64338 | 17 | 55437 | 18 | 18752 | 5 | 25601 | 10 | 28497 | 12 | 62521 | 29 | 268100 | 66 | 66 | 215095 | 94 | 94 | 355414 | 219 | 219 | 694928 | 154 | 8875 | 8 | 6024 | 5 | 32140 | 15 | 32390 | 13 | 21856 | 9 | 24045 | 7 | 7100 | 9 | 9768 | 10 | 3260 | 3 | 6443 | 9 | 30300 | 0 | 6336.2 | 10.2 | 11295.4 | 7 | 4804.9 | 5.9 | 5381.4 | 7.1 | 1127283 | 545 | 231899.4 | 119.2 | 12147400 | 3600 | 933990 | 250 | 7224600 | 1700 | 2498400 | 300 | 1278410 | 630 | 16635700 | 3300 | 42117 | 14 | 36803 | 10 | 7532 | 11 | 59277 | 15 | 49557 | 33
2020-01-10 | 64% | 211548 | 715 | 672 | 241891 | 473 | 481 | 7334 | 140 | 921498 | 248 | 244336 | 111 | 116376 | 108 | 87.39 | 6352 | 6 | 8150904.72 | 2046.24 | 2046.24 | 15484092.96 | 4433.52 | 4433.52 | 15769543.44 | 9646.56 | 9646.56 | 18899413.68 | 974.4 | 974.4 | 19167617.28 | 389.76 | 389.76 | 17577055.44 | 5651.52 | 5651.52 | 14794997.28 | 4482.24 | 4482.24 | 14317784.88 | 4872 | 4872 | 11186014.56 | 2971.92 | 2971.92 | 17713081.68 | 5943.84 | 5943.84 | 77891900 | 51100 | 51100 | 80883300 | 2100 | 2100 | 74770900 | 0 | 0 | [10 empty] | 10238440 | 7490 | 65% | 6% | 6% | 64357 | 19 | 55455 | 18 | 18758 | 6 | 25611 | 10 | 28512 | 15 | 62553 | 32 | 268171 | 71 | 71 | 215203 | 108 | 108 | 355659 | 245 | 245 | 695095 | 167 | 8883 | 8 | 6029 | 5 | 32151 | 11 | 32399 | 9 | 21866 | 10 | 24052 | 7 | 7109 | 9 | 9778 | 10 | 3263 | 3 | 6452 | 9 | 30300 | 0 | 6347.9 | 11.7 | 11303.1 | 7.7 | 4811.5 | 6.6 | 5388.9 | 7.5 | 1127861 | 578 | 232033.8 | 134.4 | 12150100 | 2700 | 934260 | 270 | 7226100 | 1500 | 2498700 | 300 | 1279110 | 700 | 16638400 | 2700 | 42133 | 16 | 36814 | 11 | 7543 | 11 | 59292 | 15 | 49587 | 30
2020-01-11 | 61% | 212242 | 694 | 711 | 242333 | 442 | 473 | 7483 | 149 | 921753 | 255 | 244457 | 121 | 116464 | 88 | 88.26 | 6356 | 4 | 8152853.52 | 1948.8 | 1948.8 | 15488721.36 | 4628.4 | 4628.4 | 15778556.64 | 9013.2 | 9013.2 | 18900095.76 | 682.08 | 682.08 | 19168201.92 | 584.64 | 584.64 | 17582950.56 | 5895.12 | 5895.12 | 14799382.08 | 4384.8 | 4384.8 | 14322462 | 4677.12 | 4677.12 | 11189376.24 | 3361.68 | 3361.68 | 17719074.24 | 5992.56 | 5992.56 | 77940000 | 48100 | 48100 | 80883300 | 0 | 0 | 74770900 | 0 | 0 | [10 empty] | 10245780 | 7340 | 57% | 8% | 8% | 64377 | 20 | 55474 | 19 | 18765 | 7 | 25622 | 11 | 28526 | 14 | 62590 | 37 | 268244 | 73 | 73 | 215313 | 110 | 110 | 355914 | 255 | 255 | 695267 | 172 | 8886 | 3 | 6032 | 3 | 32176 | 25 | 32414 | 15 | 21873 | 7 | 24057 | 5 | 7123 | 14 | 9788 | 10 | 3269 | 6 | 6457 | 5 | 30315 | 15 | 6358.9 | 11 | 11310.8 | 7.7 | 4818.1 | 6.6 | 5396.3 | 7.4 | 1128414 | 553 | 232162 | 128.2 | 12153900 | 3800 | 934490 | 230 | 7228000 | 1900 | 2499100 | 400 | 1279740 | 630 | 16640100 | 1700 | 42148 | 15 | 36824 | 10 | 7554 | 11 | 59303 | 11 | 49620 | 33
2020-01-12 | 57% | 212986 | 744 | 715 | 242762 | 429 | 430 | 7622 | 139 | 922036 | 283 | 244610 | 153 | 116545 | 81 | 89.71 | 6362 | 6 | 8154802.32 | 1948.8 | 1948.8 | 15493544.64 | 4823.28 | 4823.28 | 15787813.44 | 9256.8 | 9256.8 | 18900729.12 | 633.36 | 633.36 | 19168737.84 | 535.92 | 535.92 | 17588943.12 | 5992.56 | 5992.56 | 14804205.36 | 4823.28 | 4823.28 | 14327285.28 | 4823.28 | 4823.28 | 11192689.2 | 3312.96 | 3312.96 | 17724969.36 | 5895.12 | 5895.12 | 77984000 | 44000 | 44000 | 80883300 | 0 | 0 | 74770900 | 0 | 0 | [10 empty] | 10253210 | 7430 | 67% | -10% | -10% | 64397 | 20 | 55494 | 20 | 18772 | 7 | 25632 | 10 | 28541 | 15 | 62619 | 29 | 268319 | 75 | 75 | 215420 | 107 | 107 | 356176 | 262 | 262 | 695442 | 175 | 8890 | 4 | 6034 | 2 | 32188 | 12 | 32427 | 13 | 21883 | 10 | 24063 | 6 | 7133 | 10 | 9797 | 9 | 3274 | 5 | 6465 | 8 | 30325 | 10 | 6370.2 | 11.3 | 11318.7 | 7.9 | 4824.8 | 6.7 | 5403.1 | 6.8 | 1128992 | 578 | 232298.3 | 136.3 | 12156800 | 2900 | 934740 | 250 | 7229600 | 1600 | 2499400 | 300 | 1280370 | 630 | 16642000 | 1900 | 42165 | 17 | 36835 | 11 | 7562 | 8 | 59313 | 10 | 49654 | 34
2020-01-13 | 45% | 213555 | 569 | 452 | 243126 | 364 | 426 | 7759 | 137 | 922251 | 215 | 244710 | 100 | 116628 | 83 | 86.95 | 6370 | 8 | 8156653.68 | 1851.36 | 1851.36 | 15497880.72 | 4336.08 | 4336.08 | 15795900.96 | 8087.52 | 8087.52 | 18901313.76 | 584.64 | 584.64 | 19169225.04 | 487.2 | 487.2 | 17594399.76 | 5456.64 | 5456.64 | 14808005.52 | 3800.16 | 3800.16 | 14331523.92 | 4238.64 | 4238.64 | 11195417.52 | 2728.32 | 2728.32 | 17730328.56 | 5359.2 | 5359.2 | 78029100 | 45100 | 45100 | 80883300 | 0 | 0 | 74770900 | 0 | 0 | [10 empty] | 10259410 | 6200 | 60% | 7% | 7% | 64417 | 20 | 55513 | 19 | 18778 | 6 | 25643 | 11 | 28554 | 13 | 62648 | 29 | 268387 | 68 | 68 | 215519 | 99 | 99 | 356464 | 288 | 288 | 695601 | 159 | 8896 | 6 | 6037 | 3 | 32201 | 13 | 32440 | 13 | 21891 | 8 | 24068 | 5 | 7141 | 8 | 9804 | 7 | 3278 | 4 | 6472 | 7 | 30331 | 6 | 6380.2 | 10 | 11325.7 | 7 | 4830.8 | 6 | 5409 | 5.9 | 1129484 | 492 | 232421.2 | 122.9 | 12159500 | 2700 | 934960 | 220 | 7231200 | 1600 | 2499700 | 300 | 1280960 | 590 | 16643800 | 1800 | 42180 | 15 | 36844 | 9 | 7568 | 6 | 59325 | 12 | 49679 | 25
2020-01-14 | 49% | 214174 | 619 | 716 | 243520 | 394 | 414 | 7898 | 139 | 922436 | 185 | 244801 | 91 | 116728 | 100 | 87.58 | 6377 | 7 | 8158602.48 | 1948.8 | 1948.8 | 15502265.52 | 4384.8 | 4384.8 | 15805011.6 | 9110.64 | 9110.64 | 18901995.84 | 682.08 | 682.08 | 19169760.96 | 535.92 | 535.92 | 17600002.56 | 5602.8 | 5602.8 | 14812244.16 | 4238.64 | 4238.64 | 14335811.28 | 4287.36 | 4287.36 | 11198438.16 | 3020.64 | 3020.64 | 17735882.64 | 5554.08 | 5554.08 | 78079600 | 50500 | 50500 | 80883300 | 0 | 0 | 74770900 | 0 | 0 | [10 empty] | 10265660 | 6250 | 50% | 10% | 10% | 64437 | 20 | 55531 | 18 | 18784 | 6 | 25654 | 11 | 28568 | 14 | 62678 | 30 | 268457 | 70 | 70 | 215623 | 104 | 104 | 356757 | 293 | 293 | 695764 | 163 | 8904 | 8 | 6043 | 6 | 32215 | 14 | 32452 | 12 | 21900 | 9 | 24073 | 5 | 7151 | 10 | 9810 | 6 | 3280 | 2 | 6483 | 11 | 30334 | 3 | 6390.7 | 10.5 | 11333.5 | 7.8 | 4836.9 | 6.1 | 5415.3 | 6.3 | 1129985 | 501 | 232550.1 | 128.9 | 12162600 | 3100 | 935210 | 250 | 7233100 | 1900 | 2500000 | 300 | 1281630 | 670 | 16645900 | 2100 | 42195 | 15 | 36855 | 11 | 7576 | 8 | 59340 | 15 | 49709 | 30
2020-01-15 | 68% | 214801 | 627 | 746 | 243958 | 438 | 448 | 8040 | 142 | 922573 | 137 | 244870 | 69 | 116822 | 94 | 86.4 | 6384 | 7 | 8160551.28 | 1948.8 | 1948.8 | 15506699.04 | 4433.52 | 4433.52 | 15814317.12 | 9305.52 | 9305.52 | 18902775.36 | 779.52 | 779.52 | 19170296.88 | 535.92 | 535.92 | 17605702.8 | 5700.24 | 5700.24 | 14816628.96 | 4384.8 | 4384.8 | 14340342.24 | 4530.96 | 4530.96 | 11201751.12 | 3312.96 | 3312.96 | 17741631.6 | 5748.96 | 5748.96 | 78132100 | 52500 | 52500 | 80883300 | 0 | 0 | 74770900 | 0 | 0 | [10 empty] | 10272820 | 7160 | 44% | 6% | 6% | 64458 | 21 | 55550 | 19 | 18791 | 7 | 25663 | 9 | 28583 | 15 | 62709 | 31 | 268529 | 72 | 72 | 215732 | 109 | 109 | 356901 | 144 | 144 | 695935 | 171 | 8909 | 5 | 6046 | 3 | 32231 | 16 | 32465 | 13 | 21910 | 10 | 24079 | 6 | 7161 | 10 | 9817 | 7 | 3284 | 4 | 6490 | 7 | 30341 | 7 | 6402.2 | 11.5 | 11341.4 | 7.9 | 4843.4 | 6.5 | 5421.7 | 6.4 | 1130563 | 578 | 232682 | 131.9 | 12166100 | 3500 | 935460 | 250 | 7235100 | 2000 | 2500400 | 400 | 1282300 | 670 | 16647900 | 2000 | 42211 | 16 | 36866 | 11 | 7584 | 8 | 59354 | 14 | 49740 | 31
2020-01-16 | 74% | 215446 | 645 | 744 | 244430 | 472 | 453 | 8194 | 154 | 922615 | 42 | 244870 | 0 | 116920 | 98 | 84.4 | 6393 | 9 | 8162500.08 | 1948.8 | 1948.8 | 15511083.84 | 4384.8 | 4384.8 | 15823671.36 | 9354.24 | 9354.24 | 18903457.44 | 682.08 | 682.08 | 19170832.8 | 535.92 | 535.92 | 17611549.2 | 5846.4 | 5846.4 | 14821013.76 | 4384.8 | 4384.8 | 14345068.08 | 4725.84 | 4725.84 | 11205064.08 | 3312.96 | 3312.96 | 17747478 | 5846.4 | 5846.4 | 78185100 | 53000 | 53000 | 80883300 | 0 | 0 | 74770900 | 0 | 0 | [10 empty] | 10280280 | 7460 | 51% | -7% | -7% | 64477 | 19 | 55567 | 17 | 18798 | 7 | 25673 | 10 | 28597 | 14 | 62741 | 32 | 268602 | 73 | 73 | 215841 | 109 | 109 | 357124 | 223 | 223 | 696105 | 170 | 8914 | 5 | 6049 | 3 | 32245 | 14 | 32477 | 12 | 21919 | 9 | 24085 | 6 | 7170 | 9 | 9824 | 7 | 3288 | 4 | 6497 | 7 | 30341 | 0 | 6413.7 | 11.5 | 11349.5 | 8.1 | 4849.6 | 6.2 | 5429.1 | 7.4 | 1131160 | 597 | 232814 | 132 | 12169600 | 3500 | 935720 | 260 | 7236900 | 1800 | 2500700 | 300 | 1282940 | 640 | 16652000 | 4100 | 42228 | 17 | 36876 | 10 | 7594 | 10 | 59370 | 16 | 49776 | 36
2020-01-17 | 67% | 216108 | 662 | 717 | 244952 | 522 | 457 | 8359 | 165 | 922633 | 18 | 244870 | 0 | 117028 | 108 | 87.98 | 6407 | 14 | 8166348.96 | 3848.88 | 3848.88 | 15515760.96 | 4677.12 | 4677.12 | 15824743.2 | 1071.84 | 1071.84 | 18903554.88 | 97.44 | 97.44 | 19179797.28 | 8964.48 | 8964.48 | 17617346.88 | 5797.68 | 5797.68 | 14825642.16 | 4628.4 | 4628.4 | 14350037.52 | 4969.44 | 4969.44 | 11208425.76 | 3361.68 | 3361.68 | 17753568 | 6090 | 6090 | 78188000 | 2900 | 2900 | 80883300 | 0 | 0 | 74820500 | 49600 | 49600 | [10 empty] | 10287790 | 7510 | 58% | -7% | -7% | 64498 | 21 | 55588 | 21 | 18805 | 7 | 25683 | 10 | 28613 | 16 | 62774 | 33 | 268676 | 74 | 74 | 215960 | 119 | 119 | 357370 | 246 | 246 | 696280 | 175 | 8919 | 5 | 6052 | 3 | 32260 | 15 | 32489 | 12 | 21928 | 9 | 24091 | 6 | 7179 | 9 | 9831 | 7 | 3292 | 4 | 6504 | 7 | 30341 | 0 | 6425.3 | 11.6 | 11357.9 | 8.4 | 4856.4 | 6.8 | 5437.1 | 8 | 1131797 | 637 | 232950 | 136 | 12173000 | 3400 | 935990 | 270 | 7238800 | 1900 | 2501000 | 300 | 1283630 | 690 | 16652500 | 500 | 42247 | 19 | 36888 | 12 | 7605 | 11 | 59382 | 12 | 49814 | 38
2020-01-18 | 57% | 216676 | 568 | 697 | 245370 | 418 | 460 | 8518 | 159 | 922638 | 5 | 244870 | 0 | 117119 | 91 | 77.74 | 6415 | 8 | 8169808.08 | 3459.12 | 3459.12 | 15519999.6 | 4238.64 | 4238.64 | 15825327.84 | 584.64 | 584.64 | 18903603.6 | 48.72 | 48.72 | 19187251.44 | 7454.16 | 7454.16 | 17622803.52 | 5456.64 | 5456.64 | 14829832.08 | 4189.92 | 4189.92 | 14354422.32 | 4384.8 | 4384.8 | 11211348.96 | 2923.2 | 2923.2 | 17759073.36 | 5505.36 | 5505.36 | 78188000 | 0 | 0 | 80883300 | 0 | 0 | 74866400 | 45900 | 45900 | [10 empty] | 10292910 | 5120 | 66% | -8% | -8% | 64516 | 18 | 55606 | 18 | 18810 | 5 | 25694 | 11 | 28626 | 13 | 62802 | 28 | 268745 | 69 | 69 | 216044 | 84 | 84 | 357593 | 223 | 223 | 696443 | 163 | 8932 | 13 | 6061 | 9 | 32281 | 21 | 32504 | 15 | 21940 | 12 | 24095 | 4 | 7192 | 13 | 9848 | 17 | 3297 | 5 | 6514 | 10 | 30341 | 0 | 6435.6 | 10.3 | 11365.3 | 7.4 | 4862.5 | 6.1 | 5443.9 | 6.8 | 1132277 | 480 | 233079.6 | 129.6 | 12176200 | 3200 | 936200 | 210 | 7240400 | 1600 | 2501400 | 400 | 1284210 | 580 | 16654700 | 2200 | 42263 | 16 | 36898 | 10 | 7614 | 9 | 59394 | 12 | 49840 | 26
2020-01-19 | 67% | 217221 | 545 | 677 | 245798 | 428 | 413 | 8641 | 123 | 922833 | 195 | 244870 | 0 | 117207 | 88 | 81.57 | 6427 | 12 | 8173510.8 | 3702.72 | 3702.72 | 15524579.28 | 4579.68 | 4579.68 | 15825815.04 | 487.2 | 487.2 | 18903603.6 | 0 | 0 | 19194803.04 | 7551.6 | 7551.6 | 17628406.32 | 5602.8 | 5602.8 | 14833973.28 | 4141.2 | 4141.2 | 14359050.72 | 4628.4 | 4628.4 | 11214467.04 | 3118.08 | 3118.08 | 17764578.72 | 5505.36 | 5505.36 | 78188000 | 0 | 0 | 80883300 | 0 | 0 | 74911400 | 45000 | 45000 | [10 empty] | 10300280 | 7370 | 60% | 6% | 6% | 64536 | 20 | 55625 | 19 | 18816 | 6 | 25705 | 11 | 28641 | 15 | 62833 | 31 | 268812 | 67 | 67 | 216158 | 114 | 114 | 357826 | 233 | 233 | 696592 | 149 | 8939 | 7 | 6066 | 5 | 32295 | 14 | 32517 | 13 | 21949 | 9 | 24102 | 7 | 7202 | 10 | 9855 | 7 | 3301 | 4 | 6521 | 7 | 30346 | 5 | 6446.4 | 10.8 | 11372.6 | 7.3 | 4869.1 | 6.6 | 5449.8 | 5.9 | 1132842 | 565 | 233209.5 | 129.9 | 12179300 | 3100 | 936440 | 240 | 7242100 | 1700 | 2501700 | 300 | 1284820 | 610 | 16656600 | 1900 | 42279 | 16 | 36910 | 12 | 7624 | 10 | 59407 | 13 | 49872 | 32
2020-01-20 | 72% | 217809 | 588 | 714 | 246246 | 448 | 436 | 8792 | 151 | 923072 | 239 | 244870 | 0 | 117292 | 85 | 78.59 | 6432 | 5 | 8177408.4 | 3897.6 | 3897.6 | 15529158.96 | 4579.68 | 4579.68 | 15826350.96 | 535.92 | 535.92 | 18903652.32 | 48.72 | 48.72 | 19202354.64 | 7551.6 | 7551.6 | 17634155.28 | 5748.96 | 5748.96 | 14838504.24 | 4530.96 | 4530.96 | 14363825.28 | 4774.56 | 4774.56 | 11217633.84 | 3166.8 | 3166.8 | 17770327.68 | 5748.96 | 5748.96 | 78188000 | 0 | 0 | 80883300 | 0 | 0 | 74955700 | 44300 | 44300 | [10 empty] | 10307350 | 7070 | 74% | -14% | -14% | 64556 | 20 | 55644 | 19 | 18823 | 7 | 25715 | 10 | 28656 | 15 | 62865 | 32 | 268896 | 84 | 84 | 216268 | 110 | 110 | 358083 | 257 | 257 | 696773 | 181 | 8945 | 6 | 6071 | 5 | 32309 | 14 | 32530 | 13 | 21960 | 11 | 24108 | 6 | 7209 | 7 | 9861 | 6 | 3305 | 4 | 6529 | 8 | 30353 | 7 | 6457.6 | 11.2 | 11379.9 | 7.3 | 4875.7 | 6.6 | 5455.8 | 6 | 1133410 | 568 | 233342.5 | 133 | 12182200 | 2900 | 936620 | 180 | 7243600 | 1500 | 2502000 | 300 | 1285390 | 570 | 16658500 | 1900 | 42293 | 14 | 36922 | 12 | 7631 | 7 | 59425 | 18 | 49904 | 32
2020-01-21 | 72% | 218377 | 568 | 770 | 246690 | 444 | 455 | 8939 | 147 | 923333 | 261 | 244870 | 0 | 117380 | 88 | 88.58 | 6446 | 14 | 8181013.68 | 3605.28 | 3605.28 | 15533738.64 | 4579.68 | 4579.68 | 15826886.88 | 535.92 | 535.92 | 18903701.04 | 48.72 | 48.72 | 19209857.52 | 7502.88 | 7502.88 | 17639758.08 | 5602.8 | 5602.8 | 14842986.48 | 4482.24 | 4482.24 | 14368404.96 | 4579.68 | 4579.68 | 11220800.64 | 3166.8 | 3166.8 | 17775881.76 | 5554.08 | 5554.08 | 78188000 | 0 | 0 | 80883300 | 0 | 0 | 75000100 | 44400 | 44400 | [10 empty] | 10314270 | 6920 | 65% | 9% | 9% | 64577 | 21 | 55663 | 19 | 18829 | 6 | 25727 | 12 | 28670 | 14 | 62900 | 35 | 268969 | 73 | 73 | 216381 | 113 | 113 | 358358 | 275 | 275 | 696947 | 174 | 8955 | 10 | 6078 | 7 | 32325 | 16 | 32543 | 13 | 21970 | 10 | 24115 | 7 | 7217 | 8 | 9867 | 6 | 3310 | 5 | 6537 | 8 | 30356 | 3 | 6469.1 | 11.5 | 11387.7 | 7.8 | 4882.2 | 6.5 | 5461.7 | 5.9 | 1133967 | 557 | 233473.4 | 130.9 | 12185300 | 3100 | 936890 | 270 | 7245400 | 1800 | 2502100 | 100 | 1286090 | 700 | 16660700 | 2200 | 42308 | 15 | 36934 | 12 | 7639 | 8 | 59441 | 16 | 49937 | 33
2020-01-22 | 78% | 219235 | 858 | 753 | 247175 | 485 | 474 | 9102 | 163 | 923688 | 355 | 245115 | 245 | 117460 | 80 | 95.55 | 6448 | 2 | 8184570.24 | 3556.56 | 3556.56 | 15538026 | 4287.36 | 4287.36 | 15827422.8 | 535.92 | 535.92 | 18903749.76 | 48.72 | 48.72 | 19217019.36 | 7161.84 | 7161.84 | 17644922.4 | 5164.32 | 5164.32 | 14847078.96 | 4092.48 | 4092.48 | 14372887.2 | 4482.24 | 4482.24 | 11223626.4 | 2825.76 | 2825.76 | 17781338.4 | 5456.64 | 5456.64 | 78188000 | 0 | 0 | 80883300 | 0 | 0 | 75044200 | 44100 | 44100 | [10 empty] | 10321260 | 6990 | 58% | 7% | 7% | 64597 | 20 | 55682 | 19 | 18834 | 5 | 25739 | 12 | 28684 | 14 | 62933 | 33 | 269039 | 70 | 70 | 216492 | 111 | 111 | 358600 | 242 | 242 | 697113 | 166 | 8964 | 9 | 6086 | 8 | 32340 | 15 | 32554 | 11 | 21980 | 10 | 24121 | 6 | 7226 | 9 | 9876 | 9 | 3314 | 4 | 6544 | 7 | 30362 | 6 | 6480.4 | 11.3 | 11395.3 | 7.6 | 4888.4 | 6.2 | 5467.7 | 6 | 1134528 | 561 | 233598.4 | 125 | 12187700 | 2400 | 937090 | 200 | 7246700 | 1300 | 2502200 | 100 | 1286610 | 520 | 16662400 | 1700 | 42325 | 17 | 36947 | 13 | 7649 | 10 | 59456 | 15 | 49967 | 30
2020-01-23 | 73% | 219996 | 761 | 793 | 247676 | 501 | 493 | 9274 | 172 | 923947 | 259 | 245240 | 125 | 117552 | 92 | 91.71 | 6456 | 8 | 8188419.12 | 3848.88 | 3848.88 | 15542556.96 | 4530.96 | 4530.96 | 15828007.44 | 584.64 | 584.64 | 18903847.2 | 97.44 | 97.44 | 19224814.56 | 7795.2 | 7795.2 | 17650379.04 | 5456.64 | 5456.64 | 14851415.04 | 4336.08 | 4336.08 | 14377613.04 | 4725.84 | 4725.84 | 11226647.04 | 3020.64 | 3020.64 | 17787136.08 | 5797.68 | 5797.68 | 78188000 | 0 | 0 | 80883300 | 0 | 0 | 75090700 | 46500 | 46500 | [10 empty] | 10328660 | 7400 | 71% | -13% | -13% | 64615 | 18 | 55702 | 20 | 18842 | 8 | 25752 | 13 | 28701 | 17 | 62967 | 34 | 269112 | 73 | 73 | 216604 | 112 | 112 | 358832 | 232 | 232 | 697285 | 172 | 8975 | 11 | 6093 | 7 | 32357 | 17 | 32564 | 10 | 21992 | 12 | 24129 | 8 | 7236 | 10 | 9884 | 8 | 3319 | 5 | 6553 | 9 | 30371 | 9 | 6492 | 11.6 | 11403 | 7.7 | 4895 | 6.6 | 5474 | 6.3 | 1135110 | 582 | 233730.9 | 132.5 | 12190900 | 3200 | 937310 | 220 | 7248400 | 1700 | 2502400 | 200 | 1287230 | 620 | 16664900 | 2500 | 42341 | 16 | 36960 | 13 | 7661 | 12 | 59470 | 14 | 50002 | 35
2020-01-24 | 74% | 220713 | 717 | 795 | 248178 | 502 | 522 | 9452 | 178 | 924213 | 266 | 245289 | 49 | 117650 | 98 | 94.13 | 6466 | 10 | 8190416.64 | 1997.52 | 1997.52 | 15547087.92 | 4530.96 | 4530.96 | 15828202.32 | 194.88 | 194.88 | 18913688.64 | 9841.44 | 9841.44 | 19225594.08 | 779.52 | 779.52 | 17655689.52 | 5310.48 | 5310.48 | 14855458.8 | 4043.76 | 4043.76 | 14382192.72 | 4579.68 | 4579.68 | 11229472.8 | 2825.76 | 2825.76 | 17792787.6 | 5651.52 | 5651.52 | 78188000 | 0 | 0 | 80932000 | 48700 | 48700 | 75092800 | 2100 | 2100 | [10 empty] | 10335730 | 168 | 62% | 9% | 9% | 64635 | 20 | 55721 | 19 | 18849 | 7 | 25762 | 10 | 28718 | 17 | 63005 | 38 | 269184 | 72 | 72 | 216722 | 118 | 118 | 359052 | 220 | 220 | 697453 | 168 | 9885 | 910 | 6099 | 6 | 32371 | 14 | 32573 | 9 | 22003 | 11 | 24137 | 8 | 7246 | 10 | 9892 | 8 | 3324 | 5 | 6562 | 9 | 30371 | 0 | 6503.6 | 11.6 | 11410.8 | 7.8 | 4901.9 | 6.9 | 5481.5 | 7.5 | 1135747 | 637 | 233863.5 | 132.6 | 12195100 | 4200 | 937570 | 260 | 7250200 | 1800 | 2502700 | 300 | 1287880 | 650 | 16667800 | 2900 | 42358 | 17 | 36975 | 15 | 7672 | 11 | 59484 | 14 | 50043 | 41
2020-01-25 | 0% | 0 | -220713 | 910 | 0 | -248178 | 620 | 0 | -9452 | 0 | -924213 | 0 | -245289 | 0 | -117650 | 102.55 | 0 | -6466 | 0 | -8190416.64 | -8190416.64 | 0 | -15547087.92 | -15547087.92 | 0 | -15828202.32 | -15828202.32 | 0 | -18913688.64 | -18913688.64 | 0 | -19225594.08 | -19225594.08 | 0 | -17655689.52 | -17655689.52 | 0 | -14855458.8 | -14855458.8 | 0 | -14382192.72 | -14382192.72 | 0 | -11229472.8 | -11229472.8 | 0 | -17792787.6 | -17792787.6 | 0 | -78188000 | -78188000 | 0 | -80932000 | -80932000 | 0 | -75092800 | -75092800 | [10 empty] | 0 | -10335730 | 0% | 62% | 62% | 0 | -64635 | 0 | -55721 | 0 | -18849 | 0 | -25762 | 0 | -28718 | 0 | -63005 | 0 | -269184 | -269184 | 0 | -216722 | -216722 | 0 | -359052 | -359052 | 0 | -697453 | 0 | -9885 | 0 | -6099 | 0 | -32371 | 0 | -32573 | 0 | -22003 | 0 | -24137 | 0 | -7246 | 0 | -9892 | 0 | -3324 | 0 | -6562 | 0 | -30371 | 0 | -6503.6 | 0 | -11410.8 | 0 | -4901.9 | 0 | -5481.5 | 0 | -1135747 | 0 | -233863.5 | 0 | -12195100 | 0 | -937570 | 0 | -7250200 | 0 | -2502700 | 0 | -1287880 | 0 | -16667800 | 0 | -42358 | 0 | -36975 | 0 | -7672 | 0 | -59484 | 0 | -50043
2020-01-26 | 0% | 0 | 0 | 498 | 0 | 0 | 509 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 751 | 0 | 0 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 989 | 0 | 0 | 557.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 769 | 0 | 0 | 484.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 828 | 0 | 0 | 537.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 761 | 0 | 0 | 476.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption December 2018 | [18 empty] | Electricity Daily Consumption December 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption December 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
December Reading 2017 two weeks |  | 10438 |  |  | 6583 | [8 empty] | 1333.04 |  |  |  |  | 35078.4 |  |  | 67818.24 |  |  | 61143.6 |  |  | 82044.48 |  |  | 29426.88 |  |  | 85308.72 |  |  | 64115.52 |  |  | 67915.68 |  |  | 47063.52 |  |  | 86088.24 |  |  | 292100 |  |  | 430900 |  |  | 133400 | [29 empty] | 1071 |  |  | 1550 |  |  | 3066
December Reading 2018 two weeks |  | 10259 |  |  | 6238 | [8 empty] | 1617 |  |  |  |  | 35078.4 |  |  | 67818.24 |  |  | 61143.6 |  |  | 82044.48 |  |  | 29426.88 |  |  | 85308.72 |  |  | 64115.52 |  |  | 67915.68 |  |  | 47063.52 |  |  | 86088.24 |  |  | 292100 |  |  | 430900 |  |  | 133400 | [29 empty] | 1071 |  |  | 1550 |  |  | 3066 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
December Reading 2017 Monthly |  | 21843 |  |  | 13803 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2668.26 |  |  | 476 |  | -8125472.88 |  |  | -15438880.8 |  |  | -15753173.52 |  |  | -18820730.88 |  |  | -19140870 |  |  | -17520394.08 |  |  | -14752513.44 |  |  | -14272426.56 |  |  | -11154687.6 |  |  | -17655543.36 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -267458 |  |  | -214182 |  |  | -353835 |  |  | 3894 | [14 empty] | 487.2
December Reading 2018 Monthly |  | -205274 |  |  | -237720 |  |  | -6008 |  | -918944 |  |  |  | -115205 |  |  | -6237 |  | -8125472.88 |  |  | -15438880.8 |  |  | -15753173.52 |  |  | -18820730.88 |  |  | -19140870 |  |  | -17520394.08 |  |  | -14752513.44 |  |  | -14272426.56 |  |  | -11154687.6 |  |  | -17655543.36 |  |  | -77840000 |  |  | -80452400 |  |  | -74637500 | [12 empty] | -10178512 |  |  |  |  | -64169 |  | -55264 |  | -18695 |  | -25508 |  | -28364 |  | -62228 |  | -267458 |  |  | -214182 |  |  | -353835 |  |  | -693437
Difference |  | 227117 |  |  | 251523 |  |  | 13056.9 |  | 926646.2 |  |  |  | 117873.26 |  |  | 6713 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -78187300 |  |  | -80813500 |  |  | -75196342 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 697331
Total Monthly Electrical Kwh | [18 empty] | December 2017 Kwh | [5 empty] | -152634693.12 | [5 empty] | December 2018 Kwh | [5 empty] | -152634693.12 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | December 2017 Kwh two weeks | [5 empty] | 626003.28 | [5 empty] | December 2018 Kwh two weeks | [5 empty] | 626003.28 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -232929900 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]December - 2022'!AE40
Daily Consumption Kwh 2018 = '[1]December - 2022'!AF40
Daily Consumption Kwh 2018 = '[1]December - 2022'!AI40
Daily Consumption Kwh 2017 = '[1]December - 2022'!AF40
Daily Consumption Kwh 2017 = '[1]December - 2022'!AI40
EMDB-2 Elevators = '[1]December - 2022'!AH40
MDB-1 Chiller # 1 = '[1]December - 2022'!AK40
MDB-2 Chiller # 2 = '[1]December - 2022'!AN40
MDB-3 Chiller # 3 = '[1]December - 2022'!AQ40
MDB-4 North Riser Guest Rooms = '[1]December - 2022'!AT40
MDB-5 North Riser Guest Rooms = '[1]December - 2022'!AW40
MDB-6 Main Kitchen = '[1]December - 2022'!AZ40
MDB-7 South Riser Guest Rooms = '[1]December - 2022'!BC40
MDB-8 F & B = '[1]December - 2022'!BF40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill