## Sheet1
Date | Electric (KWH) | [5 empty] | Gas (Therm) |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  |  | Maximon Meters | [17 empty] | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption | Mina | Consumption | Main | Consumption | Main (FT3) | Consumption | Hot (MMBTU) | Consumption | Chilled (THR) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Electric #70 | Consumption | Electric #69 | Consumption | Electric #67 | Consumption | Electric #68 | Consumption | Electric #63 | Consumption | Electric #64 | Consumption | Electric #66 | Consumption | Electric #65 | Consumption | Water | Consumption
2022-12-01 | 979429 | 3965 | 31722820 | 8311 | 8972426 | 3108 | 5364 | 90 | 22295 | 6 | 66501 | 4679.1444 | 244767 | 74 | 54610275 | 3541 | 83003 | 361 | 2753 | 19 | 1176 | 11 | 865683 | 3640000 | 379667 | 3850000 |  | 73197 | 236 | 257832 | 146 | 12217704 | 5016 | 29104 | 1 | 10342 | 677 | 646138 | 0 | 234978 | 0 | 100400 | 0 | 269826 | 0 | 488599 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1098684 | 793 | 594441 | 505 | 298214 | 137 | 163920 | 130 | 150134 | 51 | 91306 | 16 | 515881 | 86 | 2912 | 1 | 379576 | 12
2022-12-02 | 983809 | 4380 | 31731423 | 8603 | 8975799 | 3373 | 5454 | 101.61 | 22300 | 5.645 | 66535 | 4545.4545 | 244864 | 97 | 54613630 | 3355 | 83403 | 400 | 2774 | 21 | 1185 | 9 | 866052 | 3690000 | 380098 | 4310000 |  | 73868 | 671 | 257960 | 128 | 12223937 | 6233 | 29105 | 1 | 10893 | 551 | 646138 | 0 | 234978 | 0 | 100400 | 0 | 269850 | 240000 | 488603 | 40000 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1099428 | 744 | 594896 | 455 | 298364 | 150 | 164032 | 112 | 150178 | 44 | 91318 | 12 | 515973 | 92 | 2913 | 1 | 379589 | 13
2022-12-03 | 988221 | 4412 | 31739921 | 8498 | 8979211 | 3412 | 5547 | 104.997 | 22306 | 6.774 | 66588 | 7085.5615 | 244954 | 90 | 54616710 | 3080 | 83779 | 376 | 2794 | 20 | 1194 | 9 | 866376 | 3240000 | 380502 | 4040000 |  | 74454 | 586 | 258118 | 158 | 12231378 | 7441 | 29108 | 3 | 11630 | 737 | 646185 | 470000 | 234978 | 0 | 100400 | 0 | 269868 | 180000 | 488603 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1100280 | 852 | 595385 | 489 | 298538 | 174 | 164182 | 150 | 150224 | 46 | 91332 | 14 | 516082 | 109 | 2913 | 0 | 379612 | 23
2022-12-04 | 992664 | 4443 | 31748698 | 8777 | 8982575 | 3364 | 5661 | 128.706 | 22312 | 6.774 | 66650 | 8288.7701 | 245039 | 85 | 54622561 | 5851 | 84158 | 379 | 2812 | 18 | 1205 | 11 | 866736 | 3600000 | 380867 | 3650000 |  | 74818 | 364 | 258300 | 182 | 12237703 | 6325 | 29113 | 5 | 12446 | 816 | 646469 | 2840000 | 234978 | 0 | 100400 | 0 | 269868 | 0 | 488606 | 30000 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1101207 | 927 | 595879 | 494 | 298720 | 182 | 164336 | 154 | 150270 | 46 | 91347 | 15 | 516190 | 108 | 2914 | 1 | 379634 | 22
2022-12-05 | 997213 | 4549 | 31757498 | 8800 | 8986245 | 3670 | 5759 | 110.642 | 22318 | 6.774 | 66705 | 7352.9412 | 245127 | 88 | 54626367 | 3806 | 84548 | 390 | 2830 | 18 | 1214 | 9 | 867070 | 3340000 | 381267 | 4000000 |  | 74818 | 0 | 258431 | 131 | 12245767 | 8064 | 29114 | 1 | 12908 | 462 | 646483 | 140000 | 234978 | 0 | 100400 | 0 | 269871 | 30000 | 488606 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1102071 | 864 | 596349 | 470 | 298878 | 158 | 164489 | 153 | 150316 | 46 | 91359 | 12 | 516300 | 110 | 2915 | 1 | 379651 | 17
2022-12-06 | 1437 | 4224 | 31766000 | 8502 | 8989524 | 3279 | 5859 | 112.9 | 22324 | 6.774 | 66747 | 5614.9733 | 245218 | 91 | 54630037 | 3670 | 84937 | 389 | 2849 | 19 | 1223 | 9 | 867390 | 3200000 | 381663 | 3960000 |  | 74818 | 0 | 258571 | 140 | 12251455 | 5688 | 29115 | 1 | 13281 | 373 | 646486 | 30000 | 234978 | 0 | 100400 | 0 | 269902 | 310000 | 488607 | 10000 | 19321 | 0 | 486148 | 350000 | 124039 | 0 |  | 1102885 | 814 | 596828 | 479 | 299033 | 155 | 164603 | 114 | 150359 | 43 | 91370 | 11 | 516406 | 106 | 2916 | 1 | 379664 | 13
2022-12-07 | 5730 | 4293 | 31774697 | 8697 | 8992969 | 3445 | 5953 | 106.126 | 22330 | 6.774 | 66790 | 5748.6631 | 245305 | 87 | 54633523 | 3486 | 85322 | 385 | 2867 | 18 | 1234 | 11 | 867711 | 3210000 | 382061 | 3980000 |  | 74818 | 0 | 258718 | 147 | 12257916.1667 | 6461.1667 | 29116 | 1 | 13883.6667 | 602.6667 | 646554 | 680000 | 234978 | 0 | 100400 | 0 | 269903 | 10000 | 488607 | 0 | 19321 | 0 | 486178 | 300000 | 124039 | 0 | 6 | 1103698 | 813 | 597315 | 487 | 299188 | 155 | 164735 | 132 | 150400 | 41 | 91385 | 15 | 516497 | 91 | 2917 | 1 | 379677 | 13
2022-12-08 | 9979 | 4249 | 31783255 | 8558 | 8996692 | 3723 | 6046 | 104.997 | 22337 | 7.903 | 66839 | 6550.8021 | 245375 | 70 | 54637344 | 3821 | 85703 | 381 | 2879 | 12 | 1244 | 10 | 868051 | 3400000 | 382424 | 3630000 |  | 74818 | 0 | 258870 | 152 | 12264692 | 6775.8333 | 29119 | 3 | 14335 | 451.3333 | 646685 | 1310000 | 234978 | 0 | 100400 | 0 | 269903 | 0 | 488611 | 40000 | 19321 | 0 | 486178 | 0 | 124039 | 0 |  | 1104516 | 818 | 597805 | 490 | 299343 | 155 | 164868 | 133 | 150438 | 38 | 91401 | 16 | 516594 | 97 | 2918 | 1 | 379688 | 11
2022-12-09 | 14302 | 4323 | 31791935 | 8680 | 8999962 | 3270 | 6146 | 112.9 | 22366 | 32.741 | 66884 | 6016.0428 | 245425 | 50 | 54641252 | 3908 | 86092 | 389 | 2886 | 7 | 1253 | 9 | 868393 | 3420000 | 382785 | 3610000 |  | 74818 | 0 | 259025 | 155 | 12271651 | 6959 | 29120 | 1 | 15089 | 754 | 646781 | 960000 | 234978 | 0 | 100400 | 0 | 269903 | 0 | 488613 | 20000 | 19321 | 0 | 486178 | 0 | 124039 | 0 |  | 1105352 | 836 | 598288 | 483 | 299502 | 159 | 165019 | 151 | 150486 | 48 | 91413 | 12 | 516696 | 102 | 2919 | 1 | 379710 | 22
2022-12-10 | 18685 | 4383 | 31800378 | 8443 | 9003440 | 3478 | 6247 | 114.029 | 22372 | 6.774 | 66928 | 5882.3529 | 245503 | 78 | 54645001 | 3749 | 86466 | 374 | 2904 | 18 | 1263 | 10 | 868721 | 3280000 | 383172 | 3870000 |  | 74818 | 0 | 259196 | 171 | 12278922 | 7271 | 29124 | 4 | 15960 | 871 | 646783 | 20000 | 234978 | 0 | 100400 | 0 | 270164 | 2610000 | 488613 | 0 | 19321 | 0 | 486178 | 0 | 124039 | 0 |  | 1106248 | 896 | 598768 | 480 | 299683 | 181 | 165150 | 131 | 150533 | 47 | 91425 | 12 | 516799 | 103 | 2920 | 1 | 379747 | 37
2022-12-11 | 23427 | 4742 | 31809144 | 8766 | 9006945 | 3505 | 6360 | 127.577 | 22379 | 7.903 | 66989 | 8155.0802 | 245592 | 89 | 54648516 | 3515 | 86919 | 453 | 2921 | 17 | 1272 | 9 | 869069 | 3480000 | 383598 | 4260000 |  | 74818 | 0 | 259337 | 141 | 12286319 | 7397 | 29128 | 4 | 16622 | 662 | 646783 | 0 | 234978 | 0 | 100403 | 30000 | 270168 | 40000 | 488614 | 10000 | 19321 | 0 | 486178 | 0 | 124039 | 0 |  | 1107199 | 951 | 599265 | 497 | 299868 | 185 | 165301 | 151 | 150580 | 47 | 91440 | 15 | 516910 | 111 | 2921 | 1 | 379772 | 25
2022-12-12 | 28154 | 4727 | 31817824 | 8680 | 9010452 | 3507 | 6451 | 102.739 | 22386 | 7.903 | 67040 | 6818.1818 | 245686 | 94 | 54652182 | 3666 | 87265 | 346 | 2930 | 9 | 1282 | 10 | 869402 | 3330000 | 383997 | 3990000 |  | 74818 | 0 | 259483 | 146 | 12293620 | 7301 | 29130 | 2 | 17357 | 735 | 646821 | 380000 | 234978 | 0 | 100403 | 0 | 270172 | 40000 | 488614 | 0 | 19321 | 0 | 486178 | 0 | 124039 | 0 |  | 1108021 | 822 | 599739 | 474 | 300021 | 153 | 165420 | 119 | 150628 | 48 | 91455 | 15 | 517016 | 106 | 2921 | 0 | 379782 | 10
2022-12-13 | 32273 | 4119 | 31826179 | 8355 | 9013605 | 3153 | 6545 | 106.126 | 22392 | 6.774 | 67079 | 5213.9037 | 245779 | 93 | 54655056 | 2874 | 87659 | 394 | 2947 | 17 | 1292 | 10 | 869739 | 3370000 | 384441 | 4440000 |  | 74818 | 0 | 259610 | 127 | 12306994 | 13374 | 29131 | 1 | 17945 | 588 | 646821 | 0 | 234978 | 0 | 100403 | 0 | 270210 | 380000 | 488614 | 0 | 19321 | 0 | 486178 | 0 | 124039 | 0 |  | 1108788 | 767 | 600216 | 477 | 300185 | 164 | 165554 | 134 | 150676 | 48 | 91471 | 16 | 517131 | 115 | 2922 | 1 | 379797 | 15
2022-12-14 | 36387 | 4114 | 31834506 | 8327 | 9016940 | 3335 | 6639 | 106.126 | 22397 | 5.645 | 67115 | 4812.8342 | 245884 | 105 | 54658342 | 3286 | 88050 | 391 | 2969 | 22 | 1302 | 10 | 870054 | 3150000 | 384876 | 4350000 |  | 74818 | 0 | 259781 | 171 | 12314901 | 7907 | 29133 | 2 | 18599 | 654 | 646821 | 0 | 234978 | 0 | 100403 | 0 | 271194 | 9840000 | 488616 | 20000 | 19322 | 10000 | 486178 | 0 | 124039 | 0 |  | 1109554 | 766 | 600680 | 464 | 300358 | 173 | 165664 | 110 | 150719 | 43 | 91485 | 14 | 517233 | 102 | 2923 | 1 | 379810 | 13
2022-12-15 | 40794 | 4407 | 31843068 | 8562 | 9020353 | 3413 | 6729 | 101.61 | 22402 | 5.645 | 67156 | 5481.2834 | 245994 | 110 | 54661263 | 2921 | 88443 | 393 | 2989 | 20 | 1311 | 9 | 870370 | 3160000 | 385340 | 4640000 |  | 74818 | 0 | 259874 | 93 | 12322201.9286 | 7300.9286 | 29135 | 2 | 19203 | 604 | 646821 | 0 | 234978 | 0 | 100403 | 0 | 271270 | 760000 | 488616 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1110355 | 801 | 601147 | 467 | 300526 | 168 | 165800 | 136 | 150769 | 50 | 91502 | 17 | 517335 | 102 | 2924 | 1 | 379824 | 14
2022-12-16 | 45280 | 4486 | 31851898 | 8830 | 9023945 | 3592 | 6823 | 106.126 | 22408 | 6.774 | 67199 | 5748.6631 | 246105 | 111 | 54664680 | 3417 | 88838 | 395 | 3011 | 22 | 1322 | 11 | 870715 | 3450000 | 385821 | 4810000 |  | 74818 | 0 | 260045 | 171 | 12327970 | 5768.0714 | 29138 | 3 | 20001 | 798 | 646821 | 0 | 234978 | 0 | 100403 | 0 | 271315 | 450000 | 488616 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1111187 | 832 | 601631 | 484 | 300716 | 190 | 165920 | 120 | 150819 | 50 | 91512 | 10 | 517439 | 104 | 2925 | 1 | 379842 | 18
2022-12-17 | 49526 | 4246 | 31860155 | 8257 | 9027302 | 3357 | 6930 | 120.803 | 22414 | 6.774 | 67243 | 5882.3529 | 246184 | 79 | 54667919 | 3239 | 89207 | 369 | 3031 | 20 | 1331 | 9 | 871033 | 3180000 | 386207 | 3860000 |  | 74818 | 0 | 260219 | 174 | 12337212 | 9242 | 29143 | 5 | 20825 | 824 | 646821 | 0 | 234978 | 0 | 100403 | 0 | 271365 | 500000 | 488619 | 30000 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1112054 | 867 | 602093 | 462 | 300912 | 196 | 166055 | 135 | 150863 | 44 | 91526 | 14 | 517529 | 90 | 2926 | 1 | 379870 | 28
2022-12-18 | 53865 | 4339 | 31868644 | 8489 | 9030740 | 3438 | 7041 | 125.319 | 22421 | 7.903 | 67293 | 6684.492 | 246278 | 94 | 54671552 | 3633 | 89593 | 386 | 3051 | 20 | 1341 | 10 | 871348 | 3150000 | 386632 | 4250000 |  | 74818 | 0 | 260368 | 149 | 12344737 | 7525 | 29145.3529 | 2.3529 | 21581 | 756 | 646821 | 0 | 234978 | 0 | 100403 | 0 | 271397 | 320000 | 488620 | 10000 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1112896 | 842 | 602551 | 458 | 301120 | 208 | 166193 | 138 | 150908 | 45 | 91539 | 13 | 517626 | 97 | 2927 | 1 | 379887 | 17
2022-12-19 | 58576 | 4711 | 31877536 | 8892 | 9034533 | 3793 | 7138 | 109.513 | 22427 | 6.774 | 67348 | 7352.9412 | 246380 | 102 | 54674755 | 3203 | 89994 | 401 | 3070 | 19 | 1352 | 11 | 871618 | 2700000 | 387113 | 4810000 |  | 74818 | 0 | 260495 | 127 | 12352073.0556 | 7336.0556 | 29150 | 4.6471 | 22138 | 557 | 646821 | 0 | 234978 | 0 | 100410 | 70000 | 271482 | 850000 | 488620 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1113880 | 984 | 603024 | 473 | 301297 | 177 | 166323 | 130 | 150955 | 47 | 91550 | 11 | 517739 | 113 | 2928 | 1 | 379902 | 15
2022-12-20 | 63086 | 4510 | 31886126 | 8590 | 9038023 | 3490 | 7233 | 107.255 | 22432 | 5.645 | 67386 | 5080.2139 | 246493 | 113 | 54677849 | 3094 | 90377 | 383 | 3090 | 20 | 1362 | 10 | 871998 | 3800000 | 387625 | 5120000 |  | 74818 | 0 | 260639 | 144 | 12368834 | 16760.9444 | 29152 | 2 | 22977 | 839 | 646821 | 0 | 234978 | 0 | 100410 | 0 | 271604 | 1220000 | 488620 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1114973 | 1093 | 603497 | 473 | 301458 | 161 | 166440 | 117 | 151007 | 52 | 91561 | 11 | 517856 | 117 | 2929 | 1 | 379915 | 13
2022-12-21 | 67583 | 4497 | 31894967 | 8841 | 9041626 | 3603 | 7321 | 99.352 | 22438 | 6.774 | 67415 | 3877.0053 | 246601 | 108 | 54681016 | 3167 | 90766 | 389 | 3107 | 17 | 1372 | 10 | 872294 | 2960000 | 388069 | 4440000 |  | 76276 | 1458 | 260773 | 134 | 12377177 | 8343 | 29153 | 1 | 23633 | 656 | 646821 | 0 | 234978 | 0 | 100410 | 0 | 271695 | 910000 | 488620 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1115908 | 935 | 603970 | 473 | 301537 | 79 | 166555 | 115 | 151081 | 74 | 91575 | 14 | 517939 | 83 | 2930 | 1 | 379926 | 11
2022-12-22 | 71607 | 4024 | 31903202 | 8235 | 9044911 | 3285 | 7410 | 100.481 | 22442 | 4.516 | 67445 | 4010.6952 | 246697 | 96 | 54683864 | 2848 | 91133 | 367 | 3108 | 1 | 1380 | 8 | 872294 | 0 | 388258 | 1890000 |  | 77266 | 990 | 260905 | 132 | 12385852 | 8675 | 29155 | 2 | 24325 | 692 | 646821 | 0 | 234978 | 0 | 100439 | 290000 | 271814 | 1190000 | 488620 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1116663 | 755 | 604428 | 458 | 301807 | 270 | 166679 | 124 | 151106 | 25 | 91590 | 15 | 518033 | 94 | 2931 | 1 | 379941 | 15
2022-12-23 | 76173 | 4566 | 31912390 | 9188 | 9048618 | 3707 | 7508 | 110.642 | 22448 | 6.774 | 67484 | 5213.9037 | 246800 | 103 | 54687314 | 3450 | 91544 | 411 | 3111 | 3 | 1390 | 10 | 872294 | 0 | 388459 | 2010000 |  | 78152 | 886 | 261058 | 153 | 12395011 | 9159 | 29156 | 1 | 25065 | 740 | 646833 | 120000 | 234978 | 0 | 100439 | 0 | 271829 | 150000 | 488620 | 0 | 19322 | 0 | 486178 | 0 | 124039 | 0 |  | 1117518 | 855 | 604911 | 483 | 301990 | 183 | 166804 | 125 | 151160 | 54 | 91604 | 14 | 518142 | 109 | 2932 | 1 | 379966 | 25
2022-12-24 | 80148 | 3975 | 31920178 | 7788 | 9051719 | 3101 | 7603 | 107.255 | 22453 | 5.645 | 67518 | 4545.4545 | 246933 | 133 | 54689999 | 2685 | 91891 | 347 | 3112 | 1 | 1399 | 9 | 872294 | 0 | 388635 | 1760000 |  | 78911 | 759 | 261199 | 141 | 12402938.087 | 7927.087 | 29159 | 3 | 25760 | 695 | 646833 | 0 | 234978 | 0 | 100439 | 0 | 272116 | 2870000 | 488620 | 0 | 19322 | 0 | 486468 | 2900000 | 124276 | 2370000 |  | 1118364 | 846 | 605294 | 383 | 302173 | 183 | 166920 | 116 | 151206 | 46 | 91614 | 10 | 518247 | 105 | 2932 | 0 | 379974 | 8
2022-12-25 | 84932 | 4784 | 31929222 | 9044 | 9055336 | 3617 | 7697 | 106.126 | 22459 | 6.774 | 67559 | 5481.2834 | 247131 | 198 | 54693347 | 3348 | 92288 | 397 | 3117 | 5 | 1409 | 10 | 872445 | 1510000 | 389113 | 4780000 |  | 80149 | 1238 | 261340 | 141 | 12406803 | 3864.913 | 29162 | 3 | 26397 | 637 | 646833 | 0 | 234978 | 0 | 100473 | 340000 | 273157 | 10410000 | 488620 | 0 | 19341 | 190000 | 487154 | 6860000 | 124825 | 5490000 |  | 1119234 | 870 | 605754 | 460 | 302383 | 210 | 167049 | 129 | 151258 | 52 | 91624 | 10 | 518363 | 116 | 2933 | 1 | 379987 | 13
2022-12-26 | 89142 | 4210 | 31937625 | 8403 | 9058498 | 3162 | 7753 | 63.224 | 22464 | 5.645 | 67589 | 4010.6952 | 247297 | 166 | 54696887 | 3540 | 92640 | 352 | 3118 | 1 | 1419 | 10 | 872445 | 0 | 389409 | 2960000 |  | 81438 | 1289 | 261421 | 81 | 12407407 | 604 | 29162 | 0 | 26833 | 436 | 646833 | 0 | 234978 | 0 | 100473 | 0 | 273898 | 7410000 | 488620 | 0 | 19342 | 10000 | 487858 | 7040000 | 125389 | 5640000 |  | 1119970 | 736 | 606176 | 422 | 302499 | 116 | 167161 | 112 | 151316 | 58 | 91634 | 10 | 518452 | 89 | 2934 | 1 | 379987 | 0
2022-12-27 | 93638 | 4496 | 31946230 | 8605 | 9062027 | 3529 | 7844 | 102.739 | 22470 | 6.774 | 67625 | 4812.8342 | 247458 | 161 | 54700146 | 3259 | 93023 | 383 | 3119 | 1 | 1429 | 10 | 872445 | 0 | 389723 | 3140000 |  | 82725 | 1287 | 261548 | 127 | 12412671 | 5264 | 29163 | 1 | 27302 | 469 | 646833 | 0 | 234978 | 0 | 100473 | 0 | 274278 | 3800000 | 488620 | 0 | 19342 | 0 | 488569 | 7110000 | 125976 | 5870000 |  | 1120864 | 894 | 606646 | 470 | 302689 | 190 | 167290 | 129 | 151369 | 53 | 91650 | 16 | 518566 | 114 | 2935 | 1 | 380005 | 18
2022-12-28 | 98036 | 4398 | 31954860 | 8630 | 9065568 | 3541 | 7934 | 101.61 | 22476 | 6.774 | 67662 | 4946.5241 | 247584 | 126 | 54703968 | 3822 | 93390 | 367 | 3122 | 3 | 1437 | 8 | 872459 | 140000 | 389962 | 2390000 |  | 83964 | 1239 | 261690 | 142 | 12418935 | 6264 | 29165 | 2 | 27697 | 395 | 646841 | 80000 | 234978 | 0 | 100473 | 0 | 274486 | 2080000 | 488620 | 0 | 19342 | 0 | 489108 | 5390000 | 126520 | 5440000 |  | 1121690 | 826 | 607111 | 465 | 302899 | 210 | 167408 | 118 | 151419 | 50 | 91666 | 16 | 518661 | 95 | 2936 | 1 | 380017 | 12
2022-12-29 | 102366 | 4330 | 31963281 | 8421 | 9068994 | 3426 | 8020 | 97.094 | 22481 | 5.645 | 67695 | 4411.7647 | 247690 | 106 | 54707288 | 3320 | 93730 | 340 | 3123 | 1 | 1447 | 10 | 872466 | 70000 | 390193 | 2310000 |  | 84912 | 948 | 261828 | 138 | 12424572 | 5637 | 29167 | 2 | 28087 | 390 | 646857 | 160000 | 234978 | 0 | 100473 | 0 | 274587 | 1010000 | 488620 | 0 | 19343 | 10000 | 489239 | 1310000 | 126692 | 1720000 |  | 1122478 | 788 | 607568 | 457 | 303140 | 241 | 167526 | 118 | 151468 | 49 | 91681 | 15 | 518751 | 90 | 2937 | 1 | 380029 | 12
2022-12-30 | 106762 | 4396 | 31972164 | 8883 | 9072602 | 3608 | 8116 | 108.384 | 22488 | 7.903 | 67735 | 5347.5936 | 247791 | 101 | 54711487 | 4199 | 94121 | 391 | 3125 | 2 | 1456 | 9 | 872466 | 0 | 390392 | 1990000 |  | 85926 | 1014 | 262021 | 193 | 12432634 | 8062 | 29170 | 3 | 28598 | 511 | 646857 | 0 | 234978 | 0 | 100473 | 0 | 274640 | 530000 | 488620 | 0 | 19343 | 0 | 489239 | 0 | 126692 | 0 |  | 1123295 | 817 | 608029 | 461 | 303388 | 248 | 167643 | 117 | 151518 | 50 | 91693 | 12 | 518852 | 101 | 2938 | 1 | 380060 | 31
2022-12-31 | 111058 | 4296 | 31980545 | 8381 | 9076156 | 3554 | 8219 | 116.287 | 22494 | 6.774 | 67775 | 5347.5936 | 247874 | 83 | 54715629 | 4142 | 94489 | 368 | 3126 | 1 | 1465 | 9 | 872466 | 0 | 390531 | 1390000 |  | 86411 | 485 | 262167 | 146 | 12442131 | 9497 | 29176 | 6 | 28993 | 395 | 646857 | 0 | 234978 | 0 | 100473 | 0 | 274704 | 640000 | 488629 | 90000 | 19343 | 0 | 489340 | 1010000 | 126748 | 560000 |  | 1124164 | 869 | 608487 | 458 | 303643 | 255 | 167782 | 139 | 151564 | 46 | 91704 | 11 | 518952 | 100 | 2939 | 1 | 380085 | 25
Total |  | 135594 |  | 266036 |  | 106838 |  | 3313.295 |  | 230.671 |  | 175000 |  | 3181 |  | 108895 |  | 11847 |  | 392 |  | 300 |  | 71470000 |  | 112490000 |  |  | 13450 |  | 4481 |  | 229443 |  | 73 |  | 19328 |  | 7190000 |  | 0 |  | 730000 |  | 48780000 |  | 300000 |  | 220000 |  | 32270000 |  | 27090000 |  |  | 26273 |  | 14551 |  | 5566 |  | 3992 |  | 1481 |  | 414 |  | 3157 |  | 28 |  | 521
November |  | 123381 |  | 248238 |  | 101853 |  | 3295 |  | 210 |  | 194118 |  | 2052 |  | 147082 |  | 10640 |  | 465 |  | 284 |  | 78980000 |  | 62930000 | 12241 |  | 5744 |  | 4583 |  | 189742 |  | 55 |  | 18280 |  | 24460000 |  | 0 |  | 17440000 |  | 2850000 |  | 11710000 |  | 0 |  | 7100000 |  | 240000 |  |  | 24979 |  | 14566 |  | 4758 |  | 4197 |  | 1321 |  | 413 |  | 2761 |  | 27 |  | 515
Varience |  | 12213 |  | 17798 |  | 4985 |  | 18.295 |  | 20.671 |  | -19118 |  | 1129 |  | -38187 |  | 1207 |  | -73 |  | 16 |  | -7510000 |  | 49560000 | -12241 |  | 7706 |  | -102 |  | 39701 |  | 18 |  | 1048 |  | -17270000 |  | 0 |  | -16710000 |  | 45930000 |  | -11410000 |  | 220000 |  | 25170000 |  | 26850000 |  |  | 1294 |  | -15 |  | 808 |  | -205 |  | 160 |  | 1 |  | 396 |  | 1 |  | 6
Varience % |  | 9.899% |  | 7.17% |  | 4.894% |  | 0.5552% |  | 9.843% |  | -9.849% |  | 55.02% |  | -25.96% |  | 11.34% |  | -15.7% |  | 5.634% |  | -9.509% |  | 78.75% |  |  | 134.2% |  | -2.226% |  | 20.92% |  | 32.73% |  | 5.733% |  | -70.61% |  | #DIV/0! |  | -95.81% |  | 1612% |  | -97.44% |  | #DIV/0! |  | 354.5% |  | 11188% |  |  | 5.18% |  | -0.103% |  | 16.98% |  | -4.884% |  | 12.11% |  | 0.2421% |  | 14.34% |  | 3.704% |  | 1.165%
Formulas:
Date = [Date, row above]+1