## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 1 | 2023 | 39755.52 | 0.44448 | 890.19 | 3.3077 | 686 | 13.83 | 157 | 1.2 | 218.04 | 459
Dubai at Jumeirah Beach | 2 | 1 | 2023 | 38586.24 | 0.44448 | 810.81 | 3.3077 | 629 | 13.83 | 181 | 1.2 | 194.34 | 416
Dubai at Jumeirah Beach | 3 | 1 | 2023 | 38537.52 | 0.44448 | 797.58 | 3.3077 | 632 | 13.83 | 203 | 1.2 | 182.49 | 361
Dubai at Jumeirah Beach | 4 | 1 | 2023 | 37952.88 | 0.44448 | 888.3 | 3.3077 | 636 | 13.83 | 207 | 1.2 | 170.64 | 325
Dubai at Jumeirah Beach | 5 | 1 | 2023 | 39414.48 | 0.44448 | 886.41 | 3.3077 | 655 | 13.83 | 204 | 1.2 | 165.9 | 322
Dubai at Jumeirah Beach | 6 | 1 | 2023 | 39852.96 | 0.44448 | 895.86 | 3.3077 | 602 | 13.83 | 202 | 1.2 | 170.64 | 325
Dubai at Jumeirah Beach | 7 | 1 | 2023 | 37027.2 | 0.44448 | 876.96 | 3.3077 | 584 | 13.83 | 216 | 1.2 | 142.2 | 261
Dubai at Jumeirah Beach | 8 | 1 | 2023 | 38440.08 | 0.44448 | 848.61 | 3.3077 | 534 | 13.83 | 211 | 1.2 | 130.35 | 261
Dubai at Jumeirah Beach | 9 | 1 | 2023 | 39804.24 | 0.44448 | 903.42 | 3.3077 | 510 | 13.83 | 116 | 1.2 | 163.53 | 285
Dubai at Jumeirah Beach | 10 | 1 | 2023 | 34445.04 | 0.44448 | 663.39 | 3.3077 | 505 | 13.83 | 180 | 1.2 | 156.42 | 329
Dubai at Jumeirah Beach | 11 | 1 | 2023 | 38245.2 | 0.44448 | 899.64 | 3.3077 | 544 | 13.83 | 178 | 1.2 | 177.75 | 329
Dubai at Jumeirah Beach | 12 | 1 | 2023 | 37124.64 | 0.44448 | 875.07 | 3.3077 | 552 | 13.83 | 168 | 1.2 | 225.15 | 410
Dubai at Jumeirah Beach | 13 | 1 | 2023 | 39268.32 | 0.44448 | 941.22 | 3.3077 | 639 | 13.83 | 184 | 1.2 | 215.67 | 404
Dubai at Jumeirah Beach | 14 | 1 | 2023 | 37514.4 | 0.44448 | 899.64 | 3.3077 | 710 | 13.83 | 184 | 1.2 | 194.34 | 359
Dubai at Jumeirah Beach | 15 | 1 | 2023 | 36881.04 | 0.44448 | 892.08 | 3.3077 | 650 | 13.83 | 185 | 1.2 | 187.23 | 349
Dubai at Jumeirah Beach | 16 | 1 | 2023 | 38245.2 | 0.44448 | 876.96 | 3.3077 | 502 | 13.83 | 161 | 1.2 | 194.34 | 317
Dubai at Jumeirah Beach | 17 | 1 | 2023 | 38781.12 | 0.44448 | 910.98 | 3.3077 | 594 | 13.83 | 168 | 1.2 | 184.86 | 314
Dubai at Jumeirah Beach | 18 | 1 | 2023 | 36929.76 | 0.44448 | 910.98 | 3.3077 | 567 | 13.83 | 178 | 1.2 | 191.97 | 321
Dubai at Jumeirah Beach | 19 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 360
Dubai at Jumeirah Beach | 20 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 1 | 2023 | 0 | 0.44448 | 0 | 3.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 1 | 2023 | 218.04 | 459 | 686 | 550 | 319 | 0 | 86 | 15 | 3312.96 | 4579.68 | 8720.88 | 97.44 | 146.16 | 5602.8 | 3946.32 | 4579.68 | 2728.32 | 6041.28 | 45400 | 0 | 0 | 139.86 | 245.7 | 504.63 | 178 | 49.14 | 41.58 | 13.23 | 18.9 | 20.79 | 73.71 | 7 | 10 | 16 | 20 | 8 | 14 | 11 | 15 | 12 | 6 | 7 | 10.8 |  | 6.9 | 7.8 | 585 | 132.9 | 3100 | 210 | 2900 | 1500 | 200 | 470 | 30.24 | 34.02 | 32.13 | 24.57 | 66.15 | 157
Dubai at Jumeirah Beach | 2 | 1 | 2023 | 194.34 | 416 | 629 | 485 | 232 | 0 | 83 | 8 | 3215.52 | 4530.96 | 8184.96 | 48.72 | 48.72 | 5359.2 | 4141.2 | 4530.96 | 2825.76 | 5700.24 | 44100 | 0 | 0 | 136.08 | 228.69 | 446.04 | 172 | 39.69 | 35.91 | 13.23 | 17.01 | 28.35 | 69.93 | 7 | 10 | 14 | 17 | 9 | 13 | 7 | 11 | 11 | 4 | 4 | 10.4 |  | 6.9 | 6.6 | 529 | 127.6 | 3100 | 230 | 2500 | 1600 | 200 | 550 | 32.13 | 30.24 | 28.35 | 17.01 | 60.48 | 181
Dubai at Jumeirah Beach | 3 | 1 | 2023 | 182.49 | 361 | 632 | 500 | 20 | 0 | 71 | 2 | 3118.08 | 4433.52 | 7941.36 | 48.72 | 48.72 | 5505.36 | 4092.48 | 4823.28 | 2825.76 | 5700.24 | 42200 | 0 | 0 | 137.97 | 228.69 | 430.92 | 176 | 37.8 | 34.02 | 15.12 | 13.23 | 26.46 | 69.93 | 6 | 8 | 14 | 16 | 8 | 13 | 8 | 11 | 8 | 5 | 2 | 10.5 |  | 6.9 | 6.7 | 582 | 129.6 | 2700 | 220 | 2000 | 1600 | 200 | 570 | 30.24 | 30.24 | 24.57 | 17.01 | 66.15 | 203
Dubai at Jumeirah Beach | 4 | 1 | 2023 | 170.64 | 325 | 636 | 586 | 132 | 0 | 87 | 11 | 3069.36 | 4579.68 | 7697.76 | 146.16 | 0 | 5261.76 | 4141.2 | 4677.12 | 2777.04 | 5602.8 | 40300 | 0 | 0 | 137.97 | 226.8 | 523.53 | 173 | 35.91 | 37.8 | 15.12 | 18.9 | 30.24 | 71.82 | 9 | 12 | 13 | 16 | 7 | 11 | 8 | 11 | 9 | 5 | 3 | 10.5 |  | 7 | 6.6 | 543 | 131.6 | 2700 | 220 | 2000 | 1300 | 200 | 600 | 28.35 | 30.24 | 35.91 | 18.9 | 71.82 | 207
Dubai at Jumeirah Beach | 5 | 1 | 2023 | 165.9 | 322 | 655 | 431 | 294 | 0 | 93 | 8 | 2582.16 | 4579.68 | 9256.8 | 97.44 | 48.72 | 5407.92 | 4092.48 | 4579.68 | 3020.64 | 5748.96 | 46800 | 0 | 0 | 136.08 | 221.13 | 529.2 | 172 | 35.91 | 35.91 | 11.34 | 15.12 | 24.57 | 66.15 | 6 | 10 | 15 | 17 | 7 | 12 | 9 | 9 | 8 | 5 | 9 | 10.6 |  | 7 | 6.6 | 545 | 130.2 | 3200 | 240 | 3000 | 1500 | 200 | 360 | 30.24 | 26.46 | 28.35 | 15.12 | 64.26 | 204
Dubai at Jumeirah Beach | 6 | 1 | 2023 | 170.64 | 325 | 602 | 468 | 211 | 0 | 82 | 12 | 2582.16 | 4725.84 | 8769.6 | 0 | 146.16 | 5456.64 | 4384.8 | 4774.56 | 3215.52 | 5797.68 | 44200 | 0 | 0 | 137.97 | 228.69 | 529.2 | 176 | 39.69 | 37.8 | 13.23 | 17.01 | 26.46 | 68.04 | 7 | 10 | 15 | 16 | 8 | 12 | 10 | 10 | 9 | 5 | 7 | 10.8 |  | 7.1 | 7.5 | 577 | 135 | 2400 | 240 | 3000 | 1300 | 200 | 400 | 32.13 | 30.24 | 28.35 | 22.68 | 66.15 | 202
Dubai at Jumeirah Beach | 7 | 1 | 2023 | 142.2 | 261 | 584 | 454 | 23 | 0 | 67 | 3 | 1753.92 | 4287.36 | 341.04 | 1169.28 | 7551.6 | 5261.76 | 3946.32 | 4384.8 | 2777.04 | 5554.08 | 3400 | 0 | 34400 | 132.3 | 234.36 | 510.3 | 168 | 35.91 | 35.91 | 13.23 | 15.12 | 28.35 | 62.37 | 7 | 10 | 15 | 17 | 7 | 12 | 10 | 10 | 9 | 5 | 0 | 11 |  | 6.5 | 7.2 | 569 | 115.4 | 2200 | 270 | 3100 | 1300 | 200 | 390 | 26.46 | 24.57 | 32.13 | 26.46 | 66.15 | 216
Dubai at Jumeirah Beach | 8 | 1 | 2023 | 130.35 | 261 | 534 | 425 | 85 | 0 | 71 | 5 | 1900.08 | 4433.52 | 146.16 | 1412.88 | 7746.48 | 5359.2 | 4433.52 | 4433.52 | 3069.36 | 5505.36 | 0 | 0 | 38300 | 137.97 | 219.24 | 491.4 | 175 | 35.91 | 37.8 | 15.12 | 15.12 | 28.35 | 71.82 | 4 | 9 | 15 | 16 | 4 | 11 | 10 | 19 | 14 | 5 | 3 | 9.5 |  | 6.2 | 7.4 | 522 | 103.5 | 1900 | 220 | 2400 | 1100 | 300 | 480 | 26.46 | 24.57 | 28.35 | 24.57 | 60.48 | 211
Dubai at Jumeirah Beach | 9 | 1 | 2023 | 163.53 | 285 | 510 | 397 | 186 | 0 | 69 | 6 | 2436 | 4823.28 | 146.16 | 876.96 | 8038.8 | 5651.52 | 4433.52 | 4725.84 | 2923.2 | 5748.96 | 0 | 0 | 37000 | 147.42 | 219.24 | 536.76 | 187 | 35.91 | 37.8 | 13.23 | 17.01 | 28.35 | 66.15 | 2 | 5 | 14 | 15 | 5 | 10 | 7 | 9 | 9 | 3 | 2 | 11.3 |  | 6.5 | 6.3 | 522 | 111.7 | 2000 | 230 | 1800 | 1200 | 300 | 590 | 34.02 | 24.57 | 20.79 | 17.01 | 62.37 | 116
Dubai at Jumeirah Beach | 10 | 1 | 2023 | 156.42 | 329 | 505 | 388 | 210 | 0 | 79 | 3 | 1705.2 | 4043.76 | 194.88 | 828.24 | 7795.2 | 4920.72 | 3556.56 | 3946.32 | 2387.28 | 5066.88 | 0 | 0 | 42400 | 124.74 | 179.55 | 359.1 | 158 | 39.69 | 34.02 | 11.34 | 17.01 | 28.35 | 68.04 | 3 | 5 | 13 | 13 | 5 | 10 | 6 | 8 | 7 | 4 | 5 | 10.5 |  | 5.5 | 5.7 | 547 | 96.8 | 2500 | 250 | 4300 | 1400 | 300 | 570 | 24.57 | 20.79 | 22.68 | 17.01 | 52.92 | 180
Dubai at Jumeirah Beach | 11 | 1 | 2023 | 177.75 | 329 | 544 | 423 | 226 | 0 | 65 | 9 | 1997.52 | 4628.4 | 97.44 | 1412.88 | 7356.72 | 5505.36 | 4092.48 | 4530.96 | 3166.8 | 5456.64 | 0 | 0 | 36400 | 136.08 | 207.9 | 555.66 | 173 | 39.69 | 35.91 | 11.34 | 18.9 | 26.46 | 60.48 | 6 | 11 | 14 | 14 | 6 | 10 | 6 | 10 | 8 | 4 | 7 | 11 |  | 6.2 | 5.8 | 537 | 129.1 | 2000 | 230 | 2600 | 1000 | 300 | 540 | 30.24 | 22.68 | 26.46 | 17.01 | 64.26 | 178
Dubai at Jumeirah Beach | 12 | 1 | 2023 | 225.15 | 410 | 552 | 418 | 185 | 0 | 63 | 2 | 1900.08 | 4482.24 | 48.72 | 6772.08 | 1705.2 | 5456.64 | 4092.48 | 4384.8 | 3069.36 | 5213.04 | 0 | 25500 | 8900 | 141.75 | 204.12 | 529.2 | 136 | 32.13 | 35.91 | 13.23 | 15.12 | 26.46 | 66.15 | 7 | 8 | 14 | 15 | 6 | 13 | 6 | 11 | 7 | 4 | 2 | 10.5 |  | 6 | 5.9 | 532 | 149.2 | 1900 | 210 | 1500 | 900 | 100 | 550 | 28.35 | 20.79 | 28.35 | 15.12 | 60.48 | 168
Dubai at Jumeirah Beach | 13 | 1 | 2023 | 215.67 | 404 | 639 | 505 | 238 | 1 | 61 | 5 | 2094.96 | 4725.84 | 48.72 | 1266.72 | 7210.56 | 5748.96 | 4579.68 | 4774.56 | 3166.8 | 5651.52 | 0 | 0 | 33500 | 156.87 | 219.24 | 565.11 | 177 | 37.8 | 35.91 | 9.45 | 18.9 | 30.24 | 71.82 | 5 | 9 | 16 | 17 | 6 | 11 | 9 | 13 | 10 | 5 | 7 | 11.2 |  | 6.3 | 7.1 | 566 | 160.4 | 1800 | 220 | 200 | 1000 | 200 | 590 | 34.02 | 26.46 | 28.35 | 26.46 | 71.82 | 184
Dubai at Jumeirah Beach | 14 | 1 | 2023 | 194.34 | 359 | 710 | 521 | 206 | 74 | 70 | 8 | 1997.52 | 4482.24 | 0 | 6772.08 | 1266.72 | 5554.08 | 4384.8 | 4628.4 | 2874.48 | 5554.08 | 0 | 32300 | 1900 | 147.42 | 211.68 | 540.54 | 162 | 32.13 | 35.91 | 9.45 | 18.9 | 30.24 | 68.04 | 5 | 9 | 25 | 16 | 6 | 11 | 9 | 13 | 10 | 5 | 0 | 11.2 |  | 6.3 | 6.7 | 615 | 159.1 | 2100 | 200 | 800 | 500 | 300 | 400 | 30.24 | 26.46 | 28.35 | 22.68 | 69.93 | 184
Dubai at Jumeirah Beach | 15 | 1 | 2023 | 187.23 | 349 | 650 | 432 | 82 | 84 | 70 | 6 | 1948.8 | 4384.8 | 0 | 7064.4 | 1266.72 | 5359.2 | 4092.48 | 4530.96 | 2728.32 | 5505.36 | 0 | 36700 | 0 | 149.31 | 194.67 | 548.1 | 164 | 32.13 | 35.91 | 9.45 | 15.12 | 28.35 | 68.04 | 6 | 7 | 5 | 16 | 3 | 8 | 10 | 10 | 8 | 3 | 5 | 10.5 |  | 5.7 | 6.8 | 542 | 143.8 | 2100 | 200 | 1100 | 1600 | 300 | 370 | 26.46 | 20.79 | 24.57 | 20.79 | 56.7 | 185
Dubai at Jumeirah Beach | 16 | 1 | 2023 | 194.34 | 317 | 502 | 422 | 226 | 0 | 67 | 7 | 1997.52 | 4579.68 | 0 | 7356.72 | 1218 | 5797.68 | 4238.64 | 4579.68 | 3069.36 | 5407.92 | 0 | 36700 | 0 | 145.53 | 196.56 | 534.87 | 161 | 32.13 | 35.91 | 9.45 | 20.79 | 28.35 | 69.93 | 2 | 4 | 12 | 13 | 4 | 10 | 5 | 8 | 11 | 8 | 7 | 10.9 |  | 6.1 | 5.8 | 527 | 154.8 | 2200 | 230 | 900 | 1200 | 100 | 410 | 26.46 | 22.68 | 22.68 | 15.12 | 71.82 | 161
Dubai at Jumeirah Beach | 17 | 1 | 2023 | 184.86 | 314 | 594 | 406 | 218 | 42 | 76 | 9 | 1900.08 | 4433.52 | 48.72 | 8038.8 | 1461.6 | 5164.32 | 4189.92 | 4579.68 | 3507.84 | 5456.64 | 0 | 42200 | 0 | 151.2 | 194.67 | 565.11 | 165 | 35.91 | 37.8 | 0 | 20.79 | 30.24 | 69.93 | 4 | 5 | 12 | 13 | 4 | 10 | 5 | 11 | 7 | 4 | 4 | 10.3 |  | 6 | 6 | 553 | 153.1 | 3200 | 240 | 1200 | 1400 | 300 | 460 | 28.35 | 18.9 | 22.68 | 17.01 | 54.81 | 168
Dubai at Jumeirah Beach | 18 | 1 | 2023 | 191.97 | 321 | 567 | 413 | 177 | 52 | 66 | 7 | 1900.08 | 4482.24 | 48.72 | 7161.84 | 1315.44 | 5310.48 | 4043.76 | 4238.64 | 3069.36 | 5359.2 | 0 | 38000 | 0 | 141.75 | 192.78 | 576.45 | 158 | 30.24 | 35.91 | 0 | 17.01 | 28.35 | 71.82 | 7 | 12 | 11 | 14 | 4 | 8 | 5 | 11 | 6 | 3 | 4 | 10.7 |  | 5.6 | 6.2 | 527 | 117.9 | 2900 | 250 | 2100 | 1400 | 200 | 470 | 30.24 | 20.79 | 24.57 | 15.12 | 60.48 | 178
Dubai at Jumeirah Beach | 19 | 1 | 2023 |  | 360
Dubai at Jumeirah Beach | 20 | 1 | 2023
Dubai at Jumeirah Beach | 21 | 1 | 2023
Dubai at Jumeirah Beach | 22 | 1 | 2023
Dubai at Jumeirah Beach | 23 | 1 | 2023
Dubai at Jumeirah Beach | 24 | 1 | 2023
Dubai at Jumeirah Beach | 25 | 1 | 2023
Dubai at Jumeirah Beach | 26 | 1 | 2023
Dubai at Jumeirah Beach | 27 | 1 | 2023
Dubai at Jumeirah Beach | 28 | 1 | 2023
Dubai at Jumeirah Beach | 29 | 1 | 2023
Dubai at Jumeirah Beach | 30 | 1 | 2023
Dubai at Jumeirah Beach | 31 | 1 | 2023

## DJB Daily Readings
Daily Water Consumption January 2023 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2023 | [20 empty] | Lpg Daily Consumption January 2023 | [25 empty] | F& B Village Daily Water Meter Reading 2023 | [21 empty] | F & B Electrical Daily Reading January 2023 | [11 empty] | F & B Village Chilled Water Reading January 2023 | [11 empty] | F & B Village Daily Lpg Reading January 2023
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2023 | Daily consumption M³ January-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ January-2022 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ January-2022 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ January-2022 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ January-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ January-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ January-2022 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2022-12-31 | 92% | 225226 | 686 | 627 | 251689 | 550 | 493.57 | 10233 | 157 | 924513 | 319 | 245382 | 0 | 118193 | 86 | 73.42 | 6524 | 15 | 8204545.44 | 3312.96 | 3312.96 | 15578561.04 | 4579.68 | 4579.68 | 15837020.64 | 8720.88 | 8720.88 | 18967085.76 | 97.44 | 97.44 | 19227689.04 | 146.16 | 146.16 | 17693496.24 | 5602.8 | 5602.8 | 14884008.72 | 3946.32 | 3946.32 | 14414542.8 | 4579.68 | 4579.68 | 11250130.08 | 2728.32 | 2728.32 | 17832591.84 | 6041.28 | 6041.28 | 78229800 | 45400 | 45400 | 81187800 | 0 | 0 | 75092800 | 0 | 0 | [10 empty] | 10384850 | 7250 | 60% | 3% | -3% | 64774 | 26 | 55850 | 22 | 18895 | 7 | 25836 | 10 | 28807 | 11 | 63265 | 39 | 269697 | 74 | 74 | 217553 | 130 | 130 | 360873 | 267 | 267 | 698665 | 178 | 9063 | 10 | 6152 | 7 | 32506 | 20 | 32683 | 16 | 22093 | 14 | 24185 | 8 | 7343 | 15 | 9948 | 11 | 3360 | 6 | 6638 | 12 | 30380 | 7 | 6580.2 | 10.8 | 11466.6 | 8.1 | 4951.1 | 6.9 | 5530.6 | 7.8 | 1139808 | 585 | 234781.9 | 132.9 | 12217800 | 3100 | 939210 | 210 | 7261800 | 1500 | 2504400 | 200 | 1291970 | 470 | 16681600 | 2900 | 42480 | 16 | 37086 | 18 | 7748 | 0 | 59602 | 17 | 50302 | 35
2023-01-01 | 92% | 225912 |  |  | 252239 |  |  | 10390 |  | 924832 |  | 245382 |  | 118279 |  |  | 6539 |  | 8207858.4 |  |  | 15583140.72 |  |  | 15845741.52 |  |  | 18967183.2 |  |  | 19227835.2 |  |  | 17699099.04 |  |  | 14887955.04 |  |  | 14419122.48 |  |  | 11252858.4 |  |  | 17838633.12 |  |  | 78275200 |  |  | 81187800 |  |  | 75092800 | [12 empty] | 10392100 |  | 63% |  |  | 64800 |  | 55872 |  | 18902 |  | 25846 |  | 28818 |  | 63304 |  | 269771 |  |  | 217683 |  |  | 361140 |  |  | 698843 |  | 9073 |  | 6159 |  | 32526 |  | 32699 |  | 22107 |  | 24193 |  | 7358 |  | 9959 |  | 3366 |  | 6650 |  | 30387 |  | 6591 |  | 11474.7 |  | 4958 |  | 5538.4 |  | 1140393 |  | 234914.8 |  | 12220900 |  | 939420 |  | 7263300 |  | 2504600 |  | 1292440 |  | 16684500 |  | 42496 |  | 37104 |  | 7761 |  | 59619 |  | 50337
2023-01-02 | 82% | 226541 | 629 | 633 | 252724 | 485 | 495.59 | 10571 | 181 | 925064 | 232 | 245382 | 0 | 118362 | 83 | 86.83 | 6547 | 8 | 8211073.92 | 3215.52 | 3215.52 | 15587671.68 | 4530.96 | 4530.96 | 15853926.48 | 8184.96 | 8184.96 | 18967231.92 | 48.72 | 48.72 | 19227883.92 | 48.72 | 48.72 | 17704458.24 | 5359.2 | 5359.2 | 14892096.24 | 4141.2 | 4141.2 | 14423653.44 | 4530.96 | 4530.96 | 11255684.16 | 2825.76 | 2825.76 | 17844333.36 | 5700.24 | 5700.24 | 78319300 | 44100 | 44100 | 81187800 | 0 | 0 | 75092800 | 0 | 0 | [10 empty] | 10399350 | 7250 | 58% | 5% | 5% | 64821 | 21 | 55891 | 19 | 18909 | 7 | 25855 | 9 | 28833 | 15 | 63341 | 37 | 269843 | 72 | 72 | 217804 | 121 | 121 | 361376 | 236 | 236 | 699015 | 172 | 9083 | 10 | 6166 | 7 | 32543 | 17 | 32713 | 14 | 22120 | 13 | 24202 | 9 | 7369 | 11 | 9966 | 7 | 3370 | 4 | 6661 | 11 | 30391 | 4 | 6601.4 | 10.4 | 11482.5 | 7.8 | 4964.9 | 6.9 | 5545 | 6.6 | 1140922 | 529 | 235042.4 | 127.6 | 12224000 | 3100 | 939650 | 230 | 7264900 | 1600 | 2504800 | 200 | 1292990 | 550 | 16687000 | 2500 | 42513 | 17 | 37120 | 16 | 7770 | 9 | 59634 | 15 | 50369 | 32
2023-01-03 | 77% | 227173 | 632 | 685 | 253224 | 500 | 513.58 | 10774 | 203 | 925084 | 20 | 245382 | 0 | 118433 | 71 | 93.87 | 6549 | 2 | 8214192 | 3118.08 | 3118.08 | 15592105.2 | 4433.52 | 4433.52 | 15861867.84 | 7941.36 | 7941.36 | 18967280.64 | 48.72 | 48.72 | 19227932.64 | 48.72 | 48.72 | 17709963.6 | 5505.36 | 5505.36 | 14896188.72 | 4092.48 | 4092.48 | 14428476.72 | 4823.28 | 4823.28 | 11258509.92 | 2825.76 | 2825.76 | 17850033.6 | 5700.24 | 5700.24 | 78361500 | 42200 | 42200 | 81187800 | 0 | 0 | 75092800 | 0 | 0 | [10 empty] | 10406810 | 7460 | 64% | -6% | -6% | 64841 | 20 | 55909 | 18 | 18917 | 8 | 25862 | 7 | 28847 | 14 | 63378 | 37 | 269916 | 73 | 73 | 217925 | 121 | 121 | 361604 | 228 | 228 | 699191 | 176 | 9091 | 8 | 6172 | 6 | 32559 | 16 | 32727 | 14 | 22133 | 13 | 24210 | 8 | 7380 | 11 | 9974 | 8 | 3375 | 5 | 6669 | 8 | 30393 | 2 | 6611.9 | 10.5 | 11490.1 | 7.6 | 4971.8 | 6.9 | 5551.7 | 6.7 | 1141504 | 582 | 235172 | 129.6 | 12226700 | 2700 | 939870 | 220 | 7266500 | 1600 | 2505000 | 200 | 1293560 | 570 | 16689000 | 2000 | 42529 | 16 | 37136 | 16 | 7779 | 9 | 59647 | 13 | 50404 | 35
2023-01-04 | 72% | 227809 | 636 | 899 | 253810 | 586 | 542.97 | 10981 | 207 | 925216 | 132 | 245382 | 0 | 118520 | 87 | 69.82 | 6560 | 11 | 8217261.36 | 3069.36 | 3069.36 | 15596684.88 | 4579.68 | 4579.68 | 15869565.6 | 7697.76 | 7697.76 | 18967426.8 | 146.16 | 146.16 | 19227932.64 | 0 | 0 | 17715225.36 | 5261.76 | 5261.76 | 14900329.92 | 4141.2 | 4141.2 | 14433153.84 | 4677.12 | 4677.12 | 11261286.96 | 2777.04 | 2777.04 | 17855636.4 | 5602.8 | 5602.8 | 78401800 | 40300 | 40300 | 81187800 | 0 | 0 | 75092800 | 0 | 0 | [10 empty] | 10414050 | 7240 | 56% | 8% | 8% | 64860 | 19 | 55929 | 20 | 18925 | 8 | 25872 | 10 | 28863 | 16 | 63416 | 38 | 269989 | 73 | 73 | 218045 | 120 | 120 | 361881 | 277 | 277 | 699364 | 173 | 9103 | 12 | 6181 | 9 | 32575 | 16 | 32740 | 13 | 22144 | 11 | 24217 | 7 | 7391 | 11 | 9982 | 8 | 3380 | 5 | 6678 | 9 | 30396 | 3 | 6622.4 | 10.5 | 11497.9 | 7.8 | 4978.8 | 7 | 5558.3 | 6.6 | 1142047 | 543 | 235303.6 | 131.6 | 12229400 | 2700 | 940090 | 220 | 7267800 | 1300 | 2505200 | 200 | 1294160 | 600 | 16691000 | 2000 | 42544 | 15 | 37152 | 16 | 7789 | 10 | 59666 | 19 | 50442 | 38
2023-01-05 | 70% | 228464 | 655 | 860 | 254241 | 431 | 559.82 | 11185 | 204 | 925510 | 294 | 245382 | 0 | 118613 | 93 | 62.9 | 6568 | 8 | 8219843.52 | 2582.16 | 2582.16 | 15601264.56 | 4579.68 | 4579.68 | 15878822.4 | 9256.8 | 9256.8 | 18967524.24 | 97.44 | 97.44 | 19227981.36 | 48.72 | 48.72 | 17720633.28 | 5407.92 | 5407.92 | 14904422.4 | 4092.48 | 4092.48 | 14437733.52 | 4579.68 | 4579.68 | 11264307.6 | 3020.64 | 3020.64 | 17861385.36 | 5748.96 | 5748.96 | 78448600 | 46800 | 46800 | 81187800 | 0 | 0 | 75092800 | 0 | 0 | [10 empty] | 10421470 | 7420 | 69% | -13% | -13% | 64879 | 19 | 55948 | 19 | 18931 | 6 | 25880 | 8 | 28876 | 13 | 63451 | 35 | 270061 | 72 | 72 | 218162 | 117 | 117 | 362161 | 280 | 280 | 699536 | 172 | 9113 | 10 | 6187 | 6 | 32592 | 17 | 32755 | 15 | 22156 | 12 | 24224 | 7 | 7400 | 9 | 9991 | 9 | 3385 | 5 | 6686 | 8 | 30405 | 9 | 6633 | 10.6 | 11505.5 | 7.6 | 4985.8 | 7 | 5564.9 | 6.6 | 1142592 | 545 | 235433.8 | 130.2 | 12232600 | 3200 | 940330 | 240 | 7269300 | 1500 | 2505400 | 200 | 1294520 | 360 | 16694000 | 3000 | 42560 | 16 | 37166 | 14 | 7797 | 8 | 59681 | 15 | 50476 | 34
2023-01-06 | 72% | 229066 | 602 | 683 | 254709 | 468 | 466 | 11387 | 202 | 925721 | 211 | 245382 | 0 | 118695 | 82 | 61.91 | 6580 | 12 | 8222425.68 | 2582.16 | 2582.16 | 15605990.4 | 4725.84 | 4725.84 | 15887592 | 8769.6 | 8769.6 | 18967524.24 | 0 | 0 | 19228127.52 | 146.16 | 146.16 | 17726089.92 | 5456.64 | 5456.64 | 14908807.2 | 4384.8 | 4384.8 | 14442508.08 | 4774.56 | 4774.56 | 11267523.12 | 3215.52 | 3215.52 | 17867183.04 | 5797.68 | 5797.68 | 78492800 | 44200 | 44200 | 81187800 | 0 | 0 | 75092800 | 0 | 0 | [10 empty] | 10428580 | 7110 | 60% | 9% | 9% | 64900 | 21 | 55968 | 20 | 18938 | 7 | 25889 | 9 | 28890 | 14 | 63487 | 36 | 270134 | 73 | 73 | 218283 | 121 | 121 | 362441 | 280 | 280 | 699712 | 176 | 9123 | 10 | 6194 | 7 | 32608 | 16 | 32770 | 15 | 22168 | 12 | 24232 | 8 | 7410 | 10 | 10001 | 10 | 3390 | 5 | 6695 | 9 | 30412 | 7 | 6643.8 | 10.8 | 11513.4 | 7.9 | 4992.9 | 7.1 | 5572.4 | 7.5 | 1143169 | 577 | 235568.8 | 135 | 12235000 | 2400 | 940570 | 240 | 7270600 | 1300 | 2505600 | 200 | 1294920 | 400 | 16697000 | 3000 | 42577 | 17 | 37182 | 16 | 7809 | 12 | 59696 | 15 | 50511 | 35
2023-01-07 | 60% | 229650 | 584 | 879 | 255163 | 454 | 545 | 11603 | 216 | 925744 | 23 | 245382 | 0 | 118762 | 67 | 56.58 | 6583 | 3 | 8224179.6 | 1753.92 | 1753.92 | 15610277.76 | 4287.36 | 4287.36 | 15887933.04 | 341.04 | 341.04 | 18968693.52 | 1169.28 | 1169.28 | 19235679.12 | 7551.6 | 7551.6 | 17731351.68 | 5261.76 | 5261.76 | 14912753.52 | 3946.32 | 3946.32 | 14446892.88 | 4384.8 | 4384.8 | 11270300.16 | 2777.04 | 2777.04 | 17872737.12 | 5554.08 | 5554.08 | 78496200 | 3400 | 3400 | 81187800 | 0 | 0 | 75127200 | 34400 | 34400 | [10 empty] | 10435200 | 6620 | 69% | -9% | -9% | 64919 | 19 | 55987 | 19 | 18945 | 7 | 25897 | 8 | 28905 | 15 | 63520 | 33 | 270204 | 70 | 70 | 218407 | 124 | 124 | 362711 | 270 | 270 | 699880 | 168 | 9133 | 10 | 6201 | 7 | 32625 | 17 | 32785 | 15 | 22180 | 12 | 24239 | 7 | 7420 | 10 | 10011 | 10 | 3395 | 5 | 6704 | 9 | 30412 | 0 | 6654.8 | 11 | 11520.9 | 7.5 | 4999.4 | 6.5 | 5579.6 | 7.2 | 1143738 | 569 | 235684.2 | 115.4 | 12237200 | 2200 | 940840 | 270 | 7271900 | 1300 | 2505800 | 200 | 1295310 | 390 | 16700100 | 3100 | 42591 | 14 | 37195 | 13 | 7823 | 14 | 59713 | 17 | 50546 | 35
2023-01-08 | 55% | 230184 | 534 | 677 | 255588 | 425 | 517 | 11814 | 211 | 925829 | 85 | 245382 | 0 | 118833 | 71 | 61.13 | 6588 | 5 | 8226079.68 | 1900.08 | 1900.08 | 15614711.28 | 4433.52 | 4433.52 | 15888079.2 | 146.16 | 146.16 | 18970106.4 | 1412.88 | 1412.88 | 19243425.6 | 7746.48 | 7746.48 | 17736710.88 | 5359.2 | 5359.2 | 14917187.04 | 4433.52 | 4433.52 | 14451326.4 | 4433.52 | 4433.52 | 11273369.52 | 3069.36 | 3069.36 | 17878242.48 | 5505.36 | 5505.36 | 78496200 | 0 | 0 | 81187800 | 0 | 0 | 75165500 | 38300 | 38300 | [10 empty] | 10441690 | 6490 | 61% | 8% | 8% | 64938 | 19 | 56007 | 20 | 18953 | 8 | 25905 | 8 | 28920 | 15 | 63558 | 38 | 270277 | 73 | 73 | 218523 | 116 | 116 | 362971 | 260 | 260 | 700055 | 175 | 9142 | 9 | 6205 | 4 | 32641 | 16 | 32800 | 15 | 22191 | 11 | 24243 | 4 | 7439 | 19 | 10021 | 10 | 3400 | 5 | 6718 | 14 | 30415 | 3 | 6664.3 | 9.5 | 11528.2 | 7.3 | 5005.6 | 6.2 | 5587 | 7.4 | 1144260 | 522 | 235787.7 | 103.5 | 12239100 | 1900 | 941060 | 220 | 7273000 | 1100 | 2506100 | 300 | 1295790 | 480 | 16702500 | 2400 | 42605 | 14 | 37208 | 13 | 7836 | 13 | 59728 | 15 | 50578 | 32
2023-01-09 | 69% | 230694 | 510 | 803 | 255985 | 397 | 525 | 11930 | 116 | 926015 | 186 | 245382 | 0 | 118902 | 69 | 63.8 | 6594 | 6 | 8228515.68 | 2436 | 2436 | 15619534.56 | 4823.28 | 4823.28 | 15888225.36 | 146.16 | 146.16 | 18970983.36 | 876.96 | 876.96 | 19251464.4 | 8038.8 | 8038.8 | 17742362.4 | 5651.52 | 5651.52 | 14921620.56 | 4433.52 | 4433.52 | 14456052.24 | 4725.84 | 4725.84 | 11276292.72 | 2923.2 | 2923.2 | 17883991.44 | 5748.96 | 5748.96 | 78496200 | 0 | 0 | 81187800 | 0 | 0 | 75202500 | 37000 | 37000 | [10 empty] | 10447780 | 6090 | 67% | -6% | -6% | 64957 | 19 | 56027 | 20 | 18960 | 7 | 25914 | 9 | 28935 | 15 | 63593 | 35 | 270355 | 78 | 78 | 218639 | 116 | 116 | 363255 | 284 | 284 | 700242 | 187 | 9147 | 5 | 6207 | 2 | 32656 | 15 | 32814 | 14 | 22201 | 10 | 24248 | 5 | 7448 | 9 | 10028 | 7 | 3403 | 3 | 6727 | 9 | 30417 | 2 | 6675.6 | 11.3 | 11535.2 | 7 | 5012.1 | 6.5 | 5593.3 | 6.3 | 1144782 | 522 | 235899.4 | 111.7 | 12241100 | 2000 | 941290 | 230 | 7274200 | 1200 | 2506400 | 300 | 1296380 | 590 | 16704300 | 1800 | 42623 | 18 | 37221 | 13 | 7845 | 9 | 59739 | 11 | 50611 | 33
2023-01-10 | 66% | 231199 | 505 | 734 | 256373 | 388 | 466 | 12110 | 180 | 926225 | 210 | 245382 | 0 | 118981 | 79 | 57.2 | 6597 | 3 | 8230220.88 | 1705.2 | 1705.2 | 15623578.32 | 4043.76 | 4043.76 | 15888420.24 | 194.88 | 194.88 | 18971811.6 | 828.24 | 828.24 | 19259259.6 | 7795.2 | 7795.2 | 17747283.12 | 4920.72 | 4920.72 | 14925177.12 | 3556.56 | 3556.56 | 14459998.56 | 3946.32 | 3946.32 | 11278680 | 2387.28 | 2387.28 | 17889058.32 | 5066.88 | 5066.88 | 78496200 | 0 | 0 | 81187800 | 0 | 0 | 75244900 | 42400 | 42400 | [10 empty] | 10453820 | 6040 | 59% | 8% | 8% | 64978 | 21 | 56045 | 18 | 18966 | 6 | 25923 | 9 | 28950 | 15 | 63629 | 36 | 270421 | 66 | 66 | 218734 | 95 | 95 | 363445 | 190 | 190 | 700400 | 158 | 9152 | 5 | 6210 | 3 | 32669 | 13 | 32827 | 13 | 22211 | 10 | 24253 | 5 | 7456 | 8 | 10034 | 6 | 3407 | 4 | 6734 | 7 | 30422 | 5 | 6686.1 | 10.5 | 11542.5 | 7.3 | 5017.6 | 5.5 | 5599 | 5.7 | 1145329 | 547 | 235996.2 | 96.8 | 12243600 | 2500 | 941540 | 250 | 7275600 | 1400 | 2506700 | 300 | 1296950 | 570 | 16708600 | 4300 | 42636 | 13 | 37232 | 11 | 7854 | 9 | 59751 | 12 | 50639 | 28
2023-01-11 | 75% | 231743 | 544 | 706 | 256796 | 423 | 453 | 12288 | 178 | 926451 | 226 | 245382 | 0 | 119046 | 65 | 60.98 | 6606 | 9 | 8232218.4 | 1997.52 | 1997.52 | 15628206.72 | 4628.4 | 4628.4 | 15888517.68 | 97.44 | 97.44 | 18973224.48 | 1412.88 | 1412.88 | 19266616.32 | 7356.72 | 7356.72 | 17752788.48 | 5505.36 | 5505.36 | 14929269.6 | 4092.48 | 4092.48 | 14464529.52 | 4530.96 | 4530.96 | 11281846.8 | 3166.8 | 3166.8 | 17894514.96 | 5456.64 | 5456.64 | 78496200 | 0 | 0 | 81187800 | 0 | 0 | 75281300 | 36400 | 36400 | [10 empty] | 10460190 | 6370 | 69% | -10% | -10% | 64999 | 21 | 56064 | 19 | 18972 | 6 | 25933 | 10 | 28964 | 14 | 63661 | 32 | 270493 | 72 | 72 | 218844 | 110 | 110 | 363739 | 294 | 294 | 700573 | 173 | 9163 | 11 | 6216 | 6 | 32683 | 14 | 32841 | 14 | 22221 | 10 | 24259 | 6 | 7466 | 10 | 10040 | 6 | 3411 | 4 | 6742 | 8 | 30429 | 7 | 6697.1 | 11 | 11550.6 | 8.1 | 5023.8 | 6.2 | 5604.8 | 5.8 | 1145866 | 537 | 236125.3 | 129.1 | 12245600 | 2000 | 941770 | 230 | 7276600 | 1000 | 2507000 | 300 | 1297490 | 540 | 16711200 | 2600 | 42652 | 16 | 37244 | 12 | 7863 | 9 | 59765 | 14 | 50673 | 34
2023-01-12 | 95% | 232295 | 552 | 786 | 257214 | 418 | 450 | 12456 | 168 | 926636 | 185 | 245382 | 0 | 119109 | 63 | 66.22 | 6608 | 2 | 8234118.48 | 1900.08 | 1900.08 | 15632688.96 | 4482.24 | 4482.24 | 15888566.4 | 48.72 | 48.72 | 18979996.56 | 6772.08 | 6772.08 | 19268321.52 | 1705.2 | 1705.2 | 17758245.12 | 5456.64 | 5456.64 | 14933362.08 | 4092.48 | 4092.48 | 14468914.32 | 4384.8 | 4384.8 | 11284916.16 | 3069.36 | 3069.36 | 17899728 | 5213.04 | 5213.04 | 78496200 | 0 | 0 | 81213300 | 25500 | 25500 | 75290200 | 8900 | 8900 | [10 empty] | 10466650 | 6460 | 71% | -2% | -2% | 65016 | 17 | 56083 | 19 | 18979 | 7 | 25941 | 8 | 28978 | 14 | 63696 | 35 | 270568 | 75 | 75 | 218952 | 108 | 108 | 364019 | 280 | 280 | 700709 | 136 | 9171 | 8 | 6223 | 7 | 32698 | 15 | 32855 | 14 | 22234 | 13 | 24265 | 6 | 7477 | 11 | 10046 | 6 | 3415 | 4 | 6749 | 7 | 30431 | 2 | 6707.6 | 10.5 | 11557.9 | 7.3 | 5029.8 | 6 | 5610.7 | 5.9 | 1146398 | 532 | 236274.5 | 149.2 | 12247500 | 1900 | 941980 | 210 | 7277500 | 900 | 2507100 | 100 | 1298040 | 550 | 16712700 | 1500 | 42667 | 15 | 37255 | 11 | 7871 | 8 | 59780 | 15 | 50705 | 32
2023-01-13 | 91% | 232934 | 639 | 722 | 257719 | 505 | 474 | 12640 | 184 | 926874 | 238 | 245383 | 1 | 119170 | 61 | 68.95 | 6613 | 5 | 8236213.44 | 2094.96 | 2094.96 | 15637414.8 | 4725.84 | 4725.84 | 15888615.12 | 48.72 | 48.72 | 18981263.28 | 1266.72 | 1266.72 | 19275532.08 | 7210.56 | 7210.56 | 17763994.08 | 5748.96 | 5748.96 | 14937941.76 | 4579.68 | 4579.68 | 14473688.88 | 4774.56 | 4774.56 | 11288082.96 | 3166.8 | 3166.8 | 17905379.52 | 5651.52 | 5651.52 | 78496200 | 0 | 0 | 81213300 | 0 | 0 | 75323700 | 33500 | 33500 | [10 empty] | 10474240 | 7590 | 65% | 6% | 6% | 65036 | 20 | 56102 | 19 | 18984 | 5 | 25951 | 10 | 28994 | 16 | 63734 | 38 | 270651 | 83 | 83 | 219068 | 116 | 116 | 364318 | 299 | 299 | 700886 | 177 | 9180 | 9 | 6228 | 5 | 32715 | 17 | 32871 | 16 | 22245 | 11 | 24271 | 6 | 7490 | 13 | 10055 | 9 | 3420 | 5 | 6759 | 10 | 30438 | 7 | 6718.8 | 11.2 | 11564.9 | 7 | 5036.1 | 6.3 | 5617.8 | 7.1 | 1146964 | 566 | 236434.9 | 160.4 | 12249300 | 1800 | 942200 | 220 | 7278500 | 1000 | 2507300 | 200 | 1298630 | 590 | 16712900 | 200 | 42685 | 18 | 37269 | 14 | 7885 | 14 | 59795 | 15 | 50743 | 38
2023-01-14 | 84% | 233644 | 710 | 855 | 258240 | 521 | 502 | 12824 | 184 | 927080 | 206 | 245457 | 74 | 119240 | 70 | 73.71 | 6621 | 8 | 8238210.96 | 1997.52 | 1997.52 | 15641897.04 | 4482.24 | 4482.24 | 15888615.12 | 0 | 0 | 18988035.36 | 6772.08 | 6772.08 | 19276798.8 | 1266.72 | 1266.72 | 17769548.16 | 5554.08 | 5554.08 | 14942326.56 | 4384.8 | 4384.8 | 14478317.28 | 4628.4 | 4628.4 | 11290957.44 | 2874.48 | 2874.48 | 17910933.6 | 5554.08 | 5554.08 | 78496200 | 0 | 0 | 81245600 | 32300 | 32300 | 75325600 | 1900 | 1900 | [10 empty] | 10481810 | 7570 | 71% | -6% | -6% | 65053 | 17 | 56121 | 19 | 18989 | 5 | 25961 | 10 | 29010 | 16 | 63770 | 36 | 270729 | 78 | 78 | 219180 | 112 | 112 | 364604 | 286 | 286 | 701048 | 162 | 9189 | 9 | 6233 | 5 | 32731 | 16 | 32896 | 25 | 22256 | 11 | 24277 | 6 | 7503 | 13 | 10064 | 9 | 3425 | 5 | 6769 | 10 | 30438 | 0 | 6730 | 11.2 | 11571.9 | 7 | 5042.4 | 6.3 | 5624.5 | 6.7 | 1147579 | 615 | 236594 | 159.1 | 12251400 | 2100 | 942400 | 200 | 7279000 | 500 | 2507600 | 300 | 1299030 | 400 | 16713700 | 800 | 42701 | 16 | 37283 | 14 | 7897 | 12 | 59810 | 15 | 50780 | 37
2023-01-15 | 79% | 234294 | 650 | 809 | 258672 | 432 | 510 | 13009 | 185 | 927162 | 82 | 245541 | 84 | 119310 | 70 | 75.66 | 6627 | 6 | 8240159.76 | 1948.8 | 1948.8 | 15646281.84 | 4384.8 | 4384.8 | 15888615.12 | 0 | 0 | 18995099.76 | 7064.4 | 7064.4 | 19278065.52 | 1266.72 | 1266.72 | 17774907.36 | 5359.2 | 5359.2 | 14946419.04 | 4092.48 | 4092.48 | 14482848.24 | 4530.96 | 4530.96 | 11293685.76 | 2728.32 | 2728.32 | 17916438.96 | 5505.36 | 5505.36 | 78496200 | 0 | 0 | 81282300 | 36700 | 36700 | 75325600 | 0 | 0 | [10 empty] | 10488480 | 6670 | 65% | 6% | 6% | 65070 | 17 | 56140 | 19 | 18994 | 5 | 25969 | 8 | 29025 | 15 | 63806 | 36 | 270808 | 79 | 79 | 219283 | 103 | 103 | 364894 | 290 | 290 | 701212 | 164 | 9196 | 7 | 6239 | 6 | 32747 | 16 | 32901 | 5 | 22264 | 8 | 24280 | 3 | 7513 | 10 | 10074 | 10 | 3428 | 3 | 6777 | 8 | 30443 | 5 | 6740.5 | 10.5 | 11578.5 | 6.6 | 5048.1 | 5.7 | 5631.3 | 6.8 | 1148121 | 542 | 236737.8 | 143.8 | 12253500 | 2100 | 942600 | 200 | 7280600 | 1600 | 2507900 | 300 | 1299400 | 370 | 16714800 | 1100 | 42715 | 14 | 37294 | 11 | 7908 | 11 | 59823 | 13 | 50810 | 30
2023-01-16 | 82% | 234796 | 502 | 648 | 259094 | 422 | 434 | 13170 | 161 | 927388 | 226 | 245541 | 0 | 119377 | 67 | 73.97 | 6634 | 7 | 8242157.28 | 1997.52 | 1997.52 | 15650861.52 | 4579.68 | 4579.68 | 15888615.12 | 0 | 0 | 19002456.48 | 7356.72 | 7356.72 | 19279283.52 | 1218 | 1218 | 17780705.04 | 5797.68 | 5797.68 | 14950657.68 | 4238.64 | 4238.64 | 14487427.92 | 4579.68 | 4579.68 | 11296755.12 | 3069.36 | 3069.36 | 17921846.88 | 5407.92 | 5407.92 | 78496200 | 0 | 0 | 81319000 | 36700 | 36700 | 75325600 | 0 | 0 | [10 empty] | 10494920 | 6440 | 54% | 11% | 11% | 65087 | 17 | 56159 | 19 | 18999 | 5 | 25980 | 11 | 29040 | 15 | 63843 | 37 | 270885 | 77 | 77 | 219387 | 104 | 104 | 365177 | 283 | 283 | 701373 | 161 | 9200 | 4 | 6241 | 2 | 32760 | 13 | 32913 | 12 | 22274 | 10 | 24284 | 4 | 7521 | 8 | 10079 | 5 | 3436 | 8 | 6788 | 11 | 30450 | 7 | 6751.4 | 10.9 | 11584.9 | 6.4 | 5054.2 | 6.1 | 5637.1 | 5.8 | 1148648 | 527 | 236892.6 | 154.8 | 12255700 | 2200 | 942830 | 230 | 7281800 | 1200 | 2508000 | 100 | 1299810 | 410 | 16715700 | 900 | 42729 | 14 | 37306 | 12 | 7916 | 8 | 59835 | 12 | 50848 | 38
2023-01-17 | 78% | 235390 | 594 | 582 | 259500 | 406 | 444 | 13338 | 168 | 927606 | 218 | 245583 | 42 | 119453 | 76 | 84.3 | 6643 | 9 | 8244057.36 | 1900.08 | 1900.08 | 15655295.04 | 4433.52 | 4433.52 | 15888663.84 | 48.72 | 48.72 | 19010495.28 | 8038.8 | 8038.8 | 19280745.12 | 1461.6 | 1461.6 | 17785869.36 | 5164.32 | 5164.32 | 14954847.6 | 4189.92 | 4189.92 | 14492007.6 | 4579.68 | 4579.68 | 11300262.96 | 3507.84 | 3507.84 | 17927303.52 | 5456.64 | 5456.64 | 78496200 | 0 | 0 | 81361200 | 42200 | 42200 | 75325600 | 0 | 0 | [10 empty] | 10501470 | 6550 | 60% | -6% | -6% | 65106 | 19 | 56179 | 20 | 18999 | 0 | 25991 | 11 | 29056 | 16 | 63880 | 37 | 270965 | 80 | 80 | 219490 | 103 | 103 | 365476 | 299 | 299 | 701538 | 165 | 9205 | 5 | 6245 | 4 | 32773 | 13 | 32925 | 12 | 22284 | 10 | 24288 | 4 | 7532 | 11 | 10084 | 5 | 3440 | 4 | 6795 | 7 | 30454 | 4 | 6761.7 | 10.3 | 11591.9 | 7 | 5060.2 | 6 | 5643.1 | 6 | 1149201 | 553 | 237045.7 | 153.1 | 12258900 | 3200 | 943070 | 240 | 7283200 | 1400 | 2508300 | 300 | 1300270 | 460 | 16716900 | 1200 | 42744 | 15 | 37316 | 10 | 7925 | 9 | 59847 | 12 | 50877 | 29
2023-01-18 | 81% | 235957 | 567 | 556 | 259913 | 413 | 400 | 13516 | 178 | 927783 | 177 | 245635 | 52 | 119519 | 66 | 93.34 | 6650 | 7 | 8245957.44 | 1900.08 | 1900.08 | 15659777.28 | 4482.24 | 4482.24 | 15888712.56 | 48.72 | 48.72 | 19017657.12 | 7161.84 | 7161.84 | 19282060.56 | 1315.44 | 1315.44 | 17791179.84 | 5310.48 | 5310.48 | 14958891.36 | 4043.76 | 4043.76 | 14496246.24 | 4238.64 | 4238.64 | 11303332.32 | 3069.36 | 3069.36 | 17932662.72 | 5359.2 | 5359.2 | 78496200 | 0 | 0 | 81399200 | 38000 | 38000 | 75325600 | 0 | 0 | [10 empty] | 10507810 | 6340 | 50% | 10% | 10% | 65122 | 16 | 56198 | 19 | 18999 | 0 | 26000 | 9 | 29071 | 15 | 63918 | 38 | 271040 | 75 | 75 | 219592 | 102 | 102 | 365781 | 305 | 305 | 701696 | 158 | 9217 | 12 | 6252 | 7 | 32787 | 14 | 32936 | 11 | 22292 | 8 | 24292 | 4 | 7543 | 11 | 10089 | 5 | 3443 | 3 | 6801 | 6 | 30458 | 4 | 6772.4 | 10.7 | 11599.1 | 7.2 | 5065.8 | 5.6 | 5649.3 | 6.2 | 1149728 | 527 | 237163.6 | 117.9 | 12261800 | 2900 | 943320 | 250 | 7284600 | 1400 | 2508500 | 200 | 1300740 | 470 | 16719000 | 2100 | 42760 | 16 | 37327 | 11 | 7933 | 8 | 59860 | 13 | 50909 | 32
2023-01-19 | 0% | 0 | -235957 | 454 | 0 | -259913 | 355 | 0 | -13516 | 0 | -927783 | 0 | -245635 | 0 | -119519 | 75.05 | 0 | -6650 | 0 | -8245957.44 | -8245957.44 | 0 | -15659777.28 | -15659777.28 | 0 | -15888712.56 | -15888712.56 | 0 | -19017657.12 | -19017657.12 | 0 | -19282060.56 | -19282060.56 | 0 | -17791179.84 | -17791179.84 | 0 | -14958891.36 | -14958891.36 | 0 | -14496246.24 | -14496246.24 | 0 | -11303332.32 | -11303332.32 | 0 | -17932662.72 | -17932662.72 | 0 | -78496200 | -78496200 | 0 | -81399200 | -81399200 | 0 | -75325600 | -75325600 | [10 empty] | 0 | -10507810 | 0% | 50% | 50% | 0 | -65122 | 0 | -56198 | 0 | -18999 | 0 | -26000 | 0 | -29071 | 0 | -63918 | 0 | -271040 | -271040 | 0 | -219592 | -219592 | 0 | -365781 | -365781 | 0 | -701696 | 0 | -9217 | 0 | -6252 | 0 | -32787 | 0 | -32936 | 0 | -22292 | 0 | -24292 | 0 | -7543 | 0 | -10089 | 0 | -3443 | 0 | -6801 | 0 | -30458 | 0 | -6772.4 | 0 | -11599.1 | 0 | -5065.8 | 0 | -5649.3 | 0 | -1149728 | 0 | -237163.6 | 0 | -12261800 | 0 | -943320 | 0 | -7284600 | 0 | -2508500 | 0 | -1300740 | 0 | -16719000 | 0 | -42760 | 0 | -37327 | 0 | -7933 | 0 | -59860 | 0 | -50909
2023-01-20 | 0% | 0 | 0 | 496 | 0 | 0 | 371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-21 | 0% | 0 | 0 | 525 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-22 | 0% | 0 | 0 | 687 | 0 | 0 | 470 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-23 | 0% | 0 | 0 | 443 | 0 | 0 | 318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-24 | 0% | 0 | 0 | 662 | 0 | 0 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-25 | 0% | 0 | 0 | 482 | 0 | 0 | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-26 | 0% | 0 | 0 | 676 | 0 | 0 | 367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-27 | 0% | 0 | 0 | 493 | 0 | 0 | 389 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-28 | 0% | 0 | 0 | 534 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-29 | 0% | 0 | 0 | 565 | 0 | 0 | 429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-30 | 0% | 0 | 0 | 511 | 0 | 0 | 394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-31 | 0% | 0 | 0 | 499 | 0 | 0 | 367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2023 | [18 empty] | Electricity Daily Consumption January 2023 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2023 | [18 empty] | Cold water Heat Exchanger 2023 |  | Lpg Daily Consumption January 2023 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2023 two weeks |  | 11358 |  |  | 7513.53 | [8 empty] | 1032.98 |  |  |  |  | 35614.32 |  |  | 67720.8 |  |  | 51594.48 |  |  | 28014 |  |  | 50376.48 |  |  | 81411.12 |  |  | 62410.32 |  |  | 68305.44 |  |  | 43555.68 |  |  | 83847.12 |  |  | 266400 |  |  | 94500 |  |  | 232800 | [29 empty] | 1111 |  |  | 1730 |  |  | 4021
January Reading 2023 two weeks |  | 9068 |  |  | 6983 | [8 empty] | 1117 |  |  |  |  | 35614.32 |  |  | 67720.8 |  |  | 51594.48 |  |  | 28014 |  |  | 50376.48 |  |  | 81411.12 |  |  | 62410.32 |  |  | 68305.44 |  |  | 43555.68 |  |  | 83847.12 |  |  | 266400 |  |  | 94500 |  |  | 232800 | [29 empty] | 1111 |  |  | 1730 |  |  | 4021 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2022 Monthly |  | 19672 |  |  | 13437.53 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2041.27 |  |  | 476 |  | -8204545.44 |  |  | -15578561.04 |  |  | -15837020.64 |  |  | -18967085.76 |  |  | -19227689.04 |  |  | -17693496.24 |  |  | -14884008.72 |  |  | -14414542.8 |  |  | -11250130.08 |  |  | -17832591.84 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -269697 |  |  | -217553 |  |  | -360873 |  |  | 3894 | [14 empty] | 487.2
January Reading 2023 Monthly |  | -225912 |  |  | -251689 |  |  | -10390 |  | -924513 |  |  |  | -118193 |  |  | -6524 |  | -8204545.44 |  |  | -15578561.04 |  |  | -15837020.64 |  |  | -18967085.76 |  |  | -19227689.04 |  |  | -17693496.24 |  |  | -14884008.72 |  |  | -14414542.8 |  |  | -11250130.08 |  |  | -17832591.84 |  |  | -78229800 |  |  | -81187800 |  |  | -75092800 | [12 empty] | -10384850 |  |  |  |  | -64774 |  | -55850 |  | -18895 |  | -25836 |  | -28807 |  | -63265 |  | -269697 |  |  | -217553 |  |  | -360873 |  |  | -698665
Difference |  | 245584 |  |  | 265126.53 |  |  | 17438.9 |  | 932215.2 |  |  |  | 120234.27 |  |  | 7000 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -78577100 |  |  | -81548900 |  |  | -75651642 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 702559
Total Monthly Electrical Kwh | [18 empty] | January 2022 Kwh | [5 empty] | -153889671.6 | [5 empty] | January 2023 Kwh | [5 empty] | -153889671.6 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2022-01-16 |  |  | 2023-01-16 |  |  | Difference
[19 empty] | January 2022 Kwh two weeks | [5 empty] | 572849.76 | [5 empty] | January 2023 Kwh two weeks | [5 empty] | 572849.76 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -234510400 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]January - 2023'!AE40
Daily Consumption Kwh 2023 = '[1]January - 2023'!AF40
Daily Consumption Kwh 2023 = '[1]January - 2023'!AI40
Daily Consumption Kwh 2022 = '[1]January - 2023'!AF40
Daily Consumption Kwh 2022 = '[1]January - 2023'!AI40
EMDB-2 Elevators = '[1]January - 2023'!AH40
MDB-1 Chiller # 1 = '[1]January - 2023'!AK40
MDB-2 Chiller # 2 = '[1]January - 2023'!AN40
MDB-3 Chiller # 3 = '[1]January - 2023'!AQ40
MDB-4 North Riser Guest Rooms = '[1]January - 2023'!AT40
MDB-5 North Riser Guest Rooms = '[1]January - 2023'!AW40
MDB-6 Main Kitchen = '[1]January - 2023'!AZ40
MDB-7 South Riser Guest Rooms = '[1]January - 2023'!BC40
MDB-8 F & B = '[1]January - 2023'!BF40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill