## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 2 | 2023 | 36734.88 | 0.44448 | 899.64 | 3.1154 | 498 | 13.83 | 232 | 1.2 | 165.9 | 311
Dubai at Jumeirah Beach | 2 | 2 | 2023 | 34737.36 | 0.44448 | 814.59 | 3.1154 | 587 | 13.83 | 225 | 1.2 | 165.9 | 322
Dubai at Jumeirah Beach | 3 | 2 | 2023 | 38050.32 | 0.44448 | 791.91 | 3.1154 | 577 | 13.83 | 221 | 1.2 | 170.64 | 302
Dubai at Jumeirah Beach | 4 | 2 | 2023 | 37416.96 | 0.44448 | 871.29 | 3.1154 | 620 | 13.83 | 208 | 1.2 | 180.12 | 312
Dubai at Jumeirah Beach | 5 | 2 | 2023 | 38196.48 | 0.44448 | 875.07 | 3.1154 | 533 | 13.83 | 225 | 1.2 | 163.53 | 286
Dubai at Jumeirah Beach | 6 | 2 | 2023 | 37709.28 | 0.44448 | 782.46 | 3.1154 | 518 | 13.83 | 183 | 1.2 | 170.64 | 290
Dubai at Jumeirah Beach | 7 | 2 | 2023 | 38829.84 | 0.44448 | 740.88 | 3.1154 | 588 | 13.83 | 201 | 1.2 | 137.46 | 241
Dubai at Jumeirah Beach | 8 | 2 | 2023 | 38391.36 | 0.44448 | 852.39 | 3.1154 | 629 | 13.83 | 198 | 1.2 | 161.16 | 268
Dubai at Jumeirah Beach | 9 | 2 | 2023 | 37124.64 | 0.44448 | 916.65 | 3.1154 | 610 | 13.83 | 195 | 1.2 | 165.9 | 300
Dubai at Jumeirah Beach | 10 | 2 | 2023 | 37416.96 | 0.44448 | 939.33 | 3.1154 | 678 | 13.83 | 207 | 1.2 | 158.79 | 308
Dubai at Jumeirah Beach | 11 | 2 | 2023 | 38050.32 | 0.44448 | 903.42 | 3.1154 | 584 | 13.83 | 378 | 1.2 | 215.67 | 399
Dubai at Jumeirah Beach | 12 | 2 | 2023 | 38976 | 0.44448 | 922.32 | 3.1154 | 576 | 13.83 | 269 | 1.2 | 215.67 | 391
Dubai at Jumeirah Beach | 13 | 2 | 2023 | 37904.16 | 0.44448 | 801.36 | 3.1154 | 529 | 13.83 | 253 | 1.2 | 210.93 | 377
Dubai at Jumeirah Beach | 14 | 2 | 2023 | 39560.64 | 0.44448 | 842.94 | 3.1154 | 614 | 13.83 | 285 | 1.2 | 208.56 | 384
Dubai at Jumeirah Beach | 15 | 2 | 2023 | 40729.92 | 0.44448 | 863.73 | 3.1154 | 590 | 13.83 | 252 | 1.2 | 191.97 | 333
Dubai at Jumeirah Beach | 16 | 2 | 2023 | 38147.76 | 0.44448 | 778.68 | 3.1154 | 571 | 13.83 | 336 | 1.2 | 187.23 | 339
Dubai at Jumeirah Beach | 17 | 2 | 2023 | 39804.24 | 0.44448 | 735.21 | 3.1154 | 609 | 13.83 | 195 | 1.2 | 203.82 | 370
Dubai at Jumeirah Beach | 18 | 2 | 2023 | 38440.08 | 0.44448 | 850.5 | 3.1154 | 625 | 13.83 | 230 | 1.2 | 187.23 | 385
Dubai at Jumeirah Beach | 19 | 2 | 2023 | 37758 | 0.44448 | 897.75 | 3.1154 | 595 | 13.83 | 210 | 1.2 | 201.45 | 393
Dubai at Jumeirah Beach | 20 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 413
Dubai at Jumeirah Beach | 21 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 2 | 2023 | 165.9 | 311 | 498 | 390 | 249 | 0 | 67 | 11 | 1997.52 | 4579.68 | 0 | 1364.16 | 7405.44 | 4482.24 | 3751.44 | 4530.96 | 2923.2 | 5700.24 | 0 | 0 | 35200 | 149.31 | 228.69 | 521.64 | 183 | 32.13 | 37.8 | 15.12 | 18.9 | 26.46 | 66.15 | 8 | 10 | 12 | 14 | 4 | 9 | 8 | 8 | 6 | 4 | 4 | 11.2 |  | 5.8 | 6.3 | 484 | 153.8 | 2700 | 220 | 1600 | 800 | 200 | 540 | 30.24 | 20.79 | 28.35 | 15.12 | 51.03 | 232
Dubai at Jumeirah Beach | 2 | 2 | 2023 | 165.9 | 322 | 587 | 461 | 0 | 0 | 67 | 6 | 1802.64 | 4189.92 | 828.24 | 633.36 | 7454.16 | 4238.64 | 3654 | 3995.04 | 2582.16 | 5359.2 | 0 | 0 | 39700 | 132.3 | 219.24 | 463.05 | 164 | 22.68 | 32.13 | 11.34 | 13.23 | 26.46 | 64.26 | 7 | 9 | 16 | 14 | 5 | 8 | 7 | 11 | 6 | 5 | 6 | 11 |  | 5.8 | 6.1 | 532 | 148.2 | 3200 | 240 | 2900 | 900 | 300 | 670 | 26.46 | 20.79 | 30.24 | 17.01 | 49.14 | 225
Dubai at Jumeirah Beach | 3 | 2 | 2023 | 170.64 | 302 | 577 | 430 | 272 | 0 | 81 | 7 | 1948.8 | 4725.84 | 8087.52 | 194.88 | 1948.8 | 4823.28 | 3702.72 | 4238.64 | 2679.6 | 5700.24 | 34300 | 0 | 10400 | 141.75 | 226.8 | 423.36 | 174 | 32.13 | 39.69 | 13.23 | 17.01 | 24.57 | 68.04 | 5 | 9 | 15 | 15 | 5 | 8 | 11 | 12 | 9 | 6 | 6 | 11.3 |  | 6 | 7.6 | 579 | 154.7 | 3600 | 280 | 4900 | 1100 | 500 | 690 | 30.24 | 20.79 | 28.35 | 24.57 | 66.15 | 221
Dubai at Jumeirah Beach | 4 | 2 | 2023 | 180.12 | 312 | 620 | 457 | 260 | 14 | 70 | 5 | 1948.8 | 4677.12 | 0 | 8087.52 | 535.92 | 5115.6 | 3800.16 | 4530.96 | 2971.92 | 5748.96 | 0 | 32600 | 3000 | 137.97 | 238.14 | 495.18 | 172 | 28.35 | 37.8 | 13.23 | 18.9 | 30.24 | 68.04 | 5 | 7 | 15 | 15 | 5 | 8 | 11 | 12 | 9 | 6 | 0 | 11.8 |  | 6.1 | 7.9 | 602 | 155.7 | 2600 | 220 | 700 | 800 | 400 | 620 | 32.13 | 22.68 | 26.46 | 22.68 | 71.82 | 208
Dubai at Jumeirah Beach | 5 | 2 | 2023 | 163.53 | 286 | 533 | 425 | 120 | 16 | 71 | 10 | 1997.52 | 4774.56 | 1023.12 | 7551.6 | 48.72 | 6138.72 | 3702.72 | 4287.36 | 3069.36 | 5602.8 | 4300 | 33100 | 0 | 141.75 | 236.25 | 497.07 | 174 | 30.24 | 41.58 | 11.34 | 17.01 | 28.35 | 64.26 | 4 | 7 | 16 | 16 | 4 | 9 | 9 | 12 | 7 | 3 | 4 | 10.8 |  | 5.8 | 7.5 | 530 | 150.7 | 2600 | 250 | 1200 | 800 | 500 | 640 | 32.13 | 18.9 | 22.68 | 18.9 | 58.59 | 225
Dubai at Jumeirah Beach | 6 | 2 | 2023 | 170.64 | 290 | 518 | 385 | 224 | 5 | 68 | 7 | 1948.8 | 4628.4 | 6333.6 | 1218 | 1218 | 5554.08 | 3654 | 4530.96 | 3118.08 | 5505.36 | 34600 | 0 | 4000 | 139.86 | 226.8 | 415.8 | 173 | 32.13 | 39.69 | 11.34 | 17.01 | 30.24 | 64.26 | 2 | 4 | 12 | 14 | 5 | 7 | 9 | 7 | 4 | 6 | 7 | 10.9 |  | 5.7 | 6.3 | 537 | 152.4 | 2700 | 250 | 1200 | 900 | 400 | 690 | 28.35 | 20.79 | 24.57 | 17.01 | 54.81 | 183
Dubai at Jumeirah Beach | 7 | 2 | 2023 | 137.46 | 241 | 588 | 381 | 152 | 16 | 89 | 7 | 1948.8 | 4677.12 | 48.72 | 1851.36 | 7795.2 | 5554.08 | 3995.04 | 4189.92 | 3264.24 | 5505.36 | 0 | 4300 | 39800 | 143.64 | 213.57 | 383.67 | 177 | 28.35 | 35.91 | 9.45 | 17.01 | 28.35 | 62.37 | 3 | 5 | 14 | 3 | 4 | 7 | 10 | 7 | 4 | 6 | 0 | 10 |  | 5.9 | 6.6 | 520 | 151.8 | 3000 | 250 | 2000 | 1000 | 400 | 670 | 30.24 | 18.9 | 22.68 | 17.01 | 60.48 | 201
Dubai at Jumeirah Beach | 8 | 2 | 2023 | 161.16 | 268 | 629 | 404 | 220 | 73 | 85 | 6 | 1997.52 | 4530.96 | 0 | 8282.4 | 1656.48 | 5700.24 | 3848.88 | 4092.48 | 2728.32 | 5554.08 | 0 | 42200 | 4200 | 141.75 | 223.02 | 487.62 | 175 | 32.13 | 37.8 | 17.01 | 17.01 | 28.35 | 68.04 | 7 | 13 | 13 | 4 | 4 | 8 | 9 | 9 | 5 | 5 | 6 | 11.3 |  | 5.8 | 6.5 | 511 | 152.3 | 3200 | 260 | 3000 | 1000 | 300 | 680 | 28.35 | 20.79 | 32.13 | 15.12 | 51.03 | 198
Dubai at Jumeirah Beach | 9 | 2 | 2023 | 165.9 | 300 | 610 | 416 | 264 | 90 | 67 | 4 | 1997.52 | 4725.84 | 1023.12 | 1120.56 | 6382.32 | 5554.08 | 3654 | 4336.08 | 2825.76 | 5505.36 | 4000 | 0 | 31700 | 147.42 | 226.8 | 542.43 | 187 | 28.35 | 37.8 | 13.23 | 17.01 | 26.46 | 68.04 | 6 | 10 | 12 | 34 | 4 | 7 | 6 | 10 | 8 | 4 | 7 | 10.7 |  | 5.8 | 6.2 | 502 | 150.4 | 2200 | 240 | 2000 | 700 | 300 | 630 | 28.35 | 20.79 | 26.46 | 17.01 | 54.81 | 195
Dubai at Jumeirah Beach | 10 | 2 | 2023 | 158.79 | 308 | 678 | 481 | 271 | 88 | 58 | 6 | 2046.24 | 4677.12 | 5992.56 | 2046.24 | 0 | 5554.08 | 3946.32 | 4433.52 | 3069.36 | 5651.52 | 30500 | 3800 | 0 | 149.31 | 234.36 | 555.66 | 189 | 28.35 | 35.91 | 13.23 | 17.01 | 26.46 | 66.15 | 9 | 12 | 18 | 17 | 5 | 9 | 8 | 13 | 10 | 4 | 6 | 11.4 |  | 6 | 7.4 | 553 | 157.9 | 2400 | 250 | 1300 | 800 | 200 | 680 | 26.46 | 22.68 | 32.13 | 24.57 | 66.15 | 207
Dubai at Jumeirah Beach | 11 | 2 | 2023 | 215.67 | 399 | 584 | 460 | 266 | 80 | 62 | 3 | 2046.24 | 4725.84 | 97.44 | 6674.64 | 1997.52 | 5456.64 | 3751.44 | 4482.24 | 3166.8 | 5651.52 | 0 | 33700 | 3900 | 145.53 | 224.91 | 532.98 | 185 | 35.91 | 43.47 | 9.45 | 17.01 | 32.13 | 73.71 | 5 | 11 | 14 | 14 | 3 | 8 | 11 | 11 | 9 | 4 | 1 | 11.2 |  | 5.9 | 7.7 | 580 | 152 | 2500 | 240 | 1400 | 800 | 300 | 620 | 28.35 | 18.9 | 30.24 | 26.46 | 64.26 | 378
Dubai at Jumeirah Beach | 12 | 2 | 2023 | 215.67 | 391 | 576 | 462 | 132 | 13 | 78 | 3 | 1997.52 | 4628.4 | 1023.12 | 48.72 | 8331.12 | 5748.96 | 3848.88 | 4482.24 | 3312.96 | 5554.08 | 4000 | 0 | 36600 | 149.31 | 230.58 | 542.43 | 189 | 32.13 | 39.69 | 15.12 | 18.9 | 28.35 | 66.15 | 3 | 6 | 15 | 16 | 6 | 10 | 8 | 12 | 9 | 4 | 0 | 3.8 |  | 5.9 | 6.9 | 586 | 152.3 | 3000 | 260 | 1800 | 900 | 200 | 710 | 28.35 | 22.68 | 24.57 | 20.79 | 58.59 | 269
Dubai at Jumeirah Beach | 13 | 2 | 2023 | 210.93 | 377 | 529 | 406 | 127 | 0 | 83 | 10 | 1997.52 | 4677.12 | 7161.84 | 925.68 | 1266.72 | 5797.68 | 3556.56 | 4384.8 | 2923.2 | 5213.04 | 39000 | 4100 | 0 | 145.53 | 213.57 | 442.26 | 183 | 30.24 | 37.8 | 13.23 | 18.9 | 28.35 | 66.15 | 2 | 4 | 14 | 13 | 5 | 9 | 6 | 9 | 7 | 4 | 6 | 17.5 |  | 6 | 5.7 | 565 | 152.1 | 2600 | 220 | 1600 | 900 | 400 | 660 | 28.35 | 22.68 | 22.68 | 17.01 | 62.37 | 253
Dubai at Jumeirah Beach | 14 | 2 | 2023 | 208.56 | 384 | 614 | 460 | 266 | 0 | 93 | 12 | 2143.68 | 4677.12 | 146.16 | 7502.88 | 2192.4 | 5895.12 | 3897.6 | 4677.12 | 2874.48 | 5554.08 | 0 | 40700 | 4800 | 166.32 | 226.8 | 449.82 | 187 | 35.91 | 35.91 | 13.23 | 18.9 | 32.13 | 69.93 | 4 | 9 | 16 | 15 | 5 | 9 | 8 | 11 | 9 | 5 | 6 | 10.8 |  | 6 | 6.4 | 600 | 154.3 | 3100 | 250 | 2700 | 900 | 400 | 660 | 28.35 | 24.57 | 28.35 | 18.9 | 62.37 | 285
Dubai at Jumeirah Beach | 15 | 2 | 2023 | 191.97 | 333 | 590 | 450 | 271 | 0 | 96 | 7 | 2679.6 | 4725.84 | 1412.88 | 48.72 | 8331.12 | 5895.12 | 4336.08 | 4628.4 | 2971.92 | 5700.24 | 4600 | 0 | 42100 | 153.09 | 211.68 | 498.96 | 187 | 28.35 | 39.69 | 11.34 | 18.9 | 26.46 | 69.93 | 10 | 10 | 13 | 15 | 4 | 9 | 7 | 11 | 8 | 3 | 0 | 11 |  | 6.2 | 6.5 | 591 | 156.5 | 3100 | 250 | 4200 | 1100 | 400 | 670 | 30.24 | 24.57 | 30.24 | 15.12 | 62.37 | 252
Dubai at Jumeirah Beach | 16 | 2 | 2023 | 187.23 | 339 | 571 | 428 | 273 | 0 | 88 | 4 | 2387.28 | 4482.24 | 7356.72 | 1218 | 633.36 | 5359.2 | 3897.6 | 4433.52 | 2825.76 | 5554.08 | 42600 | 4800 | 0 | 149.31 | 202.23 | 427.14 | 181 | 26.46 | 39.69 | 15.12 | 17.01 | 24.57 | 68.04 | 4 | 7 | 15 | 15 | 5 | 9 | 4 | 10 | 8 | 5 | 13 | 11.2 |  | 6 | 6.9 | 544 | 148 | 3000 | 220 | 4300 | 1000 | 500 | 630 | 28.35 | 22.68 | 26.46 | 17.01 | 58.59 | 336
Dubai at Jumeirah Beach | 17 | 2 | 2023 | 203.82 | 370 | 609 | 469 | 272 | 0 | 105 | 8 | 2289.84 | 4579.68 | 1071.84 | 7990.08 | 828.24 | 5505.36 | 4287.36 | 4433.52 | 3069.36 | 5748.96 | 4700 | 47100 | 0 | 151.2 | 202.23 | 381.78 | 186 | 34.02 | 37.8 | 13.23 | 15.12 | 26.46 | 60.48 | 7 | 10 | 15 | 18 | 6 | 11 | 9 | 12 | 8 | 4 | 4 | 12.2 |  | 6.1 | 7.3 | 605 | 150.3 | 3300 | 270 | 4300 | 1000 | 500 | 680 | 28.35 | 24.57 | 28.35 | 22.68 | 60.48 | 195
Dubai at Jumeirah Beach | 18 | 2 | 2023 | 187.23 | 385 | 625 | 477 | 210 | 0 | 80 | 10 | 2533.44 | 4336.08 | 7795.2 | 1023.12 | 48.72 | 5359.2 | 3995.04 | 4530.96 | 3069.36 | 5748.96 | 40400 | 4800 | 0 | 153.09 | 224.91 | 472.5 | 187 | 32.13 | 34.02 | 15.12 | 15.12 | 30.24 | 71.82 | 7 | 9 | 15 | 4 | 4 | 11 | 10 | 14 | 10 | 4 | 3 | 10.4 |  | 6.3 | 7.6 | 615 | 152.2 | 3100 | 280 | 4100 | 900 | 500 | 690 | 24.57 | 26.46 | 30.24 | 24.57 | 68.04 | 230
Dubai at Jumeirah Beach | 19 | 2 | 2023 | 201.45 | 393 | 595 | 478 | 247 | 0 | 69 | 7 | 2971.92 | 4530.96 | 292.32 | 6382.32 | 974.4 | 5261.76 | 3995.04 | 4482.24 | 3166.8 | 5700.24 | 0 | 33800 | 4400 | 149.31 | 219.24 | 529.2 | 184 | 32.13 | 35.91 | 15.12 | 20.79 | 24.57 | 73.71 | 3 | 6 | 17 | 28 | 5 | 11 | 7 | 13 | 10 | 5 | 4 | 11 |  | 6.1 | 7.7 | 612 | 152.4 | 2600 | 260 | 1500 | 800 | 500 | 640 | 30.24 | 24.57 | 26.46 | 18.9 | 58.59 | 210
Dubai at Jumeirah Beach | 20 | 2 | 2023 |  | 413
Dubai at Jumeirah Beach | 21 | 2 | 2023
Dubai at Jumeirah Beach | 22 | 2 | 2023
Dubai at Jumeirah Beach | 23 | 2 | 2023
Dubai at Jumeirah Beach | 24 | 2 | 2023
Dubai at Jumeirah Beach | 25 | 2 | 2023
Dubai at Jumeirah Beach | 26 | 2 | 2023
Dubai at Jumeirah Beach | 27 | 2 | 2023
Dubai at Jumeirah Beach | 28 | 2 | 2023

## DJB Daily Readings
Daily Water Consumption February 2023 | [18 empty] | Electricity Daily Consumption February 2020 | [29 empty] | Chiller BTU Meter Reading February 2023 | [20 empty] | Lpg Daily Consumption February 2023 | [25 empty] | F& B Village Daily Water Meter Reading 2023 | [21 empty] | F & B Electrical Daily Reading February 2023 | [11 empty] | F & B Village Chilled Water Reading February 2023 | [11 empty] | F & B Village Daily Lpg Reading February 2023
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2023 | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2023-01-31 | 77% | 243018 | 498 | 500 | 265351 | 390 | 114355 | 15530 | 232 | 929662 | 249 | 245870 | 0 | 120277 | 67 | 0 | 6721 | 11 | 8278599.84 | 1997.52 | 2971.92 | 15718143.84 | 4579.68 | 4482.24 | 15913657.2 | 0 | 0 | 19053368.88 | 1364.16 | 194.88 | 19316895.36 | 7405.44 | 8087.52 | 17853785.04 | 4482.24 | 5066.88 | 15009949.92 | 3751.44 | 3702.72 | 14552176.8 | 4530.96 | 3848.88 | 11342357.04 | 2923.2 | 2825.76 | 18002722.08 | 5700.24 | 4969.44 | 78617600 | 0 | 0 | 81547000 | 0 | 0 | 75469900 | 35200 | 41400 | [10 empty] | 10588930 | 5910 | 78% | 7% | 8% | 65338 | 17 | 56457 | 20 | 19060 | 8 | 26116 | 10 | 29262 | 14 | 64366 | 35 | 272050 | 79 | 109 | 221087 | 121 | 237 | 369542 | 276 | 237 | 703819 | 183 | 9310 | 10 | 6304 | 8 | 32983 | 14 | 33127 | 12 | 22410 | 9 | 24352 | 4 | 7683 | 8 | 10195 | 8 | 3511 | 4 | 6890 | 6 | 30498 | 4 | 6915.1 | 11.2 | 11694.4 | 8.3 | 5142.5 | 5.8 | 5734.6 | 6.3 | 1156684 | 484 | 239167.3 | 153.8 | 12286600 | 2700 | 946040 | 220 | 7295900 | 800 | 2510900 | 200 | 1306940 | 540 | 16731000 | 1600 | 42965 | 16 | 37471 | 11 | 8068 | 8 | 60035 | 15 | 51390 | 27
2023-02-01 | 70% | 243516 |  |  | 265741 |  |  | 15762 |  | 929911 |  | 245870 |  | 120344 |  |  | 6732 |  | 8280597.36 |  |  | 15722723.52 |  |  | 15913657.2 |  |  | 19054733.04 |  |  | 19324300.8 |  |  | 17858267.28 |  |  | 15013701.36 |  |  | 14556707.76 |  |  | 11345280.24 |  |  | 18008422.32 |  |  | 78617600 |  |  | 81547000 |  |  | 75505100 | [12 empty] | 10594840 |  | 85% |  |  | 65355 |  | 56477 |  | 19068 |  | 26126 |  | 29276 |  | 64401 |  | 272129 |  |  | 221208 |  |  | 369818 |  |  | 704002 |  | 9320 |  | 6312 |  | 32997 |  | 33139 |  | 22419 |  | 24356 |  | 7691 |  | 10203 |  | 3515 |  | 6896 |  | 30502 |  | 6926.3 |  | 11702.7 |  | 5148.3 |  | 5740.9 |  | 1157168 |  | 239321.1 |  | 12289300 |  | 946260 |  | 7296700 |  | 2511100 |  | 1307480 |  | 16732600 |  | 42981 |  | 37482 |  | 8076 |  | 60050 |  | 51417
2023-02-02 | 76% | 244103 | 577 | 525 | 266202 | 430 | 114743 | 15987 | 225 | 930183 | 272 | 245870 | 0 | 120411 | 67 | 221 | 6738 | 6 | 8282400 | 1802.64 | 3215.52 | 15726913.44 | 4189.92 | 4872 | 15914485.44 | 828.24 | 0 | 19055366.4 | 633.36 | 146.16 | 19331754.96 | 7454.16 | 7697.76 | 17862505.92 | 4238.64 | 5505.36 | 15017355.36 | 3654 | 4189.92 | 14560702.8 | 3995.04 | 4141.2 | 11347862.4 | 2582.16 | 3264.24 | 18013781.52 | 5359.2 | 5066.88 | 78617600 | 0 | 0 | 81547000 | 0 | 0 | 75544800 | 39700 | 37000 | [10 empty] | 10601540 | 6700 | 76% | 9% | 10% | 65367 | 12 | 56494 | 17 | 19074 | 6 | 26133 | 7 | 29290 | 14 | 64435 | 34 | 272199 | 70 | 107 | 221324 | 116 | 312 | 370063 | 245 | 312 | 704166 | 164 | 9329 | 9 | 6319 | 7 | 33011 | 14 | 33155 | 16 | 22427 | 8 | 24361 | 5 | 7702 | 11 | 10210 | 7 | 3520 | 5 | 6902 | 6 | 30508 | 6 | 6937.3 | 11 | 11710.8 | 8.1 | 5154.1 | 5.8 | 5747 | 6.1 | 1157700 | 532 | 239469.3 | 148.2 | 12292500 | 3200 | 946500 | 240 | 7297600 | 900 | 2511400 | 300 | 1308150 | 670 | 16735500 | 2900 | 42995 | 14 | 37493 | 11 | 8085 | 9 | 60066 | 16 | 51443 | 26
2023-02-03 | 72% | 244680 | 620 | 493 | 266632 | 457 | 115117 | 16208 | 221 | 930443 | 260 | 245884 | 14 | 120492 | 81 | 184 | 6745 | 7 | 8284348.8 | 1948.8 | 3361.68 | 15731639.28 | 4725.84 | 4725.84 | 15922572.96 | 8087.52 | 0 | 19055561.28 | 194.88 | 146.16 | 19333703.76 | 1948.8 | 7600.32 | 17867329.2 | 4823.28 | 5554.08 | 15021058.08 | 3702.72 | 3995.04 | 14564941.44 | 4238.64 | 4189.92 | 11350542 | 2679.6 | 3020.64 | 18019481.76 | 5700.24 | 5456.64 | 78651900 | 34300 | 0 | 81547000 | 0 | 0 | 75555200 | 10400 | 36400 | [10 empty] | 10607680 | 6140 | 66% | 10% | -13% | 65384 | 17 | 56515 | 21 | 19081 | 7 | 26142 | 9 | 29303 | 13 | 64471 | 36 | 272274 | 75 | 108 | 221444 | 120 | 301 | 370287 | 224 | 301 | 704340 | 174 | 9338 | 9 | 6324 | 5 | 33026 | 15 | 33170 | 15 | 22435 | 8 | 24366 | 5 | 7714 | 12 | 10221 | 11 | 3526 | 6 | 6911 | 9 | 30514 | 6 | 6948.6 | 11.3 | 11719.4 | 8.6 | 5160.1 | 6 | 5754.6 | 7.6 | 1158279 | 579 | 239624 | 154.7 | 12296100 | 3600 | 946780 | 280 | 7298700 | 1100 | 2511900 | 500 | 1308840 | 690 | 16740400 | 4900 | 43011 | 16 | 37504 | 11 | 8098 | 13 | 60081 | 15 | 51478 | 35
2023-02-04 | 76% | 245300 | 533 | 534 | 267089 | 425 | 115539 | 16416 | 208 | 930563 | 120 | 245900 | 16 | 120562 | 70 | 226 | 6750 | 5 | 8286297.6 | 1948.8 | 3312.96 | 15736316.4 | 4677.12 | 4725.84 | 15922572.96 | 0 | 0 | 19063648.8 | 8087.52 | 146.16 | 19334239.68 | 535.92 | 7990.08 | 17872444.8 | 5115.6 | 5700.24 | 15024858.24 | 3800.16 | 3946.32 | 14569472.4 | 4530.96 | 4092.48 | 11353513.92 | 2971.92 | 3215.52 | 18025230.72 | 5748.96 | 5407.92 | 78651900 | 0 | 0 | 81579600 | 32600 | 0 | 75558200 | 3000 | 38700 | [10 empty] | 10614070 | 6390 | 59% | 7% | 6% | 65399 | 15 | 56535 | 20 | 19088 | 7 | 26152 | 10 | 29319 | 16 | 64507 | 36 | 272347 | 73 | 107 | 221570 | 126 | 255 | 370549 | 262 | 255 | 704512 | 172 | 9345 | 7 | 6329 | 5 | 33041 | 15 | 33185 | 15 | 22443 | 8 | 24371 | 5 | 7726 | 12 | 10232 | 11 | 3532 | 6 | 6920 | 9 | 30514 | 0 | 6960.4 | 11.8 | 11727.2 | 7.8 | 5166.2 | 6.1 | 5762.5 | 7.9 | 1158881 | 602 | 239779.7 | 155.7 | 12298700 | 2600 | 947000 | 220 | 7299500 | 800 | 2512300 | 400 | 1309460 | 620 | 16741100 | 700 | 43028 | 17 | 37516 | 12 | 8110 | 12 | 60095 | 14 | 51516 | 38
2023-02-05 | 69% | 245833 | 518 | 606 | 267514 | 385 | 116003 | 16641 | 225 | 930787 | 224 | 245905 | 5 | 120633 | 71 | 171 | 6760 | 10 | 8288295.12 | 1997.52 | 2241.12 | 15741090.96 | 4774.56 | 5066.88 | 15923596.08 | 1023.12 | 0 | 19071200.4 | 7551.6 | 9744 | 19334288.4 | 48.72 | 1656.48 | 17878583.52 | 6138.72 | 5992.56 | 15028560.96 | 3702.72 | 4384.8 | 14573759.76 | 4287.36 | 4482.24 | 11356583.28 | 3069.36 | 4043.76 | 18030833.52 | 5602.8 | 6090 | 78656200 | 4300 | 0 | 81612700 | 33100 | 40000 | 75558200 | 0 | 2800 | [10 empty] | 10620300 | 6230 | 50% | 9% | -15% | 65415 | 16 | 56557 | 22 | 19094 | 6 | 26161 | 9 | 29334 | 15 | 64541 | 34 | 272422 | 75 | 113 | 221695 | 125 | 310 | 370812 | 263 | 310 | 704686 | 174 | 9352 | 7 | 6333 | 4 | 33057 | 16 | 33201 | 16 | 22452 | 9 | 24375 | 4 | 7738 | 12 | 10241 | 9 | 3535 | 3 | 6927 | 7 | 30518 | 4 | 6971.2 | 10.8 | 11735.1 | 7.9 | 5172 | 5.8 | 5770 | 7.5 | 1159411 | 530 | 239930.4 | 150.7 | 12301300 | 2600 | 947250 | 250 | 7300300 | 800 | 2512800 | 500 | 1310100 | 640 | 16742300 | 1200 | 43045 | 17 | 37526 | 10 | 8120 | 10 | 60107 | 12 | 51547 | 31
2023-02-06 | 72% | 246351 | 588 | 492 | 267899 | 381 | 116374 | 16824 | 183 | 930939 | 152 | 245921 | 16 | 120701 | 68 | 32 | 6767 | 7 | 8290243.92 | 1948.8 | 2046.24 | 15745719.36 | 4628.4 | 4482.24 | 15929929.68 | 6333.6 | 0 | 19072418.4 | 1218 | 8379.84 | 19335506.4 | 1218 | 876.96 | 17884137.6 | 5554.08 | 5554.08 | 15032214.96 | 3654 | 4092.48 | 14578290.72 | 4530.96 | 4043.76 | 11359701.36 | 3118.08 | 3751.44 | 18036338.88 | 5505.36 | 5310.48 | 78690800 | 34600 | 0 | 81612700 | 0 | 37600 | 75562200 | 4000 | 0 | [10 empty] | 10625860 | 5560 | 67% | -17% | 8% | 65432 | 17 | 56578 | 21 | 19100 | 6 | 26170 | 9 | 29350 | 16 | 64575 | 34 | 272496 | 74 | 103 | 221815 | 120 | 406 | 371032 | 220 | 406 | 704859 | 173 | 9356 | 4 | 6335 | 2 | 33071 | 14 | 33213 | 12 | 22459 | 7 | 24380 | 5 | 7745 | 7 | 10250 | 9 | 3541 | 6 | 6931 | 4 | 30525 | 7 | 6982.1 | 10.9 | 11743.1 | 8 | 5177.7 | 5.7 | 5776.3 | 6.3 | 1159948 | 537 | 240082.8 | 152.4 | 12304000 | 2700 | 947500 | 250 | 7301200 | 900 | 2513200 | 400 | 1310790 | 690 | 16743500 | 1200 | 43060 | 15 | 37537 | 11 | 8129 | 9 | 60120 | 13 | 51576 | 29
2023-02-07 | 58% | 246939 | 629 | 518 | 268280 | 404 | 116762 | 17025 | 201 | 931159 | 220 | 245994 | 73 | 120790 | 89 | 44 | 6774 | 7 | 8292192.72 | 1948.8 | 2874.48 | 15750396.48 | 4677.12 | 4823.28 | 15929978.4 | 48.72 | 0 | 19074269.76 | 1851.36 | 7990.08 | 19343301.6 | 7795.2 | 48.72 | 17889691.68 | 5554.08 | 5846.4 | 15036210 | 3995.04 | 4384.8 | 14582480.64 | 4189.92 | 4238.64 | 11362965.6 | 3264.24 | 3800.16 | 18041844.24 | 5505.36 | 5359.2 | 78690800 | 0 | 0 | 81617000 | 4300 | 32500 | 75602000 | 39800 | 0 | [10 empty] | 10631870 | 6010 | 75% | -8% | -9% | 65447 | 15 | 56597 | 19 | 19105 | 5 | 26179 | 9 | 29365 | 15 | 64608 | 33 | 272572 | 76 | 108 | 221928 | 113 | 447 | 371235 | 203 | 447 | 705036 | 177 | 9361 | 5 | 6338 | 3 | 33074 | 3 | 33227 | 14 | 22466 | 7 | 24384 | 4 | 7752 | 7 | 10260 | 10 | 3547 | 6 | 6935 | 4 | 30525 | 0 | 6992.1 | 10 | 11751.1 | 8 | 5183.6 | 5.9 | 5782.9 | 6.6 | 1160468 | 520 | 240234.6 | 151.8 | 12307000 | 3000 | 947750 | 250 | 7302200 | 1000 | 2513600 | 400 | 1311460 | 670 | 16745500 | 2000 | 43076 | 16 | 37547 | 10 | 8138 | 9 | 60132 | 12 | 51608 | 32
2023-02-08 | 68% | 247568 | 610 | 521 | 268684 | 416 | 117183 | 17223 | 198 | 931423 | 264 | 246084 | 90 | 120875 | 85 | 214 | 6780 | 6 | 8294190.24 | 1997.52 | 2874.48 | 15754927.44 | 4530.96 | 4774.56 | 15929978.4 | 0 | 0 | 19082552.16 | 8282.4 | 2484.72 | 19344958.08 | 1656.48 | 4823.28 | 17895391.92 | 5700.24 | 5602.8 | 15040058.88 | 3848.88 | 4287.36 | 14586573.12 | 4092.48 | 4287.36 | 11365693.92 | 2728.32 | 3410.4 | 18047398.32 | 5554.08 | 5456.64 | 78690800 | 0 | 0 | 81659200 | 42200 | 10800 | 75606200 | 4200 | 21400 | [10 empty] | 10638000 | 6130 | 68% | 7% | 10% | 65464 | 17 | 56617 | 20 | 19114 | 9 | 26188 | 9 | 29380 | 15 | 64644 | 36 | 272647 | 75 | 108 | 222046 | 118 | 447 | 371493 | 258 | 447 | 705211 | 175 | 9374 | 13 | 6345 | 7 | 33078 | 4 | 33240 | 13 | 22474 | 8 | 24388 | 4 | 7761 | 9 | 10269 | 9 | 3552 | 5 | 6940 | 5 | 30531 | 6 | 7003.4 | 11.3 | 11759.8 | 8.7 | 5189.4 | 5.8 | 5789.4 | 6.5 | 1160979 | 511 | 240386.9 | 152.3 | 12310200 | 3200 | 948010 | 260 | 7303200 | 1000 | 2513900 | 300 | 1312140 | 680 | 16748500 | 3000 | 43091 | 15 | 37558 | 11 | 8146 | 8 | 60149 | 17 | 51635 | 27
2023-02-09 | 70% | 248178 | 678 | 587 | 269100 | 481 | 117634 | 17418 | 195 | 931694 | 271 | 246172 | 88 | 120942 | 67 | 188 | 6784 | 4 | 8296187.76 | 1997.52 | 2143.68 | 15759653.28 | 4725.84 | 4628.4 | 15931001.52 | 1023.12 | 1120.56 | 19083672.72 | 1120.56 | 8087.52 | 19351340.4 | 6382.32 | 0 | 17900946 | 5554.08 | 5748.96 | 15043712.88 | 3654 | 4384.8 | 14590909.2 | 4336.08 | 4530.96 | 11368519.68 | 2825.76 | 3556.56 | 18052903.68 | 5505.36 | 5359.2 | 78694800 | 4000 | 0 | 81659200 | 0 | 34600 | 75637900 | 31700 | 0 | [10 empty] | 10644620 | 6620 | 59% | 9% | 8% | 65479 | 15 | 56637 | 20 | 19121 | 7 | 26197 | 9 | 29394 | 14 | 64680 | 36 | 272725 | 78 | 107 | 222166 | 120 | 318 | 371780 | 287 | 318 | 705398 | 187 | 9384 | 10 | 6351 | 6 | 33112 | 34 | 33252 | 12 | 22481 | 7 | 24392 | 4 | 7771 | 10 | 10275 | 6 | 3556 | 4 | 6948 | 8 | 30538 | 7 | 7014.1 | 10.7 | 11767.8 | 8 | 5195.2 | 5.8 | 5795.6 | 6.2 | 1161481 | 502 | 240537.3 | 150.4 | 12312400 | 2200 | 948250 | 240 | 7303900 | 700 | 2514200 | 300 | 1312770 | 630 | 16750500 | 2000 | 43106 | 15 | 37569 | 11 | 8155 | 9 | 60163 | 14 | 51664 | 29
2023-02-10 | 67% | 248856 | 584 | 557 | 269581 | 460 | 118068 | 17625 | 207 | 931960 | 266 | 246252 | 80 | 121000 | 58 | 202 | 6790 | 6 | 8298234 | 2046.24 | 1997.52 | 15764330.4 | 4677.12 | 4579.68 | 15936994.08 | 5992.56 | 1364.16 | 19085718.96 | 2046.24 | 8720.88 | 19351340.4 | 0 | 0 | 17906500.08 | 5554.08 | 5895.12 | 15047659.2 | 3946.32 | 3848.88 | 14595342.72 | 4433.52 | 4189.92 | 11371589.04 | 3069.36 | 3069.36 | 18058555.2 | 5651.52 | 5554.08 | 78725300 | 30500 | 0 | 81663000 | 3800 | 38100 | 75637900 | 0 | 0 | [10 empty] | 10651870 | 7250 | 79% | -20% | 10% | 65494 | 15 | 56656 | 19 | 19128 | 7 | 26206 | 9 | 29408 | 14 | 64715 | 35 | 272804 | 79 | 108 | 222290 | 124 | 226 | 372074 | 294 | 226 | 705587 | 189 | 9396 | 12 | 6360 | 9 | 33129 | 17 | 33270 | 18 | 22490 | 9 | 24397 | 5 | 7784 | 13 | 10283 | 8 | 3560 | 4 | 6958 | 10 | 30544 | 6 | 7025.5 | 11.4 | 11776.6 | 8.8 | 5201.2 | 6 | 5803 | 7.4 | 1162034 | 553 | 240695.2 | 157.9 | 12314800 | 2400 | 948500 | 250 | 7304700 | 800 | 2514400 | 200 | 1313450 | 680 | 16751800 | 1300 | 43120 | 14 | 37581 | 12 | 8168 | 13 | 60180 | 17 | 51699 | 35
2023-02-11 | 91% | 249440 | 576 | 568 | 270041 | 462 | 118505 | 18003 | 378 | 932092 | 132 | 246265 | 13 | 121062 | 62 | 220 | 6793 | 3 | 8300280.24 | 2046.24 | 2094.96 | 15769056.24 | 4725.84 | 4482.24 | 15937091.52 | 97.44 | 1364.16 | 19092393.6 | 6674.64 | 8769.6 | 19353337.92 | 1997.52 | 0 | 17911956.72 | 5456.64 | 5943.84 | 15051410.64 | 3751.44 | 4238.64 | 14599824.96 | 4482.24 | 4482.24 | 11374755.84 | 3166.8 | 3069.36 | 18064206.72 | 5651.52 | 5602.8 | 78725300 | 0 | 0 | 81696700 | 33700 | 39200 | 75641800 | 3900 | 0 | [10 empty] | 10659050 | 7180 | 68% | 11% | -13% | 65513 | 19 | 56679 | 23 | 19133 | 5 | 26215 | 9 | 29425 | 17 | 64754 | 39 | 272881 | 77 | 105 | 222409 | 119 | 266 | 372356 | 282 | 266 | 705772 | 185 | 9407 | 11 | 6365 | 5 | 33143 | 14 | 33284 | 14 | 22498 | 8 | 24400 | 3 | 7795 | 11 | 10294 | 11 | 3564 | 4 | 6967 | 9 | 30545 | 1 | 7036.7 | 11.2 | 11785.2 | 8.6 | 5207.1 | 5.9 | 5810.7 | 7.7 | 1162614 | 580 | 240847.2 | 152 | 12317300 | 2500 | 948740 | 240 | 7305500 | 800 | 2514700 | 300 | 1314070 | 620 | 16753200 | 1400 | 43135 | 15 | 37591 | 10 | 8182 | 14 | 60196 | 16 | 51733 | 34
2023-02-12 | 91% | 250016 | 529 | 614 | 270503 | 406 | 118989 | 18272 | 269 | 932219 | 127 | 246265 | 0 | 121140 | 78 | 18 | 6796 | 3 | 8302277.76 | 1997.52 | 2241.12 | 15773684.64 | 4628.4 | 4677.12 | 15938114.64 | 1023.12 | 0 | 19092442.32 | 48.72 | 10913.28 | 19361669.04 | 8331.12 | 0 | 17917705.68 | 5748.96 | 6236.16 | 15055259.52 | 3848.88 | 4433.52 | 14604307.2 | 4482.24 | 4628.4 | 11378068.8 | 3312.96 | 3264.24 | 18069760.8 | 5554.08 | 5602.8 | 78729300 | 4000 | 0 | 81696700 | 0 | 42300 | 75678400 | 36600 | 0 | [10 empty] | 10665930 | 6880 | 80% | -12% | 12% | 65530 | 17 | 56700 | 21 | 19141 | 8 | 26225 | 10 | 29440 | 15 | 64789 | 35 | 272960 | 79 | 100 | 222531 | 122 | 290 | 372643 | 287 | 290 | 705961 | 189 | 9413 | 6 | 6368 | 3 | 33159 | 16 | 33299 | 15 | 22508 | 10 | 24406 | 6 | 7807 | 12 | 10302 | 8 | 3568 | 4 | 6976 | 9 | 30545 | 0 | 7040.5 | 3.8 | 11792.9 | 7.7 | 5213 | 5.9 | 5817.6 | 6.9 | 1163200 | 586 | 240999.5 | 152.3 | 12320300 | 3000 | 949000 | 260 | 7306400 | 900 | 2514900 | 200 | 1314780 | 710 | 16755000 | 1800 | 43150 | 15 | 37603 | 12 | 8193 | 11 | 60209 | 13 | 51764 | 31
2023-02-13 | 89% | 250545 | 614 | 601 | 270909 | 460 | 119457 | 18525 | 253 | 932485 | 266 | 246265 | 0 | 121223 | 83 | 185 | 6806 | 10 | 8304275.28 | 1997.52 | 2046.24 | 15778361.76 | 4677.12 | 4384.8 | 15945276.48 | 7161.84 | 48.72 | 19093368 | 925.68 | 8769.6 | 19362935.76 | 1266.72 | 0 | 17923503.36 | 5797.68 | 6090 | 15058816.08 | 3556.56 | 4092.48 | 14608692 | 4384.8 | 4189.92 | 11380992 | 2923.2 | 2874.48 | 18074973.84 | 5213.04 | 5359.2 | 78768300 | 39000 | 0 | 81700800 | 4100 | 33100 | 75678400 | 0 | 0 | [10 empty] | 10672650 | 6720 | 70% | 10% | -11% | 65546 | 16 | 56720 | 20 | 19148 | 7 | 26235 | 10 | 29455 | 15 | 64824 | 35 | 273037 | 77 | 96 | 222644 | 113 | 365 | 372877 | 234 | 365 | 706144 | 183 | 9417 | 4 | 6370 | 2 | 33172 | 13 | 33313 | 14 | 22517 | 9 | 24411 | 5 | 7816 | 9 | 10308 | 6 | 3572 | 4 | 6983 | 7 | 30551 | 6 | 7058 | 17.5 | 11801.2 | 8.3 | 5219 | 6 | 5823.3 | 5.7 | 1163765 | 565 | 241151.6 | 152.1 | 12322900 | 2600 | 949220 | 220 | 7307300 | 900 | 2515300 | 400 | 1315440 | 660 | 16756600 | 1600 | 43165 | 15 | 37615 | 12 | 8202 | 9 | 60221 | 12 | 51797 | 33
2023-02-14 | 88% | 251159 | 590 | 545 | 271369 | 450 | 119868 | 18810 | 285 | 932756 | 271 | 246265 | 0 | 121316 | 93 | 212 | 6818 | 12 | 8306418.96 | 2143.68 | 2143.68 | 15783038.88 | 4677.12 | 4530.96 | 15945422.64 | 146.16 | 0 | 19100870.88 | 7502.88 | 8477.28 | 19365128.16 | 2192.4 | 1120.56 | 17929398.48 | 5895.12 | 5797.68 | 15062713.68 | 3897.6 | 3897.6 | 14613369.12 | 4677.12 | 4189.92 | 11383866.48 | 2874.48 | 2874.48 | 18080527.92 | 5554.08 | 5164.32 | 78768300 | 0 | 0 | 81741500 | 40700 | 35900 | 75683200 | 4800 | 0 | [10 empty] | 10679900 | 7250 | 79% | -9% | -20% | 65565 | 19 | 56739 | 19 | 19155 | 7 | 26245 | 10 | 29472 | 17 | 64861 | 37 | 273125 | 88 | 101 | 222764 | 120 | 326 | 373115 | 238 | 326 | 706331 | 187 | 9426 | 9 | 6374 | 4 | 33187 | 15 | 33329 | 16 | 22526 | 9 | 24416 | 5 | 7827 | 11 | 10316 | 8 | 3577 | 5 | 6992 | 9 | 30557 | 6 | 7068.8 | 10.8 | 11810.1 | 8.9 | 5225 | 6 | 5829.7 | 6.4 | 1164365 | 600 | 241305.9 | 154.3 | 12326000 | 3100 | 949470 | 250 | 7308200 | 900 | 2515700 | 400 | 1316100 | 660 | 16759300 | 2700 | 43180 | 15 | 37628 | 13 | 8212 | 10 | 60236 | 15 | 51830 | 33
2023-02-15 | 81% | 251749 | 571 | 562 | 271819 | 428 | 120301 | 19062 | 252 | 933029 | 273 | 246265 | 0 | 121412 | 96 | 210 | 6825 | 7 | 8309098.56 | 2679.6 | 2143.68 | 15787764.72 | 4725.84 | 4530.96 | 15946835.52 | 1412.88 | 48.72 | 19100919.6 | 48.72 | 9549.12 | 19373459.28 | 8331.12 | 1364.16 | 17935293.6 | 5895.12 | 5651.52 | 15067049.76 | 4336.08 | 4141.2 | 14617997.52 | 4628.4 | 4287.36 | 11386838.4 | 2971.92 | 2777.04 | 18086228.16 | 5700.24 | 5700.24 | 78772900 | 4600 | 0 | 81741500 | 0 | 43200 | 75725300 | 42100 | 0 | [10 empty] | 10687040 | 7140 | 69% | 10% | 8% | 65580 | 15 | 56760 | 21 | 19161 | 6 | 26255 | 10 | 29486 | 14 | 64898 | 37 | 273206 | 81 | 100 | 222876 | 112 | 257 | 373379 | 264 | 257 | 706518 | 187 | 9436 | 10 | 6384 | 10 | 33202 | 15 | 33342 | 13 | 22535 | 9 | 24420 | 4 | 7838 | 11 | 10323 | 7 | 3580 | 3 | 7000 | 8 | 30557 | 0 | 7079.8 | 11 | 11818.7 | 8.6 | 5231.2 | 6.2 | 5836.2 | 6.5 | 1164956 | 591 | 241462.4 | 156.5 | 12329100 | 3100 | 949720 | 250 | 7309300 | 1100 | 2516100 | 400 | 1316770 | 670 | 16763500 | 4200 | 43196 | 16 | 37641 | 13 | 8220 | 8 | 60252 | 16 | 51863 | 33
2023-02-16 | 79% | 252320 | 609 | 574 | 272247 | 469 | 120746 | 19398 | 336 | 933301 | 272 | 246265 | 0 | 121500 | 88 | 247 | 6829 | 4 | 8311485.84 | 2387.28 | 2143.68 | 15792246.96 | 4482.24 | 4774.56 | 15954192.24 | 7356.72 | 146.16 | 19102137.6 | 1218 | 8964.48 | 19374092.64 | 633.36 | 1461.6 | 17940652.8 | 5359.2 | 5700.24 | 15070947.36 | 3897.6 | 4433.52 | 14622431.04 | 4433.52 | 4482.24 | 11389664.16 | 2825.76 | 2971.92 | 18091782.24 | 5554.08 | 5602.8 | 78815500 | 42600 | 0 | 81746300 | 4800 | 42500 | 75725300 | 0 | 0 | [10 empty] | 10693800 | 6760 | 84% | -15% | 6% | 65594 | 14 | 56781 | 21 | 19169 | 8 | 26264 | 9 | 29499 | 13 | 64934 | 36 | 273285 | 79 | 100 | 222983 | 107 | 303 | 373605 | 226 | 303 | 706699 | 181 | 9443 | 7 | 6388 | 4 | 33217 | 15 | 33357 | 15 | 22544 | 9 | 24425 | 5 | 7848 | 10 | 10327 | 4 | 3585 | 5 | 7008 | 8 | 30570 | 13 | 7091 | 11.2 | 11826.9 | 8.2 | 5237.2 | 6 | 5843.1 | 6.9 | 1165500 | 544 | 241610.4 | 148 | 12332100 | 3000 | 949940 | 220 | 7310300 | 1000 | 2516600 | 500 | 1317400 | 630 | 16767800 | 4300 | 43211 | 15 | 37653 | 12 | 8229 | 9 | 60266 | 14 | 51894 | 31
2023-02-17 | 86% | 252929 | 625 | 613 | 272716 | 477 | 121240 | 19593 | 195 | 933511 | 210 | 246265 | 0 | 121605 | 105 | 223 | 6837 | 8 | 8313775.68 | 2289.84 | 2192.4 | 15796826.64 | 4579.68 | 4774.56 | 15955264.08 | 1071.84 | 194.88 | 19110127.68 | 7990.08 | 8038.8 | 19374920.88 | 828.24 | 1510.32 | 17946158.16 | 5505.36 | 6041.28 | 15075234.72 | 4287.36 | 4579.68 | 14626864.56 | 4433.52 | 4433.52 | 11392733.52 | 3069.36 | 3312.96 | 18097531.2 | 5748.96 | 5651.52 | 78820200 | 4700 | 0 | 81793400 | 47100 | 40900 | 75725300 | 0 | 0 | [10 empty] | 10700780 | 6980 | 75% | 9% | -5% | 65612 | 18 | 56801 | 20 | 19176 | 7 | 26272 | 8 | 29513 | 14 | 64966 | 32 | 273365 | 80 | 99 | 223090 | 107 | 353 | 373807 | 202 | 353 | 706885 | 186 | 9453 | 10 | 6395 | 7 | 33235 | 18 | 33372 | 15 | 22555 | 11 | 24431 | 6 | 7860 | 12 | 10336 | 9 | 3589 | 4 | 7016 | 8 | 30574 | 4 | 7103.2 | 12.2 | 11835.5 | 8.6 | 5243.3 | 6.1 | 5850.4 | 7.3 | 1166105 | 605 | 241760.7 | 150.3 | 12335400 | 3300 | 950210 | 270 | 7311300 | 1000 | 2517100 | 500 | 1318080 | 680 | 16772100 | 4300 | 43226 | 15 | 37666 | 13 | 8241 | 12 | 60281 | 15 | 51926 | 32
2023-02-18 | 79% | 253554 | 595 | 643 | 273193 | 478 | 121742 | 19823 | 230 | 933758 | 247 | 246265 | 0 | 121685 | 80 | 225 | 6847 | 10 | 8316309.12 | 2533.44 | 2094.96 | 15801162.72 | 4336.08 | 4823.28 | 15963059.28 | 7795.2 | 194.88 | 19111150.8 | 1023.12 | 8428.56 | 19374969.6 | 48.72 | 1364.16 | 17951517.36 | 5359.2 | 6138.72 | 15079229.76 | 3995.04 | 4384.8 | 14631395.52 | 4530.96 | 4628.4 | 11395802.88 | 3069.36 | 3069.36 | 18103280.16 | 5748.96 | 5554.08 | 78860600 | 40400 | 38900 | 81798200 | 4800 | 41000 | 75725300 | 0 | 0 | [10 empty] | 10707990 | 7210 | 79% | -4% | 8% | 65629 | 17 | 56819 | 18 | 19184 | 8 | 26280 | 8 | 29529 | 16 | 65004 | 38 | 273446 | 81 | 99 | 223209 | 119 | 289 | 374057 | 250 | 289 | 707072 | 187 | 9462 | 9 | 6402 | 7 | 33239 | 4 | 33387 | 15 | 22566 | 11 | 24435 | 4 | 7874 | 14 | 10346 | 10 | 3593 | 4 | 7026 | 10 | 30577 | 3 | 7113.6 | 10.4 | 11844 | 8.5 | 5249.6 | 6.3 | 5858 | 7.6 | 1166720 | 615 | 241912.9 | 152.2 | 12338500 | 3100 | 950490 | 280 | 7312200 | 900 | 2517600 | 500 | 1318770 | 690 | 16776200 | 4100 | 43239 | 13 | 37680 | 14 | 8254 | 13 | 60297 | 16 | 51962 | 36
2023-02-19 | 85% | 254149 | -254149 | 643 | 273671 | -273671 | 122247 | 20033 | 210 | 934008 | 250 | 246265 | 0 | 121754 | 69 | 97 | 6854 | 7 | 8319281.04 | 2971.92 | 3312.96 | 15805693.68 | 4530.96 | 5310.48 | 15963351.6 | 292.32 | 7941.36 | 19117533.12 | 6382.32 | 779.52 | 19375944 | 974.4 | 48.72 | 17956779.12 | 5261.76 | 5943.84 | 15083224.8 | 3995.04 | 4336.08 | 14635877.76 | 4482.24 | 4628.4 | 11398969.68 | 3166.8 | 2971.92 | 18108980.4 | 5700.24 | 5943.84 | 78860600 | 0 | 44100 | 81832000 | 33800 | 4000 | 75729700 | 4400 | 0 | [10 empty] | 10715300 | 7310 | 69% | 10% | -10% | 65646 | 17 | 56838 | 19 | 19192 | 8 | 26291 | 11 | 29542 | 13 | 65043 | 39 | 273525 | 79 | 101 | 223325 | 116 | 268 | 374337 | 280 | 268 | 707256 | 184 | 9468 | 6 | 6405 | 3 | 33267 | 28 | 33404 | 17 | 22577 | 11 | 24440 | 5 | 7887 | 13 | 10353 | 7 | 3598 | 5 | 7036 | 10 | 30581 | 4 | 7124.6 | 11 | 11851.8 | 7.8 | 5255.7 | 6.1 | 5865.7 | 7.7 | 1167332 | 612 | 242065.3 | 152.4 | 12341100 | 2600 | 950750 | 260 | 7313000 | 800 | 2518100 | 500 | 1319410 | 640 | 16777700 | 1500 | 43255 | 16 | 37693 | 13 | 8264 | 10 | 60311 | 14 | 51993 | 31
2023-02-20 | 91% | 0 | 0 | 628 | 0 | 0 | 122700 | 0 | -20033 | 0 | -934008 | 0 | -246265 | 0 | -121754 | 208 | 0 | -6854 | 0 | -8319281.04 | 3410.4 | 0 | -15805693.68 | 4384.8 | 0 | -15963351.6 | 8428.56 | 0 | -19117533.12 | 194.88 | 0 | -19375944 | 0 | 0 | -17956779.12 | 5895.12 | 0 | -15083224.8 | 4336.08 | 0 | -14635877.76 | 4433.52 | 0 | -11398969.68 | 3166.8 | 0 | -18108980.4 | 5700.24 | 0 | -78860600 | 39100 | 0 | -81832000 | 0 | 0 | -75729700 | 0 | [10 empty] | 0 | -10715300 | 0% | 69% | 7% | 0 | -65646 | 0 | -56838 | 0 | -19192 | 0 | -26291 | 0 | -29542 | 0 | -65043 | 0 | -273525 | 98 | 0 | -223325 | 231 | 0 | -374337 | 231 | 0 | -707256 | 0 | -9468 | 0 | -6405 | 0 | -33267 | 0 | -33404 | 0 | -22577 | 0 | -24440 | 0 | -7887 | 0 | -10353 | 0 | -3598 | 0 | -7036 | 0 | -30581 | 0 | -7124.6 | 0 | -11851.8 | 0 | -5255.7 | 0 | -5865.7 | 0 | -1167332 | 0 | -242065.3 | 0 | -12341100 | 0 | -950750 | 0 | -7313000 | 0 | -2518100 | 0 | -1319410 | 0 | -16777700 | 0 | -43255 | 0 | -37693 | 0 | -8264 | 0 | -60311 | 0 | -51993
2023-02-21 | 0% | 0 | 0 | 637 | 0 | 0 | 123150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 205 | 0 | 0 | 0 | 0 | 3264.24 | 0 | 0 | 4725.84 | 0 | 0 | 7697.76 | 0 | 0 | 194.88 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 3751.44 | 0 | 0 | 4092.48 | 0 | 0 | 2971.92 | 0 | 0 | 5554.08 | 0 | 0 | 38900 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -12% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 243 | 0 | 0 | 243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-22 | 0% | 0 | 0 | 616 | 0 | 0 | 123605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 3410.4 | 0 | 0 | 4872 | 0 | 0 | 7405.44 | 0 | 0 | 146.16 | 0 | 0 | 0 | 0 | 0 | 5895.12 | 0 | 0 | 3751.44 | 0 | 0 | 4287.36 | 0 | 0 | 3020.64 | 0 | 0 | 5407.92 | 0 | 0 | 44700 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 11% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 277 | 0 | 0 | 277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-23 | 0% | 0 | 0 | 496 | 0 | 0 | 124053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237 | 0 | 0 | 0 | 0 | 3556.56 | 0 | 0 | 4677.12 | 0 | 0 | 8331.12 | 0 | 0 | 48.72 | 0 | 0 | 97.44 | 0 | 0 | 5992.56 | 0 | 0 | 3897.6 | 0 | 0 | 4384.8 | 0 | 0 | 2923.2 | 0 | 0 | 5456.64 | 0 | 0 | 45100 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 196 | 0 | 0 | 196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-24 | 0% | 0 | 0 | 649 | 0 | 0 | 124510 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237 | 0 | 0 | 0 | 0 | 3605.28 | 0 | 0 | 4920.72 | 0 | 0 | 8477.28 | 0 | 0 | 48.72 | 0 | 0 | 0 | 0 | 0 | 5846.4 | 0 | 0 | 3995.04 | 0 | 0 | 4238.64 | 0 | 0 | 2777.04 | 0 | 0 | 5651.52 | 0 | 0 | 50300 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 280 | 0 | 0 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-25 | 0% | 0 | 0 | 842 | 0 | 0 | 124997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 3605.28 | 0 | 0 | 4823.28 | 0 | 0 | 9305.52 | 0 | 0 | 146.16 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 4189.92 | 0 | 0 | 4482.24 | 0 | 0 | 3118.08 | 0 | 0 | 5651.52 | 0 | 0 | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -14% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 208 | 0 | 0 | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-26 | 0% | 0 | 0 | 730 | 0 | 0 | 125511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 4920.72 | 0 | 0 | 1218 | 0 | 0 | 9208.08 | 0 | 0 | 584.64 | 0 | 0 | 6041.28 | 0 | 0 | 4433.52 | 0 | 0 | 4579.68 | 0 | 0 | 3166.8 | 0 | 0 | 5943.84 | 0 | 0 | 0 | 0 | 0 | 46000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 199 | 0 | 0 | 199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-27 | 0% | 0 | 0 | 616 | 0 | 0 | 125951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 270 | 0 | 0 | 0 | 0 | 1851.36 | 0 | 0 | 4677.12 | 0 | 0 | 828.24 | 0 | 0 | 10279.92 | 0 | 0 | 730.8 | 0 | 0 | 5846.4 | 0 | 0 | 4336.08 | 0 | 0 | 4287.36 | 0 | 0 | 3069.36 | 0 | 0 | 5943.84 | 0 | 0 | 16700 | 0 | 0 | 54000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 161 | 0 | 0 | 161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-28 | 0% | 0 | 0 | 548 | 0 | 0 | 126373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2971.92 | 0 | 0 | 4823.28 | 0 | 0 | 3459.12 | 0 | 0 | 6382.32 | 0 | 0 | 730.8 | 0 | 0 | 5846.4 | 0 | 0 | 3995.04 | 0 | 0 | 4433.52 | 0 | 0 | 2971.92 | 0 | 0 | 5797.68 | 0 | 0 | 0 | 0 | 0 | 36500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -23% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 195 | 0 | 0 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-03-01 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-03-02 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | Total Cold water Heat Exchanger 2022 | 0 | Lpg -10- DAYS Consumption February 2022 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Electrical -10 days- consumption February-2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Chilled Water -10-days consumption January-2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Lpg 10 days consumption February 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-03-03 | 0% | Domestic Water | 0 | 0 | Resort Domestic Water | 0 | 0 | Tse Water | 0 | Irrigation Water | 0 | domestic water for irrigation | 0 | Cooling Tower make up & Blowdown | 0 | 0 | 0 | 0 | EMDB-1 | 0 | 0 | EMDB-2 | 0 | 0 | MDB-1 | 0 | 0 | MDB-2 | 0 | 0 | MDB-3 | 0 | 0 | MDB-4 | 0 | 0 | MDB-5 | 0 | 0 | MDB-6 | 0 | 0 | MDB-7 | 0 | 0 | MDB-8 | 0 | 0 | Chiller # 1 | 0 | 0 | Chiller # 2 | 0 | 0 | Chiller # 3 | 0 | 0 | [10 empty] | Heat Exchanger | 0 | LPG TOTAL CONSUMPTION | 0% | 0% | Ird Kitchen | 0 | Suq Kitchen | 0 | Bakery Kitchen | 0 | Shai Saloon Kitchen | 0 | Banquet Kitchen | 0 | Sea Fu Kitchen | 0 | Steam Boiler | 0 | 0 | Solar Hot Water Boiler | 0 | 0 | Lthw Boiler | 0 | 0 | Steam Boiler Steam Meter Reading Kg | 0 | Jean George Water Meter Reading | 0 | 0 | 0 | Coya Water Meter Reading M³ | 0 | 0 | 0 | Nusret Water meter Reading M³ | 0 | 0 | 0 | Provoceteur Meter Reading M³ | 0 | 0 | 0 | Scalini Meter Reading M³ | 0 | 0 | 0 | Irrigation | 0 | MDB - Coya | 0 | MDB Jean George | 0 | MDB - Nusret | 0 | Peovoceteur SMDB | 0 | 0 | 0 | Common ESMDB | 0 | Coya Btu | 0 | Coya Cold Room Btu | 0 | Nusret Btu | 0 | Provocateur- A | 0 | Provocateur- B | 0 | Jean George Btu | 0 | Coya Lpg | 0 | Nusret Lpg | 0 | Provocateur Lpg | 0 | Jean George Lpg | 0 | Scalini | 0
Potable Water Daily Consumption February 2023 | [18 empty] | Electricity Daily Consumption February 2023 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2023 | [18 empty] | Cold water Heat Exchanger 2023 |  | Lpg Daily Consumption February 2023 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
February Reading 2023 two weeks |  | 8223 |  |  | 1758898 | [8 empty] | 2327 |  |  |  |  | 37709.28 |  |  | 69767.04 |  |  | 3946.32 |  |  | 92519.28 |  |  | 41265.84 |  |  | 86185.68 |  |  | 62020.56 |  |  | 63823.2 |  |  | 48817.44 |  |  | 81459.84 |  |  | 0 |  |  | 387300 |  |  | 177700 | [29 empty] | 1580 |  |  | 4763 |  |  | 4763
February Reading 2023 two weeks |  | 8715 |  |  | 6435 | [8 empty] | 1135 |  |  |  |  | 30498.72 |  |  | 69620.88 |  |  | 33178.32 |  |  | 47550.72 |  |  | 56563.92 |  |  | 81508.56 |  |  | 57099.84 |  |  | 65820.72 |  |  | 44481.36 |  |  | 83506.08 |  |  | 155300 |  |  | 194500 |  |  | 255400 | [29 empty] | 1156 |  |  | 1789 |  |  | 3837 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | -155300 |  |  | -192800 |  |  | 77700
February Reading 2022 Monthly |  | 16458 |  |  | 3365723 |  |  | 7048.9 |  | 7702.2 |  |  |  | 4561 |  |  | 476 |  | 75223.68 |  |  | 132274.8 |  |  | 67574.64 |  |  | 145380.48 |  |  | 47794.32 |  |  | 163358.16 |  |  | 116440.8 |  |  | 121215.36 |  |  | 88329.36 |  |  | 155319.36 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2878 |  |  | 7966 |  |  | 7966 |  |  | 3894 | [14 empty] | 487.2
February Reading 2023 Monthly |  | -244103 |  |  | -265812 |  |  | -15762 |  | -929662 |  |  |  | -120277 |  |  | -6721 |  | -8278599.84 |  |  | -15718143.84 |  |  | -15913657.2 |  |  | -19053368.88 |  |  | -19316895.36 |  |  | -17853785.04 |  |  | -15009949.92 |  |  | -14552176.8 |  |  | -11342357.04 |  |  | -18002722.08 |  |  | -78617600 |  |  | -81547000 |  |  | -75469900 | [12 empty] | -10588930 |  |  |  |  | -65338 |  | -56457 |  | -19060 |  | -26116 |  | -29262 |  | -64366 |  | -272050 |  |  | -221087 |  |  | -369542 |  |  | -703819
Difference |  | 260561 |  |  | 3631535 |  |  | 22810.9 |  | 937364.2 |  |  |  | 124838 |  |  | 7197 |  | -8353823.52 |  |  | 15850418.64 |  |  | 15981231.84 |  |  | 19198749.36 |  |  | 19364689.68 |  |  | 18017143.2 |  |  | 15126390.72 |  |  | 14673392.16 |  |  | 11430686.4 |  |  | 18158041.44 |  |  | -78964900 |  |  | -81908100 |  |  | -76028742 | [29 empty] | 274928 |  |  | 229053 |  |  | 377508 |  |  | 707713
Total Monthly Electrical Kwh | [18 empty] | February 2022 Kwh | [5 empty] | 1112910.96 | [5 empty] | February 2023 Kwh | [5 empty] | -155041656 | [5 empty] | Saving Kwh |  |  | 156154566.96 |  |  | 2022-01-16 |  |  | 2023-01-16 |  |  | Difference
[19 empty] | February 2022 Kwh two weeks | [5 empty] | 587514.48 | [5 empty] | February 2023 Kwh two weeks | [5 empty] | 569829.12 | [5 empty] | Saving Kwh |  |  | 17685.36 |  |  | 1267242 |  |  | -235634500 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill