## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2023 | 37075.86 | 0.44448 | 927.99 | 3.1154 | 386.858 | 13.83 | 1 | 1.2 | 184.86 | 366
Dubai at Jumeirah Beach | 2 | 3 | 2023 | 34474.04 | 0.44448 | 824.04 | 3.1154 | 386.115 | 13.83 | 210 | 1.2 | 218.04 | 413
Dubai at Jumeirah Beach | 3 | 3 | 2023 | 42713.22 | 0.44448 | 846.72 | 3.1154 | 449.655 | 13.83 | 356 | 1.2 | 206.19 | 411
Dubai at Jumeirah Beach | 4 | 3 | 2023 | 38471.1 | 0.44448 | 1120.77 | 3.1154 | 441.07 | 13.83 | 328 | 1.2 | 215.67 | 401
Dubai at Jumeirah Beach | 5 | 3 | 2023 | 35732.9 | 0.44448 | 699.3 | 3.1154 | 393.788 | 13.83 | 182 | 1.2 | 201.45 | 364
Dubai at Jumeirah Beach | 6 | 3 | 2023 | 38439.2 | 0.44448 | 997.92 | 3.1154 | 333.6369 | 13.83 | 285 | 1.2 | 210.93 | 354
Dubai at Jumeirah Beach | 7 | 3 | 2023 | 29548.44 | 0.44448 | 670.95 | 3.1154 | 366.9981 | 13.83 | 198 | 1.2 | 215.67 | 377
Dubai at Jumeirah Beach | 8 | 3 | 2023 | 37300.62 | 0.44448 | 767.34 | 3.1154 | 425.17 | 13.83 | 152 | 1.2 | 180.12 | 350
Dubai at Jumeirah Beach | 9 | 3 | 2023 | 36088.54 | 0.44448 | 835.38 | 3.1154 | 356.122 | 13.83 | 270 | 1.2 | 203.82 | 344
Dubai at Jumeirah Beach | 10 | 3 | 2023 | 36099.08 | 0.44448 | 954.45 | 3.1154 | 425.346 | 13.83 | 275 | 1.2 | 201.45 | 360
Dubai at Jumeirah Beach | 11 | 3 | 2023 | 39008.86 | 0.44448 | 812.7 | 3.1154 | 418.314 | 13.83 | 307 | 1.2 | 194.34 | 373
Dubai at Jumeirah Beach | 12 | 3 | 2023 | 35795.86 | 0.44448 | 795.69 | 3.1154 | 422.125 | 13.83 | 255 | 1.2 | 180.12 | 339
Dubai at Jumeirah Beach | 13 | 3 | 2023 | 36865.12 | 0.44448 | 841.05 | 3.1154 | 408.116 | 13.83 | 291 | 1.2 | 196.71 | 348
Dubai at Jumeirah Beach | 14 | 3 | 2023 | 36788.38 | 0.44448 | 735.21 | 3.1154 | 399.747 | 13.83 | 213 | 1.2 | 184.86 | 324
Dubai at Jumeirah Beach | 15 | 3 | 2023 | 38336.92 | 0.44448 | 835.38 | 3.1154 | 408.685 | 13.83 | 164 | 1.2 | 220.41 | 373
Dubai at Jumeirah Beach | 16 | 3 | 2023 | 37437.24 | 0.44448 | 746.55 | 3.1154 | 403.685 | 13.83 | 261 | 1.2 | 222.78 | 398
Dubai at Jumeirah Beach | 17 | 3 | 2023 | 38612.76 | 0.44448 | 984.69 | 3.1154 | 437.304 | 13.83 | 151 | 1.2 | 227.52 | 427
Dubai at Jumeirah Beach | 18 | 3 | 2023 | 38757.34 | 0.44448 | 997.92 | 3.1154 | 342.235 | 13.83 | 357 | 1.2 | 215.67 | 414
Dubai at Jumeirah Beach | 19 | 3 | 2023 | 33252.4 | 0.44448 | 863.73 | 3.1154 | 467.438 | 13.83 | 166 | 1.2 | 175.38 | 325
Dubai at Jumeirah Beach | 20 | 3 | 2023 | 34852.74 | 0.44448 | 856.17 | 3.1154 | 346.697 | 13.83 | 275 | 1.2 | 173.01 | 304
Dubai at Jumeirah Beach | 21 | 3 | 2023 | 34283.62 | 0.44448 | 943.11 | 3.1154 | 326.935 | 13.83 | 285 | 1.2 | 189.6 | 305
Dubai at Jumeirah Beach | 22 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 361
Dubai at Jumeirah Beach | 23 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3) | Nammos Main Waterline (m3) | Nammos Water 1 (m3) | Nammos Water 2 (m3) | Nammos Water 3 (m3) | Nammos Water 4 (m3) | Pavilion (m3) | Pavilion (kwh)
Dubai at Jumeirah Beach | 1 | 3 | 2023 | 184.86 | 366 | 606 | 453 | 116 | 0 | 99 | 17 | 1997.52 | 4774.56 | 8233.68 | 2630.88 | 633.36 | 5748.96 | 3897.6 | 4482.24 | 3118.08 | 5797.68 | 49400 | 5900 | 0 | 156.87 | 224.91 | 351.54 | 184 | 34.02 | 39.69 | 11.34 | 17.01 | 28.35 | 64.26 | 8 | 10 | 14 | 19 | 5 | 10 | 7 | 11 | 9 | 4 | 3 | 1140 | 920 | 660 | 650 | 619 | 159.1 | 4600 | 290 | 3700 | 1100 | 500 | 720 | 26.46 | 22.68 | 18.9 | 15.12 | 69.93 | 4 | 107.112 | 0 | 7 | 5 | 3 | 0.03 | 249.7
Dubai at Jumeirah Beach | 2 | 3 | 2023 | 218.04 | 413 | 641 | 443 | 0 | 0 | 106 | 16 | 1997.52 | 4287.36 | 0 | 8672.16 | 1900.08 | 5164.32 | 3848.88 | 4092.48 | 3020.64 | 5359.2 | 0 | 49700 | 6000 | 134.19 | 207.9 | 313.74 | 158 | 28.35 | 32.13 | 13.23 | 18.9 | 11.34 | 64.26 | 8 | 9 | 13 | 20 | 4 | 9 | 6 | 11 | 8 | 4 | 7 | 1020 | 810 | 600 | 610 | 594 | 139.9 | 4100 | 230 | 2900 | 1200 | 700 | 670 | 26.46 | 18.9 | 41.58 | 17.01 | 62.37 | 210 | 148.855 | 0 | 5 | 4 | 5 | 0.03 | 234.6
Dubai at Jumeirah Beach | 3 | 3 | 2023 | 206.19 | 411 | 721 | 532 | 210 | 0 | 115 | 17 | 2046.24 | 6677.12 | 0 | 4289.84 | 10523.52 | 5554.08 | 4336.08 | 4482.24 | 3215.52 | 5797.68 | 0 | 6400 | 56100 | 151.2 | 219.24 | 279.72 | 176 | 34.02 | 37.8 | 15.12 | 17.01 | 24.57 | 68.04 | 8 | 9 | 14 | 21 | 6 | 10 | 11 | 14 | 8 | 4 | 6 | 1100 | 900 | 670 | 720 | 658 | 152 | 4800 | 330 | 4800 | 1500 | 700 | 810 | 32.13 | 24.57 | 30.24 | 24.57 | 60.48 | 356 | 152.295 | 0 | 6 | 5 | 3 | 0.05 | 161.1
Dubai at Jumeirah Beach | 4 | 3 | 2023 | 215.67 | 401 | 739 | 618 | 276 | 0 | 120 | 23 | 3410.4 | 3554.08 | 0 | 6813.36 | 1315.44 | 6723.36 | 5018.16 | 5748.96 | 3848.88 | 7210.56 | 0 | 59700 | 0 | 179.55 | 260.82 | 427.14 | 213 | 39.69 | 43.47 | 18.9 | 24.57 | 37.8 | 88.83 | 9 | 10 | 14 | 27 | 5 | 11 | 8 | 11 | 13 | 6 | 7 | 1320 | 1060 | 790 | 980 | 765 | 181.6 | 5900 | 380 | 7000 | 1700 | 800 | 870 | 37.8 | 28.35 | 30.24 | 32.13 | 85.05 | 328 | 166.26 | 0 | 5 | 8 | 4 | 0.67 | 257.1
Dubai at Jumeirah Beach | 5 | 3 | 2023 | 201.45 | 364 | 607 | 387 | 265 | 0 | 104 | 15 | 3046.24 | 4507.84 | 0 | 13600.32 | 535.92 | 4238.64 | 3069.36 | 3264.24 | 2338.56 | 4336.08 | 0 | 55500 | 0 | 122.85 | 170.1 | 251.37 | 144 | 24.57 | 30.24 | 11.34 | 13.23 | 18.9 | 56.7 | 3 | 3 | 11 | 13 | 5 | 7 | 21 | 7 | 6 | 4 | 6 | 830 | 660 | 490 | 620 | 496 | 120.1 | 2600 | 200 | 3000 | 500 | 500 | 430 | 20.79 | 17.01 | 24.57 | 15.12 | 39.69 | 182 | 117.182 | 0 | 8 | 4 | 4 | 0.03 | 108.3
Dubai at Jumeirah Beach | 6 | 3 | 2023 | 210.93 | 354 | 608 | 504 | 210 | 0 | 103 | 13 | 2215.52 | 4456.64 | 194.88 | 7792.72 | 2143.68 | 6577.2 | 4628.4 | 4969.44 | 3605.28 | 6187.44 | 0 | 53200 | 0 | 175.77 | 232.47 | 351.54 | 207 | 39.69 | 43.47 | 18.9 | 18.9 | 37.8 | 79.38 | 5 | 6 | 16 | 19 | 5 | 9 | 5 | 9 | 9 | 4 | 6 | 1190 | 810 | 720 | 690 | 672 | 176.1 | 4600 | 310 | 5400 | 1200 | 600 | 720 | 39.69 | 24.57 | 24.57 | 15.12 | 68.04 | 285 | 162.1311 | 10 | 7 | 4 | 3 | 1.232 | 250
Dubai at Jumeirah Beach | 7 | 3 | 2023 | 215.67 | 377 | 618 | 390 | 255 | 0 | 103 | 16 | 2143.68 | 3800.16 | 8574.72 | 48.72 | 682.08 | 4384.8 | 3069.36 | 3312.96 | 2387.28 | 4579.68 | 46000 | 2300 | 6300 | 124.74 | 168.21 | 211.68 | 147 | 30.24 | 35.91 | 11.34 | 15.12 | 18.9 | 54.81 | 8 | 8 | 14 | 16 | 5 | 6 | 7 | 8 | 7 | 4 | 7 | 840 | 800 | 500 | 590 | 465 | 123 | 3200 | 240 | 4100 | 800 | 600 | 360 | 26.46 | 15.12 | 24.57 | 17.01 | 41.58 | 198 | 148.7739 | 4 | 4 | 6 | 4 | 1.228 | 240
Dubai at Jumeirah Beach | 8 | 3 | 2023 | 180.12 | 350 | 627 | 480 | 237 | 0 | 112 | 16 | 2777.04 | 4677.12 | 10523.52 | 48.72 | 925.68 | 5505.36 | 3897.6 | 4384.8 | 2971.92 | 5748.96 | 57400 | 0 | 0 | 151.2 | 185.22 | 247.59 | 176 | 26.46 | 35.91 | 11.34 | 15.12 | 28.35 | 66.15 | 5 | 3 | 17 | 19 | 6 | 7 | 12 | 8 | 9 | 4 | 3 | 1120 | 860 | 640 | 670 | 593 | 154.4 | 4300 | 300 | 5400 | 1100 | 700 | 570 | 30.24 | 20.79 | 30.24 | 18.9 | 64.26 | 152 | 92.602 | 2 | 5 | 6 | 4 | 2.228 | 277.1
Dubai at Jumeirah Beach | 9 | 3 | 2023 | 203.82 | 344 | 585 | 485 | 148 | 0 | 113 | 17 | 2728.32 | 4579.68 | 9987.6 | 48.72 | 828.24 | 5456.64 | 3946.32 | 4238.64 | 2825.76 | 5407.92 | 56700 | 0 | 0 | 154.98 | 213.57 | 283.5 | 183 | 26.46 | 35.91 | 11.34 | 15.12 | 30.24 | 64.26 | 6 | 3 | 12 | 17 | 6 | 8 | 7 | 10 | 8 | 4 | 3 | 1020 | 890 | 620 | 640 | 628 | 150.5 | 4000 | 260 | 5100 | 1200 | 500 | 670 | 22.68 | 22.68 | 30.24 | 17.01 | 60.48 | 270 | 120.856 | 9 | 6 | 6 | 4 | 2.022 | 161.3
Dubai at Jumeirah Beach | 10 | 3 | 2023 | 201.45 | 360 | 681 | 523 | 263 | 0 | 103 | 10 | 2874.48 | 4628.4 | 7210.56 | 779.52 | 2046.24 | 5602.8 | 4043.76 | 4530.96 | 2874.48 | 5554.08 | 43000 | 4000 | 5700 | 153.09 | 224.91 | 381.78 | 180 | 34.02 | 30.24 | 11.34 | 17.01 | 28.35 | 73.71 | 5 | 3 | 15 | 19 | 7 | 8 | 11 | 10 | 9 | 4 | 3 | 1040 | 880 | 570 | 750 | 645 | 151.4 | 3500 | 260 | 4300 | 1200 | 600 | 690 | 26.46 | 22.68 | 30.24 | 22.68 | 66.15 | 275 | 138.614 | 9 | 6 | 6 | 5 | 0.04 | 161.2
Dubai at Jumeirah Beach | 11 | 3 | 2023 | 194.34 | 373 | 673 | 511 | 266 | 0 | 109 | 15 | 2923.2 | 4872 | 1656.48 | 876.96 | 9451.68 | 5651.52 | 4092.48 | 4628.4 | 3069.36 | 6041.28 | 5700 | 0 | 50200 | 154.98 | 215.46 | 240.03 | 182 | 34.02 | 39.69 | 13.23 | 18.9 | 30.24 | 66.15 | 3 | 3 | 13 | 19 | 5 | 9 | 9 | 9 | 11 | 5 | 4 | 1090 | 890 | 600 | 740 | 685 | 152.3 | 4300 | 300 | 5000 | 1300 | 500 | 790 | 30.24 | 22.68 | 32.13 | 24.57 | 69.93 | 307 | 142.086 | 8 | 8 | 6 | 4 | 0.6 | 249.5
Dubai at Jumeirah Beach | 12 | 3 | 2023 | 180.12 | 339 | 684 | 506 | 267 | 0 | 119 | 15 | 2630.88 | 4530.96 | 9061.92 | 2094.96 | 0 | 5261.76 | 3946.32 | 4433.52 | 2971.92 | 5407.92 | 55400 | 5400 | 0 | 153.09 | 221.13 | 221.13 | 178 | 32.13 | 39.69 | 11.34 | 17.01 | 28.35 | 71.82 | 3 | 3 | 18 | 21 | 7 | 8 | 15 | 11 | 10 | 4 | 9 | 1260 | 850 | 710 | 760 | 635 | 175.5 | 3700 | 260 | 4900 | 1200 | 500 | 670 | 26.46 | 22.68 | 28.35 | 22.68 | 60.48 | 255 | 139.825 | 7 | 4 | 6 | 5 | 0.05 | 329.3
Dubai at Jumeirah Beach | 13 | 3 | 2023 | 196.71 | 348 | 624 | 467 | 269 | 0 | 116 | 9 | 2777.04 | 4579.68 | 0 | 9500.4 | 1412.88 | 5505.36 | 3800.16 | 4628.4 | 2728.32 | 5554.08 | 0 | 51900 | 5900 | 153.09 | 181.44 | 308.07 | 179 | 30.24 | 35.91 | 13.23 | 18.9 | 28.35 | 71.82 | 3 | 3 | 14 | 17 | 5 | 7 | 8 | 8 | 8 | 4 | 6 | 870 | 840 | 450 | 650 | 600 | 125.7 | 4000 | 280 | 5600 | 1300 | 600 | 680 | 28.35 | 20.79 | 26.46 | 17.01 | 54.81 | 291 | 116.864 | 5 | 7 | 6 | 4 | 0.02 | 211.2
Dubai at Jumeirah Beach | 14 | 3 | 2023 | 184.86 | 324 | 626 | 445 | 269 | 0 | 115 | 12 | 2728.32 | 4677.12 | 1412.88 | 682.08 | 9354.24 | 5505.36 | 3654 | 4287.36 | 3020.64 | 5310.48 | 6000 | 0 | 53200 | 151.2 | 217.35 | 181.44 | 177 | 28.35 | 37.8 | 11.34 | 18.9 | 20.79 | 68.04 | 3 | 3 | 13 | 17 | 6 | 8 | 7 | 10 | 8 | 4 | 7 | 990 | 820 | 530 | 680 | 586 | 150.4 | 3900 | 280 | 5700 | 1200 | 500 | 640 | 28.35 | 20.79 | 30.24 | 18.9 | 56.7 | 213 | 132.223 | 0 | 5 | 6 | 4 | 0.03 | 238.1
Dubai at Jumeirah Beach | 15 | 3 | 2023 | 220.41 | 373 | 639 | 477 | 259 | 0 | 116 | 18 | 2777.04 | 4872 | 9451.68 | 2387.28 | 292.32 | 5651.52 | 3848.88 | 4530.96 | 2971.92 | 5651.52 | 57000 | 5500 | 0 | 175.77 | 219.24 | 249.48 | 194 | 28.35 | 39.69 | 15.12 | 17.01 | 20.79 | 69.93 | 5 | 3 | 12 | 17 | 6 | 7 | 15 | 7 | 9 | 4 | 0 | 1030 | 910 | 580 | 700 | 591 | 159.5 | 3800 | 300 | 6100 | 1400 | 600 | 670 | 30.24 | 22.68 | 28.35 | 17.01 | 69.93 | 164 | 135.265 | 0 | 4 | 3 | 3 | 0.05 | 287.2
Dubai at Jumeirah Beach | 16 | 3 | 2023 | 222.78 | 398 | 627 | 451 | 114 | 0 | 122 | 17 | 2679.6 | 4482.24 | 0 | 10377.36 | 1851.36 | 5164.32 | 3848.88 | 4482.24 | 2971.92 | 5407.92 | 0 | 58600 | 6600 | 143.64 | 228.69 | 190.89 | 173 | 32.13 | 37.8 | 11.34 | 18.9 | 18.9 | 64.26 | 3 | 3 | 12 | 16 | 7 | 7 | 3 | 9 | 9 | 4 | 6 | 990 | 790 | 520 | 660 | 621 | 142.2 | 3900 | 300 | 5600 | 1300 | 600 | 670 | 26.46 | 20.79 | 32.13 | 17.01 | 58.59 | 261 | 127.275 | 9 | 5 | 5 | 4 | 0.04 | 247.6
Dubai at Jumeirah Beach | 17 | 3 | 2023 | 227.52 | 427 | 691 | 533 | 267 | 0 | 107 | 15 | 2728.32 | 4872 | 1315.44 | 730.8 | 9500.4 | 5554.08 | 4189.92 | 4725.84 | 3264.24 | 5895.12 | 5400 | 0 | 53300 | 154.98 | 260.82 | 385.56 | 186 | 35.91 | 41.58 | 13.23 | 17.01 | 20.79 | 54.81 | 3 | 4 | 14 | 19 | 8 | 8 | 11 | 10 | 9 | 5 | 0 | 1070 | 890 | 590 | 800 | 653 | 156.3 | 4400 | 310 | 6100 | 1700 | 500 | 750 | 32.13 | 22.68 | 30.24 | 24.57 | 68.04 | 151 | 149.186 | 0 | 10 | 3 | 0 | 0.51 | 160.4
Dubai at Jumeirah Beach | 18 | 3 | 2023 | 215.67 | 414 | 616 | 543 | 130 | 0 | 100 | 12 | 2289.84 | 4920.72 | 9256.8 | 2338.56 | 0 | 5700.24 | 4287.36 | 5115.6 | 3166.8 | 6382.32 | 51000 | 4800 | 0 | 158.76 | 268.38 | 355.32 | 191 | 37.8 | 41.58 | 13.23 | 20.79 | 26.46 | 75.6 | 6 | 5 | 16 | 24 | 5 | 12 | 13 | 13 | 14 | 7 | 0 | 1220 | 920 | 700 | 890 | 727 | 171.4 | 2700 | 280 | 4600 | 1600 | 800 | 690 | 32.13 | 26.46 | 41.58 | 30.24 | 81.27 | 357 | 143.625 | 1 | 6 | 6 | 2 | 0.14 | 243.9
Dubai at Jumeirah Beach | 19 | 3 | 2023 | 175.38 | 325 | 695 | 463 | 259 | 0 | 93 | 14 | 1948.8 | 4287.36 | 730.8 | 8087.52 | 1266.72 | 4920.72 | 3605.28 | 3946.32 | 2728.32 | 5261.76 | 0 | 47300 | 4700 | 145.53 | 243.81 | 309.96 | 175 | 28.35 | 32.13 | 11.34 | 15.12 | 17.01 | 60.48 | 6 | 3 | 13 | 14 | 5 | 4 | 12 | 8 | 5 | 2 | 6 | 860 | 770 | 520 | 670 | 518 | 130.5 | 4100 | 170 | 3500 | 1200 | 500 | 560 | 20.79 | 17.01 | 15.12 | 20.79 | 47.25 | 166 | 134.502 | 3 | 8 | 6 | 3 | 1.06 | 193.2
Dubai at Jumeirah Beach | 20 | 3 | 2023 | 173.01 | 304 | 571 | 416 | 262 | 0 | 94 | 12 | 2046.24 | 4579.68 | 1948.8 | 633.36 | 7746.48 | 5359.2 | 3702.72 | 4336.08 | 2923.2 | 5310.48 | 4600 | 0 | 43500 | 154.98 | 243.81 | 274.05 | 183 | 30.24 | 35.91 | 13.23 | 18.9 | 18.9 | 66.15 | 3 | 3 | 19 | 12 | 7 | 7 | 7 | 6 | 7 | 4 | 7 | 980 | 780 | 600 | 610 | 573 | 151.1 | 3100 | 240 | 3900 | 1500 | 500 | 670 | 26.46 | 20.79 | 20.79 | 17.01 | 58.59 | 275 | 120.253 | 12 | 6 | 6 | 5 | 0.05 | 190.5
Dubai at Jumeirah Beach | 21 | 3 | 2023 | 189.6 | 305 | 551 | 412 | 268 | 0 | 98 | 13 | 1948.8 | 4530.96 | 8623.44 | 1753.92 | 48.72 | 5359.2 | 3556.56 | 4238.64 | 2825.76 | 5164.32 | 47900 | 4800 | 0 | 153.09 | 253.26 | 351.54 | 183 | 32.13 | 37.8 | 13.23 | 18.9 | 18.9 | 64.26 | 5 | 3 | 7 | 16 | 6 | 8 | 9 | 8 | 9 | 4 | 6 | 960 | 790 | 590 | 610 | 601 | 146.9 | 3200 | 250 | 4400 | 1500 | 400 | 640 | 28.35 | 20.79 | 18.9 | 18.9 | 56.7 | 285 | 127.035 | 8 | 5 | 5 | 4 | 0.03 | 215.7
Dubai at Jumeirah Beach | 22 | 3 | 2023 |  | 361
Dubai at Jumeirah Beach | 23 | 3 | 2023
Dubai at Jumeirah Beach | 24 | 3 | 2023
Dubai at Jumeirah Beach | 25 | 3 | 2023
Dubai at Jumeirah Beach | 26 | 3 | 2023
Dubai at Jumeirah Beach | 27 | 3 | 2023
Dubai at Jumeirah Beach | 28 | 3 | 2023
Dubai at Jumeirah Beach | 29 | 3 | 2023
Dubai at Jumeirah Beach | 30 | 3 | 2023
Dubai at Jumeirah Beach | 31 | 3 | 2023

## DJB Daily Readings
Daily Water Consumption March 2023 | [18 empty] | Electricity Daily Consumption March 2020 | [29 empty] | Chiller BTU Meter Reading March 2023 | [20 empty] | Lpg Daily Consumption March 2023 | [25 empty] | F& B Village Daily Water Meter Reading 2023 | [21 empty] | F & B Electrical Daily Reading March 2023 | [11 empty] | F & B Village Chilled Water Reading March 2023 | [11 empty] | F & B Village Daily Lpg Reading March 2023 | [9 empty] | Nammos Reading
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini |  | Namos Water Main |  | Water 1 |  | Water 2 |  | Water 3 |  | Water 4 |  | Pavilion Water |  | Pavilion Electricity
|  | Reading In M³ | Daily consumption M³ 2023 | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading kwh | Daily Consumption kwh
2022-02-28 | 74% | 259612 | 606 | 550 | 277903 | 453 | 416 | 22339 | 4 | 936132 | 116 | 246269 | 0 | 122539 | 99 | 3.035 | 6958 | 17 | 8344420.56 | 1997.52 | 1997.52 | 15846667.2 | 4774.56 | 4774.56 | 15989319.36 | 8233.68 | 8233.68 | 19147447.2 | 2630.88 | 2630.88 | 19399914.24 | 633.36 | 633.36 | 18005304.24 | 5748.96 | 5748.96 | 15118010.88 | 3897.6 | 3897.6 | 14675535.84 | 4482.24 | 4482.24 | 11425570.8 | 3118.08 | 3118.08 | 18159649.2 | 5797.68 | 5797.68 | 78980400 | 49400 | 49400 | 81987800 | 5900 | 5900 | 75851600 | 0 | 0 | [10 empty] | 10777520 | 7350 | 70% | 15% | -15% | 65793 | 18 | 57015 | 21 | 19252 | 6 | 26376 | 9 | 29678 | 15 | 65373 | 34 | 274245 | 83 | 83 | 224360 | 119 | 119 | 376314 | 186 | 186 | 708909 | 184 | 9548 | 10 | 6443 | 8 | 33423 | 19 | 33545 | 14 | 22668 | 10 | 24484 | 5 | 7989 | 11 | 10418 | 7 | 3637 | 4 | 7113 | 9 | 30623 | 3 | 7224.3 | 11.4 | 11927.6 | 9.2 | 5311 | 6.6 | 5926 | 6.5 | 1172656 | 619 | 243423.5 | 159.1 | 12370700 | 4600 | 953090 | 290 | 7321800 | 1100 | 2521500 | 500 | 1325980 | 720 | 16802500 | 3700 | 43395 | 14 | 37805 | 12 | 8358 | 0 | 60441 | 10 | 52292 | 37 | 90044.888 | 107.112 | 12381 | 0 | 11035 | 7 | 8730 | 5 | 9107 | 3 | 181.52 | 0.03 | 262080.3 | 249.7
2022-03-01 | 78% | 260218 |  |  | 278356 |  |  | 22343 |  | 936248 |  | 246269 |  | 122638 |  |  | 6975 |  | 8346418.08 |  |  | 15851441.76 |  |  | 15997553.04 |  |  | 19150078.08 |  |  | 19400547.6 |  |  | 18011053.2 |  |  | 15121908.48 |  |  | 14680018.08 |  |  | 11428688.88 |  |  | 18165446.88 |  |  | 79029800 |  |  | 81993700 |  |  | 75851600 | [12 empty] | 10784870 |  | 85% |  |  | 65811 |  | 57036 |  | 19258 |  | 26385 |  | 29693 |  | 65407 |  | 274328 |  |  | 224479 |  |  | 376500 |  |  | 709093 |  | 9558 |  | 6451 |  | 33442 |  | 33559 |  | 22678 |  | 24489 |  | 8000 |  | 10425 |  | 3641 |  | 7122 |  | 30626 |  | 7235.7 |  | 11936.8 |  | 5317.6 |  | 5932.5 |  | 1173275 |  | 243582.6 |  | 12375300 |  | 953380 |  | 7322900 |  | 2522000 |  | 1326700 |  | 16806200 |  | 43409 |  | 37817 |  | 8366 |  | 60451 |  | 52329 |  | 90152 |  | 12381 |  | 11042 |  | 8735 |  | 9110 |  | 181.55 |  | 262330
2022-03-02 | 92% | 260859 | 641 | 564 | 278799 | 443 | 429 | 22553 | 210 | 936458 | 210 | 246269 | 0 | 122744 | 106 | 3.262 | 6991 | 16 | 8348415.6 | 1997.52 | 1997.52 | 15855729.12 | 4287.36 | 4287.36 | 15997553.04 | 0 | 0 | 19158750.24 | 8672.16 | 8672.16 | 19402447.68 | 1900.08 | 1900.08 | 18016217.52 | 5164.32 | 5164.32 | 15125757.36 | 3848.88 | 3848.88 | 14684110.56 | 4092.48 | 4092.48 | 11431709.52 | 3020.64 | 3020.64 | 18170806.08 | 5359.2 | 5359.2 | 79029800 | 0 | 0 | 82043400 | 49700 | 49700 | 75857600 | 6000 | 6000 | [10 empty] | 10791670 | 6800 | 78% | 7% | 7% | 65826 | 15 | 57053 | 17 | 19265 | 7 | 26395 | 10 | 29699 | 6 | 65441 | 34 | 274399 | 71 | 71 | 224589 | 110 | 110 | 376666 | 166 | 166 | 709251 | 158 | 9567 | 9 | 6459 | 8 | 33462 | 20 | 33572 | 13 | 22687 | 9 | 24493 | 4 | 8011 | 11 | 10431 | 6 | 3645 | 4 | 7130 | 8 | 30633 | 7 | 7245.9 | 10.2 | 11944.9 | 8.1 | 5323.6 | 6 | 5938.6 | 6.1 | 1173869 | 594 | 243722.5 | 139.9 | 12379400 | 4100 | 953610 | 230 | 7324100 | 1200 | 2522700 | 700 | 1327370 | 670 | 16809100 | 2900 | 43423 | 14 | 37827 | 10 | 8375 | 9 | 60473 | 22 | 52362 | 33 | 90300.855 | 148.855 | 12381 | 0 | 11047 | 5 | 8739 | 4 | 9115 | 5 | 181.58 | 0.03 | 262564.6 | 234.6
2022-03-03 | 87% | 261580 | 721 | 682 | 279331 | 532 | 463 | 22909 | 356 | 936734 | 276 | 246269 | 0 | 122859 | 115 | 2.086 | 7008 | 17 | 8350461.84 | 2046.24 | 2046.24 | 15862406.24 | 6677.12 | 6677.12 | 15997553.04 | 0 | 0 | 19163040.08 | 4289.84 | 4289.84 | 19412971.2 | 10523.52 | 10523.52 | 18021771.6 | 5554.08 | 5554.08 | 15130093.44 | 4336.08 | 4336.08 | 14688592.8 | 4482.24 | 4482.24 | 11434925.04 | 3215.52 | 3215.52 | 18176603.76 | 5797.68 | 5797.68 | 79029800 | 0 | 0 | 82049800 | 6400 | 6400 | 75913700 | 56100 | 56100 | [10 empty] | 10799680 | 8010 | 70% | 8% | 8% | 65844 | 18 | 57073 | 20 | 19273 | 8 | 26404 | 9 | 29712 | 13 | 65477 | 36 | 274479 | 80 | 80 | 224705 | 116 | 116 | 376814 | 148 | 148 | 709427 | 176 | 9576 | 9 | 6467 | 8 | 33483 | 21 | 33586 | 14 | 22697 | 10 | 24499 | 6 | 8025 | 14 | 10442 | 11 | 3649 | 4 | 7138 | 8 | 30639 | 6 | 7256.9 | 11 | 11953.9 | 9 | 5330.3 | 6.7 | 5945.8 | 7.2 | 1174527 | 658 | 243874.5 | 152 | 12384200 | 4800 | 953940 | 330 | 7325600 | 1500 | 2523400 | 700 | 1328180 | 810 | 16813900 | 4800 | 43440 | 17 | 37840 | 13 | 8388 | 13 | 60489 | 16 | 52394 | 32 | 90453.15 | 152.295 | 12381 | 0 | 11053 | 6 | 8744 | 5 | 9118 | 3 | 181.63 | 0.05 | 262725.7 | 161.1
2022-03-04 | 91% | 262319 | 739 | 680 | 279949 | 618 | 508 | 23237 | 328 | 936999 | 265 | 246269 | 0 | 122979 | 120 | 2.087 | 7031 | 23 | 8353872.24 | 3410.4 | 3410.4 | 15865960.32 | 3554.08 | 3554.08 | 15997553.04 | 0 | 0 | 19169853.44 | 6813.36 | 6813.36 | 19414286.64 | 1315.44 | 1315.44 | 18028494.96 | 6723.36 | 6723.36 | 15135111.6 | 5018.16 | 5018.16 | 14694341.76 | 5748.96 | 5748.96 | 11438773.92 | 3848.88 | 3848.88 | 18183814.32 | 7210.56 | 7210.56 | 79029800 | 0 | 0 | 82109500 | 59700 | 59700 | 75913700 | 0 | 0 | [10 empty] | 10808810 | 9130 | 79% | -9% | -9% | 65865 | 21 | 57096 | 23 | 19283 | 10 | 26417 | 13 | 29732 | 20 | 65524 | 47 | 274574 | 95 | 95 | 224843 | 138 | 138 | 377040 | 226 | 226 | 709640 | 213 | 9586 | 10 | 6476 | 9 | 33510 | 27 | 33600 | 14 | 22708 | 11 | 24504 | 5 | 8036 | 11 | 10450 | 8 | 3655 | 6 | 7151 | 13 | 30646 | 7 | 7270.1 | 13.2 | 11964.5 | 10.6 | 5338.2 | 7.9 | 5955.6 | 9.8 | 1175292 | 765 | 244056.1 | 181.6 | 12390100 | 5900 | 954320 | 380 | 7327300 | 1700 | 2524200 | 800 | 1329050 | 870 | 16820900 | 7000 | 43460 | 20 | 37855 | 15 | 8405 | 17 | 60505 | 16 | 52439 | 45 | 90619.41 | 166.26 | 12381 | 0 | 11058 | 5 | 8752 | 8 | 9122 | 4 | 182.3 | 0.67 | 262982.8 | 257.1
2022-03-05 | 85% | 262926 | 607 | 675 | 280336 | 387 | 486 | 23419 | 182 | 937209 | 210 | 246269 | 0 | 123083 | 104 | 2.095 | 7046 | 15 | 8356918.48 | 3046.24 | 3046.24 | 15870468.16 | 4507.84 | 4507.84 | 15997553.04 | 0 | 0 | 19183453.76 | 13600.32 | 13600.32 | 19414822.56 | 535.92 | 535.92 | 18032733.6 | 4238.64 | 4238.64 | 15138180.96 | 3069.36 | 3069.36 | 14697606 | 3264.24 | 3264.24 | 11441112.48 | 2338.56 | 2338.56 | 18188150.4 | 4336.08 | 4336.08 | 79029800 | 0 | 0 | 82165000 | 55500 | 55500 | 75913700 | 0 | 0 | [10 empty] | 10815120 | 6310 | 71% | 8% | 8% | 65878 | 13 | 57112 | 16 | 19289 | 6 | 26424 | 7 | 29742 | 10 | 65554 | 30 | 274639 | 65 | 65 | 224933 | 90 | 90 | 377173 | 133 | 133 | 709784 | 144 | 9589 | 3 | 6479 | 3 | 33523 | 13 | 33611 | 11 | 22715 | 7 | 24509 | 5 | 8043 | 7 | 10471 | 21 | 3659 | 4 | 7157 | 6 | 30652 | 6 | 7278.4 | 8.3 | 11971.1 | 6.6 | 5343.1 | 4.9 | 5961.8 | 6.2 | 1175788 | 496 | 244176.2 | 120.1 | 12392700 | 2600 | 954520 | 200 | 7327800 | 500 | 2524700 | 500 | 1329480 | 430 | 16823900 | 3000 | 43471 | 11 | 37864 | 9 | 8413 | 8 | 60518 | 13 | 52460 | 21 | 90736.592 | 117.182 | 12381 | 0 | 11066 | 8 | 8756 | 4 | 9126 | 4 | 182.33 | 0.03 | 263091.1 | 108.3
2022-03-06 | 89% | 263534 | 608 | 644 | 280840 | 504 | 438 | 23704 | 285 | 937464 | 255 | 246269 | 0 | 123186 | 103 | 9.236 | 7059 | 13 | 8359134 | 2215.52 | 2215.52 | 15874924.8 | 4456.64 | 4456.64 | 15997747.92 | 194.88 | 194.88 | 19191246.48 | 7792.72 | 7792.72 | 19416966.24 | 2143.68 | 2143.68 | 18039310.8 | 6577.2 | 6577.2 | 15142809.36 | 4628.4 | 4628.4 | 14702575.44 | 4969.44 | 4969.44 | 11444717.76 | 3605.28 | 3605.28 | 18194337.84 | 6187.44 | 6187.44 | 79029800 | 0 | 0 | 82218200 | 53200 | 53200 | 75913700 | 0 | 0 | [10 empty] | 10823360 | 8240 | 74% | -3% | -3% | 65899 | 21 | 57135 | 23 | 19299 | 10 | 26434 | 10 | 29762 | 20 | 65596 | 42 | 274732 | 93 | 93 | 225056 | 123 | 123 | 377359 | 186 | 186 | 709991 | 207 | 9595 | 6 | 6484 | 5 | 33542 | 19 | 33627 | 16 | 22724 | 9 | 24514 | 5 | 8052 | 9 | 10476 | 5 | 3663 | 4 | 7166 | 9 | 30658 | 6 | 7290.3 | 11.9 | 11979.2 | 8.1 | 5350.3 | 7.2 | 5968.7 | 6.9 | 1176460 | 672 | 244352.3 | 176.1 | 12397300 | 4600 | 954830 | 310 | 7329000 | 1200 | 2525300 | 600 | 1330200 | 720 | 16829300 | 5400 | 43492 | 21 | 37877 | 13 | 8421 | 8 | 60531 | 13 | 52496 | 36 | 90898.7231 | 162.1311 | 12391 | 10 | 11073 | 7 | 8760 | 4 | 9129 | 3 | 183.562 | 1.232 | 263341.1 | 250
2022-03-07 | 91% | 264152 | 618 | 643 | 281230 | 390 | 425 | 23902 | 198 | 937701 | 237 | 246269 | 0 | 123289 | 103 | 4.928 | 7075 | 16 | 8361277.68 | 2143.68 | 2143.68 | 15878724.96 | 3800.16 | 3800.16 | 16006322.64 | 8574.72 | 8574.72 | 19191295.2 | 48.72 | 48.72 | 19417648.32 | 682.08 | 682.08 | 18043695.6 | 4384.8 | 4384.8 | 15145878.72 | 3069.36 | 3069.36 | 14705888.4 | 3312.96 | 3312.96 | 11447105.04 | 2387.28 | 2387.28 | 18198917.52 | 4579.68 | 4579.68 | 79075800 | 46000 | 46000 | 82220500 | 2300 | 2300 | 75920000 | 6300 | 6300 | [10 empty] | 10829780 | 6420 | 81% | -7% | -7% | 65915 | 16 | 57154 | 19 | 19305 | 6 | 26442 | 8 | 29772 | 10 | 65625 | 29 | 274798 | 66 | 66 | 225145 | 89 | 89 | 377471 | 112 | 112 | 710138 | 147 | 9603 | 8 | 6492 | 8 | 33558 | 16 | 33641 | 14 | 22730 | 6 | 24519 | 5 | 8060 | 8 | 10483 | 7 | 3667 | 4 | 7173 | 7 | 30665 | 7 | 7298.7 | 8.4 | 11987.2 | 8 | 5355.3 | 5 | 5974.6 | 5.9 | 1176925 | 465 | 244475.3 | 123 | 12400500 | 3200 | 955070 | 240 | 7329800 | 800 | 2525900 | 600 | 1330560 | 360 | 16833400 | 4100 | 43506 | 14 | 37885 | 8 | 8430 | 9 | 60544 | 13 | 52518 | 22 | 91047.497 | 148.7739 | 12395 | 4 | 11077 | 4 | 8766 | 6 | 9133 | 4 | 184.79 | 1.228 | 263581.1 | 240
2022-03-08 | 76% | 264779 | 627 | 696 | 281710 | 480 | 451 | 24054 | 152 | 937849 | 148 | 246269 | 0 | 123401 | 112 | 4.916 | 7091 | 16 | 8364054.72 | 2777.04 | 2777.04 | 15883402.08 | 4677.12 | 4677.12 | 16016846.16 | 10523.52 | 10523.52 | 19191343.92 | 48.72 | 48.72 | 19418574 | 925.68 | 925.68 | 18049200.96 | 5505.36 | 5505.36 | 15149776.32 | 3897.6 | 3897.6 | 14710273.2 | 4384.8 | 4384.8 | 11450076.96 | 2971.92 | 2971.92 | 18204666.48 | 5748.96 | 5748.96 | 79133200 | 57400 | 57400 | 82220500 | 0 | 0 | 75920000 | 0 | 0 | [10 empty] | 10837630 | 7850 | 81% | 0% | 0% | 65929 | 14 | 57173 | 19 | 19311 | 6 | 26450 | 8 | 29787 | 15 | 65660 | 35 | 274878 | 80 | 80 | 225243 | 98 | 98 | 377602 | 131 | 131 | 710314 | 176 | 9606 | 3 | 6497 | 5 | 33577 | 19 | 33658 | 17 | 22737 | 7 | 24525 | 6 | 8068 | 8 | 10495 | 12 | 3671 | 4 | 7182 | 9 | 30668 | 3 | 7309.9 | 11.2 | 11995.8 | 8.6 | 5361.7 | 6.4 | 5981.3 | 6.7 | 1177518 | 593 | 244629.7 | 154.4 | 12404800 | 4300 | 955370 | 300 | 7330900 | 1100 | 2526600 | 700 | 1331130 | 570 | 16838800 | 5400 | 43522 | 16 | 37896 | 11 | 8440 | 10 | 60560 | 16 | 52552 | 34 | 91140.099 | 92.602 | 12397 | 2 | 11082 | 5 | 8772 | 6 | 9137 | 4 | 187.018 | 2.228 | 263858.2 | 277.1
2022-03-09 | 86% | 265364 | 585 | 687 | 282195 | 485 | 450 | 24324 | 270 | 938112 | 263 | 246269 | 0 | 123514 | 113 | 4.93 | 7108 | 17 | 8366783.04 | 2728.32 | 2728.32 | 15887981.76 | 4579.68 | 4579.68 | 16026833.76 | 9987.6 | 9987.6 | 19191392.64 | 48.72 | 48.72 | 19419402.24 | 828.24 | 828.24 | 18054657.6 | 5456.64 | 5456.64 | 15153722.64 | 3946.32 | 3946.32 | 14714511.84 | 4238.64 | 4238.64 | 11452902.72 | 2825.76 | 2825.76 | 18210074.4 | 5407.92 | 5407.92 | 79189900 | 56700 | 56700 | 82220500 | 0 | 0 | 75920000 | 0 | 0 | [10 empty] | 10845760 | 8130 | 79% | 2% | 2% | 65943 | 14 | 57192 | 19 | 19317 | 6 | 26458 | 8 | 29803 | 16 | 65694 | 34 | 274960 | 82 | 82 | 225356 | 113 | 113 | 377752 | 150 | 150 | 710497 | 183 | 9609 | 3 | 6503 | 6 | 33594 | 17 | 33670 | 12 | 22745 | 8 | 24531 | 6 | 8078 | 10 | 10502 | 7 | 3675 | 4 | 7190 | 8 | 30671 | 3 | 7320.1 | 10.2 | 12004.7 | 8.9 | 5367.9 | 6.2 | 5987.7 | 6.4 | 1178146 | 628 | 244780.2 | 150.5 | 12408800 | 4000 | 955630 | 260 | 7332100 | 1200 | 2527100 | 500 | 1331800 | 670 | 16843900 | 5100 | 43534 | 12 | 37908 | 12 | 8449 | 9 | 60576 | 16 | 52584 | 32 | 91260.955 | 120.856 | 12406 | 9 | 11088 | 6 | 8778 | 6 | 9141 | 4 | 189.04 | 2.022 | 264019.5 | 161.3
2022-03-10 | 85% | 266045 | 681 | 682 | 282718 | 523 | 481 | 24599 | 275 | 938378 | 266 | 246269 | 0 | 123617 | 103 | 0.622 | 7118 | 10 | 8369657.52 | 2874.48 | 2874.48 | 15892610.16 | 4628.4 | 4628.4 | 16034044.32 | 7210.56 | 7210.56 | 19192172.16 | 779.52 | 779.52 | 19421448.48 | 2046.24 | 2046.24 | 18060260.4 | 5602.8 | 5602.8 | 15157766.4 | 4043.76 | 4043.76 | 14719042.8 | 4530.96 | 4530.96 | 11455777.2 | 2874.48 | 2874.48 | 18215628.48 | 5554.08 | 5554.08 | 79232900 | 43000 | 43000 | 82224500 | 4000 | 4000 | 75925700 | 5700 | 5700 | [10 empty] | 10853780 | 8020 | 85% | -6% | -6% | 65961 | 18 | 57208 | 16 | 19323 | 6 | 26467 | 9 | 29818 | 15 | 65733 | 39 | 275041 | 81 | 81 | 225475 | 119 | 119 | 377954 | 202 | 202 | 710677 | 180 | 9612 | 3 | 6508 | 5 | 33613 | 19 | 33685 | 15 | 22753 | 8 | 24538 | 7 | 8088 | 10 | 10513 | 11 | 3679 | 4 | 7199 | 9 | 30674 | 3 | 7330.5 | 10.4 | 12013.5 | 8.8 | 5373.6 | 5.7 | 5995.2 | 7.5 | 1178791 | 645 | 244931.6 | 151.4 | 12412300 | 3500 | 955890 | 260 | 7333300 | 1200 | 2527700 | 600 | 1332490 | 690 | 16848200 | 4300 | 43548 | 14 | 37920 | 12 | 8461 | 12 | 60592 | 16 | 52619 | 35 | 91399.569 | 138.614 | 12415 | 9 | 11094 | 6 | 8784 | 6 | 9146 | 5 | 189.08 | 0.04 | 264180.7 | 161.2
2022-03-11 | 82% | 266718 | 673 | 725 | 283229 | 511 | 472 | 24906 | 307 | 938645 | 267 | 246269 | 0 | 123726 | 109 | 0.558 | 7133 | 15 | 8372580.72 | 2923.2 | 2923.2 | 15897482.16 | 4872 | 4872 | 16035700.8 | 1656.48 | 1656.48 | 19193049.12 | 876.96 | 876.96 | 19430900.16 | 9451.68 | 9451.68 | 18065911.92 | 5651.52 | 5651.52 | 15161858.88 | 4092.48 | 4092.48 | 14723671.2 | 4628.4 | 4628.4 | 11458846.56 | 3069.36 | 3069.36 | 18221669.76 | 6041.28 | 6041.28 | 79238600 | 5700 | 5700 | 82224500 | 0 | 0 | 75975900 | 50200 | 50200 | [10 empty] | 10861820 | 8040 | 77% | 8% | 8% | 65979 | 18 | 57229 | 21 | 19330 | 7 | 26477 | 10 | 29834 | 16 | 65768 | 35 | 275123 | 82 | 82 | 225589 | 114 | 114 | 378081 | 127 | 127 | 710859 | 182 | 9615 | 3 | 6511 | 3 | 33632 | 19 | 33698 | 13 | 22762 | 9 | 24543 | 5 | 8097 | 9 | 10522 | 9 | 3684 | 5 | 7210 | 11 | 30678 | 4 | 7341.4 | 10.9 | 12022.4 | 8.9 | 5379.6 | 6 | 6002.6 | 7.4 | 1179476 | 685 | 245083.9 | 152.3 | 12416600 | 4300 | 956190 | 300 | 7334600 | 1300 | 2528200 | 500 | 1333280 | 790 | 16853200 | 5000 | 43564 | 16 | 37932 | 12 | 8474 | 13 | 60609 | 17 | 52656 | 37 | 91541.655 | 142.086 | 12423 | 8 | 11102 | 8 | 8790 | 6 | 9150 | 4 | 189.68 | 0.6 | 264430.2 | 249.5
2022-03-12 | 76% | 267402 | 684 | 789 | 283735 | 506 | 518 | 25161 | 255 | 938914 | 269 | 246269 | 0 | 123845 | 119 | 0.554 | 7148 | 15 | 8375211.6 | 2630.88 | 2630.88 | 15902013.12 | 4530.96 | 4530.96 | 16044762.72 | 9061.92 | 9061.92 | 19195144.08 | 2094.96 | 2094.96 | 19430900.16 | 0 | 0 | 18071173.68 | 5261.76 | 5261.76 | 15165805.2 | 3946.32 | 3946.32 | 14728104.72 | 4433.52 | 4433.52 | 11461818.48 | 2971.92 | 2971.92 | 18227077.68 | 5407.92 | 5407.92 | 79294000 | 55400 | 55400 | 82229900 | 5400 | 5400 | 75975900 | 0 | 0 | [10 empty] | 10869660 | 7840 | 81% | -4% | -4% | 65996 | 17 | 57250 | 21 | 19336 | 6 | 26486 | 9 | 29849 | 15 | 65806 | 38 | 275204 | 81 | 81 | 225706 | 117 | 117 | 378198 | 117 | 117 | 711037 | 178 | 9618 | 3 | 6514 | 3 | 33653 | 21 | 33716 | 18 | 22770 | 8 | 24550 | 7 | 8108 | 11 | 10537 | 15 | 3688 | 4 | 7220 | 10 | 30687 | 9 | 7354 | 12.6 | 12030.9 | 8.5 | 5386.7 | 7.1 | 6010.2 | 7.6 | 1180111 | 635 | 245259.4 | 175.5 | 12420300 | 3700 | 956450 | 260 | 7335800 | 1200 | 2528700 | 500 | 1333950 | 670 | 16858100 | 4900 | 43578 | 14 | 37944 | 12 | 8486 | 12 | 60624 | 15 | 52688 | 32 | 91681.48 | 139.825 | 12430 | 7 | 11106 | 4 | 8796 | 6 | 9155 | 5 | 189.73 | 0.05 | 264759.5 | 329.3
2022-03-13 | 83% | 268026 | 624 | 748 | 284202 | 467 | 441 | 25452 | 291 | 939183 | 269 | 246269 | 0 | 123961 | 116 | 0.552 | 7157 | 9 | 8377988.64 | 2777.04 | 2777.04 | 15906592.8 | 4579.68 | 4579.68 | 16044762.72 | 0 | 0 | 19204644.48 | 9500.4 | 9500.4 | 19432313.04 | 1412.88 | 1412.88 | 18076679.04 | 5505.36 | 5505.36 | 15169605.36 | 3800.16 | 3800.16 | 14732733.12 | 4628.4 | 4628.4 | 11464546.8 | 2728.32 | 2728.32 | 18232631.76 | 5554.08 | 5554.08 | 79294000 | 0 | 0 | 82281800 | 51900 | 51900 | 75981800 | 5900 | 5900 | [10 empty] | 10877290 | 7630 | 84% | -3% | -3% | 66012 | 16 | 57269 | 19 | 19343 | 7 | 26496 | 10 | 29864 | 15 | 65844 | 38 | 275285 | 81 | 81 | 225802 | 96 | 96 | 378361 | 163 | 163 | 711216 | 179 | 9621 | 3 | 6517 | 3 | 33670 | 17 | 33730 | 14 | 22777 | 7 | 24555 | 5 | 8116 | 8 | 10545 | 8 | 3692 | 4 | 7228 | 8 | 30693 | 6 | 7362.7 | 8.7 | 12039.3 | 8.4 | 5391.2 | 4.5 | 6016.7 | 6.5 | 1180711 | 600 | 245385.1 | 125.7 | 12424300 | 4000 | 956730 | 280 | 7337100 | 1300 | 2529300 | 600 | 1334630 | 680 | 16863700 | 5600 | 43593 | 15 | 37955 | 11 | 8495 | 9 | 60638 | 14 | 52717 | 29 | 91798.344 | 116.864 | 12435 | 5 | 11113 | 7 | 8802 | 6 | 9159 | 4 | 189.75 | 0.02 | 264970.7 | 211.2
2022-03-14 | 78% | 268652 | 626 | 771 | 284647 | 445 | 454 | 25665 | 213 | 939442 | 259 | 246269 | 0 | 124076 | 115 | 0.55 | 7169 | 12 | 8380716.96 | 2728.32 | 2728.32 | 15911269.92 | 4677.12 | 4677.12 | 16046175.6 | 1412.88 | 1412.88 | 19205326.56 | 682.08 | 682.08 | 19441667.28 | 9354.24 | 9354.24 | 18082184.4 | 5505.36 | 5505.36 | 15173259.36 | 3654 | 3654 | 14737020.48 | 4287.36 | 4287.36 | 11467567.44 | 3020.64 | 3020.64 | 18237942.24 | 5310.48 | 5310.48 | 79300000 | 6000 | 6000 | 82281800 | 0 | 0 | 76035000 | 53200 | 53200 | [10 empty] | 10884860 | 7570 | 78% | 6% | 6% | 66027 | 15 | 57289 | 20 | 19349 | 6 | 26506 | 10 | 29875 | 11 | 65880 | 36 | 275365 | 80 | 80 | 225917 | 115 | 115 | 378457 | 96 | 96 | 711393 | 177 | 9624 | 3 | 6520 | 3 | 33687 | 17 | 33743 | 13 | 22785 | 8 | 24561 | 6 | 8126 | 10 | 10552 | 7 | 3696 | 4 | 7236 | 8 | 30700 | 7 | 7372.6 | 9.9 | 12047.5 | 8.2 | 5396.5 | 5.3 | 6023.5 | 6.8 | 1181297 | 586 | 245535.5 | 150.4 | 12428200 | 3900 | 957010 | 280 | 7338300 | 1200 | 2529800 | 500 | 1335270 | 640 | 16869400 | 5700 | 43608 | 15 | 37966 | 11 | 8505 | 10 | 60654 | 16 | 52747 | 30 | 91930.567 | 132.223 | 12435 | 0 | 11118 | 5 | 8808 | 6 | 9163 | 4 | 189.78 | 0.03 | 265208.8 | 238.1
2022-03-15 | 93% | 269291 | 639 | 731 | 285124 | 477 | 443 | 25829 | 164 | 939556 | 114 | 246269 | 0 | 124192 | 116 | 0.28 | 7187 | 18 | 8383494 | 2777.04 | 2777.04 | 15916141.92 | 4872 | 4872 | 16055627.28 | 9451.68 | 9451.68 | 19207713.84 | 2387.28 | 2387.28 | 19441959.6 | 292.32 | 292.32 | 18087835.92 | 5651.52 | 5651.52 | 15177108.24 | 3848.88 | 3848.88 | 14741551.44 | 4530.96 | 4530.96 | 11470539.36 | 2971.92 | 2971.92 | 18243593.76 | 5651.52 | 5651.52 | 79357000 | 57000 | 57000 | 82287300 | 5500 | 5500 | 76035000 | 0 | 0 | [10 empty] | 10892820 | 7960 | 70% | 8% | 8% | 66042 | 15 | 57310 | 21 | 19357 | 8 | 26515 | 9 | 29886 | 11 | 65917 | 37 | 275458 | 93 | 93 | 226033 | 116 | 116 | 378589 | 132 | 132 | 711587 | 194 | 9627 | 3 | 6525 | 5 | 33704 | 17 | 33755 | 12 | 22792 | 7 | 24567 | 6 | 8133 | 7 | 10567 | 15 | 3700 | 4 | 7245 | 9 | 30700 | 0 | 7382.9 | 10.3 | 12056.6 | 9.1 | 5402.3 | 5.8 | 6030.5 | 7 | 1181888 | 591 | 245695 | 159.5 | 12432000 | 3800 | 957310 | 300 | 7339700 | 1400 | 2530400 | 600 | 1335940 | 670 | 16875500 | 6100 | 43624 | 16 | 37978 | 12 | 8514 | 9 | 60669 | 15 | 52784 | 37 | 92065.832 | 135.265 | 12435 | 0 | 11122 | 4 | 8811 | 3 | 9166 | 3 | 189.83 | 0.05 | 265496 | 287.2
2022-03-16 | 94% | 269918 | 627 | 691 | 285575 | 451 | 482 | 26090 | 261 | 939823 | 267 | 246269 | 0 | 124314 | 122 | 1.222 | 7204 | 17 | 8386173.6 | 2679.6 | 2679.6 | 15920624.16 | 4482.24 | 4482.24 | 16055627.28 | 0 | 0 | 19218091.2 | 10377.36 | 10377.36 | 19443810.96 | 1851.36 | 1851.36 | 18093000.24 | 5164.32 | 5164.32 | 15180957.12 | 3848.88 | 3848.88 | 14746033.68 | 4482.24 | 4482.24 | 11473511.28 | 2971.92 | 2971.92 | 18249001.68 | 5407.92 | 5407.92 | 79357000 | 0 | 0 | 82345900 | 58600 | 58600 | 76041600 | 6600 | 6600 | [10 empty] | 10900180 | 7360 | 79% | -9% | -9% | 66059 | 17 | 57330 | 20 | 19363 | 6 | 26525 | 10 | 29896 | 10 | 65951 | 34 | 275534 | 76 | 76 | 226154 | 121 | 121 | 378690 | 101 | 101 | 711760 | 173 | 9630 | 3 | 6528 | 3 | 33720 | 16 | 33767 | 12 | 22799 | 7 | 24574 | 7 | 8142 | 9 | 10570 | 3 | 3704 | 4 | 7254 | 9 | 30706 | 6 | 7392.8 | 9.9 | 12064.5 | 7.9 | 5407.5 | 5.2 | 6037.1 | 6.6 | 1182509 | 621 | 245837.2 | 142.2 | 12435900 | 3900 | 957610 | 300 | 7341000 | 1300 | 2531000 | 600 | 1336610 | 670 | 16881100 | 5600 | 43638 | 14 | 37989 | 11 | 8523 | 9 | 60686 | 17 | 52815 | 31 | 92193.107 | 127.275 | 12444 | 9 | 11127 | 5 | 8816 | 5 | 9170 | 4 | 189.87 | 0.04 | 265743.6 | 247.6
2022-03-17 | 96% | 270609 | 691 | 800 | 286108 | 533 | 493 | 26241 | 151 | 939953 | 130 | 246269 | 0 | 124421 | 107 | 4.924 | 7219 | 15 | 8388901.92 | 2728.32 | 2728.32 | 15925496.16 | 4872 | 4872 | 16056942.72 | 1315.44 | 1315.44 | 19218822 | 730.8 | 730.8 | 19453311.36 | 9500.4 | 9500.4 | 18098554.32 | 5554.08 | 5554.08 | 15185147.04 | 4189.92 | 4189.92 | 14750759.52 | 4725.84 | 4725.84 | 11476775.52 | 3264.24 | 3264.24 | 18254896.8 | 5895.12 | 5895.12 | 79362400 | 5400 | 5400 | 82345900 | 0 | 0 | 76094900 | 53300 | 53300 | [10 empty] | 10908480 | 8300 | 69% | 10% | 10% | 66078 | 19 | 57352 | 22 | 19370 | 7 | 26534 | 9 | 29907 | 11 | 65980 | 29 | 275616 | 82 | 82 | 226292 | 138 | 138 | 378894 | 204 | 204 | 711946 | 186 | 9634 | 4 | 6531 | 3 | 33739 | 19 | 33781 | 14 | 22807 | 8 | 24582 | 8 | 8152 | 10 | 10581 | 11 | 3709 | 5 | 7263 | 9 | 30706 | 0 | 7403.5 | 10.7 | 12073.4 | 8.9 | 5413.4 | 5.9 | 6045.1 | 8 | 1183162 | 653 | 245993.5 | 156.3 | 12440300 | 4400 | 957920 | 310 | 7342700 | 1700 | 2531500 | 500 | 1337360 | 750 | 16887200 | 6100 | 43655 | 17 | 38001 | 12 | 8536 | 13 | 60702 | 16 | 52851 | 36 | 92342.293 | 149.186 | 12444 | 0 | 11137 | 10 | 8819 | 3 | 9170 | 0 | 190.38 | 0.51 | 265904 | 160.4
2022-03-18 | 91% | 271225 | 616 | 795 | 286651 | 543 | 495 | 26598 | 357 | 940212 | 259 | 246269 | 0 | 124521 | 100 | 4.953 | 7231 | 12 | 8391191.76 | 2289.84 | 2289.84 | 15930416.88 | 4920.72 | 4920.72 | 16066199.52 | 9256.8 | 9256.8 | 19221160.56 | 2338.56 | 2338.56 | 19453311.36 | 0 | 0 | 18104254.56 | 5700.24 | 5700.24 | 15189434.4 | 4287.36 | 4287.36 | 14755875.12 | 5115.6 | 5115.6 | 11479942.32 | 3166.8 | 3166.8 | 18261279.12 | 6382.32 | 6382.32 | 79413400 | 51000 | 51000 | 82350700 | 4800 | 4800 | 76094900 | 0 | 0 | [10 empty] | 10916820 | 8340 | 62% | 7% | 7% | 66098 | 20 | 57374 | 22 | 19377 | 7 | 26545 | 11 | 29921 | 14 | 66020 | 40 | 275700 | 84 | 84 | 226434 | 142 | 142 | 379082 | 188 | 188 | 712137 | 191 | 9639 | 5 | 6537 | 6 | 33763 | 24 | 33797 | 16 | 22819 | 12 | 24587 | 5 | 8165 | 13 | 10594 | 13 | 3716 | 7 | 7277 | 14 | 30706 | 0 | 7415.7 | 12.2 | 12082.6 | 9.2 | 5420.4 | 7 | 6054 | 8.9 | 1183889 | 727 | 246164.9 | 171.4 | 12443000 | 2700 | 958200 | 280 | 7344300 | 1600 | 2532300 | 800 | 1338050 | 690 | 16891800 | 4600 | 43672 | 17 | 38015 | 14 | 8552 | 16 | 60724 | 22 | 52894 | 43 | 92485.918 | 143.625 | 12445 | 1 | 11143 | 6 | 8825 | 6 | 9172 | 2 | 190.52 | 0.14 | 266147.9 | 243.9
2022-03-19 | 74% | 271920 | 695 | 844 | 287114 | 463 | 542 | 26764 | 166 | 940474 | 262 | 246269 | 0 | 124614 | 93 | 4.92 | 7245 | 14 | 8393140.56 | 1948.8 | 1948.8 | 15934704.24 | 4287.36 | 4287.36 | 16066930.32 | 730.8 | 730.8 | 19229248.08 | 8087.52 | 8087.52 | 19454578.08 | 1266.72 | 1266.72 | 18109175.28 | 4920.72 | 4920.72 | 15193039.68 | 3605.28 | 3605.28 | 14759821.44 | 3946.32 | 3946.32 | 11482670.64 | 2728.32 | 2728.32 | 18266540.88 | 5261.76 | 5261.76 | 79413400 | 0 | 0 | 82398000 | 47300 | 47300 | 76099600 | 4700 | 4700 | [10 empty] | 10924220 | 7400 | 79% | -17% | -17% | 66113 | 15 | 57391 | 17 | 19383 | 6 | 26553 | 8 | 29930 | 9 | 66052 | 32 | 275777 | 77 | 77 | 226563 | 129 | 129 | 379246 | 164 | 164 | 712312 | 175 | 9642 | 3 | 6543 | 6 | 33777 | 14 | 33810 | 13 | 22823 | 4 | 24592 | 5 | 8173 | 8 | 10606 | 12 | 3718 | 2 | 7282 | 5 | 30712 | 6 | 7424.3 | 8.6 | 12090.3 | 7.7 | 5425.6 | 5.2 | 6060.7 | 6.7 | 1184407 | 518 | 246295.4 | 130.5 | 12447100 | 4100 | 958370 | 170 | 7345500 | 1200 | 2532800 | 500 | 1338610 | 560 | 16895300 | 3500 | 43683 | 11 | 38024 | 9 | 8563 | 11 | 60732 | 8 | 52919 | 25 | 92620.42 | 134.502 | 12448 | 3 | 11151 | 8 | 8831 | 6 | 9175 | 3 | 191.58 | 1.06 | 266341.1 | 193.2
2022-03-20 | 73% | 272491 | 571 | 725 | 287530 | 416 | 419 | 27039 | 275 | 940742 | 268 | 246269 | 0 | 124708 | 94 | 4.93 | 7257 | 12 | 8395186.8 | 2046.24 | 2046.24 | 15939283.92 | 4579.68 | 4579.68 | 16068879.12 | 1948.8 | 1948.8 | 19229881.44 | 633.36 | 633.36 | 19462324.56 | 7746.48 | 7746.48 | 18114534.48 | 5359.2 | 5359.2 | 15196742.4 | 3702.72 | 3702.72 | 14764157.52 | 4336.08 | 4336.08 | 11485593.84 | 2923.2 | 2923.2 | 18271851.36 | 5310.48 | 5310.48 | 79418000 | 4600 | 4600 | 82398000 | 0 | 0 | 76143100 | 43500 | 43500 | [10 empty] | 10931270 | 7050 | 71% | 8% | 8% | 66129 | 16 | 57410 | 19 | 19390 | 7 | 26563 | 10 | 29940 | 10 | 66087 | 35 | 275859 | 82 | 82 | 226692 | 129 | 129 | 379391 | 145 | 145 | 712495 | 183 | 9645 | 3 | 6546 | 3 | 33789 | 12 | 33829 | 19 | 22830 | 7 | 24599 | 7 | 8179 | 6 | 10613 | 7 | 3722 | 4 | 7289 | 7 | 30719 | 7 | 7434.1 | 9.8 | 12098.1 | 7.8 | 5431.6 | 6 | 6066.8 | 6.1 | 1184980 | 573 | 246446.5 | 151.1 | 12450200 | 3100 | 958610 | 240 | 7347000 | 1500 | 2533300 | 500 | 1339280 | 670 | 16899200 | 3900 | 43697 | 14 | 38035 | 11 | 8572 | 9 | 60743 | 11 | 52950 | 31 | 92740.673 | 120.253 | 12460 | 12 | 11157 | 6 | 8837 | 6 | 9180 | 5 | 191.63 | 0.05 | 266531.6 | 190.5
2022-03-21 | 80% | 273042 | 551 | 772 | 287942 | 412 | 441 | 27324 | 285 | 941002 | 260 | 246269 | 0 | 124806 | 98 | 4.913 | 7270 | 13 | 8397135.6 | 1948.8 | 1948.8 | 15943814.88 | 4530.96 | 4530.96 | 16077502.56 | 8623.44 | 8623.44 | 19231635.36 | 1753.92 | 1753.92 | 19462373.28 | 48.72 | 48.72 | 18119893.68 | 5359.2 | 5359.2 | 15200298.96 | 3556.56 | 3556.56 | 14768396.16 | 4238.64 | 4238.64 | 11488419.6 | 2825.76 | 2825.76 | 18277015.68 | 5164.32 | 5164.32 | 79465900 | 47900 | 47900 | 82402800 | 4800 | 4800 | 76143100 | 0 | 0 | [10 empty] | 10938860 | 7590 | 65% | 6% | 6% | 66146 | 17 | 57430 | 20 | 19397 | 7 | 26573 | 10 | 29950 | 10 | 66121 | 34 | 275940 | 81 | 81 | 226826 | 134 | 134 | 379577 | 186 | 186 | 712678 | 183 | 9648 | 3 | 6551 | 5 | 33805 | 16 | 33836 | 7 | 22838 | 8 | 24605 | 6 | 8187 | 8 | 10622 | 9 | 3726 | 4 | 7298 | 9 | 30725 | 6 | 7443.7 | 9.6 | 12106 | 7.9 | 5437.5 | 5.9 | 6072.9 | 6.1 | 1185581 | 601 | 246593.4 | 146.9 | 12453400 | 3200 | 958860 | 250 | 7348500 | 1500 | 2533700 | 400 | 1339920 | 640 | 16903600 | 4400 | 43712 | 15 | 38046 | 11 | 8582 | 10 | 60753 | 10 | 52980 | 30 | 92867.708 | 127.035 | 12468 | 8 | 11162 | 5 | 8842 | 5 | 9184 | 4 | 191.66 | 0.03 | 266747.3 | 215.7
2022-03-22 | 0% | 0 | -273042 | 703 | 0 | -287942 | 444 | 0 | -27324 | 0 | -941002 | 0 | -246269 | 0 | -124806 | 3.664 | 0 | -7270 | 0 | -8397135.6 | -8397135.6 | 0 | -15943814.88 | -15943814.88 | 0 | -16077502.56 | -16077502.56 | 0 | -19231635.36 | -19231635.36 | 0 | -19462373.28 | -19462373.28 | 0 | -18119893.68 | -18119893.68 | 0 | -15200298.96 | -15200298.96 | 0 | -14768396.16 | -14768396.16 | 0 | -11488419.6 | -11488419.6 | 0 | -18277015.68 | -18277015.68 | 0 | -79465900 | -79465900 | 0 | -82402800 | -82402800 | 0 | -76143100 | -76143100 | [10 empty] | 0 | -10938860 | 0% | 65% | 65% | 0 | -66146 | 0 | -57430 | 0 | -19397 | 0 | -26573 | 0 | -29950 | 0 | -66121 | 0 | -275940 | -275940 | 0 | -226826 | -226826 | 0 | -379577 | -379577 | 0 | -712678 | 0 | -9648 | 0 | -6551 | 0 | -33805 | 0 | -33836 | 0 | -22838 | 0 | -24605 | 0 | -8187 | 0 | -10622 | 0 | -3726 | 0 | -7298 | 0 | -30725 | 0 | -7443.7 | 0 | -12106 | 0 | -5437.5 | 0 | -6072.9 | 0 | -1185581 | 0 | -246593.4 | 0 | -12453400 | 0 | -958860 | 0 | -7348500 | 0 | -2533700 | 0 | -1339920 | 0 | -16903600 | 0 | -43712 | 0 | -38046 | 0 | -8582 | 0 | -60753 | 0 | -52980 | 0 | -92867.708 | 0 | -12468 | 0 | -11162 | 0 | -8842 | 0 | -9184 | 0 | -191.66 | 0 | -266747.3
2022-03-23 | 0% | 0 | 0 | 744 | 0 | 0 | 452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-24 | 0% | 0 | 0 | 773 | 0 | 0 | 496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-25 | 0% | 0 | 0 | 806 | 0 | 0 | 520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-26 | 0% | 0 | 0 | 692 | 0 | 0 | 648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-27 | 0% | 0 | 0 | 702 | 0 | 0 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-28 | 0% | 0 | 0 | 749 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-29 | 0% | 0 | 0 | 794 | 0 | 0 | 463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-30 | 0% | 0 | 0 | 807 | 0 | 0 | 482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-31 | 0% | 0 | 0 | 774 | 0 | 0 | 444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption March 2023 | [18 empty] | Electricity Daily Consumption March 2023 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2023 | [18 empty] | Cold water Heat Exchanger 2023 |  | Lpg Daily Consumption March 2023 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
March Reading 2023 two weeks |  | 10267 |  |  | 6875 | [8 empty] | 39.691 |  |  |  |  | 39073.44 |  |  | 69474.72 |  |  | 66307.92 |  |  | 60266.64 |  |  | 42045.36 |  |  | 82531.68 |  |  | 59097.36 |  |  | 66015.6 |  |  | 44968.56 |  |  | 83944.56 |  |  | 376600 |  |  | 299500 |  |  | 183400 | [29 empty] | 1213 |  |  | 1673 |  |  | 2275
March Reading 2023 two weeks |  | 9679 |  |  | 7221 | [8 empty] | 1653 |  |  |  |  | 39073.44 |  |  | 69474.72 |  |  | 66307.92 |  |  | 60266.64 |  |  | 42045.36 |  |  | 82531.68 |  |  | 59097.36 |  |  | 66015.6 |  |  | 44968.56 |  |  | 83944.56 |  |  | 376600 |  |  | 299500 |  |  | 183400 | [29 empty] | 1213 |  |  | 1673 |  |  | 2275 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
March Reading 2022 Monthly |  | 21664 |  |  | 14071 |  |  | 7048.9 |  | 7702.2 |  |  |  | 109.671 |  |  | 476 |  | -8344420.56 |  |  | -15846667.2 |  |  | -15989319.36 |  |  | -19147447.2 |  |  | -19399914.24 |  |  | -18005304.24 |  |  | -15118010.88 |  |  | -14675535.84 |  |  | -11425570.8 |  |  | -18159649.2 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -274245 |  |  | -224360 |  |  | -376314 |  |  | 3894 | [14 empty] | 487.2
March Reading 2023 Monthly |  | -260218 |  |  | -277903 |  |  | -22343 |  | -936132 |  |  |  | -122539 |  |  | -6958 |  | -8344420.56 |  |  | -15846667.2 |  |  | -15989319.36 |  |  | -19147447.2 |  |  | -19399914.24 |  |  | -18005304.24 |  |  | -15118010.88 |  |  | -14675535.84 |  |  | -11425570.8 |  |  | -18159649.2 |  |  | -78980400 |  |  | -81987800 |  |  | -75851600 | [12 empty] | -10777520 |  |  |  |  | -65793 |  | -57015 |  | -19252 |  | -26376 |  | -29678 |  | -65373 |  | -274245 |  |  | -224360 |  |  | -376314 |  |  | -708909
Difference |  | 281882 |  |  | 291974 |  |  | 29391.9 |  | 943834.2 |  |  |  | 122648.671 |  |  | 7434 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -79327700 |  |  | -82348900 |  |  | -76410442 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 712803
Total Monthly Electrical Kwh | [18 empty] | March 2022 Kwh | [5 empty] | -156111839.52 | [5 empty] | March 2023 Kwh | [5 empty] | -156111839.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2022-01-16 |  |  | 2023-01-16 |  |  | Difference
[19 empty] | March 2022 Kwh two weeks | [5 empty] | 613725.84 | [5 empty] | March 2023 Kwh two weeks | [5 empty] | 613725.84 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -236819800 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]March - 2023'!AE40
Daily Consumption Kwh 2023 = '[1]March - 2023'!AF40
Daily Consumption Kwh 2023 = '[1]March - 2023'!AI40
Daily Consumption Kwh 2022 = '[1]March - 2023'!AF40
Daily Consumption Kwh 2022 = '[1]March - 2023'!AI40
EMDB-2 Elevators = '[1]March - 2023'!AH40
MDB-1 Chiller # 1 = '[1]March - 2023'!AK40
MDB-2 Chiller # 2 = '[1]March - 2023'!AN40
MDB-3 Chiller # 3 = '[1]March - 2023'!AQ40
MDB-4 North Riser Guest Rooms = '[1]March - 2023'!AT40
MDB-5 North Riser Guest Rooms = '[1]March - 2023'!AW40
MDB-6 Main Kitchen = '[1]March - 2023'!AZ40
MDB-7 South Riser Guest Rooms = '[1]March - 2023'!BC40
MDB-8 F & B = '[1]March - 2023'!BF40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill