## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (IG) IG | Water Utility Supply (IG) $/IG | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
25hours Dubai One Central | 1 | 1 | 2024 | 16896 | 0.44 | 550.56 | 2.5 | 48613.149 | 0.06 | 8672.37 | 0.643 | 264
25hours Dubai One Central | 2 | 1 | 2024 | 16224 | 0.44 | 480.26 | 2.5 | 43113.924 | 0.06 | 7933.086 | 0.643 | 239
25hours Dubai One Central | 3 | 1 | 2024 | 15936 | 0.44 | 443.26 | 2.5 | 36514.854 | 0.06 | 6852.594 | 0.643 | 232
25hours Dubai One Central | 4 | 1 | 2024 | 15408 | 0.44 | 454.73 | 2.5 | 37614.699 | 0.06 | 6397.65 | 0.643 | 233
25hours Dubai One Central | 5 | 1 | 2024 | 15552 | 0.44 | 452.14 | 2.5 | 26176.311 | 0.06 | 6397.65 | 0.643 | 227
25hours Dubai One Central | 6 | 1 | 2024 | 15792 | 0.44 | 452.14 | 2.5 | 48393.18 | 0.06 | 6028.008 | 0.643 | 214
25hours Dubai One Central | 7 | 1 | 2024 | 16464 | 0.44 | 441.78 | 2.5 | 51912.684 | 0.06 | 6028.008 | 0.643 | 171
25hours Dubai One Central | 8 | 1 | 2024 | 15744 | 0.44 | 419.21 | 2.5 | 35634.978 | 0.06 | 5402.46 | 0.643 | 308
25hours Dubai One Central | 9 | 1 | 2024 | 15984 | 0.44 | 444.74 | 2.5 | 28815.939 | 0.06 | 5914.272 | 0.643 | 343
25hours Dubai One Central | 10 | 1 | 2024 | 16176 | 0.44 | 473.6 | 2.5 | 49053.087 | 0.06 | 5942.706 | 0.643 | 376
25hours Dubai One Central | 11 | 1 | 2024 | 16176 | 0.44 | 397.75 | 2.5 | 18917.334 | 0.06 | 5828.97 | 0.643 | 303
25hours Dubai One Central | 12 | 1 | 2024 | 16512 | 0.44 | 651.94 | 2.5 | 66870.576 | 0.06 | 5345.592 | 0.643 | 242
25hours Dubai One Central | 13 | 1 | 2024 | 16656 | 0.44 | 589.78 | 2.5 | 55652.157 | 0.06 | 5288.724 | 0.643 | 192
25hours Dubai One Central | 14 | 1 | 2024 | 15744 | 0.44 | 507.27 | 2.5 | 42234.048 | 0.06 | 5260.29 | 0.643 | 225
25hours Dubai One Central | 15 | 1 | 2024 | 15144 | 0.44 | 423.65 | 2.5 | 38054.637 | 0.06 | 5402.46 | 0.643 | 359
25hours Dubai One Central | 16 | 1 | 2024 | 14904 | 0.44 | 434.01 | 2.5 | 37834.668 | 0.06 | 5516.196 | 0.643 | 426
25hours Dubai One Central | 17 | 1 | 2024 | 15072 | 0.44 | 548.34 | 2.5 | 43993.8 | 0.06 | 6482.952 | 0.643 | 430
25hours Dubai One Central | 18 | 1 | 2024 | 15408 | 0.44 | 545.01 | 2.5 | 45313.614 | 0.06 | 6141.744 | 0.643 | 376
25hours Dubai One Central | 19 | 1 | 2024 | 15744 | 0.44 | 535.02 | 2.5 | 42234.048 | 0.06 | 5772.102 | 0.643 | 312
25hours Dubai One Central | 20 | 1 | 2024 | 16560 | 0.44 | 515.41 | 2.5 | 39814.389 | 0.06 | 5942.706 | 0.643 | 284
25hours Dubai One Central | 21 | 1 | 2024 | 16656 | 0.44 | 492.1 | 2.5 | 38494.575 | 0.06 | 6028.008 | 0.643 | 293
25hours Dubai One Central | 22 | 1 | 2024 | 16128 | 0.44 | 455.47 | 2.5 | 26616.249 | 0.06 | 5658.366 | 0.643 | 347
25hours Dubai One Central | 23 | 1 | 2024 | 16560 | 0.44 | 493.21 | 2.5 | 44433.738 | 0.06 | 5885.838 | 0.643 | 357
25hours Dubai One Central | 24 | 1 | 2024 | 17088 | 0.44 | 504.31 | 2.5 | 40034.358 | 0.06 | 6141.744 | 0.643 | 366
25hours Dubai One Central | 25 | 1 | 2024 | 16800 | 0.44 | 472.12 | 2.5 | 37834.668 | 0.06 | 5430.894 | 0.643 | 407
25hours Dubai One Central | 26 | 1 | 2024 | 16704 | 0.44 | 494.32 | 2.5 | 37174.761 | 0.06 | 5772.102 | 0.643 | 390
25hours Dubai One Central | 27 | 1 | 2024 | 17136 | 0.44 | 564.25 | 2.5 | 32115.474 | 0.06 | 6084.876 | 0.643 | 355
25hours Dubai One Central | 28 | 1 | 2024 | 16800 | 0.44 | 563.14 | 2.5 | 43773.831 | 0.06 | 6710.424 | 0.643 | 399
25hours Dubai One Central | 29 | 1 | 2024 | 16320 | 0.44 | 499.13 | 2.5 | 55872.126 | 0.06 | 6454.518 | 0.643 | 386
25hours Dubai One Central | 30 | 1 | 2024 | 16992 | 0.44 | 499.13 | 2.5 | 29475.846 | 0.06 | 5686.8 | 0.643 | 425
25hours Dubai One Central | 31 | 1 | 2024 | 16464 | 0.44 | 538.35 | 2.5 | 58951.692 | 0.06 | 6283.914 | 0.643 | 412

## Submetering
Site Name | Day | Month | Year | Meter 1 - 06065253 | Meter 2 - 06065255 | Meter 3 - 06065259 | Meter 4 - 06065262 | Meter 6 - 06065269 | Meter 7 - 06065283 | District Cooling | Water | Gas | Room Nights | Total Guests
25hours Dubai One Central | 1 | 1 | 2024 | 3360 | 1968 | 2256 | 1440 | 2208 | 5664 | 8672.37 | 48613.149 | 550.56 | 264
25hours Dubai One Central | 2 | 1 | 2024 | 3456 | 1776 | 2064 | 1248 | 2112 | 5568 | 7933.086 | 43113.924 | 480.26 | 239
25hours Dubai One Central | 3 | 1 | 2024 | 3312 | 1824 | 2016 | 1248 | 2112 | 5424 | 6852.594 | 36514.854 | 443.26 | 232
25hours Dubai One Central | 4 | 1 | 2024 | 3168 | 1776 | 2112 | 1248 | 2160 | 4944 | 6397.65 | 37614.699 | 454.73 | 233
25hours Dubai One Central | 5 | 1 | 2024 | 3168 | 1776 | 2160 | 1248 | 2112 | 5088 | 6397.65 | 26176.311 | 452.14 | 227
25hours Dubai One Central | 6 | 1 | 2024 | 3216 | 1776 | 2160 | 1248 | 2112 | 5280 | 6028.008 | 48393.18 | 452.14 | 214
25hours Dubai One Central | 7 | 1 | 2024 | 3216 | 1728 | 2256 | 1440 | 2160 | 5664 | 6028.008 | 51912.684 | 441.78 | 171
25hours Dubai One Central | 8 | 1 | 2024 | 3216 | 1680 | 2208 | 1200 | 2064 | 5376 | 5402.46 | 35634.978 | 419.21 | 308
25hours Dubai One Central | 9 | 1 | 2024 | 3264 | 1776 | 2208 | 1296 | 2112 | 5328 | 5914.272 | 28815.939 | 444.74 | 343
25hours Dubai One Central | 10 | 1 | 2024 | 3264 | 1968 | 2256 | 1344 | 2112 | 5232 | 5942.706 | 49053.087 | 473.6 | 376
25hours Dubai One Central | 11 | 1 | 2024 | 3264 | 1920 | 2208 | 1296 | 2160 | 5328 | 5828.97 | 18917.334 | 397.75 | 303
25hours Dubai One Central | 12 | 1 | 2024 | 3408 | 1872 | 2304 | 1344 | 2160 | 5424 | 5345.592 | 66870.576 | 651.94 | 242
25hours Dubai One Central | 13 | 1 | 2024 | 3456 | 1824 | 2352 | 1344 | 2208 | 5472 | 5288.724 | 55652.157 | 589.78 | 192
25hours Dubai One Central | 14 | 1 | 2024 | 3312 | 1680 | 2208 | 1296 | 2112 | 5136 | 5260.29 | 42234.048 | 507.27 | 225
25hours Dubai One Central | 15 | 1 | 2024 | 3216 | 1896 | 2064 | 1248 | 2112 | 4608 | 5402.46 | 38054.637 | 423.65 | 359
25hours Dubai One Central | 16 | 1 | 2024 | 3216 | 1656 | 2112 | 1296 | 2160 | 4464 | 5516.196 | 37834.668 | 434.01 | 426
25hours Dubai One Central | 17 | 1 | 2024 | 3312 | 1920 | 1968 | 1392 | 2160 | 4320 | 6482.952 | 43993.8 | 548.34 | 430
25hours Dubai One Central | 18 | 1 | 2024 | 3312 | 1872 | 2208 | 1344 | 2160 | 4512 | 6141.744 | 45313.614 | 545.01 | 376
25hours Dubai One Central | 19 | 1 | 2024 | 3264 | 1920 | 2160 | 1440 | 2160 | 4800 | 5772.102 | 42234.048 | 535.02 | 312
25hours Dubai One Central | 20 | 1 | 2024 | 3504 | 1920 | 2112 | 1344 | 2160 | 5520 | 5942.706 | 39814.389 | 515.41 | 284
25hours Dubai One Central | 21 | 1 | 2024 | 3408 | 1824 | 2112 | 1392 | 2208 | 5712 | 6028.008 | 38494.575 | 492.1 | 293
25hours Dubai One Central | 22 | 1 | 2024 | 3264 | 1824 | 2112 | 1296 | 2112 | 5520 | 5658.366 | 26616.249 | 455.47 | 347
25hours Dubai One Central | 23 | 1 | 2024 | 3360 | 1920 | 2064 | 1344 | 2160 | 5712 | 5885.838 | 44433.738 | 493.21 | 357
25hours Dubai One Central | 24 | 1 | 2024 | 3360 | 2016 | 2160 | 1536 | 2208 | 5808 | 6141.744 | 40034.358 | 504.31 | 366
25hours Dubai One Central | 25 | 1 | 2024 | 3360 | 2016 | 2160 | 1440 | 2160 | 5664 | 5430.894 | 37834.668 | 472.12 | 407
25hours Dubai One Central | 26 | 1 | 2024 | 3312 | 1968 | 2112 | 1488 | 2160 | 5664 | 5772.102 | 37174.761 | 494.32 | 390
25hours Dubai One Central | 27 | 1 | 2024 | 3312 | 2016 | 2304 | 1536 | 2256 | 5712 | 6084.876 | 32115.474 | 564.25 | 355
25hours Dubai One Central | 28 | 1 | 2024 | 3408 | 1920 | 2112 | 1536 | 2160 | 5664 | 6710.424 | 43773.831 | 563.14 | 399
25hours Dubai One Central | 29 | 1 | 2024 | 3312 | 1776 | 2064 | 1344 | 2160 | 5664 | 6454.518 | 55872.126 | 499.13 | 386
25hours Dubai One Central | 30 | 1 | 2024 | 3408 | 1968 | 2304 | 1392 | 2208 | 5712 | 5686.8 | 29475.846 | 499.13 | 425
25hours Dubai One Central | 31 | 1 | 2024 | 3168 | 2016 | 2112 | 1344 | 2160 | 5664 | 6283.914 | 58951.692 | 538.35 | 412

## Daily Meter
JANUARY 2024 UTILITY READING | [14 empty] | 1st
| CHILLED WATER | WATER |  |  |  |  | ELECTRICITY | [5 empty] | GAS | OCC.
Date | BTU Meter | Meter 1 | Meter 2 |  | Meter 3 |  | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 6 | Meter 7
| P103FF043BC | 18E0300032 | 18E0300060 |  | 18E0300057 |  | 6065253 | 6065255 | 6065259 | 6065262 | 6065269 | 6065283 | 77092321/2019 | %
| 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | DAILY
1 | 53476.8 | 203658 |  |  |  |  | 6566.3 | 3970.2 | 4233.6 | 2361.9 | 5573.8 | 15022.4 | 90136.2 | 60.83
2 | 53504.7 | 203854 |  |  |  |  | 6573.5 | 3973.9 | 4237.9 | 2364.5 | 5578.2 | 15034 | 90266 | 55.07
3 | 53528.8 | 204020 |  |  |  |  | 6580.4 | 3977.7 | 4242.1 | 2367.1 | 5582.6 | 15045.3 | 90385.8 | 53.46
4 | 53551.3 | 204191 |  |  |  |  | 6587 | 3981.4 | 4246.5 | 2369.7 | 5587.1 | 15055.6 | 90508.7 | 53.69
5 | 53573.8 | 204310 |  |  |  |  | 6593.6 | 3985.1 | 4251 | 2372.3 | 5591.5 | 15066.2 | 90630.9 | 52.53
6 | 53595 | 204530 |  |  |  |  | 6600.3 | 3988.8 | 4255.5 | 2374.9 | 5595.9 | 15077.2 | 90753.1 | 49.31
7 | 53616.2 | 204766 |  |  |  |  | 6607 | 3992.4 | 4260.2 | 2377.9 | 5600.4 | 15089 | 90872.5 | 39.63
8 | 53635.2 | 204928 |  |  |  |  | 6613.7 | 3995.9 | 4264.8 | 2380.4 | 5604.7 | 15100.2 | 90985.8 | 70.97
9 | 53656 | 205059 |  |  |  |  | 6620.5 | 3999.6 | 4269.4 | 2383.1 | 5609.1 | 15111.3 | 91106 | 79.26
10 | 53676.9 | 205282 |  |  |  |  | 6627.3 | 4003.7 | 4274.1 | 2385.9 | 5613.5 | 15122.2 | 91234 | 86.67
11 | 53697.4 | 205368 |  |  |  |  | 6634.1 | 4007.7 | 4278.7 | 2388.6 | 5618 | 15133.3 | 91341.5 | 69.82
12 | 53716.2 | 205672 |  |  |  |  | 6641.2 | 4011.6 | 4283.5 | 2391.4 | 5622.5 | 15144.6 | 91517.7 | 55.99
13 | 53734.8 | 205925 |  |  |  |  | 6648.4 | 4015.4 | 4288.4 | 2394.2 | 5627.1 | 15156 | 91677.1 | 44.24
14 | 53753.3 | 206117 |  |  |  |  | 6655.3 | 4018.9 | 4293 | 2396.9 | 5631.5 | 15166.7 | 91814.2 | 52.07
15 | 53772.3 | 206290 |  |  |  |  | 6662 | 4022.85 | 4297.3 | 2399.5 | 5635.9 | 15176.3 | 91928.7 | 82.72
16 | 53791.7 | 206462 |  |  |  |  | 6668.7 | 4026.3 | 4301.7 | 2402.2 | 5640.4 | 15185.6 | 92046 | 98.16
17 | 53814.5 | 206662 |  |  |  |  | 6675.6 | 4030.3 | 4305.8 | 2405.1 | 5644.9 | 15194.6 | 92194.2 | 99.08
18 | 53836.1 | 206868 |  |  |  |  | 6682.5 | 4034.2 | 4310.4 | 2407.9 | 5649.4 | 15204 | 92341.5 | 86.64
19 | 53856.4 | 207060 |  |  |  |  | 6689.3 | 4038.2 | 4314.9 | 2410.9 | 5653.9 | 15214 | 92486.1 | 71.89
20 | 53877.3 | 207241 |  |  |  |  | 6696.6 | 4042.2 | 4319.3 | 2413.7 | 5658.4 | 15225.5 | 92625.4 | 65.44
21 | 53898.5 | 207416 |  |  |  |  | 6703.7 | 4046 | 4323.7 | 2416.6 | 5663 | 15237.4 | 92758.4 | 67.74
22 | 53918.4 | 207537 |  |  |  |  | 6710.5 | 4049.8 | 4328.1 | 2419.3 | 5667.4 | 15248.9 | 92881.5 | 80.18
23 | 53939.1 | 207739 |  |  |  |  | 6717.5 | 4053.8 | 4332.4 | 2422.1 | 5671.9 | 15260.8 | 93014.8 | 82.26
24 | 53960.7 | 207921 |  |  |  |  | 6724.5 | 4058 | 4336.9 | 2425.3 | 5676.5 | 15272.9 | 93151.1 | 84.56
25 | 53979.8 | 208093 |  |  |  |  | 6731.5 | 4062.2 | 4341.4 | 2428.3 | 5681 | 15284.7 | 93278.7 | 93.78
26 | 54000.1 | 208262 |  |  |  |  | 6738.4 | 4066.3 | 4345.8 | 2431.4 | 5685.5 | 15296.5 | 93412.3 | 90
27 | 54021.5 | 208408 |  |  |  |  | 6745.3 | 4070.5 | 4350.6 | 2434.6 | 5690.2 | 15308.4 | 93564.8 | 82
28 | 54045.1 | 208607 |  |  |  |  | 6752.4 | 4074.5 | 4355 | 2437.8 | 5694.7 | 15320.2 | 93717 | 92
29 | 54067.8 | 208861 |  |  |  |  | 6759.3 | 4078.2 | 4359.3 | 2440.6 | 5699.2 | 15332 | 93851.9 | 89
30 | 54087.8 | 208995 |  |  |  |  | 6766.4 | 4082.3 | 4364.1 | 2443.5 | 5703.8 | 15343.9 | 93986.8 | 98
31 | 54109.9 | 209263 |  |  |  |  | 6773 | 4086.5 | 4368.5 | 2446.3 | 5708.3 | 15355.7 | 94132.3 | 95
72.0341
engr123.

## 1
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 1 | % OCCUPANCY: | 60.83
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
DECEMBER 31
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53446.3 | 53476.8 | 30.5
|  | TR |  |  | 8672.37 | 5463.5931
III | WATER METERS
| Main DEWA Meter | m3 | 203437 | 203658 | 221
| Imperial Gallon = m³ x 219.969 | IG |  |  | 48613.149 | 2916.7889
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6559.3 | 6566.3 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 3966.1 | 3970.2 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4228.9 | 4233.6 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2358.9 | 2361.9 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5569.2 | 5573.8 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15010.6 | 15022.4 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 89987.4 | 90136.2 | 148.8
| L = m³ x 3.70 | L |  |  | 550.56 | 1376.4
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8672.37 | 5463.5931
|  |  | DEWA Water | imp. Gallon | 48613.149 | 2916.7889
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 148.8 | 1376.4
[5 empty] | Total cost | 17022.062

## 2
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 2 | % OCCUPANCY: | 60.83
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53476.8 | 53504.7 | 27.9
|  | TR |  |  | 7933.086 | 4997.8442
III | WATER METERS
| Main DEWA Meter | m3 | 203658 | 203854 | 196
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43113.924 | 2586.8354
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6566.3 | 6573.5 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 3970.2 | 3973.9 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 4233.6 | 4237.9 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2361.9 | 2364.5 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5573.8 | 5578.2 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15022.4 | 15034 | 5568
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16224 | 6976.32
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90136.2 | 90266 | 129.8
| L = m³ x 3.70 | L |  |  | 480.26 | 1200.65
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7933.086 | 4997.8442
|  |  | DEWA Water | imp. Gallon | 43113.924 | 2586.8354
|  |  | Electricity | kwh | 16224 | 6976.32
|  |  | Gas | m3 | 129.8 | 1200.65
[5 empty] | Total cost | 15761.6496

## 3
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 3 | % OCCUPANCY: | 53.46
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53504.7 | 53528.8 | 24.1
|  | TR |  |  | 6852.594 | 4317.1342
III | WATER METERS
| Main DEWA Meter | m3 | 203854 | 204020 | 166
| Imperial Gallon = m³ x 219.969 | IG |  |  | 36514.854 | 2190.8912
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6573.5 | 6580.4 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 3973.9 | 3977.7 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 4237.9 | 4242.1 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2364.5 | 2367.1 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5578.2 | 5582.6 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15034 | 15045.3 | 5424
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15936 | 6852.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90266 | 90385.8 | 119.8
| L = m³ x 3.70 | L |  |  | 443.26 | 1108.15
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6852.594 | 4317.1342
|  |  | DEWA Water | imp. Gallon | 36514.854 | 2190.8912
|  |  | Electricity | kwh | 15936 | 6852.48
|  |  | Gas | m3 | 119.8 | 1108.15
[5 empty] | Total cost | 14468.6555

## 4
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 4 | % OCCUPANCY: | 53.69
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53528.8 | 53551.3 | 22.5
|  | TR |  |  | 6397.65 | 4030.5195
III | WATER METERS
| Main DEWA Meter | m3 | 204020 | 204191 | 171
| Imperial Gallon = m³ x 219.969 | IG |  |  | 37614.699 | 2256.8819
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6580.4 | 6587 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 3977.7 | 3981.4 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 4242.1 | 4246.5 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2367.1 | 2369.7 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5582.6 | 5587.1 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15045.3 | 15055.6 | 4944
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15408 | 6625.44
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90385.8 | 90508.7 | 122.9
| L = m³ x 3.70 | L |  |  | 454.73 | 1136.825
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6397.65 | 4030.5195
|  |  | DEWA Water | imp. Gallon | 37614.699 | 2256.8819
|  |  | Electricity | kwh | 15408 | 6625.44
|  |  | Gas | m3 | 122.9 | 1136.825
[5 empty] | Total cost | 14049.6664

## 5
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 5 | % OCCUPANCY: | 52.53
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53551.3 | 53573.8 | 22.5
|  | TR |  |  | 6397.65 | 4030.5195
III | WATER METERS
| Main DEWA Meter | m3 | 204191 | 204310 | 119
| Imperial Gallon = m³ x 219.969 | IG |  |  | 26176.311 | 1570.5787
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6587 | 6593.6 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 3981.4 | 3985.1 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 4246.5 | 4251 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2369.7 | 2372.3 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5587.1 | 5591.5 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15055.6 | 15066.2 | 5088
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15552 | 6687.36
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90508.7 | 90630.9 | 122.2
| L = m³ x 3.70 | L |  |  | 452.14 | 1130.35
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6397.65 | 4030.5195
|  |  | DEWA Water | imp. Gallon | 26176.311 | 1570.5787
|  |  | Electricity | kwh | 15552 | 6687.36
|  |  | Gas | m3 | 122.2 | 1130.35
[5 empty] | Total cost | 13418.8082

## 6
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 6 | % OCCUPANCY: | 49.31
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53573.8 | 53595 | 21.2
|  | TR |  |  | 6028.008 | 3797.645
III | WATER METERS
| Main DEWA Meter | m3 | 204310 | 204530 | 220
| Imperial Gallon = m³ x 219.969 | IG |  |  | 48393.18 | 2903.5908
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6593.6 | 6600.3 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 3985.1 | 3988.8 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 4251 | 4255.5 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2372.3 | 2374.9 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5591.5 | 5595.9 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15066.2 | 15077.2 | 5280
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15792 | 6790.56
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90630.9 | 90753.1 | 122.2
| L = m³ x 3.70 | L |  |  | 452.14 | 1130.35
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6028.008 | 3797.645
|  |  | DEWA Water | imp. Gallon | 48393.18 | 2903.5908
|  |  | Electricity | kwh | 15792 | 6790.56
|  |  | Gas | m3 | 122.2 | 1130.35
[5 empty] | Total cost | 14622.1458

## 7
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 7 | % OCCUPANCY: | 39.63
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53595 | 53616.2 | 21.2
|  | TR |  |  | 6028.008 | 3797.645
III | WATER METERS
| Main DEWA Meter | m3 | 204530 | 204766 | 236
| Imperial Gallon = m³ x 219.969 | IG |  |  | 51912.684 | 3114.761
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6600.3 | 6607 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 3988.8 | 3992.4 | 1728
3 | Meter 3 - 06065259 | kW x 480 | 4255.5 | 4260.2 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2374.9 | 2377.9 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5595.9 | 5600.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15077.2 | 15089 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16464 | 7079.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90753.1 | 90872.5 | 119.4
| L = m³ x 3.70 | L |  |  | 441.78 | 1104.45
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6028.008 | 3797.645
|  |  | DEWA Water | imp. Gallon | 51912.684 | 3114.761
|  |  | Electricity | kwh | 16464 | 7079.52
|  |  | Gas | m3 | 119.4 | 1104.45
[5 empty] | Total cost | 15096.3761

## 8
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 8 | % OCCUPANCY: | 70.97
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53616.2 | 53635.2 | 19
|  | TR |  |  | 5402.46 | 3403.5498
III | WATER METERS
| Main DEWA Meter | m3 | 204766 | 204928 | 162
| Imperial Gallon = m³ x 219.969 | IG |  |  | 35634.978 | 2138.0987
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6607 | 6613.7 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 3992.4 | 3995.9 | 1680
3 | Meter 3 - 06065259 | kW x 480 | 4260.2 | 4264.8 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2377.9 | 2380.4 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 5600.4 | 5604.7 | 2064
6 | Meter 7 - 06065283 | kW x 480 | 15089 | 15100.2 | 5376
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15744 | 6769.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90872.5 | 90985.8 | 113.3
| L = m³ x 3.70 | L |  |  | 419.21 | 1048.025
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5402.46 | 3403.5498
|  |  | DEWA Water | imp. Gallon | 35634.978 | 2138.0987
|  |  | Electricity | kwh | 15744 | 6769.92
|  |  | Gas | m3 | 113.3 | 1048.025
[5 empty] | Total cost | 13359.5935

## 9
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 9 | % OCCUPANCY: | 79.26
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53635.2 | 53656 | 20.8
|  | TR |  |  | 5914.272 | 3725.9914
III | WATER METERS
| Main DEWA Meter | m3 | 204928 | 205059 | 131
| Imperial Gallon = m³ x 219.969 | IG |  |  | 28815.939 | 1728.9563
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6613.7 | 6620.5 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 3995.9 | 3999.6 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 4264.8 | 4269.4 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2380.4 | 2383.1 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5604.7 | 5609.1 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15100.2 | 15111.3 | 5328
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15984 | 6873.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 90985.8 | 91106 | 120.2
| L = m³ x 3.70 | L |  |  | 444.74 | 1111.85
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5914.272 | 3725.9914
|  |  | DEWA Water | imp. Gallon | 28815.939 | 1728.9563
|  |  | Electricity | kwh | 15984 | 6873.12
|  |  | Gas | m3 | 120.2 | 1111.85
[5 empty] | Total cost | 13439.9177

## 10
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 10 | % OCCUPANCY: | 86.67
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53656 | 53676.9 | 20.9
|  | TR |  |  | 5942.706 | 3743.9048
III | WATER METERS
| Main DEWA Meter | m3 | 205059 | 205282 | 223
| Imperial Gallon = m³ x 219.969 | IG |  |  | 49053.087 | 2943.1852
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6620.5 | 6627.3 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 3999.6 | 4003.7 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4269.4 | 4274.1 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2383.1 | 2385.9 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5609.1 | 5613.5 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15111.3 | 15122.2 | 5232
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16176 | 6955.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91106 | 91234 | 128
| L = m³ x 3.70 | L |  |  | 473.6 | 1184
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5942.706 | 3743.9048
|  |  | DEWA Water | imp. Gallon | 49053.087 | 2943.1852
|  |  | Electricity | kwh | 16176 | 6955.68
|  |  | Gas | m3 | 128 | 1184
[5 empty] | Total cost | 14826.77

## 11
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 11 | % OCCUPANCY: | 69.82
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53676.9 | 53697.4 | 20.5
|  | TR |  |  | 5828.97 | 3672.2511
III | WATER METERS
| Main DEWA Meter | m3 | 205282 | 205368 | 86
| Imperial Gallon = m³ x 219.969 | IG |  |  | 18917.334 | 1135.04
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6627.3 | 6634.1 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4003.7 | 4007.7 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4274.1 | 4278.7 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2385.9 | 2388.6 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5613.5 | 5618 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15122.2 | 15133.3 | 5328
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16176 | 6955.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91234 | 91341.5 | 107.5
| L = m³ x 3.70 | L |  |  | 397.75 | 994.375
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5828.97 | 3672.2511
|  |  | DEWA Water | imp. Gallon | 18917.334 | 1135.04
|  |  | Electricity | kwh | 16176 | 6955.68
|  |  | Gas | m3 | 107.5 | 994.375
[5 empty] | Total cost | 12757.3461

## 12
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 12 | % OCCUPANCY: | 55.99
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53697.4 | 53716.2 | 18.8
|  | TR |  |  | 5345.592 | 3367.723
III | WATER METERS
| Main DEWA Meter | m3 | 205368 | 205672 | 304
| Imperial Gallon = m³ x 219.969 | IG |  |  | 66870.576 | 4012.2346
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6634.1 | 6641.2 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4007.7 | 4011.6 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 4278.7 | 4283.5 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2388.6 | 2391.4 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5618 | 5622.5 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15133.3 | 15144.6 | 5424
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16512 | 7100.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91341.5 | 91517.7 | 176.2
| L = m³ x 3.70 | L |  |  | 651.94 | 1629.85
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5345.592 | 3367.723
|  |  | DEWA Water | imp. Gallon | 66870.576 | 4012.2346
|  |  | Electricity | kwh | 16512 | 7100.16
|  |  | Gas | m3 | 176.2 | 1629.85
[5 empty] | Total cost | 16109.9675

## 13
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 13 | % OCCUPANCY: | 44.24
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53716.2 | 53734.8 | 18.6
|  | TR |  |  | 5288.724 | 3331.8961
III | WATER METERS
| Main DEWA Meter | m3 | 205672 | 205925 | 253
| Imperial Gallon = m³ x 219.969 | IG |  |  | 55652.157 | 3339.1294
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6641.2 | 6648.4 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4011.6 | 4015.4 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 4283.5 | 4288.4 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 2391.4 | 2394.2 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5622.5 | 5627.1 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15144.6 | 15156 | 5472
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91517.7 | 91677.1 | 159.4
| L = m³ x 3.70 | L |  |  | 589.78 | 1474.45
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5288.724 | 3331.8961
|  |  | DEWA Water | imp. Gallon | 55652.157 | 3339.1294
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 159.4 | 1474.45
[5 empty] | Total cost | 15307.5555

## 14
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 14 | % OCCUPANCY: | 52.07
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53734.8 | 53753.3 | 18.5
|  | TR |  |  | 5260.29 | 3313.9827
III | WATER METERS
| Main DEWA Meter | m3 | 205925 | 206117 | 192
| Imperial Gallon = m³ x 219.969 | IG |  |  | 42234.048 | 2534.0429
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6648.4 | 6655.3 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4015.4 | 4018.9 | 1680
3 | Meter 3 - 06065259 | kW x 480 | 4288.4 | 4293 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2394.2 | 2396.9 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5627.1 | 5631.5 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15156 | 15166.7 | 5136
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15744 | 6769.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91677.1 | 91814.2 | 137.1
| L = m³ x 3.70 | L |  |  | 507.27 | 1268.175
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5260.29 | 3313.9827
|  |  | DEWA Water | imp. Gallon | 42234.048 | 2534.0429
|  |  | Electricity | kwh | 15744 | 6769.92
|  |  | Gas | m3 | 137.1 | 1268.175
[5 empty] | Total cost | 13886.1206

## 15
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 15 | % OCCUPANCY: | 82.72
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53753.3 | 53772.3 | 19
|  | TR |  |  | 5402.46 | 3403.5498
III | WATER METERS
| Main DEWA Meter | m3 | 206117 | 206290 | 173
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38054.637 | 2283.2782
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6655.3 | 6662 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 4018.9 | 4022.85 | 1896
3 | Meter 3 - 06065259 | kW x 480 | 4293 | 4297.3 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2396.9 | 2399.5 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5631.5 | 5635.9 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15166.7 | 15176.3 | 4608
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15144 | 6511.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91814.2 | 91928.7 | 114.5
| L = m³ x 3.70 | L |  |  | 423.65 | 1059.125
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5402.46 | 3403.5498
|  |  | DEWA Water | imp. Gallon | 38054.637 | 2283.2782
|  |  | Electricity | kwh | 15144 | 6511.92
|  |  | Gas | m3 | 114.5 | 1059.125
[5 empty] | Total cost | 13257.873

## 16
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 16 | % OCCUPANCY: | 98.16
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53772.3 | 53791.7 | 19.4
|  | TR |  |  | 5516.196 | 3475.2035
III | WATER METERS
| Main DEWA Meter | m3 | 206290 | 206462 | 172
| Imperial Gallon = m³ x 219.969 | IG |  |  | 37834.668 | 2270.0801
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6662 | 6668.7 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 4022.85 | 4026.3 | 1656
3 | Meter 3 - 06065259 | kW x 480 | 4297.3 | 4301.7 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2399.5 | 2402.2 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5635.9 | 5640.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15176.3 | 15185.6 | 4464
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 14904 | 6408.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 91928.7 | 92046 | 117.3
| L = m³ x 3.70 | L |  |  | 434.01 | 1085.025
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5516.196 | 3475.2035
|  |  | DEWA Water | imp. Gallon | 37834.668 | 2270.0801
|  |  | Electricity | kwh | 14904 | 6408.72
|  |  | Gas | m3 | 117.3 | 1085.025
[5 empty] | Total cost | 13239.0286

## 17
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 17 | % OCCUPANCY: | 99.08
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53791.7 | 53814.5 | 22.8
|  | TR |  |  | 6482.952 | 4084.2598
III | WATER METERS
| Main DEWA Meter | m3 | 206462 | 206662 | 200
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43993.8 | 2639.628
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6668.7 | 6675.6 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4026.3 | 4030.3 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4301.7 | 4305.8 | 1968
4 | Meter 4 - 06065262 | kW x 480 | 2402.2 | 2405.1 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5640.4 | 5644.9 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15185.6 | 15194.6 | 4320
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15072 | 6480.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92046 | 92194.2 | 148.2
| L = m³ x 3.70 | L |  |  | 548.34 | 1370.85
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6482.952 | 4084.2598
|  |  | DEWA Water | imp. Gallon | 43993.8 | 2639.628
|  |  | Electricity | kwh | 15072 | 6480.96
|  |  | Gas | m3 | 148.2 | 1370.85
[5 empty] | Total cost | 14575.6978

## 18
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 18 | % OCCUPANCY: | 86.64
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53814.5 | 53836.1 | 21.6
|  | TR |  |  | 6141.744 | 3869.2987
III | WATER METERS
| Main DEWA Meter | m3 | 206662 | 206868 | 206
| Imperial Gallon = m³ x 219.969 | IG |  |  | 45313.614 | 2718.8168
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6675.6 | 6682.5 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4030.3 | 4034.2 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 4305.8 | 4310.4 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2405.1 | 2407.9 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5644.9 | 5649.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15194.6 | 15204 | 4512
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15408 | 6625.44
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92194.2 | 92341.5 | 147.3
| L = m³ x 3.70 | L |  |  | 545.01 | 1362.525
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6141.744 | 3869.2987
|  |  | DEWA Water | imp. Gallon | 45313.614 | 2718.8168
|  |  | Electricity | kwh | 15408 | 6625.44
|  |  | Gas | m3 | 147.3 | 1362.525
[5 empty] | Total cost | 14576.0806

## 19
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 19 | % OCCUPANCY: | 71.89
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53836.1 | 53856.4 | 20.3
|  | TR |  |  | 5772.102 | 3636.4243
III | WATER METERS
| Main DEWA Meter | m3 | 206868 | 207060 | 192
| Imperial Gallon = m³ x 219.969 | IG |  |  | 42234.048 | 2534.0429
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6682.5 | 6689.3 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4034.2 | 4038.2 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4310.4 | 4314.9 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2407.9 | 2410.9 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5649.4 | 5653.9 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15204 | 15214 | 4800
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15744 | 6769.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92341.5 | 92486.1 | 144.6
| L = m³ x 3.70 | L |  |  | 535.02 | 1337.55
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5772.102 | 3636.4243
|  |  | DEWA Water | imp. Gallon | 42234.048 | 2534.0429
|  |  | Electricity | kwh | 15744 | 6769.92
|  |  | Gas | m3 | 144.6 | 1337.55
[5 empty] | Total cost | 14277.9371

## 20
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 20 | % OCCUPANCY: | 65.44
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53856.4 | 53877.3 | 20.9
|  | TR |  |  | 5942.706 | 3743.9048
III | WATER METERS
| Main DEWA Meter | m3 | 207060 | 207241 | 181
| Imperial Gallon = m³ x 219.969 | IG |  |  | 39814.389 | 2388.8633
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6689.3 | 6696.6 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 4038.2 | 4042.2 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4314.9 | 4319.3 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2410.9 | 2413.7 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5653.9 | 5658.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15214 | 15225.5 | 5520
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16560 | 7120.8
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92486.1 | 92625.4 | 139.3
| L = m³ x 3.70 | L |  |  | 515.41 | 1288.525
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5942.706 | 3743.9048
|  |  | DEWA Water | imp. Gallon | 39814.389 | 2388.8633
|  |  | Electricity | kwh | 16560 | 7120.8
|  |  | Gas | m3 | 139.3 | 1288.525
[5 empty] | Total cost | 14542.0931

## 21
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 21 | % OCCUPANCY: | 67.74
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53877.3 | 53898.5 | 21.2
|  | TR |  |  | 6028.008 | 3797.645
III | WATER METERS
| Main DEWA Meter | m3 | 207241 | 207416 | 175
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38494.575 | 2309.6745
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6696.6 | 6703.7 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4042.2 | 4046 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 4319.3 | 4323.7 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2413.7 | 2416.6 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5658.4 | 5663 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15225.5 | 15237.4 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92625.4 | 92758.4 | 133
| L = m³ x 3.70 | L |  |  | 492.1 | 1230.25
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6028.008 | 3797.645
|  |  | DEWA Water | imp. Gallon | 38494.575 | 2309.6745
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 133 | 1230.25
[5 empty] | Total cost | 14499.6495

## 22
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 22 | % OCCUPANCY: | 80.18
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53898.5 | 53918.4 | 19.9
|  | TR |  |  | 5658.366 | 3564.7706
III | WATER METERS
| Main DEWA Meter | m3 | 207416 | 207537 | 121
| Imperial Gallon = m³ x 219.969 | IG |  |  | 26616.249 | 1596.9749
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6703.7 | 6710.5 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4046 | 4049.8 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 4323.7 | 4328.1 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2416.6 | 2419.3 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5663 | 5667.4 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15237.4 | 15248.9 | 5520
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16128 | 6935.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92758.4 | 92881.5 | 123.1
| L = m³ x 3.70 | L |  |  | 455.47 | 1138.675
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5658.366 | 3564.7706
|  |  | DEWA Water | imp. Gallon | 26616.249 | 1596.9749
|  |  | Electricity | kwh | 16128 | 6935.04
|  |  | Gas | m3 | 123.1 | 1138.675
[5 empty] | Total cost | 13235.4605

## 23
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 23 | % OCCUPANCY: | 82.26
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53918.4 | 53939.1 | 20.7
|  | TR |  |  | 5885.838 | 3708.0779
III | WATER METERS
| Main DEWA Meter | m3 | 207537 | 207739 | 202
| Imperial Gallon = m³ x 219.969 | IG |  |  | 44433.738 | 2666.0243
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6710.5 | 6717.5 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4049.8 | 4053.8 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4328.1 | 4332.4 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2419.3 | 2422.1 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5667.4 | 5671.9 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15248.9 | 15260.8 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16560 | 7120.8
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 92881.5 | 93014.8 | 133.3
| L = m³ x 3.70 | L |  |  | 493.21 | 1233.025
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5885.838 | 3708.0779
|  |  | DEWA Water | imp. Gallon | 44433.738 | 2666.0243
|  |  | Electricity | kwh | 16560 | 7120.8
|  |  | Gas | m3 | 133.3 | 1233.025
[5 empty] | Total cost | 14727.9272

## 24
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 24 | % OCCUPANCY: | 84.56
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53939.1 | 53960.7 | 21.6
|  | TR |  |  | 6141.744 | 3869.2987
III | WATER METERS
| Main DEWA Meter | m3 | 207739 | 207921 | 182
| Imperial Gallon = m³ x 219.969 | IG |  |  | 40034.358 | 2402.0615
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6717.5 | 6724.5 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4053.8 | 4058 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4332.4 | 4336.9 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2422.1 | 2425.3 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 5671.9 | 5676.5 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15260.8 | 15272.9 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17088 | 7347.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93014.8 | 93151.1 | 136.3
| L = m³ x 3.70 | L |  |  | 504.31 | 1260.775
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6141.744 | 3869.2987
|  |  | DEWA Water | imp. Gallon | 40034.358 | 2402.0615
|  |  | Electricity | kwh | 17088 | 7347.84
|  |  | Gas | m3 | 136.3 | 1260.775
[5 empty] | Total cost | 14879.9752

## 25
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 25 | % OCCUPANCY: | 93.78
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53960.7 | 53979.8 | 19.1
|  | TR |  |  | 5430.894 | 3421.4632
III | WATER METERS
| Main DEWA Meter | m3 | 207921 | 208093 | 172
| Imperial Gallon = m³ x 219.969 | IG |  |  | 37834.668 | 2270.0801
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6724.5 | 6731.5 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4058 | 4062.2 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4336.9 | 4341.4 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2425.3 | 2428.3 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5676.5 | 5681 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15272.9 | 15284.7 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16800 | 7224
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93151.1 | 93278.7 | 127.6
| L = m³ x 3.70 | L |  |  | 472.12 | 1180.3
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5430.894 | 3421.4632
|  |  | DEWA Water | imp. Gallon | 37834.668 | 2270.0801
|  |  | Electricity | kwh | 16800 | 7224
|  |  | Gas | m3 | 127.6 | 1180.3
[5 empty] | Total cost | 14095.8433

## 26
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 26 | % OCCUPANCY: | 90
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53979.8 | 54000.1 | 20.3
|  | TR |  |  | 5772.102 | 3636.4243
III | WATER METERS
| Main DEWA Meter | m3 | 208093 | 208262 | 169
| Imperial Gallon = m³ x 219.969 | IG |  |  | 37174.761 | 2230.4857
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6731.5 | 6738.4 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4062.2 | 4066.3 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4341.4 | 4345.8 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2428.3 | 2431.4 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 5681 | 5685.5 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15284.7 | 15296.5 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16704 | 7182.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93278.7 | 93412.3 | 133.6
| L = m³ x 3.70 | L |  |  | 494.32 | 1235.8
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5772.102 | 3636.4243
|  |  | DEWA Water | imp. Gallon | 37174.761 | 2230.4857
|  |  | Electricity | kwh | 16704 | 7182.72
|  |  | Gas | m3 | 133.6 | 1235.8
[5 empty] | Total cost | 14285.4299

## 27
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 27 | % OCCUPANCY: | 82
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54000.1 | 54021.5 | 21.4
|  | TR |  |  | 6084.876 | 3833.4719
III | WATER METERS
| Main DEWA Meter | m3 | 208262 | 208408 | 146
| Imperial Gallon = m³ x 219.969 | IG |  |  | 32115.474 | 1926.9284
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6738.4 | 6745.3 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4066.3 | 4070.5 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4345.8 | 4350.6 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2431.4 | 2434.6 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 5685.5 | 5690.2 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15296.5 | 15308.4 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17136 | 7368.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93412.3 | 93564.8 | 152.5
| L = m³ x 3.70 | L |  |  | 564.25 | 1410.625
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6084.876 | 3833.4719
|  |  | DEWA Water | imp. Gallon | 32115.474 | 1926.9284
|  |  | Electricity | kwh | 17136 | 7368.48
|  |  | Gas | m3 | 152.5 | 1410.625
[5 empty] | Total cost | 14539.5053

## 28
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 28 | % OCCUPANCY: | 92
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54021.5 | 54045.1 | 23.6
|  | TR |  |  | 6710.424 | 4227.5671
III | WATER METERS
| Main DEWA Meter | m3 | 208408 | 208607 | 199
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43773.831 | 2626.4299
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6745.3 | 6752.4 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4070.5 | 4074.5 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4350.6 | 4355 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2434.6 | 2437.8 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 5690.2 | 5694.7 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15308.4 | 15320.2 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16800 | 7224
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93564.8 | 93717 | 152.2
| L = m³ x 3.70 | L |  |  | 563.14 | 1407.85
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6710.424 | 4227.5671
|  |  | DEWA Water | imp. Gallon | 43773.831 | 2626.4299
|  |  | Electricity | kwh | 16800 | 7224
|  |  | Gas | m3 | 152.2 | 1407.85
[5 empty] | Total cost | 15485.847

## 29
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 29 | % OCCUPANCY: | 89
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54045.1 | 54067.8 | 22.7
|  | TR |  |  | 6454.518 | 4066.3463
III | WATER METERS
| Main DEWA Meter | m3 | 208607 | 208861 | 254
| Imperial Gallon = m³ x 219.969 | IG |  |  | 55872.126 | 3352.3276
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6752.4 | 6759.3 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4074.5 | 4078.2 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 4355 | 4359.3 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2437.8 | 2440.6 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5694.7 | 5699.2 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15320.2 | 15332 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16320 | 7017.6
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93717 | 93851.9 | 134.9
| L = m³ x 3.70 | L |  |  | 499.13 | 1247.825
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6454.518 | 4066.3463
|  |  | DEWA Water | imp. Gallon | 55872.126 | 3352.3276
|  |  | Electricity | kwh | 16320 | 7017.6
|  |  | Gas | m3 | 134.9 | 1247.825
[5 empty] | Total cost | 15684.0989

## 30
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 30 | % OCCUPANCY: | 98
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54067.8 | 54087.8 | 20
|  | TR |  |  | 5686.8 | 3582.684
III | WATER METERS
| Main DEWA Meter | m3 | 208861 | 208995 | 134
| Imperial Gallon = m³ x 219.969 | IG |  |  | 29475.846 | 1768.5508
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6759.3 | 6766.4 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4078.2 | 4082.3 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4359.3 | 4364.1 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2440.6 | 2443.5 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5699.2 | 5703.8 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15332 | 15343.9 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16992 | 7306.56
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93851.9 | 93986.8 | 134.9
| L = m³ x 3.70 | L |  |  | 499.13 | 1247.825
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5686.8 | 3582.684
|  |  | DEWA Water | imp. Gallon | 29475.846 | 1768.5508
|  |  | Electricity | kwh | 16992 | 7306.56
|  |  | Gas | m3 | 134.9 | 1247.825
[5 empty] | Total cost | 13905.6198

## 31
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY 2024 | 31 | % OCCUPANCY: | 72.0341
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54087.8 | 54109.9 | 22.1
|  | TR |  |  | 6283.914 | 3958.8658
III | WATER METERS
| Main DEWA Meter | m3 | 208995 | 209263 | 268
| Imperial Gallon = m³ x 219.969 | IG |  |  | 58951.692 | 3537.1015
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6766.4 | 6773 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 4082.3 | 4086.5 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4364.1 | 4368.5 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2443.5 | 2446.3 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5703.8 | 5708.3 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15343.9 | 15355.7 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16464 | 7079.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 93986.8 | 94132.3 | 145.5
| L = m³ x 3.70 | L |  |  | 538.35 | 1345.875
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6283.914 | 3958.8658
|  |  | DEWA Water | imp. Gallon | 58951.692 | 3537.1015
|  |  | Electricity | kwh | 16464 | 7079.52
|  |  | Gas | m3 | 145.5 | 1345.875
[5 empty] | Total cost | 15921.3623

## nov. 19 to dec.
ENGINEERING DEPARTMENT | [7 empty] | 1st
UTILITY CONSUMPTION SHEET | [7 empty] | daily reading
Date: November 19 to December , 2023 |  |  | %Occupancy: |  | Rooms:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | ACTUAL TOTAL CONSUMPTION | vs. MONTHLY TARGET | ACTUAL EMPOWER BILL
|  |  | November 19 | December 16
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53103.1 | 53103.1 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2per mo.) |  |  |  | 92466 | 95548.2 | 92466
[5 empty] | 92466 | 345548.2 | 92466
III | WATER METERS |  |  |  |  | difference: | 0
| Main DEWA Meter | m3 |  |  | 0 | empower bill is lower
|  | Imperial Gallon (M: m3 x 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  |  | 0
2 | Meter 2 - 06065255 | kW x 480 |  |  | 0
3 | Meter 3 - 06065259 | kW x 480 |  |  | 0
4 | Meter 4 - 06065262 | kW x 480 |  |  | 0
5 | Meter 6 - 06065269 | kW x 480 |  |  | 0
6 | Meter 7 - 06065283 | kW x 480 |  |  | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ |  |  | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790
Note on H13: Author: AED 3,082.22 DAY

## dec. 1 to 31
ENGINEERING DEPARTMENT
UTILITY CONSUMPTION SHEET
Date: December 1 - 31, 2023 |  | Total Occ. Rooms: |  | %Occupancy:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | TOTAL CONSUMPTION | vs. MONTHLY TARGET
|  |  | Nov. 30 | Dec. 31
1 | DISTRICT COOLING PLANT | [9 empty] | 1st
| Chilled Water | MWH | 53446.3 | 53446.3 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2 per mo.) |  |  |  | 92466 | 95548.2
[5 empty] | 92466 | 345548.2
III | WATER METERS
| Main DEWA Meter | m3 | 203437 | 203437 | 0
|  | Imperial Gallon (M: m3 X 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS | [6 empty] | 1 | 2 | 3 | 4 | 6 | 7
1 | Meter 1 - 06065253 -- 3004260732 | kW x 480 | 6559.3 | 6559.3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Meter 2 - 06065255 -- 3004260743 | kW x 480 | 3966.1 | 3966.1 | 0 |  | 0 | 1660 | 1660 | 1660 | 1660 | 1660 | 1660
3 | Meter 3 - 06065259 -- 3004260754 | kW x 480 | 4228.9 | 4228.9 | 0 |  | 0 | -2280 | -2280 | -2280 | -2280 | -2280 | -2280
4 | Meter 4 - 06065262 -- 3004260765 | kW x 480 | 2358.9 | 2358.9 | 0 |  | 0 | -620 | -620 | -620 | -620 | -620 | -620
5 | Meter 6 - 06065269 -- 3004260776 | kW x 480 | 5569.2 | 5569.2 | 0 |  | 0
6 | Meter 7 - 06065283 -- 3004260787 | kW x 480 | 15010.6 | 15010.6 | 0 |  | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 89987.4 | 89987.4 | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790

## board 1 - 31
1st
DECEMBER 2023 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
% OCCUPANCY | 91.47% | 87.1% | 94.01% | 63.59% | 65.67% | 67.05% | 59.68% | 65.44% | 71.89% | 76.5% | 55.07% | 65.67% | 77.19% | 85.02% | 79.03% | 61.75% | 52.76% | 46.54% | 44.7% | 51.61% | 59.91% | 74.65%
ELECTRICITY | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
METER 1: 6065253 | 3552 | 3600 | 3456 | 3312 | 3408 | 3408 | 3264 | 3360 | 3360 | 3408 | 3504 | 3264 | 3312 | 3216 | 3360 | 3360 | 3360 | 3168 | 3360 | 3120 | 3168 | 3168
METER 2: 6065255 | 2208 | 2256 | 2208 | 2160 | 2160 | 2256 | 2160 | 2160 | 2160 | 2160 | 2112 | 2160 | 2208 | 2112 | 2160 | 2112 | 2064 | 1968 | 2064 | 2064 | 2112 | 1920
METER 3: 6065259 | 2112 | 2112 | 2112 | 2112 | 2112 | 2016 | 2112 | 2112 | 2160 | 2112 | 2208 | 2112 | 2064 | 2064 | 2256 | 2256 | 2160 | 2208 | 2256 | 2064 | 2064 | 2160
METER 4: 6065262 | 1632 | 1440 | 1680 | 1488 | 1296 | 1363.2 | 1324.8 | 1536 | 1440 | 1440 | 1392 | 1344 | 1344 | 1200 | 1536 | 1344 | 1536 | 1248 | 1344 | 1296 | 1296 | 1296
METER 6: 6065269 | 2208 | 2256 | 2256 | 2208 | 2160 | 2160 | 2160 | 2160 | 2208 | 2208 | 2208 | 2160 | 2112 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2064 | 2160 | 2160
METER 7: 6065283 | 5280 | 5568 | 5616 | 5712 | 5472 | 5712 | 5616 | 5424 | 5184 | 5376 | 5280 | 5520 | 5424 | 5136 | 5376 | 5568 | 5712 | 5424 | 5376 | 5280 | 5280 | 5280
total electricty: | 16992 | 17232 | 17328 | 16992 | 16608 | 16915.2 | 16636.8 | 16752 | 16512 | 16704 | 16704 | 16560 | 16464 | 15888 | 16848 | 16800 | 16992 | 16176 | 16560 | 15888 | 16080 | 15984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG
METER: 18E0300032 | 25736.37 | 60271.51 | 62471.2 | 49493.03 | 42673.99 | 36954.79 | 67750.45 | 37614.7 | 59391.63 | 41134.2 | 39374.45 | 38494.58 | 37394.73 | 41134.2 | 35195.04 | 38934.51 | 40474.3 | 41574.14 | 40914.23 | 33215.32 | 36074.92 | 36954.79
EMPOWER | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH
BTU METER: P103FF043BC | 9212.62 | 9468.52 | 9553.82 | 10236.24 | 9269.48 | 8501.77 | 8388.03 | 8274.29 | 7904.65 | 8188.99 | 7535.01 | 6824.16 | 6454.52 | 6198.61 | 6681.99 | 6824.16 | 6511.39 | 6141.74 | 5914.27 | 5601.5 | 5800.54 | 5942.71
LPG | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES
METER: 77192321/2019 | 503.94 | 560.18 | 508.38 | 530.58 | 499.87 | 458.43 | 464.72 | 508.75 | 497.65 | 482.11 | 478.04 | 450.29 | 479.89 | 488.4 | 530.21 | 562.4 | 488.77 | 481.37 | 438.45 | 433.27 | 444 | 481.37

## DAILY PRINTING
% OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY
ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh)
WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG)
EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH)
LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES)
LAST MONTH'S TOTAL: |  | LAST MONTH'S TOTAL:

## DAILY PRINTING (2)
LAST MONTH'S TOTAL:
|  |  |  | %OCCUPANCY: | 76.94%
|  |  |  | WATER (IG): | 1292977.78
|  |  |  | ELECTRICITY (kWh): | 553296
|  |  |  | COOLING (RTH): | 528379
|  |  |  | LPG (LITRES:) | 13436.55
JANUARY | JUNE | JANUARY | JUNE
FEBRUARY | JULY | FEBRUARY | JULY
MARCH | AUGUST | MARCH | AUGUST
APRIL | SEPTEMBER | APRIL | SEPTEMBER
MAY | OCTOBER | MAY | OCTOBER
NOVEMBER | DECEMBER | NOVEMBER | DECEMBER

## Sheet1
42421.4 | 161239 | 5230 | 3133.2 | 3381.1 | 1789.1 | 4671.7 | 12508.9 | 68144.9
42490.4 | 161517 | 5237 | 3138.2 | 3386.1 | 1793.1 | 4676.7 | 12543.4 | 68242.9
42559.4 | 161795 | 5244 | 3143.2 | 3391.1 | 1797.1 | 4681.7 | 12577.9 | 68340.9
42628.4 | 162073 | 5251 | 3148.2 | 3396.1 | 1801.1 | 4686.7 | 12612.4 | 68438.9
42697.4 | 162351 | 5258 | 3153.2 | 3401.1 | 1805.1 | 4691.7 | 12646.9 | 68536.9
42766.4 | 162629 | 5265 | 3158.2 | 3406.1 | 1809.1 | 4696.7 | 12681.4 | 68634.9
42835.4 | 162907 | 5272 | 3163.2 | 3411.1 | 1813.1 | 4701.7 | 12715.9 | 68732.9
42904.4 | 163185 | 5279 | 3168.2 | 3416.1 | 1817.1 | 4706.7 | 12750.4 | 68830.9