## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (IG) IG | Water Utility Supply (IG) $/IG | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
25hours Dubai One Central | 1 | 2 | 2024 | 16704 | 0.44 | 527.25 | 2.5 | 41354.172 | 0.06 | 6625.122 | 1.14 | 330
25hours Dubai One Central | 2 | 2 | 2024 | 16896 | 0.44 | 519.11 | 2.5 | 36954.792 | 0.06 | 6852.594 | 1.14 | 236
25hours Dubai One Central | 3 | 2 | 2024 | 17136 | 0.44 | 493.58 | 2.5 | 38714.544 | 0.06 | 5999.574 | 1.14 | 209
25hours Dubai One Central | 4 | 2 | 2024 | 17040 | 0.44 | 491.36 | 2.5 | 38054.637 | 0.06 | 5146.554 | 1.14 | 306
25hours Dubai One Central | 5 | 2 | 2024 | 16992 | 0.44 | 468.42 | 2.5 | 36514.854 | 0.06 | 4919.082 | 1.14 | 379
25hours Dubai One Central | 6 | 2 | 2024 | 16896 | 0.44 | 476.56 | 2.5 | 43113.924 | 0.06 | 5146.554 | 1.14 | 395
25hours Dubai One Central | 7 | 2 | 2024 | 16416 | 0.44 | 505.42 | 2.5 | 40254.327 | 0.06 | 5260.29 | 1.14 | 396
25hours Dubai One Central | 8 | 2 | 2024 | 17328 | 0.44 | 510.23 | 2.5 | 42454.017 | 0.06 | 5004.384 | 1.14 | 409
25hours Dubai One Central | 9 | 2 | 2024 | 17280 | 0.44 | 496.17 | 2.5 | 34975.071 | 0.06 | 5061.252 | 1.14 | 391
25hours Dubai One Central | 10 | 2 | 2024 | 17136 | 0.44 | 563.88 | 2.5 | 60931.413 | 0.06 | 5061.252 | 1.14 | 353
25hours Dubai One Central | 11 | 2 | 2024 | 17376 | 0.44 | 507.27 | 2.5 | 56092.095 | 0.06 | 5374.026 | 1.14 | 384
25hours Dubai One Central | 12 | 2 | 2024 | 16608 | 0.44 | 522.44 | 2.5 | 46193.49 | 0.06 | 4663.176 | 1.14 | 345
25hours Dubai One Central | 13 | 2 | 2024 | 16704 | 0.44 | 550.93 | 2.5 | 38054.637 | 0.06 | 5032.818 | 1.14 | 329
25hours Dubai One Central | 14 | 2 | 2024 | 16560 | 0.44 | 526.88 | 2.5 | 41134.203 | 0.06 | 5487.762 | 1.14 | 327
25hours Dubai One Central | 15 | 2 | 2024 | 16752 | 0.44 | 455.84 | 2.5 | 33875.226 | 0.06 | 6170.178 | 1.14 | 333
25hours Dubai One Central | 16 | 2 | 2024 | 16896 | 0.44 | 481.37 | 2.5 | 41134.203 | 0.06 | 7023.198 | 1.14 | 337
25hours Dubai One Central | 17 | 2 | 2024 | 17280 | 0.44 | 438.82 | 2.5 | 34535.133 | 0.06 | 7762.482 | 1.14 | 307
25hours Dubai One Central | 18 | 2 | 2024 | 16944 | 0.44 | 566.47 | 2.5 | 48173.211 | 0.06 | 7677.18 | 1.14 | 298
25hours Dubai One Central | 19 | 2 | 2024 | 16944 | 0.44 | 547.23 | 2.5 | 40694.265 | 0.06 | 6539.82 | 1.14 | 374
25hours Dubai One Central | 20 | 2 | 2024 | 16848 | 0.44 | 523.55 | 2.5 | 51032.808 | 0.06 | 5914.272 | 1.14 | 434
25hours Dubai One Central | 21 | 2 | 2024 | 16944 | 0.44 | 564.25 | 2.5 | 39814.389 | 0.06 | 5828.97 | 1.14 | 434
25hours Dubai One Central | 22 | 2 | 2024 | 16944 | 0.44 | 584.6 | 2.5 | 51692.715 | 0.06 | 5942.706 | 1.14 | 426
25hours Dubai One Central | 23 | 2 | 2024 | 16992 | 0.44 | 593.11 | 2.5 | 49712.994 | 0.06 | 5743.668 | 1.14 | 417
25hours Dubai One Central | 24 | 2 | 2024 | 17280 | 0.44 | 610.5 | 2.5 | 62471.196 | 0.06 | 6170.178 | 1.14 | 410
25hours Dubai One Central | 25 | 2 | 2024 | 16896 | 0.44 | 599.03 | 2.5 | 39374.451 | 0.06 | 6881.028 | 1.14 | 332
25hours Dubai One Central | 26 | 2 | 2024 | 16656 | 0.44 | 458.06 | 2.5 | 58731.723 | 0.06 | 6881.028 | 1.14 | 350
25hours Dubai One Central | 27 | 2 | 2024 | 17280 | 0.44 | 610.5 | 2.5 | 62471.196 | 0.06 | 6170.178 | 1.14 | 410
25hours Dubai One Central | 28 | 2 | 2024 | 16896 | 0.44 | 599.03 | 2.5 | 39374.451 | 0.06 | 6881.028 | 1.14 | 332
25hours Dubai One Central | 29 | 2 | 2024 | 16656 | 0.44 | 458.06 | 2.5 | 58731.723 | 0.06 | 6881.028 | 1.14 | 350

## Submetering
Site Name | Day | Month | Year | Meter 1 - 06065253 | Meter 2 - 06065255 | Meter 3 - 06065259 | Meter 4 - 06065262 | Meter 6 - 06065269 | Meter 7 - 06065283 | District Cooling | Water | Gas | Room Nights | Total Guests
25hours Dubai One Central | 1 | 2 | 2024 | 3360 | 1968 | 2112 | 1344 | 2208 | 5712 | 6625.122 | 41354.172 | 527.25 | 330
25hours Dubai One Central | 2 | 2 | 2024 | 3360 | 2112 | 2160 | 1344 | 2160 | 5760 | 6852.594 | 36954.792 | 519.11 | 236
25hours Dubai One Central | 3 | 2 | 2024 | 3456 | 2160 | 2256 | 1344 | 2160 | 5760 | 5999.574 | 38714.544 | 493.58 | 209
25hours Dubai One Central | 4 | 2 | 2024 | 3264 | 2064 | 2400 | 1392 | 2160 | 5760 | 5146.554 | 38054.637 | 491.36 | 306
25hours Dubai One Central | 5 | 2 | 2024 | 3264 | 2064 | 2352 | 1392 | 2112 | 5808 | 4919.082 | 36514.854 | 468.42 | 379
25hours Dubai One Central | 6 | 2 | 2024 | 3264 | 2208 | 2304 | 1344 | 2160 | 5616 | 5146.554 | 43113.924 | 476.56 | 395
25hours Dubai One Central | 7 | 2 | 2024 | 3264 | 2160 | 2208 | 1344 | 1824 | 5616 | 5260.29 | 40254.327 | 505.42 | 396
25hours Dubai One Central | 8 | 2 | 2024 | 3312 | 2064 | 2208 | 1344 | 2544 | 5856 | 5004.384 | 42454.017 | 510.23 | 409
25hours Dubai One Central | 9 | 2 | 2024 | 3360 | 2208 | 2256 | 1440 | 2208 | 5808 | 5061.252 | 34975.071 | 496.17 | 391
25hours Dubai One Central | 10 | 2 | 2024 | 3504 | 2160 | 2352 | 1344 | 2256 | 5520 | 5061.252 | 60931.413 | 563.88 | 353
25hours Dubai One Central | 11 | 2 | 2024 | 3552 | 2112 | 2304 | 1536 | 2256 | 5616 | 5374.026 | 56092.095 | 507.27 | 384
25hours Dubai One Central | 12 | 2 | 2024 | 3408 | 1920 | 2160 | 1296 | 2208 | 5616 | 4663.176 | 46193.49 | 522.44 | 345
25hours Dubai One Central | 13 | 2 | 2024 | 3408 | 2064 | 2112 | 1296 | 2160 | 5664 | 5032.818 | 38054.637 | 550.93 | 329
25hours Dubai One Central | 14 | 2 | 2024 | 3408 | 2112 | 2016 | 1296 | 2160 | 5568 | 5487.762 | 41134.203 | 526.88 | 327
25hours Dubai One Central | 15 | 2 | 2024 | 3408 | 2064 | 2064 | 1392 | 2160 | 5664 | 6170.178 | 33875.226 | 455.84 | 333
25hours Dubai One Central | 16 | 2 | 2024 | 3360 | 2112 | 2016 | 1392 | 2160 | 5856 | 7023.198 | 41134.203 | 481.37 | 337
25hours Dubai One Central | 17 | 2 | 2024 | 3504 | 2112 | 2112 | 1488 | 2208 | 5856 | 7762.482 | 34535.133 | 438.82 | 307
25hours Dubai One Central | 18 | 2 | 2024 | 3456 | 1968 | 2112 | 1440 | 2208 | 5760 | 7677.18 | 48173.211 | 566.47 | 298
25hours Dubai One Central | 19 | 2 | 2024 | 3456 | 2016 | 2208 | 1392 | 2160 | 5712 | 6539.82 | 40694.265 | 547.23 | 374
25hours Dubai One Central | 20 | 2 | 2024 | 3360 | 2064 | 2256 | 1296 | 2208 | 5664 | 5914.272 | 51032.808 | 523.55 | 434
25hours Dubai One Central | 21 | 2 | 2024 | 3312 | 2208 | 2208 | 1440 | 2208 | 5568 | 5828.97 | 39814.389 | 564.25 | 434
25hours Dubai One Central | 22 | 2 | 2024 | 3456 | 2112 | 2256 | 1344 | 2112 | 5664 | 5942.706 | 51692.715 | 584.6 | 426
25hours Dubai One Central | 23 | 2 | 2024 | 3360 | 2112 | 2256 | 1392 | 2256 | 5616 | 5743.668 | 49712.994 | 593.11 | 417
25hours Dubai One Central | 24 | 2 | 2024 | 3504 | 2112 | 2256 | 1392 | 2256 | 5760 | 6170.178 | 62471.196 | 610.5 | 410
25hours Dubai One Central | 25 | 2 | 2024 | 3456 | 2064 | 2160 | 1392 | 2208 | 5616 | 6881.028 | 39374.451 | 599.03 | 332
25hours Dubai One Central | 26 | 2 | 2024 | 3408 | 2112 | 1968 | 1296 | 2208 | 5664 | 6881.028 | 58731.723 | 458.06 | 350
25hours Dubai One Central | 27 | 2 | 2024 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 410
25hours Dubai One Central | 28 | 2 | 2024 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 332
25hours Dubai One Central | 29 | 2 | 2024 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 350

## Daily Meter
February 2024 UTILITY READING | [14 empty] | 1st
| CHILLED WATER | WATER |  |  |  |  | ELECTRICITY | [5 empty] | GAS | OCC.
Date | BTU Meter | Meter 1 | Meter 2 |  | Meter 3 |  | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 6 | Meter 7
| P103FF043BC | 18E0300032 | 18E0300060 |  | 18E0300057 |  | 6065253 | 6065255 | 6065259 | 6065262 | 6065269 | 6065283 | 77092321/2019 | %
| 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | DAILY
1 | 54133.2 | 209451 |  |  |  |  | 6780 | 4090.6 | 4372.9 | 2449.1 | 5712.9 | 15367.6 | 94274.8 | 76.04
2 | 54157.3 | 209619 |  |  |  |  | 6787 | 4095 | 4377.4 | 2451.9 | 5717.4 | 15379.6 | 94415.1 | 54.38
3 | 54178.4 | 209795 |  |  |  |  | 6794.2 | 4099.5 | 4382.1 | 2454.7 | 5721.9 | 15391.6 | 94548.5 | 48.16
4 | 54196.5 | 209968 |  |  |  |  | 6801 | 4103.8 | 4387.1 | 2457.6 | 5726.4 | 15403.6 | 94681.3 | 70.51
5 | 54213.8 | 210134 |  |  |  |  | 6807.8 | 4108.1 | 4392 | 2460.5 | 5730.8 | 15415.7 | 94807.9 | 87.33
6 | 54231.9 | 210330 |  |  |  |  | 6814.6 | 4112.7 | 4396.8 | 2463.3 | 5735.3 | 15427.4 | 94936.7 | 91.24
7 | 54250.4 | 210513 |  |  |  |  | 6821.4 | 4117.2 | 4401.4 | 2466.1 | 5739.1 | 15439.1 | 95073.3 | 91.3
8 | 54268 | 210706 |  |  |  |  | 6828.3 | 4121.5 | 4406 | 2468.9 | 5744.4 | 15451.3 | 95211.2 | 94.24
9 | 54285.8 | 210865 |  |  |  |  | 6835.3 | 4126.1 | 4410.7 | 2471.9 | 5749 | 15463.4 | 95345.3 | 90.32
10 | 54303.6 | 211142 |  |  |  |  | 6842.6 | 4130.6 | 4415.6 | 2474.7 | 5753.7 | 15474.9 | 95497.7 | 81.34
11 | 54322.5 | 211397 |  |  |  |  | 6850 | 4135 | 4420.4 | 2477.9 | 5758.4 | 15486.6 | 95634.8 | 88.48
12 | 54338.9 | 211607 |  |  |  |  | 6857.1 | 4139 | 4424.9 | 2480.6 | 5763 | 15498.3 | 95776 | 79.72
13 | 54356.6 | 211780 |  |  |  |  | 6864.2 | 4143.3 | 4429.3 | 2483.3 | 5767.5 | 15510.1 | 95924.9 | 75.81
14 | 54375.9 | 211967 |  |  |  |  | 6871.3 | 4147.7 | 4433.5 | 2486 | 5772 | 15521.7 | 96067.3 | 75.35
15 | 54397.6 | 212121 |  |  |  |  | 6878.4 | 4152 | 4437.8 | 2488.9 | 5776.5 | 15533.5 | 96190.5 | 76.73
16 | 54422.3 | 212308 |  |  |  |  | 6885.4 | 4156.4 | 4442 | 2491.8 | 5781 | 15545.7 | 96320.6 | 77.65
17 | 54449.6 | 212465 |  |  |  |  | 6892.7 | 4160.8 | 4446.4 | 2494.9 | 5785.6 | 15557.9 | 96439.2 | 70.74
18 | 54476.6 | 212684 |  |  |  |  | 6899.9 | 4164.9 | 4450.8 | 2497.9 | 5790.2 | 15569.9 | 96592.3 | 68.89
19 | 54499.6 | 212869 |  |  |  |  | 6907.1 | 4169.1 | 4455.4 | 2500.8 | 5794.7 | 15581.8 | 96740.2 | 86.18
20 | 54520.4 | 213101 |  |  |  |  | 6914.1 | 4173.4 | 4460.1 | 2503.5 | 5799.3 | 15593.6 | 96881.7 | 100
21 | 54540.9 | 213282 |  |  |  |  | 6921 | 4178 | 4464.7 | 2506.5 | 5803.9 | 15605.2 | 97034.2 | 100
22 | 54561.8 | 213517 |  |  |  |  | 6928.2 | 4182.4 | 4469.4 | 2509.3 | 5808.3 | 15617 | 97192.2 | 98.16
23 | 54582 | 213743 |  |  |  |  | 6935.2 | 4186.8 | 4474.1 | 2512.2 | 5813 | 15628.7 | 97352.5 | 96.31
24 | 54603.7 | 214027 |  |  |  |  | 6942.5 | 4191.2 | 4478.8 | 2515.1 | 5817.7 | 15640.7 | 97517.5 | 94.7
25 | 54627.9 | 214206 |  |  |  |  | 6949.7 | 4195.5 | 4483.3 | 2518 | 5822.3 | 15652.4 | 97679.4 | 76.5
26 | 54652.1 | 214473 |  |  |  |  | 6956.8 | 4199.9 | 4487.4 | 2520.7 | 5826.9 | 15664.2 | 97803.2
27
28
29
30
31
82.0032
engr123.

## 1
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 1 | % OCCUPANCY: | 76.04
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
January 31
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54109.9 | 54133.2 | 23.3
|  | TR |  |  | 6625.122 | 4173.8269
III | WATER METERS
| Main DEWA Meter | m3 | 209263 | 209451 | 188
| Imperial Gallon = m³ x 219.969 | IG |  |  | 41354.172 | 2481.2503
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6773 | 6780 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4086.5 | 4090.6 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4368.5 | 4372.9 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2446.3 | 2449.1 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5708.3 | 5712.9 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15355.7 | 15367.6 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16704 | 7182.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94132.3 | 94274.8 | 142.5
| L = m³ x 3.70 | L |  |  | 527.25 | 1318.125
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6625.122 | 4173.8269
|  |  | DEWA Water | imp. Gallon | 41354.172 | 2481.2503
|  |  | Electricity | kwh | 16704 | 7182.72
|  |  | Gas | m3 | 142.5 | 1318.125
[5 empty] | Total cost | 15155.9222

## 2
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 2 | % OCCUPANCY: | 76.04
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54133.2 | 54157.3 | 24.1
|  | TR |  |  | 6852.594 | 4317.1342
III | WATER METERS
| Main DEWA Meter | m3 | 209451 | 209619 | 168
| Imperial Gallon = m³ x 219.969 | IG |  |  | 36954.792 | 2217.2875
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6780 | 6787 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4090.6 | 4095 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4372.9 | 4377.4 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2449.1 | 2451.9 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5712.9 | 5717.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15367.6 | 15379.6 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94274.8 | 94415.1 | 140.3
| L = m³ x 3.70 | L |  |  | 519.11 | 1297.775
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6852.594 | 4317.1342
|  |  | DEWA Water | imp. Gallon | 36954.792 | 2217.2875
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 140.3 | 1297.775
[5 empty] | Total cost | 15097.4767

## 3
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 3 | % OCCUPANCY: | 48.16
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54157.3 | 54178.4 | 21.1
|  | TR |  |  | 5999.574 | 3779.7316
III | WATER METERS
| Main DEWA Meter | m3 | 209619 | 209795 | 176
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38714.544 | 2322.8726
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6787 | 6794.2 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4095 | 4099.5 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 4377.4 | 4382.1 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2451.9 | 2454.7 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5717.4 | 5721.9 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15379.6 | 15391.6 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17136 | 7368.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94415.1 | 94548.5 | 133.4
| L = m³ x 3.70 | L |  |  | 493.58 | 1233.95
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5999.574 | 3779.7316
|  |  | DEWA Water | imp. Gallon | 38714.544 | 2322.8726
|  |  | Electricity | kwh | 17136 | 7368.48
|  |  | Gas | m3 | 133.4 | 1233.95
[5 empty] | Total cost | 14705.0343

## 4
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 4 | % OCCUPANCY: | 70.51
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54178.4 | 54196.5 | 18.1
|  | TR |  |  | 5146.554 | 3242.329
III | WATER METERS
| Main DEWA Meter | m3 | 209795 | 209968 | 173
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38054.637 | 2283.2782
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6794.2 | 6801 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4099.5 | 4103.8 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4382.1 | 4387.1 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 2454.7 | 2457.6 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5721.9 | 5726.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15391.6 | 15403.6 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17040 | 7327.2
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94548.5 | 94681.3 | 132.8
| L = m³ x 3.70 | L |  |  | 491.36 | 1228.4
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5146.554 | 3242.329
|  |  | DEWA Water | imp. Gallon | 38054.637 | 2283.2782
|  |  | Electricity | kwh | 17040 | 7327.2
|  |  | Gas | m3 | 132.8 | 1228.4
[5 empty] | Total cost | 14081.2072

## 5
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 5 | % OCCUPANCY: | 87.33
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54196.5 | 54213.8 | 17.3
|  | TR |  |  | 4919.082 | 3099.0217
III | WATER METERS
| Main DEWA Meter | m3 | 209968 | 210134 | 166
| Imperial Gallon = m³ x 219.969 | IG |  |  | 36514.854 | 2190.8912
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6801 | 6807.8 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4103.8 | 4108.1 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4387.1 | 4392 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 2457.6 | 2460.5 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5726.4 | 5730.8 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15403.6 | 15415.7 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16992 | 7306.56
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94681.3 | 94807.9 | 126.6
| L = m³ x 3.70 | L |  |  | 468.42 | 1171.05
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4919.082 | 3099.0217
|  |  | DEWA Water | imp. Gallon | 36514.854 | 2190.8912
|  |  | Electricity | kwh | 16992 | 7306.56
|  |  | Gas | m3 | 126.6 | 1171.05
[5 empty] | Total cost | 13767.5229

## 6
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 6 | % OCCUPANCY: | 91.24
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54213.8 | 54231.9 | 18.1
|  | TR |  |  | 5146.554 | 3242.329
III | WATER METERS
| Main DEWA Meter | m3 | 210134 | 210330 | 196
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43113.924 | 2586.8354
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6807.8 | 6814.6 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4108.1 | 4112.7 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 4392 | 4396.8 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2460.5 | 2463.3 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5730.8 | 5735.3 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15415.7 | 15427.4 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94807.9 | 94936.7 | 128.8
| L = m³ x 3.70 | L |  |  | 476.56 | 1191.4
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5146.554 | 3242.329
|  |  | DEWA Water | imp. Gallon | 43113.924 | 2586.8354
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 128.8 | 1191.4
[5 empty] | Total cost | 14285.8445

## 7
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 7 | % OCCUPANCY: | 91.3
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54231.9 | 54250.4 | 18.5
|  | TR |  |  | 5260.29 | 3313.9827
III | WATER METERS
| Main DEWA Meter | m3 | 210330 | 210513 | 183
| Imperial Gallon = m³ x 219.969 | IG |  |  | 40254.327 | 2415.2596
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6814.6 | 6821.4 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4112.7 | 4117.2 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 4396.8 | 4401.4 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2463.3 | 2466.1 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5735.3 | 5739.1 | 1824
6 | Meter 7 - 06065283 | kW x 480 | 15427.4 | 15439.1 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16416 | 7058.88
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 94936.7 | 95073.3 | 136.6
| L = m³ x 3.70 | L |  |  | 505.42 | 1263.55
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5260.29 | 3313.9827
|  |  | DEWA Water | imp. Gallon | 40254.327 | 2415.2596
|  |  | Electricity | kwh | 16416 | 7058.88
|  |  | Gas | m3 | 136.6 | 1263.55
[5 empty] | Total cost | 14051.6723

## 8
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 8 | % OCCUPANCY: | 94.24
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54250.4 | 54268 | 17.6
|  | TR |  |  | 5004.384 | 3152.7619
III | WATER METERS
| Main DEWA Meter | m3 | 210513 | 210706 | 193
| Imperial Gallon = m³ x 219.969 | IG |  |  | 42454.017 | 2547.241
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6821.4 | 6828.3 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4117.2 | 4121.5 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4401.4 | 4406 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2466.1 | 2468.9 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5739.1 | 5744.4 | 2544
6 | Meter 7 - 06065283 | kW x 480 | 15439.1 | 15451.3 | 5856
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17328 | 7451.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95073.3 | 95211.2 | 137.9
| L = m³ x 3.70 | L |  |  | 510.23 | 1275.575
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5004.384 | 3152.7619
|  |  | DEWA Water | imp. Gallon | 42454.017 | 2547.241
|  |  | Electricity | kwh | 17328 | 7451.04
|  |  | Gas | m3 | 137.9 | 1275.575
[5 empty] | Total cost | 14426.6179

## 9
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 9 | % OCCUPANCY: | 90.32
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54268 | 54285.8 | 17.8
|  | TR |  |  | 5061.252 | 3188.5888
III | WATER METERS
| Main DEWA Meter | m3 | 210706 | 210865 | 159
| Imperial Gallon = m³ x 219.969 | IG |  |  | 34975.071 | 2098.5043
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6828.3 | 6835.3 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4121.5 | 4126.1 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 4406 | 4410.7 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2468.9 | 2471.9 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5744.4 | 5749 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15451.3 | 15463.4 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17280 | 7430.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95211.2 | 95345.3 | 134.1
| L = m³ x 3.70 | L |  |  | 496.17 | 1240.425
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5061.252 | 3188.5888
|  |  | DEWA Water | imp. Gallon | 34975.071 | 2098.5043
|  |  | Electricity | kwh | 17280 | 7430.4
|  |  | Gas | m3 | 134.1 | 1240.425
[5 empty] | Total cost | 13957.918

## 10
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 10 | % OCCUPANCY: | 81.34
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54285.8 | 54303.6 | 17.8
|  | TR |  |  | 5061.252 | 3188.5888
III | WATER METERS
| Main DEWA Meter | m3 | 210865 | 211142 | 277
| Imperial Gallon = m³ x 219.969 | IG |  |  | 60931.413 | 3655.8848
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6835.3 | 6842.6 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 4126.1 | 4130.6 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 4410.7 | 4415.6 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 2471.9 | 2474.7 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5749 | 5753.7 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15463.4 | 15474.9 | 5520
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17136 | 7368.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95345.3 | 95497.7 | 152.4
| L = m³ x 3.70 | L |  |  | 563.88 | 1409.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5061.252 | 3188.5888
|  |  | DEWA Water | imp. Gallon | 60931.413 | 3655.8848
|  |  | Electricity | kwh | 17136 | 7368.48
|  |  | Gas | m3 | 152.4 | 1409.7
[5 empty] | Total cost | 15622.6535

## 11
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 11 | % OCCUPANCY: | 88.48
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54303.6 | 54322.5 | 18.9
|  | TR |  |  | 5374.026 | 3385.6364
III | WATER METERS
| Main DEWA Meter | m3 | 211142 | 211397 | 255
| Imperial Gallon = m³ x 219.969 | IG |  |  | 56092.095 | 3365.5257
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6842.6 | 6850 | 3552
2 | Meter 2 - 06065255 | kW x 480 | 4130.6 | 4135 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4415.6 | 4420.4 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2474.7 | 2477.9 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 5753.7 | 5758.4 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15474.9 | 15486.6 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17376 | 7471.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95497.7 | 95634.8 | 137.1
| L = m³ x 3.70 | L |  |  | 507.27 | 1268.175
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5374.026 | 3385.6364
|  |  | DEWA Water | imp. Gallon | 56092.095 | 3365.5257
|  |  | Electricity | kwh | 17376 | 7471.68
|  |  | Gas | m3 | 137.1 | 1268.175
[5 empty] | Total cost | 15491.0171

## 12
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 12 | % OCCUPANCY: | 79.72
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54322.5 | 54338.9 | 16.4
|  | TR |  |  | 4663.176 | 2937.8009
III | WATER METERS
| Main DEWA Meter | m3 | 211397 | 211607 | 210
| Imperial Gallon = m³ x 219.969 | IG |  |  | 46193.49 | 2771.6094
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6850 | 6857.1 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4135 | 4139 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4420.4 | 4424.9 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2477.9 | 2480.6 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5758.4 | 5763 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15486.6 | 15498.3 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16608 | 7141.44
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95634.8 | 95776 | 141.2
| L = m³ x 3.70 | L |  |  | 522.44 | 1306.1
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4663.176 | 2937.8009
|  |  | DEWA Water | imp. Gallon | 46193.49 | 2771.6094
|  |  | Electricity | kwh | 16608 | 7141.44
|  |  | Gas | m3 | 141.2 | 1306.1
[5 empty] | Total cost | 14156.9503

## 13
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 13 | % OCCUPANCY: | 75.81
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54338.9 | 54356.6 | 17.7
|  | TR |  |  | 5032.818 | 3170.6753
III | WATER METERS
| Main DEWA Meter | m3 | 211607 | 211780 | 173
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38054.637 | 2283.2782
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6857.1 | 6864.2 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4139 | 4143.3 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4424.9 | 4429.3 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2480.6 | 2483.3 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5763 | 5767.5 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15498.3 | 15510.1 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16704 | 7182.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95776 | 95924.9 | 148.9
| L = m³ x 3.70 | L |  |  | 550.93 | 1377.325
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5032.818 | 3170.6753
|  |  | DEWA Water | imp. Gallon | 38054.637 | 2283.2782
|  |  | Electricity | kwh | 16704 | 7182.72
|  |  | Gas | m3 | 148.9 | 1377.325
[5 empty] | Total cost | 14013.9986

## 14
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 14 | % OCCUPANCY: | 75.35
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54356.6 | 54375.9 | 19.3
|  | TR |  |  | 5487.762 | 3457.2901
III | WATER METERS
| Main DEWA Meter | m3 | 211780 | 211967 | 187
| Imperial Gallon = m³ x 219.969 | IG |  |  | 41134.203 | 2468.0522
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6864.2 | 6871.3 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4143.3 | 4147.7 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4429.3 | 4433.5 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2483.3 | 2486 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5767.5 | 5772 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15510.1 | 15521.7 | 5568
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16560 | 7120.8
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 95924.9 | 96067.3 | 142.4
| L = m³ x 3.70 | L |  |  | 526.88 | 1317.2
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5487.762 | 3457.2901
|  |  | DEWA Water | imp. Gallon | 41134.203 | 2468.0522
|  |  | Electricity | kwh | 16560 | 7120.8
|  |  | Gas | m3 | 142.4 | 1317.2
[5 empty] | Total cost | 14363.3422

## 15
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 15 | % OCCUPANCY: | 76.73
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54375.9 | 54397.6 | 21.7
|  | TR |  |  | 6170.178 | 3887.2121
III | WATER METERS
| Main DEWA Meter | m3 | 211967 | 212121 | 154
| Imperial Gallon = m³ x 219.969 | IG |  |  | 33875.226 | 2032.5136
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6871.3 | 6878.4 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4147.7 | 4152 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4433.5 | 4437.8 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2486 | 2488.9 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5772 | 5776.5 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15521.7 | 15533.5 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16752 | 7203.36
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96067.3 | 96190.5 | 123.2
| L = m³ x 3.70 | L |  |  | 455.84 | 1139.6
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6170.178 | 3887.2121
|  |  | DEWA Water | imp. Gallon | 33875.226 | 2032.5136
|  |  | Electricity | kwh | 16752 | 7203.36
|  |  | Gas | m3 | 123.2 | 1139.6
[5 empty] | Total cost | 14262.6857

## 16
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 16 | % OCCUPANCY: | 77.65
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54397.6 | 54422.3 | 24.7
|  | TR |  |  | 7023.198 | 4424.6147
III | WATER METERS
| Main DEWA Meter | m3 | 212121 | 212308 | 187
| Imperial Gallon = m³ x 219.969 | IG |  |  | 41134.203 | 2468.0522
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6878.4 | 6885.4 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4152 | 4156.4 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4437.8 | 4442 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2488.9 | 2491.8 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5776.5 | 5781 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15533.5 | 15545.7 | 5856
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96190.5 | 96320.6 | 130.1
| L = m³ x 3.70 | L |  |  | 481.37 | 1203.425
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7023.198 | 4424.6147
|  |  | DEWA Water | imp. Gallon | 41134.203 | 2468.0522
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 130.1 | 1203.425
[5 empty] | Total cost | 15361.3719

## 17
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 17 | % OCCUPANCY: | 70.74
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54422.3 | 54449.6 | 27.3
|  | TR |  |  | 7762.482 | 4890.3637
III | WATER METERS
| Main DEWA Meter | m3 | 212308 | 212465 | 157
| Imperial Gallon = m³ x 219.969 | IG |  |  | 34535.133 | 2072.108
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6885.4 | 6892.7 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 4156.4 | 4160.8 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4442 | 4446.4 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2491.8 | 2494.9 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 5781 | 5785.6 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15545.7 | 15557.9 | 5856
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17280 | 7430.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96320.6 | 96439.2 | 118.6
| L = m³ x 3.70 | L |  |  | 438.82 | 1097.05
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7762.482 | 4890.3637
|  |  | DEWA Water | imp. Gallon | 34535.133 | 2072.108
|  |  | Electricity | kwh | 17280 | 7430.4
|  |  | Gas | m3 | 118.6 | 1097.05
[5 empty] | Total cost | 15489.9216

## 18
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 18 | % OCCUPANCY: | 68.89
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54449.6 | 54476.6 | 27
|  | TR |  |  | 7677.18 | 4836.6234
III | WATER METERS
| Main DEWA Meter | m3 | 212465 | 212684 | 219
| Imperial Gallon = m³ x 219.969 | IG |  |  | 48173.211 | 2890.3927
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6892.7 | 6899.9 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4160.8 | 4164.9 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4446.4 | 4450.8 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2494.9 | 2497.9 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5785.6 | 5790.2 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15557.9 | 15569.9 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16944 | 7285.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96439.2 | 96592.3 | 153.1
| L = m³ x 3.70 | L |  |  | 566.47 | 1416.175
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7677.18 | 4836.6234
|  |  | DEWA Water | imp. Gallon | 48173.211 | 2890.3927
|  |  | Electricity | kwh | 16944 | 7285.92
|  |  | Gas | m3 | 153.1 | 1416.175
[5 empty] | Total cost | 16429.1111

## 19
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 19 | % OCCUPANCY: | 86.18
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54476.6 | 54499.6 | 23
|  | TR |  |  | 6539.82 | 4120.0866
III | WATER METERS
| Main DEWA Meter | m3 | 212684 | 212869 | 185
| Imperial Gallon = m³ x 219.969 | IG |  |  | 40694.265 | 2441.6559
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6899.9 | 6907.1 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4164.9 | 4169.1 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4450.8 | 4455.4 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2497.9 | 2500.8 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5790.2 | 5794.7 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15569.9 | 15581.8 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16944 | 7285.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96592.3 | 96740.2 | 147.9
| L = m³ x 3.70 | L |  |  | 547.23 | 1368.075
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6539.82 | 4120.0866
|  |  | DEWA Water | imp. Gallon | 40694.265 | 2441.6559
|  |  | Electricity | kwh | 16944 | 7285.92
|  |  | Gas | m3 | 147.9 | 1368.075
[5 empty] | Total cost | 15215.7375

## 20
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 20 | % OCCUPANCY: | 100
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54499.6 | 54520.4 | 20.8
|  | TR |  |  | 5914.272 | 3725.9914
III | WATER METERS
| Main DEWA Meter | m3 | 212869 | 213101 | 232
| Imperial Gallon = m³ x 219.969 | IG |  |  | 51032.808 | 3061.9685
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6907.1 | 6914.1 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4169.1 | 4173.4 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4455.4 | 4460.1 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2500.8 | 2503.5 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5794.7 | 5799.3 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15581.8 | 15593.6 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16848 | 7244.64
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96740.2 | 96881.7 | 141.5
| L = m³ x 3.70 | L |  |  | 523.55 | 1308.875
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5914.272 | 3725.9914
|  |  | DEWA Water | imp. Gallon | 51032.808 | 3061.9685
|  |  | Electricity | kwh | 16848 | 7244.64
|  |  | Gas | m3 | 141.5 | 1308.875
[5 empty] | Total cost | 15341.4748

## 21
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 21 | % OCCUPANCY: | 100
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54520.4 | 54540.9 | 20.5
|  | TR |  |  | 5828.97 | 3672.2511
III | WATER METERS
| Main DEWA Meter | m3 | 213101 | 213282 | 181
| Imperial Gallon = m³ x 219.969 | IG |  |  | 39814.389 | 2388.8633
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6914.1 | 6921 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4173.4 | 4178 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 4460.1 | 4464.7 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2503.5 | 2506.5 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5799.3 | 5803.9 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15593.6 | 15605.2 | 5568
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16944 | 7285.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 96881.7 | 97034.2 | 152.5
| L = m³ x 3.70 | L |  |  | 564.25 | 1410.625
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5828.97 | 3672.2511
|  |  | DEWA Water | imp. Gallon | 39814.389 | 2388.8633
|  |  | Electricity | kwh | 16944 | 7285.92
|  |  | Gas | m3 | 152.5 | 1410.625
[5 empty] | Total cost | 14757.6594

## 22
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 22 | % OCCUPANCY: | 98.16
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54540.9 | 54561.8 | 20.9
|  | TR |  |  | 5942.706 | 3743.9048
III | WATER METERS
| Main DEWA Meter | m3 | 213282 | 213517 | 235
| Imperial Gallon = m³ x 219.969 | IG |  |  | 51692.715 | 3101.5629
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6921 | 6928.2 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4178 | 4182.4 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4464.7 | 4469.4 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2506.5 | 2509.3 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5803.9 | 5808.3 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 15605.2 | 15617 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16944 | 7285.92
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 97034.2 | 97192.2 | 158
| L = m³ x 3.70 | L |  |  | 584.6 | 1461.5
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5942.706 | 3743.9048
|  |  | DEWA Water | imp. Gallon | 51692.715 | 3101.5629
|  |  | Electricity | kwh | 16944 | 7285.92
|  |  | Gas | m3 | 158 | 1461.5
[5 empty] | Total cost | 15592.8877

## 23
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 23 | % OCCUPANCY: | 96.31
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54561.8 | 54582 | 20.2
|  | TR |  |  | 5743.668 | 3618.5108
III | WATER METERS
| Main DEWA Meter | m3 | 213517 | 213743 | 226
| Imperial Gallon = m³ x 219.969 | IG |  |  | 49712.994 | 2982.7796
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6928.2 | 6935.2 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4182.4 | 4186.8 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4469.4 | 4474.1 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2509.3 | 2512.2 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5808.3 | 5813 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15617 | 15628.7 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16992 | 7306.56
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 97192.2 | 97352.5 | 160.3
| L = m³ x 3.70 | L |  |  | 593.11 | 1482.775
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5743.668 | 3618.5108
|  |  | DEWA Water | imp. Gallon | 49712.994 | 2982.7796
|  |  | Electricity | kwh | 16992 | 7306.56
|  |  | Gas | m3 | 160.3 | 1482.775
[5 empty] | Total cost | 15390.6255

## 24
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 24 | % OCCUPANCY: | 94.7
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54582 | 54603.7 | 21.7
|  | TR |  |  | 6170.178 | 3887.2121
III | WATER METERS
| Main DEWA Meter | m3 | 213743 | 214027 | 284
| Imperial Gallon = m³ x 219.969 | IG |  |  | 62471.196 | 3748.2718
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6935.2 | 6942.5 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 4186.8 | 4191.2 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4474.1 | 4478.8 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2512.2 | 2515.1 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5813 | 5817.7 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15628.7 | 15640.7 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17280 | 7430.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 97352.5 | 97517.5 | 165
| L = m³ x 3.70 | L |  |  | 610.5 | 1526.25
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6170.178 | 3887.2121
|  |  | DEWA Water | imp. Gallon | 62471.196 | 3748.2718
|  |  | Electricity | kwh | 17280 | 7430.4
|  |  | Gas | m3 | 165 | 1526.25
[5 empty] | Total cost | 16592.1339

## 25
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 25 | % OCCUPANCY: | 76.5
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54603.7 | 54627.9 | 24.2
|  | TR |  |  | 6881.028 | 4335.0476
III | WATER METERS
| Main DEWA Meter | m3 | 214027 | 214206 | 179
| Imperial Gallon = m³ x 219.969 | IG |  |  | 39374.451 | 2362.4671
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6942.5 | 6949.7 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4191.2 | 4195.5 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4478.8 | 4483.3 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2515.1 | 2518 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5817.7 | 5822.3 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15640.7 | 15652.4 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 97517.5 | 97679.4 | 161.9
| L = m³ x 3.70 | L |  |  | 599.03 | 1497.575
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6881.028 | 4335.0476
|  |  | DEWA Water | imp. Gallon | 39374.451 | 2362.4671
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 161.9 | 1497.575
[5 empty] | Total cost | 15460.3697

## 26
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 26 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54627.9 | 54652.1 | 24.2
|  | TR |  |  | 6881.028 | 4335.0476
III | WATER METERS
| Main DEWA Meter | m3 | 214206 | 214473 | 267
| Imperial Gallon = m³ x 219.969 | IG |  |  | 58731.723 | 3523.9034
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6949.7 | 6956.8 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4195.5 | 4199.9 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 4483.3 | 4487.4 | 1968
4 | Meter 4 - 06065262 | kW x 480 | 2518 | 2520.7 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5822.3 | 5826.9 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15652.4 | 15664.2 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 97679.4 | 97803.2 | 123.8
| L = m³ x 3.70 | L |  |  | 458.06 | 1145.15
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6881.028 | 4335.0476
|  |  | DEWA Water | imp. Gallon | 58731.723 | 3523.9034
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 123.8 | 1145.15
[5 empty] | Total cost | 16166.181

## 27
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 27 | % OCCUPANCY:
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54652.1 |  | #VALUE!
|  | TR |  |  | #VALUE! | #VALUE!
III | WATER METERS
| Main DEWA Meter | m3 | 214473 |  | #VALUE!
| Imperial Gallon = m³ x 219.969 | IG |  |  | #VALUE! | #VALUE!
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6956.8 |  | #VALUE!
2 | Meter 2 - 06065255 | kW x 480 | 4199.9 |  | #VALUE!
3 | Meter 3 - 06065259 | kW x 480 | 4487.4 |  | #VALUE!
4 | Meter 4 - 06065262 | kW x 480 | 2520.7 |  | #VALUE!
5 | Meter 6 - 06065269 | kW x 480 | 5826.9 |  | #VALUE!
6 | Meter 7 - 06065283 | kW x 480 | 15664.2 |  | #VALUE!
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | #VALUE! | #VALUE!
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 97803.2 |  | #VALUE!
| L = m³ x 3.70 | L |  |  | #VALUE! | #VALUE!
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | #VALUE! | #VALUE!
|  |  | DEWA Water | imp. Gallon | #VALUE! | #VALUE!
|  |  | Electricity | kwh | #VALUE! | #VALUE!
|  |  | Gas | m3 | #VALUE! | #VALUE!
[5 empty] | Total cost | #VALUE!

## 28
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 28 | % OCCUPANCY:
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH |  |  | #VALUE!
|  | TR |  |  | #VALUE! | #VALUE!
III | WATER METERS
| Main DEWA Meter | m3 |  |  | #VALUE!
| Imperial Gallon = m³ x 219.969 | IG |  |  | #VALUE! | #VALUE!
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  |  | #VALUE!
2 | Meter 2 - 06065255 | kW x 480 |  |  | #VALUE!
3 | Meter 3 - 06065259 | kW x 480 |  |  | #VALUE!
4 | Meter 4 - 06065262 | kW x 480 |  |  | #VALUE!
5 | Meter 6 - 06065269 | kW x 480 |  |  | #VALUE!
6 | Meter 7 - 06065283 | kW x 480 |  |  | #VALUE!
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | #VALUE! | #VALUE!
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 |  |  | #VALUE!
| L = m³ x 3.70 | L |  |  | #VALUE! | #VALUE!
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | #VALUE! | #VALUE!
|  |  | DEWA Water | imp. Gallon | #VALUE! | #VALUE!
|  |  | Electricity | kwh | #VALUE! | #VALUE!
|  |  | Gas | m3 | #VALUE! | #VALUE!
[5 empty] | Total cost | #VALUE!

## 29
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 29 | % OCCUPANCY:
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH |  |  | #VALUE!
|  | TR |  |  | #VALUE! | #VALUE!
III | WATER METERS
| Main DEWA Meter | m3 |  |  | #VALUE!
| Imperial Gallon = m³ x 219.969 | IG |  |  | #VALUE! | #VALUE!
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  |  | #VALUE!
2 | Meter 2 - 06065255 | kW x 480 |  |  | #VALUE!
3 | Meter 3 - 06065259 | kW x 480 |  |  | #VALUE!
4 | Meter 4 - 06065262 | kW x 480 |  |  | #VALUE!
5 | Meter 6 - 06065269 | kW x 480 |  |  | #VALUE!
6 | Meter 7 - 06065283 | kW x 480 |  |  | #VALUE!
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | #VALUE! | #VALUE!
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 |  |  | #VALUE!
| L = m³ x 3.70 | L |  |  | #VALUE! | #VALUE!
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | #VALUE! | #VALUE!
|  |  | DEWA Water | imp. Gallon | #VALUE! | #VALUE!
|  |  | Electricity | kwh | #VALUE! | #VALUE!
|  |  | Gas | m3 | #VALUE! | #VALUE!
[5 empty] | Total cost | #VALUE!

## 30
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 30 | % OCCUPANCY:
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH |  |  | #VALUE!
|  | TR |  |  | #VALUE! | #VALUE!
III | WATER METERS
| Main DEWA Meter | m3 |  |  | #VALUE!
| Imperial Gallon = m³ x 219.969 | IG |  |  | #VALUE! | #VALUE!
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  |  | #VALUE!
2 | Meter 2 - 06065255 | kW x 480 |  |  | #VALUE!
3 | Meter 3 - 06065259 | kW x 480 |  |  | #VALUE!
4 | Meter 4 - 06065262 | kW x 480 |  |  | #VALUE!
5 | Meter 6 - 06065269 | kW x 480 |  |  | #VALUE!
6 | Meter 7 - 06065283 | kW x 480 |  |  | #VALUE!
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | #VALUE! | #VALUE!
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 |  |  | #VALUE!
| L = m³ x 3.70 | L |  |  | #VALUE! | #VALUE!
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | #VALUE! | #VALUE!
|  |  | DEWA Water | imp. Gallon | #VALUE! | #VALUE!
|  |  | Electricity | kwh | #VALUE! | #VALUE!
|  |  | Gas | m3 | #VALUE! | #VALUE!
[5 empty] | Total cost | #VALUE!

## 31
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 31 | % OCCUPANCY: | 82.0032
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH |  | 0 | #VALUE!
|  | TR |  |  | #VALUE! | #VALUE!
III | WATER METERS
| Main DEWA Meter | m3 |  | 0 | #VALUE!
| Imperial Gallon = m³ x 219.969 | IG |  |  | #VALUE! | #VALUE!
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  | 0 | #VALUE!
2 | Meter 2 - 06065255 | kW x 480 |  | 0 | #VALUE!
3 | Meter 3 - 06065259 | kW x 480 |  | 0 | #VALUE!
4 | Meter 4 - 06065262 | kW x 480 |  | 0 | #VALUE!
5 | Meter 6 - 06065269 | kW x 480 |  | 0 | #VALUE!
6 | Meter 7 - 06065283 | kW x 480 |  | 0 | #VALUE!
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | #VALUE! | #VALUE!
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 |  | 0 | #VALUE!
| L = m³ x 3.70 | L |  |  | #VALUE! | #VALUE!
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | #VALUE! | #VALUE!
|  |  | DEWA Water | imp. Gallon | #VALUE! | #VALUE!
|  |  | Electricity | kwh | #VALUE! | #VALUE!
|  |  | Gas | m3 | #VALUE! | #VALUE!
[5 empty] | Total cost | #VALUE!

## nov. 19 to dec.
ENGINEERING DEPARTMENT | [7 empty] | 1st
UTILITY CONSUMPTION SHEET | [7 empty] | daily reading
Date: November 19 to December , 2023 |  |  | %Occupancy: |  | Rooms:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | ACTUAL TOTAL CONSUMPTION | vs. MONTHLY TARGET | ACTUAL EMPOWER BILL
|  |  | November 19 | December 16
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53103.1 | 53103.1 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2per mo.) |  |  |  | 92466 | 95548.2 | 92466
[5 empty] | 92466 | 345548.2 | 92466
III | WATER METERS |  |  |  |  | difference: | 0
| Main DEWA Meter | m3 |  |  | 0 | empower bill is lower
|  | Imperial Gallon (M: m3 x 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  |  | 0
2 | Meter 2 - 06065255 | kW x 480 |  |  | 0
3 | Meter 3 - 06065259 | kW x 480 |  |  | 0
4 | Meter 4 - 06065262 | kW x 480 |  |  | 0
5 | Meter 6 - 06065269 | kW x 480 |  |  | 0
6 | Meter 7 - 06065283 | kW x 480 |  |  | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ |  |  | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790
Note on H13: Author: AED 3,082.22 DAY

## dec. 1 to 31
ENGINEERING DEPARTMENT
UTILITY CONSUMPTION SHEET
Date: December 1 - 31, 2023 |  | Total Occ. Rooms: |  | %Occupancy:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | TOTAL CONSUMPTION | vs. MONTHLY TARGET
|  |  | Nov. 30 | Dec. 31
1 | DISTRICT COOLING PLANT | [9 empty] | 1st
| Chilled Water | MWH | 53446.3 | 53446.3 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2 per mo.) |  |  |  | 92466 | 95548.2
[5 empty] | 92466 | 345548.2
III | WATER METERS
| Main DEWA Meter | m3 | 203437 | 203437 | 0
|  | Imperial Gallon (M: m3 X 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS | [6 empty] | 1 | 2 | 3 | 4 | 6 | 7
1 | Meter 1 - 06065253 -- 3004260732 | kW x 480 | 6559.3 | 6559.3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Meter 2 - 06065255 -- 3004260743 | kW x 480 | 3966.1 | 3966.1 | 0 |  | 0 | 1660 | 1660 | 1660 | 1660 | 1660 | 1660
3 | Meter 3 - 06065259 -- 3004260754 | kW x 480 | 4228.9 | 4228.9 | 0 |  | 0 | -2280 | -2280 | -2280 | -2280 | -2280 | -2280
4 | Meter 4 - 06065262 -- 3004260765 | kW x 480 | 2358.9 | 2358.9 | 0 |  | 0 | -620 | -620 | -620 | -620 | -620 | -620
5 | Meter 6 - 06065269 -- 3004260776 | kW x 480 | 5569.2 | 5569.2 | 0 |  | 0
6 | Meter 7 - 06065283 -- 3004260787 | kW x 480 | 15010.6 | 15010.6 | 0 |  | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 89987.4 | 89987.4 | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790

## board 1 - 31
1st
DECEMBER 2023 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
% OCCUPANCY | 91.47% | 87.1% | 94.01% | 63.59% | 65.67% | 67.05% | 59.68% | 65.44% | 71.89% | 76.5% | 55.07% | 65.67% | 77.19% | 85.02% | 79.03% | 61.75% | 52.76% | 46.54% | 44.7% | 51.61% | 59.91% | 74.65%
ELECTRICITY | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
METER 1: 6065253 | 3552 | 3600 | 3456 | 3312 | 3408 | 3408 | 3264 | 3360 | 3360 | 3408 | 3504 | 3264 | 3312 | 3216 | 3360 | 3360 | 3360 | 3168 | 3360 | 3120 | 3168 | 3168
METER 2: 6065255 | 2208 | 2256 | 2208 | 2160 | 2160 | 2256 | 2160 | 2160 | 2160 | 2160 | 2112 | 2160 | 2208 | 2112 | 2160 | 2112 | 2064 | 1968 | 2064 | 2064 | 2112 | 1920
METER 3: 6065259 | 2112 | 2112 | 2112 | 2112 | 2112 | 2016 | 2112 | 2112 | 2160 | 2112 | 2208 | 2112 | 2064 | 2064 | 2256 | 2256 | 2160 | 2208 | 2256 | 2064 | 2064 | 2160
METER 4: 6065262 | 1632 | 1440 | 1680 | 1488 | 1296 | 1363.2 | 1324.8 | 1536 | 1440 | 1440 | 1392 | 1344 | 1344 | 1200 | 1536 | 1344 | 1536 | 1248 | 1344 | 1296 | 1296 | 1296
METER 6: 6065269 | 2208 | 2256 | 2256 | 2208 | 2160 | 2160 | 2160 | 2160 | 2208 | 2208 | 2208 | 2160 | 2112 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2064 | 2160 | 2160
METER 7: 6065283 | 5280 | 5568 | 5616 | 5712 | 5472 | 5712 | 5616 | 5424 | 5184 | 5376 | 5280 | 5520 | 5424 | 5136 | 5376 | 5568 | 5712 | 5424 | 5376 | 5280 | 5280 | 5280
total electricty: | 16992 | 17232 | 17328 | 16992 | 16608 | 16915.2 | 16636.8 | 16752 | 16512 | 16704 | 16704 | 16560 | 16464 | 15888 | 16848 | 16800 | 16992 | 16176 | 16560 | 15888 | 16080 | 15984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG
METER: 18E0300032 | 25736.37 | 60271.51 | 62471.2 | 49493.03 | 42673.99 | 36954.79 | 67750.45 | 37614.7 | 59391.63 | 41134.2 | 39374.45 | 38494.58 | 37394.73 | 41134.2 | 35195.04 | 38934.51 | 40474.3 | 41574.14 | 40914.23 | 33215.32 | 36074.92 | 36954.79
EMPOWER | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH
BTU METER: P103FF043BC | 9212.62 | 9468.52 | 9553.82 | 10236.24 | 9269.48 | 8501.77 | 8388.03 | 8274.29 | 7904.65 | 8188.99 | 7535.01 | 6824.16 | 6454.52 | 6198.61 | 6681.99 | 6824.16 | 6511.39 | 6141.74 | 5914.27 | 5601.5 | 5800.54 | 5942.71
LPG | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES
METER: 77192321/2019 | 503.94 | 560.18 | 508.38 | 530.58 | 499.87 | 458.43 | 464.72 | 508.75 | 497.65 | 482.11 | 478.04 | 450.29 | 479.89 | 488.4 | 530.21 | 562.4 | 488.77 | 481.37 | 438.45 | 433.27 | 444 | 481.37

## DAILY PRINTING
% OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY
ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh)
WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG)
EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH)
LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES)
LAST MONTH'S TOTAL: |  | LAST MONTH'S TOTAL:

## DAILY PRINTING (2)
LAST MONTH'S TOTAL:
|  |  |  | %OCCUPANCY: | 76.94%
|  |  |  | WATER (IG): | 1292977.78
|  |  |  | ELECTRICITY (kWh): | 553296
|  |  |  | COOLING (RTH): | 528379
|  |  |  | LPG (LITRES:) | 13436.55
JANUARY | JUNE | JANUARY | JUNE
FEBRUARY | JULY | FEBRUARY | JULY
MARCH | AUGUST | MARCH | AUGUST
APRIL | SEPTEMBER | APRIL | SEPTEMBER
MAY | OCTOBER | MAY | OCTOBER
NOVEMBER | DECEMBER | NOVEMBER | DECEMBER

## Sheet1
42421.4 | 161239 | 5230 | 3133.2 | 3381.1 | 1789.1 | 4671.7 | 12508.9 | 68144.9
42490.4 | 161517 | 5237 | 3138.2 | 3386.1 | 1793.1 | 4676.7 | 12543.4 | 68242.9
42559.4 | 161795 | 5244 | 3143.2 | 3391.1 | 1797.1 | 4681.7 | 12577.9 | 68340.9
42628.4 | 162073 | 5251 | 3148.2 | 3396.1 | 1801.1 | 4686.7 | 12612.4 | 68438.9
42697.4 | 162351 | 5258 | 3153.2 | 3401.1 | 1805.1 | 4691.7 | 12646.9 | 68536.9
42766.4 | 162629 | 5265 | 3158.2 | 3406.1 | 1809.1 | 4696.7 | 12681.4 | 68634.9
42835.4 | 162907 | 5272 | 3163.2 | 3411.1 | 1813.1 | 4701.7 | 12715.9 | 68732.9
42904.4 | 163185 | 5279 | 3168.2 | 3416.1 | 1817.1 | 4706.7 | 12750.4 | 68830.9